## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N100X | 0.065203 | 0.0016563 | 2.5402 | 35 | mg/L
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N101 | 0.35108 | 0.0087995 | 2.5064 | 31 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N102X | 0.12371 | 0.0022654 | 1.8312 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N103 | 0.29687 | 0.012155 | 4.0946 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N104X | 0.066797 | 0.0011597 | 1.7361 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N105 | 0.26188 | 0.0090146 | 3.4423 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N106X | 0.13034 | 0.0022581 | 1.7325 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N107 | 0.16889 | 0.0025166 | 1.4901 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N108X | 0.052772 | 0.0026245 | 4.9732 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N109 | 0.27397 | 0.009709 | 3.5438 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N110X | 0.057958 | 0.0014543 | 2.5093 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N111 | 0.27967 | 0.010541 | 3.7691 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N112X | 0.12521 | 0.0032846 | 2.6232 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N113 | 0.25681 | 0.0071352 | 2.7784 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N114X | 0.11129 | 0.0017628 | 1.5839 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N115 | 0.24316 | 0.0063831 | 2.6251 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N116X | 0.042339 | 0.0010832 | 2.5584 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N117 | 0.40093 | 0.011695 | 2.917 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N118X | 0.088844 | 0.0027887 | 3.1388 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N119 | 0.23633 | 0.0093387 | 3.9515 | 20 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N120X | 0.068557 | 0.0044221 | 6.4502 | 21 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N121 | 0.16873 | 0.0070179 | 4.1594 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N122X | 0.057912 | 0.0020176 | 3.4839 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N123 | 0.2774 | 0.0054886 | 1.9786 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N124X | 0.019254 | 0.00091461 | 4.7502 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N125 | 0.25124 | 0.0082719 | 3.2924 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N126X | 0.049462 | 0.0012994 | 2.6271 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N127 | 0.14657 | 0.002192 | 1.4955 | 23 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N128X | 0.043941 | 0.0012393 | 2.8204 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N129 | 0.22363 | 0.0093083 | 4.1624 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N130X | 0.059809 | 0.002791 | 4.6664 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N71 | 0.066533 | 0.0019825 | 2.9797 | 120 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N73 | 0.1392 | 0.0032453 | 2.3314 | 120 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N75 | 0.13101 | 0.0027259 | 2.0808 | 80 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N77 | 0.065328 | 0.0020922 | 3.2027 | 120 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N79 | 0.15136 | 0.0022068 | 1.458 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N79c | 0.17972 | 0.0019652 | 1.0935 | 8 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N80X | 0.1015 | 0.0022425 | 2.2093 | 17 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N81 | 0.086502 | 0.0023479 | 2.7143 | 47 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N82X | 0.087614 | 0.0015505 | 1.7697 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N83 | 0.15588 | 0.0030596 | 1.9627 | 40 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N84X | 0.069229 | 0.0014731 | 2.1279 | 21 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N85 | 0.18478 | 0.0046685 | 2.5266 | 46 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N86X | 0.13433 | 0.0026456 | 1.9695 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N87 | 0.19397 | 0.003727 | 1.9215 | 35 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N88X | 0.1203 | 0.003785 | 3.1463 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N90X | 0.046978 | 0.0025524 | 5.4333 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N91 | 0.040424 | 0.0017541 | 4.3394 | 34 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N92X | 0.15109 | 0.00384 | 2.5414 | 35 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N93 | 0.19233 | 0.0027752 | 1.4429 | 35 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N94X | 0.077606 | 0.0017723 | 2.2838 | 35 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N95 | 0.23188 | 0.0078392 | 3.3806 | 31 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N95c | 0.17622 | 0.0023528 | 1.3351 | 4 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N96X | 0.096931 | 0.0021419 | 2.2097 | 26 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N96Xc | 0.13086 | 0.0069857 | 5.3382 | 8 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N98X | 0.060917 | 0.0012867 | 2.1123 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N99 | 0.28925 | 0.0038158 | 1.3192 | 32 | mg/L as P