## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2011 | 2580087 | 2011-10-04 |  | 38.64 | 39.125 | 98.7604 | -1.2396 | 2.2369 | -0.21682 | 6 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/L | 25188-75192 | AKTO11276A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2011 | 2650116 | 2011-10-06 |  | 38.7 | 39.125 | 98.9137 | -1.0863 | 2.2369 | -0.19 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25188-75192 | AKTO11279A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2011 | 2640163 | 2011-10-06 |  | 74.58 | 75.275 | 99.0767 | -0.92328 | 3.7637 | -0.18466 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75188-25190 | AKTO11279A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2011 | 2630070 | 2011-10-06 |  | 35.91 | 35.7 | 100.5882 | 0.58824 | 2.1776 | 0.096436 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO11279A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2011 | 2660132 | 2011-10-07 |  | 33.34 | 35.7 | 93.3894 | -6.6106 | 2.1776 | -1.0838 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO11280A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2011 | 2720095 | 2011-10-17 |  | 39.05 | 39.125 | 99.8083 | -0.19169 | 2.2369 | -0.033529 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25188-75192 | AKTO11290A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2770114 | 2011-10-17 |  | 32.69 | 33.25 | 98.3158 | -1.6842 | 1.6625 | -0.33684 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO11290A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2840080 | 2011-10-17 |  | 45.61 | 45.75 | 99.694 | -0.30601 | 2.2875 | -0.061202 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO11290A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2860098 | 2011-10-27 |  | 34.15 | 33.25 | 102.7068 | 2.7068 | 1.6625 | 0.54135 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO11300A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2920081 | 2011-10-27 |  | 33.89 | 33.25 | 101.9248 | 1.9248 | 1.6625 | 0.38496 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO11300A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2900075 | 2011-10-27 |  | 46.98 | 45.75 | 102.6885 | 2.6885 | 2.2875 | 0.5377 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO11300A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2930076 | 2011-10-27 |  | 46.89 | 45.75 | 102.4918 | 2.4918 | 2.2875 | 0.49836 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO11300A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2980076 | 2011-11-09 |  | 34.04 | 33.25 | 102.3759 | 2.3759 | 1.6625 | 0.47519 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO11313A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3000152 | 2011-11-09 |  | 46.97 | 45.75 | 102.6667 | 2.6667 | 2.2875 | 0.53333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO11313A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3070064 | 2011-11-21 |  | 37.68 | 35.7 | 105.5462 | 5.5462 | 1.785 | 1.1092 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO11322A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3120085 | 2011-11-21 |  | 48.52 | 45.75 | 106.0546 | 6.0546 | 2.2875 | 1.2109 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO11322A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3180197 | 2011-11-29 |  | 37.5 | 35.7 | 105.042 | 5.042 | 1.785 | 1.0084 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO11333A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3220186 | 2011-12-01 |  | 37.29 | 35.7 | 104.4538 | 4.4538 | 1.785 | 0.89076 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO11335A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3210035 | 2011-12-01 |  | 47.24 | 45.75 | 103.2568 | 3.2568 | 2.2875 | 0.65137 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO11335A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3260062 | 2011-12-13 |  | 47.13 | 45.75 | 103.0164 | 3.0164 | 2.2875 | 0.60328 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO11347A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3320024 | 2011-12-20 |  | 37.35 | 35.7 | 104.6218 | 4.6218 | 1.785 | 0.92437 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO11354A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3340062 | 2011-12-20 |  | 47.08 | 45.75 | 102.9071 | 2.9071 | 2.2875 | 0.58142 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO11354A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3490094 | 2011-12-22 |  | 19.16 | 18 | 106.4444 | 6.4444 | 1.5 | 0.77333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO11356A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3470030 | 2011-12-22 |  | 46.75 | 45.75 | 102.1858 | 2.1858 | 2.2875 | 0.43716 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO11356A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3530146 | 2012-01-10 |  | 19.09 | 18 | 106.0556 | 6.0556 | 1.5 | 0.72667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12010A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3500187 | 2012-01-10 |  | 47.08 | 45.75 | 102.9071 | 2.9071 | 2.2875 | 0.58142 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12010A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0100042 | 2012-01-19 |  | 42.59 | 41.7 | 102.1343 | 2.1343 | 2.085 | 0.42686 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12019A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0090028 | 2012-01-19 |  | 18.86 | 18 | 104.7778 | 4.7778 | 1.5 | 0.57333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12019A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0120080 | 2012-01-19 |  | 18.91 | 18 | 105.0556 | 5.0556 | 1.5 | 0.60667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12019A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3620049 | 2012-01-19 |  | 18.96 | 18 | 105.3333 | 5.3333 | 1.5 | 0.64 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12019A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0040056 | 2012-01-19 |  | 18.98 | 18 | 105.4444 | 5.4444 | 1.5 | 0.65333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12019A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3550119 | 2012-01-19 |  | 46.87 | 45.75 | 102.4481 | 2.4481 | 2.2875 | 0.48962 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12019A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 3640038 | 2012-01-19 |  | 46.97 | 45.75 | 102.6667 | 2.6667 | 2.2875 | 0.53333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12019A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0130144 | 2012-02-01 |  | 42.85 | 41.7 | 102.7578 | 2.7578 | 2.085 | 0.55156 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12032A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0190019 | 2012-02-01 |  | 42.63 | 41.7 | 102.2302 | 2.2302 | 2.085 | 0.44604 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12032A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0260068 | 2012-02-01 |  | 42.51 | 41.7 | 101.9424 | 1.9424 | 2.085 | 0.38849 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12032A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0180054 | 2012-02-01 |  | 19.1 | 18 | 106.1111 | 6.1111 | 1.5 | 0.73333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12032A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0250004 | 2012-02-01 |  | 18.99 | 18 | 105.5 | 5.5 | 1.5 | 0.66 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12032A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0400019 | 2012-03-01 |  | 58.01 | 57.65 | 100.6245 | 0.62446 | 2.8825 | 0.12489 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12060A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0380034 | 2012-03-01 |  | 42.22 | 41.7 | 101.247 | 1.247 | 2.085 | 0.2494 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12060A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0470087 | 2012-03-06 |  | 57.41 | 57.65 | 99.5837 | -0.41631 | 2.8825 | -0.083261 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12066A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0460091 | 2012-03-06 |  | 41.56 | 41.7 | 99.6643 | -0.33573 | 2.085 | -0.067146 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12066A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0550040 | 2012-03-06 |  | 42.06 | 41.7 | 100.8633 | 0.86331 | 2.085 | 0.17266 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12066A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0550120 | 2012-03-13 |  | 58.76 | 57.65 | 101.9254 | 1.9254 | 2.8825 | 0.38508 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12073A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0620040 | 2012-03-13 |  | 58.33 | 57.65 | 101.1795 | 1.1795 | 2.8825 | 0.23591 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12073A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0670107 | 2012-03-13 |  | 58.34 | 57.65 | 101.1969 | 1.1969 | 2.8825 | 0.23938 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12073A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0610067 | 2012-03-13 |  | 42.66 | 41.7 | 102.3022 | 2.3022 | 2.085 | 0.46043 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12073A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0680046 | 2012-03-13 |  | 33.6 | 33.25 | 101.0526 | 1.0526 | 1.6625 | 0.21053 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12073A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0760156 | 2012-03-28 |  | 58.54 | 57.65 | 101.5438 | 1.5438 | 2.8825 | 0.30876 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12088A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0790062 | 2012-03-28 |  | 33.64 | 33.25 | 101.1729 | 1.1729 | 1.6625 | 0.23459 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12088A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0820024 | 2012-04-06 |  | 59.85 | 57.65 | 103.8161 | 3.8161 | 2.8825 | 0.76323 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12097A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0880122 | 2012-04-06 |  | 59.65 | 57.65 | 103.4692 | 3.4692 | 2.8825 | 0.69384 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12097A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0940051 | 2012-04-06 |  | 34.21 | 33.25 | 102.8872 | 2.8872 | 1.6625 | 0.57744 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12097A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0820164 | 2012-04-06 |  | 34.32 | 33.25 | 103.218 | 3.218 | 1.6625 | 0.64361 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12097A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0930045 | 2012-04-06 |  | 34.31 | 33.25 | 103.188 | 3.188 | 1.6625 | 0.63759 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12097A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1020092 | 2012-04-13 |  | 34.11 | 33.25 | 102.5865 | 2.5865 | 1.6625 | 0.51729 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12104A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 0960101 | 2012-04-13 |  | 47.44 | 45.75 | 103.694 | 3.694 | 2.2875 | 0.7388 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12104A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1030002 | 2012-04-13 |  | 47.46 | 45.75 | 103.7377 | 3.7377 | 2.2875 | 0.74754 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12104A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1080122 | 2012-05-01 |  | 34.79 | 33.25 | 104.6316 | 4.6316 | 1.6625 | 0.92632 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12122A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1150161 | 2012-05-01 |  | 34.61 | 33.25 | 104.0902 | 4.0902 | 1.6625 | 0.81805 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12122A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1110061 | 2012-05-01 |  | 47.61 | 45.75 | 104.0656 | 4.0656 | 2.2875 | 0.81311 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12122A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1160102 | 2012-05-01 |  | 47.51 | 45.75 | 103.847 | 3.847 | 2.2875 | 0.7694 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12122A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1300070 | 2012-05-10 |  | 48.08 | 45.75 | 105.0929 | 5.0929 | 2.2875 | 1.0186 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12131A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1320005 | 2012-05-24 |  | 38 | 35.7 | 106.4426 | 6.4426 | 1.785 | 1.2885 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO12145A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1380008 | 2012-05-24 |  | 47.12 | 45.75 | 102.9945 | 2.9945 | 2.2875 | 0.59891 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12145A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1390019 | 2012-06-04 |  | 37.87 | 35.7 | 106.0784 | 6.0784 | 1.785 | 1.2157 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO12156A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1430153 | 2012-06-04 |  | 47.33 | 45.75 | 103.4536 | 3.4536 | 2.2875 | 0.69071 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12156A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1450119 | 2012-06-13 |  | 37.38 | 35.7 | 104.7059 | 4.7059 | 1.785 | 0.94118 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO12164A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1530201 | 2012-06-25 |  | 36.5 | 35.7 | 102.2409 | 2.2409 | 1.785 | 0.44818 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75190-25DIW | AKTO12174A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1520240 | 2012-06-25 |  | 46.61 | 45.75 | 101.8798 | 1.8798 | 2.2875 | 0.37596 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12174A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1590136 | 2012-06-27 |  | 47.67 | 45.75 | 104.1967 | 4.1967 | 2.2875 | 0.83934 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12178A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1650037 | 2012-07-02 |  | 19.39 | 18 | 107.7222 | 7.7222 | 1.5 | 0.92667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12184A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1670026 | 2012-07-02 |  | 47.59 | 45.75 | 104.0219 | 4.0219 | 2.2875 | 0.80437 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12184A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1710054 | 2012-07-03 |  | 19.32 | 18 | 107.3333 | 7.3333 | 1.5 | 0.88 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12185A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1730129 | 2012-07-03 |  | 19.4 | 18 | 107.7778 | 7.7778 | 1.5 | 0.93333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12185A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1730012 | 2012-07-03 |  | 47.62 | 45.75 | 104.0874 | 4.0874 | 2.2875 | 0.81749 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12185A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1810139 | 2012-07-11 |  | 19.1 | 18 | 106.1111 | 6.1111 | 1.5 | 0.73333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12193A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1810012 | 2012-07-11 |  | 47.2 | 45.75 | 103.1694 | 3.1694 | 2.2875 | 0.63388 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12193A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1930016 | 2012-07-23 |  | 42.91 | 41.7 | 102.9017 | 2.9017 | 2.085 | 0.58034 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12205A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1870028 | 2012-07-23 |  | 19.43 | 18 | 107.9444 | 7.9444 | 1.5 | 0.95333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12205A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1950048 | 2012-07-23 |  | 18.91 | 18 | 105.0556 | 5.0556 | 1.5 | 0.60667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12205A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 1980065 | 2012-07-27 |  | 43.38 | 41.7 | 104.0288 | 4.0288 | 2.085 | 0.80576 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12209A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2000157 | 2012-07-30 |  | 19.48 | 18 | 108.2222 | 8.2222 | 1.5 | 0.98667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12212A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2020040 | 2012-08-06 |  | 43.16 | 41.7 | 103.5012 | 3.5012 | 2.085 | 0.70024 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12219A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2090042 | 2012-08-06 |  | 42.63 | 41.7 | 102.2302 | 2.2302 | 2.085 | 0.44604 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12219A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2080189 | 2012-08-06 |  | 19.02 | 18 | 105.6667 | 5.6667 | 1.5 | 0.68 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75192-25DIW | AKTO12219A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2200022 | 2012-08-13 |  | 43.24 | 41.7 | 103.693 | 3.693 | 2.085 | 0.73861 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12226A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2230108 | 2012-08-22 |  | 59.33 | 57.65 | 102.9141 | 2.9141 | 2.8825 | 0.58283 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12235A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2300073 | 2012-09-04 |  | 58.84 | 57.65 | 102.0642 | 2.0642 | 2.8825 | 0.41284 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12248A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2280053 | 2012-09-04 |  | 42.92 | 41.7 | 102.9257 | 2.9257 | 2.085 | 0.58513 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12248A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2360061 | 2012-09-06 |  | 43 | 41.7 | 103.1175 | 3.1175 | 2.085 | 0.6235 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12250A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2370100 | 2012-09-11 |  | 59.25 | 57.65 | 102.7754 | 2.7754 | 2.8825 | 0.55507 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12255A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2430134 | 2012-10-03 |  | 59.14 | 57.65 | 102.5846 | 2.5846 | 2.8825 | 0.51691 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12277A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2430003 | 2012-10-03 |  | 43.25 | 41.7 | 103.717 | 3.717 | 2.085 | 0.74341 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25192-75190 | AKTO12277A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2500238 | 2012-10-15 |  | 59.22 | 57.65 | 102.7233 | 2.7233 | 2.8825 | 0.54467 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12289A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2510025 | 2012-10-15 |  | 34.19 | 33.25 | 102.8271 | 2.8271 | 1.6625 | 0.56541 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12289A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2560012 | 2012-10-23 |  | 59.4 | 57.65 | 103.0356 | 3.0356 | 2.8825 | 0.60711 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12297A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2570159 | 2012-10-23 |  | 34.17 | 33.25 | 102.7669 | 2.7669 | 1.6625 | 0.55338 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12297A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2650053 | 2012-10-30 |  | 59.19 | 57.65 | 102.6713 | 2.6713 | 2.8825 | 0.53426 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12304A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2700117 | 2012-10-30 |  | 59.13 | 57.65 | 102.5672 | 2.5672 | 2.8825 | 0.51344 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25190-75194 | AKTO12304A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2680069 | 2012-10-30 |  | 34 | 33.25 | 102.2556 | 2.2556 | 1.6625 | 0.45113 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12304A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2012 | 2710094 | 2012-11-01 |  | 34.42 | 33.25 | 103.5188 | 3.5188 | 1.6625 | 0.70376 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75192 | AKTO12306A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2760095 | 2012-11-01 |  | 47.82 | 45.75 | 104.5246 | 4.5246 | 2.2875 | 0.90492 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12306A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2840063 | 2012-11-01 |  | 47.27 | 45.75 | 103.3224 | 3.3224 | 2.2875 | 0.66448 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12306A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2780080 | 2012-11-01 |  | 28.65 | 26.475 | 108.2153 | 8.2153 | 1.5 | 1.45 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO12306A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2850047 | 2012-11-01 |  | 28.27 | 26.475 | 106.78 | 6.78 | 1.5 | 1.1967 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO12306A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2900077 | 2012-11-15 |  | 47.73 | 45.75 | 104.3279 | 4.3279 | 2.2875 | 0.86557 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12320A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2970077 | 2012-11-15 |  | 47.49 | 45.75 | 103.8033 | 3.8033 | 2.2875 | 0.76066 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12320A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2920099 | 2012-11-15 |  | 28.19 | 26.475 | 106.4778 | 6.4778 | 1.5 | 1.1433 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO12320A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3120051 | 2012-11-19 |  | 47.6 | 46.2 | 103.0303 | 3.0303 | 2.31 | 0.60606 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO12324A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3030004 | 2012-11-19 |  | 28.49 | 26.475 | 107.611 | 7.611 | 1.5 | 1.3433 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO12324A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3140099 | 2012-12-07 |  | 47.32 | 45.75 | 103.4317 | 3.4317 | 2.2875 | 0.68634 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12342A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3210021 | 2012-12-14 |  | 47.99 | 46.2 | 103.8745 | 3.8745 | 2.31 | 0.77489 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO12349A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3260044 | 2012-12-14 |  | 47.85 | 46.2 | 103.5714 | 3.5714 | 2.31 | 0.71429 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO12349A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3240108 | 2012-12-14 |  | 47.4 | 45.75 | 103.6066 | 3.6066 | 2.2875 | 0.72131 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12349A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3340085 | 2012-12-19 |  | 47.69 | 46.2 | 103.2251 | 3.2251 | 2.31 | 0.64502 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO12354A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3330019 | 2012-12-19 |  | 47.38 | 45.75 | 103.5628 | 3.5628 | 2.2875 | 0.71257 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12354A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3380098 | 2012-12-21 |  | 47.45 | 45.75 | 103.7158 | 3.7158 | 2.2875 | 0.74317 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO12356A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3420103 | 2013-01-09 |  | 48.19 | 46.2 | 104.3074 | 4.3074 | 2.31 | 0.86147 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO13009A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3410097 | 2013-01-09 |  | 56.26 | 54.575 | 103.0875 | 3.0875 | 2.7287 | 0.6175 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13009A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3520019 | 2013-01-11 |  | 47.82 | 46.2 | 103.5065 | 3.5065 | 2.31 | 0.7013 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO13011A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3560099 | 2013-01-11 |  | 47.96 | 46.2 | 103.8095 | 3.8095 | 2.31 | 0.7619 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO13011A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3630023 | 2013-01-11 |  | 47.9 | 46.2 | 103.6797 | 3.6797 | 2.31 | 0.73593 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO13011A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3480089 | 2013-01-11 |  | 55.86 | 54.575 | 102.3546 | 2.3546 | 2.7287 | 0.47091 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13011A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3530078 | 2013-01-11 |  | 55.76 | 54.575 | 102.1713 | 2.1713 | 2.7287 | 0.43426 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13011A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 3620037 | 2013-01-11 |  | 55.48 | 54.575 | 101.6583 | 1.6583 | 2.7287 | 0.33165 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13011A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0080021 | 2013-02-06 |  | 76.76 | 74.425 | 103.1374 | 3.1374 | 3.7213 | 0.62748 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13037A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0150082 | 2013-02-06 |  | 76.21 | 74.425 | 102.3984 | 2.3984 | 3.7213 | 0.47968 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13037A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0100058 | 2013-02-06 |  | 55.44 | 54.575 | 101.585 | 1.585 | 2.7287 | 0.31699 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13037A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0170083 | 2013-02-06 |  | 55.41 | 54.575 | 101.53 | 1.53 | 2.7287 | 0.306 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13037A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0230081 | 2013-02-14 |  | 76.98 | 74.425 | 103.433 | 3.433 | 3.7213 | 0.6866 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13039A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0300024 | 2013-02-14 |  | 77.15 | 74.425 | 103.6614 | 3.6614 | 3.7213 | 0.73228 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13039A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0240046 | 2013-02-14 |  | 56.11 | 54.575 | 102.8126 | 2.8126 | 2.7287 | 0.56253 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13039A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0320059 | 2013-02-14 |  | 56.06 | 54.575 | 102.721 | 2.721 | 2.7287 | 0.54421 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13039A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0380084 | 2013-02-14 |  | 61.4 | 59.175 | 103.76 | 3.76 | 2.9588 | 0.75201 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13039A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0390120 | 2013-02-27 |  | 76.81 | 74.425 | 103.2046 | 3.2046 | 3.7213 | 0.64091 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13058A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0440012 | 2013-02-27 |  | 61.1 | 59.175 | 103.2531 | 3.2531 | 2.9588 | 0.65061 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13058A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0460018 | 2013-03-05 |  | 76.97 | 74.425 | 103.4195 | 3.4195 | 3.7213 | 0.68391 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13064A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0530072 | 2013-03-05 |  | 76.81 | 74.425 | 103.2046 | 3.2046 | 3.7213 | 0.64091 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13064A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0520096 | 2013-03-05 |  | 61.27 | 59.175 | 103.5403 | 3.5403 | 2.9588 | 0.70807 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13064A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0570091 | 2013-03-12 |  | 60.78 | 59.175 | 102.7123 | 2.7123 | 2.9588 | 0.54246 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13071A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0590054 | 2013-03-20 |  | 76.34 | 74.425 | 102.5731 | 2.5731 | 3.7213 | 0.51461 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13079A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0660061 | 2013-03-20 |  | 60.92 | 59.175 | 102.9489 | 2.9489 | 2.9588 | 0.58978 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13079A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0650032 | 2013-03-20 |  | 28.18 | 26.475 | 106.44 | 6.44 | 1.5 | 1.1367 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13079A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0710043 | 2013-03-20 |  | 28.26 | 26.475 | 106.7422 | 6.7422 | 1.5 | 1.19 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13079A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0730065 | 2013-03-27 |  | 61 | 59.175 | 103.0841 | 3.0841 | 2.9588 | 0.61681 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13086A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0780128 | 2013-03-27 |  | 28.31 | 26.475 | 106.9311 | 6.9311 | 1.5 | 1.2233 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13086A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0930134 | 2013-04-09 |  | 47.31 | 45.75 | 103.4098 | 3.4098 | 2.2875 | 0.68197 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO13099A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0800101 | 2013-04-09 |  | 60.96 | 59.175 | 103.0165 | 3.0165 | 2.9588 | 0.6033 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13099A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0860036 | 2013-04-09 |  | 61.21 | 59.175 | 103.439 | 3.439 | 2.9588 | 0.68779 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13099A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 0860028 | 2013-04-09 |  | 28.59 | 26.475 | 107.9887 | 7.9887 | 1.5 | 1.41 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13099A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1000018 | 2013-04-22 |  | 47.77 | 45.75 | 104.4153 | 4.4153 | 2.2875 | 0.88306 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO13112A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1070076 | 2013-05-09 |  | 48.09 | 45.75 | 105.1148 | 5.1148 | 2.2875 | 1.023 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO13129A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1150036 | 2013-05-09 |  | 47.37 | 45.75 | 103.541 | 3.541 | 2.2875 | 0.7082 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75194-25DIW | AKTO13129A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1280079 | 2013-05-28 |  | 48.08 | 46.2 | 104.0693 | 4.0693 | 2.31 | 0.81385 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO13148A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1350111 | 2013-05-28 |  | 48.38 | 46.2 | 104.7186 | 4.7186 | 2.31 | 0.94372 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO13148A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1420115 | 2013-06-04 |  | 48.12 | 46.2 | 104.1558 | 4.1558 | 2.31 | 0.83117 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO13155A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1500060 | 2013-06-27 |  | 48.26 | 46.2 | 104.4589 | 4.4589 | 2.31 | 0.89177 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25196-75198 | AKTO13178A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1560016 | 2013-06-27 |  | 55.78 | 54.575 | 102.208 | 2.208 | 2.7287 | 0.44159 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13178A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1640019 | 2013-07-09 |  | 55.87 | 54.575 | 102.3729 | 2.3729 | 2.7287 | 0.47458 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13190A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1700026 | 2013-07-11 |  | 56.34 | 54.575 | 103.2341 | 3.2341 | 2.7287 | 0.64682 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13192A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1770039 | 2013-07-23 |  | 56.2 | 54.575 | 102.9776 | 2.9776 | 2.7287 | 0.59551 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75194 | AKTO13204A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1840061 | 2013-07-24 |  | 76.56 | 74.425 | 102.8687 | 2.8687 | 3.7213 | 0.57373 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13205A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1920070 | 2013-07-30 |  | 76.19 | 74.425 | 102.3715 | 2.3715 | 3.7213 | 0.4743 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13211A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 1990005 | 2013-08-02 |  | 76.28 | 74.425 | 102.4924 | 2.4924 | 3.7213 | 0.49849 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13214A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2060066 | 2013-08-08 |  | 76.63 | 74.425 | 102.9627 | 2.9627 | 3.7213 | 0.59254 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25194-75196 | AKTO13220A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2330150 | 2013-08-28 |  | 61.7 | 59.175 | 104.267 | 4.267 | 2.9588 | 0.8534 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13240A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2400030 | 2013-09-12 |  | 61.35 | 59.175 | 103.6755 | 3.6755 | 2.9588 | 0.73511 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13254A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2490095 | 2013-10-23 |  | 62.2 | 59.175 | 105.112 | 5.112 | 2.9588 | 1.0224 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13295A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2600019 | 2013-10-23 |  | 62.18 | 59.175 | 105.0782 | 5.0782 | 2.9588 | 1.0156 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13295A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2480141 | 2013-10-23 |  | 29.06 | 26.475 | 109.7639 | 9.7639 | 1.5 | 1.7233 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13295A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2610040 | 2013-10-23 |  | 29.07 | 26.475 | 109.8017 | 9.8017 | 1.5 | 1.73 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13295A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2630010 | 2013-10-24 |  | 62.43 | 59.175 | 105.5006 | 5.5006 | 2.9588 | 1.1001 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13297A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2550162 | 2013-10-24 |  | 29.19 | 26.475 | 110.255 | 10.255 | 1.5 | 1.81 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13297A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2190039 | 2013-10-25 |  | 62.6 | 59.175 | 105.7879 | 5.7879 | 2.9588 | 1.1576 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13297B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2250099 | 2013-10-25 |  | 62.52 | 59.175 | 105.6527 | 5.6527 | 2.9588 | 1.1305 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13297B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2700014 | 2013-10-28 |  | 62.29 | 59.175 | 105.264 | 5.264 | 2.9588 | 1.0528 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75196-25DIW | AKTO13297C
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2013 | 2680005 | 2013-10-28 |  | 29.21 | 26.475 | 110.3305 | 10.3305 | 1.5 | 1.8233 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13297C
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2980031 | 2013-11-05 |  | 15.58 | 13.125 | 118.7048 | 18.7048 | 1.5 | 1.6367 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO13309A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3100017 | 2013-11-14 |  | 21.63 | 20.2 | 107.0792 | 7.0792 | 1.5 | 0.95333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO13318A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3170095 | 2013-11-21 |  | 21.63 | 20.2 | 107.0792 | 7.0792 | 1.5 | 0.95333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO13324A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3190024 | 2013-11-21 |  | 28.53 | 26.475 | 107.762 | 7.762 | 1.5 | 1.37 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13324A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3240006 | 2013-12-04 |  | 21.68 | 20.2 | 107.3267 | 7.3267 | 1.5 | 0.98667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO13337A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3260027 | 2013-12-04 |  | 28.48 | 26.475 | 107.5732 | 7.5732 | 1.5 | 1.3367 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13337A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3370058 | 2013-12-17 |  | 32.42 | 30.85 | 105.0891 | 5.0891 | 1.5425 | 1.0178 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO13351A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3330011 | 2013-12-17 |  | 28.45 | 26.475 | 107.4599 | 7.4599 | 1.5 | 1.3167 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO13351A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3460106 | 2013-12-30 |  | 22.34 | 20.2 | 110.5941 | 10.5941 | 1.5 | 1.4267 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO13361A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3540027 | 2013-12-30 |  | 21.92 | 20.2 | 108.5149 | 8.5149 | 1.5 | 1.1467 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO13361A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3450004 | 2013-12-30 |  | 33.23 | 30.85 | 107.7147 | 7.7147 | 1.5425 | 1.5429 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO13361A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3510103 | 2013-12-30 |  | 33.12 | 30.85 | 107.3582 | 7.3582 | 1.5425 | 1.4716 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO13361A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0070049 | 2014-01-13 |  | 32.36 | 30.05 | 107.6872 | 7.6872 | 1.5025 | 1.5374 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14013A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 3610045 | 2014-01-13 |  | 22.36 | 20.2 | 110.6931 | 10.6931 | 1.5 | 1.44 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO14013A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0070050 | 2014-01-13 |  | 33.01 | 30.85 | 107.0016 | 7.0016 | 1.5425 | 1.4003 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO14013A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0160010 | 2014-01-22 |  | 32.43 | 30.05 | 107.9201 | 7.9201 | 1.5025 | 1.584 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14022A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0160121 | 2014-01-22 |  | 32.96 | 30.85 | 106.8395 | 6.8395 | 1.5425 | 1.3679 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO14022A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0220058 | 2014-01-29 |  | 32.68 | 30.05 | 108.7521 | 8.7521 | 1.5025 | 1.7504 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14029A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0230089 | 2014-01-29 |  | 33.03 | 30.85 | 107.0665 | 7.0665 | 1.5425 | 1.4133 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO14029A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0350093 | 2014-02-07 |  | 23.78 | 21.225 | 112.0377 | 12.0377 | 1.5 | 1.7033 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14038A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0440057 | 2014-02-19 |  | 32.72 | 30.05 | 108.8852 | 8.8852 | 1.5025 | 1.777 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14050A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0420040 | 2014-02-19 |  | 23.98 | 21.225 | 112.98 | 12.98 | 1.5 | 1.8367 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14050A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0510050 | 2014-02-26 |  | 33.11 | 30.05 | 110.183 | 10.183 | 1.5025 | 2.0366 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14056A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0500036 | 2014-02-26 |  | 24.41 | 21.225 | 115.0059 | 15.0059 | 1.5 | 2.1233 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14056A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0580043 | 2014-03-05 |  | 33.02 | 30.05 | 109.8835 | 9.8835 | 1.5025 | 1.9767 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14063A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0630109 | 2014-03-11 |  | 15.84 | 13.125 | 120.6857 | 20.6857 | 1.5 | 1.81 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14069A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0720080 | 2014-03-19 |  | 24.07 | 21.225 | 113.404 | 13.404 | 1.5 | 1.8967 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14077A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0720017 | 2014-03-19 |  | 15.77 | 13.125 | 120.1524 | 20.1524 | 1.5 | 1.7633 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14077A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0770139 | 2014-03-21 |  | 16.14 | 13.125 | 122.9714 | 22.9714 | 1.5 | 2.01 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14080A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0840106 | 2014-04-07 |  | 23.43 | 21.225 | 110.3887 | 10.3887 | 1.5 | 1.47 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14092A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0860093 | 2014-04-14 |  | 22.74 | 21.225 | 107.1378 | 7.1378 | 1.5 | 1.01 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14104A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0920062 | 2014-04-17 |  | 28.01 | 26.475 | 105.7979 | 5.7979 | 1.5 | 1.0233 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO14106A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 0980061 | 2014-04-17 |  | 27.73 | 26.475 | 104.7403 | 4.7403 | 1.5 | 0.83667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO14106A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1000248 | 2014-04-22 |  | 14.03 | 13.125 | 106.8952 | 6.8952 | 1.5 | 0.60333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14112A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1050158 | 2014-04-28 |  | 28.38 | 26.475 | 107.1955 | 7.1955 | 1.5 | 1.27 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO14115A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1080041 | 2014-04-28 |  | 14.64 | 13.125 | 111.5429 | 11.5429 | 1.5 | 1.01 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14115A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1150021 | 2014-05-05 |  | 14.28 | 13.125 | 108.8 | 8.8 | 1.5 | 0.77 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14125A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1270070 | 2014-05-21 |  | 20.68 | 20.2 | 102.3762 | 2.3762 | 1.5 | 0.32 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO14140A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1340006 | 2014-05-28 |  | 20.74 | 20.2 | 102.6733 | 2.6733 | 1.5 | 0.36 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO14147A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1360102 | 2014-06-03 |  | 27.75 | 26.475 | 104.8159 | 4.8159 | 1.5 | 0.85 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO14153B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1410038 | 2014-06-11 |  | 20.67 | 20.2 | 102.3267 | 2.3267 | 1.5 | 0.31333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO14162A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1420016 | 2014-06-11 |  | 27.6 | 26.475 | 104.2493 | 4.2493 | 1.5 | 0.75 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO14162A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1500006 | 2014-06-19 |  | 27.84 | 26.475 | 105.1558 | 5.1558 | 1.5 | 0.91 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75198-25DIW | AKTO14170A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1550071 | 2014-06-25 |  | 31.88 | 30.85 | 103.3387 | 3.3387 | 1.5425 | 0.66775 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO14175A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1640083 | 2014-06-30 |  | 20.91 | 20.2 | 103.5149 | 3.5149 | 1.5 | 0.47333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO14181A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1620023 | 2014-06-30 |  | 31.75 | 30.85 | 102.9173 | 2.9173 | 1.5425 | 0.58347 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO14181A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1680200 | 2014-07-09 |  | 31.68 | 30.85 | 102.6904 | 2.6904 | 1.5425 | 0.53809 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO14189B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1710126 | 2014-07-11 |  | 21.1 | 20.2 | 104.4554 | 4.4554 | 1.5 | 0.6 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO14191A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1770170 | 2014-07-18 |  | 21.2 | 20.2 | 104.9505 | 4.9505 | 1.5 | 0.66667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25200-75202 | AKTO14199A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1900016 | 2014-07-28 |  | 30.84 | 30.05 | 102.629 | 2.629 | 1.5025 | 0.52579 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14209A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1970060 | 2014-08-05 |  | 30.87 | 30.05 | 102.7288 | 2.7288 | 1.5025 | 0.54576 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14216A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 1980176 | 2014-08-05 |  | 31.44 | 30.85 | 101.9125 | 1.9125 | 1.5425 | 0.3825 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO14216A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2040108 | 2014-08-12 |  | 30.88 | 30.05 | 102.7621 | 2.7621 | 1.5025 | 0.55241 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14224A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2050067 | 2014-08-12 |  | 31.46 | 30.85 | 101.9773 | 1.9773 | 1.5425 | 0.39546 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO14224A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2130139 | 2014-08-29 |  | 31.81 | 30.85 | 103.1118 | 3.1118 | 1.5425 | 0.62237 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75198 | AKTO14239A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2170106 | 2014-08-29 |  | 22.53 | 21.225 | 106.1484 | 6.1484 | 1.5 | 0.87 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14239A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2240180 | 2014-09-11 |  | 22.45 | 21.225 | 105.7715 | 5.7715 | 1.5 | 0.81667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14253A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2270007 | 2014-09-15 |  | 31 | 30.05 | 103.1614 | 3.1614 | 1.5025 | 0.63228 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14255A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2340184 | 2014-09-17 |  | 31.02 | 30.05 | 103.228 | 3.228 | 1.5025 | 0.64559 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14259A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2330167 | 2014-09-17 |  | 22.46 | 21.225 | 105.8186 | 5.8186 | 1.5 | 0.82333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14259A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2450330 | 2014-09-29 |  | 31.3 | 30.05 | 104.1597 | 4.1597 | 1.5025 | 0.83195 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25198-75200 | AKTO14269A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2470045 | 2014-10-02 |  | 14.67 | 13.125 | 111.7714 | 11.7714 | 1.5 | 1.03 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14274A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2580037 | 2014-10-08 |  | 22.54 | 21.225 | 106.1955 | 6.1955 | 1.5 | 0.87667 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14280A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2530083 | 2014-10-08 |  | 14.42 | 13.125 | 109.8667 | 9.8667 | 1.5 | 0.86333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14280A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2590057 | 2014-10-08 |  | 14.25 | 13.125 | 108.5714 | 8.5714 | 1.5 | 0.75 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14280A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2620033 | 2014-10-15 |  | 22.8 | 21.225 | 107.4205 | 7.4205 | 1.5 | 1.05 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14287A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2014 | 2720028 | 2014-10-21 |  | 22.62 | 21.225 | 106.5724 | 6.5724 | 1.5 | 0.93 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75200-25DIW | AKTO14293A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 2800026 | 2014-10-31 |  | 14.45 | 13.125 | 110.0952 | 10.0952 | 1.5 | 0.88333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14303A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 2940048 | 2014-11-19 |  | 17.18 | 13.125 | 130.8952 | 30.8952 | 1.5 | 2.7033 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO14322A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 3080071 | 2014-12-02 |  | 24.24 | 23.35 | 103.8116 | 3.8116 | 1.5 | 0.59333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25204-75202 | AKTO14335A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 3220014 | 2014-12-09 |  | 24.1 | 23.35 | 103.212 | 3.212 | 1.5 | 0.5 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25204-75202 | AKTO14342A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 3360062 | 2014-12-18 |  | 36.69 | 35.875 | 102.2718 | 2.2718 | 1.7937 | 0.45436 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75206 | AKTO14351A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 3500002 | 2015-01-12 |  | 36.79 | 35.875 | 102.5505 | 2.5505 | 1.7937 | 0.5101 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75206 | AKTO15009A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 0060045 | 2015-01-12 |  | 41.54 | 41.175 | 100.8865 | 0.88646 | 2.0587 | 0.17729 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25206-75204 | AKTO15009A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 0210032 | 2015-01-23 |  | 41.53 | 41.175 | 100.8622 | 0.86217 | 2.0587 | 0.17243 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25206-75204 | AKTO15023A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 0340027 | 2015-02-06 |  | 31.63 | 30.675 | 103.1133 | 3.1133 | 1.5337 | 0.62266 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75204-25DIW | AKTO15037A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 0490014 | 2015-02-20 |  | 32.07 | 30.675 | 104.5477 | 4.5477 | 1.5337 | 0.90954 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75204-25DIW | AKTO15050A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 0630086 | 2015-03-10 |  | 32.49 | 31.5 | 103.1429 | 3.1429 | 1.575 | 0.62857 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75206-25DIW | AKTO15069A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 0760061 | 2015-03-20 |  | 32.37 | 31.5 | 102.7619 | 2.7619 | 1.575 | 0.55238 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75206-25DIW | AKTO15078A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 0970039 | 2015-04-15 |  | 14.33 | 13.125 | 109.181 | 9.181 | 1.5 | 0.80333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO15104A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 1110127 | 2015-04-23 |  | 14.45 | 13.125 | 110.0952 | 10.0952 | 1.5 | 0.88333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75202-25DIW | AKTO15112A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 1250071 | 2015-05-13 |  | 24.04 | 23.35 | 102.955 | 2.955 | 1.5 | 0.46 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25204-75202 | AKTO15133B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 1390154 | 2015-06-01 |  | 24.21 | 23.35 | 103.6831 | 3.6831 | 1.5 | 0.57333 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25204-75202 | AKTO15152A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 1530190 | 2015-06-18 |  | 36.58 | 35.875 | 101.9652 | 1.9652 | 1.7937 | 0.39303 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75206 | AKTO15168A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 1690076 | 2015-07-02 |  | 36.65 | 35.875 | 102.1603 | 2.1603 | 1.7937 | 0.43206 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25202-75206 | AKTO15182A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 1880122 | 2015-07-15 |  | 41.65 | 41.175 | 101.1536 | 1.1536 | 2.0587 | 0.23072 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25206-75204 | AKTO15195A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 2030111 | 2015-07-30 |  | 41.71 | 41.175 | 101.2993 | 1.2993 | 2.0587 | 0.25987 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 25206-75204 | AKTO15210A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 2160026 | 2015-08-13 |  | 31.85 | 30.675 | 103.8305 | 3.8305 | 1.5337 | 0.7661 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75204-25DIW | AKTO15224A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 2320209 | 2015-09-08 |  | 35.12 | 30.675 | 114.4906 | 14.4906 | 1.5337 | 2.8981 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75204-25DIW | AKTO15251A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 2450071 | 2015-09-24 |  | 35.16 | 31.5 | 111.619 | 11.619 | 1.575 | 2.3238 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75206-25DIW | AKTO15266A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2015 | 2580069 | 2015-09-30 |  | 32.28 | 31.5 | 102.4762 | 2.4762 | 1.575 | 0.49524 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75206-25DIW | AKTO15272A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 2790066 | 2015-10-14 |  | 32.52 | 31.5 | 103.2381 | 3.2381 | 2 | 0.51 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75206-25DIW | AKTO15286A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 2930191 | 2015-10-30 |  | 32.79 | 31.5 | 104.0952 | 4.0952 | 2 | 0.645 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75206-25DIW | AKTO15302A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 3070098 | 2015-11-25 |  | 72.66 | 75 | 96.88 | -3.12 | 3.75 | -0.624 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKTO15328A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 3210009 | 2015-12-02 |  | 67.34 | 75 | 89.7867 | -10.2133 | 3.75 | -2.0427 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKTO15336A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 3420098 | 2015-12-18 |  | 23.77 | 23 | 103.3478 | 3.3478 | 2 | 0.385 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKTO15351A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 3560095 | 2016-01-08 |  | 23.76 | 23 | 103.3043 | 3.3043 | 2 | 0.38 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKTO16007A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 0050022 | 2016-01-25 |  | 18.52 | 17.5 | 105.8286 | 5.8286 | 2 | 0.51 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M202 | AKTO16025A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 0200027 | 2016-02-04 |  | 18.4 | 17.5 | 105.1429 | 5.1429 | 2 | 0.45 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M202 | AKTO16034A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 0330058 | 2016-02-19 |  | 26.4 | 24.5 | 107.7551 | 7.7551 | 2 | 0.95 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKTO16049A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 0480025 | 2016-02-25 |  | 26.3 | 24.5 | 107.3469 | 7.3469 | 2 | 0.9 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKTO16055A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 0690045 | 2016-03-15 |  | 42.76 | 40.9 | 104.5477 | 4.5477 | 2.045 | 0.90954 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M204 | AKTO16074A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 0820021 | 2016-04-07 |  | 42.34 | 40.9 | 103.5208 | 3.5208 | 2.045 | 0.70416 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M204 | AKTO16097A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 0960077 | 2016-04-13 |  | 33.57 | 31.5 | 106.5714 | 6.5714 | 2 | 1.035 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75206-25DIW | AKTO16103A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 1110064 | 2016-05-02 |  | 32.75 | 31.5 | 103.9683 | 3.9683 | 2 | 0.625 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | 75206-25DIW | AKTO16120A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 1240113 | 2016-05-16 |  | 70.5 | 75 | 94 | -6 | 3.75 | -1.2 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKTO16133A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 1400026 | 2016-06-06 |  | 71.68 | 75 | 95.5733 | -4.4267 | 3.75 | -0.88533 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKTO16155A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 1590116 | 2016-06-23 |  | 23.91 | 23 | 103.9565 | 3.9565 | 2 | 0.455 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKTO16175A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 1740274 | 2016-07-14 |  | 23.96 | 23 | 104.1739 | 4.1739 | 2 | 0.48 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKTO16195A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 1880118 | 2016-07-29 |  | 18.52 | 17.5 | 105.8286 | 5.8286 | 2 | 0.51 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M202 | AKTO16210A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 2010269 | 2016-08-01 |  | 18.37 | 17.5 | 104.9714 | 4.9714 | 2 | 0.435 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M202 | AKTO16214A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 2230017 | 2016-08-23 |  | 26.04 | 24.5 | 106.2857 | 6.2857 | 2 | 0.77 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKTO16235A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 2360188 | 2016-09-01 |  | 25.85 | 24.5 | 105.5102 | 5.5102 | 2 | 0.675 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKTO16244A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 2520010 | 2016-09-14 |  | 42.04 | 40.9 | 102.7873 | 2.7873 | 2.045 | 0.55746 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M204 | AKTO16257A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2016 | 2640181 | 2016-09-26 |  | 42.01 | 40.9 | 102.7139 | 2.7139 | 2.045 | 0.54279 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M204 | AKTO16267A