## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2011 | 2730120 | 2011-10-14 |  | 0.193 | 0.195 | 98.9744 | -1.0256 | 0.020184 | -0.099088 | 0.04 | 2188 |  |  |  | mg/L | N109 | NUTA287A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2850052 | 2011-10-14 |  | 0.905 | 0.84 | 107.7381 | 7.7381 | 0.044018 | 1.4767 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA287A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2910072 | 2011-11-03 |  | 0.905 | 0.84 | 107.7381 | 7.7381 | 0.044018 | 1.4767 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA307A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2940158 | 2011-11-03 |  | 0.903 | 0.84 | 107.5 | 7.5 | 0.044018 | 1.4312 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA307A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 3040113 | 2011-11-03 |  | 0.908 | 0.84 | 108.0952 | 8.0952 | 0.044018 | 1.5448 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA307A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 3080108 | 2011-11-10 |  | 0.297 | 0.28 | 106.0714 | 6.0714 | 0.018146 | 0.93685 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA314A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 3190045 | 2011-12-01 |  | 0.299 | 0.28 | 106.7857 | 6.7857 | 0.018146 | 1.0471 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA335A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 3250135 | 2011-12-09 |  | 0.298 | 0.28 | 106.4286 | 6.4286 | 0.018146 | 0.99195 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA343A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 3330119 | 2011-12-09 |  | 0.3 | 0.28 | 107.1429 | 7.1429 | 0.018146 | 1.1022 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA343A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 3490203 | 2011-12-16 |  | 0.863 | 0.84 | 102.7381 | 2.7381 | 0.044018 | 0.52251 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA350A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0120087 | 2012-01-17 |  | 0.295 | 0.28 | 105.3571 | 5.3571 | 0.018146 | 0.82663 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA017A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 3540039 | 2012-01-17 |  | 0.887 | 0.84 | 105.5952 | 5.5952 | 0.044018 | 1.0677 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA017A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 3630028 | 2012-01-17 |  | 0.894 | 0.84 | 106.4286 | 6.4286 | 0.044018 | 1.2268 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA017A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0050036 | 2012-01-17 |  | 0.913 | 0.84 | 108.6905 | 8.6905 | 0.044018 | 1.6584 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA017A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0170047 | 2012-01-30 |  | 0.288 | 0.28 | 102.8571 | 2.8571 | 0.018146 | 0.44087 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA030A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0200113 | 2012-01-30 |  | 0.286 | 0.28 | 102.1429 | 2.1429 | 0.018146 | 0.33065 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA030A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0310041 | 2012-03-02 |  | 0.282 | 0.28 | 100.7143 | 0.71429 | 0.018146 | 0.11022 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA044A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0410091 | 2012-03-06 | < | 0.02 | 0.84 | 2.381 | -97.619 | 0.044018 | -18.6287 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA066A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0530088 | 2012-03-06 |  | 0.905 | 0.84 | 107.7381 | 7.7381 | 0.044018 | 1.4767 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA066A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0590063 | 2012-03-06 |  | 0.875 | 0.84 | 104.1667 | 4.1667 | 0.044018 | 0.79513 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA066A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0660059 | 2012-03-20 |  | 0.849 | 0.84 | 101.0714 | 1.0714 | 0.044018 | 0.20446 | 0.02 | 2188 |  |  |  | mg/L as N | N112 | NUTA080A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0740073 | 2012-04-09 |  | 0.273 | 0.28 | 97.5 | -2.5 | 0.018146 | -0.38576 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA100A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0810003 | 2012-04-09 |  | 0.271 | 0.28 | 96.7857 | -3.2143 | 0.018146 | -0.49598 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA100A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0830114 | 2012-04-09 |  | 0.275 | 0.28 | 98.2143 | -1.7857 | 0.018146 | -0.27554 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA100A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0930038 | 2012-04-09 |  | 0.273 | 0.28 | 97.5 | -2.5 | 0.018146 | -0.38576 | 0.02 | 2188 |  |  |  | mg/L as N | N111 | NUTA100A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 0970144 | 2012-04-09 |  | 0.947 | 0.927 | 102.1575 | 2.1575 | 0.048037 | 0.41634 | 0.02 | 2188 |  |  |  | mg/L as N | N114 | NUTA100A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1080028 | 2012-05-04 |  | 0.921 | 0.927 | 99.3528 | -0.64725 | 0.048037 | -0.1249 | 0.02 | 2188 |  |  |  | mg/L as N | N114 | NUTA125A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1140064 | 2012-05-04 |  | 0.944 | 0.927 | 101.8339 | 1.8339 | 0.048037 | 0.35389 | 0.02 | 2188 |  |  |  | mg/L as N | N114 | NUTA125A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1210126 | 2012-05-04 |  | 0.942 | 0.927 | 101.6181 | 1.6181 | 0.048037 | 0.31226 | 0.02 | 2188 |  |  |  | mg/L as N | N114 | NUTA125A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1360092 | 2012-05-24 |  | 0.2 | 0.207 | 96.6184 | -3.3816 | 0.014773 | -0.47382 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA145A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1390135 | 2012-05-24 |  | 0.19 | 0.207 | 91.7874 | -8.2126 | 0.014773 | -1.1507 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA145A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1510150 | 2012-06-04 |  | 0.219 | 0.207 | 105.7971 | 5.7971 | 0.014773 | 0.81227 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA156A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1560093 | 2012-06-18 |  | 0.201 | 0.207 | 97.1014 | -2.8986 | 0.014773 | -0.40614 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA167A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1660016 | 2012-06-18 |  | 0.979 | 0.927 | 105.6095 | 5.6095 | 0.048037 | 1.0825 | 0.02 | 2188 |  |  |  | mg/L as N | N114 | NUTA167A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1710060 | 2012-06-28 |  | 1.007 | 0.927 | 108.63 | 8.63 | 0.048037 | 1.6654 | 0.02 | 2188 |  |  |  | mg/L as N | N114 | NUTA180A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1800009 | 2012-07-10 |  | 0.977 | 0.927 | 105.3937 | 5.3937 | 0.048037 | 1.0409 | 0.02 | 2188 |  |  |  | mg/L as N | N114 | NUTA192A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1850044 | 2012-07-10 |  | 0.995 | 0.927 | 107.3355 | 7.3355 | 0.048037 | 1.4156 | 0.02 | 2188 |  |  |  | mg/L as N | N114 | NUTA192A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1940180 | 2012-08-02 |  | 0.216 | 0.207 | 104.3478 | 4.3478 | 0.014773 | 0.6092 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA215A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 1980055 | 2012-08-02 |  | 0.215 | 0.207 | 103.8647 | 3.8647 | 0.014773 | 0.54151 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA215A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2060078 | 2012-09-06 |  | 0.22 | 0.207 | 106.2802 | 6.2802 | 0.014773 | 0.87996 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L as N | N113 | NUTA249A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2090217 | 2012-09-06 |  | 0.221 | 0.207 | 106.7633 | 6.7633 | 0.014773 | 0.94765 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L as N | N113 | NUTA249A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2230113 | 2012-09-06 |  | 1.017 | 0.927 | 109.7087 | 9.7087 | 0.048037 | 1.8735 | 0.02 | 2188 | Improper Preservation | See result laboratory comment |  | mg/L as N | N114 | NUTA249A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2550018 | 2012-09-24 |  | 0.229 | 0.207 | 110.628 | 10.628 | 0.014773 | 1.4892 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA268A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2640128 | 2012-09-24 |  | 0.226 | 0.207 | 109.1787 | 9.1787 | 0.014773 | 1.2861 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA268A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2340241 | 2012-09-24 |  | 1.028 | 0.927 | 110.8954 | 10.8954 | 0.048037 | 2.1025 | 0.02 | 2188 | Holding time exceeded | Improper Preservation | See result laboratory comment | mg/L as N | N114 | NUTA268A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2370368 | 2012-09-24 |  | 1.013 | 0.927 | 109.2772 | 9.2772 | 0.048037 | 1.7903 | 0.02 | 2188 | Holding time exceeded | Improper Preservation | See result laboratory comment | mg/L as N | N114 | NUTA268A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2440025 | 2012-09-24 |  | 1.008 | 0.927 | 108.7379 | 8.7379 | 0.048037 | 1.6862 | 0.02 | 2188 | Improper Preservation | See result laboratory comment |  | mg/L as N | N114 | NUTA268A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2690160 | 2012-09-27 |  | 0.223 | 0.207 | 107.7295 | 7.7295 | 0.014773 | 1.083 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA271A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2012 | 2750028 | 2012-10-19 | < | 0.02 | 0.207 | 9.6618 | -90.3382 | 0.014773 | -12.6579 | 0.02 | 2188 |  |  |  | mg/L as N | N113 | NUTA278A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 2830010 | 2012-10-19 |  | 0.418 | 0.4 | 104.5 | 4.5 | 0.02369 | 0.75981 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA278A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 2890175 | 2012-10-19 |  | 0.413 | 0.4 | 103.25 | 3.25 | 0.02369 | 0.54875 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA278A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 2960044 | 2012-10-30 |  | 0.424 | 0.4 | 106 | 6 | 0.02369 | 1.0131 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA304A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 3200015 | 2012-11-27 |  | 0.233 | 0.23 | 101.3043 | 1.3043 | 0.015836 | 0.18944 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA332A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 3250068 | 2012-11-27 |  | 0.237 | 0.23 | 103.0435 | 3.0435 | 0.015836 | 0.44203 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA332A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 3040102 | 2012-11-27 |  | 0.409 | 0.4 | 102.25 | 2.25 | 0.02369 | 0.37991 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA332A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 3330024 | 2012-12-05 |  | 0.24 | 0.23 | 104.3478 | 4.3478 | 0.015836 | 0.63147 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA340A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 3390135 | 2012-12-05 |  | 0.235 | 0.23 | 102.1739 | 2.1739 | 0.015836 | 0.31574 | 0.02 | 2188 | Below the reporting level but at or above the detection level | Sample was diluted |  | mg/L as N | N115 | NUTA340A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 3460107 | 2012-12-20 |  | 0.411 | 0.4 | 102.75 | 2.75 | 0.02369 | 0.46433 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA355A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 3520073 | 2012-12-20 |  | 0.42 | 0.4 | 105 | 5 | 0.02369 | 0.84424 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA355A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0140044 | 2013-01-25 |  | 0.237 | 0.23 | 103.0435 | 3.0435 | 0.015836 | 0.44203 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA018A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0230078 | 2013-01-25 |  | 0.237 | 0.23 | 103.0435 | 3.0435 | 0.015836 | 0.44203 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA018A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 3620019 | 2013-01-25 |  | 0.414 | 0.4 | 103.5 | 3.5 | 0.02369 | 0.59097 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA018A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0020019 | 2013-01-25 |  | 0.411 | 0.4 | 102.75 | 2.75 | 0.02369 | 0.46433 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA018A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0250066 | 2013-02-15 |  | 0.233 | 0.23 | 101.3043 | 1.3043 | 0.015836 | 0.18944 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA046A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0350013 | 2013-02-15 |  | 0.243 | 0.23 | 105.6522 | 5.6522 | 0.015836 | 0.82091 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA046A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0420048 | 2013-02-15 |  | 0.415 | 0.4 | 103.75 | 3.75 | 0.02369 | 0.63318 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA046A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0630132 | 2013-03-07 |  | 0.392 | 0.4 | 98 | -2 | 0.02369 | -0.3377 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA066B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0510159 | 2013-03-08 |  | 0.414 | 0.4 | 103.5 | 3.5 | 0.02369 | 0.59097 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA066A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0570023 | 2013-03-08 |  | 0.405 | 0.4 | 101.25 | 1.25 | 0.02369 | 0.21106 | 0.02 | 2188 |  |  |  | mg/L as N | N116 | NUTA066A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0800151 | 2013-03-29 |  | 0.244 | 0.23 | 106.087 | 6.087 | 0.015836 | 0.88406 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA088A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0770134 | 2013-03-29 |  | 0.237 | 0.23 | 103.0435 | 3.0435 | 0.015836 | 0.44203 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA088A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0810125 | 2013-03-29 |  | 0.233 | 0.23 | 101.3043 | 1.3043 | 0.015836 | 0.18944 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA088A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0930126 | 2013-04-10 |  | 0.237 | 0.23 | 103.0435 | 3.0435 | 0.015836 | 0.44203 | 0.02 | 2188 |  |  |  | mg/L as N | N115 | NUTA098A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 0990042 | 2013-05-06 |  | 0.825 | 0.799 | 103.2541 | 3.2541 | 0.042124 | 0.61723 | 0.02 | 2188 |  |  |  | mg/L as N | N118 | NUTA126A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 1120130 | 2013-05-06 |  | 0.82 | 0.799 | 102.6283 | 2.6283 | 0.042124 | 0.49853 | 0.02 | 2188 |  |  |  | mg/L as N | N118 | NUTA126A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 1340115 | 2013-06-03 |  | 0.42 | 0.391 | 107.4169 | 7.4169 | 0.023274 | 1.246 | 0.02 | 2188 |  |  |  | mg/L as N | N117 | NUTA154A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 1490098 | 2013-06-07 |  | 0.405 | 0.391 | 103.5806 | 3.5806 | 0.023274 | 0.60152 | 0.02 | 2188 |  |  |  | mg/L as N | N117 | NUTA151B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 1620029 | 2013-07-02 |  | 0.851 | 0.799 | 106.5081 | 6.5081 | 0.042124 | 1.2345 | 0.02 | 2188 |  |  |  | mg/L as N | N118 | NUTA178A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 1760003 | 2013-07-02 |  | 0.857 | 0.799 | 107.2591 | 7.2591 | 0.042124 | 1.3769 | 0.02 | 2188 |  |  |  | mg/L as N | N118 | NUTA178A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 1840059 | 2013-07-05 |  | 0.376 | 0.391 | 96.1637 | -3.8363 | 0.023274 | -0.64449 | 0.02 | 2188 |  |  |  | mg/L as N | N117 | NUTA186A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 1990004 | 2013-08-09 |  | 0.395 | 0.391 | 101.023 | 1.023 | 0.023274 | 0.17186 | 0.02 | 2188 |  |  |  | mg/L as N | N117 | NUTA221A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 2190034 | 2013-08-09 |  | 0.834 | 0.799 | 104.3805 | 4.3805 | 0.042124 | 0.83088 | 0.02 | 2188 |  |  |  | mg/L as N | N118 | NUTA221A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 2330147 | 2013-09-09 |  | 0.797 | 0.799 | 99.7497 | -0.25031 | 0.042124 | -0.047479 | 0.02 | 2188 |  |  |  | mg/L as N | N118 | NUTA252A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 2610002 | 2013-09-30 |  | 0.397 | 0.391 | 101.5345 | 1.5345 | 0.023274 | 0.2578 | 0.02 | 2188 |  |  |  | mg/L as N | N117 | NUTA273A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2013 | 2730147 | 2013-10-29 |  | 0.409 | 0.391 | 104.6036 | 4.6036 | 0.023274 | 0.77339 | 0.02 | 2188 |  |  |  | mg/L as N | N117 | NUTA302A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 3030014 | 2013-11-12 |  | 0.522 | 0.49 | 106.5306 | 6.5306 | 0.027848 | 1.1491 | 0.02 | 2188 |  |  |  | mg/L as N | N120 | NUTA316A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 3170092 | 2013-11-22 |  | 0.249 | 0.222 | 112.1622 | 12.1622 | 0.015466 | 1.7457 | 0.02 | 2188 |  |  |  | mg/L as N | N119 | NUTA326A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 3310036 | 2013-12-16 |  | 0.236 | 0.222 | 106.3063 | 6.3063 | 0.015466 | 0.90519 | 0.02 | 2188 |  |  |  | mg/L as N | N119 | NUTA350A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 3450002 | 2013-12-16 |  | 0.499 | 0.49 | 101.8367 | 1.8367 | 0.027848 | 0.32318 | 0.02 | 2188 |  |  |  | mg/L as N | N120 | NUTA350A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 3600076 | 2014-01-16 |  | 0.504 | 0.49 | 102.8571 | 2.8571 | 0.027848 | 0.50273 | 0.02 | 2188 |  |  |  | mg/L as N | N120 | NUTA016A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 0160008 | 2014-01-23 |  | 0.234 | 0.222 | 105.4054 | 5.4054 | 0.015466 | 0.77588 | 0.02 | 2188 |  |  |  | mg/L as N | N119 | NUTA023A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 0280034 | 2014-02-11 |  | 0.238 | 0.222 | 107.2072 | 7.2072 | 0.015466 | 1.0345 | 0.02 | 2188 | Sample was diluted |  |  | mg/L as N | N119 | NUTA042A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 0350089 | 2014-02-11 |  | 0.505 | 0.49 | 103.0612 | 3.0612 | 0.027848 | 0.53864 | 0.02 | 2188 |  |  |  | mg/L as N | N120 | NUTA042A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 0500031 | 2014-02-26 |  | 0.496 | 0.49 | 101.2245 | 1.2245 | 0.027848 | 0.21546 | 0.02 | 2188 |  |  |  | mg/L as N | N120 | NUTA057A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 0720016 | 2014-03-27 |  | 0.241 | 0.222 | 108.5586 | 8.5586 | 0.015466 | 1.2285 | 0.02 | 2188 |  |  |  | mg/L as N | N119 | NUTA085A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 0850066 | 2014-03-27 |  | 0.241 | 0.222 | 108.5586 | 8.5586 | 0.015466 | 1.2285 | 0.02 | 2188 |  |  |  | mg/L as N | N119 | NUTA085A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 1340010 | 2014-05-29 |  | 0.09 | 0.098 | 91.8367 | -8.1633 | 0.0097376 | -0.82156 | 0.02 | 2188 |  |  |  | mg/L as N | N121 | NUTA149A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 1480174 | 2014-06-06 |  | 0.101 | 0.098 | 103.0612 | 3.0612 | 0.0097376 | 0.30808 | 0.02 | 2188 |  |  |  | mg/L as N | N121 | NUTA157A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 1970061 | 2014-07-23 |  | 0.092 | 0.098 | 93.8776 | -6.1224 | 0.0097376 | -0.61617 | 0.02 | 2188 |  |  |  | mg/L as N | N121 | NUTA203A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 2110051 | 2014-08-04 |  | 0.097 | 0.098 | 98.9796 | -1.0204 | 0.0097376 | -0.10269 | 0.02 | 2188 |  |  |  | mg/L as N | N121 | NUTA216A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 2530086 | 2014-09-23 |  | 0.097 | 0.098 | 98.9796 | -1.0204 | 0.0097376 | -0.10269 | 0.02 | 2188 |  |  |  | mg/L as N | N121 | NUTA266A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2014 | 2660086 | 2014-10-09 |  | 0.102 | 0.098 | 104.0816 | 4.0816 | 0.0097376 | 0.41078 | 0.02 | 2188 |  |  |  | mg/L as N | N121 | NUTA282A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 2880093 | 2014-10-21 |  | 0.181 | 0.168 | 107.7381 | 7.7381 | 0.012972 | 1.0022 | 0.02 | 2188 |  |  |  | mg/L as N | N124 | NUTA289A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 3010073 | 2014-11-12 |  | 0.179 | 0.168 | 106.5476 | 6.5476 | 0.012972 | 0.84801 | 0.02 | 2188 |  |  |  | mg/L as N | N124 | NUTA314A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 3160013 | 2014-11-24 |  | 0.282 | 0.279 | 101.0753 | 1.0753 | 0.0181 | 0.16575 | 0.02 | 2188 |  |  |  | mg/L as N | N123 | NUTA328A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 3290074 | 2014-11-26 |  | 0.289 | 0.279 | 103.5842 | 3.5842 | 0.0181 | 0.55249 | 0.02 | 2188 |  |  |  | mg/L as N | N123 | NUTA330A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 3450052 | 2014-12-30 |  | 0.175 | 0.168 | 104.1667 | 4.1667 | 0.012972 | 0.53964 | 0.02 | 2188 |  |  |  | mg/L as N | N124 | NUTA364A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 0130018 | 2015-01-15 |  | 0.304 | 0.279 | 108.9606 | 8.9606 | 0.0181 | 1.3812 | 0.02 | 2188 |  |  |  | mg/L as N | N123 | NUTA015A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 3640002 | 2015-01-15 |  | 0.181 | 0.168 | 107.7381 | 7.7381 | 0.012972 | 1.0022 | 0.02 | 2188 |  |  |  | mg/L as N | N124 | NUTA015A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 0280023 | 2015-02-04 |  | 0.282 | 0.279 | 101.0753 | 1.0753 | 0.0181 | 0.16575 | 0.02 | 2188 |  |  |  | mg/L as N | N123 | NUTA035A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 0410032 | 2015-02-20 |  | 0.17 | 0.168 | 101.1905 | 1.1905 | 0.012972 | 0.15418 | 0.02 | 2188 |  |  |  | mg/L as N | N124 | NUTA049A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 0550063 | 2015-02-27 |  | 0.171 | 0.168 | 101.7857 | 1.7857 | 0.012972 | 0.23127 | 0.02 | 2188 |  |  |  | mg/L as N | N124 | NUTA056A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 0690078 | 2015-03-27 |  | 0.288 | 0.279 | 103.2258 | 3.2258 | 0.0181 | 0.49724 | 0.02 | 2188 |  |  |  | mg/L as N | N123 | NUTA086A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 0850098 | 2015-03-27 |  | 0.289 | 0.279 | 103.5842 | 3.5842 | 0.0181 | 0.55249 | 0.02 | 2188 |  |  |  | mg/L as N | N123 | NUTA086A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 1040072 | 2015-04-15 |  | 0.347 | 0.328 | 105.7927 | 5.7927 | 0.020364 | 0.93304 | 0.02 | 2188 |  |  |  | mg/L as N | N126 | NUTA105A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 1190152 | 2015-05-08 |  | 0.388 | 0.328 | 118.2927 | 18.2927 | 0.020364 | 2.9464 | 0.02 | 2188 |  |  |  | mg/L as N | N126 | NUTA128A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 1320069 | 2015-05-19 |  | 0.157 | 0.137 | 114.5985 | 14.5985 | 0.011539 | 1.7332 | 0.02 | 2188 |  |  |  | mg/L as N | N125 | NUTA134A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 1470113 | 2015-06-05 |  | 0.138 | 0.137 | 100.7299 | 0.72993 | 0.011539 | 0.08666 | 0.02 | 2188 |  |  |  | mg/L as N | N125 | NUTA156A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 1530196 | 2015-06-05 |  | 0.353 | 0.328 | 107.622 | 7.622 | 0.020364 | 1.2277 | 0.02 | 2188 |  |  |  | mg/L as N | N126 | NUTA156A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 1740038 | 2015-06-25 |  | 0.319 | 0.328 | 97.2561 | -2.7439 | 0.020364 | -0.44197 | 0.02 | 2188 |  |  |  | mg/L as N | N126 | NUTA175A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 1950025 | 2015-07-15 |  | 0.146 | 0.137 | 106.5693 | 6.5693 | 0.011539 | 0.77994 | 0.02 | 2188 |  |  |  | mg/L as N | N125 | NUTA196A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 2090024 | 2015-08-20 |  | 0.146 | 0.137 | 106.5693 | 6.5693 | 0.011539 | 0.77994 | 0.02 | 2188 |  |  |  | mg/L as N | N125 | NUTA232A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 2230090 | 2015-08-20 |  | 0.371 | 0.328 | 113.1098 | 13.1098 | 0.020364 | 2.1116 | 0.02 | 2188 |  |  |  | mg/L as N | N126 | NUTA232A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 2370158 | 2015-09-03 |  | 0.381 | 0.328 | 116.1585 | 16.1585 | 0.020364 | 2.6027 | 0.02 | 2188 |  |  |  | mg/L as N | N126 | NUTA246A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 2520015 | 2015-09-25 |  | 0.119 | 0.137 | 86.8613 | -13.1387 | 0.011539 | -1.5599 | 0.02 | 2188 |  |  |  | mg/L as N | N125 | NUTA268A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2015 | 2660029 | 2015-10-23 |  | 0.146 | 0.137 | 106.5693 | 6.5693 | 0.011539 | 0.77994 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N125 | NUTA275A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 2870029 | 2015-10-30 |  | 0.465 | 0.437 | 106.4073 | 6.4073 | 0.033 | 0.84848 | 0.02 | 2188 |  |  |  | mg/L as N | N128 | NUTA303A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 3000096 | 2015-10-30 |  | 0.448 | 0.437 | 102.5172 | 2.5172 | 0.033 | 0.33333 | 0.02 | 2188 |  |  |  | mg/L as N | N128 | NUTA303A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 3140096 | 2015-12-01 |  | 0.104 | 0.111 | 93.6937 | -6.3063 | 0.01 | -0.7 | 0.02 | 2188 |  |  |  | mg/L as N | N127 | NUTA327A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 3290009 | 2015-12-02 |  | 0.121 | 0.111 | 109.009 | 9.009 | 0.01 | 99999999999999936 | 0.02 | 2188 |  |  |  | mg/L as N | N127 | NUTA336A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 3490008 | 2015-12-18 |  | 0.487 | 0.437 | 111.4416 | 11.4416 | 0.033 | 1.5152 | 0.02 | 2188 |  |  |  | mg/L as N | N128 | NUTA351A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 0120031 | 2016-01-14 |  | 0.099 | 0.111 | 89.1892 | -10.8108 | 0.01 | -1.2 | 0.02 | 2188 |  |  |  | mg/L as N | N127 | NUTA014A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 3630065 | 2016-01-14 |  | 0.449 | 0.437 | 102.746 | 2.746 | 0.033 | 0.36364 | 0.02 | 2188 |  |  |  | mg/L as N | N128 | NUTA014A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 0260029 | 2016-02-10 |  | 0.11 | 0.111 | 99.0991 | -0.9009 | 0.01 | -0.1 | 0.02 | 2188 |  |  |  | mg/L as N | N127 | NUTA041A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 0400034 | 2016-03-07 |  | 0.472 | 0.437 | 108.0092 | 8.0092 | 0.033 | 1.0606 | 0.02 | 2188 |  |  |  | mg/L as N | N128 | NUTA060A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 0540104 | 2016-03-10 |  | 0.467 | 0.437 | 106.865 | 6.865 | 0.033 | 0.90909 | 0.02 | 2188 |  |  |  | mg/L as N | N128 | NUTA070A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 0750075 | 2016-04-06 |  | 0.11 | 0.111 | 99.0991 | -0.9009 | 0.01 | -0.1 | 0.02 | 2188 |  |  |  | mg/L as N | N127 | NUTA096A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 0890166 | 2016-04-06 |  | 0.107 | 0.111 | 96.3964 | -3.6036 | 0.01 | -0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N127 | NUTA096A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 1030066 | 2016-04-18 |  | 0.467 | 0.457 | 102.1882 | 2.1882 | 0.02285 | 0.43764 | 0.02 | 2188 |  |  |  | mg/L as N | N130 | NUTA109A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 1170027 | 2016-05-11 |  | 0.475 | 0.457 | 103.9387 | 3.9387 | 0.02285 | 0.78775 | 0.02 | 2188 |  |  |  | mg/L as N | N130 | NUTA130A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 1320058 | 2016-05-23 |  | 0.201 | 0.185 | 108.6486 | 8.6486 | 0.013 | 1.2308 | 0.02 | 2188 |  |  |  | mg/L as N | N129 | NUTA144A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 1460116 | 2016-05-31 |  | 0.197 | 0.185 | 106.4865 | 6.4865 | 0.013 | 0.92308 | 0.02 | 2188 |  |  |  | mg/L as N | N129 | NUTA148A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 1660103 | 2016-06-29 |  | 0.485 | 0.457 | 106.1269 | 6.1269 | 0.02285 | 1.2254 | 0.02 | 2188 |  |  |  | mg/L as N | N130 | NUTA180A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 1800077 | 2016-07-06 |  | 0.503 | 0.457 | 110.0656 | 10.0656 | 0.02285 | 2.0131 | 0.02 | 2188 |  |  |  | mg/L as N | N130 | NUTA188A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 1940098 | 2016-07-22 |  | 0.182 | 0.185 | 98.3784 | -1.6216 | 0.013 | -0.23077 | 0.02 | 2188 |  |  |  | mg/L as N | N129 | NUTA204A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 2080213 | 2016-07-29 |  | 0.191 | 0.185 | 103.2432 | 3.2432 | 0.013 | 0.46154 | 0.02 | 2188 |  |  |  | mg/L as N | N129 | NUTA211A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 2150177 | 2016-08-15 |  | 0.471 | 0.457 | 103.0635 | 3.0635 | 0.02285 | 0.61269 | 0.02 | 2188 |  |  |  | mg/L as N | N130 | NUTA228A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 2290120 | 2016-09-02 |  | 0.481 | 0.457 | 105.2516 | 5.2516 | 0.02285 | 1.0503 | 0.02 | 2188 |  |  |  | mg/L as N | N130 | NUTA245A