## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2011 | 2660136 | 2011-10-04 |  | 0.27 | 0.27 | 100 | 0 | 0.014249 | 0 | 0.02 | 2759 |  |  |  | mg/L | N109 | PTNP276A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1210126 | 2012-05-17 |  | 1.033 | 1.07 | 96.5421 | -3.4579 | 0.0535 | -0.69159 | 0.01 | 2759 |  |  |  | mg/L as P | N114 | PTNP132A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1360092 | 2012-05-29 |  | 0.244 | 0.253 | 96.4427 | -3.5573 | 0.01265 | -0.71146 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP146B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1390135 | 2012-06-04 |  | 0.252 | 0.253 | 99.6047 | -0.39526 | 0.01265 | -0.079051 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP150A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1510150 | 2012-06-05 |  | 0.251 | 0.253 | 99.2095 | -0.79051 | 0.01265 | -0.1581 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP153A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1560093 | 2012-06-14 |  | 0.255 | 0.253 | 100.7905 | 0.79051 | 0.01265 | 0.1581 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP163A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1660016 | 2012-06-25 |  | 1.06 | 1.07 | 99.0654 | -0.93458 | 0.0535 | -0.18692 | 0.01 | 2759 |  |  |  | mg/L as P | N114 | PTNP172A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1710060 | 2012-07-09 |  | 1.066 | 1.07 | 99.6262 | -0.37383 | 0.0535 | -0.074766 | 0.01 | 2759 |  |  |  | mg/L as P | N114 | PTNP187A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1800009 | 2012-07-20 |  | 1.11 | 1.07 | 103.7383 | 3.7383 | 0.0535 | 0.74766 | 0.01 | 2759 |  |  |  | mg/L as P | N114 | PTNP198B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1850044 | 2012-07-20 |  | 1.062 | 1.07 | 99.2523 | -0.74766 | 0.0535 | -0.14953 | 0.01 | 2759 |  |  |  | mg/L as P | N114 | PTNP198C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1940180 | 2012-08-02 |  | 0.251 | 0.253 | 99.2095 | -0.79051 | 0.01265 | -0.1581 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP208B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 1980055 | 2012-08-08 |  | 0.246 | 0.253 | 97.2332 | -2.7668 | 0.01265 | -0.55336 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP215B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2230113 | 2012-08-22 |  | 1.072 | 1.07 | 100.1869 | 0.18692 | 0.0535 | 0.037383 | 0.01 | 2759 | Improper Preservation | See result laboratory comment |  | mg/L as P | N114 | PTNP233A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2060078 | 2012-08-23 |  | 0.26 | 0.253 | 102.7668 | 2.7668 | 0.01265 | 0.55336 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP234A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2090217 | 2012-08-23 |  | 0.252 | 0.253 | 99.6047 | -0.39526 | 0.01265 | -0.079051 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP234A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2340241 | 2012-09-04 |  | 1.091 | 1.07 | 101.9626 | 1.9626 | 0.0535 | 0.39252 | 0.01 | 2759 | Improper Preservation | See result laboratory comment |  | mg/L as P | N114 | PTNP240A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2370368 | 2012-09-05 |  | 1.087 | 1.07 | 101.5888 | 1.5888 | 0.0535 | 0.31776 | 0.01 | 2759 | Improper Preservation | See result laboratory comment |  | mg/L as P | N114 | PTNP242A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2440025 | 2012-09-13 |  | 1.1 | 1.07 | 102.8037 | 2.8037 | 0.0535 | 0.56075 | 0.01 | 2759 | Improper Preservation | See result laboratory comment |  | mg/L as P | N114 | PTNP250A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2550018 | 2012-09-21 |  | 0.258 | 0.253 | 101.9763 | 1.9763 | 0.01265 | 0.39526 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP261A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2690160 | 2012-10-11 |  | 0.252 | 0.253 | 99.6047 | -0.39526 | 0.01265 | -0.079051 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP279A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2750028 | 2012-10-19 |  | 0.251 | 0.253 | 99.2095 | -0.79051 | 0.01265 | -0.1581 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP285A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 2830010 | 2012-10-19 |  | 0.408 | 0.41 | 99.5122 | -0.4878 | 0.0205 | -0.097561 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP286A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2012 | 2640128 | 2012-10-25 |  | 0.255 | 0.253 | 100.7905 | 0.79051 | 0.01265 | 0.1581 | 0.01 | 2759 |  |  |  | mg/L as P | N113 | PTNP296A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 2960044 | 2012-10-25 |  | 0.395 | 0.41 | 96.3415 | -3.6585 | 0.0205 | -0.73171 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP296B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 2890175 | 2012-10-29 |  | 0.401 | 0.41 | 97.8049 | -2.1951 | 0.0205 | -0.43902 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP293A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 3040102 | 2012-11-07 |  | 0.405 | 0.41 | 98.7805 | -1.2195 | 0.0205 | -0.2439 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP307C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 3200015 | 2012-12-14 |  | 0.223 | 0.241 | 92.5311 | -7.4689 | 0.01205 | -1.4938 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP331B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 3250068 | 2012-12-14 |  | 0.235 | 0.241 | 97.5104 | -2.4896 | 0.01205 | -0.49793 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP333A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 3330024 | 2012-12-20 |  | 0.236 | 0.241 | 97.9253 | -2.0747 | 0.01205 | -0.41494 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP349A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 3460107 | 2013-01-03 |  | 0.407 | 0.41 | 99.2683 | -0.73171 | 0.0205 | -0.14634 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP363A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 3520073 | 2013-01-11 |  | 0.423 | 0.41 | 103.1707 | 3.1707 | 0.0205 | 0.63415 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP364A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 3620019 | 2013-01-11 |  | 0.394 | 0.41 | 96.0976 | -3.9024 | 0.0205 | -0.78049 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP364B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0020019 | 2013-01-18 |  | 0.415 | 0.41 | 101.2195 | 1.2195 | 0.0205 | 0.2439 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP008A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0140044 | 2013-01-31 |  | 0.225 | 0.241 | 93.361 | -6.639 | 0.01205 | -1.3278 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP023B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0230078 | 2013-02-07 |  | 0.246 | 0.241 | 102.0747 | 2.0747 | 0.01205 | 0.41494 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP030A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0250066 | 2013-02-07 |  | 0.245 | 0.241 | 101.6598 | 1.6598 | 0.01205 | 0.33195 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP030A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 3390135 | 2013-02-21 |  | 0.239 | 0.241 | 99.1701 | -0.82988 | 0.01205 | -0.16598 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP039A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0350013 | 2013-02-21 |  | 0.237 | 0.241 | 98.3402 | -1.6598 | 0.01205 | -0.33195 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP039A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0420048 | 2013-02-26 |  | 0.406 | 0.41 | 99.0244 | -0.97561 | 0.0205 | -0.19512 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP056A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0510159 | 2013-02-26 |  | 0.414 | 0.41 | 100.9756 | 0.97561 | 0.0205 | 0.19512 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP056C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0570023 | 2013-03-11 |  | 0.409 | 0.41 | 99.7561 | -0.2439 | 0.0205 | -0.04878 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP064A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0630132 | 2013-03-11 |  | 0.402 | 0.41 | 98.0488 | -1.9512 | 0.0205 | -0.39024 | 0.01 | 2759 |  |  |  | mg/L as P | N116 | PTNP064B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0770134 | 2013-03-27 |  | 0.236 | 0.241 | 97.9253 | -2.0747 | 0.01205 | -0.41494 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP081B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0800151 | 2013-04-04 |  | 0.243 | 0.241 | 100.8299 | 0.82988 | 0.01205 | 0.16598 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP084A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0810125 | 2013-04-04 |  | 0.239 | 0.241 | 99.1701 | -0.82988 | 0.01205 | -0.16598 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP084A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0930126 | 2013-04-18 |  | 0.229 | 0.241 | 95.0207 | -4.9793 | 0.01205 | -0.99585 | 0.01 | 2759 |  |  |  | mg/L as P | N115 | PTNP101B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 0990042 | 2013-04-25 |  | 0.859 | 0.864 | 99.4213 | -0.5787 | 0.0432 | -0.11574 | 0.01 | 2759 |  |  |  | mg/L as P | N118 | PTNP102B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 1120130 | 2013-05-02 |  | 0.869 | 0.864 | 100.5787 | 0.5787 | 0.0432 | 0.11574 | 0.01 | 2759 |  |  |  | mg/L as P | N118 | PTNP115B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 1340115 | 2013-05-23 |  | 0.39 | 0.397 | 98.2368 | -1.7632 | 0.01985 | -0.35264 | 0.01 | 2759 |  |  |  | mg/L as P | N117 | PTNP141A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 1490098 | 2013-06-03 |  | 0.392 | 0.397 | 98.7406 | -1.2594 | 0.01985 | -0.25189 | 0.01 | 2759 |  |  |  | mg/L as P | N117 | PTNP151C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 1620029 | 2013-06-25 |  | 0.881 | 0.864 | 101.9676 | 1.9676 | 0.0432 | 0.39352 | 0.01 | 2759 |  |  |  | mg/L as P | N118 | PTNP169A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 1760003 | 2013-07-10 |  | 0.878 | 0.864 | 101.6204 | 1.6204 | 0.0432 | 0.32407 | 0.01 | 2759 |  |  |  | mg/L as P | N118 | PTNP184D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 1840059 | 2013-07-23 |  | 0.377 | 0.397 | 94.9622 | -5.0378 | 0.01985 | -1.0076 | 0.01 | 2759 |  |  |  | mg/L as P | N117 | PTNP200B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 1990004 | 2013-08-06 |  | 0.4 | 0.397 | 100.7557 | 0.75567 | 0.01985 | 0.15113 | 0.01 | 2759 |  |  |  | mg/L as P | N117 | PTNP211A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 2190034 | 2013-08-29 |  | 0.857 | 0.864 | 99.1898 | -0.81019 | 0.0432 | -0.16204 | 0.01 | 2759 |  |  |  | mg/L as P | N118 | PTNP240B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 2330147 | 2013-09-05 |  | 0.867 | 0.864 | 100.3472 | 0.34722 | 0.0432 | 0.069444 | 0.01 | 2759 |  |  |  | mg/L as P | N118 | PTNP242C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 2610002 | 2013-09-27 |  | 0.364 | 0.397 | 91.6877 | -8.3123 | 0.01985 | -1.6625 | 0.01 | 2759 |  |  |  | mg/L as P | N117 | PTNP267A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2013 | 2730147 | 2013-10-31 |  | 0.379 | 0.397 | 95.466 | -4.534 | 0.01985 | -0.9068 | 0.01 | 2759 |  |  |  | mg/L as P | N117 | PTNP301A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 3030014 | 2013-11-06 |  | 0.634 | 0.663 | 95.6259 | -4.3741 | 0.03315 | -0.87481 | 0.01 | 2759 |  |  |  | mg/L as P | N120 | PTNP305B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 3310036 | 2013-12-16 |  | 0.238 | 0.23 | 103.4783 | 3.4783 | 0.0115 | 0.69565 | 0.01 | 2759 |  |  |  | mg/L as P | N119 | PTNP346B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 3450002 | 2013-12-18 |  | 0.674 | 0.663 | 101.6591 | 1.6591 | 0.03315 | 0.33183 | 0.01 | 2759 |  |  |  | mg/L as P | N120 | PTNP346D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 3170092 | 2013-12-31 |  | 0.237 | 0.23 | 103.0435 | 3.0435 | 0.0115 | 0.6087 | 0.01 | 2759 | Holding time exceeded |  |  | mg/L as P | N119 | PTNP353B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 3600076 | 2014-01-09 |  | 0.683 | 0.663 | 103.0166 | 3.0166 | 0.03315 | 0.60332 | 0.01 | 2759 |  |  |  | mg/L as P | N120 | PTNP007B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 0160008 | 2014-02-11 |  | 0.23 | 0.23 | 100 | 0 | 0.0115 | 0 | 0.01 | 2759 |  |  |  | mg/L as P | N119 | PTNP037A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 0280034 | 2014-02-19 |  | 0.225 | 0.23 | 97.8261 | -2.1739 | 0.0115 | -0.43478 | 0.01 | 2759 |  |  |  | mg/L as P | N119 | PTNP037C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 0350089 | 2014-02-19 |  | 0.648 | 0.663 | 97.7376 | -2.2624 | 0.03315 | -0.45249 | 0.01 | 2759 |  |  |  | mg/L as P | N120 | PTNP037C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 0500031 | 2014-03-06 |  | 0.656 | 0.663 | 98.9442 | -1.0558 | 0.03315 | -0.21116 | 0.01 | 2759 |  |  |  | mg/L as P | N120 | PTNP055A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 0720016 | 2014-03-18 |  | 0.227 | 0.23 | 98.6957 | -1.3043 | 0.0115 | -0.26087 | 0.01 | 2759 |  |  |  | mg/L as P | N119 | PTNP076A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 0850066 | 2014-04-02 |  | 0.226 | 0.23 | 98.2609 | -1.7391 | 0.0115 | -0.34783 | 0.01 | 2759 |  |  |  | mg/L as P | N119 | PTNP090A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 0980058 | 2014-04-21 |  | 0.579 | 0.572 | 101.2238 | 1.2238 | 0.0286 | 0.24476 | 0.01 | 2759 |  |  |  | mg/L as P | N122 | PTNP101A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 1140016 | 2014-05-12 |  | 0.563 | 0.572 | 98.4266 | -1.5734 | 0.0286 | -0.31469 | 0.01 | 2759 |  |  |  | mg/L as P | N122 | PTNP118C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 1340010 | 2014-05-28 |  | 0.157 | 0.162 | 96.9136 | -3.0864 | 0.0093552 | -0.53446 | 0.01 | 2759 |  |  |  | mg/L as P | N121 | PTNP140B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 1480174 | 2014-06-20 |  | 0.157 | 0.162 | 96.9136 | -3.0864 | 0.0093552 | -0.53446 | 0.01 | 2759 |  |  |  | mg/L as P | N121 | PTNP153D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 1620020 | 2014-07-01 |  | 0.571 | 0.572 | 99.8252 | -0.17483 | 0.0286 | -0.034965 | 0.01 | 2759 |  |  |  | mg/L as P | N122 | PTNP178A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 1750199 | 2014-07-09 |  | 0.58 | 0.572 | 101.3986 | 1.3986 | 0.0286 | 0.27972 | 0.01 | 2759 |  |  |  | mg/L as P | N122 | PTNP188B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 1970061 | 2014-08-05 |  | 0.158 | 0.162 | 97.5309 | -2.4691 | 0.0093552 | -0.42757 | 0.01 | 2759 |  |  |  | mg/L as P | N121 | PTNP203A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 2110051 | 2014-08-14 |  | 0.159 | 0.162 | 98.1481 | -1.8519 | 0.0093552 | -0.32068 | 0.01 | 2759 |  |  |  | mg/L as P | N121 | PTNP223A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 2240178 | 2014-08-28 |  | 0.566 | 0.572 | 98.951 | -1.049 | 0.0286 | -0.20979 | 0.01 | 2759 |  |  |  | mg/L as P | N122 | PTNP234A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 2410100 | 2014-09-12 |  | 0.586 | 0.572 | 102.4476 | 2.4476 | 0.0286 | 0.48951 | 0.01 | 2759 |  |  |  | mg/L as P | N122 | PTNP247A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 2530086 | 2014-09-19 |  | 0.149 | 0.162 | 91.9753 | -8.0247 | 0.0093552 | -1.3896 | 0.01 | 2759 |  |  |  | mg/L as P | N121 | PTNP254B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2014 | 2660086 | 2014-10-07 |  | 0.188 | 0.162 | 116.0494 | 16.0494 | 0.0093552 | 2.7792 | 0.01 | 2759 |  |  |  | mg/L as P | N121 | PTNP275A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 2880093 | 2014-10-24 |  | 0.184 | 0.19 | 96.8421 | -3.1579 | 0.010224 | -0.58687 | 0.01 | 2759 |  |  |  | mg/L as P | N124 | PTNP290A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 3010073 | 2014-11-05 |  | 0.181 | 0.19 | 95.2632 | -4.7368 | 0.010224 | -0.8803 | 0.01 | 2759 |  |  |  | mg/L as P | N124 | PTNP302A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 3160013 | 2014-11-25 |  | 0.27 | 0.272 | 99.2647 | -0.73529 | 0.0136 | -0.14706 | 0.01 | 2759 |  |  |  | mg/L as P | N123 | PTNP317A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 3290074 | 2014-12-04 |  | 0.262 | 0.272 | 96.3235 | -3.6765 | 0.0136 | -0.73529 | 0.01 | 2759 |  |  |  | mg/L as P | N123 | PTNP337A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 3450052 | 2014-12-31 |  | 0.192 | 0.19 | 101.0526 | 1.0526 | 0.010224 | 0.19562 | 0.01 | 2759 |  |  |  | mg/L as P | N124 | PTNP357B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 0130018 | 2015-02-05 |  | 0.262 | 0.272 | 96.3235 | -3.6765 | 0.0136 | -0.73529 | 0.01 | 2759 |  |  |  | mg/L as P | N123 | PTNP029A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 0280023 | 2015-02-10 |  | 0.276 | 0.272 | 101.4706 | 1.4706 | 0.0136 | 0.29412 | 0.01 | 2759 |  |  |  | mg/L as P | N123 | PTNP030A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 0410032 | 2015-02-19 |  | 0.182 | 0.19 | 95.7895 | -4.2105 | 0.010224 | -0.78249 | 0.01 | 2759 |  |  |  | mg/L as P | N124 | PTNP044A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 3640002 | 2015-02-19 |  | 0.199 | 0.19 | 104.7368 | 4.7368 | 0.010224 | 0.8803 | 0.01 | 2759 |  |  |  | mg/L as P | N124 | PTNP044A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 0550063 | 2015-03-05 |  | 0.189 | 0.19 | 99.4737 | -0.52632 | 0.010224 | -0.097811 | 0.01 | 2759 |  |  |  | mg/L as P | N124 | PTNP061A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 0690078 | 2015-03-16 |  | 0.275 | 0.272 | 101.1029 | 1.1029 | 0.0136 | 0.22059 | 0.01 | 2759 |  |  |  | mg/L as P | N123 | PTNP072A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 0850098 | 2015-04-03 |  | 0.28 | 0.272 | 102.9412 | 2.9412 | 0.0136 | 0.58824 | 0.01 | 2759 |  |  |  | mg/L as P | N123 | PTNP090A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 1040072 | 2015-04-22 |  | 0.52 | 0.491 | 105.9063 | 5.9063 | 0.02455 | 1.1813 | 0.01 | 2759 |  |  |  | mg/L as P | N126 | PTNP107A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 1190152 | 2015-05-05 |  | 0.512 | 0.491 | 104.277 | 4.277 | 0.02455 | 0.8554 | 0.01 | 2759 |  |  |  | mg/L as P | N126 | PTNP121A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 1320069 | 2015-05-20 |  | 0.241 | 0.243 | 99.177 | -0.82305 | 0.01215 | -0.16461 | 0.01 | 2759 |  |  |  | mg/L as P | N125 | PTNP135A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 1470113 | 2015-06-03 |  | 0.266 | 0.243 | 109.465 | 9.465 | 0.01215 | 1.893 | 0.01 | 2759 |  |  |  | mg/L as P | N125 | PTNP152A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 1530196 | 2015-06-05 |  | 0.524 | 0.491 | 106.721 | 6.721 | 0.02455 | 1.3442 | 0.01 | 2759 |  |  |  | mg/L as P | N126 | PTNP154A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 1740038 | 2015-06-25 |  | 0.5 | 0.491 | 101.833 | 1.833 | 0.02455 | 0.3666 | 0.01 | 2759 |  |  |  | mg/L as P | N126 | PTNP175A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 1950025 | 2015-07-16 |  | 0.245 | 0.243 | 100.823 | 0.82305 | 0.01215 | 0.16461 | 0.01 | 2759 |  |  |  | mg/L as P | N125 | PTNP195A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 2090024 | 2015-08-10 |  | 0.248 | 0.243 | 102.0576 | 2.0576 | 0.01215 | 0.41152 | 0.01 | 2759 |  |  |  | mg/L as P | N125 | PTNP219A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 2230090 | 2015-08-19 |  | 0.51 | 0.491 | 103.8697 | 3.8697 | 0.02455 | 0.77393 | 0.01 | 2759 |  |  |  | mg/L as P | N126 | PTNP226A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 2370158 | 2015-09-01 |  | 0.481 | 0.491 | 97.9633 | -2.0367 | 0.02455 | -0.40733 | 0.01 | 2759 |  |  |  | mg/L as P | N126 | PTNP239B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 2520015 | 2015-09-17 |  | 0.233 | 0.243 | 95.8848 | -4.1152 | 0.01215 | -0.82305 | 0.01 | 2759 |  |  |  | mg/L as P | N125 | PTNP259A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2015 | 2660029 | 2015-09-28 |  | 0.239 | 0.243 | 98.3539 | -1.6461 | 0.01215 | -0.32922 | 0.01 | 2759 |  |  |  | mg/L as P | N125 | PTNP268A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 2870029 | 2015-10-20 |  | 0.441 | 0.423 | 104.2553 | 4.2553 | 0.02115 | 0.85106 | 0.01 | 2759 |  |  |  | mg/L as P | N128 | PTNP289A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 3000096 | 2015-11-03 |  | 0.407 | 0.423 | 96.2175 | -3.7825 | 0.02115 | -0.7565 | 0.01 | 2759 |  |  |  | mg/L as P | N128 | PTNP307B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 3140096 | 2015-11-16 |  | 0.138 | 0.14 | 98.5714 | -1.4286 | 0.007 | -0.28571 | 0.01 | 2759 |  |  |  | mg/L as P | N127 | PTNP320A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 3290009 | 2015-12-01 |  | 0.143 | 0.14 | 102.1429 | 2.1429 | 0.007 | 0.42857 | 0.01 | 2759 |  |  |  | mg/L as P | N127 | PTNP334A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 3490008 | 2015-12-21 |  | 0.42 | 0.423 | 99.2908 | -0.70922 | 0.02115 | -0.14184 | 0.01 | 2759 |  |  |  | mg/L as P | N128 | PTNP355A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 3630065 | 2016-01-05 |  | 0.414 | 0.423 | 97.8723 | -2.1277 | 0.02115 | -0.42553 | 0.01 | 2759 |  |  |  | mg/L as P | N128 | PTNP365A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 0120031 | 2016-01-13 |  | 0.13 | 0.14 | 92.8571 | -7.1429 | 0.007 | -1.4286 | 0.01 | 2759 |  |  |  | mg/L as P | N127 | PTNP013A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 0260029 | 2016-01-27 |  | 0.151 | 0.14 | 107.8571 | 7.8571 | 0.007 | 1.5714 | 0.01 | 2759 |  |  |  | mg/L as P | N127 | PTNP027A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 0400034 | 2016-02-16 |  | 0.415 | 0.423 | 98.1087 | -1.8913 | 0.02115 | -0.37825 | 0.01 | 2759 |  |  |  | mg/L as P | N128 | PTNP043A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 0540104 | 2016-02-29 |  | 0.422 | 0.423 | 99.7636 | -0.23641 | 0.02115 | -0.047281 | 0.01 | 2759 |  |  |  | mg/L as P | N128 | PTNP057A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 0750075 | 2016-03-18 |  | 0.132 | 0.14 | 94.2857 | -5.7143 | 0.007 | -1.1429 | 0.01 | 2759 |  |  |  | mg/L as P | N127 | PTNP078B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 0890166 | 2016-04-01 |  | 0.147 | 0.14 | 105 | 5 | 0.007 | 99999999999999632 | 0.01 | 2759 |  |  |  | mg/L as P | N127 | PTNP091A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 1030066 | 2016-04-15 |  | 0.566 | 0.573 | 98.7784 | -1.2216 | 0.029 | -0.24138 | 0.01 | 2759 |  |  |  | mg/L as P | N130 | PTNP106A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 1170027 | 2016-05-03 |  | 0.596 | 0.573 | 104.014 | 4.014 | 0.029 | 0.7931 | 0.01 | 2759 |  |  |  | mg/L as P | N130 | PTNP123A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 1320058 | 2016-05-12 |  | 0.215 | 0.214 | 100.4673 | 0.46729 | 0.0107 | 0.093458 | 0.01 | 2759 |  |  |  | mg/L as P | N129 | PTNP133A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 1460116 | 2016-05-26 |  | 0.218 | 0.214 | 101.8692 | 1.8692 | 0.0107 | 0.37383 | 0.01 | 2759 |  |  |  | mg/L as P | N129 | PTNP147A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 1660103 | 2016-06-21 |  | 0.556 | 0.573 | 97.0332 | -2.9668 | 0.029 | -0.58621 | 0.01 | 2759 |  |  |  | mg/L as P | N130 | PTNP172A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 1800077 | 2016-06-30 |  | 0.59 | 0.573 | 102.9668 | 2.9668 | 0.029 | 0.58621 | 0.01 | 2759 |  |  |  | mg/L as P | N130 | PTNP181A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 1940098 | 2016-07-19 |  | 0.22 | 0.214 | 102.8037 | 2.8037 | 0.0107 | 0.56075 | 0.01 | 2759 |  |  |  | mg/L as P | N129 | PTNP200A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 2080213 | 2016-08-04 |  | 0.219 | 0.214 | 102.3364 | 2.3364 | 0.0107 | 0.46729 | 0.01 | 2759 |  |  |  | mg/L as P | N129 | PTNP216A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 2150177 | 2016-08-11 |  | 0.574 | 0.573 | 100.1745 | 0.17452 | 0.029 | 0.034483 | 0.01 | 2759 |  |  |  | mg/L as P | N130 | PTNP223A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 2290120 | 2016-08-22 |  | 0.588 | 0.573 | 102.6178 | 2.6178 | 0.029 | 0.51724 | 0.01 | 2759 |  |  |  | mg/L as P | N130 | PTNP232A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 2580006 | 2016-09-21 |  | 0.225 | 0.214 | 105.1402 | 5.1402 | 0.0107 | 1.028 | 0.01 | 2759 |  |  |  | mg/L as P | N129 | PTNP265A