## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2520217 | 2011-10-24 |  | 0.954 | 0.975 | 97.8462 | -2.1538 | 0.5398 | -0.038903 | 1 | 2357 | Below the reporting level but at or above the detection level |  |  | ug/L | 75197-25DIW | ICPOE11286A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2170145 | 2011-10-25 |  | 1.396 | 1.25 | 111.68 | 11.68 | 0.553 | 0.26401 | 0.5 | 2357 |  |  |  | µg/L | 25195-75197 | ICPOE11293B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2630069 | 2011-11-07 |  | 1.161 | 0.975 | 119.0769 | 19.0769 | 0.5398 | 0.34457 | 0.5 | 2357 |  |  |  | µg/L | 75197-25DIW | ICPOE11311A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2660133 | 2011-11-07 |  | 1.117 | 0.975 | 114.5641 | 14.5641 | 0.5398 | 0.26306 | 0.5 | 2357 |  |  |  | µg/L | 75197-25DIW | ICPOE11311A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 2940003 | 2014-02-07 | < | 0.6 | 0.81 | 74.0741 | -25.9259 | 0.225 | -0.93333 | 0.6 | 2357 |  |  |  | µg/L | 75205-25DIW | ICPOE14038A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3030015 | 2014-02-11 | < | 0.6 | 0.81 | 74.0741 | -25.9259 | 0.225 | -0.93333 | 0.6 | 2357 |  |  |  | µg/L | 75205-25DIW | ICPOE14041C
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3430117 | 2014-02-15 |  | 1.204 | 0.8985 | 134.0011 | 34.0011 | 0.225 | 1.3578 | 0.6 | 2357 |  |  |  | µg/L | 25207-75205 | ICPOE14045A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3500048 | 2014-02-15 |  | 0.988 | 0.8985 | 109.961 | 9.961 | 0.225 | 0.39778 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 25207-75205 | ICPOE14045A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3580044 | 2014-02-25 |  | 0.773 | 0.8985 | 86.0323 | -13.9677 | 0.225 | -0.55778 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 25207-75205 | ICPOE14050B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3610044 | 2014-02-25 |  | 1.261 | 0.8985 | 140.345 | 40.345 | 0.225 | 1.6111 | 0.6 | 2357 |  |  |  | µg/L | 25207-75205 | ICPOE14050B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 0940008 | 2014-04-23 |  | 0.718 | 0.81 | 88.642 | -11.358 | 0.225 | -0.40889 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75205-25DIW | ICPOE14112B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1050013 | 2014-04-23 |  | 0.652 | 0.81 | 80.4938 | -19.5062 | 0.225 | -0.70222 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75205-25DIW | ICPOE14112B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1130031 | 2014-04-28 |  | 0.766 | 0.81 | 94.5679 | -5.4321 | 0.225 | -0.19556 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75205-25DIW | ICPOE14118A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1190011 | 2014-05-29 | < | 0.6 | 0.81 | 74.0741 | -25.9259 | 0.225 | -0.93333 | 0.6 | 2357 |  |  |  | µg/L | 75205-25DIW | ICPOE14162B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1600104 | 2014-07-01 |  | 1.029 | 0.8985 | 114.5242 | 14.5242 | 0.225 | 0.58 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 25207-75205 | ICPOE14181B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1680071 | 2014-07-14 |  | 0.903 | 0.8985 | 100.5008 | 0.50083 | 0.225 | 0.02 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 25207-75205 | ICPOE14191A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1750061 | 2014-07-29 | < | 0.6 | 0.8985 | 66.778 | -33.222 | 0.225 | -1.3267 | 0.6 | 2357 |  |  |  | µg/L | 25207-75205 | ICPOE14206B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1810177 | 2014-07-29 | < | 0.6 | 0.8985 | 66.778 | -33.222 | 0.225 | -1.3267 | 0.6 | 2357 |  |  |  | µg/L | 25207-75205 | ICPOE14206B