## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2830014 | 2012-11-02 |  | 865.7 | 832.5 | 103.988 | 3.988 | 52.7597 | 0.62927 | 6 | 0671 | Sample was diluted |  |  | ug/L | 75201-25DIW | ICPOE12307A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2890172 | 2012-11-05 |  | 778.4 | 832.5 | 93.5015 | -6.4985 | 52.7597 | -1.0254 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 75201-25DIW | ICPOE12310A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2960048 | 2012-11-16 |  | 865.8 | 832.5 | 104 | 4 | 52.7597 | 0.63116 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 75201-25DIW | ICPOE12320A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 3200016 | 2012-11-27 |  | 323.5 | 304.5 | 106.2397 | 6.2397 | 19.3162 | 0.98363 | 1.9 | 0671 |  |  |  | µg/L | 25201-75203 | ICPOE12332A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 3250071 | 2012-11-29 |  | 325.8 | 304.5 | 106.9951 | 6.9951 | 19.3162 | 1.1027 | 1.9 | 0671 |  |  |  | µg/L | 25201-75203 | ICPOE12333A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 3330027 | 2012-11-30 |  | 323.6 | 304.5 | 106.2726 | 6.2726 | 19.3162 | 0.98881 | 1.9 | 0671 |  |  |  | µg/L | 25201-75203 | ICPOE12334A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 3040104 | 2012-11-30 |  | 873.9 | 832.5 | 104.973 | 4.973 | 52.7597 | 0.78469 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 75201-25DIW | ICPOE12335A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 3390131 | 2012-12-11 |  | 318 | 304.5 | 104.4335 | 4.4335 | 19.3162 | 0.6989 | 1.9 | 0671 |  |  |  | µg/L | 25201-75203 | ICPOE12345A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 3460104 | 2012-12-12 |  | 29.11 | 27 | 107.8148 | 7.8148 | 1.7393 | 1.2131 | 1.9 | 0671 |  |  |  | µg/L | 75203-25DIW | ICPOE12347A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 3620021 | 2013-01-04 |  | 29.54 | 27 | 109.4074 | 9.4074 | 1.7393 | 1.4603 | 1.9 | 0671 |  |  |  | µg/L | 75203-25DIW | ICPOE13004A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 0140041 | 2013-01-16 |  | 16.44 | 16.05 | 102.4299 | 2.4299 | 1.0458 | 0.37294 | 1.9 | 0671 |  |  |  | µg/L | 25203-75205 | ICPOE13015A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 0250070 | 2013-02-13 |  | 17.45 | 16.05 | 108.7227 | 8.7227 | 1.0458 | 1.3387 | 1.9 | 0671 |  |  |  | µg/L | 25203-75205 | ICPOE13043B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 0420045 | 2013-02-28 |  | 815.5 | 834.85 | 97.6822 | -2.3178 | 52.9085 | -0.36573 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 25205-75201 | ICPOE13059A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 0670136 | 2013-03-11 |  | 6.212 | 7.05 | 88.1135 | -11.8865 | 0.7125 | -1.1761 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13070A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 0570027 | 2013-03-12 |  | 815 | 834.85 | 97.6223 | -2.3777 | 52.9085 | -0.37518 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 25205-75201 | ICPOE13071A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 0770139 | 2013-03-20 |  | 7.572 | 7.05 | 107.4043 | 7.4043 | 0.7125 | 0.73263 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13079A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 0810129 | 2013-03-25 |  | 5.322 | 7.05 | 75.4894 | -24.5106 | 0.7125 | -2.4253 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13084A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 0930131 | 2013-04-05 |  | 6.866 | 7.05 | 97.3901 | -2.6099 | 0.7125 | -0.25825 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13094A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 0990046 | 2013-04-16 |  | 808.7 | 832.5 | 97.1411 | -2.8589 | 52.7597 | -0.4511 | 1.9 | 0671 |  |  |  | µg/L | 75201-25DIW | ICPOE13105A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1020052 | 2013-04-17 |  | 828.7 | 832.5 | 99.5435 | -0.45646 | 52.7597 | -0.072025 | 1.9 | 0671 |  |  |  | µg/L | 75201-25DIW | ICPOE13105A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1120128 | 2013-04-26 |  | 798.4 | 832.5 | 95.9039 | -4.0961 | 52.7597 | -0.64633 | 1.9 | 0671 |  |  |  | µg/L | 75201-25DIW | ICPOE13115A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1190071 | 2013-05-07 |  | 829.2 | 832.5 | 99.6036 | -0.3964 | 52.7597 | -0.062548 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 75201-25DIW | ICPOE13126A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1340114 | 2013-05-21 |  | 313.1 | 304.5 | 102.8243 | 2.8243 | 19.3162 | 0.44522 | 1.9 | 0671 |  |  |  | µg/L | 25201-75203 | ICPOE13141A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1410052 | 2013-05-31 |  | 310.5 | 304.5 | 101.9704 | 1.9704 | 19.3162 | 0.31062 | 1.9 | 0671 |  |  |  | µg/L | 25201-75203 | ICPOE13149A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1490097 | 2013-06-18 |  | 287.4 | 304.5 | 94.3842 | -5.6158 | 19.3162 | -0.88527 | 1.9 | 0671 |  |  |  | µg/L | 25201-75203 | ICPOE13168A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1510105 | 2013-06-20 |  | 293.1 | 304.5 | 96.2562 | -3.7438 | 19.3162 | -0.59018 | 1.9 | 0671 |  |  |  | µg/L | 25201-75203 | ICPOE13170A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1620028 | 2013-06-25 |  | 27.71 | 27 | 102.6296 | 2.6296 | 1.7393 | 0.4082 | 1.9 | 0671 |  |  |  | µg/L | 75203-25DIW | ICPOE13176A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1650048 | 2013-06-27 |  | 29.02 | 27 | 107.4815 | 7.4815 | 1.7393 | 1.1614 | 1.9 | 0671 |  |  |  | µg/L | 75203-25DIW | ICPOE13178A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1760002 | 2013-07-17 |  | 29.01 | 27 | 107.4444 | 7.4444 | 1.7393 | 1.1556 | 1.9 | 0671 |  |  |  | µg/L | 75203-25DIW | ICPOE13198A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1790268 | 2013-07-17 |  | 29.21 | 27 | 108.1852 | 8.1852 | 1.7393 | 1.2706 | 1.9 | 0671 |  |  |  | µg/L | 75203-25DIW | ICPOE13198A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1900078 | 2013-07-20 |  | 16.22 | 16.05 | 101.0592 | 1.0592 | 1.0458 | 0.16256 | 1.9 | 0671 |  |  |  | µg/L | 25203-75205 | ICPOE13200A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 1970039 | 2013-07-29 |  | 16.03 | 16.05 | 99.8754 | -0.12461 | 1.0458 | -0.019125 | 1.9 | 0671 |  |  |  | µg/L | 25203-75205 | ICPOE13207A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2040004 | 2013-08-08 |  | 15.48 | 16.05 | 96.4486 | -3.5514 | 1.0458 | -0.54506 | 1.9 | 0671 |  |  |  | µg/L | 25203-75205 | ICPOE13220A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2110016 | 2013-08-14 |  | 14.72 | 16.05 | 91.7134 | -8.2866 | 1.0458 | -1.2718 | 1.9 | 0671 |  |  |  | µg/L | 25203-75205 | ICPOE13226A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2240030 | 2013-09-16 |  | 186.1 | 834.85 | 22.2914 | -77.7086 | 52.9085 | -12.2617 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 25205-75201 | ICPOE13252A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2380014 | 2013-10-21 |  | 840.1 | 834.85 | 100.6289 | 0.62886 | 52.9085 | 0.099228 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 25205-75201 | ICPOE13294A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2310158 | 2013-10-23 |  | 835.9 | 834.85 | 100.1258 | 0.12577 | 52.9085 | 0.019846 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 25205-75201 | ICPOE13296A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2610005 | 2013-10-31 |  | 6.135 | 7.05 | 87.0213 | -12.9787 | 0.7125 | -1.2842 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13304A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2470001 | 2013-11-01 |  | 832.3 | 834.85 | 99.6946 | -0.30544 | 52.9085 | -0.048196 | 1.9 | 0671 | Sample was diluted |  |  | µg/L | 25205-75201 | ICPOE13305A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2530089 | 2013-11-01 |  | 7.379 | 7.05 | 104.6667 | 4.6667 | 0.7125 | 0.46175 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13305A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2660140 | 2013-11-13 |  | 7.927 | 7.05 | 112.4397 | 12.4397 | 0.7125 | 1.2309 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13311A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2940003 | 2013-11-13 |  | 7.175 | 7.05 | 101.773 | 1.773 | 0.7125 | 0.17544 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13311A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2013 | 2730150 | 2013-11-18 |  | 6.417 | 7.05 | 91.0213 | -8.9787 | 0.7125 | -0.88842 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13310B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 3030015 | 2013-11-27 |  | 7.099 | 7.05 | 100.695 | 0.69504 | 0.7125 | 0.068772 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE13331A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 3160071 | 2014-01-08 |  | 158.2 | 150 | 105.4667 | 5.4667 | 9.5302 | 0.86043 | 1.9 | 0671 |  |  |  | µg/L | 75207-25DIW | ICPOE14008A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 3190019 | 2014-01-11 |  | 158.7 | 150 | 105.8 | 5.8 | 9.5302 | 0.91289 | 1.9 | 0671 |  |  |  | µg/L | 75207-25DIW | ICPOE14010A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 3290110 | 2014-01-22 |  | 153.9 | 150 | 102.6 | 2.6 | 9.5302 | 0.40923 | 1.9 | 0671 |  |  |  | µg/L | 75207-25DIW | ICPOE14021A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 3330001 | 2014-01-23 |  | 156.7 | 150 | 104.4667 | 4.4667 | 9.5302 | 0.70303 | 1.9 | 0671 |  |  |  | µg/L | 75207-25DIW | ICPOE14022A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 3430117 | 2014-01-25 |  | 59.81 | 57.05 | 104.8379 | 4.8379 | 3.6427 | 0.75768 | 1.9 | 0671 |  |  |  | µg/L | 25207-75205 | ICPOE14024A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 3500048 | 2014-01-28 |  | 59.85 | 57.05 | 104.908 | 4.908 | 3.6427 | 0.76866 | 1.9 | 0671 |  |  |  | µg/L | 25207-75205 | ICPOE14028A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 3610044 | 2014-02-05 |  | 60.13 | 57.05 | 105.3988 | 5.3988 | 3.6427 | 0.84553 | 1.9 | 0671 |  |  |  | µg/L | 25207-75205 | ICPOE14035A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 3580044 | 2014-02-06 |  | 58.61 | 57.05 | 102.7344 | 2.7344 | 3.6427 | 0.42825 | 1.9 | 0671 |  |  |  | µg/L | 25207-75205 | ICPOE14034A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0100002 | 2014-02-07 |  | 8.949 | 9.3625 | 95.5834 | -4.4166 | 0.7125 | -0.58035 | 1.9 | 0671 |  |  |  | µg/L | 25205-75209 | ICPOE14037A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0160095 | 2014-02-12 |  | 9.342 | 9.3625 | 99.781 | -0.21896 | 0.7125 | -0.028772 | 1.9 | 0671 |  |  |  | µg/L | 25205-75209 | ICPOE14043A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0240058 | 2014-02-20 |  | 8.739 | 9.3625 | 93.3405 | -6.6595 | 0.7125 | -0.87509 | 1.9 | 0671 |  |  |  | µg/L | 25205-75209 | ICPOE14044B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0340014 | 2014-02-21 |  | 8.77 | 9.3625 | 93.6716 | -6.3284 | 0.7125 | -0.83158 | 1.9 | 0671 |  |  |  | µg/L | 25205-75209 | ICPOE14052A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0380064 | 2014-02-27 |  | 158.8 | 152.3375 | 104.2422 | 4.2422 | 9.6782 | 0.66774 | 1.9 | 0671 |  |  |  | µg/L | 25209-75207 | ICPOE14055A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0500019 | 2014-02-28 |  | 159.8 | 152.3375 | 104.8987 | 4.8987 | 9.6782 | 0.77106 | 1.9 | 0671 |  |  |  | µg/L | 25209-75207 | ICPOE14058A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0550006 | 2014-03-01 |  | 156.7 | 152.3375 | 102.8637 | 2.8637 | 9.6782 | 0.45075 | 1.9 | 0671 |  |  |  | µg/L | 25209-75207 | ICPOE14059A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0620010 | 2014-03-06 |  | 154.3 | 152.3375 | 101.2883 | 1.2883 | 9.6782 | 0.20278 | 1.9 | 0671 |  |  |  | µg/L | 25209-75207 | ICPOE14064A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0660131 | 2014-03-12 |  | 7.079 | 7.0125 | 100.9483 | 0.94831 | 0.7125 | 0.093333 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14070B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0760025 | 2014-03-19 |  | 6.78 | 7.0125 | 96.6845 | -3.3155 | 0.7125 | -0.32632 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14078A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0850026 | 2014-03-28 |  | 6.036 | 7.0125 | 86.0749 | -13.9251 | 0.7125 | -1.3705 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14087A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0900036 | 2014-04-03 |  | 6.501 | 7.0125 | 92.7059 | -7.2941 | 0.7125 | -0.71789 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14093A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 0940008 | 2014-04-07 | < | 1.9 | 7.05 | 26.9504 | -73.0496 | 0.7125 | -7.2281 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE14097A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1050013 | 2014-04-23 |  | 7.333 | 7.05 | 104.0142 | 4.0142 | 0.7125 | 0.39719 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE14113A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1130031 | 2014-05-02 |  | 6.72 | 7.05 | 95.3191 | -4.6809 | 0.7125 | -0.46316 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE14122A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1190011 | 2014-05-02 |  | 5.618 | 7.05 | 79.6879 | -20.3121 | 0.7125 | -2.0098 | 1.9 | 0671 |  |  |  | µg/L | 75205-25DIW | ICPOE14122A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1340012 | 2014-05-20 |  | 157.8 | 150 | 105.2 | 5.2 | 9.5302 | 0.81846 | 1.9 | 0671 |  |  |  | µg/L | 75207-25DIW | ICPOE14139A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1400019 | 2014-05-22 |  | 151.9 | 150 | 101.2667 | 1.2667 | 9.5302 | 0.19937 | 1.9 | 0671 |  |  |  | µg/L | 75207-25DIW | ICPOE14141A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1480051 | 2014-05-31 |  | 150.7 | 150 | 100.4667 | 0.46667 | 9.5302 | 0.073451 | 1.9 | 0671 |  |  |  | µg/L | 75207-25DIW | ICPOE14150A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1500016 | 2014-06-04 |  | 151.3 | 150 | 100.8667 | 0.86667 | 9.5302 | 0.13641 | 1.9 | 0671 |  |  |  | µg/L | 75207-25DIW | ICPOE14154A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1600104 | 2014-06-13 |  | 60.52 | 57.05 | 106.0824 | 6.0824 | 3.6427 | 0.95259 | 1.9 | 0671 |  |  |  | µg/L | 25207-75205 | ICPOE14163A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1680071 | 2014-06-20 |  | 58.62 | 57.05 | 102.752 | 2.752 | 3.6427 | 0.431 | 1.9 | 0671 |  |  |  | µg/L | 25207-75205 | ICPOE14170A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1750061 | 2014-06-28 |  | 53.98 | 57.05 | 94.6188 | -5.3812 | 3.6427 | -0.84278 | 1.9 | 0671 |  |  |  | µg/L | 25207-75205 | ICPOE14178A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1810177 | 2014-07-08 |  | 57.42 | 57.05 | 100.6486 | 0.64855 | 3.6427 | 0.10157 | 1.9 | 0671 |  |  |  | µg/L | 25207-75205 | ICPOE14188A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 1920114 | 2014-07-16 |  | 9.398 | 9.3625 | 100.3792 | 0.37917 | 0.7125 | 0.049825 | 1.9 | 0671 |  |  |  | µg/L | 25205-75209 | ICPOE14196A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2030109 | 2014-07-25 |  | 9.54 | 9.3625 | 101.8959 | 1.8959 | 0.7125 | 0.24912 | 1.9 | 0671 |  |  |  | µg/L | 25205-75209 | ICPOE14206A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2090040 | 2014-07-30 |  | 8.747 | 9.3625 | 93.4259 | -6.5741 | 0.7125 | -0.86386 | 1.9 | 0671 |  |  |  | µg/L | 25205-75209 | ICPOE14210A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2160072 | 2014-08-07 |  | 8.891 | 9.3625 | 94.964 | -5.036 | 0.7125 | -0.66175 | 1.9 | 0671 |  |  |  | µg/L | 25205-75209 | ICPOE14217B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2230130 | 2014-08-13 |  | 160.7 | 152.3375 | 105.4895 | 5.4895 | 9.6782 | 0.86405 | 1.9 | 0671 |  |  |  | µg/L | 25209-75207 | ICPOE14225A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2310124 | 2014-08-22 |  | 163.1 | 152.3375 | 107.0649 | 7.0649 | 9.6782 | 1.112 | 1.9 | 0671 |  |  |  | µg/L | 25209-75207 | ICPOE14234A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2380226 | 2014-09-05 |  | 157.5 | 152.3375 | 103.3889 | 3.3889 | 9.6782 | 0.53341 | 1.9 | 0671 |  |  |  | µg/L | 25209-75207 | ICPOE14247A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2480069 | 2014-09-09 |  | 4.891 | 7.0125 | 69.7469 | -30.2531 | 0.7125 | -2.9775 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14251A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2460102 | 2014-09-23 |  | 149.2 | 152.3375 | 97.9404 | -2.0596 | 9.6782 | -0.32418 | 1.9 | 0671 |  |  |  | µg/L | 25209-75207 | ICPOE14266A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2580039 | 2014-10-18 |  | 7.581 | 7.0125 | 108.107 | 8.107 | 0.7125 | 0.79789 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14290A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2620047 | 2014-10-21 |  | 8.081 | 7.0125 | 115.2371 | 15.2371 | 0.7125 | 1.4996 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14293A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2014 | 2720119 | 2014-11-01 |  | 6.676 | 7.0125 | 95.2014 | -4.7986 | 0.7125 | -0.47228 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14304A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2870094 | 2014-11-14 |  | 6.162 | 7.0125 | 87.8717 | -12.1283 | 0.7125 | -1.1937 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14317A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2930058 | 2014-11-17 |  | 350.5 | 349 | 100.4298 | 0.4298 | 22.1348 | 0.067767 | 1.9 | 0671 |  |  |  | µg/L | 25213-75211 | ICPOE14321A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 3000109 | 2014-11-21 |  | 5.886 | 7.0125 | 83.9358 | -16.0642 | 0.7125 | -1.5811 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE14324A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 3040042 | 2014-11-24 |  | 355.1 | 349 | 101.7479 | 1.7479 | 22.1348 | 0.27558 | 1.9 | 0671 |  |  |  | µg/L | 25213-75211 | ICPOE14328A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 3140042 | 2014-12-01 |  | 140.5 | 140.3375 | 100.1158 | 0.11579 | 8.9181 | 0.018221 | 1.9 | 0671 |  |  |  | µg/L | 25209-75213 | ICPOE14335A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 3180035 | 2014-12-03 |  | 106.9 | 108.0125 | 98.97 | -1.03 | 6.8707 | -0.16192 | 1.9 | 0671 |  |  |  | µg/L | 25211-75209 | ICPOE14336A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 3280085 | 2014-12-08 |  | 137.4 | 140.3375 | 97.9068 | -2.0932 | 8.9181 | -0.32939 | 1.9 | 0671 |  |  |  | µg/L | 25209-75213 | ICPOE14339A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 3300046 | 2014-12-09 |  | 106.1 | 108.0125 | 98.2294 | -1.7706 | 6.8707 | -0.27836 | 1.9 | 0671 |  |  |  | µg/L | 25211-75209 | ICPOE14339A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 3420012 | 2014-12-12 |  | 303 | 303 | 100 | 0 | 19.2212 | 0 | 1.9 | 0671 |  |  |  | µg/L | 75211-25DIW | ICPOE14345A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 3560056 | 2014-12-30 |  | 314.4 | 303 | 103.7624 | 3.7624 | 19.2212 | 0.5931 | 1.9 | 0671 |  |  |  | µg/L | 75211-25DIW | ICPOE14363A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 0090043 | 2015-01-21 |  | 345 | 349 | 98.8539 | -1.1461 | 22.1348 | -0.18071 | 1.9 | 0671 |  |  |  | µg/L | 25213-75211 | ICPOE15021A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 0230026 | 2015-01-29 |  | 323.6 | 349 | 92.7221 | -7.2779 | 22.1348 | -1.1475 | 1.9 | 0671 |  |  |  | µg/L | 25213-75211 | ICPOE15028A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 0370057 | 2015-02-13 |  | 98.6 | 108.0125 | 91.2857 | -8.7143 | 6.8707 | -1.37 | 1.9 | 0671 |  |  |  | µg/L | 2511-75209 | ICPOE15042A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 0510049 | 2015-02-23 |  | 94.92 | 108.0125 | 87.8787 | -12.1213 | 6.8707 | -1.9056 | 1.9 | 0671 |  |  |  | µg/L | 2511-75209 | ICPOE15054B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 0650045 | 2015-03-19 |  | 138 | 138 | 100 | 0 | 8.7701 | 0 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE15075A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 0750029 | 2015-03-20 |  | 320.2 | 303 | 105.6766 | 5.6766 | 19.2212 | 0.89485 | 1.9 | 0671 |  |  |  | µg/L | 75211-25DIW | ICPOE15077A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 0840083 | 2015-03-31 |  | 134.6 | 138 | 97.5362 | -2.4638 | 8.7701 | -0.38768 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE15086B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 0900120 | 2015-04-22 |  | 293.3 | 303 | 96.7987 | -3.2013 | 19.2212 | -0.50465 | 1.9 | 0671 |  |  |  | µg/L | 75211-25DIW | ICPOE15111A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1030094 | 2015-05-08 |  | 7.018 | 7.0125 | 100.0784 | 0.078431 | 0.7125 | 0.0077193 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE15125C
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1070070 | 2015-05-12 |  | 377.4 | 349 | 108.1375 | 8.1375 | 22.1348 | 1.283 | 1.9 | 0671 |  |  |  | µg/L | 25213-75211 | ICPOE15128B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1180081 | 2015-05-23 |  | 6.897 | 7.0125 | 98.3529 | -1.6471 | 0.7125 | -0.16211 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE15138C
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1210015 | 2015-05-25 |  | 335.1 | 349 | 96.0172 | -3.9828 | 22.1348 | -0.62797 | 1.9 | 0671 |  |  |  | µg/L | 25213-75211 | ICPOE15143A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1310024 | 2015-06-02 |  | 134.2 | 140.3375 | 95.6266 | -4.3734 | 8.9181 | -0.68821 | 1.9 | 0671 |  |  |  | µg/L | 25209-75213 | ICPOE15154A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1350073 | 2015-06-06 |  | 96.81 | 108.0125 | 89.6285 | -10.3715 | 6.8707 | -1.6305 | 1.9 | 0671 |  |  |  | µg/L | 25211-75209 | ICPOE15155A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1460100 | 2015-06-15 |  | 134.6 | 140.3375 | 95.9116 | -4.0884 | 8.9181 | -0.64335 | 1.9 | 0671 |  |  |  | µg/L | 25209-75213 | ICPOE15162C
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1490088 | 2015-06-16 |  | 107 | 108.0125 | 99.0626 | -0.93739 | 6.8707 | -0.14737 | 1.9 | 0671 |  |  |  | µg/L | 25211-75209 | ICPOE15162D
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1610001 | 2015-06-23 |  | 295.2 | 303 | 97.4257 | -2.5743 | 19.2212 | -0.4058 | 1.9 | 0671 |  |  |  | µg/L | 75211-25DIW | ICPOE15169C
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1670047 | 2015-06-30 |  | 128.2 | 138 | 92.8986 | -7.1014 | 8.7701 | -1.1174 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE15180A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1730008 | 2015-07-16 |  | 299.9 | 303 | 98.9769 | -1.0231 | 19.2212 | -0.16128 | 1.9 | 0671 |  |  |  | µg/L | 75211-25DIW | ICPOE15196A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1770059 | 2015-07-17 |  | 128.9 | 138 | 93.4058 | -6.5942 | 8.7701 | -1.0376 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE15196B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 1910076 | 2015-07-21 |  | 301.2 | 349 | 86.3037 | -13.6963 | 22.1348 | -2.1595 | 1.9 | 0671 |  |  |  | µg/L | 25213-75211 | ICPOE15201B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2010039 | 2015-07-25 |  | 6.088 | 7.0125 | 86.8164 | -13.1836 | 0.7125 | -1.2975 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE15203C
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2050099 | 2015-08-06 |  | 339.8 | 349 | 97.3639 | -2.6361 | 22.1348 | -0.41563 | 1.9 | 0671 |  |  |  | µg/L | 25213-75211 | ICPOE15215B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2190001 | 2015-08-12 |  | 101.8 | 108.0125 | 94.2484 | -5.7516 | 6.8707 | -0.90421 | 1.9 | 0671 |  |  |  | µg/L | 25211-75209 | ICPOE15224A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2150036 | 2015-08-22 |  | 6.644 | 7.0125 | 94.7451 | -5.2549 | 0.7125 | -0.51719 | 1.9 | 0671 |  |  |  | µg/L | 75209-25DIW | ICPOE15233A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2300001 | 2015-08-31 |  | 131.2 | 140.3375 | 93.4889 | -6.5111 | 8.9181 | -1.0246 | 1.9 | 0671 |  |  |  | µg/L | 25209-75213 | ICPOE15241A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2580002 | 2015-09-19 |  | 287.3 | 303 | 94.8185 | -5.1815 | 19.2212 | -0.81681 | 1.9 | 0671 |  |  |  | µg/L | 75211-25DIW | ICPOE15261C
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2510002 | 2015-09-23 |  | 136.2 | 138 | 98.6957 | -1.3043 | 8.7701 | -0.20524 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE15265A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2430086 | 2015-10-01 |  | 140.3 | 140.3375 | 99.9733 | -0.026721 | 8.9181 | -0.0042049 | 1.9 | 0671 |  |  |  | µg/L | 25209-75213 | ICPOE15271A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2330121 | 2015-10-01 |  | 103.2 | 108.0125 | 95.5445 | -4.4555 | 6.8707 | -0.70044 | 1.9 | 0671 |  |  |  | µg/L | 25211-75209 | ICPOE15271A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2610001 | 2015-10-07 |  | 127 | 138 | 92.029 | -7.971 | 8.7701 | -1.2543 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE15278B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 2860107 | 2015-10-20 |  | 134.8 | 138 | 97.6812 | -2.3188 | 8.7701 | -0.36488 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE15293B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 2890004 | 2015-10-22 |  | 178.5 | 191 | 93.4555 | -6.5445 | 9.55 | -1.3089 | 1.9 | 0671 |  |  |  | µg/L | T217 | ICPOE15293B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2015 | 2710062 | 2015-10-23 |  | 302 | 303 | 99.67 | -0.33003 | 19.2212 | -0.052026 | 1.9 | 0671 |  |  |  | µg/L | 75211-25DIW | ICPOE15293A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 3200021 | 2015-11-19 |  | 8.9 | 9.35 | 95.1872 | -4.8128 | 0.95 | -0.47368 | 1.9 | 0671 |  |  |  | µg/L | T209 | ICPOE15322A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 3140014 | 2015-11-20 |  | 187.5 | 193 | 97.1503 | -2.8497 | 9.65 | -0.56995 | 1.9 | 0671 |  |  |  | µg/L | T219 | ICPOE15324A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 3270016 | 2015-11-26 |  | 185.9 | 193 | 96.3212 | -3.6788 | 9.65 | -0.73575 | 1.9 | 0671 |  |  |  | µg/L | T219 | ICPOE15329B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 2990059 | 2015-11-28 |  | 135.9 | 138 | 98.4783 | -1.5217 | 8.7701 | -0.23945 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE15331A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 3030023 | 2015-11-30 |  | 184.9 | 191 | 96.8063 | -3.1937 | 9.55 | -0.63874 | 1.9 | 0671 |  |  |  | µg/L | T217 | ICPOE15331C
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 3340003 | 2015-12-09 |  | 9.485 | 9.35 | 101.4439 | 1.4439 | 0.95 | 0.14211 | 1.9 | 0671 |  |  |  | µg/L | T209 | ICPOE15341C
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 3490011 | 2015-12-24 |  | 4.646 | 4.45 | 104.4045 | 4.4045 | 0.95 | 0.20632 | 1.9 | 0671 |  |  |  | µg/L | T215 | ICPOE15356B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 0080060 | 2016-01-14 |  | 176.1 | 191 | 92.199 | -7.801 | 9.55 | -1.5602 | 1.9 | 0671 |  |  |  | µg/L | T217 | ICPOE16014A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 0220021 | 2016-02-11 |  | 184.1 | 191 | 96.3874 | -3.6126 | 9.55 | -0.72251 | 1.9 | 0671 |  |  |  | µg/L | T217 | ICPOE16040B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 0360140 | 2016-02-22 |  | 8.783 | 9.35 | 93.9358 | -6.0642 | 0.95 | -0.59684 | 1.9 | 0671 |  |  |  | µg/L | T209 | ICPOE16050B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 3630062 | 2016-02-26 |  | 4.931 | 4.45 | 110.809 | 10.809 | 0.95 | 0.50632 | 1.9 | 0671 |  |  |  | µg/L | T215 | ICPOE16055A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 0500013 | 2016-03-01 |  | 9.226 | 9.35 | 98.6738 | -1.3262 | 0.95 | -0.13053 | 1.9 | 0671 |  |  |  | µg/L | T209 | ICPOE16056A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 0740017 | 2016-03-31 |  | 417.2 | 404 | 103.2673 | 3.2673 | 25.1 | 0.5259 | 1.9 | 0671 |  |  |  | µg/L | T211 | ICPOE16089B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 0780004 | 2016-04-01 |  | 3.523 | 4.45 | 79.1685 | -20.8315 | 0.95 | -0.97579 | 1.9 | 0671 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPOE16089B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 0880042 | 2016-04-23 |  | 377.1 | 404 | 93.3416 | -6.6584 | 25.1 | -1.0717 | 1.9 | 0671 |  |  |  | µg/L | T211 | ICPOE16113A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1020033 | 2016-05-04 |  | 129.5 | 138 | 93.8406 | -6.1594 | 8.7701 | -0.96921 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE16120A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 0920001 | 2016-05-07 |  | 3.314 | 4.45 | 74.4719 | -25.5281 | 0.95 | -1.1958 | 1.9 | 0671 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPOE16127C
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1100108 | 2016-05-23 |  | 194.1 | 191 | 101.623 | 1.623 | 9.55 | 0.32461 | 1.9 | 0671 |  |  |  | µg/L | T217 | ICPOE16144A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1160085 | 2016-06-07 |  | 126 | 138 | 91.3043 | -8.6957 | 8.7701 | -1.3683 | 1.9 | 0671 |  |  |  | µg/L | 75213-25DIW | ICPOE16158A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1200078 | 2016-06-09 |  | 190 | 191 | 99.4764 | -0.52356 | 9.55 | -0.10471 | 1.9 | 0671 |  |  |  | µg/L | T217 | ICPOE16159A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1270017 | 2016-06-14 |  | 181.4 | 193 | 93.9896 | -6.0104 | 9.65 | -1.2021 | 1.9 | 0671 |  |  |  | µg/L | T219 | ICPOE16165A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1380005 | 2016-06-21 |  | 7.675 | 9.35 | 82.0856 | -17.9144 | 0.95 | -1.7632 | 1.9 | 0671 |  |  |  | µg/L | T209 | ICPOE16172A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1480195 | 2016-07-06 |  | 7.335 | 9.35 | 78.4492 | -21.5508 | 0.95 | -2.1211 | 1.9 | 0671 |  |  |  | µg/L | T209 | ICPOE16187A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1450037 | 2016-07-22 |  | 187.6 | 193 | 97.2021 | -2.7979 | 9.65 | -0.55959 | 1.9 | 0671 |  |  |  | µg/L | T219 | ICPOE16204A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1620234 | 2016-08-01 |  | 5.392 | 4.45 | 121.1685 | 21.1685 | 0.95 | 0.99158 | 1.9 | 0671 |  |  |  | µg/L | T215 | ICPOE16212A
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1740082 | 2016-08-06 |  | 411.4 | 404 | 101.8317 | 1.8317 | 25.1 | 0.29482 | 1.9 | 0671 |  |  |  | µg/L | T211 | ICPOE16218B
Zinc, FIL, ICP-OES | 01090 | PLA11 | FIL | 2016 | 1760254 | 2016-08-12 |  | 4.284 | 4.45 | 96.2697 | -3.7303 | 0.95 | -0.17474 | 1.9 | 0671 |  |  |  | µg/L | T215 | ICPOE16225B