## MBAS_WWR_SPEC_38260SPEC2
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070250022 | 2007-02-01 | 0.038797 | <0.40 | 0.05 | 0096 | Sample was diluted |  |  | mg/L | Blank | No | MBAS07032A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072670053 | 2007-10-04 | 0.058688 | E0.06 | 0.05 | 0096 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | MBAS07277A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070120010 | 2007-01-22 | 0.0068266 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07022A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070180079 | 2007-01-22 | 0.014215 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07022A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070400096 | 2007-02-12 | 0.23383 | 0.23 | 0.05 | 0096 |  |  |  | mg/L | Blank | Yes | MBAS07043B | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070460012 | 2007-02-26 | 0.024847 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07057A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070540013 | 2007-02-28 | 0.019068 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07059A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070580143 | 2007-02-28 | 0.024425 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07059A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070650008 | 2007-03-09 | 0.010927 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07068A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070710073 | 2007-03-22 | 0.023343 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07081A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070780122 | 2007-03-22 | 0.015196 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07081A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070860218 | 2007-04-06 | 0.024819 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07096A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070930066 | 2007-04-06 | 0.039906 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07096A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20070990046 | 2007-04-18 | 0.03188 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07108A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071070018 | 2007-04-18 | 0.025591 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07108A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071130113 | 2007-05-02 | 0.01354 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07122A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071200090 | 2007-05-02 | 0.020326 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07122A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071280014 | 2007-05-11 | 0.049744 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07130A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071340111 | 2007-05-24 | 0.011889 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07144A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071410085 | 2007-05-24 | 0.011408 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07144A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071500030 | 2007-06-04 | 0.013256 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07155A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071560017 | 2007-06-15 | 0.014116 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07166A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071620053 | 2007-06-15 | 0.02024 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07166A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071690124 | 2007-06-26 | 0.014272 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07177A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071770206 | 2007-07-03 | 0.017226 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07183A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071830162 | 2007-07-11 | 0.02485 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07191A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20071900099 | 2007-07-11 | 0.017493 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07191A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072040098 | 2007-08-03 | 0.037458 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07214A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072110154 | 2007-08-03 | 0.039308 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07214A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072210255 | 2007-08-14 | 0.0098414 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07226A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072260178 | 2007-08-20 | 0.0086869 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07232A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072330129 | 2007-08-30 | 0.01437 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07242A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072400032 | 2007-08-30 | 0.013405 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07242A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072480015 | 2007-09-06 | 0.012192 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07249A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072540019 | 2007-09-14 | 0.019924 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07257A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2007 | 20072600120 | 2007-09-20 | 0.0096486 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07263A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080280048 | 2008-02-05 | 0.053561 | E0.05 | 0.05 | 0096 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | MBAS08036A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081400065 | 2008-05-21 | 0.058484 | E0.06 | 0.05 | 0096 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | MBAS08142A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20072850022 | 2007-10-18 | 0.018797 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07291A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20072890058 | 2007-10-18 | 0.025693 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07291A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20072960188 | 2007-11-01 | 0.019276 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07305A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20073020069 | 2007-11-01 | 0.01596 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07305A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20073100013 | 2007-11-08 | 0.017928 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07312A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20073170053 | 2007-11-15 | 0.027866 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07319A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20073230109 | 2007-11-29 | 0.025027 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07333A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20073300038 | 2007-11-29 | 0.022107 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07333A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20073370090 | 2007-12-13 | 0.018721 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07347A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20073440035 | 2007-12-13 | 0.023829 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07347A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20073510088 | 2007-12-27 | 0.023082 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS07361A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20073620011 | 2008-02-05 | 0.020899 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08036A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080070025 | 2008-02-05 | 0.024811 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08036A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080140023 | 2008-02-05 | 0.024594 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08036A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080230004 | 2008-02-05 | 0.029457 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08036A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080360048 | 2008-02-14 | 0.030453 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08045A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080420069 | 2008-02-14 | 0.024755 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08045A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080510059 | 2008-02-28 | 0.027371 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08058A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080560066 | 2008-02-28 | 0.02914 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08058A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080630063 | 2008-03-05 | 0.017992 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08065A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080700078 | 2008-03-14 | 0.019902 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08074A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080770120 | 2008-03-20 | 0.018809 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08080A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080840060 | 2008-03-27 | 0.021483 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08087A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080920076 | 2008-04-03 | 0.012095 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08094A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20080980086 | 2008-04-16 | 0.012739 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08107A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081050112 | 2008-04-16 | 0.013791 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08107A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081120031 | 2008-04-25 | 0.014365 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08116A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081190047 | 2008-05-08 | 0.030516 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08129A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081260072 | 2008-05-08 | 0.035036 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08129A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081330099 | 2008-05-21 | 0.027795 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08142A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081480066 | 2008-05-28 | 0.033759 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08149A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081540112 | 2008-06-11 | 0.02829 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08163A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081620003 | 2008-06-11 | 0.027655 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08163A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081680065 | 2008-06-25 | 0.031899 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08177A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081750133 | 2008-06-25 | 0.041459 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08177A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081820052 | 2008-07-10 | 0.033853 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08192A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081890049 | 2008-07-10 | 0.03773 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08192A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20081970144 | 2008-07-18 | 0.035437 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08200A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082030125 | 2008-07-30 | 0.029136 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08212A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082190016 | 2008-08-13 | 0.014421 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08226A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082250008 | 2008-08-13 | 0.020087 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08226A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082310137 | 2008-08-28 | 0.017804 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08241A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082380083 | 2008-09-04 | 0.044989 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08248A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082460105 | 2008-09-04 | 0.036973 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08248A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082520014 | 2008-09-16 | 0.024348 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08260A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082590101 | 2008-09-16 | 0.018127 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08260A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082660040 | 2008-09-25 | 0.033135 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08269A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2008 | 20082730066 | 2008-10-09 | 0.031372 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08283A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083150068 | 2008-11-20 | 0.053691 | E0.05 | 0.05 | 0096 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | MBAS08325A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090200037 | 2009-01-29 | 0.074773 | E0.07 | 0.05 | 0096 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | MBAS09029A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20082800054 | 2008-10-09 | 0.02468 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08283A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20082880046 | 2008-10-23 | 0.011158 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08297A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20082940071 | 2008-10-23 | 0.012464 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08297A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083010111 | 2008-11-05 | 0.017472 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08310A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083080097 | 2008-11-05 | 0.017454 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08310A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083220073 | 2008-11-20 | 0.022444 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08325A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083290064 | 2008-11-25 | 0.020572 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08330A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083360030 | 2008-12-10 | 0.012264 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08345A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083450068 | 2008-12-30 | 0.017341 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08365A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083500076 | 2008-12-30 | 0.021915 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08365A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083570045 | 2008-12-30 | 0.02458 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS08365A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20083650087 | 2009-01-09 | 0.017246 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09009A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090050022 | 2009-01-09 | 0.015234 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09009A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090120050 | 2009-01-20 | 0.028843 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09020A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090260028 | 2009-01-29 | 0.015184 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09029A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090330027 | 2009-02-11 | 0.025598 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09042A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090400033 | 2009-02-11 | 0.012878 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09042A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090480053 | 2009-02-20 | 0.017596 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09051A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090540045 | 2009-03-02 | 0.016311 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09061A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090610053 | 2009-03-09 | 0.40142 | 0.40 | 0.05 | 0096 |  |  |  | mg/L | Blank | Yes | MBAS09068A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090680055 | 2009-03-18 | 0.014598 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09077A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090750033 | 2009-03-18 | 0.015349 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09077A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090820025 | 2009-03-30 | 0.014034 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09089A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090890058 | 2009-04-09 | 0.014465 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09099A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20090960040 | 2009-04-09 | 0.012709 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09099A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091030080 | 2009-04-22 | 0.013682 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09112A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091110104 | 2009-04-22 | 0.014829 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09112A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091170116 | 2009-05-05 | 0.0024419 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09125A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091240115 | 2009-05-05 | -0.002541 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09125A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091320017 | 2009-05-20 | 0.0054492 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09140A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091380113 | 2009-05-20 | 0.0051958 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09140A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091460179 | 2009-06-03 | 0.022712 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09154A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091520149 | 2009-06-03 | 0.020461 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09154A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091590076 | 2009-06-10 | 0.011994 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09161A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091660203 | 2009-06-18 | 0.036055 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09169A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091730212 | 2009-06-26 | 0.011337 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09177A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091800183 | 2009-07-09 | 0.010752 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09190A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091870019 | 2009-07-09 | 0.012151 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09190A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20091950033 | 2009-07-17 | 0.021536 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09198A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092010118 | 2009-07-24 | 0.0040305 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09205A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092090259 | 2009-08-05 | 0.0097979 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09216A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092150063 | 2009-08-05 | 0.016627 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09216A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092220157 | 2009-08-18 | -0.01001 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09230A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092290204 | 2009-08-18 | 0.0080444 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09230A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092360165 | 2009-08-27 | -0.006134 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09239A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092430148 | 2009-09-10 | 0.0077286 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09253A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092520136 | 2009-09-10 | 0.012383 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09253A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092570057 | 2009-09-18 | 0.027915 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09261A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092640050 | 2009-09-29 | 0.0087704 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09271A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2009 | 20092720016 | 2009-10-08 | 0.0086719 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09281A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20092870063 | 2009-11-02 | 0.0097451 | <0.10 | 0.05 | 0096 | Holding time exceeded |  |  | mg/L | Blank | No | MBAS09306A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20092920088 | 2009-11-02 | 0.011456 | <0.10 | 0.05 | 0096 | Holding time exceeded |  |  | mg/L | Blank | No | MBAS09306A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20092780082 | 2009-10-08 | 0.0041597 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09281A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093000111 | 2009-11-02 | 0.016811 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09306A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093070195 | 2009-11-12 | 0.011281 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09316A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093130064 | 2009-11-16 | 0.017223 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09320A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093200077 | 2009-11-25 | 0.013465 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09329A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093280017 | 2009-11-25 | 0.013089 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09329A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093360007 | 2009-12-10 | 0.0074789 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09344A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093420003 | 2009-12-10 | 0.0069809 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09344A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093480068 | 2009-12-21 | 0.0049975 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09355A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093560026 | 2009-12-30 | 0.0027049 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09364A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20093620029 | 2009-12-30 | 0.0083232 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS09364A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100050005 | 2010-01-11 | 0.00112 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10011A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100110081 | 2010-01-11 | 0.017299 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10011A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100190101 | 2010-01-29 | 0.0009264 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10029A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100260061 | 2010-01-29 | 0.0011596 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10029A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100320029 | 2010-02-08 | 0.0060318 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10039A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100390043 | 2010-02-17 | 0.0033688 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10048A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100470043 | 2010-02-17 | 0.019065 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10048A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100530051 | 2010-02-26 | 0.0076929 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10057A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100600059 | 2010-03-05 | 0.013384 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10064A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100680004 | 2010-03-10 | 0.012727 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10069A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100750010 | 2010-03-17 | 0.018357 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10076A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100850071 | 2010-03-31 | 0.014126 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10090A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100880052 | 2010-04-02 | 0.010613 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10092A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20100950029 | 2010-04-14 | 0.010091 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10104A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101020078 | 2010-04-14 | 0.022381 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10104A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101090072 | 2010-04-28 | 0.0095276 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10118A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101170073 | 2010-04-28 | 0.010599 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10118A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101240086 | 2010-05-11 | 0.010311 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10131A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101310103 | 2010-05-19 | 0.0084777 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10139A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101380010 | 2010-05-19 | 0.011747 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10139A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101440157 | 2010-06-01 | 0.0086118 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10152A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101530122 | 2010-06-09 | 0.012799 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10160A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101590020 | 2010-06-09 | 0.011159 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10160A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101660067 | 2010-06-16 | 0.0058891 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10167A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101730077 | 2010-06-30 | 0.011613 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10181A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101790129 | 2010-06-30 | 0.029814 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10181A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101870063 | 2010-07-07 | 0.0183 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10188A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20101930095 | 2010-07-15 | 0.023648 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10196A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102000194 | 2010-07-21 | 0.014006 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10202A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102080015 | 2010-07-28 | 0.031565 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10209A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102140098 | 2010-08-11 | 0.0085318 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10223A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102230044 | 2010-08-19 | 0.014497 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10231A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102290047 | 2010-08-19 | 0.01161 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10231A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102350179 | 2010-09-01 | 0.021525 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10244A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102430245 | 2010-09-08 | 0.010768 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10251A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102510068 | 2010-09-15 | 0.0049669 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10258A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102570016 | 2010-09-22 | 0.0084837 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10265A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102640142 | 2010-09-22 | 0.012204 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10265A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2010 | 20102700145 | 2010-09-29 | 0.011836 | <0.10 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10271A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20102770095 | 2010-10-13 | 0.0045793 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10286A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20102850135 | 2010-10-13 | 0.0029839 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10286A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20102920008 | 2010-10-21 | 0.0078793 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10294A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20102990019 | 2010-10-29 | 0.011247 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10302A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20103060016 | 2010-11-10 | 0.0043201 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10314A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20103120033 | 2010-11-10 | 0.0033171 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10314A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20103190050 | 2010-11-23 | 0.004883 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10327A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20103260079 | 2010-11-23 | 0.0049381 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10327A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20103330105 | 2010-12-02 | 0.0078656 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10336A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20103400095 | 2010-12-08 | 0.0093289 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10342A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20103470093 | 2010-12-16 | 0.0053554 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10350A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20103540052 | 2010-12-28 | 0.0025931 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10362A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20103610049 | 2010-12-28 | 0.0014107 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS10362A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110030012 | 2011-01-12 | 0.0077545 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11012A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110110008 | 2011-01-12 | 0.0066538 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11012A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110180052 | 2011-01-19 | 0.0073324 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11019A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110240057 | 2011-01-28 | 0.0030828 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11026A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110400059 | 2011-02-18 | 0.015629 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11049A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110410094 | 2011-02-18 | 0.018287 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11049A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110450027 | 2011-02-18 | 0.015477 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11049A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110530112 | 2011-02-25 | 0.015181 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11056A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110590072 | 2011-03-04 | 0.020221 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11063A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110660025 | 2011-03-14 | 0.010124 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11073A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110750065 | 2011-03-25 | 0.013949 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11083A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110800056 | 2011-03-25 | 0.01627 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11083A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110870082 | 2011-04-06 | 0.014383 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11096A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20110950047 | 2011-04-06 | 0.010444 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11096A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111010110 | 2011-04-20 | -0.001509 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11110A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111080071 | 2011-04-20 | -0.001908 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11110A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111150115 | 2011-05-05 | 0.016606 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11125A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111290048 | 2011-05-17 | 0.010224 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11137A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111360142 | 2011-05-17 | 0.0090585 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11137A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111430208 | 2011-06-02 | 0.020819 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11153A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111510155 | 2011-06-02 | 0.02247 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11153A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111570068 | 2011-06-08 | 0.016346 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11159A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111640055 | 2011-06-17 | 0.0050783 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11168A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111710114 | 2011-06-27 | 0.010921 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11178A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111780157 | 2011-07-06 | 0.0049827 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11187A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111860069 | 2011-07-06 | 0.0084823 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11187A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20111920089 | 2011-07-15 | 0.018697 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11196A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112010014 | 2011-07-28 | 0.015373 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11209A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112060084 | 2011-07-28 | 0.014349 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11209A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112130148 | 2011-08-11 | 0.010886 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11223A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112200060 | 2011-08-11 | 0.010606 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11223A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112300034 | 2011-08-25 | 0.0079749 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11237A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112360066 | 2011-08-25 | 0.0085382 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11237A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112500181 | 2011-09-08 | 0.0085091 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11250A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112510028 | 2011-09-15 | 0.0098801 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11258A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112560014 | 2011-09-16 | 0.0091625 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11259A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112630056 | 2011-09-30 | 0.015923 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11273A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2011 | 20112690120 | 2011-09-30 | 0.009616 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11273A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122700106 | 2012-10-04 | 0.0081493 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12278A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20112760053 | 2011-10-07 | 0.0090276 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11280A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20112840065 | 2011-10-20 | 0.0082192 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11293A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20112910124 | 2011-10-20 | 0.0077002 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11293A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20112970105 | 2011-11-03 | 0.0068723 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11307A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20113050099 | 2011-11-03 | 0.0067286 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11307A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20113110060 | 2011-11-09 | 0.0090581 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11313A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20113180152 | 2011-11-16 | 0.010281 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11320A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20113250123 | 2011-11-28 | 0.01799 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11332A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20113320106 | 2011-12-08 | 0.014363 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11342A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20113460127 | 2011-12-14 | 0.0054382 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11348A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20113490086 | 2011-12-22 | -0.002354 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11355A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20113530132 | 2011-12-22 | 0.0024394 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS11355A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20113610080 | 2012-01-06 | 0.0080748 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12006A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120030018 | 2012-01-06 | 0.0071857 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12006A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120090042 | 2012-01-18 | 0.0071003 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12018A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120370065 | 2012-02-07 | 0.0050188 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12038A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120450028 | 2012-02-16 | 0.013177 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12047A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120530098 | 2012-02-29 | 0.0089504 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12060A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120580058 | 2012-03-08 | 0.010936 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12068A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120660069 | 2012-03-08 | 0.014208 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12068A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120730087 | 2012-03-19 | 0.0057296 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12079A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120790091 | 2012-03-29 | 0.0094289 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12089B | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120870037 | 2012-03-29 | 0.0089525 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12089B | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20120930053 | 2012-04-12 | 0.0051312 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12103A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121010024 | 2012-04-12 | 0.0088385 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12103A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121080019 | 2012-04-26 | 0.0066448 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12117A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121150095 | 2012-04-26 | 0.007384 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12117A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121210114 | 2012-05-10 | 0.0061779 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12131A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121290092 | 2012-05-10 | 0.0083687 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12131A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121370050 | 2012-05-23 | 0.011321 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12144A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121430071 | 2012-05-23 | 0.012816 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12144A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121510034 | 2012-06-07 | 0.0082198 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12159A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121560121 | 2012-06-07 | 0.0085303 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12159A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121650045 | 2012-06-21 | 0.018902 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12173A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121710015 | 2012-06-21 | 0.011962 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12173A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121780040 | 2012-06-29 | 0.012816 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12181A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121870021 | 2012-07-12 | 0.014662 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12194A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121910033 | 2012-07-12 | 0.012128 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12194A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20121990072 | 2012-07-20 | 0.011048 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12202A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122050091 | 2012-08-02 | 0.0084155 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12215A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122140049 | 2012-08-02 | 0.013038 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12215A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122190089 | 2012-08-13 | 0.012457 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12226A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122280081 | 2012-08-22 | 0.01226 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12235A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122350115 | 2012-08-28 | 0.0093309 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12241A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122410006 | 2012-08-30 | 0.01279 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12243A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122490097 | 2012-09-13 | 0.010229 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12257A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122550006 | 2012-09-13 | 0.010414 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12257A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2012 | 20122690143 | 2012-10-04 | 0.0099602 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12278A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20130840051 | 2013-04-02 | 0.0083151 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13092A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131090026 | 2013-04-25 | 0.0082489 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13115A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20130520008 | 2013-02-26 | 0.012128 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13057A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131220010 | 2013-05-03 | 0.008646 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13123A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20130770157 | 2013-03-21 | 0.011504 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13080A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20130630116 | 2013-03-06 | 0.0077942 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13065A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131120120 | 2013-04-25 | 0.011314 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13115A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131350120 | 2013-05-16 | 0.014614 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13136A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131270014 | 2013-05-16 | 0.012234 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13136A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131500025 | 2013-06-04 | 0.0063918 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13155A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131550023 | 2013-06-12 | 0.0072405 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13163A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131640014 | 2013-06-21 | 0.0087138 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13172A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131830105 | 2013-07-10 | 0.0079092 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13191A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131970025 | 2013-07-17 | 0.010472 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13198A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131900081 | 2013-07-10 | 0.0097126 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13191A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20130570014 | 2013-02-28 | 0.013166 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13059A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20130700005 | 2013-03-21 | 0.010334 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13080A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131700035 | 2013-06-21 | 0.008732 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13172A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132040018 | 2013-07-25 | 0.0082903 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13206A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20130930080 | 2013-04-12 | 0.0076919 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13102A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131430202 | 2013-05-29 | 0.01082 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13149A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132120018 | 2013-08-05 | 0.0088989 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13217A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131770019 | 2013-06-28 | 0.012863 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13179A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20131150030 | 2013-05-03 | 0.0071392 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13123A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132270015 | 2013-08-19 | 0.0051592 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13231A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132190027 | 2013-08-15 | 0.0083717 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13227A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132350017 | 2013-08-28 | 0.011819 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13240A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132390006 | 2013-08-28 | 0.0069756 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13240A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132410015 | 2013-09-04 | 0.0092368 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13247A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132600010 | 2013-09-18 | 0.010137 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13261A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132530111 | 2013-09-13 | 0.0096129 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13256A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132660095 | 2013-09-25 | 0.012618 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13268A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20132730135 | 2013-10-18 | 0.011426 | <0.05 | 0.05 | 0096 | Holding time exceeded |  |  | mg/L | Blank | No | MBAS13291A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20122980121 | 2012-11-01 | 0.011355 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12306A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20122750021 | 2012-10-04 | 0.011065 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12278A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20122830024 | 2012-10-18 | 0.0091715 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12292A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20122900089 | 2012-10-18 | 0.0087297 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12292A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20123040108 | 2012-11-01 | 0.012144 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS12306A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20130350023 | 2013-02-14 | 0.018335 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13045A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2013 | 20130420061 | 2013-02-14 | 0.015533 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13045A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20133030018 | 2013-10-31 | 0.01376 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13304A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20132970034 | 2013-10-31 | 0.015487 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS13304A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140340016 | 2014-02-13 | 0.013539 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14044A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140490009 | 2014-02-24 | 0.0096089 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14055A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140550040 | 2014-02-26 | 0.010118 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14057A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140630117 | 2014-03-05 | 0.011401 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14064A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140410009 | 2014-02-13 | 0.012475 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14044A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140690015 | 2014-03-12 | 0.0074338 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14071A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140760036 | 2014-03-20 | 0.0095125 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14079A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140900033 | 2014-04-02 | 0.0084947 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14092A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140840093 | 2014-04-02 | 0.0090717 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14092A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20140970039 | 2014-04-09 | 0.0083775 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14099A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141050003 | 2014-04-17 | 0.0088732 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14107A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141820112 | 2014-07-10 | 0.014677 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14191A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141400014 | 2014-05-30 | 0.012655 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14150A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141190021 | 2014-05-02 | 0.0074122 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14122A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141550061 | 2014-06-12 | 0.011051 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14163A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141250082 | 2014-05-14 | 0.013999 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14134A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141680089 | 2014-06-26 | 0.01464 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14177A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141470143 | 2014-05-30 | 0.02326 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14150A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141890081 | 2014-07-10 | 0.015133 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14191A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141130026 | 2014-05-02 | 0.0076261 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14122A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141750139 | 2014-06-26 | 0.013855 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14177A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141960053 | 2014-07-17 | 0.013987 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14198A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20142090214 | 2014-08-01 | 0.015084 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14213A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141620029 | 2014-06-12 | 0.013791 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14163A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20142230075 | 2014-08-14 | 0.0069517 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14226A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20142160061 | 2014-08-14 | 0.0077106 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14226A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20142470056 | 2014-09-10 | 0.013427 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14253A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20142520029 | 2014-09-10 | 0.012166 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14253A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20142030074 | 2014-08-01 | 0.015144 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14213A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20142650104 | 2014-09-24 | 0.020775 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14267A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20142590041 | 2014-09-19 | 0.015591 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14262A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20142720099 | 2014-10-01 | 0.0086184 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14274A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2014 | 20141330191 | 2014-05-14 | 0.010344 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14134A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20142790025 | 2014-10-09 | 0.0098801 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14282A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20142880078 | 2014-10-23 | 0.0089059 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14296A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20142950119 | 2014-10-23 | 0.0090321 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14296A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20143010061 | 2014-11-06 | 0.012725 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS14310A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150400028 | 2015-02-11 | 0.005488 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15042A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150540024 | 2015-02-24 | 0.011021 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15055A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150770037 | 2015-03-19 | 0.012142 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15078A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150490017 | 2015-02-24 | 0.0096257 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15055A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150330020 | 2015-02-04 | 0.0079011 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15035A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150610099 | 2015-03-04 | 0.011072 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15063A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150690105 | 2015-03-19 | 0.0097275 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15078A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150900044 | 2015-04-01 | 0.0063241 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15091A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150850034 | 2015-04-01 | 0.0072826 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15091A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20150970057 | 2015-04-16 | 0.0124 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15106A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151050037 | 2015-04-16 | 0.011829 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15106A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151800055 | 2015-07-01 | 0.0085425 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15182A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151660045 | 2015-06-18 | 0.013968 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15169A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151530205 | 2015-06-11 | 0.014259 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15162A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151460116 | 2015-05-28 | 0.010259 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15148A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151240059 | 2015-05-13 | 0.011023 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15133A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151140029 | 2015-05-01 | 0.048679 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15121A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151390189 | 2015-05-28 | 0.0098666 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15148A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151620205 | 2015-06-18 | 0.012401 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15169A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151180066 | 2015-05-01 | 0.017296 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15121A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151730009 | 2015-07-01 | 0.0071708 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15182A | SP1
MBAS, Total | 38260 | SPEC2 | WWR | 2015 | 20151310081 | 2015-05-13 | 0.009973 | <0.05 | 0.05 | 0096 |  |  |  | mg/L | Blank | No | MBAS15133A | SP1