## TOC_WWR_ _00680OX009
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070120013 | 2007-02-01 | 0.226 | E0.23 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI1-7019 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20062780054 | 2006-10-23 | 0.038 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-6271 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20062850009 | 2006-10-23 | 0.081 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-6290 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20062910011 | 2006-11-02 | 0.061 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-6298 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20062960131 | 2006-11-02 | 0.087 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-6298 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20063030092 | 2006-11-29 | 0.116 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-6306 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20063100084 | 2006-12-01 | 0.049 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-6312 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20063180094 | 2006-12-05 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-6321 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20063240083 | 2006-12-05 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-6321 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20063310040 | 2006-12-05 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-6321 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20063380058 | 2007-01-24 | 0.015 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-6340 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20063450078 | 2007-01-26 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-6362 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20063520068 | 2007-01-26 | 0.076 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-6362 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20063610083 | 2007-01-26 | 0.057 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-6362 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070040009 | 2007-01-26 | 0.005 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-6362 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070180084 | 2007-02-01 | 0.076 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-7019 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070250025 | 2007-02-12 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-7029 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070400101 | 2007-02-27 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1.7046 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070460011 | 2007-02-27 | 0.845 | 0.85 | 0.2 | 0114 |  |  |  | mg/L | Blank | Yes | OI2-7046 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070540020 | 2007-02-27 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-7046 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070580139 | 2007-03-09 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-7060 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070650003 | 2007-03-22 | 0.195 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-7068 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070710080 | 2007-03-22 | 0.015 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-7068 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070780124 | 2007-04-11 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-7082 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070860211 | 2007-04-11 | 0.036 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-7082 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070930072 | 2007-04-11 | 0.102 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-7082 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20070990044 | 2007-04-18 | 0.024 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-7096 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071070016 | 2007-04-20 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-7106 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071130107 | 2007-06-06 | 0.087 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-7110 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071200092 | 2007-05-23 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-7133 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071280015 | 2007-05-29 | 0.027 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-7142 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071340106 | 2007-05-29 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-7142 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071410075 | 2007-06-05 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-7144 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071500027 | 2007-06-11 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-7150 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071560018 | 2007-06-08 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-7150 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071620062 | 2007-06-13 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-7162 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071690126 | 2007-06-28 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-7166 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071770204 | 2007-07-16 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI2-7176 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071830160 | 2007-07-18 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI1-7192 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20071900100 | 2007-07-18 | 0.016 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI3-7192 | OI5
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072040097 | 2007-07-31 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07200 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072110156 | 2007-08-10 | 0.018 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07211 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072210186 | 2007-08-14 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07220 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072260184 | 2007-08-30 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07227 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072330131 | 2007-09-06 | 0.08 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07240 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072400034 | 2007-09-12 | 0.007 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07241 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072480014 | 2007-09-20 | 0.03 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07253 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072540021 | 2007-09-25 | 0.065 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07257 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072600117 | 2007-09-25 | 0.052 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07257 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2007 | 20072670050 | 2007-10-12 | 0 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07270 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20073100014 | 2007-11-27 | 0.232 | E0.23 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI07309 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20073300041 | 2007-12-18 | 0.301 | E0.30 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI07338 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20073370083 | 2007-12-18 | 0.303 | E0.30 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI07338 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20073620014 | 2008-02-20 | 0.231 | E0.23 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI07355 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080070027 | 2008-02-20 | 0.216 | E0.22 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI07355 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080140028 | 2008-02-20 | 0.249 | E0.25 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI07355 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081820048 | 2008-07-17 | 0.202 | E0.20 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI08183 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082590103 | 2008-10-16 | 0.28 | E0.28 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI08261 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082660043 | 2008-10-16 | 0.256 | E0.26 | 0.2 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI08261 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20072850019 | 2007-10-23 | 0.127 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07289 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20072890054 | 2007-10-23 | 0.156 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07289 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20072960191 | 2007-11-08 | 0.002 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07303 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20073020061 | 2007-11-08 | 0.057 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07303 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20073170058 | 2007-11-27 | 0.165 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07309 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20073230107 | 2007-12-05 | 0.167 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07323 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20073440038 | 2008-01-15 | 0.175 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI07347 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20073510089 | 2008-01-15 | 0.401 | 0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | Yes | OI07347 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080230005 | 2008-02-22 | 0.027 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08031 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080280059 | 2008-02-22 | 0.069 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08031 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080360047 | 2008-03-07 | 0.082 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08038 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080420068 | 2008-03-20 | 0.162 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08038A | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080510058 | 2008-03-24 | 0.14 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08059 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080560068 | 2008-03-26 | 0.188 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08060 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080630066 | 2008-03-26 | 0.175 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08060 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080700080 | 2008-04-01 | 0.134 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08071 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080770125 | 2008-04-04 | 0.084 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08078 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080840061 | 2008-04-10 | 0.155 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08091 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080920074 | 2008-04-10 | 0.148 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08091 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20080980089 | 2008-04-18 | 0.114 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08099 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081050111 | 2008-04-23 | 0.148 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08102 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081120029 | 2008-05-20 | 0.123 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08113 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081190054 | 2008-05-27 | 0.177 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08116 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081260074 | 2008-05-28 | 0.172 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08134 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081330101 | 2008-06-13 | 0.162 | E0.16 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08136 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081400063 | 2008-06-13 | 0.169 | E0.17 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08136 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081480063 | 2008-06-18 | 0.166 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08151 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081540107 | 2008-06-20 | 0.06 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08157 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081620006 | 2008-07-07 | 0.194 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08163 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081680069 | 2008-07-09 | 0.113 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08168 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081750124 | 2008-07-16 | 0.176 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08176 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081890046 | 2008-07-24 | 0.107 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08193 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20081970136 | 2008-07-28 | 0.026 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08200 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082030124 | 2008-07-28 | 0.006 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08200 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082190022 | 2008-08-15 | 0.07 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08219 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082250011 | 2008-08-20 | 0.083 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08224 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082310135 | 2008-08-27 | 0.172 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08231 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082380082 | 2008-09-03 | 0.104 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08238 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082460097 | 2008-10-09 | 0.038 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08256 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082520007 | 2008-10-14 | 0.193 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08257 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2008 | 20082730063 | 2008-10-23 | 0.088 | <0.40 | 0.2 | 0114 |  |  |  | mg/L | Blank | No | OI08284 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090820022 | 2009-05-07 | 0.312 | E0.31 | 0.3 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI09077 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091590080 | 2009-06-26 | 0.346 | E0.35 | 0.3 | 0114 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | OI09155 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20082800052 | 2008-10-23 | 0.199 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08284 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20082880044 | 2008-11-03 | 0.105 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08298 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20082940073 | 2008-11-03 | 0.221 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08298 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083010118 | 2008-11-05 | 0.19 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08302 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083080101 | 2008-11-13 | 0.075 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08310 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083150059 | 2008-11-24 | 0.156 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08318 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083220069 | 2008-11-24 | 0.093 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08318 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083290057 | 2008-12-03 | 0.051 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08329 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083360032 | 2008-12-03 | 0.096 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08329 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083450070 | 2008-12-16 | 0.254 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08345 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083500079 | 2009-01-12 | 0.216 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08351 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083570038 | 2009-01-25 | 0.167 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08358 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20083650092 | 2009-01-25 | 0.155 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08358 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090050021 | 2009-01-25 | 0.28 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08358 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090120052 | 2009-01-25 | 0.243 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI08358 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090200040 | 2009-02-02 | 0.204 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09014 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090260030 | 2009-02-02 | 0.209 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09014 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090330026 | 2009-02-02 | 0.201 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09014 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090400036 | 2009-02-17 | 0.24 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09043 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090480051 | 2009-03-03 | 0.277 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09049 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090540042 | 2009-03-03 | 0.245 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09049 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090610063 | 2009-03-09 | 0.152 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09062 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090680059 | 2009-03-17 | 0.224 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09076 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090750036 | 2009-03-17 | 0.212 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09076 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090890060 | 2009-05-14 | 0.14 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09091 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20090960042 | 2009-05-14 | 0.184 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09091 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091030079 | 2009-05-21 | 0.22 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09106 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091110096 | 2009-05-29 | 0.245 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09111 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091170119 | 2009-06-01 | 0.224 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09121 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091240121 | 2009-06-01 | 0.165 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09121 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091320024 | 2009-06-05 | 0.14 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09133 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091380119 | 2009-06-11 | 0.225 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09140 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091460182 | 2009-06-24 | 0.21 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09147 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091520120 | 2009-06-24 | 0.28 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09147 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091660202 | 2009-07-02 | 0.172 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09163 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091730215 | 2009-07-15 | 0.256 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09175 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091800185 | 2009-07-24 | 0.298 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09181 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091870020 | 2009-07-24 | 0.181 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09181 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20091950037 | 2009-07-29 | 0.211 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09197 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092010121 | 2009-07-29 | 0.244 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09197 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092090261 | 2009-08-12 | 0.22 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09208 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092150072 | 2009-08-17 | 0.203 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09217 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092220171 | 2009-08-20 | 0.187 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09218 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092290208 | 2009-09-02 | 0.212 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09237 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092360145 | 2009-11-05 | 0.281 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09243 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092430149 | 2009-11-05 | 0.23 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09243 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092520140 | 2009-11-19 | 0.246 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09260 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092570058 | 2009-11-19 | 0.155 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09260 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092640060 | 2009-12-03 | 0.274 | <0.6 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09272 | HG92
Total Organic Carbon (TOC), UNF | 00680 | OX009 | WWR | 2009 | 20092720007 | 2009-12-14 | 0.298 | <1 | 0.3 | 0114 |  |  |  | mg/L | Blank | No | OI09280 | HG92