## Al_UNF_ICPMS_01105PLM77
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20183180144 | 2019-02-06 | 0.2921 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19036B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20183530007 | 2019-02-05 | 0.318 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19035A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20183100204 | 2019-02-05 | 0.422 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19035A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190430214 | 2019-03-12 | 0.2242 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19071B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190290117 | 2019-02-25 | 0.1564 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19051B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190360208 | 2019-03-11 | 0.595 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19070A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190570195 | 2019-04-08 | 0.6068 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19098A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190640122 | 2019-04-16 | 0.0947 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19105A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190520016 | 2019-03-29 | 1.0406 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19087B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190720010 | 2019-04-16 | 0.1125 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19105A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190780109 | 2019-04-26 | 0.493 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19114A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190860017 | 2019-04-30 | 0.3974 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19119B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190920103 | 2019-04-30 | 0.5792 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19119B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20183310072 | 2019-02-13 | 0.72 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19042A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191300191 | 2019-06-06 | 0.0879 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191130141 | 2019-05-06 | 0.4906 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191200096 | 2019-06-06 | 0.1613 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191550210 | 2019-06-26 | 0.4089 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19175B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191070144 | 2019-05-06 | 0.5625 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20190990205 | 2019-05-06 | 0.0008 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191350012 | 2019-06-06 | -0.1201 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191690168 | 2019-07-02 | 0.3941 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19183B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191620189 | 2019-07-02 | 0.4316 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19183B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191760230 | 2019-07-03 | 0.3108 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19184B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191410240 | 2019-06-11 | 0.3185 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19158A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191490089 | 2019-06-24 | 0.2831 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19169A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191830147 | 2019-08-02 | 0.3383 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19214A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20191900118 | 2019-08-19 | 0.184 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192000011 | 2019-08-19 | 0.1292 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192050070 | 2019-08-19 | 0.6767 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192110139 | 2019-08-27 | 0.3287 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19238A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192180195 | 2019-08-29 | 0.5279 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19239B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192250189 | 2019-09-04 | 0.534 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19247A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192320243 | 2019-09-09 | 0.1948 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19252A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192390251 | 2019-09-23 | 0.1575 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19266A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192470196 | 2019-09-23 | 0.3579 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19266A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192530108 | 2019-10-01 | 0.3083 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19274A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192600335 | 2019-10-02 | 0.1441 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19275B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 20192670168 | 2019-12-03 | 0.423 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19322A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20192810093 | 2019-12-10 | 0.0914 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19338A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20192890227 | 2019-12-12 | 0.4802 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19344B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20192950176 | 2019-12-16 | 0.312 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19347B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193030012 | 2019-12-18 | 0.281 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19350A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193090149 | 2019-12-30 | 0.7704 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193170130 | 2019-12-30 | 0.5951 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193230159 | 2019-12-30 | 0.6496 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193310012 | 2019-12-30 | 0.5334 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193370112 | 2020-01-10 | 0.7033 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193440278 | 2020-01-10 | 0.7039 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193510012 | 2020-01-10 | 0.8325 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193600027 | 2020-01-21 | 1.1206 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20193650127 | 2020-01-21 | 0.6224 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200070049 | 2020-01-21 | 0.121 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200150006 | 2020-01-21 | 1.0546 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200220087 | 2020-02-03 | 0.6128 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20031A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200280079 | 2020-02-12 | 0.0798 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20043A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200350117 | 2020-02-12 | 0.5437 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20043A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200420083 | 2020-03-03 | 1.575 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20063B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200500100 | 2020-03-04 | 2.266 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20064A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200560055 | 2020-03-04 | 1.6639 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20064A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200630077 | 2020-03-18 | 0.763 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20076A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200700087 | 2020-04-20 | 1.0422 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20111B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200770101 | 2020-04-22 | 0.9121 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20113B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200840011 | 2020-04-22 | 1.1603 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20113B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200910074 | 2020-04-22 | 1.7844 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20113B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20200980033 | 2020-04-23 | 1.1664 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20114A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20201060060 | 2020-04-23 | 1.0667 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20114A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20201260093 | 2020-08-26 | 0.4623 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20238B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20201550018 | 2020-06-30 | 0.655 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20182B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20201610146 | 2020-06-30 | 1.4605 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20182B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20201680166 | 2020-08-27 | 0.7749 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20240A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20201750082 | 2020-08-27 | 0.477 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20240A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20201890165 | 2020-09-02 | 0.5921 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20245B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20201960120 | 2020-09-03 | 1.2811 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20247B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202040006 | 2020-09-03 | 0.6095 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20247B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202110018 | 2020-09-17 | 1.359 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20260A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202170015 | 2020-09-17 | 0.2806 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20260A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202240076 | 2020-09-17 | 0.2961 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20260A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202320075 | 2020-09-24 | 0.2071 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20276A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202390010 | 2020-09-29 | 0.6121 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20273A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202530033 | 2020-10-05 | 0.8398 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20279B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202590124 | 2020-10-08 | 0.7876 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20281B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202670160 | 2020-10-08 | 0.929 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20281B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 20202740033 | 2020-10-22 | 0.8703 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20296B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20202810034 | 2020-10-22 | 0.4856 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20296B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20202870023 | 2020-12-29 | 0.3702 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20350A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20202950003 | 2021-01-13 | 0.3934 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21013B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20203010138 | 2021-01-13 | 0.4436 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21013B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20203080094 | 2021-01-13 | 0.8704 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21013B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20203150087 | 2021-01-15 | 0.1543 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21015A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20203230007 | 2021-01-26 | 0.8663 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21026B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20203300030 | 2021-02-02 | 1.3225 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21033A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20203440026 | 2021-01-29 | 0.2743 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21028B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20203530092 | 2021-03-04 | 0.6587 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21055A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20203580041 | 2021-03-04 | 1.1865 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21055A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20203640026 | 2021-03-04 | 0.3333 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21055A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210050012 | 2021-03-04 | 3.0482 | 3.0 | 3 | 3434 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS21055A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210120044 | 2021-03-04 | 1.0154 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21055A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210210038 | 2021-01-26 | 0.5184 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21026A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210270014 | 2021-03-26 | 0.3679 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21077A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210330093 | 2021-04-20 | 0.1928 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21110A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210400060 | 2021-05-04 | 0.423 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21124A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210480018 | 2021-05-04 | 0.3283 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21124A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210540043 | 2021-05-11 | 0.4736 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21131A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210620148 | 2021-05-13 | 0.2496 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21132B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210690059 | 2021-05-13 | 0.4965 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21132B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210760031 | 2021-05-14 | 0.4908 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21134A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210830009 | 2021-05-14 | 0.3319 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21134A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20210970026 | 2021-05-18 | 3.5619 | 3.6 | 3 | 3434 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS21138A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211030195 | 2021-05-05 | 0.7238 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21125A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211100007 | 2021-05-26 | 0.8387 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21145B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211180009 | 2021-06-10 | 0.3175 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21159B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211250023 | 2021-06-16 | 0.5189 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21167B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211320140 | 2021-06-29 | 0.4392 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21180B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211380009 | 2021-07-01 | 0.2529 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21182B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211460018 | 2021-07-09 | 0.465 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21188B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211600013 | 2021-07-23 | 0.3954 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21200B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211660072 | 2021-07-28 | 0.4289 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21209B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211730227 | 2021-08-06 | 1.5747 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21218A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211800179 | 2021-08-31 | 1.4076 | <6.0 | 3 | 3434 | Sample was diluted |  |  | ug/L | Blank | No | ICPMS21232A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211880191 | 2021-08-10 | 0.2754 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21222B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20211940180 | 2021-08-16 | 1.6194 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21228B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20212020191 | 2021-08-18 | 0.9973 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21230A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20212080104 | 2021-08-18 | 1.6411 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21230A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20212150074 | 2021-08-30 | 1.3764 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21242B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20212220202 | 2021-09-22 | 1.2971 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21258B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 20212290229 | 2021-09-24 | 0.9261 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21267A