## Al_UNF_ICPMS_01105PLM78
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151310080 | 2015-06-08 | 4.69 | 4.69 | 3.8 | 3411 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | TCMS060615 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151730013 | 2015-07-23 | -1.666 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS072215 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151390186 | 2015-06-12 | 1.127 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS061115 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152430090 | 2015-09-30 | 2.478 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS093015 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151530209 | 2015-06-12 | -0.0456 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS061115 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151460095 | 2015-06-12 | 0.4028 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS061115 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152360155 | 2015-09-18 | 1.012 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS091815 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151660036 | 2015-07-20 | -1.444 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS072015 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152710069 | 2015-10-13 | 0.1833 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS101315 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152640023 | 2015-10-01 | 0.8179 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS093015 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152080064 | 2015-09-02 | 1.135 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS090215 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152230126 | 2015-09-11 | -1.105 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS091015 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151870012 | 2015-08-14 | 0.189 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081315 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152510008 | 2015-09-29 | 0.457 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS092915 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152330002 | 2015-09-17 | 1.139 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS091515 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152590159 | 2015-10-01 | -0.3076 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS093015 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151800054 | 2015-08-11 | 0.2641 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081115 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151240062 | 2015-06-27 | -0.5386 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TC062615 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151940020 | 2015-08-13 | 0.1531 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081215 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152150072 | 2015-08-31 | -0.3425 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS083115 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151620219 | 2015-07-20 | -1.305 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS072015 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151140025 | 2015-05-01 | -2.486 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS043015 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20151180071 | 2015-05-12 | 0.2135 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS051115 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2015 | 20152010044 | 2015-08-18 | 0.4998 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081815 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162710101 | 2016-11-28 | 0.4 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16333A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160110007 | 2016-01-21 | 5.73 | 5.73 | 3.8 | 3411 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | TCMS012116 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160950039 | 2016-04-21 | -0.0263 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCME042116 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161100121 | 2016-04-26 | 0.1707 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042616 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160810059 | 2016-04-21 | 0.1713 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCME042116 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20153270013 | 2015-12-18 | 0.2799 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS121715 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160530012 | 2016-04-08 | 0.3734 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS040816 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161230038 | 2016-05-23 | 0.463 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TC052316 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160400077 | 2016-04-01 | 0.5063 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS033116 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160320005 | 2016-02-17 | 0.6112 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS021716 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161160086 | 2016-04-28 | 1.357 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042816 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161020023 | 2016-04-26 | -0.0423 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042616 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20152780003 | 2015-10-14 | 0.1823 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS101315 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20153140008 | 2015-11-20 | 0.3608 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS111915 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162150202 | 2016-09-02 | 0.2427 | <3.80 | 3.8 | 3411 |  |  |  | ug/L | Blank | No | TC083116 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162580015 | 2016-11-09 | 0.66 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16291B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20152860154 | 2015-10-22 | 0.0139 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS102015 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20153500156 | 2016-01-04 | 0.1456 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS010416 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160740008 | 2016-04-13 | 0.1495 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041416 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161660162 | 2016-07-20 | 0.3132 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TC071116b | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160470013 | 2016-04-01 | 0.771 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS033116 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160600010 | 2016-04-12 | 1.281 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041216 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20153550009 | 2016-01-05 | 3.329 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS010416 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162080229 | 2016-08-19 | 0.2251 | <3.80 | 3.8 | 3411 |  |  |  | ug/L | Blank | No | TC081916 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160670012 | 2016-04-13 | 0.3613 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041416 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161480185 | 2016-06-23 | 0.7311 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TC062316 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161590159 | 2016-06-30 | 0.8736 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TC062916 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160050027 | 2016-01-20 | 1.171 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS012016 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162440125 | 2016-11-10 | 2.03 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16294B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160880037 | 2016-04-21 | 0.0106 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCME042116 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20153200029 | 2015-12-17 | 0.5272 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS121715 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160190014 | 2016-02-04 | 1.06 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS020416 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20153060028 | 2015-11-10 | 1.423 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS110915 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20153420013 | 2015-12-21 | 4.608 | 4.61 | 3.8 | 3411 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | TCMS122115 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20152990062 | 2015-11-05 | 0.4274 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS110415 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161520021 | 2016-06-29 | 0.7859 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TC062916 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162360199 | 2016-10-07 | 0.43 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16281B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161270010 | 2016-05-23 | 0.6417 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TC052316 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20160250025 | 2016-02-05 | 1.769 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS020416 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161740075 | 2016-07-25 | 1.953 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TC071416 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161940110 | 2016-08-19 | 0.2319 | <3.80 | 3.8 | 3411 |  |  |  | ug/L | Blank | No | TC081916 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162230007 | 2016-09-26 | 0.2689 | <3.80 | 3.8 | 3411 |  |  |  | ug/L | Blank | No | 091916 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162010253 | 2016-08-19 | 0.3598 | <3.80 | 3.8 | 3411 |  |  |  | ug/L | Blank | No | TC081916 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162520023 | 2016-10-13 | 0.26 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16287A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162290132 | 2016-10-07 | 0.49 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16281B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20162640169 | 2016-10-25 | 0.75 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16299A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20152920033 | 2015-11-04 | 0.5056 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS110415 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20153340013 | 2015-12-21 | 0.5893 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS122115 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161800086 | 2016-07-25 | 0.6772 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TC071416 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20153630043 | 2016-01-05 | 1.178 | <3.8 | 3.8 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS010416 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2016 | 20161870030 | 2016-08-17 | 0.3941 | <3.80 | 3.8 | 3411 |  |  |  | ug/L | Blank | No | TC081616 | MS6
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163200112 | 2016-12-07 | 0.42 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16342A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170450134 | 2017-02-27 | 4.8007 | 5 | 3 | 3411 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS17058A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163550019 | 2017-01-31 | 1.73 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17031B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163130102 | 2016-12-07 | 0.72 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16342A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20162780124 | 2016-11-29 | 0 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16334B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170190014 | 2017-02-22 | 1.9096 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17053A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163350015 | 2016-12-08 | 0.9 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16343A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20162870010 | 2016-11-29 | 0.16 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16334B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163000009 | 2016-12-05 | 1.54 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16340A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170590087 | 2017-03-27 | 1.0231 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17086A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170800061 | 2017-03-28 | 0.3963 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17087A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163410115 | 2017-01-31 | 0.63 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17031B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170660121 | 2017-03-28 | 0.9163 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17087A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163270135 | 2016-12-08 | 0.93 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16343A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20162940175 | 2016-11-30 | 0.58 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16335A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163630049 | 2017-02-21 | 0.4891 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17052B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170100059 | 2017-02-22 | 0.6466 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17053A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170040050 | 2017-02-21 | 1.212 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17052B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170310057 | 2017-02-27 | 3.1736 | 3 | 3 | 3411 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS17058A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170380082 | 2017-02-27 | 1.6012 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17058A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170540105 | 2017-03-27 | 0.8972 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17086A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163060098 | 2016-12-05 | 0.53 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS16340A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170240074 | 2017-02-22 | 1.9904 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17053A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20163480101 | 2017-01-31 | 0.4 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17031B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171020116 | 2017-05-09 | 0.817 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17129A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171080129 | 2017-05-09 | 0.3589 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17129A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171150171 | 2017-05-09 | 0.6566 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17129A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170940145 | 2017-05-04 | 0.5044 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17121A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171220108 | 2017-05-26 | 0.4179 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17144B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171370205 | 2017-06-20 | 0.363 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17171A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171510130 | 2017-06-23 | 0.3235 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17174A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170870121 | 2017-04-11 | 0.7788 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17101A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171290231 | 2017-06-20 | 0.5031 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17171A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171580016 | 2017-06-28 | 0.6641 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17179A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171640192 | 2017-06-29 | 0.8859 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17180A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171780239 | 2017-07-20 | 0.5329 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17201A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171710256 | 2017-06-29 | 0.7659 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17180A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171430152 | 2017-06-22 | 0.7668 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17172C | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20170730101 | 2017-03-28 | 4.1505 | 4 | 3 | 3411 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS17087A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172060163 | 2017-09-29 | 0.8403 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17272A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171940290 | 2017-07-25 | 0.9993 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17206B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20171990204 | 2017-07-26 | 0.3962 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17207B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172130278 | 2017-10-05 | 0.3661 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17277B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172270261 | 2017-10-03 | 0.769 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17276A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172340146 | 2017-10-05 | 0.5936 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17277B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172410205 | 2017-10-11 | 0.1029 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17284A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172500019 | 2017-10-16 | 0.6995 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17289B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172200301 | 2017-10-02 | 0.7535 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17275A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172620335 | 2017-10-24 | 0.6225 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17296A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172560116 | 2017-10-17 | 0.1655 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17289C | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2017 | 20172690267 | 2017-12-04 | 0.5496 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17338A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20172970197 | 2017-12-06 | 1.0665 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17339C | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20173110102 | 2017-12-07 | 0.5906 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17341B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20173260002 | 2017-12-27 | 0.7179 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17361A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20173330013 | 2017-12-27 | 0.3029 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17361A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20172910012 | 2017-12-05 | 0.308 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17339B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20173460064 | 2018-01-04 | 0.8128 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18004A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20172860217 | 2017-12-05 | 0.7227 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17339B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20173390116 | 2018-01-03 | 0.6073 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18003B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20173530086 | 2018-01-05 | 0.5442 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18004A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20172860020 | 2017-12-05 | 0.7537 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17339B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20173050012 | 2017-12-06 | 0.3488 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17339C | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180100001 | 2018-01-25 | 0.326 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18024B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20173620010 | 2018-01-10 | 0.2685 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18010B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180170054 | 2018-02-01 | 0.6568 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18032A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180240091 | 2018-02-13 | 0.3541 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18039A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180300103 | 2018-02-13 | 0.5595 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18039A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180440086 | 2018-03-06 | 0.7266 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18060A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180650055 | 2018-03-21 | 0.4467 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18079A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180730051 | 2018-03-28 | 0.2743 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18086B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180580108 | 2018-03-13 | 0.5553 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18071A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180860131 | 2018-04-16 | -0.0518 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18106A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180370083 | 2018-02-21 | -1.4101 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18051B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180520083 | 2018-03-13 | 0.054 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18071A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180790076 | 2018-04-04 | -0.0643 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18093B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20173180147 | 2017-12-13 | 0.3758 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS17346B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181140182 | 2018-05-07 | 0.6425 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18127A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181030007 | 2018-05-01 | 1.439 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18121B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181280133 | 2018-05-23 | 0.4712 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18143A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181090171 | 2018-05-07 | 0.3266 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18127A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20180930112 | 2018-05-01 | 0.171 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18121B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181220005 | 2018-05-23 | 0.2356 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18143A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181350134 | 2018-06-06 | 0.1035 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18157B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181420242 | 2018-06-08 | 0.5344 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18158B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181500154 | 2018-06-18 | 0.1745 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18169A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181640009 | 2018-07-16 | 0.0879 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18193B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181700190 | 2018-07-19 | 1.3711 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18198A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181570005 | 2018-07-16 | 0.8348 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18193B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181770205 | 2018-07-19 | 0.2288 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18198A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181840203 | 2018-07-25 | 0.844 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18201A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20181910202 | 2018-07-25 | 1.1667 | <3 | 3 | 3411 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS18201A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182050282 | 2018-08-03 | 0.3199 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18215B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182000212 | 2018-08-03 | 0.9398 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18215B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182120174 | 2018-08-13 | 0.922 | <3 | 3 | 3411 |  |  |  | ug/L | Blank | No | ICPMS18225B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182200016 | 2018-08-21 | 0.386 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18233A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182260162 | 2018-08-28 | 1.3138 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18240A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182490006 | 2018-09-18 | 0.2412 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18261B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182330211 | 2018-08-28 | 0.4362 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18240A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182410006 | 2018-09-12 | 1.2202 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18253B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182570229 | 2018-10-03 | 1.7754 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18271B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182610152 | 2018-10-03 | 0.1078 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18271B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2018 | 20182680156 | 2018-10-12 | 0.5658 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18284B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2019 | 20182760050 | 2018-10-11 | 0.2547 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18282A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2019 | 20182890071 | 2018-10-29 | 0.1331 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18299B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2019 | 20182830106 | 2018-10-29 | -0.0665 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18299B | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2019 | 20182960216 | 2018-11-26 | 0.0718 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18324A | MS2
Aluminum, UNF, ICP-MS | 01105 | PLM78 | UNF | 2019 | 20183030081 | 2018-11-28 | 1.0875 | <3 | 3 | 3411 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18331A | MS2