## As-SPEC_FIL_ICICPMS_62452PLM35
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2006 | 20062500001 | 2006-10-12 | 0.135 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730100306 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2006 | 20062620017 | 2006-10-12 | 0.133 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730100306 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070120002 | 2007-01-19 | -0.134 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730011907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070180070 | 2007-01-19 | -0.12 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730011907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070250010 | 2007-02-15 | 0.204 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730021507 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070400098 | 2007-02-15 | 0.191 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730021507 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070460008 | 2007-02-15 | 0.187 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730021507 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070540009 | 2007-03-13 | 0.141 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730030607 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070580127 | 2007-03-13 | 0.122 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730030607 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070650006 | 2007-03-13 | 0.105 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730030607 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070710061 | 2007-03-15 | 0.086 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730031507 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070780117 | 2007-04-09 | -0.072 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730040407 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070860194 | 2007-04-09 | -0.094 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730040407 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070930073 | 2007-04-09 | -0.085 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730040407 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20070990042 | 2007-04-09 | -0.109 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730040407 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071070010 | 2007-04-18 | 0.071 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730041807 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071130105 | 2007-05-14 | 0.005 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730051407 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071200083 | 2007-05-14 | 0.034 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730051407 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071280012 | 2007-05-14 | 0.05 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730051407 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071340087 | 2007-05-14 | 0.035 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730051407 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071410074 | 2007-06-20 | 0.076 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730061907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071500024 | 2007-06-25 | 0.092 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730062107 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071560002 | 2007-06-25 | 0.078 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730062107 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071620066 | 2007-06-25 | 0.085 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730062107 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071690121 | 2007-06-25 | 0.078 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730062107 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071770169 | 2007-07-18 | 0.259 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730071807 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071830146 | 2007-07-18 | 0.186 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730071807 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20071900102 | 2007-07-23 | 0.217 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730072107 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072040077 | 2007-08-09 | 0.061 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730080907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072110158 | 2007-08-16 | 0.034 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730081607 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072210190 | 2007-08-16 | 0.033 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730081607 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072260152 | 2007-08-16 | -0.013 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730081607 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072330106 | 2007-09-06 | -0.252 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730090507 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072400022 | 2007-09-06 | -0.272 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730090507 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072480004 | 2007-09-06 | -0.26 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730090507 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072540022 | 2007-09-19 | -0.153 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730091907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072600108 | 2007-09-19 | -0.198 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730091907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2007 | 20072670039 | 2007-10-12 | -0.209 | <1.0 | 0.5 | 2734 |  |  |  | ug/L | Blank | No | S1730100907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20072850016 | 2007-10-31 | 0.071 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730102907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20072890047 | 2007-10-31 | 0.059 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730102907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20072960174 | 2007-10-31 | 0.029 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730102907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20073020064 | 2007-10-31 | 0.015 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730102907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20073100018 | 2007-11-30 | -0.383 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730112107 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20073170055 | 2007-11-30 | -0.336 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730112107 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20073230097 | 2007-11-30 | -0.274 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730112107 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20073300025 | 2007-12-20 | -0.282 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730121907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20073370071 | 2007-12-20 | -0.308 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730121907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20073440041 | 2007-12-20 | -0.284 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730121907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20073510093 | 2007-12-20 | -0.322 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730121907 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20073620017 | 2008-02-04 | -0.094 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730020408 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080070019 | 2008-02-04 | -0.099 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730020408 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080140037 | 2008-02-04 | -0.103 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730020408 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080230002 | 2008-02-04 | -0.107 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730020408 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080280062 | 2008-02-04 | -0.118 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730020408 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080360038 | 2008-03-03 | -0.015 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730022908 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080420054 | 2008-03-03 | -0.028 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730022908 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080510034 | 2008-03-03 | -0.04 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730022908 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080560057 | 2008-03-03 | -0.036 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730022908 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080630051 | 2008-03-13 | -0.091 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730031208 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080700068 | 2008-03-13 | -0.113 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730031208 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080770128 | 2008-03-25 | -0.087 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730032508 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080840050 | 2008-03-25 | -0.108 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730032508 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080920067 | 2008-04-10 | 0.074 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730041008 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20080980076 | 2008-04-10 | -0.013 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730041008 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081050099 | 2008-04-25 | -0.081 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730042508 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081120026 | 2008-04-25 | -0.099 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730042508 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081190042 | 2008-05-12 | -0.027 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730050908 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081260057 | 2008-05-12 | -0.063 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730050908 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081330097 | 2008-05-22 | -0.116 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730052208 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081400062 | 2008-05-22 | -0.143 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730052208 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081480062 | 2008-06-12 | 0.039 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730061108 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081540103 | 2008-06-12 | 0.009 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730061108 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081620001 | 2008-06-12 | -0.01 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730061108 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081680063 | 2008-06-24 | 0.01 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730062408 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081750121 | 2008-06-24 | -0.032 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730062408 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081820032 | 2008-07-01 | 0.013 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730070208 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081890039 | 2008-07-10 | 0.225 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730071008 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20081970140 | 2008-07-18 | 0.201 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730071808 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082030108 | 2008-07-30 | 0.255 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730072908 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082190002 | 2008-08-12 | 0.063 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730081208 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082250002 | 2008-08-19 | -0.007 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730081908 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082310142 | 2008-09-05 | -0.018 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730090508 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082380070 | 2008-09-05 | -0.014 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730090508 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082460090 | 2008-09-05 | 0.054 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730090508 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082520003 | 2008-09-23 | -0.023 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730092208 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082590094 | 2008-09-23 | -0.065 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730092208 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082660049 | 2008-10-03 | 0.001 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730100108 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2008 | 20082730053 | 2008-10-16 | -0.241 | <0.6 | 0.3 | 2734 |  |  |  | ug/L | Blank | No | S1730101608 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20082800050 | 2008-10-16 | -0.26 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730101608 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20082880031 | 2008-10-16 | -0.234 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730101608 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20082940057 | 2008-10-28 | -0.079 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102808 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083010100 | 2008-10-28 | -0.064 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102808 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083080103 | 2008-11-07 | 0.046 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730110708 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083150061 | 2008-11-25 | 0.341 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730112408 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083220058 | 2008-11-25 | 0.289 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730112408 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083290056 | 2008-12-15 | 0.21 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730120908 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083360021 | 2008-12-15 | 0.157 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730120908 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083450047 | 2009-01-06 | 0.019 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730010609 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083500064 | 2009-01-06 | 0.013 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730010609 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083570031 | 2009-01-06 | 0.025 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730010609 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20083650095 | 2009-01-06 | 0.019 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730010609 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090050024 | 2009-01-06 | 0.016 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730010609 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090120056 | 2009-01-28 | 0.139 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730012809 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090200049 | 2009-01-28 | 0.123 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730012809 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090260040 | 2009-01-28 | 0.123 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730012809 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090330022 | 2009-02-23 | 0.24 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730022009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090400047 | 2009-02-23 | 0.211 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730022009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090480049 | 2009-02-23 | 0.208 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730022009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090540036 | 2009-03-24 | 0.14 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730031809 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090610066 | 2009-03-24 | 0.114 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730031809 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090680061 | 2009-03-24 | 0.108 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730031809 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090750028 | 2009-04-01 | 0.008 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730040209 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090820015 | 2009-04-01 | 0.006 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730040209 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090890051 | 2009-04-01 | -0.005 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730040209 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20090960034 | 2009-04-14 | 0.111 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730041409 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091030087 | 2009-04-14 | 0.093 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730041409 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091110093 | 2009-04-27 | 0.269 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730042709 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091170081 | 2009-05-14 | -0.014 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730051409 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091240125 | 2009-05-14 | -0.034 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730051409 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091320011 | 2009-05-14 | -0.038 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730051409 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091380107 | 2009-06-10 | 0.217 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730061009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091460173 | 2009-06-10 | 0.185 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730061009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091520122 | 2009-06-10 | 0.182 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730061009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091590074 | 2009-06-10 | 0.178 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730061009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091660089 | 2009-06-30 | 0.208 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730063009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091730223 | 2009-06-30 | 0.196 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730063009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091800188 | 2009-06-30 | 0.229 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730063009 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091870023 | 2009-08-05 | 0.107 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730080509 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20091950023 | 2009-08-05 | 0.071 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730080509 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092010111 | 2009-08-05 | 0.056 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730080509 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092090250 | 2009-08-05 | 0.07 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730080509 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092150078 | 2009-08-05 | 0.05 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730080509 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092220161 | 2009-08-13 | -0.087 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730081309 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092290220 | 2009-08-27 | -0.156 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730082709 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092360169 | 2009-08-27 | -0.159 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730082709 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092430141 | 2009-09-25 | 0.077 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730092509 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092520144 | 2009-09-25 | 0.052 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730092509 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092570062 | 2009-09-25 | 0.051 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730092509 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092640028 | 2009-09-25 | 0.038 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730092509 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092720003 | 2009-10-23 | -0.073 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102309 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101660057 | 2010-07-28 | 0.11 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101730084 | 2010-07-28 | 0.57 | E0.57 | 0.4 | 2734 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101790115 | 2010-07-28 | -0.08 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101870075 | 2010-07-28 | -0.07 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101930090 | 2010-07-28 | -0.06 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102000186 | 2010-08-10 | 0.078 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | S1730080710 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20092780088 | 2009-10-23 | -0.083 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102309 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20092870057 | 2009-10-23 | 0.059 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102309 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20092920090 | 2009-10-23 | -0.054 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102309 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100390053 | 2010-07-21 | 0.28 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100470031 | 2010-07-21 | 0.297 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100530044 | 2010-07-21 | 0.28 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100680106 | 2010-07-21 | 0.272 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100600053 | 2010-07-21 | 0.278 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101380016 | 2010-07-27 | 0.023 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S173007261A | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102080002 | 2010-08-10 | 0.053 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730080710 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102140095 | 2010-08-13 | 0.353 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730081310 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102230016 | 2010-12-14 | 0.19 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730081910 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102290196 | 2010-12-14 | 0.16 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730081910 | MS5