## Mn_UNF_ICP_01055PLO07
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151140030 | 2015-05-30 | -0.022 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15149A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151240061 | 2015-06-10 | 0.007 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15159C | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20150900043 | 2015-05-27 | 0.028 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15131A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151730011 | 2015-07-02 | 0.056 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15182B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151460099 | 2015-06-12 | -0.035 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15163A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151800046 | 2015-07-31 | -0.043 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15212A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152330001 | 2015-09-17 | -0.108 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15258A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151660042 | 2015-07-02 | -0.121 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15182B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152430092 | 2015-09-25 | -0.178 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15267C | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152010048 | 2015-08-03 | 0.034 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15215C | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152150069 | 2015-09-01 | -0.032 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15243A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151180068 | 2015-06-09 | -0.067 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15156A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20150970056 | 2015-06-08 | -0.098 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15156A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152710071 | 2015-10-14 | 0.005 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15287A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151940021 | 2015-08-03 | 0.025 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15215C | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152360154 | 2015-09-21 | 0.098 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15264A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20150610100 | 2015-05-05 | -0.03 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15125D | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152590161 | 2015-10-23 | -0.168 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15295A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151050033 | 2015-05-29 | -0.014 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15149A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151620207 | 2015-06-30 | -0.018 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15181A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151310079 | 2015-06-10 | -0.021 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15159C | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152080060 | 2015-08-28 | -0.037 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15239A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152510007 | 2015-10-23 | -0.141 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15295A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151390187 | 2015-06-11 | -0.202 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15162E | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20150850036 | 2015-05-27 | -0.004 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15131A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151530206 | 2015-06-16 | -0.05 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15167D | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152230125 | 2015-09-11 | -0.138 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15252D | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20151870010 | 2015-08-17 | 0.197 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15229C | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2015 | 20152640021 | 2015-10-23 | -0.184 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15295A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162640170 | 2016-12-03 | 0.029 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16337B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162580016 | 2016-12-02 | 0.002 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16337A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162440124 | 2016-12-01 | 0.043 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16336A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162710102 | 2016-12-03 | 0.02 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16337B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162360198 | 2016-11-30 | -0.035 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16335A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162520019 | 2016-12-02 | -0.004 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16337A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160600016 | 2016-03-10 | -0.016 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16069A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161270011 | 2016-05-31 | -0.019 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16152A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161100122 | 2016-04-25 | 0.02 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16116A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20152780004 | 2015-10-14 | 0.02 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15287A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161160087 | 2016-05-18 | 0.021 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16139B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20152920034 | 2015-11-10 | 0.327 | 0.327 | 0.2 | 3516 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE15314A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160810060 | 2016-04-05 | -0.022 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16095A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161590160 | 2016-06-29 | -0.111 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16181A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20153340015 | 2015-12-31 | 0.082 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15365A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162230010 | 2016-08-23 | 0.055 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16236B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160050028 | 2016-01-20 | 0.219 | 0.219 | 0.2 | 3516 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE16020A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20153270007 | 2015-12-03 | -0.007 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15337A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20152990064 | 2015-11-10 | -0.077 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15314A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160950040 | 2016-04-15 | -0.086 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16103A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20153060029 | 2015-12-02 | 0.001 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15336A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20153140002 | 2015-12-02 | 0.001 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15336A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160740009 | 2016-03-22 | 0.029 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16081B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161870027 | 2016-08-18 | -0.004 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16231A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161800085 | 2016-08-12 | 0.003 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16225A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20153550010 | 2015-12-31 | 0.214 | 0.214 | 0.2 | 3516 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE15365A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20153420009 | 2015-12-31 | 0.331 | 0.331 | 0.2 | 3516 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE15365A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161520022 | 2016-06-09 | -0.045 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16161B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161020022 | 2016-04-19 | 0.004 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16109B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160470012 | 2016-03-07 | 0.005 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16067A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161230039 | 2016-05-19 | 0.036 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16139B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161740074 | 2016-08-12 | 0.412 | 0.412 | 0.2 | 3516 |  |  |  | ug/L | Blank | Yes | ICPOE16225A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160250022 | 2016-02-16 | -0.224 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16047A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160110004 | 2016-02-16 | 0.633 | 0.633 | 0.2 | 3516 | Value verified by rerun, same method | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE16047A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162080230 | 2016-08-26 | -0.033 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16239A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161940111 | 2016-08-18 | 0.018 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16231A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162010250 | 2016-08-22 | 0.028 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16235A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160670010 | 2016-03-21 | 0.006 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16081B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20153200034 | 2015-12-02 | 0.01 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15336A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161480184 | 2016-06-09 | 0.011 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16161B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160400078 | 2016-03-07 | 0.094 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16067A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162150201 | 2016-08-22 | 0.038 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16235A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20162290130 | 2016-08-26 | 0.129 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16239A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20153500159 | 2015-12-31 | 0.377 | 0.377 | 0.2 | 3516 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE15365A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20152860155 | 2015-10-23 | -0.036 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15295A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20161660161 | 2016-06-29 | -0.056 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16181A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160190013 | 2016-02-16 | -0.207 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16047A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160530011 | 2016-03-10 | -0.023 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16069A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160880038 | 2016-04-15 | -0.051 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16103A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20160320006 | 2016-02-16 | -0.214 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16047A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2016 | 20153630044 | 2016-01-20 | 0.044 | <0.2 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16020A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163480100 | 2016-12-22 | -0.056 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16357A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20162940171 | 2016-12-06 | 0.016 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16341A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170190015 | 2017-02-07 | 0.001 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17038A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163630048 | 2017-01-25 | -0.031 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17023A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170240073 | 2017-01-31 | 0.011 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17031A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163130101 | 2016-12-06 | 0.009 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16341A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20162780123 | 2016-12-05 | 0.021 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16340A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163350016 | 2016-12-07 | 0.029 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16342A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163550013 | 2017-01-05 | -0.047 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17005B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163060097 | 2016-12-06 | 0.006 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16341A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170940144 | 2017-04-11 | 0.01 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17101A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170870120 | 2017-04-10 | -0.015 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17100A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170540102 | 2017-03-15 | -0.014 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17073B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170380081 | 2017-02-16 | 0.017 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17046A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163270134 | 2016-12-07 | 0.227 | 0.227 | 0.2 | 3516 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE16342A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170800060 | 2017-03-28 | -0.048 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17087A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170100055 | 2017-01-25 | -0.011 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17023A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163410116 | 2016-12-19 | 0.021 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16354A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20162870009 | 2016-12-05 | -0.046 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16340A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163000008 | 2016-12-06 | 0.023 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16341A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170660122 | 2017-03-22 | -0.002 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17081A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170450133 | 2017-03-03 | 0.003 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17059A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170590086 | 2017-03-17 | -0.004 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17075A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170040055 | 2017-01-25 | 0.003 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17023A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20163200113 | 2016-12-07 | 0.13 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE16342A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170730102 | 2017-03-28 | -0.034 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17087A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171080128 | 2017-04-26 | 0.042 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17116A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171370204 | 2017-05-31 | 0.004 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17151C | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171220107 | 2017-05-22 | 0.007 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17139A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171020115 | 2017-04-26 | 0.044 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17116A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171510131 | 2017-06-19 | -0.041 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17166A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20170310058 | 2017-02-16 | 0.016 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17046A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171430153 | 2017-06-14 | -0.013 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17163A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171150172 | 2017-05-22 | -0.019 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17139A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171290232 | 2017-05-31 | 0.02 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17151C | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171640191 | 2017-06-23 | -0.006 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17174A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171710258 | 2017-07-03 | 0.011 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17181A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171580023 | 2017-06-23 | -0.016 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17174A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171780240 | 2017-07-10 | 0.002 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17191A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171940291 | 2017-07-21 | -0.021 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17202A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20171990205 | 2017-07-28 | 0.027 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17209A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172200302 | 2017-08-21 | 0.011 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17233A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172060164 | 2017-08-07 | 0.069 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17219A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172130264 | 2017-08-16 | -0.014 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17228A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172270260 | 2017-08-25 | 0.042 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17237A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172340147 | 2017-09-06 | 0.056 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17244A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172410204 | 2017-09-15 | 0.064 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17257A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172500014 | 2017-09-15 | -0.028 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17257A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172620334 | 2017-10-03 | 0.062 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17276A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172560117 | 2017-10-02 | -0.011 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17275A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2017 | 20172690266 | 2017-10-17 | 0.095 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17290A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20172860218 | 2017-10-20 | -0.013 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17293A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20172860009 | 2017-10-20 | 0.03 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17293A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20172910011 | 2017-10-31 | 0.109 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17304A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20173050016 | 2017-11-14 | 0.042 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17317A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20172970199 | 2017-10-31 | 0.06 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17304A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20173110104 | 2017-11-16 | 0.02 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17320A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20173390115 | 2017-12-12 | 0.022 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17340B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20173180149 | 2017-11-29 | 0.023 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17333A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20173260004 | 2017-12-12 | -0.009 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17340B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20173330015 | 2017-12-12 | 0.034 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17340B | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20173530087 | 2018-01-16 | -0.022 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18016A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180170055 | 2018-01-30 | 0.051 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18030A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20173460065 | 2018-01-02 | 0.03 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE17363A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180100003 | 2018-01-19 | -0.028 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18019A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20173620011 | 2018-01-16 | 0.008 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18016A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180240092 | 2018-02-22 | 0.03 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18053A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180300104 | 2018-02-22 | 0.017 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18053A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180370084 | 2018-02-22 | 0.103 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18053A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180440087 | 2018-03-13 | -0.003 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18071A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180520084 | 2018-03-20 | -0.013 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18079A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180650056 | 2018-04-02 | 0.068 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18092A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180580107 | 2018-03-21 | -0.025 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18080A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180790077 | 2018-04-18 | -0.012 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18108A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180730052 | 2018-04-18 | 0.024 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18108A | ICP1
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181140183 | 2018-05-17 | 0.095 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18134A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180860130 | 2018-05-07 | -0.016 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18127A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181030008 | 2018-05-08 | -0.04 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18128A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20180930113 | 2018-05-08 | -0.086 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18128A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181090172 | 2018-05-17 | 0.139 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18134A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181280134 | 2018-06-29 | 0.001 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18180B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181220008 | 2018-06-29 | -0.081 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18180A | ICP4
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181640010 | 2018-07-10 | 0.091 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18191A | ICP4
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181350119 | 2018-07-05 | 0.022 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18186A | ICP4
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181500155 | 2018-07-09 | -0.017 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18190A | ICP4
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181420243 | 2018-07-05 | 0.042 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18186A | ICP4
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181770206 | 2018-07-25 | -0.008 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18206A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181700191 | 2018-07-10 | 0.022 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18191A | ICP4
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181570006 | 2018-07-09 | 0.068 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18190A | ICP4
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181910203 | 2018-08-08 | -0.03 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE18220A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182120175 | 2018-08-23 | 0.015 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18235B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182000213 | 2018-08-09 | 0.065 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18221B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182200017 | 2018-08-23 | 0.014 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE18235B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20181840202 | 2018-08-08 | -0.021 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18220A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182050283 | 2018-08-22 | 0.065 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18234A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182330212 | 2018-09-13 | 0.033 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18255A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182410007 | 2018-09-17 | -0.011 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18260A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182260163 | 2018-09-10 | 0.081 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18253A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182610153 | 2018-09-25 | 0.018 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18268A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182570230 | 2018-10-11 | 0.058 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18284A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182490007 | 2018-09-25 | -0.018 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE18268A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2018 | 20182680157 | 2018-10-23 | 0.009 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18295A | ICP4
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191200097 | 2019-06-04 | -0.014 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19151A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20182890072 | 2018-10-24 | 0.03 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18297A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20182960217 | 2018-11-14 | -0.075 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18318A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20182830107 | 2018-10-24 | 0.026 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18297A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20182760025 | 2018-10-23 | 0.015 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18295A | ICP4
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20183030082 | 2018-12-04 | -0.033 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18334B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20183180145 | 2018-12-07 | 0.088 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18341A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20183100203 | 2018-12-04 | -0.001 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE18334B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20183310073 | 2018-12-10 | 0.041 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE18344B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20183530008 | 2019-02-01 | 0.005 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19032A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20183450157 | 2019-02-01 | -0.03 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19032A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20183400014 | 2019-02-01 | -0.055 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19032A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190360207 | 2019-04-03 | -0.035 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19093C | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190640123 | 2019-04-19 | -0.05 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19109A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190290118 | 2019-04-03 | 0.008 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19093C | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190430213 | 2019-04-16 | -0.087 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19105A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190520017 | 2019-04-18 | -0.015 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19108A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190720011 | 2019-04-25 | -0.029 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19115A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190780110 | 2019-04-25 | -0.021 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19115A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190860018 | 2019-04-26 | 0.019 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19116A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190920104 | 2019-05-09 | 0.004 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19129B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20190990206 | 2019-05-09 | 0.032 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19129B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191070145 | 2019-05-10 | -0.041 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19130A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191130142 | 2019-05-10 | -0.041 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19130A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191350013 | 2019-06-04 | 0.02 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19151A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191410241 | 2019-06-05 | -0.002 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19156B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191300190 | 2019-06-04 | 0.035 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19151A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191550211 | 2019-06-20 | 0.048 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19171A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191490088 | 2019-06-18 | 0.01 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19169A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191690169 | 2019-06-28 | -0.034 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19179A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191620190 | 2019-06-28 | 4.103 | 4.10 | 0.2 | 3516 |  |  |  | ug/L | Blank | Yes | ICPOE19179A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191760231 | 2019-06-28 | -0.06 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19179A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191830149 | 2019-08-01 | 0.017 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19213B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20191900119 | 2019-07-31 | 0.049 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19212A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192000012 | 2019-07-31 | 0.026 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19212A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192050071 | 2019-09-16 | 0.04 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19259A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192110140 | 2019-09-16 | 0.052 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19259A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192180194 | 2019-09-17 | 0.053 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19260A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192250190 | 2019-09-16 | -0.009 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19259A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192320244 | 2019-09-18 | -0.025 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19261B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192390252 | 2019-09-19 | 0.093 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19262B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192470195 | 2019-10-25 | 0.044 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19297B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192530107 | 2019-10-25 | 0.067 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19297B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192600334 | 2019-10-28 | -0.003 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19301A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2019 | 20192670169 | 2019-11-06 | 0.028 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19310A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20192810094 | 2019-11-07 | 0.052 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19311B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20192890228 | 2019-11-13 | 0.012 | <0.2 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19316A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20192950177 | 2019-11-12 | 0.076 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19316A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193030013 | 2019-11-25 | 0.056 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19329B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193090148 | 2019-12-04 | 0.099 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19338A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193170131 | 2019-12-04 | 0.046 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE19338A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193230160 | 2020-01-10 | -0.007 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20010B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193310011 | 2020-01-14 | 0.05 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20014A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193370113 | 2020-01-14 | 0.007 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20014A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193440277 | 2020-01-23 | 0.027 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20023A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193510011 | 2020-01-23 | 0.021 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20023A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193600029 | 2020-01-14 | -0.042 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20014A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20193650128 | 2020-01-14 | 0.044 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20014A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200070050 | 2020-01-28 | 0.025 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20028A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200150007 | 2020-02-06 | 0.048 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20037A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200220089 | 2020-02-06 | -0.017 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20037A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200280078 | 2020-02-06 | -0.012 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20037A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200350116 | 2020-02-18 | 0.024 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20049A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200420084 | 2020-02-26 | -0.065 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20057B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200500101 | 2020-03-04 | 0.03 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20064A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200560056 | 2020-03-04 | 0.015 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20064A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200630078 | 2020-03-19 | 0.017 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20079A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200700088 | 2020-03-19 | 0.014 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20079A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200770102 | 2020-04-07 | -0.001 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20098A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200840010 | 2020-04-07 | 0.026 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20098A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200910073 | 2020-04-07 | -0.022 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20098A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20200980034 | 2020-04-22 | -0.072 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20113A | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20201060061 | 2020-04-27 | -0.017 | <0.200 | 0.2 | 3516 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20118B | ICP3
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20201260094 | 2020-06-01 | 0.029 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20153A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20201550019 | 2020-07-16 | 0.018 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20198A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20201610147 | 2020-07-20 | 0.06 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20202A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20201680167 | 2020-07-16 | 0.027 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20198A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20201750081 | 2020-07-21 | -0.064 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20203A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20201890166 | 2020-07-27 | -0.033 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20209A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20201960122 | 2020-08-19 | -0.01 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20232A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202040007 | 2020-08-19 | 0.003 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20232A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202110017 | 2020-08-24 | -0.035 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20237A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202170016 | 2020-08-21 | -0.003 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20234A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202240077 | 2020-08-27 | -0.073 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20248B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202320076 | 2020-09-02 | 0.02 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20246A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202390009 | 2020-09-10 | -0.053 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20254A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202530034 | 2020-10-14 | -0.021 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20288B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202590126 | 2020-09-29 | -0.115 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20273B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202670161 | 2020-10-13 | -0.08 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20287B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2020 | 20202740034 | 2020-10-14 | -0.062 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20288B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20202810033 | 2020-10-19 | -0.028 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20293A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20202870022 | 2020-10-19 | 0.026 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20293A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20202950004 | 2020-11-12 | -0.04 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20317A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20203010137 | 2020-11-13 | 0.009 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20318A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20203080095 | 2020-11-13 | -0.006 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20318A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20203150088 | 2020-11-25 | 0.049 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20330A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20203230008 | 2020-11-25 | 0.109 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE20330A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20203300031 | 2021-01-14 | -0.068 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21014A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20203440027 | 2021-01-22 | -0.024 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21019A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20203530091 | 2021-01-22 | -0.113 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21019A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20203580042 | 2021-01-14 | -0.001 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21014A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20203640027 | 2021-01-14 | -0.048 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21014A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210050013 | 2021-01-14 | 0.041 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21014A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210120043 | 2021-01-26 | -0.096 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21026A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210210037 | 2021-01-26 | -0.121 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21026A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210270015 | 2021-02-17 | -0.042 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21048A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210330092 | 2021-03-04 | -0.117 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21063A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210400061 | 2021-03-04 | -0.121 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21063A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210480017 | 2021-03-11 | -0.047 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21070A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210540044 | 2021-03-11 | -0.042 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21070A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210620149 | 2021-03-19 | -0.081 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21078A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210690060 | 2021-03-29 | -0.055 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21088A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210760030 | 2021-04-19 | 0.004 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21109C
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210830008 | 2021-03-29 | -0.154 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21088A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20210970025 | 2021-05-05 | -0.051 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21125B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211030196 | 2021-06-10 | -0.095 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21168A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211100006 | 2021-05-04 | 0.015 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21124A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211180010 | 2021-06-08 | 0.048 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21159B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211250024 | 2021-06-15 | 0.09 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21165C
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211320141 | 2021-06-08 | 0.033 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21159B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211380010 | 2021-06-23 | -0.049 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21173B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211460019 | 2021-06-24 | -0.036 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21174B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211600012 | 2021-07-01 | 0.012 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21182A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211660073 | 2021-07-01 | 0.004 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21182A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211730228 | 2021-07-06 | -0.02 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21187B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211800179 | 2021-08-02 | -0.066 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21214B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211800180 | 2021-08-02 | 0.03 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21214B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211880192 | 2021-08-03 | 0.043 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21215A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20211940186 | 2021-08-03 | -0.087 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21215B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20212020190 | 2021-08-11 | -0.019 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21223A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20212080105 | 2021-08-12 | 0.085 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21224B
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20212150075 | 2021-08-11 | -0.072 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21223A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20212220201 | 2021-09-09 | -0.102 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21251A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20212290230 | 2021-09-14 | -0.18 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21256A
Manganese, UNF, ICP-OES | 01055 | PLO07 | UNF | 2021 | 20212360126 | 2021-09-20 | -0.091 | <0.200 | 0.2 | 3516 |  |  |  | ug/L | Blank | No | ICPOE21258A