## Ni_UNF_cICPMS_01067PLM77
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151310080 | 2015-06-08 | 0.0164 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS060615 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152010044 | 2015-08-18 | 0.0224 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081815 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152150072 | 2015-08-31 | -0.1185 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS083115 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151620219 | 2015-07-20 | 0.0174 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS072015 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151180071 | 2015-05-12 | -0.0209 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS051115 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152330002 | 2015-09-17 | 0.0147 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS091515 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151530209 | 2015-06-12 | 0.0213 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS061115 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151390186 | 2015-06-12 | 0.0539 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS061115 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152360155 | 2015-09-18 | -0.0216 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS091815 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152510008 | 2015-09-29 | -0.0588 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS092915 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152710069 | 2015-10-13 | -0.0819 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS101315 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151460095 | 2015-07-07 | 0.0038 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS070615 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151140025 | 2015-05-01 | 0.0322 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS043015 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152430090 | 2015-09-30 | 0.878 | 0.878 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS093015 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151660036 | 2015-08-05 | -0.002 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS080415 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152080064 | 2015-08-25 | -0.0152 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS082415 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152640023 | 2015-10-01 | -0.0554 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS093015 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151800054 | 2015-08-11 | -0.0016 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081115 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151870012 | 2015-08-12 | -0.0226 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081115 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152590159 | 2015-10-01 | -0.0294 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS093015 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151940020 | 2015-08-13 | -0.0296 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081215 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20152230126 | 2015-09-11 | -0.0569 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS091015 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151240062 | 2015-06-08 | 0.0022 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS060615 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 20151730013 | 2015-07-23 | 0.0162 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS072215 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162710101 | 2016-11-28 | 0 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16333A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161520021 | 2016-07-19 | -0.0019 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TC071116b | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160880037 | 2016-04-21 | -0.0331 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCME042116 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20153140008 | 2015-11-20 | 0.0007 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS111915 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162580015 | 2016-11-09 | 0.02 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16291B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20153630043 | 2016-01-05 | 0.0831 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS010416 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161740075 | 2016-07-25 | -0.0299 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TC071416 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160600010 | 2016-04-12 | 0.0024 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041216 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160110007 | 2016-01-21 | 0.0188 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS012116 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160670012 | 2016-04-13 | 0.0194 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041416 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160190014 | 2016-02-04 | 0.0305 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS020416 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20153200029 | 2015-12-10 | 0.1424 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS120915 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161940110 | 2016-08-19 | 0.0076 | <0.200 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | TC081916 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161800086 | 2016-07-25 | -0.0019 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TC071416 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160740008 | 2016-04-13 | -0.0021 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041416 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160810059 | 2016-04-21 | -0.0027 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCME042116 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20153270013 | 2015-12-18 | -0.0069 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS121715 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160320005 | 2016-02-17 | -0.0243 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS021716 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20153060028 | 2015-11-10 | -0.0536 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS110915 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161160086 | 2016-04-28 | 0.0015 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042816 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160250025 | 2016-02-05 | 0.0077 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS020416 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20152920033 | 2015-11-04 | 0.0128 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS110415 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162360199 | 2016-10-07 | 0.03 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16281B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162520023 | 2016-11-10 | 0.04 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16294B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160530012 | 2016-04-08 | -0.0075 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS040816 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160950039 | 2016-04-21 | -0.033 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCME042116 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20152780003 | 2015-10-14 | -0.0803 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS101315 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160050027 | 2016-01-20 | 0.0107 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS012016 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161270010 | 2016-05-23 | 0.0143 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TC052316 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20153550009 | 2016-01-05 | 0.0534 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS010416 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161660162 | 2016-08-19 | -0.0087 | <0.200 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | TC081916 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162010253 | 2016-08-19 | -0.0104 | <0.200 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | TC081916 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161100121 | 2016-04-26 | -0.0228 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042616 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20152860154 | 2015-10-22 | -0.0574 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS102015 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161020023 | 2016-04-26 | 0.0371 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042616 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162290132 | 2016-10-07 | 0.04 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16281B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160400077 | 2016-04-01 | 0.0365 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS033116 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162230007 | 2016-09-26 | -0.0534 | <0.200 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | 091916 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162150202 | 2016-09-02 | 0.0321 | <0.200 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | TC083116 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161870030 | 2016-08-17 | 0.0642 | <0.200 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | TC081616 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20152990062 | 2015-11-05 | -0.0105 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS110415 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162440125 | 2016-10-11 | -0.02 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16285A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20153420013 | 2015-12-21 | 0.0291 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS122115 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20153340013 | 2015-12-21 | 0.0488 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS122115 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162640169 | 2016-10-25 | 0.11 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16299A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161590159 | 2016-07-19 | -0.0109 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TC071116b | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161480185 | 2016-06-23 | -0.0403 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TC062316 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20153500156 | 2016-01-04 | 0.0339 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS010416 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20161230038 | 2016-05-23 | 0.0456 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TC052316 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20160470013 | 2016-04-01 | 0.0607 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS033116 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 20162080229 | 2016-08-19 | 0.0166 | <0.200 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | TC081916 | MS6
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163410115 | 2017-01-31 | 0.1 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17031B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163200112 | 2016-12-07 | 0 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16342A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163130102 | 2016-12-07 | 0.04 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16342A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170190014 | 2017-02-22 | 0.07 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17053A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163060098 | 2017-01-26 | 0.03 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17026A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163350015 | 2016-12-08 | 0.02 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16343A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170590087 | 2017-03-27 | 0.1792 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17086A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163630049 | 2017-02-21 | 0.0028 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17052B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170540105 | 2017-03-27 | 0.0205 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17086A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170730101 | 2017-03-28 | 0.1563 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17087A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20162780124 | 2016-11-29 | 0.02 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16334B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170660121 | 2017-03-28 | 0.012 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17087A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170310057 | 2017-02-27 | 0.0256 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17058A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170100059 | 2017-02-22 | 0.0336 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17053A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170450134 | 2017-02-27 | 0.1249 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17058A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163000009 | 2017-01-11 | 0.2 | 0.2 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | No | ICPMS17011B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170040050 | 2017-02-21 | 0.0352 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17052B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163480101 | 2017-01-31 | -0.02 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17031B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163270135 | 2016-12-08 | 0.31 | 0.3 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS16343A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20162940175 | 2016-11-30 | 0.01 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16335A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20162870010 | 2016-11-29 | 0.07 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS16334B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20163550019 | 2017-03-02 | 0.2236 | 0.2 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS17061A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170380082 | 2017-02-27 | -0.0118 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17058A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170800061 | 2017-03-28 | 0.0381 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17087A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171150171 | 2017-05-09 | 0.1493 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17129A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171020116 | 2017-05-09 | 0.2631 | 0.3 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS17129A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171080129 | 2017-05-09 | 0.0124 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17129A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170240074 | 2017-02-22 | 0.004 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17053A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170870121 | 2017-04-11 | 0.0902 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17101A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20170940145 | 2017-05-04 | 0.0031 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17121A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171430153 | 2017-06-22 | 0.0762 | <0.2 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17172C | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171370204 | 2017-06-20 | 0.0198 | <0.2 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17171A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171290232 | 2017-06-20 | 0.0338 | <0.2 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17171A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171510130 | 2017-06-23 | 0.0097 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17174A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171510131 | 2017-06-23 | -0.0016 | <0.2 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17174A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171290231 | 2017-06-20 | 0.017 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17171A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171220108 | 2017-05-26 | 0.0071 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17144B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171370205 | 2017-06-20 | 0.0762 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17171A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171580016 | 2017-06-28 | 0.0586 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17179A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171580023 | 2017-06-28 | 0.0809 | <0.2 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17179A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 20171430152 | 2017-06-22 | 0.137 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17172C | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20173330013 | 2017-12-27 | 0.0502 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17361A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20173390116 | 2018-01-03 | 0.1906 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18003B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20173260002 | 2017-12-27 | 0.1828 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS17361A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20173530086 | 2018-01-05 | 0.0166 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18004A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20173460064 | 2018-01-04 | 0.0134 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18004A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20173620010 | 2018-01-10 | 0.0057 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18010B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180370083 | 2018-02-21 | 0.0273 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18051B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180240091 | 2018-02-13 | 0.0198 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18039A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180300103 | 2018-02-13 | 0.0048 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18039A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180580108 | 2018-03-13 | 0.0615 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18071A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180650055 | 2018-03-21 | 0.0174 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18079A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180730051 | 2018-03-28 | 0.0338 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18086B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180860131 | 2018-04-16 | 0.0208 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18106A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180100001 | 2018-01-25 | 0.0138 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18024B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180790076 | 2018-04-04 | 0.0415 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18093B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181220005 | 2018-05-23 | 0.1316 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18143A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181030007 | 2018-05-01 | 0.0108 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18121B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181140182 | 2018-05-07 | 0.0677 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18127A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180930112 | 2018-05-01 | 0.0331 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18121B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181280133 | 2018-05-23 | 0.1632 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18143A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181090171 | 2018-05-07 | 0.0113 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18127A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181350134 | 2018-06-06 | 0.0123 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18157B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181420242 | 2018-06-08 | 0.0279 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18158B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181500154 | 2018-06-18 | 0.0219 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18169A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20180520083 | 2018-03-13 | 0.0162 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18071A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181640009 | 2018-07-16 | 0.0085 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18193B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181770205 | 2018-07-19 | 0.0039 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18198A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181640010 | 2018-07-30 | 0.037 | <0.2 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18211A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181840203 | 2018-07-25 | 0.0499 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18201A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181910202 | 2018-07-25 | 0.0134 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS18201A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181770206 | 2018-08-01 | 0.0543 | <0.2 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18211B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182050282 | 2018-08-03 | 0.0028 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18215B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182120174 | 2018-08-13 | 0.041 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18225B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182200016 | 2018-08-21 | 0.0193 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS18233A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181840202 | 2018-08-13 | 0.0247 | <0.2 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18225B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181910203 | 2018-08-13 | 0.009 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18225B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182050283 | 2018-08-28 | -0.0066 | <0.2 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18240A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181570006 | 2018-07-30 | 9.2979 | 9.3 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment | Value verified by rerun, same method | ug/L | Blank | Yes | ICPMS18211A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181700190 | 2018-07-30 | 0.5182 | 0.5 | 0.2 | 3305 | Value verified by rerun, same method |  |  | ug/L | Blank | Yes | ICPMS18211A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182000213 | 2018-08-20 | 2.8081 | 2.8 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | Yes | ICPMS18232B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182000212 | 2018-08-13 | 0.8328 | 0.8 | 0.2 | 3305 |  |  |  | ug/L | Blank | Yes | ICPMS18225B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181570005 | 2018-07-30 | 3.6332 | 3.6 | 0.2 | 3305 | Value verified by rerun, same method |  |  | ug/L | Blank | Yes | ICPMS18211A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20181700191 | 2018-08-02 | 0.4624 | 0.5 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | Yes | ICPMS18214B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182260162 | 2018-08-28 | 4.9324 | 4.9 | 0.2 | 3305 |  |  |  | ug/L | Blank | Yes | ICPMS18240A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182330211 | 2018-08-28 | 0.0161 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18240A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182410006 | 2018-09-12 | 0.0194 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18253B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182610152 | 2018-10-03 | 0.035 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18271B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182680156 | 2018-10-12 | 0.4643 | 0.5 | 0.2 | 3305 |  |  |  | ug/L | Blank | Yes | ICPMS18284B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182570229 | 2018-10-03 | 0.681 | 0.7 | 0.2 | 3305 |  |  |  | ug/L | Blank | Yes | ICPMS18271B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 20182490006 | 2018-09-18 | 0.0271 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS18261B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20182830106 | 2018-10-29 | -0.0191 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18299B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20182890071 | 2018-10-29 | -0.0293 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS18299B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20182960216 | 2018-11-26 | 0.0033 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18324A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20183030081 | 2018-11-28 | 0.037 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS18331A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20183180144 | 2019-02-06 | 0.0041 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19036B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20183530007 | 2019-02-04 | 0.0307 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19035A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20183100204 | 2019-02-04 | 0.0209 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19035A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190360208 | 2019-03-11 | 0.0141 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19070A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190430214 | 2019-03-12 | 0.0155 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19071B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190290117 | 2019-02-25 | -0.1172 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19051B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190520016 | 2019-03-29 | 0.0506 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19087B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190720010 | 2019-04-16 | 0.004 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19105A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190640122 | 2019-04-16 | -0.0068 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19105A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190570195 | 2019-04-08 | 0.0068 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19098A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190780109 | 2019-04-26 | -0.0004 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19114A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190860017 | 2019-04-30 | 0.7304 | 0.7 | 0.2 | 3305 | See result laboratory comment | Value verified by rerun, same method |  | ug/L | Blank | Yes | ICPMS19119B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20183400013 | 2019-02-20 | 0.0439 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19045B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190920103 | 2019-04-30 | 0.0126 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19119B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20183310072 | 2019-02-11 | 0.0036 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19042A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20183450156 | 2019-02-20 | 0.0523 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19045B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191130141 | 2019-05-06 | 0.0369 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20190990205 | 2019-05-06 | 0.0052 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191550210 | 2019-06-26 | 0.0227 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19175B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191300191 | 2019-06-06 | 0.0027 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191350012 | 2019-06-06 | -0.0033 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191200096 | 2019-06-06 | 0.0108 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191070144 | 2019-05-06 | 0.0066 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191690168 | 2019-07-02 | 0.0185 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19183B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191620189 | 2019-07-02 | 0.0064 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19183B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191490089 | 2019-06-24 | 0.0058 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19169A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191410240 | 2019-06-11 | 0.0027 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19158A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191760230 | 2019-07-03 | 0.0136 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19184B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191830147 | 2019-08-02 | 0.0097 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19214A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20191900118 | 2019-08-19 | 0.1656 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192000011 | 2019-08-19 | 0.0392 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192050070 | 2019-08-19 | 0.0004 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192110139 | 2019-08-27 | 0.0214 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19238A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192180195 | 2019-08-29 | 0.0145 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19239B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192250189 | 2019-09-04 | 0.0155 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19247A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192320243 | 2019-09-09 | 0.0144 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19252A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192390251 | 2019-09-23 | -0.0157 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19266A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192470196 | 2019-09-23 | -0.0091 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19266A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192530108 | 2019-10-01 | -0.0017 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19274A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192600335 | 2019-10-02 | 0.0083 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19275B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 20192670168 | 2019-12-03 | 0.0046 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19322A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20192810093 | 2019-12-19 | 0.0148 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS19352B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20192890227 | 2019-12-12 | 0.0041 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19344B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20192950176 | 2019-12-16 | 0.0031 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19347B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193030012 | 2019-12-18 | 0.0319 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19350A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193090149 | 2019-12-30 | 0.0326 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193170130 | 2020-01-09 | 0.0096 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20006A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193230159 | 2020-01-09 | 0.2828 | 0.3 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS20006A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193310012 | 2019-12-30 | 0.0092 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193370112 | 2020-01-10 | 0.0459 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193440278 | 2020-01-10 | 0.0287 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193510012 | 2020-01-10 | 0.0153 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193600027 | 2020-01-21 | 0.0367 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20193650127 | 2020-01-21 | 0.0117 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200070049 | 2020-01-21 | 0.0335 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200150006 | 2020-01-21 | 0.0294 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200220087 | 2020-02-03 | 0.0191 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20031A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200280079 | 2020-02-12 | 0.0339 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20043A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200350117 | 2020-02-12 | 0.0233 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20043A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200420083 | 2020-03-03 | 0.0245 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20063B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200500100 | 2020-03-04 | 0.0142 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20064A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200560055 | 2020-03-04 | 0.1994 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20064A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200630077 | 2020-03-18 | 0.0099 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20076A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200700087 | 2020-04-20 | 0.0094 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20111B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200770101 | 2020-06-02 | 0.0121 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20153B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200840011 | 2020-06-02 | 0.0142 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20153B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200910074 | 2020-06-02 | 0.1211 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20153B | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20200980033 | 2020-04-23 | -0.0018 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20114A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20201060060 | 2020-04-23 | -0.0003 | <0.2 | 0.2 | 3305 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20114A | MS2
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20201260093 | 2020-08-26 | 0.0411 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20238B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20201550018 | 2020-06-30 | 0.0122 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20182B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20201610146 | 2020-06-30 | 0.0888 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20182B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20201680166 | 2020-08-27 | 0.0022 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20240A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20201750082 | 2020-08-27 | -0.0123 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20240A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20201890165 | 2020-09-02 | -0.0007 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20245B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20201960120 | 2020-09-03 | 0.0216 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20247B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202040006 | 2020-09-03 | 0.0027 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20247B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202110018 | 2020-09-17 | 0.0004 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20260A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202170015 | 2020-09-17 | 0.1007 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20260A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202240076 | 2020-09-17 | 0.1176 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20260A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202320075 | 2020-09-24 | 0.0716 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20276A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202390010 | 2020-09-29 | 0.0847 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20273A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202530033 | 2020-10-05 | 0.1229 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20279B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202590124 | 2020-10-08 | 0.1387 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20281B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202670160 | 2020-10-08 | 0.0884 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20281B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 20202740033 | 2020-10-22 | 0.0902 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20296B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20202810034 | 2020-10-22 | 0.1212 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20296B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20202870023 | 2020-12-29 | 0.0067 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS20350A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20202950003 | 2021-01-13 | 0.0118 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21013B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20203010138 | 2021-01-13 | 0.0034 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21013B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20203080094 | 2021-01-13 | 0.044 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21013B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20203150087 | 2021-01-15 | 0.0139 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21015A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20203230007 | 2021-01-26 | 0.0965 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21026B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20203300030 | 2021-02-02 | 0.0249 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21033A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20203440026 | 2021-01-29 | 0.0167 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21028B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20203530092 | 2021-03-04 | 0.0187 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21055A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20203580041 | 2021-03-04 | 0.0202 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21055A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20203640026 | 2021-03-04 | 0.0065 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21055A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210050012 | 2021-03-04 | 0.0209 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21055A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210120044 | 2021-03-04 | 0.1069 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21055A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210210038 | 2021-01-26 | 0.0669 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21026A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210270014 | 2021-03-26 | 0.0122 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21077A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210330093 | 2021-04-20 | 0.008 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21110A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210400060 | 2021-05-04 | 0.01 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21124A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210480018 | 2021-05-04 | 0.0056 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21124A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210540043 | 2021-05-11 | 0.0711 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21131A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210620148 | 2021-05-13 | 0.0345 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21132B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210690059 | 2021-05-13 | 0.0031 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21132B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210760031 | 2021-05-14 | 0.1042 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21134A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210830009 | 2021-05-14 | 0.0065 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21134A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20210970026 | 2021-05-18 | 0.0184 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21138A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211030195 | 2021-05-05 | 0.0133 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21125A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211100007 | 2021-05-26 | 0.0865 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21145B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211180009 | 2021-06-10 | 0.0151 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21159B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211250023 | 2021-06-16 | 0.1088 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21167B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211320140 | 2021-06-29 | 0.0903 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21180B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211380009 | 2021-07-01 | 0.0882 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21182B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211460018 | 2021-07-09 | 0.1026 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21188B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211600013 | 2021-07-23 | 0.0683 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21200B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211660072 | 2021-07-28 | 0.1144 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21209B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211730227 | 2021-08-06 | 0.109 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21218A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211800179 | 2021-08-10 | 0.0382 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21222B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211880191 | 2021-08-10 | 0.1011 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21222B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20211940180 | 2021-08-16 | 0.0866 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21228B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20212020191 | 2021-08-18 | 0.0938 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21230A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20212080104 | 2021-08-18 | 0.0551 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21230A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20212150074 | 2021-08-30 | 0.0552 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21242B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20212220202 | 2021-09-22 | 0.0488 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21258B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 20212290229 | 2021-09-24 | 0.0664 | <0.2 | 0.2 | 3305 |  |  |  | ug/L | Blank | No | ICPMS21267A