## V_UNF_ICPMS_01087PLM11
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20072850031 | 2007-11-14 | 0.1047 | 0.10 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS111307 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20072960184 | 2007-11-20 | 0.2197 | 0.22 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS111507 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20073020073 | 2007-11-20 | 0.0545 | E0.05 | 0.05 | 3135 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | TCMS111507 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20073170047 | 2008-01-09 | 0.1133 | 0.11 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS010808 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20073230114 | 2008-01-04 | 0.0972 | E0.1 | 0.05 | 3135 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | TcMS010308 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20073300034 | 2007-12-07 | 0.4331 | 0.43 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS120607A | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20073370086 | 2007-12-19 | 0.3828 | 0.38 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS121807 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20073440028 | 2007-12-26 | 0.3832 | 0.38 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS122607 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20073510108 | 2008-01-30 | 0.2091 | 0.21 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS012908 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20073620007 | 2008-02-26 | 0.5038 | 0.50 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS022608B | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080070031 | 2008-02-06 | 0.0868 | E0.09 | 0.05 | 3135 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | TCMS020608 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080230008 | 2008-02-13 | 0.0361 | <0.10 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS021208 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080140021 | 2008-02-07 | 0.2017 | 0.20 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS020608 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080280053 | 2008-02-13 | 0.2402 | 0.24 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS021208 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080360057 | 2008-02-20 | 0.2405 | 0.24 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS022008 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080420063 | 2008-02-21 | 0.2263 | 0.23 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS022008 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080510060 | 2008-03-12 | 0.1024 | 0.10 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TC031108 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080560061 | 2008-03-12 | -0.0741 | <0.10 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | No | TC031108 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080630057 | 2008-03-13 | 0.0366 | <0.10 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | No | TC031108 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080770117 | 2008-04-08 | 0.2426 | 0.24 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS040808 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080840054 | 2008-04-02 | 0.3704 | 0.37 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | TCMS040108 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081050103 | 2008-04-21 | 0.093 | E0.09 | 0.05 | 3135 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | TCMS042108 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081120021 | 2008-04-29 | 0.109 | 0.11 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | Yes | Tc042808b | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081260064 | 2008-05-14 | 0.018 | <0.10 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS051408 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081330106 | 2008-05-15 | 0.0848 | E0.08 | 0.05 | 3135 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS051408 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081400070 | 2008-05-27 | 0.0064 | <0.10 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS052708 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081480081 | 2008-06-02 | 0.045 | <0.10 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS060208 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20072890065 | 2007-12-03 | 0.3294 | 0.33 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS120307 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20073100007 | 2007-11-28 | 0.2274 | 0.23 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS112707 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080700086 | 2008-03-24 | 0.5613 | 0.56 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS032408 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081190052 | 2008-05-07 | 1.992 | 1.99 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS050608 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081540117 | 2008-06-12 | 0.0332 | <0.10 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | Tc061208 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081620004 | 2008-06-26 | -0.2216 | <0.10 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | TCMS062608 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081680076 | 2008-06-27 | 0.293 | 0.29 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS062608 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081750135 | 2008-06-27 | 0.5187 | 0.52 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS062608 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081890050 | 2008-07-17 | -0.2893 | <0.10 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | Tc071708 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082030115 | 2008-07-25 | 0.0277 | <0.10 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | TCMS072408 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082190015 | 2008-08-28 | 0.1046 | 0.10 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS082808 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082310146 | 2008-09-03 | 0.1182 | 0.12 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS090208 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082380086 | 2008-09-04 | 0.633 | 0.63 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS090408 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082460112 | 2008-09-05 | -0.1005 | <0.10 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | TCMS090408 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082520018 | 2008-09-11 | 0.0409 | <0.10 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | TCMS091108 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082660035 | 2008-09-25 | 1.043 | 1.04 | 0.05 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS092508 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082730085 | 2008-10-09 | 0.02 | <0.10 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | TCMS100908 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080920079 | 2008-04-15 | 1 | <1 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041408 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20080980095 | 2008-04-21 | 1 | <1.0 | 0.05 | 3135 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042108 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081820054 | 2008-08-01 | 1 | <1 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | TCMS073108 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20081970148 | 2008-07-25 | 1 | <1 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | TCMS072408 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082250021 | 2008-08-29 | 1 | <1 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | TCMS082808 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2008 | 20082590097 | 2008-09-19 | 1 | <1 | 0.05 | 3135 |  |  |  | ug/L | Blank | No | TCMS091808 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083080092 | 2008-11-12 | 0.8639 | E0.86 | 0.8 | 3135 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS111208 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092360140 | 2009-09-21 | 0.8964 | E0.90 | 0.8 | 3135 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS092109 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092640027 | 2009-10-08 | 1.579 | E1.58 | 0.8 | 3135 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS100709 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20082800049 | 2008-10-15 | 0.3871 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS101508 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20082880049 | 2008-10-30 | -0.0936 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS102908 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20082940065 | 2008-11-03 | 0.2104 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS110308 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083010115 | 2008-11-03 | 0.168 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS110308 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083150073 | 2008-11-20 | 0.7367 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS112008 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083220080 | 2008-12-03 | 0.195 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS120308 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083290066 | 2008-12-03 | 0.1277 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS120308 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083360037 | 2008-12-03 | 0.2139 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS120308 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083450073 | 2008-12-17 | 0.1043 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS121608 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083500081 | 2008-12-23 | 0.1206 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS122308 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083570043 | 2009-01-06 | 0.3739 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS010609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20083650089 | 2009-01-07 | 0.2521 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS010609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090050015 | 2009-01-14 | 0.1339 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS011409 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090120043 | 2009-01-14 | 0.0992 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS011409 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090200043 | 2009-01-29 | 0.1224 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS012909 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090260037 | 2009-01-29 | 0.1406 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS012909 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090330032 | 2009-02-05 | 0.138 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS020509 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090400045 | 2009-02-13 | 0.0141 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS021209 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090480063 | 2009-02-26 | -0.0319 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS022609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090540046 | 2009-03-10 | 0.0615 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS030909 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090610051 | 2009-03-12 | 0.3281 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS031109 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090680052 | 2009-03-18 | 0.1796 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS031809 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090750042 | 2009-03-25 | 0.1353 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS032509 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090820032 | 2009-04-01 | 0.3552 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS040109 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090890064 | 2009-04-02 | 0.0702 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS040109 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20090960050 | 2009-04-14 | 0.1595 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS041409 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091030073 | 2009-04-22 | 0.6375 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS042209 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091110097 | 2009-04-29 | 0.0472 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS042909 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091170111 | 2009-05-04 | 0.1153 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS050409 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091240114 | 2009-05-11 | 0.024 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS051109 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091320026 | 2009-05-19 | 0.0949 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS051909 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091380117 | 2009-05-22 | 0.2236 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS052109 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091460185 | 2009-06-04 | 0.253 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS060309 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091520144 | 2009-06-15 | 0.4669 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS061509 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091590082 | 2009-06-18 | 0.0698 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS061709 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091660197 | 2009-07-02 | 2.15 | 2.15 | 0.8 | 3135 |  |  |  | ug/L | Blank | Yes | TCMS070109 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091730208 | 2009-07-28 | 0.3177 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS072709 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091800176 | 2009-07-30 | 0.1532 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS072909 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091870016 | 2009-08-03 | 0.1649 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS080309 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20091950031 | 2009-08-20 | 0.2744 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS081809 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092010120 | 2009-08-25 | 0.5284 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS082409 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092090256 | 2009-08-27 | 0.2649 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS082609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092150068 | 2009-09-02 | 0.0372 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS090109 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092220165 | 2009-09-02 | -0.0876 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS090109 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092290206 | 2009-09-15 | 0.2804 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | Tc091409 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092430151 | 2009-10-14 | 0.1392 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS101409 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092520138 | 2009-11-16 | 0.0735 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS111609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092570054 | 2009-11-16 | 0.079 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS111609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2009 | 20092720008 | 2009-10-15 | 0.1297 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS101409 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101660052 | 2010-07-08 | 1.38 | E1.38 | 0.8 | 3135 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS070810 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20092780080 | 2009-11-16 | 0.0328 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS111609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20092870065 | 2009-11-04 | -1.398 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS110409 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20092920086 | 2009-11-17 | 0.031 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS111609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093000117 | 2009-11-05 | 0.03 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS110509 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093070196 | 2009-11-18 | 0.1256 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS111709 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093130063 | 2009-11-23 | 0.1481 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS112309 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093200061 | 2009-11-24 | 0.1592 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS112309 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093280014 | 2009-12-08 | 0.1617 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS120709 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093360005 | 2009-12-09 | -0.0117 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS120909 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093420006 | 2009-12-16 | 0.3337 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS121609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093480052 | 2009-12-17 | 0.2971 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS121609 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093560030 | 2009-12-30 | 0.1102 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS123009 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20093620043 | 2009-12-31 | -0.0031 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS123009 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100050002 | 2010-01-11 | 0.2143 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS011110 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100110086 | 2010-01-19 | 0.1364 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS011910 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100190096 | 2010-01-25 | 0.044 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS012510 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100260068 | 2010-02-08 | 0.1385 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS020810 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100320030 | 2010-02-10 | 0.0607 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS021010 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100390046 | 2010-02-17 | 0.0171 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS021710 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100470036 | 2010-02-22 | 0.0931 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS022210 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100530052 | 2010-03-01 | 0.0685 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS030110 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100600063 | 2010-03-10 | 0.0453 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS031010 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100680011 | 2010-03-15 | 0.0491 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS031510 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100750004 | 2010-04-01 | 0.1826 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS040110 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100850045 | 2010-04-06 | -0.238 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS040610 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100880036 | 2010-04-07 | 0.5356 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS040610 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20100950039 | 2010-04-14 | 0.0842 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS041310 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101020085 | 2010-04-22 | 0.0114 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS042010 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101090071 | 2010-04-29 | 0.0628 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS042910 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101170100 | 2010-05-13 | 0.0914 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS051210 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101240085 | 2010-06-08 | -0.0016 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS060810 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101310099 | 2010-06-09 | 0.3706 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS060910 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101380008 | 2010-06-10 | 0.4019 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS060910 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101440167 | 2010-06-30 | 0.0044 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS063010 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101530087 | 2010-07-06 | 0.0366 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS070610 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101590003 | 2010-07-07 | -0.046 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS070610 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101730081 | 2010-07-29 | 0.16 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS072910 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101790135 | 2010-08-02 | 0.3636 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS080210 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101870067 | 2010-08-03 | 0.004 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS080210 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20101930100 | 2010-08-03 | 0.3304 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS080310 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102000196 | 2010-08-03 | 0.1042 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS080310 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102080017 | 2010-08-17 | 0.2885 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS081610 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102140108 | 2010-08-19 | 0.0472 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS081810 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102230050 | 2010-08-25 | 0.2785 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS082510 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102290120 | 2010-09-08 | 0.0328 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS090710 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102350192 | 2010-09-09 | 0.1049 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS090710 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102430248 | 2010-09-29 | 0.6455 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS092910 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102510069 | 2010-10-05 | 0.2625 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS100410 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102570001 | 2010-10-05 | 0.1007 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS100410 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102640145 | 2010-10-12 | 0.1434 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS101210 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2010 | 20102700139 | 2010-10-12 | 0.1234 | <1.60 | 0.8 | 3135 |  |  |  | ug/L | Blank | No | TCMS101210 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112510032 | 2011-10-06 | 1.862 | 1.86 | 1.6 | 3135 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS100611 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20102770097 | 2010-10-19 | 0.1521 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS101810 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20102850136 | 2010-11-09 | 0.0483 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS110810 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20102920018 | 2010-11-17 | 0.0907 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS111610 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20102990004 | 2010-12-01 | 0.1878 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS113010 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20103060014 | 2010-12-01 | -0.0216 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS113010 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20103120038 | 2010-12-01 | 0.1824 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS113010 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20103190057 | 2010-12-01 | 0.2357 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS113010 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20103260073 | 2010-12-02 | 0.5382 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS120210 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20103330103 | 2010-12-02 | -0.0083 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS120210 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20103400091 | 2010-12-16 | -0.0077 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS121510 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20103470089 | 2010-12-17 | 0.0155 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS121510 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20103540036 | 2010-12-28 | 0.1155 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS122710 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20103610045 | 2011-01-05 | 0.0302 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS010511 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110030016 | 2011-01-12 | 0.0329 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS011211 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110110010 | 2011-01-20 | 0.0753 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS011911 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110180056 | 2011-02-09 | 0.1822 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS020911 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110240060 | 2011-02-10 | 0.0305 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS021011 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110400066 | 2011-02-17 | 0.1466 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS021611 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110410101 | 2011-02-17 | 0.122 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS021611 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110450032 | 2011-02-24 | 0.1699 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS022411 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110530109 | 2011-03-01 | 0.7118 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS022811 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110590076 | 2011-03-11 | 0.6475 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS030911 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110660028 | 2011-03-16 | 0.5643 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS031611 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110750060 | 2011-03-21 | 0.2732 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS032111 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110800062 | 2011-03-23 | -0.0711 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS032311 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110870086 | 2011-04-05 | -0.2139 | <1.6 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS040411 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20110950048 | 2011-04-13 | 0.327 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS041311 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111010113 | 2011-04-14 | 0.1574 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS041311 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111080068 | 2011-04-25 | 0.0493 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS042511 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111150116 | 2011-04-27 | 0.2884 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS042711 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111220080 | 2011-05-05 | 0.2554 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS050511 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111290051 | 2011-05-12 | 0.1692 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS051111 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111360140 | 2011-05-24 | 0.5037 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS052311 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111430211 | 2011-06-14 | -0.0093 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS061311 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111510157 | 2011-06-14 | 0.0824 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS061311 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111570066 | 2011-06-22 | -0.0769 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS062111 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111640063 | 2011-06-28 | -0.1079 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS062311 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111710120 | 2011-07-08 | 0.5115 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS070711 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111780153 | 2011-07-12 | 0.0302 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS071211 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111860064 | 2011-07-14 | 0.147 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS071211 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20111920094 | 2011-07-26 | 0.0878 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS072511 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112010009 | 2011-07-28 | 0.1387 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS072711 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112060089 | 2011-08-03 | 0.1314 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS080211 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112130150 | 2011-08-05 | 0.5168 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS080411 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112200063 | 2011-08-18 | 0.0501 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS081711 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112300032 | 2011-08-25 | 0.2063 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS082511 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112360072 | 2011-08-31 | 0.0122 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS083111 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112500179 | 2011-10-05 | 0.1694 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS100411 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112560018 | 2011-10-07 | -0.0469 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS100611 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112630055 | 2011-10-11 | -0.0732 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS101111 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2011 | 20112690116 | 2011-10-12 | 0.3348 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS101111 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20112760060 | 2011-10-12 | 0.2545 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS101111 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20112840069 | 2011-10-28 | 0.2961 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS102711 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20112910129 | 2011-11-22 | 0.4596 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS112211 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20112970112 | 2011-11-23 | 0.4795 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS112211 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20113050096 | 2011-11-29 | 1.299 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS112811 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20113110053 | 2011-11-30 | -0.2068 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS113011 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20113180160 | 2011-12-09 | 0.1703 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS120811 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20113250117 | 2011-12-12 | 0.215 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS121211 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20113320112 | 2011-12-13 | 0.2219 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS121211 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20113460135 | 2011-12-19 | 0.4407 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS121911 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20113490079 | 2012-01-09 | 0.1953 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS010912 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20113530134 | 2012-01-10 | 0.076 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS011012 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20113610084 | 2012-01-12 | -0.0427 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS011112 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120030020 | 2012-01-12 | 0.2035 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS011112 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120090050 | 2012-01-18 | 0.5256 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS011812 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120180009 | 2012-01-23 | 0.0438 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS012312 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120230044 | 2012-01-25 | 0.0074 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS012512 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120310018 | 2012-02-08 | 0.1324 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS020712 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120370071 | 2012-02-15 | 0.8645 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS021512 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120450026 | 2012-02-22 | 0.3316 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS022212 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120530048 | 2012-02-28 | -0.0446 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS022812 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120580054 | 2012-03-06 | 0.1895 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS030612 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120660068 | 2012-03-22 | 0.1242 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS032212 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120730085 | 2012-03-23 | -0.0529 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS032212 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120790077 | 2012-03-28 | 0.0071 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS032812 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120870040 | 2012-04-02 | 0.7764 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS040212 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20120930052 | 2012-04-06 | -0.0346 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS040512 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121010022 | 2012-04-18 | 1.006 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS041812 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121080015 | 2012-04-30 | 1.019 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS043012 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121150093 | 2012-04-30 | 0.2487 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS043012 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121210116 | 2012-05-16 | 0.1285 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS051612 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121290089 | 2012-05-15 | 0.0731 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS51412B | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121370043 | 2012-05-29 | 0.1179 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS052912 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121430075 | 2012-05-30 | 0.1391 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS052912B | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121510035 | 2012-06-14 | 0.1827 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS061212 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121560115 | 2012-06-20 | 0.055 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS061912 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121650050 | 2012-06-29 | 0.1207 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS062812 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121710004 | 2012-07-04 | -0.0068 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS070212 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121780038 | 2012-07-04 | 0.2363 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS070212 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121870015 | 2012-07-25 | -0.0205 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS072512 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121910039 | 2012-07-25 | -0.0958 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS072512 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20121990076 | 2012-07-31 | 0.1008 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS073012 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122050096 | 2012-08-02 | 0.1293 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS080112 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122140045 | 2012-08-13 | 0.2317 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS081312 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122190094 | 2012-08-14 | 0.2765 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS081312 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122280084 | 2012-08-23 | 0.455 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS082212 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122350117 | 2012-08-30 | 0.4405 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS083012 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122400102 | 2012-09-05 | 0.1052 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS090512 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122490100 | 2012-09-13 | 0.2506 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS091212 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122550005 | 2012-09-18 | 0.1812 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS091712 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122690148 | 2012-10-04 | -0.1153 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS100312 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2012 | 20122700103 | 2012-10-04 | 0.3225 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS100312 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20122750019 | 2012-10-24 | 0.7109 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS102312 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130020002 | 2013-01-09 | 0.0267 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS010913 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20123120063 | 2012-11-21 | 0.2091 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS112112 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20123250058 | 2012-11-29 | 0.1241 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS112812 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130770150 | 2013-03-27 | 0.1285 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS032513 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130570016 | 2013-03-06 | 0.0893 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS030513 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130700008 | 2013-03-26 | 0.1637 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS032513 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131090024 | 2013-05-23 | 0.7578 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS052113 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131220004 | 2013-05-16 | 0.1255 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131120116 | 2013-05-15 | 0.1564 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131270015 | 2013-06-04 | 0.3434 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS060413 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131350128 | 2013-05-29 | 0.4049 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS052813 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131550019 | 2013-06-18 | 0.1702 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS061713 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130840048 | 2013-04-03 | 0.0453 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS040313 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131150010 | 2013-05-15 | 0.0627 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131770015 | 2013-07-09 | 0.1054 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS070813 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130630115 | 2013-03-07 | 0.0547 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS030713 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131640003 | 2013-06-20 | 0.0392 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS061913 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131500022 | 2013-06-17 | 0.2782 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS061713 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131430171 | 2013-06-04 | 0.1241 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS053013 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130930076 | 2013-04-11 | 0.2919 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS041113 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130520013 | 2013-02-27 | -0.0524 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS022713 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131700032 | 2013-07-08 | 0.1736 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS070813 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131830079 | 2013-08-08 | 0.1783 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS080713 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131900082 | 2013-08-12 | 0.0408 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS081213 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132040024 | 2013-08-20 | 0.1213 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS081913 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20131970029 | 2013-08-19 | 0.1067 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS081913 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132180183 | 2013-11-12 | -0.0605 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS111213 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132350022 | 2013-11-21 | 0.0705 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS112113 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132390014 | 2013-11-22 | 0.183 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS112113 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132410008 | 2013-11-26 | -0.2729 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS112613 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132270019 | 2013-11-19 | 0.3451 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS111813 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132530104 | 2013-12-03 | 0.1225 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS120313 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132600008 | 2013-12-04 | 0.1651 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS120413 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132660101 | 2013-12-05 | 0.1835 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS120413 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132120023 | 2013-09-09 | -0.1164 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS090913 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20132730129 | 2013-12-06 | 0.116 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS120513 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20122830030 | 2012-11-01 | 0.1514 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS102912 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20122980118 | 2012-11-06 | 0.2086 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS110612 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130230091 | 2013-01-30 | 0.134 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS013013 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130350027 | 2013-02-14 | 0.0852 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS021413 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20122900091 | 2012-11-05 | -0.4907 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS110512 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20123040115 | 2012-11-07 | 0.158 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS110612 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20123200048 | 2012-11-21 | 0.0803 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS112112 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20123390109 | 2012-12-11 | 0.1687 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS121112 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20123330002 | 2012-12-03 | 0.1806 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS120312 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20123480049 | 2012-12-20 | 0.0769 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS121912 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20123530087 | 2013-01-02 | 0.1787 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS010213 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20123620003 | 2013-01-09 | 0.6432 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS010913 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130070049 | 2013-01-14 | 0.0599 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS011413 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130140064 | 2013-01-22 | 0.1018 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS012213 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130280034 | 2013-02-06 | 0.1541 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS020613 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2013 | 20130420059 | 2013-02-22 | 0.1106 | <1.60 | 1.6 | 3135 |  |  |  | ug/L | Blank | No | TCMS022013 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20132970029 | 2013-12-16 | 0.1758 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS121613 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20133230011 | 2014-01-09 | 0.3107 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS010914 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20133360014 | 2014-01-13 | 0.2245 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS011314 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20133030026 | 2013-12-30 | 0.1563 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS123013 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20133090094 | 2014-01-07 | 0.2164 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS010714 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20133170109 | 2014-01-07 | 0.2583 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS010714 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20133500072 | 2014-01-16 | 0.0991 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS011414 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140070059 | 2014-01-21 | 0.1551 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS012114 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140130046 | 2014-01-21 | 0.1199 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS012114 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140210044 | 2014-02-03 | 0.1089 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS020314 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140270192 | 2014-02-04 | 0.2403 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS020314 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20133430106 | 2014-01-15 | 0.3523 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS011414 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20133580047 | 2014-01-21 | 0.2142 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS012114 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140410012 | 2014-02-18 | 0.0328 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS021814 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140340018 | 2014-02-06 | 0.0645 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS020614 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140550044 | 2014-03-04 | 0.0534 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS030414 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20133300009 | 2014-01-13 | 0.3434 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS011314 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140490011 | 2014-02-26 | 0.0501 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS022614 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140630113 | 2014-03-19 | 0.0443 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS031914 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140690019 | 2014-03-20 | 0.1662 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS031914 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140760037 | 2014-03-31 | 0.1258 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS033114 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140840100 | 2014-04-16 | 0.0274 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS041614 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140900030 | 2014-04-11 | -0.0128 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS040914 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20140970041 | 2014-04-22 | 0.0785 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS042114 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141250079 | 2014-05-15 | 0.2576 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS051314 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141330197 | 2014-05-21 | -0.2386 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS052014 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141470141 | 2014-06-05 | 0.2147 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS060414 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141680084 | 2014-06-30 | 0.1109 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS063014 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141190023 | 2014-05-01 | 0.0041 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS050114 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141620028 | 2014-06-23 | 0.1351 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS062314 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141550059 | 2014-06-16 | 0.5249 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS061614 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141050004 | 2014-04-22 | -0.0109 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS042114 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141130018 | 2014-05-14 | 0.7725 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS051414 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141820116 | 2014-07-24 | 0.1841 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS072214 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141750148 | 2014-07-02 | 0.1852 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS070214 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141890086 | 2014-07-24 | 0.0889 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS072214 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20142030073 | 2014-07-31 | 0.0394 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS073014 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20142160067 | 2014-08-14 | -0.0977 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS081314 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20142090219 | 2014-08-13 | 0.0162 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS081314 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20142230074 | 2014-08-19 | 0.0494 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS081914 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20142470059 | 2014-09-16 | 0.0763 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS091514 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20142520025 | 2014-09-22 | 0.3495 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS092214 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20142590044 | 2014-09-29 | 0.1022 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS092914 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141960038 | 2014-07-29 | 0.0976 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS072814 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20142720094 | 2014-10-08 | 0.1598 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS100814 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20142650105 | 2014-10-01 | 0.2311 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS100114 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2014 | 20141400006 | 2014-05-30 | 0.063 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS052914 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20142790029 | 2014-10-15 | 0.0842 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS101414 | MS7
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20142880083 | 2014-11-04 | -0.0109 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS110314 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20142950118 | 2014-11-13 | 0.0225 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS111314 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143300033 | 2014-12-03 | 0.0089 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS120314 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143230039 | 2014-12-01 | 0.0241 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS120114 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143160023 | 2014-11-20 | 0.0969 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS112014 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143010060 | 2014-11-17 | 0.2854 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS111714 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143360075 | 2014-12-16 | 0.0377 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS121614 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143490025 | 2014-12-18 | -0.0044 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS121814 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143630004 | 2015-01-07 | 0.4731 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS010715 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143560047 | 2015-01-07 | 0.3181 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS010715 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143420017 | 2014-12-17 | 0.0357 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS121614 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150050012 | 2015-01-14 | 0.5467 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS011415 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150200032 | 2015-01-27 | 0.3611 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS012615 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150120018 | 2015-01-26 | 0.5199 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS012615 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150330023 | 2015-02-11 | 0.6416 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS021115 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150260010 | 2015-02-09 | -0.0266 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS020915 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150400030 | 2015-02-18 | 0.2968 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS021815 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150490022 | 2015-02-25 | 0.3799 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS022515 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20143080080 | 2014-11-18 | 0.0734 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS111714 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150690103 | 2015-03-18 | -0.0568 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS031615 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150610102 | 2015-03-18 | 0.1355 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS031615 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150540027 | 2015-04-10 | 0.1904 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS041015 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150850037 | 2015-04-10 | 0.3957 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS041015 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150970055 | 2015-04-16 | 0.1321 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS041415 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150900042 | 2015-04-11 | 0.053 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS041015 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20150770035 | 2015-04-07 | -0.0445 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS033115 | MS6
Vanadium, UNF, cICP-MS | 01087 | PLM11 | UNF | 2015 | 20151050032 | 2015-04-23 | 0.1316 | <1.00 | 1 | 3135 |  |  |  | ug/L | Blank | No | TCMS042215 | MS6