## V_UNF_ICP_01087PLA15
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070120015 | 2007-01-29 | 0.4666 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07029A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070180077 | 2007-01-29 | 0.0786 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07029A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070250016 | 2007-02-02 | -0.0506 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07033B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070400091 | 2007-02-21 | -0.1436 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07051B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070460002 | 2007-02-27 | -0.3406 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07058B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070540007 | 2007-03-06 | 0.2449 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07065B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070580125 | 2007-03-08 | 0.1802 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07067B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070650024 | 2007-03-15 | -0.5512 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07074B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070710064 | 2007-03-20 | 0.0455 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07079A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070780112 | 2007-03-23 | -0.2657 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07082B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070860221 | 2007-04-04 | -0.2798 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07093A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070930063 | 2007-04-11 | 0.3225 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07101A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20070990060 | 2007-04-19 | -0.1451 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07108B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071070006 | 2007-05-09 | 0.0463 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07129A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071130115 | 2007-05-11 | -0.3576 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07130B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071200077 | 2007-05-23 | -0.0625 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07142B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071280026 | 2007-05-24 | -0.0929 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07144A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071340089 | 2007-05-30 | -0.0474 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07149B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071410081 | 2007-06-05 | -0.2921 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07156A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071500037 | 2007-06-21 | 0.0273 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07170C | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071560005 | 2007-06-22 | -0.024 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07173B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071620040 | 2007-07-10 | -0.3226 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07191A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071690136 | 2007-08-02 | -0.4166 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07213B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071770213 | 2007-08-03 | 0.0862 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07215B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071830168 | 2007-08-10 | 0.1607 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07222A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20071900094 | 2007-08-10 | 0.381 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07222A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072040088 | 2007-08-16 | 0.1018 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07228B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072110148 | 2007-08-22 | 0.0943 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07234B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072210113 | 2007-09-05 | -0.2467 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07248B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072260187 | 2007-09-12 | 0.4132 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07255B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072330004 | 2007-09-18 | 0.202 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07261B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072400007 | 2007-09-20 | 0.2838 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07263B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072480022 | 2007-09-25 | -0.4654 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07268B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072540030 | 2007-10-17 | -0.1952 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07282B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072600123 | 2007-10-17 | -0.2925 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07282B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2007 | 20072670064 | 2007-10-26 | 0.2244 | <2 | 1 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07298B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20073020072 | 2007-11-27 | 0.7467 | E0.7 | 0.6 | 2370 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE07331B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20073170051 | 2007-12-07 | 0.7595 | E0.8 | 0.6 | 2370 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE07340B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080140020 | 2008-01-30 | 0.6628 | E0.7 | 0.6 | 2370 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE08030A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080360056 | 2008-03-06 | 0.6755 | E0.7 | 0.6 | 2370 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE08066A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080420064 | 2008-03-06 | 0.7823 | E0.8 | 0.6 | 2370 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE08066A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080980096 | 2008-04-23 | 0.6497 | E0.6 | 0.6 | 2370 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE08113B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082590095 | 2008-09-29 | 0.6487 | E0.6 | 0.6 | 2370 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE08273A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20072850030 | 2007-10-31 | -0.0837 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07304A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20072890062 | 2007-10-31 | 0.1159 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07304A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20072960180 | 2007-11-02 | 0.1007 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07306B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20073100008 | 2007-11-30 | 0.2432 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07333A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20073230115 | 2007-12-13 | -0.3957 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07347A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20073300036 | 2007-12-13 | -0.5998 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07347A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20073370087 | 2007-12-20 | -0.0664 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE07353B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20073440030 | 2008-01-10 | -0.1617 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08010B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20073510109 | 2008-01-18 | 0.0701 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08017B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20073620008 | 2008-01-24 | -0.3006 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08023B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080070030 | 2008-01-30 | 0.3014 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08030A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080230009 | 2008-02-11 | -0.2337 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08042B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080280055 | 2008-02-20 | -0.4669 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08050B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080510063 | 2008-03-20 | -0.6695 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08078A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080560064 | 2008-03-20 | -0.1758 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08078A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080630059 | 2008-03-21 | 0.3646 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08080A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080700085 | 2008-03-27 | 0.1647 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08084A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080770119 | 2008-04-09 | -0.0819 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08100B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080840052 | 2008-04-10 | 0.3228 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08101A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20080920081 | 2008-04-23 | 0.3493 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08113B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081050102 | 2008-05-16 | -0.3532 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08130A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081120022 | 2008-05-16 | -0.3241 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08130A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081190048 | 2008-05-23 | 0.2829 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08143B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081260065 | 2008-05-30 | -0.2575 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08150B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081330105 | 2008-05-30 | -0.0108 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08150B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081400072 | 2008-06-06 | -0.5351 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08158A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081480082 | 2008-06-12 | 0.0979 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08164A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081540118 | 2008-06-18 | -0.4192 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08170C | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081620022 | 2008-06-25 | -0.2409 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08177B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081680077 | 2008-06-26 | -0.274 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08178B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081750136 | 2008-07-22 | -0.0527 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08204B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081820058 | 2008-07-22 | -0.2036 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08204B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081890051 | 2008-07-23 | -0.2011 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08205B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20081970147 | 2008-07-24 | -0.0496 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08206A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082030114 | 2008-07-24 | 0.0937 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08206A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082190017 | 2008-08-14 | -0.0392 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08227A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082250022 | 2008-09-03 | 0.1863 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08247A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082310144 | 2008-08-28 | -0.0938 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08241A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082380085 | 2008-09-04 | 0.298 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08248B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082460113 | 2008-09-11 | 0.268 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08255B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082520020 | 2008-09-24 | 0.4727 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08267B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082660036 | 2008-09-29 | -0.2175 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08273A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2008 | 20082730083 | 2008-10-16 | 0.5042 | <1 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08289A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20082800048 | 2008-10-30 | 0.0873 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08303A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20082880048 | 2008-10-30 | -0.2532 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08303A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20082940064 | 2008-11-07 | -0.2316 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08312B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083010117 | 2008-11-21 | -0.1625 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08318C | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083080089 | 2008-12-01 | 0.3514 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08333A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083150072 | 2008-12-12 | -0.1034 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08346A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083220079 | 2008-12-12 | -0.1076 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08346A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083290068 | 2008-12-19 | 0.3594 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08354A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083360036 | 2008-12-19 | -0.2717 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE08354A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083450066 | 2009-01-06 | -0.405 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09005A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083500077 | 2009-01-09 | -0.1823 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09009A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083570040 | 2009-01-15 | 0.0326 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09015B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20083650090 | 2009-01-15 | 0.3306 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09015B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090050020 | 2009-02-02 | -0.0346 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09033B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090120044 | 2009-02-02 | -0.3614 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09033B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090200044 | 2009-02-04 | 0.0416 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09035B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090260038 | 2009-02-04 | -0.2617 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09035B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090330033 | 2009-02-04 | 0.2342 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09035B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090400044 | 2009-02-24 | 0.3398 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09054B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090480064 | 2009-03-04 | 0.1537 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09062B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090540048 | 2009-03-09 | -0.1269 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09065B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090610052 | 2009-03-13 | -0.1664 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09072A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090680051 | 2009-03-19 | -0.4172 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09078B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090750041 | 2009-04-03 | -0.3792 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09089B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090820031 | 2009-04-14 | 0.3418 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09103B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090890065 | 2009-04-14 | -0.1129 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09103B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20090960049 | 2009-04-21 | -0.0428 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09110A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091030074 | 2009-04-28 | -0.0821 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09117B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091110099 | 2009-05-12 | 0.361 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09131A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091170114 | 2009-05-07 | 0.7121 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09126B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091240118 | 2009-05-20 | -0.132 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09140B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091320016 | 2009-06-02 | -0.08 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09153B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091380116 | 2009-06-04 | -0.112 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09154B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091460180 | 2009-06-09 | 0.195 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09159B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091520145 | 2009-06-18 | -0.265 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09169C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091590079 | 2009-06-23 | -0.322 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09173B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091660198 | 2009-06-30 | -0.168 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09180B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091730210 | 2009-07-09 | -0.294 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09189B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091800178 | 2009-07-16 | -0.21 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09197B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091870017 | 2009-07-22 | -0.046 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09203B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20091950028 | 2009-08-06 | 0.207 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09217B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092010119 | 2009-08-06 | -0.274 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09217B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092090253 | 2009-08-19 | -0.17 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09230B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092150069 | 2009-08-19 | 0 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09230B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092220155 | 2009-08-26 | 0.15 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09238A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092290202 | 2009-09-02 | -0.001 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09244C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092360141 | 2009-09-11 | 0.065 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09253B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092430152 | 2009-09-25 | 0.026 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09268B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092520139 | 2009-09-30 | 0.11 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09272B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092570053 | 2009-09-30 | 0.097 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09272B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092640052 | 2009-10-21 | -0.029 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09287A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 20092720018 | 2009-11-12 | 0.022 | <1.80 | 0.9 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09314A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20092780078 | 2009-11-12 | -0.156 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09314A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20092870060 | 2009-11-12 | 0.068 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09314A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20092920085 | 2009-11-25 | 0.088 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09328B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093000116 | 2009-12-03 | 0.02 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09337A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093070155 | 2009-12-16 | -0.302 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09344A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093130071 | 2010-01-05 | 0.178 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE09357A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093200078 | 2010-01-11 | 0.128 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10005B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093280010 | 2010-01-20 | -0.008 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10019B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093360008 | 2010-01-20 | -0.079 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10019B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093420002 | 2010-01-22 | 0.05 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10020B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093480053 | 2010-01-22 | 0.088 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10020B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093560028 | 2010-01-26 | -0.025 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10026A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20093620027 | 2010-01-26 | 0.152 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10026A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100050016 | 2010-01-26 | 0.017 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10026A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100110088 | 2010-02-03 | 0.173 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10034A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100190097 | 2010-02-03 | -0.183 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10034A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100260069 | 2010-02-05 | -0.061 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10036B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100320028 | 2010-02-11 | 0.026 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10042A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100390044 | 2010-02-19 | -0.035 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10049B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100470038 | 2010-02-25 | -0.122 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10056A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100530053 | 2010-03-08 | 0.202 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10067B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100600062 | 2010-03-11 | 0.11 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10070A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100680101 | 2010-03-30 | -0.007 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10088B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100750005 | 2010-04-06 | 0.236 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10096B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100850044 | 2010-04-23 | -0.447 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10113B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100880037 | 2010-04-23 | -0.182 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10113B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20100950038 | 2010-04-23 | 0.469 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10113B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101020083 | 2010-05-07 | -0.028 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10125B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101090068 | 2010-05-14 | 0.32 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10134A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101170074 | 2010-05-18 | 0.048 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10138A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101240087 | 2010-06-03 | 0.502 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10153A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101310108 | 2010-06-15 | 0.049 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10165B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101380009 | 2010-06-15 | 0.596 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10165B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101450012 | 2010-06-22 | -0.011 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10172B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101530078 | 2010-06-24 | 0.193 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10174A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101590010 | 2010-06-29 | 0.121 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10180B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101660068 | 2010-07-16 | -0.173 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10197A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101730074 | 2010-07-22 | 0.118 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10202B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101790133 | 2010-07-28 | 0.072 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10208B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101870070 | 2010-07-28 | -0.102 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10208B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20101930099 | 2010-08-10 | -0.016 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10221B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102000198 | 2010-08-17 | 0.311 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10229B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102080008 | 2010-08-19 | -0.022 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10230B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102140109 | 2010-08-25 | 0.049 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10237B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102230042 | 2010-09-08 | 0.09 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10251B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102290119 | 2010-09-16 | 0.045 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10256C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102350194 | 2010-09-20 | 0.104 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10260A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102430244 | 2010-10-05 | -0.076 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10277B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102510067 | 2010-10-13 | -0.09 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10285B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102570002 | 2010-10-19 | 0.045 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10291B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102640141 | 2010-10-22 | -0.033 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10295A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2010 | 20102700151 | 2010-10-28 | 0.19 | <1.60 | 0.8 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10301B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20102770096 | 2010-10-28 | 0.305 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10301B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20102850140 | 2010-11-02 | -0.079 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10306A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20102920012 | 2010-11-17 | 0.059 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10320B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20102990022 | 2010-12-10 | -0.157 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10342B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20103060012 | 2010-11-29 | -0.081 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10333A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20103120036 | 2010-12-10 | -0.154 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10342B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20103190056 | 2010-12-10 | 0.068 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10342B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20103260072 | 2010-12-17 | 0.002 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE10350A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20103330107 | 2011-01-12 | -0.001 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11011B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20103400093 | 2011-01-04 | -0.081 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11003B | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20103470088 | 2011-01-12 | 0.026 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11011B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20103540037 | 2011-01-20 | 0.026 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11018B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20103610046 | 2011-01-20 | -0.05 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11018B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110030017 | 2011-02-03 | -0.02 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11034A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110110011 | 2011-02-03 | -0.045 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11034A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110180055 | 2011-02-03 | -0.086 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11034A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110240061 | 2011-02-08 | -0.132 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11039B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110400065 | 2011-02-22 | 0.015 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11053B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110410102 | 2011-02-22 | -0.025 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11053B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110450031 | 2011-03-01 | 0.045 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11059B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110530107 | 2011-03-08 | 0.079 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11067A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110590075 | 2011-03-10 | -0.072 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11069A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110660029 | 2011-03-24 | -0.144 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11083A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110750061 | 2011-04-07 | 0.104 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11089B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110800063 | 2011-04-13 | -0.001 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11103B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110870087 | 2011-04-15 | 0.108 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11104A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20110950049 | 2011-04-22 | -0.188 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11111B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111010112 | 2011-04-28 | 0.16 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11117B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111080069 | 2011-05-16 | -0.041 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11133B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111150118 | 2011-05-26 | 0.043 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11143B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111220079 | 2011-05-31 | 0.025 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11151B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111290052 | 2011-05-31 | -0.038 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11151B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111360131 | 2011-06-03 | -0.038 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11152A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111430210 | 2011-06-17 | -0.239 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11166B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111510156 | 2011-07-06 | 0.017 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11187B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111570065 | 2011-07-06 | 0.01 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11187B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111640062 | 2011-07-14 | -0.072 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11193A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111710119 | 2011-07-18 | -0.004 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11199A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111780152 | 2011-07-29 | -0.2 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11203B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111860067 | 2011-08-03 | 0.115 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11213B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20111920092 | 2011-08-11 | 0.061 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11222B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112010010 | 2011-08-16 | -0.132 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11228B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112060090 | 2011-08-19 | -0.055 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11230B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112130149 | 2011-08-24 | -0.333 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11235C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112200057 | 2011-08-24 | -0.305 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11235C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112300031 | 2011-09-14 | -0.144 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11256A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112360067 | 2011-09-22 | 0.013 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11264B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112500183 | 2011-10-12 | -0.033 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11280B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112510031 | 2011-10-12 | 0.083 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11280B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112560017 | 2011-10-24 | 0.128 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11286A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112630054 | 2011-10-24 | 0.219 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11286A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2011 | 20112690114 | 2011-10-25 | -0.18 | <0.60 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11293B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122700104 | 2012-11-01 | 0.016 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12303B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20112760059 | 2011-10-27 | -0.032 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11299A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20112840068 | 2011-11-07 | -0.113 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11311A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20112910121 | 2011-11-07 | 0.069 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11311A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20112970111 | 2011-11-15 | -0.256 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11319A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20113050101 | 2011-11-15 | -0.006 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11319A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20113110054 | 2011-11-22 | -0.063 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11326B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20113180156 | 2011-12-07 | -0.267 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11340A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20113250116 | 2011-12-20 | -0.462 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE11354A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20113320113 | 2012-01-06 | -0.014 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12004C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20113460134 | 2012-01-26 | -0.074 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12019A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20113490077 | 2012-01-26 | -0.078 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12019A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20113530133 | 2012-02-02 | 0.127 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12032B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20113610083 | 2012-02-02 | -0.005 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12032B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120030015 | 2012-02-02 | -0.094 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12032B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120090046 | 2012-02-14 | 0.069 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12044B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120180001 | 2012-02-28 | 0.07 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12055B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120230041 | 2012-02-28 | -0.031 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12055B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120310022 | 2012-03-02 | -0.33 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12061B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120370066 | 2012-03-02 | -0.255 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12061B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120450025 | 2012-03-09 | -0.193 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12066B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120530047 | 2012-03-21 | -0.123 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12079B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120580053 | 2012-03-27 | 0.135 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12083B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120660067 | 2012-03-29 | 0.098 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12087A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120730089 | 2012-04-03 | 0.008 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12093B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120790078 | 2012-04-10 | 0.075 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12096A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120870042 | 2012-04-17 | 0.011 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12107A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20120930054 | 2012-04-23 | -0.17 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12111A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121010023 | 2012-04-27 | -0.037 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12117B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121080018 | 2012-05-11 | -0.084 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12132B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121150099 | 2012-05-15 | 0.074 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12135B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121210119 | 2012-05-18 | -0.06 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12137A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121290083 | 2012-05-24 | -0.21 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12144B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121370044 | 2012-06-13 | 0.157 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12156C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121430018 | 2012-06-20 | 0.003 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12166B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121510028 | 2012-07-06 | -0.15 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12184A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121560120 | 2012-07-16 | -0.223 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12191C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121650051 | 2012-07-18 | 0.245 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12198B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121710009 | 2012-07-27 | -0.026 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12201B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121780043 | 2012-08-01 | 0.185 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12208C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121870013 | 2012-08-07 | -0.068 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12219B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121910030 | 2012-08-07 | -0.029 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12219B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20121990070 | 2012-08-10 | 0.164 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12221B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122050097 | 2012-08-14 | 0.114 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12227A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122140046 | 2012-08-17 | 0.099 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12230B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122190093 | 2012-09-12 | -0.126 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12256A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122280089 | 2012-09-12 | -0.104 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12256A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122350099 | 2012-09-21 | -0.015 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12263A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122410008 | 2012-10-02 | -0.29 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12269A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122490093 | 2012-10-23 | -0.153 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12290B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122550003 | 2012-10-25 | -0.071 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12297A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2012 | 20122690146 | 2012-11-01 | -0.004 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12303B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20123250054 | 2012-12-05 | 0.142 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12340B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130350022 | 2013-03-06 | -0.098 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13059B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130280031 | 2013-02-20 | -0.186 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13045B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20123120065 | 2012-11-26 | -0.032 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12331B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130700010 | 2013-04-02 | -0.122 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13086B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130840052 | 2013-04-16 | 0.118 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13105B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130930077 | 2013-04-25 | 0.069 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13109B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131220005 | 2013-05-22 | 0.049 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13140B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131270012 | 2013-05-22 | -0.002 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13140B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131120115 | 2013-05-10 | -0.207 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13129A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131350126 | 2013-06-20 | 0.143 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13165A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131430194 | 2013-06-20 | -0.158 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13165A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131550018 | 2013-07-12 | -0.482 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13189B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131150005 | 2013-05-10 | -0.188 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13129A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130770156 | 2013-04-09 | 0.035 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13091A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130520015 | 2013-03-21 | -0.285 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13077B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131090022 | 2013-05-10 | -0.264 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13129A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130630114 | 2013-03-26 | 0.158 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13080B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131500027 | 2013-07-03 | -0.069 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13179B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131640010 | 2013-07-29 | -0.059 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13206B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130570015 | 2013-03-26 | 0.12 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13080B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131700031 | 2013-08-08 | -0.244 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13220B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131770017 | 2013-08-19 | 0.062 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13227C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131900085 | 2013-08-29 | -0.047 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13235B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131830072 | 2013-08-29 | -0.03 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13235B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20131970035 | 2013-09-19 | 0.07 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13260B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132040017 | 2013-09-25 | -0.33 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13268B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132180182 | 2013-11-15 | -0.049 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13318A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132350016 | 2013-11-22 | -0.203 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13325A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132270016 | 2013-11-04 | 0.169 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13304B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132390010 | 2013-12-12 | 0.156 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13346A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132410006 | 2013-12-12 | 0.233 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13346A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132600006 | 2014-02-13 | 0.055 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14044A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132660092 | 2014-02-10 | -0.007 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14041B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132730131 | 2014-02-07 | 0.026 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14038A | ICP2
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132530108 | 2013-12-12 | 0.224 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13346A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20132120024 | 2013-10-23 | 0.121 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13294B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20123040113 | 2012-11-26 | -0.02 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12331B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20123200047 | 2012-12-03 | 1.045 | 1.05 | 0.6 | 2370 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE12338A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20122900092 | 2012-11-14 | 0.034 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12318A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20122980117 | 2012-11-20 | 0.054 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12325B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20123330004 | 2012-12-06 | 0.011 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12341A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20123390111 | 2012-12-27 | -0.175 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12361A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20123480050 | 2013-01-03 | -0.075 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13002B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20123530088 | 2013-01-03 | -0.023 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13002B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20123620005 | 2013-01-10 | -0.037 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13009B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130020008 | 2013-01-10 | 0.053 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13009B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130070051 | 2013-01-22 | -0.123 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13022B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130140067 | 2013-01-22 | -0.069 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13022B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130230093 | 2013-02-20 | -0.244 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13045B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20130420057 | 2013-03-06 | -0.072 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE13059B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20122830027 | 2012-11-08 | 0.245 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12310B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2013 | 20122750016 | 2012-11-08 | -0.109 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE12310B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20133170113 | 2014-02-14 | 0.061 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14045A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20133090091 | 2014-02-14 | -0.522 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14045A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20133500071 | 2014-02-14 | 0.052 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14045A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20133230013 | 2014-02-14 | 0.056 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14045A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20132970031 | 2014-02-10 | -0.002 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14041B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140270190 | 2014-02-25 | -0.071 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20133030020 | 2014-02-11 | -0.59 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14041C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140340021 | 2014-02-25 | -0.19 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20133300011 | 2014-02-13 | -0.093 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14044A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20133360016 | 2014-02-13 | -0.089 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14044A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140410013 | 2014-02-25 | -0.093 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140210046 | 2014-02-25 | -0.397 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140130045 | 2014-02-25 | -0.14 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140490013 | 2014-03-05 | -0.017 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14057A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20133580046 | 2014-02-24 | 0.003 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14050B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140070060 | 2014-02-25 | -0.045 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14050B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20133430103 | 2014-02-14 | -0.027 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14045A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140550043 | 2014-03-06 | -0.385 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14064B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140690020 | 2014-03-19 | 0.026 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14078B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140630116 | 2014-03-19 | 0.027 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14078B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140760038 | 2014-03-26 | 1.233 | 1.23 | 0.6 | 2370 |  |  |  | ug/L | Blank | Yes | ICPOE14084B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140840104 | 2014-03-31 | -0.193 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14087B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141330199 | 2014-06-24 | -0.022 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14170B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141250078 | 2014-06-24 | -0.153 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14170B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141550063 | 2014-06-26 | -0.02 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14177C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141190028 | 2014-05-06 | 0.079 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14126A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141050005 | 2014-04-23 | -0.014 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14112B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140970033 | 2014-04-23 | -0.067 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14112B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141400015 | 2014-06-13 | -0.077 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14163C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141680074 | 2014-07-14 | -0.007 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14191A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141820114 | 2014-07-21 | 0.042 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14199A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141890087 | 2014-07-25 | -0.411 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14206B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141130025 | 2014-05-06 | -0.26 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14126A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20142030072 | 2014-08-27 | 0.001 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14224B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20142230073 | 2014-09-24 | 0.132 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14260A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20140900024 | 2014-04-23 | -0.037 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14112B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141470139 | 2014-06-26 | -0.121 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14177C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141620026 | 2014-07-01 | -0.222 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14181B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141960040 | 2014-08-01 | -0.311 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14213B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20142160064 | 2014-09-18 | -0.142 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14245C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20142090215 | 2014-09-17 | -0.122 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14245C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20142520028 | 2014-10-27 | -0.257 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14296B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20142470060 | 2014-10-15 | 0.264 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14288A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20142650103 | 2014-11-04 | -0.095 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14302B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20142590043 | 2014-11-04 | 0.069 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14302B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20141750146 | 2014-07-15 | -0.181 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14196B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2014 | 20142720097 | 2014-11-04 | 0.078 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14302B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20142950123 | 2014-11-06 | 0.109 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14309C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20142880082 | 2014-11-06 | 0.141 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14309C | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143160026 | 2014-11-21 | 0.134 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14324B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143010058 | 2014-11-19 | 0.04 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14316A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143080082 | 2014-11-21 | -0.17 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14324B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143230041 | 2014-12-03 | -0.167 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14336B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143300032 | 2014-12-03 | 0.211 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14336B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143360071 | 2014-12-11 | 0.292 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14345B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150050017 | 2015-01-15 | -0.167 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15013A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143420014 | 2014-12-12 | -0.097 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14346B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150490020 | 2015-02-27 | 0.112 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15058A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143560042 | 2015-01-15 | -0.193 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15013A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143490029 | 2014-12-29 | -0.092 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14358A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150330019 | 2015-02-25 | -0.342 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15055A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150120021 | 2015-01-28 | 0.286 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15027A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20143630009 | 2015-01-15 | -0.172 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15013A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150260011 | 2015-02-10 | -0.289 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15040B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20142790027 | 2014-11-05 | -0.461 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE14309B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150200033 | 2015-01-28 | 0.434 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15027A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150400026 | 2015-02-25 | -0.073 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15055A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150540028 | 2015-03-12 | 0.034 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15063A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150770032 | 2015-03-27 | -0.008 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15085A | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150690100 | 2015-03-24 | -0.016 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15082B | ICP1
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2015 | 20150610100 | 2015-03-23 | -0.197 | <0.600 | 0.6 | 2370 |  |  |  | ug/L | Blank | No | ICPOE15082B | ICP1