## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1190148 | 2015-05-12 | 4.338 | 4.4125 | 98.3116 | -1.6884 | -0.19765 |  | 3421 | See result laboratory comment |  |  | ug/L | 25213-75211 | TCMS051115
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1620201 | 2015-07-20 | 1.802 | 1.8975 | 94.9671 | -5.0329 | -0.45103 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS072015
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1740034 | 2015-07-23 | 1.836 | 1.8975 | 96.7589 | -3.2411 | -0.29045 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS072215
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2230087 | 2015-09-10 | 2.31 | 2.2975 | 100.5441 | 0.54407 | 0.052519 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091015
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2370155 | 2015-09-19 | 2.308 | 2.2975 | 100.457 | 0.45702 | 0.044116 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091815
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1320073 | 2015-06-09 | 2.519 | 2.46 | 102.3984 | 2.3984 | 0.23725 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS060915
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1470115 | 2015-06-12 | 2.471 | 2.46 | 100.4472 | 0.44715 | 0.044233 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS061115
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1250074 | 2015-06-08 | 2.332 | 2.2975 | 101.5016 | 1.5016 | 0.14495 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS060615
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1390153 | 2015-06-10 | 2.405 | 2.2975 | 104.679 | 4.679 | 0.45166 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS060915
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2160028 | 2015-08-31 | 2.46 | 2.46 | 100 | 0 | 0 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS083115
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2320211 | 2015-09-17 | 2.519 | 2.46 | 102.3984 | 2.3984 | 0.23725 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS091515
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1880120 | 2015-08-12 | 4.056 | 4.4125 | 91.9207 | -8.0793 | -0.94582 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS081115
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2030107 | 2015-08-24 | 4.012 | 4.4125 | 90.9235 | -9.0765 | -1.0626 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS082415
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2520016 | 2015-09-29 | 3.732 | 3.78 | 98.7302 | -1.2698 | -0.14312 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS092915
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2660034 | 2015-10-07 | 3.709 | 3.78 | 98.1217 | -1.8783 | -0.2117 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS100715
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2450074 | 2015-09-25 | 1.792 | 1.8975 | 94.4401 | -5.5599 | -0.49826 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS092415
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2580071 | 2015-10-01 | 1.882 | 1.8975 | 99.1831 | -0.81686 | -0.073204 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS093015
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1530193 | 2015-06-12 | 3.779 | 3.78 | 99.9735 | -0.026455 | -0.0029817 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS061115
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1690074 | 2015-07-22 | 3.6 | 3.78 | 95.2381 | -4.7619 | -0.5367 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS072215
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 1950022 | 2015-08-13 | 1.777 | 1.8975 | 93.6495 | -6.3505 | -0.5691 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS081215
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2015 | 2090026 | 2015-08-25 | 1.862 | 1.8975 | 98.1291 | -1.8709 | -0.16766 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS082415
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2790069 | 2015-10-14 | 1.94 | 1.8975 | 102.2398 | 2.2398 | 0.20072 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS101315
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2930192 | 2015-11-04 | 1.82 | 1.8975 | 95.9157 | -4.0843 | -0.36602 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS110415
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0960078 | 2016-04-22 | 1.928 | 1.8975 | 101.6074 | 1.6074 | 0.14405 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCME042116
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1110067 | 2016-04-28 | 1.888 | 1.8975 | 99.4993 | -0.50066 | -0.044867 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS042816
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2870054 | 2015-10-27 | 4.158 | 4.22 | 98.5308 | -1.4692 | -0.25306 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T217 | TCMS102315
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 3000098 | 2015-11-05 | 4.178 | 4.22 | 99.0047 | -0.99526 | -0.17143 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T217 | TCMS110415
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1030064 | 2016-04-27 | 4.335 | 4.22 | 102.7251 | 2.7251 | 0.46939 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T217 | TCMS042616
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1170029 | 2016-04-28 | 4.282 | 4.22 | 101.4692 | 1.4692 | 0.25306 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T217 | TCMS042816
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1660104 | 2016-07-20 | 5.041 | 5.04 | 100.0198 | 0.019841 | 0.0031746 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T211 | TC071116B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1800078 | 2016-07-26 | 5.186 | 5.04 | 102.8968 | 2.8968 | 0.46349 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T211 | TC071416
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2150172 | 2016-09-03 | 10.8 | 10.7 | 100.9346 | 0.93458 | 0.16863 | 0.03 | 3421 |  |  |  | µg/L | T219 | TC083116
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2290123 | 2016-10-28 | 11.386 | 10.7 | 106.4112 | 6.4112 | 1.1568 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS16301A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 3140098 | 2015-11-20 | 1.529 | 1.6 | 95.5625 | -4.4375 | -0.68269 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T209 | TCMS111915
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 3290007 | 2015-12-18 | 1.54 | 1.6 | 96.25 | -3.75 | -0.57692 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T209 | TCMS121715
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1320064 | 2016-06-18 | 1.65 | 1.6 | 103.125 | 3.125 | 0.48077 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T209 | TC061716
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1460114 | 2016-06-24 | 1.542 | 1.6 | 96.375 | -3.625 | -0.55769 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T209 | TC062316
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 3070095 | 2015-11-17 | 10.52 | 10.7 | 98.3178 | -1.6822 | -0.30354 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T219 | TCMS111615
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 3210006 | 2015-12-10 | 10.84 | 10.7 | 101.3084 | 1.3084 | 0.23609 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T219 | TCMS120915
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1240108 | 2016-06-02 | 11.25 | 10.7 | 105.1402 | 5.1402 | 0.92749 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T219 | TC060116
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1400027 | 2016-06-18 | 10.84 | 10.7 | 101.3084 | 1.3084 | 0.23609 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T219 | TC061716
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0400035 | 2016-03-25 | 10.78 | 10.7 | 100.7477 | 0.74766 | 0.13491 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T219 | TCMS032516
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0540101 | 2016-04-09 | 10.97 | 10.7 | 102.5234 | 2.5234 | 0.45531 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T219 | TCMS040816
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0330057 | 2016-03-22 | 1.5908 | 1.6 | 99.425 | -0.575 | -0.088462 | 0.03 | 3421 | Sample was diluted | See result laboratory comment |  | µg/L | T209 | TCMS032216
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0480024 | 2016-03-31 | 1.712 | 1.6 | 107 | 7 | 1.0769 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T209 | TCMS033116
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2230020 | 2016-09-27 | 1.665 | 1.6 | 104.0625 | 4.0625 | 0.625 | 0.03 | 3421 |  |  |  | µg/L | T209 | 091916
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2360191 | 2016-10-08 | 1.71 | 1.6 | 106.875 | 6.875 | 1.0577 | 0.03 | 3421 |  |  |  | µg/L | T209 | ICPMS16281B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0120026 | 2016-01-21 | 1.917 | 1.8975 | 101.0277 | 1.0277 | 0.092095 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS012116
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0260031 | 2016-02-05 | 1.901 | 1.8975 | 100.1845 | 0.18445 | 0.01653 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS020416
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0050023 | 2016-01-20 | 4.127 | 4.22 | 97.7962 | -2.2038 | -0.37959 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T217 | TCMS012016
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0200028 | 2016-02-04 | 4.228 | 4.22 | 100.1896 | 0.18957 | 0.032653 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T217 | TCMS020416
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1880119 | 2016-08-20 | 4.258 | 4.22 | 100.9005 | 0.90047 | 0.1551 | 0.03 | 3421 |  |  |  | µg/L | T217 | TC081916
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2010272 | 2016-08-09 | 4.299 | 4.22 | 101.872 | 1.872 | 0.32245 | 0.03 | 3421 |  |  |  | µg/L | T217 | TC080516
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0750071 | 2016-04-21 | 5.823 | 5.69 | 102.3374 | 2.3374 | 0.46749 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T215 | TCMS042016
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0890172 | 2016-04-22 | 5.783 | 5.69 | 101.6344 | 1.6344 | 0.32689 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T215 | TCME042116
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2580002 | 2016-11-10 | 5.8 | 5.69 | 101.9332 | 1.9332 | 0.38664 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS16291B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2710083 | 2016-11-29 | 6.17 | 5.69 | 108.4359 | 8.4359 | 1.6872 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS16333A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0690046 | 2016-04-20 | 5.333 | 5.04 | 105.8135 | 5.8135 | 0.93016 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T211 | TCMS042016
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 0820024 | 2016-04-22 | 5.461 | 5.04 | 108.3532 | 8.3532 | 1.3365 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T211 | TCME042116
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2520013 | 2016-10-13 | 5.17 | 5.04 | 102.5794 | 2.5794 | 0.4127 | 0.03 | 3421 |  |  |  | µg/L | T211 | ICPMS16287A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2640186 | 2016-11-29 | 5.488 | 5.04 | 108.8889 | 8.8889 | 1.4222 | 0.03 | 3421 |  |  |  | µg/L | T211 | ICPMS16333A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 3500111 | 2016-01-04 | 4.961 | 5.04 | 98.4325 | -1.5675 | -0.25079 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T211 | TCMS010416
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 3630067 | 2016-01-05 | 4.914 | 5.04 | 97.5 | -2.5 | -0.4 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T211 | TCMS010416
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 3420099 | 2015-12-21 | 5.571 | 5.69 | 97.9086 | -2.0914 | -0.41828 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T215 | TCMS122115
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 3560097 | 2016-01-05 | 5.658 | 5.69 | 99.4376 | -0.56239 | -0.11248 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T215 | TCMS010416
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1590119 | 2016-06-30 | 5.819 | 5.69 | 102.2671 | 2.2671 | 0.45343 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T215 | TC062916
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1740273 | 2016-07-26 | 5.681 | 5.69 | 99.8418 | -0.15817 | -0.031634 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T215 | TC071416
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 1940102 | 2016-08-08 | 1.895 | 1.8975 | 99.8682 | -0.13175 | -0.011807 | 0.03 | 3421 |  |  |  | µg/L | 75213-25DIW | TC080516
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2016 | 2080216 | 2016-08-20 | 1.924 | 1.8975 | 101.3966 | 1.3966 | 0.12515 | 0.03 | 3421 |  |  |  | µg/L | 75213-25DIW | TC081916
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2780114 | 2017-01-25 | 14.53 | 14 | 103.7857 | 3.7857 | 0.75714 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17024B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2940163 | 2017-01-11 | 15.75 | 14 | 112.5 | 12.5 | 2.5 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17011B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0940130 | 2017-06-23 | 15.1402 | 14 | 108.1443 | 8.1443 | 1.6289 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17174A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1080100 | 2017-06-23 | 15.0314 | 14 | 107.3671 | 7.3671 | 1.4734 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17174A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2860091 | 2016-11-29 | 4.54 | 4.22 | 107.5829 | 7.5829 | 1.3061 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS16334B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 3000017 | 2016-12-05 | 4.39 | 4.22 | 104.0284 | 4.0284 | 0.69388 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS16340A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1020077 | 2017-05-10 | 4.3077 | 4.22 | 102.0782 | 2.0782 | 0.35796 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS17129A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1150158 | 2017-05-10 | 4.2965 | 4.22 | 101.8128 | 1.8128 | 0.31224 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS17129A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 3200136 | 2016-12-07 | 7.7 | 7.04 | 109.375 | 9.375 | 1.875 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS16342A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 3370119 | 2016-12-13 | 7.63 | 7.04 | 108.3807 | 8.3807 | 1.6761 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS16348A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1290178 | 2017-06-20 | 7.6683 | 7.04 | 108.9247 | 8.9247 | 1.7849 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS17171A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1430168 | 2017-06-22 | 7.2759 | 7.04 | 103.3509 | 3.3509 | 0.67017 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS17172C
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 3130044 | 2017-01-26 | 11.01 | 10.7 | 102.8972 | 2.8972 | 0.52277 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS17026A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 3270122 | 2017-01-26 | 11.38 | 10.7 | 106.3551 | 6.3551 | 1.1467 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS17026A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1220113 | 2017-06-24 | 11.542 | 10.7 | 107.8692 | 7.8692 | 1.4199 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS17174A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1370163 | 2017-06-27 | 10.905 | 10.7 | 101.9159 | 1.9159 | 0.3457 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS17177A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0380073 | 2017-03-23 | 10.9356 | 10.7 | 102.2019 | 2.2019 | 0.3973 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS17080A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0540066 | 2017-04-07 | 11.0348 | 10.7 | 103.129 | 3.129 | 0.56459 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS17095B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2270191 | 2017-10-10 | 11.0555 | 10.7 | 103.3224 | 3.3224 | 0.59949 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS17283A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2410214 | 2017-10-19 | 10.7029 | 10.7 | 100.0271 | 0.027103 | 0.0048904 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS17292B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0330060 | 2017-03-08 | 7.2524 | 7.04 | 103.017 | 3.017 | 0.60341 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS17065A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0450117 | 2017-03-23 | 7.3695 | 7.04 | 104.6804 | 4.6804 | 0.93608 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS17080A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2200291 | 2017-10-02 | 7.3074 | 7.04 | 103.7983 | 3.7983 | 0.75966 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS17275A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2340157 | 2017-10-05 | 8.2807 | 7.04 | 117.6236 | 17.6236 | 3.5247 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS17277B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0100050 | 2017-03-08 | 14.3381 | 14 | 102.415 | 2.415 | 0.483 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17065A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0240086 | 2017-03-08 | 14.1533 | 14 | 101.095 | 1.095 | 0.219 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17065A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1920149 | 2017-09-27 | 14.8362 | 14 | 105.9729 | 5.9729 | 1.1946 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17270A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2060194 | 2017-10-04 | 14.2642 | 14 | 101.8871 | 1.8871 | 0.37743 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17276C
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0040033 | 2017-03-09 | 4.76 | 4.22 | 112.7962 | 12.7962 | 2.2041 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS17065A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0190006 | 2017-02-23 | 4.4201 | 4.22 | 104.7417 | 4.7417 | 0.81673 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS17053A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1870005 | 2017-07-20 | 4.5396 | 4.22 | 107.5735 | 7.5735 | 1.3045 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS17201A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1990222 | 2017-09-28 | 4.2719 | 4.22 | 101.2299 | 1.2299 | 0.21184 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T217 | ICPMS17271A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0730075 | 2017-03-28 | 5.7578 | 5.69 | 101.1916 | 1.1916 | 0.23831 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS17087A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0870131 | 2017-04-12 | 5.8654 | 5.69 | 103.0826 | 3.0826 | 0.61652 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS17101A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2560128 | 2017-10-18 | 5.2807 | 5.69 | 92.8067 | -7.1933 | -1.4387 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS17289C
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2690198 | 2017-12-01 | 6.0809 | 5.69 | 106.8699 | 6.8699 | 1.374 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS17324A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0660085 | 2017-06-19 | 5.4246 | 5.04 | 107.631 | 7.631 | 1.221 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T211 | ICPMS17170A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 0800017 | 2017-03-28 | 5.174 | 5.04 | 102.6587 | 2.6587 | 0.4254 | 0.03 | 3421 |  |  |  | µg/L | T211 | ICPMS17087A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2500006 | 2017-10-16 | 5.1345 | 5.04 | 101.875 | 1.875 | 0.3 | 0.03 | 3421 |  |  |  | µg/L | T211 | ICPMS17289B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 2620203 | 2017-10-17 | 4.8774 | 5.04 | 96.7738 | -3.2262 | -0.51619 | 0.03 | 3421 |  |  |  | µg/L | T211 | ICPMS17289C
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 3480033 | 2017-01-31 | 5 | 5.04 | 99.2063 | -0.79365 | -0.12698 | 0.03 | 3421 |  |  |  | µg/L | T211 | ICPMS17031B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 3630023 | 2017-03-09 | 5.05 | 5.04 | 100.1984 | 0.19841 | 0.031746 | 0.03 | 3421 |  |  |  | µg/L | T211 | ICPMS17065A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1640178 | 2017-07-19 | 5.2607 | 5.04 | 104.379 | 4.379 | 0.70063 | 0.03 | 3421 |  |  |  | µg/L | T211 | ICPMS17200B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1780227 | 2017-07-20 | 5.3569 | 5.04 | 106.2877 | 6.2877 | 1.006 | 0.03 | 3421 |  |  |  | µg/L | T211 | ICPMS17201A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 3410125 | 2017-01-31 | 5.66 | 5.69 | 99.4728 | -0.52724 | -0.10545 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS17031B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 3550006 | 2017-01-31 | 5.63 | 5.69 | 98.9455 | -1.0545 | -0.2109 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS17031B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1570092 | 2017-06-27 | 5.7087 | 5.69 | 100.3286 | 0.32865 | 0.065729 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS17178A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2017 | 1710241 | 2017-06-30 | 6.0696 | 5.69 | 106.6714 | 6.6714 | 1.3343 | 0.03 | 3421 |  |  |  | µg/L | T215 | ICPMS17180A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2760114 | 2017-12-22 | 13.7848 | 14 | 98.4629 | -1.5371 | -0.30743 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17345B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2910001 | 2017-12-13 | 14.2703 | 14 | 101.9307 | 1.9307 | 0.38614 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS17346B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0930126 | 2018-05-11 | 14.2237 | 14 | 101.5979 | 1.5979 | 0.31957 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS18130A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1080117 | 2018-05-11 | 14.1514 | 14 | 101.0814 | 1.0814 | 0.21629 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS18130A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2860038 | 2017-12-05 | 4.3793 | 4.22 | 103.7749 | 3.7749 | 0.6502 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS17339B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2970215 | 2017-12-06 | 4.1681 | 4.22 | 98.7701 | -1.2299 | -0.21184 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS17339C
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1020132 | 2018-05-01 | 4.1099 | 4.22 | 97.391 | -2.609 | -0.44939 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS18121B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1140191 | 2018-05-08 | 4.1303 | 4.22 | 97.8744 | -2.1256 | -0.36612 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS18127A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 3180171 | 2017-12-13 | 7.6802 | 7.04 | 109.0938 | 9.0938 | 1.8188 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS17346B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 3330004 | 2017-12-27 | 7.0998 | 7.04 | 100.8494 | 0.84943 | 0.16989 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS17361A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1350128 | 2018-06-06 | 7.0942 | 7.04 | 100.7699 | 0.76989 | 0.15398 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS18157B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1500140 | 2018-06-18 | 7.1377 | 7.04 | 101.3878 | 1.3878 | 0.27756 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS18169A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 3110098 | 2017-12-21 | 11.1675 | 10.7 | 104.3692 | 4.3692 | 0.78836 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS17353C
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 3250154 | 2018-01-10 | 10.7189 | 10.7 | 100.1766 | 0.17664 | 0.031872 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS18010B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1280142 | 2018-06-05 | 10.7998 | 10.7 | 100.9327 | 0.93271 | 0.1683 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS18156B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1420223 | 2018-06-18 | 10.558 | 10.7 | 98.6729 | -1.3271 | -0.23946 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS18169A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0440095 | 2018-03-14 | 8.9128 | 10.7 | 83.2972 | -16.7028 | -3.0138 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS18071A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0580118 | 2018-03-28 | 10.9582 | 10.7 | 102.4131 | 2.4131 | 0.43541 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS18086B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2260149 | 2018-09-20 | 10.7773 | 10.7 | 100.7224 | 0.72243 | 0.13035 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS18253A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2410018 | 2018-09-26 | 10.3968 | 10.7 | 97.1664 | -2.8336 | -0.5113 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T219 | ICPMS18269A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0370095 | 2018-02-21 | 7.3166 | 7.04 | 103.929 | 3.929 | 0.7858 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS18051B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0520070 | 2018-03-13 | 7.0644 | 7.04 | 100.3466 | 0.34659 | 0.069318 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS18071A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2200026 | 2018-08-21 | 6.9604 | 7.04 | 98.8693 | -1.1307 | -0.22614 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T223 | ICPMS18233A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2330199 | 2018-08-28 | 7.0728 | 7.04 | 100.4659 | 0.46591 | 0.093182 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS18240A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0170071 | 2018-02-13 | 14.2354 | 14 | 101.6814 | 1.6814 | 0.33629 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS18039A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0300092 | 2018-02-21 | 14.2188 | 14 | 101.5629 | 1.5629 | 0.31257 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS18051B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1910179 | 2018-08-02 | 13.9444 | 14 | 99.6029 | -0.39714 | -0.079429 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS18214B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2050299 | 2018-08-20 | 14.0353 | 14 | 100.2521 | 0.25214 | 0.050429 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS18232B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0100019 | 2018-01-25 | 4.1873 | 4.22 | 99.2251 | -0.77488 | -0.13347 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS18024B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0240044 | 2018-02-13 | 4.4083 | 4.22 | 104.4621 | 4.4621 | 0.76857 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS18039A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1840099 | 2018-07-26 | 4.0386 | 4.22 | 95.7014 | -4.2986 | -0.74041 | 0.03 | 3421 |  |  |  | µg/L | T217 | ICPMS18201A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1990130 | 2018-08-02 | 4.1219 | 4.22 | 97.6754 | -2.3246 | -0.40041 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T217 | ICPMS18214B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0730071 | 2018-04-04 | 25.241 | 24.2 | 104.3017 | 4.3017 | 0.86033 | 0.03 | 3421 | Value verified by rerun, same method | Sample was diluted |  | µg/L | T227 | ICPMS18093B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0860122 | 2018-05-01 | 24.631 | 24.2 | 101.781 | 1.781 | 0.3562 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS18120B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2550005 | 2018-09-28 | 24.6094 | 24.2 | 101.6917 | 1.6917 | 0.33835 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS18269B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2680171 | 2018-10-29 | 24.5605 | 24.2 | 101.4897 | 1.4897 | 0.29793 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS18299B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0650045 | 2018-03-21 | 2.3186 | 2.6 | 89.1769 | -10.8231 | -1.2563 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS18079A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 0790092 | 2018-05-23 | 2.4004 | 2.6 | 92.3231 | -7.6769 | -0.89107 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T225 | ICPMS18142A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2490026 | 2018-09-19 | 2.2372 | 2.6 | 86.0462 | -13.9538 | -1.6196 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T225 | ICPMS18261B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 2610146 | 2018-10-04 | 2.3199 | 2.6 | 89.2269 | -10.7731 | -1.2504 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS18271B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 3460079 | 2018-01-04 | 2.3621 | 2.6 | 90.85 | -9.15 | -1.0621 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS18004A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 3610007 | 2018-01-11 | 2.3791 | 2.6 | 91.5038 | -8.4962 | -0.98616 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS18010B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1640022 | 2018-07-30 | 2.2777 | 2.6 | 87.6038 | -12.3962 | -1.4388 | 0.03 | 3421 | Value verified by rerun, same method |  |  | µg/L | T225 | ICPMS18211A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1770196 | 2018-08-02 | 2.244 | 2.6 | 86.3077 | -13.6923 | -1.5893 | 0.03 | 3421 | Value verified by rerun, same method |  |  | µg/L | T225 | ICPMS18211B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 3390056 | 2018-01-10 | 24.5951 | 24.2 | 101.6326 | 1.6326 | 0.32653 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS18010B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 3540001 | 2018-01-31 | 24.8942 | 24.2 | 102.8686 | 2.8686 | 0.57372 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS18031A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1560173 | 2018-07-30 | 23.161 | 24.2 | 95.7066 | -4.2934 | -0.85868 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS18211A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2018 | 1700199 | 2018-08-08 | 24.1946 | 24.2 | 99.9777 | -0.022314 | -0.0044628 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS18219B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2760034 | 2018-11-14 | 14.7091 | 14 | 105.065 | 5.065 | 1.013 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS18318B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2890061 | 2018-11-14 | 15.203 | 14 | 108.5929 | 8.5929 | 1.7186 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS18318B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 0920065 | 2019-05-24 | 13.9305 | 14 | 99.5036 | -0.49643 | -0.099286 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS19135A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1060103 | 2019-06-04 | 13.4755 | 14 | 96.2536 | -3.7464 | -0.74929 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS19149A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2830105 | 2018-10-29 | 3.4252 | 3.5 | 97.8629 | -2.1371 | -0.42743 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS18299B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2960205 | 2018-11-27 | 3.4925 | 3.5 | 99.7857 | -0.21429 | -0.042857 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS18324A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 0990128 | 2019-05-06 | 3.4853 | 3.5 | 99.58 | -0.42 | -0.084 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19122B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1130095 | 2019-05-06 | 3.4087 | 3.5 | 97.3914 | -2.6086 | -0.52171 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS19122B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 3180066 | 2019-02-07 | 6.7668 | 7.04 | 96.1193 | -3.8807 | -0.77614 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T223 | ICPMS19036B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 3320104 | 2019-02-11 | 7.3539 | 7.04 | 104.4588 | 4.4588 | 0.89176 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19042A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1340212 | 2019-06-06 | 7.3012 | 7.04 | 103.7102 | 3.7102 | 0.74205 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS19157A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1490062 | 2019-06-24 | 7.5246 | 7.04 | 106.8835 | 6.8835 | 1.3767 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS19169A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 3100174 | 2019-02-05 | 0.0418 | 0.055 | 76 | -24 | -0.73333 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS19035A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 3270026 | 2019-02-12 | 0.043 | 0.055 | 78.1818 | -21.8182 | -0.66667 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS19042A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1280117 | 2019-06-05 | 0.0436 | 0.055 | 79.2727 | -20.7273 | -0.63333 | 0.03 | 3421 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T231 | ICPMS19154A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1410229 | 2019-06-12 | 0.0399 | 0.055 | 72.5455 | -27.4545 | -0.83889 | 0.03 | 3421 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T231 | ICPMS19158A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 0570186 | 2019-04-08 | 0.0391 | 0.055 | 71.0909 | -28.9091 | -0.88333 | 0.03 | 3421 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T231 | ICPMS19098A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2250166 | 2019-09-04 | 0.0433 | 0.055 | 78.7273 | -21.2727 | -0.65 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS19247A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2390203 | 2019-09-23 | 0.0364 | 0.055 | 66.1818 | -33.8182 | -1.0333 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS19266A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 0520007 | 2019-04-09 | 7.1891 | 7.04 | 102.1179 | 2.1179 | 0.42358 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T223 | ICPMS19098A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2180150 | 2019-08-29 | 7.1164 | 7.04 | 101.0852 | 1.0852 | 0.21705 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS19239B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2320181 | 2019-09-09 | 7.2193 | 7.04 | 102.5469 | 2.5469 | 0.50937 | 0.03 | 3421 |  |  |  | µg/L | T223 | ICPMS19252A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1900100 | 2019-08-27 | 14.1372 | 14 | 100.98 | 0.98 | 0.196 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS19238A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2050046 | 2019-08-27 | 14.1381 | 14 | 100.9864 | 0.98643 | 0.19729 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T221 | ICPMS19238A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1830106 | 2019-08-02 | 3.3316 | 3.5 | 95.1886 | -4.8114 | -0.96229 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19214A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2000016 | 2019-08-20 | 3.431 | 3.5 | 98.0286 | -1.9714 | -0.39429 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19231B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 0720020 | 2019-04-27 | 25.0365 | 24.2 | 103.4566 | 3.4566 | 0.69132 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS19114A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 0860006 | 2019-05-24 | 24.1887 | 24.2 | 99.9533 | -0.046694 | -0.0093388 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS19135A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2550075 | 2019-10-09 | 21.0438 | 24.2 | 86.9579 | -13.0421 | -2.6084 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS19282B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2680149 | 2019-12-18 | 25.1765 | 24.2 | 104.0351 | 4.0351 | 0.80702 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS19350A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 0640092 | 2019-04-17 | 2.4354 | 2.6 | 93.6692 | -6.3308 | -0.73482 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19105A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 0780096 | 2019-04-26 | 2.4517 | 2.6 | 94.2962 | -5.7038 | -0.66205 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19114A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2470180 | 2019-10-02 | 2.4937 | 2.6 | 95.9115 | -4.0885 | -0.47455 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS19274A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 2600328 | 2019-10-09 | 2.5071 | 2.6 | 96.4269 | -3.5731 | -0.41473 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T225 | ICPMS19282B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 3450114 | 2019-03-07 | 2.3596 | 2.6 | 90.7538 | -9.2462 | -1.0732 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS19065A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1620136 | 2019-07-03 | 2.4323 | 2.6 | 93.55 | -6.45 | -0.74866 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS19183B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1760173 | 2019-07-03 | 2.3456 | 2.6 | 90.2154 | -9.7846 | -1.1357 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS19184B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 3400024 | 2019-03-06 | 24.6469 | 24.2 | 101.8467 | 1.8467 | 0.36934 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS19065A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 3530016 | 2019-02-20 | 25.051 | 24.2 | 103.5165 | 3.5165 | 0.70331 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS19045B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1550162 | 2019-07-23 | 23.6475 | 24.2 | 97.7169 | -2.2831 | -0.45661 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS19203A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2019 | 1690137 | 2019-07-23 | 22.9203 | 24.2 | 94.712 | -5.288 | -1.0576 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS19203A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2810114 | 2019-12-10 | 2.4707 | 2.5 | 98.828 | -1.172 | -0.19276 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS19338A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2950100 | 2019-12-16 | 2.4868 | 2.5 | 99.472 | -0.528 | -0.086842 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T233 | ICPMS19347B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0980043 | 2020-04-23 | 2.4637 | 2.5 | 98.548 | -1.452 | -0.23882 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS20114A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 1120049 | 2020-05-04 | 2.4637 | 2.5 | 98.548 | -1.452 | -0.23882 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS20125B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2890221 | 2019-12-12 | 3.4596 | 3.5 | 98.8457 | -1.1543 | -0.23086 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19344B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 3030027 | 2019-12-18 | 3.4752 | 3.5 | 99.2914 | -0.70857 | -0.14171 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19350A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 1060059 | 2020-04-23 | 3.4435 | 3.5 | 98.3857 | -1.6143 | -0.32286 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20114A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 3090147 | 2019-12-30 | 0.0391 | 0.055 | 71.0909 | -28.9091 | -0.88333 | 0.03 | 3421 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T231 | ICPMS19364A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 3230099 | 2019-12-30 | 0.0437 | 0.055 | 79.4545 | -20.5455 | -0.62778 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS19364A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0420076 | 2020-03-03 | 0.0472 | 0.055 | 85.8182 | -14.1818 | -0.43333 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS20063B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0560053 | 2020-03-04 | 0.0355 | 0.055 | 64.5455 | -35.4545 | -1.0833 | 0.03 | 3421 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T231 | ICPMS20064A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2240092 | 2020-09-24 | 0.0325 | 0.055 | 59.0909 | -40.9091 | -1.25 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS20276A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2390027 | 2020-09-29 | 0.0493 | 0.055 | 89.6364 | -10.3636 | -0.31667 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS20273A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0150017 | 2020-02-03 | 2.5438 | 2.5 | 101.752 | 1.752 | 0.28816 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS20031A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0280070 | 2020-02-03 | 2.5477 | 2.5 | 101.908 | 1.908 | 0.31382 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS20031A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 1960126 | 2020-10-13 | 2.5198 | 2.5 | 100.792 | 0.792 | 0.13026 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS20283A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2120199 | 2020-10-13 | 2.5271 | 2.5 | 101.084 | 1.084 | 0.17829 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS20283A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0070044 | 2020-01-21 | 3.4452 | 3.5 | 98.4343 | -1.5657 | -0.31314 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20021A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0220109 | 2020-02-03 | 3.5252 | 3.5 | 100.72 | 0.72 | 0.144 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20031A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 1890182 | 2020-09-02 | 3.3998 | 3.5 | 97.1371 | -2.8629 | -0.57257 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS20245B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2040025 | 2020-09-03 | 3.515 | 3.5 | 100.4286 | 0.42857 | 0.085714 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS20247B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0700103 | 2020-05-04 | 24.9711 | 24.2 | 103.1864 | 3.1864 | 0.63727 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS20125B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0840029 | 2020-06-02 | 23.1523 | 24.2 | 95.6707 | -4.3293 | -0.86587 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS20153B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2590164 | 2020-12-29 | 25.5042 | 24.2 | 105.3893 | 5.3893 | 1.0779 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS20350A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2740056 | 2020-12-29 | 25.7706 | 24.2 | 106.4901 | 6.4901 | 1.298 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS20350A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0630051 | 2020-09-21 | 2.5126 | 2.6 | 96.6385 | -3.3615 | -0.39018 | 0.03 | 3421 | Holding time exceeded | Sample was diluted | See result laboratory comment | µg/L | T225 | ICPMS20265B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 0770114 | 2020-09-21 | 2.526 | 2.6 | 97.1538 | -2.8462 | -0.33036 | 0.03 | 3421 | Holding time exceeded | Sample was diluted | See result laboratory comment | µg/L | T225 | ICPMS20265B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2530137 | 2020-12-15 | 2.461 | 2.6 | 94.6538 | -5.3462 | -0.62054 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS20346A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 2670298 | 2020-12-30 | 2.5284 | 2.6 | 97.2462 | -2.7538 | -0.31964 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS20350A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 3440294 | 2020-01-30 | 2.5174 | 2.6 | 96.8231 | -3.1769 | -0.36875 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS20030A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 3600045 | 2020-01-21 | 2.3788 | 2.6 | 91.4923 | -8.5077 | -0.9875 | 0.03 | 3421 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20021A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 1610191 | 2020-07-01 | 2.3689 | 2.6 | 91.1115 | -8.8885 | -1.0317 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS20182B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 1760101 | 2020-08-28 | 2.3632 | 2.6 | 90.8923 | -9.1077 | -1.0571 | 0.03 | 3421 |  |  |  | µg/L | T225 | ICPMS20240A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 3370103 | 2020-01-30 | 24.5817 | 24.2 | 101.5773 | 1.5773 | 0.31545 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS20030A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 3510023 | 2020-01-30 | 23.0468 | 24.2 | 95.2347 | -4.7653 | -0.95306 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS20030A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 1550007 | 2020-08-28 | 24.4292 | 24.2 | 100.9471 | 0.94711 | 0.18942 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS20240A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2020 | 1680149 | 2020-09-21 | 25.1065 | 24.2 | 103.7459 | 3.7459 | 0.74917 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T227 | ICPMS20265B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 2810032 | 2020-10-22 | 2.4768 | 2.5 | 99.072 | -0.928 | -0.15263 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS20296B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 2950028 | 2021-01-30 | 2.5259 | 2.5 | 101.036 | 1.036 | 0.17039 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS21028C
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0970048 | 2021-05-21 | 2.4432 | 2.5 | 97.728 | -2.272 | -0.37368 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS21140A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1110004 | 2021-06-02 | 2.5077 | 2.5 | 100.308 | 0.308 | 0.050658 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS21153A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 2880069 | 2020-12-30 | 3.5362 | 3.5 | 101.0343 | 1.0343 | 0.20686 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS20350A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 3010155 | 2021-01-14 | 3.4898 | 3.5 | 99.7086 | -0.29143 | -0.058286 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS21013B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1030144 | 2021-05-26 | 3.4811 | 3.5 | 99.46 | -0.54 | -0.108 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T229 | ICPMS21145B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1180038 | 2021-06-16 | 3.5075 | 3.5 | 100.2143 | 0.21429 | 0.042857 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS21167B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 3080107 | 2021-01-14 | 0.0395 | 0.055 | 71.8182 | -28.1818 | -0.86111 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21013B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 3230039 | 2021-01-27 | 0.0334 | 0.055 | 60.7273 | -39.2727 | -1.2 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21026B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1250004 | 2021-06-16 | 0.0476 | 0.055 | 86.5455 | -13.4545 | -0.41111 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21167B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1380139 | 2021-07-02 | 0.0387 | 0.055 | 70.3636 | -29.6364 | -0.90556 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21182B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0330077 | 2021-04-21 | 0.03 | 0.055 | 54.5455 | -45.4545 | -1.3889 | 0.03 | 3421 |  |  |  | µg/L | T231 | ICPMS21110A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0480038 | 2021-05-04 | 0.0376 | 0.055 | 68.3636 | -31.6364 | -0.96667 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21124A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 2220178 | 2021-09-23 | 0.0395 | 0.055 | 71.8182 | -28.1818 | -0.86111 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21258B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 2150046 | 2021-08-30 | 0.0338 | 0.028 | 120.7143 | 20.7143 | 0.38667 | 0.03 | 3421 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS21242B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0120036 | 2021-04-20 | 2.4412 | 2.5 | 97.648 | -2.352 | -0.38684 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS21110A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0270078 | 2021-04-20 | 2.4814 | 2.5 | 99.256 | -0.744 | -0.12237 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS21110A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1940229 | 2021-08-16 | 2.466 | 2.5 | 98.64 | -1.36 | -0.22368 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS21228B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 2080172 | 2021-08-19 | 2.5176 | 2.5 | 100.704 | 0.704 | 0.11579 | 0.03 | 3421 |  |  |  | µg/L | T233 | ICPMS21230A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0050024 | 2021-04-21 | 3.4712 | 3.5 | 99.1771 | -0.82286 | -0.16457 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T229 | ICPMS21110A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0210015 | 2021-04-21 | 3.5288 | 3.5 | 100.8229 | 0.82286 | 0.16457 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T229 | ICPMS21110A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1880114 | 2021-08-11 | 3.4219 | 3.5 | 97.7686 | -2.2314 | -0.44629 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS21222B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 2010231 | 2021-08-19 | 3.4958 | 3.5 | 99.88 | -0.12 | -0.024 | 0.03 | 3421 |  |  |  | µg/L | T229 | ICPMS21230A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0680063 | 2021-05-14 | 2.1363 | 2.05 | 104.2098 | 4.2098 | 0.38874 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T239 | ICPMS21132B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0830027 | 2021-05-15 | 2.1789 | 2.05 | 106.2878 | 6.2878 | 0.58063 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T239 | ICPMS21134A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0620100 | 2021-05-13 | 0.0901 | 0.113 | 79.7345 | -20.2655 | -1.5267 | 0.03 | 3421 |  |  |  | µg/L | T237 | ICPMS21132B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 0760035 | 2021-05-14 | 0.1306 | 0.113 | 115.5752 | 15.5752 | 1.1733 | 0.03 | 3421 |  |  |  | µg/L | T237 | ICPMS21134A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 3500073 | 2021-01-29 | 0.1014 | 0.113 | 89.7345 | -10.2655 | -0.77333 | 0.03 | 3421 |  |  |  | µg/L | T237 | ICPMS21028B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 3640015 | 2021-04-20 | 0.09 | 0.113 | 79.646 | -20.354 | -1.5333 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T237 | ICPMS21110A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1600035 | 2021-07-24 | 0.1447 | 0.113 | 128.0531 | 28.0531 | 2.1133 | 0.03 | 3421 |  |  |  | µg/L | T237 | ICPMS21200B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1730218 | 2021-08-07 | 0.1371 | 0.113 | 121.3274 | 21.3274 | 1.6067 | 0.03 | 3421 |  |  |  | µg/L | T237 | ICPMS21218A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 3440081 | 2021-01-29 | 1.8686 | 2.05 | 91.1512 | -8.8488 | -0.81712 | 0.03 | 3421 |  |  |  | µg/L | T239 | ICPMS21028B
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 3580059 | 2021-03-04 | 1.8772 | 2.05 | 91.5707 | -8.4293 | -0.77838 | 0.03 | 3421 |  |  |  | µg/L | T239 | ICPMS21055A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1540139 | 2021-07-16 | 1.8398 | 2.05 | 89.7463 | -10.2537 | -0.94685 | 0.03 | 3421 |  |  |  | µg/L | T239 | ICPMS21195A
Silver, UNF, ICP-MS | 01077 | PLM78 | UNF | 2021 | 1660119 | 2021-07-29 | 1.8791 | 2.05 | 91.6634 | -8.3366 | -0.76982 | 0.03 | 3421 | Sample was diluted |  |  | µg/L | T239 | ICPMS21209B