## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 0920065 | 2019-04-30 | 348.1487 | 374 | 93.0879 | -6.9121 | -1.2252 |  | 3434 |  |  |  | ug/L | T221 | ICPMS19119B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1060103 | 2019-06-04 | 335.1889 | 374 | 89.6227 | -10.3773 | -1.8394 | 3 | 3434 | Sample was diluted |  |  | µg/L | T221 | ICPMS19149A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 0990128 | 2019-05-06 | 643.9996 | 680 | 94.7058 | -5.2942 | -1.0588 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19122B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1130095 | 2019-05-06 | 644.6572 | 680 | 94.8025 | -5.1975 | -1.0395 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS19122B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 3180066 | 2019-02-07 | 473.3935 | 523 | 90.515 | -9.485 | -1.6318 | 3 | 3434 | Sample was diluted | Result determined by alternate method | See result laboratory comment | µg/L | T223 | ICPMS19036B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 3320104 | 2019-02-12 | 557.521 | 523 | 106.6006 | 6.6006 | 1.1356 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | µg/L | T223 | ICPMS19042A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1340212 | 2019-06-06 | 522.4315 | 523 | 99.8913 | -0.1087 | -0.018701 | 3 | 3434 |  |  |  | µg/L | T223 | ICPMS19157A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1490062 | 2019-06-24 | 462.4603 | 523 | 88.4245 | -11.5755 | -1.9914 | 3 | 3434 |  |  |  | µg/L | T223 | ICPMS19169A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 3100174 | 2019-02-05 | 500.687 | 520 | 96.286 | -3.714 | -0.74281 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | µg/L | T231 | ICPMS19035A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 3270026 | 2019-02-13 | 505.682 | 520 | 97.2465 | -2.7535 | -0.55069 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | µg/L | T231 | ICPMS19042A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1280117 | 2019-06-05 | 508.6021 | 520 | 97.8081 | -2.1919 | -0.43838 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19154A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1410229 | 2019-06-12 | 539.1469 | 520 | 103.6821 | 3.6821 | 0.73642 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19158A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 0570186 | 2019-04-08 | 509.9884 | 520 | 98.0747 | -1.9253 | -0.38506 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19098A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2250166 | 2019-09-04 | 510.4727 | 520 | 98.1678 | -1.8322 | -0.36643 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS19247A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2390203 | 2019-09-23 | 509.9373 | 520 | 98.0649 | -1.9351 | -0.38703 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS19266A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 0520007 | 2019-03-29 | 484.3289 | 523 | 92.6059 | -7.3941 | -1.2721 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19087B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2180150 | 2019-08-29 | 547.1275 | 523 | 104.6133 | 4.6133 | 0.79367 | 3 | 3434 |  |  |  | µg/L | T223 | ICPMS19239B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2320181 | 2019-09-09 | 511.2516 | 523 | 97.7537 | -2.2463 | -0.38646 | 3 | 3434 |  |  |  | µg/L | T223 | ICPMS19252A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1900100 | 2019-08-19 | 378.8886 | 374 | 101.3071 | 1.3071 | 0.23169 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T221 | ICPMS19231B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2050046 | 2019-08-19 | 369.6023 | 374 | 98.8241 | -1.1759 | -0.20842 | 3 | 3434 |  |  |  | µg/L | T221 | ICPMS19231B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1830106 | 2019-08-15 | 663.8359 | 680 | 97.6229 | -2.3771 | -0.47541 | 3 | 3434 | Sample was diluted |  |  | µg/L | T229 | ICPMS19219B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2000016 | 2019-08-20 | 662.4962 | 680 | 97.4259 | -2.5741 | -0.51482 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19231B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 0720020 | 2019-04-27 | 612.9867 | 613 | 99.9978 | -0.0021697 | -0.00043393 | 3 | 3434 | Sample was diluted |  |  | µg/L | T227 | ICPMS19114A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 0860006 | 2019-04-30 | 558.7271 | 613 | 91.1463 | -8.8537 | -1.7707 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19119B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2550075 | 2019-10-01 | 549.6149 | 613 | 89.6599 | -10.3401 | -2.068 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19274A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2680149 | 2019-12-03 | 613.6475 | 613 | 100.1056 | 0.10563 | 0.021126 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19322A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 0640092 | 2019-04-17 | 251.2067 | 245 | 102.5333 | 2.5333 | 0.33732 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19105A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 0780096 | 2019-04-26 | 250.413 | 245 | 102.2094 | 2.2094 | 0.29418 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19114A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2470180 | 2019-10-02 | 248.7959 | 245 | 101.5493 | 1.5493 | 0.2063 | 3 | 3434 |  |  |  | µg/L | T225 | ICPMS19274A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 2600328 | 2019-10-09 | 246.1279 | 245 | 100.4604 | 0.46037 | 0.061299 | 3 | 3434 | Sample was diluted |  |  | µg/L | T225 | ICPMS19282B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 3450114 | 2019-02-20 | 275.943 | 245 | 112.6298 | 12.6298 | 1.6817 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | µg/L | T225 | ICPMS19045B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1620136 | 2019-07-03 | 253.1737 | 245 | 103.3362 | 3.3362 | 0.44422 | 3 | 3434 |  |  |  | µg/L | T225 | ICPMS19183B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1760173 | 2019-07-23 | 255.8282 | 245 | 104.4197 | 4.4197 | 0.58849 | 3 | 3434 |  |  |  | µg/L | T225 | ICPMS19203A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 3400024 | 2019-02-20 | 609.649 | 613 | 99.4533 | -0.54666 | -0.10933 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | µg/L | T227 | ICPMS19045B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 3530016 | 2019-02-05 | 600.706 | 613 | 97.9945 | -2.0055 | -0.40111 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | µg/L | T227 | ICPMS19035A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1550162 | 2019-06-26 | 549.03 | 613 | 89.5644 | -10.4356 | -2.0871 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19175B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2019 | 1690137 | 2019-07-02 | 569.3487 | 613 | 92.8791 | -7.1209 | -1.4242 | 3 | 3434 |  |  |  | µg/L | T227 | ICPMS19183B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2810114 | 2019-12-19 | 451.7377 | 481 | 93.9164 | -6.0836 | -1.2167 | 3 | 3434 | Value verified by rerun, same method |  |  | µg/L | T233 | ICPMS19352B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2950100 | 2019-12-16 | 476.1321 | 481 | 98.988 | -1.012 | -0.20241 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T233 | ICPMS19347B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0980043 | 2020-04-23 | 479.1648 | 481 | 99.6185 | -0.38154 | -0.076308 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS20114A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 1120049 | 2020-05-04 | 455.8259 | 481 | 94.7663 | -5.2337 | -1.0467 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS20125B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2890221 | 2019-12-12 | 675.8821 | 680 | 99.3944 | -0.60557 | -0.12111 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19344B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 3030027 | 2019-12-18 | 688.6714 | 680 | 101.2752 | 1.2752 | 0.25504 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19350A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 1060059 | 2020-04-23 | 650.4159 | 680 | 95.6494 | -4.3506 | -0.87012 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20114A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 3170095 | 2019-12-30 | 967.8497 | 956 | 101.2395 | 1.2395 | 0.2479 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 3310060 | 2019-12-30 | 956.3874 | 956 | 100.0405 | 0.040523 | 0.0081046 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 1330126 | 2020-10-14 | 1068.6948 | 956 | 111.7882 | 11.7882 | 2.3576 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS20283A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 3090147 | 2020-01-09 | 539.5605 | 520 | 103.7616 | 3.7616 | 0.75233 | 3 | 3434 | Sample was diluted |  |  | µg/L | T231 | ICPMS20006A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 3230099 | 2020-01-09 | 530.725 | 520 | 102.0625 | 2.0625 | 0.4125 | 3 | 3434 | Sample was diluted |  |  | µg/L | T231 | ICPMS20006A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0420076 | 2020-03-03 | 476.9886 | 520 | 91.7286 | -8.2714 | -1.6543 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS20063B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0560053 | 2020-03-04 | 478.9363 | 520 | 92.1031 | -7.8969 | -1.5794 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T231 | ICPMS20064A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2240092 | 2020-09-24 | 496.9976 | 520 | 95.5765 | -4.4235 | -0.88471 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS20276A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2390027 | 2020-09-29 | 559.6229 | 520 | 107.6198 | 7.6198 | 1.524 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS20273A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0350135 | 2020-02-12 | 955.6609 | 956 | 99.9645 | -0.035471 | -0.0070941 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20043A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0500059 | 2020-03-04 | 902.5279 | 956 | 94.4067 | -5.5933 | -1.1187 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20064A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2170035 | 2020-09-17 | 993.6017 | 956 | 103.9332 | 3.9332 | 0.78665 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS20260A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2320037 | 2020-09-24 | 930.5759 | 956 | 97.3406 | -2.6594 | -0.53188 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS20276A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0150017 | 2020-02-03 | 477.6429 | 481 | 99.3021 | -0.69794 | -0.13959 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS20031A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0280070 | 2020-02-03 | 444.436 | 481 | 92.3983 | -7.6017 | -1.5203 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS20031A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 1960126 | 2020-09-03 | 472.3313 | 481 | 98.1978 | -1.8022 | -0.36044 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS20247B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2120199 | 2020-09-17 | 505.3629 | 481 | 105.0651 | 5.0651 | 1.013 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS20260A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0070044 | 2020-01-21 | 679.0216 | 680 | 99.8561 | -0.14388 | -0.028776 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20021A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0220109 | 2020-02-03 | 663.9126 | 680 | 97.6342 | -2.3658 | -0.47316 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20031A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 1890182 | 2020-09-02 | 687.3676 | 680 | 101.0835 | 1.0835 | 0.21669 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS20245B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2040025 | 2020-09-03 | 627.3147 | 680 | 92.2522 | -7.7478 | -1.5496 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS20247B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0700103 | 2020-04-20 | 610.819 | 613 | 99.6442 | -0.35579 | -0.071158 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20111B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0840029 | 2020-04-22 | 616.6055 | 613 | 100.5882 | 0.58817 | 0.11763 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20113B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2590164 | 2020-10-08 | 665.3069 | 613 | 108.5329 | 8.5329 | 1.7066 | 3 | 3434 |  |  |  | µg/L | T227 | ICPMS20281B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2740056 | 2020-10-22 | 622.1254 | 613 | 101.4886 | 1.4886 | 0.29773 | 3 | 3434 |  |  |  | µg/L | T227 | ICPMS20296B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0630051 | 2020-03-18 | 212.0831 | 245 | 86.5645 | -13.4355 | -1.789 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20076A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 0770114 | 2020-08-24 | 250.0683 | 245 | 102.0687 | 2.0687 | 0.27545 | 3 | 3434 | Sample was diluted |  |  | µg/L | T225 | ICPMS20237A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2530137 | 2020-10-06 | 255.2788 | 245 | 104.1954 | 4.1954 | 0.55863 | 3 | 3434 |  |  |  | µg/L | T225 | ICPMS20279B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 2670298 | 2020-10-09 | 255.1222 | 245 | 104.1315 | 4.1315 | 0.55012 | 3 | 3434 |  |  |  | µg/L | T225 | ICPMS20281B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 3440294 | 2020-01-30 | 231.7051 | 245 | 94.5735 | -5.4265 | -0.72255 | 3 | 3434 |  |  |  | µg/L | T225 | ICPMS20030A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 3600045 | 2020-01-21 | 233.972 | 245 | 95.4988 | -4.5012 | -0.59935 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20021A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 1610191 | 2020-07-01 | 266.3601 | 245 | 108.7184 | 8.7184 | 1.1609 | 3 | 3434 |  |  |  | µg/L | T225 | ICPMS20182B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 1760101 | 2020-08-28 | 252.19 | 245 | 102.9347 | 2.9347 | 0.39076 | 3 | 3434 |  |  |  | µg/L | T225 | ICPMS20240A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 3370103 | 2020-01-10 | 614.6423 | 613 | 100.2679 | 0.26791 | 0.053582 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 3510023 | 2020-01-10 | 615.9202 | 613 | 100.4764 | 0.47638 | 0.095276 | 3 | 3434 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 1550007 | 2021-01-11 | 600.087 | 613 | 97.8935 | -2.1065 | -0.42131 | 3 | 3434 | Holding time exceeded | Sample was diluted | See result laboratory comment | µg/L | T227 | ICPMS20353A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2020 | 1680149 | 2020-08-27 | 619.6657 | 613 | 101.0874 | 1.0874 | 0.21748 | 3 | 3434 |  |  |  | µg/L | T227 | ICPMS20240A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 2810032 | 2020-10-22 | 477.018 | 481 | 99.1721 | -0.82786 | -0.16557 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS20296B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 2950028 | 2021-01-13 | 434.474 | 481 | 90.3272 | -9.6728 | -1.9346 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS21013B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0970048 | 2021-05-21 | 425.1621 | 481 | 88.3913 | -11.6087 | -2.3217 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS21140A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1110004 | 2021-06-02 | 447.5092 | 481 | 93.0373 | -6.9627 | -1.3925 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS21153A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 2880069 | 2020-12-30 | 688.7665 | 680 | 101.2892 | 1.2892 | 0.25784 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS20350A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 3010155 | 2021-01-14 | 720.3345 | 680 | 105.9315 | 5.9315 | 1.1863 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS21013B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1030144 | 2021-05-05 | 692.2121 | 680 | 101.7959 | 1.7959 | 0.35918 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS21125A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1180038 | 2021-06-16 | 667.5486 | 680 | 98.1689 | -1.8311 | -0.36622 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS21167B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 3150100 | 2021-01-15 | 899.0602 | 956 | 94.044 | -5.956 | -1.1912 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS21015A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 3300047 | 2021-02-02 | 932.3313 | 956 | 97.5242 | -2.4758 | -0.49516 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS21033A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1320162 | 2021-06-29 | 915.3175 | 956 | 95.7445 | -4.2555 | -0.8511 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS21180B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1460003 | 2021-07-10 | 889.2672 | 956 | 93.0196 | -6.9804 | -1.3961 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS21188B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 3080107 | 2021-01-14 | 525.2318 | 520 | 101.0061 | 1.0061 | 0.20122 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS21013B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 3230039 | 2021-01-27 | 502.0557 | 520 | 96.5492 | -3.4508 | -0.69017 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS21026B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1250004 | 2021-06-16 | 499.4039 | 520 | 96.0392 | -3.9608 | -0.79216 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS21167B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1380139 | 2021-07-02 | 526.9829 | 520 | 101.3429 | 1.3429 | 0.26857 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS21182B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0330077 | 2021-04-21 | 510.0129 | 520 | 98.0794 | -1.9206 | -0.38412 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS21110A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0480038 | 2021-05-12 | 494.4209 | 520 | 95.0809 | -4.9191 | -0.98381 | 3 | 3434 | Sample was diluted |  |  | µg/L | T231 | ICPMS21131A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 2220178 | 2021-09-23 | 554.7728 | 520 | 106.6871 | 6.6871 | 1.3374 | 3 | 3434 |  |  |  | µg/L | T231 | ICPMS21258B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0400076 | 2021-05-04 | 913.7817 | 956 | 95.5839 | -4.4161 | -0.88323 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS21124A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0540055 | 2021-05-11 | 901.0226 | 956 | 94.2492 | -5.7508 | -1.1502 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS21131A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 2150046 | 2021-08-30 | 972.2783 | 956 | 101.7028 | 1.7028 | 0.34055 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS21242B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 2290121 | 2021-09-24 | 1009.1819 | 956 | 105.563 | 5.563 | 1.1126 | 3 | 3434 |  |  |  | µg/L | T235 | ICPMS21267A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0120036 | 2021-03-04 | 450.3974 | 481 | 93.6377 | -6.3623 | -1.2725 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS21055A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0270078 | 2021-03-26 | 445.4149 | 481 | 92.6019 | -7.3981 | -1.4796 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS21077A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1940229 | 2021-08-16 | 482.2797 | 481 | 100.266 | 0.26605 | 0.05321 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS21228B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 2080172 | 2021-08-19 | 478.1663 | 481 | 99.4109 | -0.58913 | -0.11783 | 3 | 3434 |  |  |  | µg/L | T233 | ICPMS21230A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0050024 | 2021-03-04 | 625.7991 | 680 | 92.0293 | -7.9707 | -1.5941 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS21055A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0210015 | 2021-03-26 | 643.1924 | 680 | 94.5871 | -5.4129 | -1.0826 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS21077A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1880114 | 2021-08-11 | 659.6815 | 680 | 97.012 | -2.988 | -0.5976 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS21222B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 2010231 | 2021-08-19 | 680.3981 | 680 | 100.0585 | 0.058544 | 0.011709 | 3 | 3434 |  |  |  | µg/L | T229 | ICPMS21230A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0680063 | 2021-05-14 | 258.6408 | 250 | 103.4563 | 3.4563 | 0.58384 | 3 | 3434 | Sample was diluted |  |  | µg/L | T239 | ICPMS21132B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0830027 | 2021-05-15 | 257.2221 | 250 | 102.8888 | 2.8888 | 0.48798 | 3 | 3434 | Sample was diluted |  |  | µg/L | T239 | ICPMS21134A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0620100 | 2021-05-13 | 807.6282 | 803 | 100.5764 | 0.57636 | 0.11527 | 3 | 3434 |  |  |  | µg/L | T237 | ICPMS21132B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 0760035 | 2021-05-14 | 782.345 | 803 | 97.4278 | -2.5722 | -0.51445 | 3 | 3434 |  |  |  | µg/L | T237 | ICPMS21134A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 3500073 | 2021-01-29 | 807.6364 | 803 | 100.5774 | 0.57738 | 0.11548 | 3 | 3434 |  |  |  | µg/L | T237 | ICPMS21028B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 3640015 | 2021-03-04 | 745.1914 | 803 | 92.8009 | -7.1991 | -1.4398 | 3 | 3434 |  |  |  | µg/L | T237 | ICPMS21055A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1600035 | 2021-07-24 | 822.4678 | 803 | 102.4244 | 2.4244 | 0.48488 | 3 | 3434 |  |  |  | µg/L | T237 | ICPMS21200B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1730218 | 2021-08-07 | 832.7308 | 803 | 103.7025 | 3.7025 | 0.74049 | 3 | 3434 |  |  |  | µg/L | T237 | ICPMS21218A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 3440081 | 2021-01-29 | 253.1635 | 250 | 101.2654 | 1.2654 | 0.21375 | 3 | 3434 |  |  |  | µg/L | T239 | ICPMS21028B
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 3580059 | 2021-03-04 | 259.9683 | 250 | 103.9873 | 3.9873 | 0.67353 | 3 | 3434 |  |  |  | µg/L | T239 | ICPMS21055A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1540139 | 2021-07-16 | 266.1733 | 250 | 106.4693 | 6.4693 | 1.0928 | 3 | 3434 |  |  |  | µg/L | T239 | ICPMS21195A
Aluminum, UNF, ICP-MS | 01105 | PLM77 | UNF | 2021 | 1660119 | 2021-08-14 | 230.3154 | 250 | 92.1262 | -7.8738 | -1.33 | 3 | 3434 | Sample was diluted |  |  | µg/L | T239 | ICPMS21225A