## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 2480033 | 2007-09-19 | 9.215 | 10 | 92.15 | -7.85 | -0.80184 | 1.2 | 2736 |  |  |  | ug/L | AS6 | S1730091907
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 2620028 | 2007-10-12 | 9.61 | 10 | 96.1 | -3.9 | -0.39837 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730100907
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 2780101 | 2006-11-02 | 9.13 | 10 | 91.3 | -8.7 | -0.88866 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730110206
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 2920083 | 2006-11-02 | 9.794 | 10 | 97.94 | -2.06 | -0.21042 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730110206
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 1000084 | 2007-04-18 | 9.261 | 10 | 92.61 | -7.39 | -0.75485 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730041807
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 1070152 | 2007-04-18 | 9.185 | 10 | 91.85 | -8.15 | -0.83248 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730041807
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 3070097 | 2007-01-08 | 9.6865 | 10 | 96.865 | -3.135 | -0.32022 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730121806
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 3210238 | 2007-01-08 | 9.8211 | 10 | 98.211 | -1.789 | -0.18274 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730121806
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 1230068 | 2007-05-14 | 10.028 | 10 | 100.28 | 0.28 | 0.028601 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730051407
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 1360115 | 2007-06-20 | 9.298 | 10 | 92.98 | -7.02 | -0.71706 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730061907
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 2200109 | 2007-08-16 | 10.031 | 10 | 100.31 | 0.31 | 0.031665 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730081607
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 2340040 | 2007-09-06 | 9.019 | 10 | 90.19 | -9.81 | -1.002 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730090507
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 1930321 | 2007-07-23 | 8.737 | 10 | 87.37 | -12.63 | -1.2901 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730072107
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 1990219 | 2007-07-23 | 9.05 | 10 | 90.5 | -9.5 | -0.97038 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730072107
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 0820078 | 2007-04-09 | 8.966 | 10 | 89.66 | -10.34 | -1.0562 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730040407
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 0880059 | 2007-04-09 | 8.955 | 10 | 89.55 | -10.45 | -1.0674 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730040407
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 1570101 | 2007-06-25 | 9.008 | 10 | 90.08 | -9.92 | -1.0133 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730062107
Monomethylarsonate (MMA), IC-ICP-MS | 62454 | PLM35 | FIL | 2007 | 1720220 | 2007-06-26 | 9.09 | 10 | 90.9 | -9.1 | -0.92952 | 1.2 | 2736 |  |  |  | ug/L as As | AS6 | S1730062507