## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2840134 | 2019-11-08 | 1.115 | 1.86 | 59.9462 | -40.0538 | -1.49 |  | 3511 | Below the reporting level but at or above the detection level |  |  | ug/L | T233 | ICPOE19312A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 3030024 | 2019-11-25 | 1.894 | 1.86 | 101.828 | 1.828 | 0.068 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE19329B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 1040011 | 2020-05-05 | 1.488 | 1.86 | 80 | -20 | -0.744 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE20126B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 1150060 | 2020-05-07 | 1.669 | 1.86 | 89.7312 | -10.2688 | -0.382 | 1 | 3511 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T233 | ICPOE20128B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2200219 | 2020-08-27 | 1.754 | 1.88 | 93.2979 | -6.7021 | -0.252 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE20248B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2390033 | 2020-09-10 | 1.468 | 1.88 | 78.0851 | -21.9149 | -0.824 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE20254A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0420074 | 2020-02-26 | 1.767 | 1.88 | 93.9894 | -6.0106 | -0.226 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE20057B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0560054 | 2020-03-05 | 1.602 | 1.88 | 85.2128 | -14.7872 | -0.556 | 1 | 3511 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T235 | ICPOE20064A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0150016 | 2020-02-06 | 6.95 | 7.51 | 92.5433 | -7.4567 | -1.12 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE20037A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0280068 | 2020-02-06 | 6.844 | 7.51 | 91.1318 | -8.8682 | -1.332 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE20037A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0700086 | 2020-03-19 | 1 | 1.17 | 85.4701 | -14.5299 | -0.34 | 1 | 3511 |  |  |  | µg/L | T225 | ICPOE20079A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0840025 | 2020-04-08 | 1 | 1.17 | 85.4701 | -14.5299 | -0.34 | 1 | 3511 |  |  |  | µg/L | T225 | ICPOE20098A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2550049 | 2020-09-29 | 1 | 1.17 | 85.4701 | -14.5299 | -0.34 | 1 | 3511 |  |  |  | µg/L | T225 | ICPOE20273B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2690022 | 2020-10-14 | 1 | 1.17 | 85.4701 | -14.5299 | -0.34 | 1 | 3511 |  |  |  | µg/L | T225 | ICPOE20288B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 3400073 | 2020-01-14 | 1.164 | 0.445 | 261.573 | 161.573 | 1.438 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T227 | ICPOE20014A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 1920105 | 2020-07-27 | 7.134 | 7.51 | 94.9933 | -5.0067 | -0.752 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE20209A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2110156 | 2020-08-24 | 7.282 | 7.51 | 96.964 | -3.036 | -0.456 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE20237A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2830130 | 2020-10-19 | 1.605 | 1.86 | 86.2903 | -13.7097 | -0.51 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE20293A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2970237 | 2020-11-12 | 1.567 | 1.86 | 84.2473 | -15.7527 | -0.586 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE20317A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1030140 | 2021-06-10 | 1.669 | 1.86 | 89.7312 | -10.2688 | -0.382 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE21168A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1180043 | 2021-06-08 | 2.102 | 1.86 | 113.0108 | 13.0108 | 0.484 | 1 | 3511 |  |  |  | µg/L | T233 | ICPOE21159B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1600034 | 2021-07-01 | 2.831 | 3.06 | 92.5163 | -7.4837 | -0.458 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE21182A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1730215 | 2021-07-07 | 2.633 | 3.06 | 86.0458 | -13.9542 | -0.854 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE21187B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2180158 | 2021-09-09 | 1.846 | 1.88 | 98.1915 | -1.8085 | -0.068 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE21251A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2320154 | 2021-09-15 | 1.991 | 1.88 | 105.9043 | 5.9043 | 0.222 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE21256A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0480041 | 2021-03-11 | 1.884 | 1.88 | 100.2128 | 0.21277 | 0.008 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE21070A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0620101 | 2021-03-19 | 2.175 | 1.88 | 115.6915 | 15.6915 | 0.59 | 1 | 3511 |  |  |  | µg/L | T235 | ICPOE21078A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0120029 | 2021-01-26 | 6.991 | 7.51 | 93.0892 | -6.9108 | -1.038 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE21026A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0270013 | 2021-02-17 | 6.891 | 7.51 | 91.7577 | -8.2423 | -1.238 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE21048A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0680060 | 2021-03-29 | 2.524 | 2.75 | 91.7818 | -8.2182 | -0.452 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE21088A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0820065 | 2021-03-29 | 2.994 | 2.75 | 108.8727 | 8.8727 | 0.488 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE21088A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 3460123 | 2021-01-22 | 2.19 | 3.06 | 71.5686 | -28.4314 | -1.74 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE21019A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 3640039 | 2021-01-14 | 2.657 | 3.06 | 86.8301 | -13.1699 | -0.806 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE21014A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1900156 | 2021-08-03 | 7.28 | 7.51 | 96.9374 | -3.0626 | -0.46 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE21215B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2040240 | 2021-08-12 | 6.937 | 7.51 | 92.3702 | -7.6298 | -1.146 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE21224B