## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1190148 | 2015-05-12 | 1.962 | 2.32 | 84.569 | -15.431 | -1.1933 |  | 3304 | See result laboratory comment |  |  | ug/L | 25213-75211 | TCMS051115
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1660029 | 2015-07-29 | 4.442 | 4.5675 | 97.2523 | -2.7477 | -0.38593 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS072915
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1760083 | 2015-08-13 | 5.868 | 4.5675 | 128.4729 | 28.4729 | 3.9992 | 0.8 | 3304 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | 25209-75213 | TCMS081215
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1620201 | 2015-07-20 | 3.524 | 4.17 | 84.5084 | -15.4916 | -2.1375 | 0.8 | 3304 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS072015
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1740034 | 2015-07-23 | 4.032 | 4.17 | 96.6906 | -3.3094 | -0.45663 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS072215
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1200159 | 2015-06-08 | 3.783 | 4.17 | 90.7194 | -9.2806 | -1.2805 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS060615
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2250102 | 2015-09-11 | 2.01 | 2.32 | 86.6379 | -13.3621 | -1.0333 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS091015
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2390155 | 2015-09-23 | 2.143 | 2.32 | 92.3707 | -7.6293 | -0.59 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS092315
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2230087 | 2015-09-10 | 4.154 | 4.5675 | 90.9469 | -9.0531 | -1.2716 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091015
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2370155 | 2015-09-19 | 3.874 | 4.5675 | 84.8166 | -15.1834 | -2.1326 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091815
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1320073 | 2015-07-13 | 1.416 | 1.5025 | 94.2429 | -5.7571 | -0.28833 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 25211-75209 | TCMS071315
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1470115 | 2015-06-12 | 1.519 | 1.5025 | 101.0982 | 1.0982 | 0.055 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 25211-75209 | TCMS061115
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1250074 | 2015-06-08 | 4.104 | 4.5675 | 89.8522 | -10.1478 | -1.4253 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS060615
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1390153 | 2015-06-10 | 4.885 | 4.5675 | 106.9513 | 6.9513 | 0.97635 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS060915
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1340066 | 2015-06-09 | 1.323 | 1.1925 | 110.9434 | 10.9434 | 0.435 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75209-25DIW | TCMS060915
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1480118 | 2015-06-12 | 1.206 | 1.1925 | 101.1321 | 1.1321 | 0.045 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75209-25DIW | TCMS061115
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2160028 | 2015-08-31 | 1.22 | 1.5025 | 81.198 | -18.802 | -0.94167 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 25211-75209 | TCMS083115
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2320211 | 2015-09-17 | 1.558 | 1.5025 | 103.6938 | 3.6938 | 0.185 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 25211-75209 | TCMS091515
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1880120 | 2015-08-12 | 2.069 | 2.32 | 89.181 | -10.819 | -0.83667 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS081115
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2030107 | 2015-08-24 | 2.195 | 2.32 | 94.6121 | -5.3879 | -0.41667 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS082415
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2520016 | 2015-09-29 | 0.9448 | 0.93 | 101.5914 | 1.5914 | 0.049333 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS092915
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2660034 | 2015-10-07 | 0.8 | 0.93 | 86.0215 | -13.9785 | -0.43333 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS100715
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2450074 | 2015-09-25 | 3.737 | 4.17 | 89.6163 | -10.3837 | -1.4328 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS092415
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2580071 | 2015-10-01 | 3.979 | 4.17 | 95.4197 | -4.5803 | -0.632 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS093015
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2530063 | 2015-10-01 | 1.343 | 1.5025 | 89.3844 | -10.6156 | -0.53167 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 25211-75209 | TCMS093015
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2670054 | 2015-10-07 | 0.8 | 1.5025 | 53.2446 | -46.7554 | -2.3417 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS100715
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1530193 | 2015-06-12 | 0.9447 | 0.93 | 101.5806 | 1.5806 | 0.049 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS061115
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1690074 | 2015-07-22 | 1.022 | 0.93 | 109.8925 | 9.8925 | 0.30667 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS072215
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1970116 | 2015-08-13 | 0.8963 | 0.93 | 96.3763 | -3.6237 | -0.11233 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS081215
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2110081 | 2015-08-26 | 0.9328 | 0.93 | 100.3011 | 0.30108 | 0.0093333 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS082615
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 1950022 | 2015-08-13 | 3.801 | 4.17 | 91.1511 | -8.8489 | -1.221 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS081215
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2015 | 2090026 | 2015-08-25 | 4.017 | 4.17 | 96.3309 | -3.6691 | -0.50626 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS082415
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2790069 | 2015-10-14 | 3.88 | 4.17 | 93.0456 | -6.9544 | -0.725 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS101315
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2930192 | 2015-11-04 | 3.929 | 4.17 | 94.2206 | -5.7794 | -0.6025 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS110415
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0960078 | 2016-04-22 | 3.944 | 4.17 | 94.5803 | -5.4197 | -0.565 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCME042116
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1110067 | 2016-04-28 | 4.015 | 4.17 | 96.283 | -3.717 | -0.3875 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS042816
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2870054 | 2015-10-27 | 4.668 | 4.01 | 116.409 | 16.409 | 1.645 | 0.8 | 3304 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T217 | TCMS102315
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3000098 | 2015-11-05 | 4.503 | 4.01 | 112.2943 | 12.2943 | 1.2325 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T217 | TCMS110415
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1030064 | 2016-04-27 | 4.761 | 4.01 | 118.7282 | 18.7282 | 1.8775 | 0.8 | 3304 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T217 | TCMS042616
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1170029 | 2016-04-28 | 4.475 | 4.01 | 111.596 | 11.596 | 1.1625 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T217 | TCMS042816
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1720042 | 2016-08-04 | 19.52 | 19.9 | 98.0905 | -1.9095 | -0.38191 | 0.8 | 3304 |  |  |  | µg/L | T219 | TC071316
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1820114 | 2016-08-18 | 19.69 | 19.9 | 98.9447 | -1.0553 | -0.21106 | 0.8 | 3304 |  |  |  | µg/L | T219 | TC081616
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1660104 | 2016-08-11 | 1.628 | 1.24 | 131.2903 | 31.2903 | 0.97 | 0.8 | 3304 | Result determined by alternate method | See result laboratory comment |  | µg/L | T211 | TC081016
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1800078 | 2016-07-26 | 1.343 | 1.24 | 108.3065 | 8.3065 | 0.2575 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TC071416
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2880094 | 2015-11-04 | 1.43 | 1.24 | 115.3226 | 15.3226 | 0.475 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TCMS110315
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3020042 | 2015-11-10 | 1.325 | 1.24 | 106.8548 | 6.8548 | 0.2125 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TCMS110915
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1050160 | 2016-04-27 | 1.462 | 1.24 | 117.9032 | 17.9032 | 0.555 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TCMS042616
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1190078 | 2016-05-24 | 1.408 | 1.24 | 113.5484 | 13.5484 | 0.42 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TC052316
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2240223 | 2016-10-08 | 4.51 | 4.01 | 112.4688 | 12.4688 | 1.7007 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS16281B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2380232 | 2016-10-11 | 4.13 | 4.01 | 102.9925 | 2.9925 | 0.40816 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS16285A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2150172 | 2016-09-03 | 20.21 | 19.9 | 101.5578 | 1.5578 | 0.31156 | 0.8 | 3304 |  |  |  | µg/L | T219 | TC083116
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2290123 | 2016-10-08 | 21.01 | 19.9 | 105.5779 | 5.5779 | 1.1156 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS16281B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3140098 | 2015-11-20 | 1.673 | 1.59 | 105.2201 | 5.2201 | 0.2075 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T209 | TCMS111915
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3290007 | 2015-12-18 | 1.306 | 1.59 | 82.1384 | -17.8616 | -0.71 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TCMS121715
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1320064 | 2016-06-18 | 1.504 | 1.59 | 94.5912 | -5.4088 | -0.215 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TC061716
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1460114 | 2016-06-24 | 1.539 | 1.59 | 96.7925 | -3.2075 | -0.1275 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TC062316
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3070095 | 2015-11-17 | 20.72 | 19.9 | 104.1206 | 4.1206 | 0.82412 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T219 | TCMS111615
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3210006 | 2015-12-10 | 21.29 | 19.9 | 106.9849 | 6.9849 | 1.397 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T219 | TCMS120915
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1240108 | 2016-06-02 | 20.02 | 19.9 | 100.603 | 0.60302 | 0.1206 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T219 | TC060116
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1400027 | 2016-06-18 | 21.12 | 19.9 | 106.1307 | 6.1307 | 1.2261 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T219 | TC061716
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3200020 | 2015-12-10 | 4.229 | 4.17 | 101.4149 | 1.4149 | 0.1475 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS120915
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3340004 | 2015-12-21 | 3.978 | 4.17 | 95.3957 | -4.6043 | -0.48 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS122115
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1340012 | 2016-06-18 | 4.04 | 4.17 | 96.8825 | -3.1175 | -0.325 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TC061716
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1470084 | 2016-06-24 | 4.032 | 4.17 | 96.6906 | -3.3094 | -0.345 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TC062316
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0400035 | 2016-03-25 | 22.31 | 19.9 | 112.1106 | 12.1106 | 2.4221 | 0.8 | 3304 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T219 | TCMS032516
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0540101 | 2016-04-09 | 20.57 | 19.9 | 103.3668 | 3.3668 | 0.67337 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T219 | TCMS040816
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0330057 | 2016-03-22 | 1.6 | 1.59 | 100.6289 | 0.62893 | 0.025 | 0.8 | 3304 | Sample was diluted | See result laboratory comment |  | µg/L | T209 | TCMS032216
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0480024 | 2016-03-31 | 1.561 | 1.59 | 98.1761 | -1.8239 | -0.0725 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TCMS033116
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2230020 | 2016-09-26 | 1.62 | 1.59 | 101.8868 | 1.8868 | 0.075 | 0.8 | 3304 |  |  |  | µg/L | T209 | 091916
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2360191 | 2016-10-08 | 1.64 | 1.59 | 103.1447 | 3.1447 | 0.33333 | 0.2 | 3304 |  |  |  | µg/L | T209 | ICPMS16281B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0120026 | 2016-01-21 | 4.004 | 4.17 | 96.0192 | -3.9808 | -0.415 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS012116
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0260031 | 2016-02-05 | 3.694 | 4.17 | 88.5851 | -11.4149 | -1.19 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS020416
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0050023 | 2016-01-20 | 3.924 | 4.01 | 97.8554 | -2.1446 | -0.215 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T217 | TCMS012016
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0200028 | 2016-02-04 | 4.141 | 4.01 | 103.2668 | 3.2668 | 0.3275 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T217 | TCMS020416
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1880119 | 2016-08-20 | 4.103 | 4.01 | 102.3192 | 2.3192 | 0.2325 | 0.8 | 3304 |  |  |  | µg/L | T217 | TC081916
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2010272 | 2016-08-09 | 8.909 | 4.01 | 222.1696 | 122.1696 | 12.2475 | 0.8 | 3304 |  |  |  | µg/L | T217 | TC080516
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2580002 | 2016-11-10 | 0.87 | 0.764 | 113.8743 | 13.8743 | 0.74126 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS16291B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2710083 | 2016-11-29 | 1.89 | 0.764 | 247.3822 | 147.3822 | 7.8741 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS16333A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0690046 | 2016-04-20 | 1.475 | 1.24 | 118.9516 | 18.9516 | 0.5875 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TCMS042016
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0820024 | 2016-04-22 | 1.476 | 1.24 | 119.0323 | 19.0323 | 0.59 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TCME042116
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2520013 | 2016-10-13 | 1.41 | 1.24 | 113.7097 | 13.7097 | 1.0897 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS16287A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2640186 | 2016-11-29 | 1.714 | 1.24 | 138.2258 | 38.2258 | 3.0385 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS16333A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0770086 | 2016-04-22 | 1.619 | 1.59 | 101.8239 | 1.8239 | 0.0725 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T209 | TCME042116
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 0910017 | 2016-04-22 | 1.61 | 1.59 | 101.2579 | 1.2579 | 0.05 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T209 | TCME042116
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2590098 | 2016-11-09 | 1.64 | 1.59 | 103.1447 | 3.1447 | 0.33333 | 0.2 | 3304 |  |  |  | µg/L | T209 | ICPMS16291B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2730033 | 2016-11-28 | 1.66 | 1.59 | 104.4025 | 4.4025 | 0.46667 | 0.2 | 3304 |  |  |  | µg/L | T209 | ICPMS16333A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3500111 | 2016-01-04 | 2.314 | 1.24 | 186.6129 | 86.6129 | 2.685 | 0.8 | 3304 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T211 | TCMS010416
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3630067 | 2016-01-05 | 1.177 | 1.24 | 94.9194 | -5.0806 | -0.1575 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TCMS010416
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3420099 | 2015-12-21 | 0.8213 | 0.764 | 107.5 | 7.5 | 0.14325 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T215 | TCMS122115
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 3560097 | 2016-01-05 | 1.873 | 0.764 | 245.1571 | 145.1571 | 2.7725 | 0.8 | 3304 | See result laboratory comment |  |  | µg/L | T215 | TCMS010416
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1590119 | 2016-06-30 | 1.179 | 0.764 | 154.3194 | 54.3194 | 1.0375 | 0.8 | 3304 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T215 | TC062916
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1960356 | 2016-08-08 | 0.9094 | 0.764 | 119.0314 | 19.0314 | 0.3635 | 0.8 | 3304 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | TC080516
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2100264 | 2016-09-03 | 1.287 | 0.764 | 168.4555 | 68.4555 | 1.3075 | 0.8 | 3304 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | TC083116
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 1940102 | 2016-08-08 | 3.894 | 4.17 | 93.3813 | -6.6187 | -0.69 | 0.8 | 3304 |  |  |  | µg/L | 75213-25DIW | TC080516
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2016 | 2080216 | 2016-08-20 | 3.928 | 4.17 | 94.1966 | -5.8034 | -0.605 | 0.8 | 3304 |  |  |  | µg/L | 75213-25DIW | TC081916
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2780114 | 2016-11-29 | 3.8 | 3.78 | 100.5291 | 0.5291 | 0.073801 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS16334B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2940163 | 2016-11-30 | 3.65 | 3.78 | 96.5608 | -3.4392 | -0.4797 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS16335A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0940130 | 2017-04-11 | 4.4169 | 3.78 | 116.8492 | 16.8492 | 2.3502 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17101A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1080100 | 2017-05-09 | 3.9202 | 3.78 | 103.709 | 3.709 | 0.51734 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17129A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2860091 | 2016-11-29 | 4.14 | 4.01 | 103.2419 | 3.2419 | 0.44218 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS16334B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3000017 | 2016-12-05 | 4.39 | 4.01 | 109.4763 | 9.4763 | 1.2925 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS16340A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1020077 | 2017-05-10 | 4.1709 | 4.01 | 104.0125 | 4.0125 | 0.54728 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS17129A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1150158 | 2017-05-10 | 4.6501 | 4.01 | 115.9626 | 15.9626 | 2.1772 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS17129A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1660140 | 2017-06-30 | 20.4724 | 19.9 | 102.8764 | 2.8764 | 0.57528 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17180A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1810232 | 2017-07-20 | 20.5341 | 19.9 | 103.1864 | 3.1864 | 0.63729 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17201A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2870115 | 2016-11-29 | 1.31 | 1.24 | 105.6452 | 5.6452 | 0.44872 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS16334B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3020133 | 2017-01-26 | 1.32 | 1.24 | 106.4516 | 6.4516 | 0.51282 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17026A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1030298 | 2017-05-09 | 1.5857 | 1.24 | 127.879 | 27.879 | 2.216 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17129A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1170220 | 2017-05-26 | 1.531 | 1.24 | 123.4677 | 23.4677 | 1.8654 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17144B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2290112 | 2017-10-04 | 4.2362 | 4.01 | 105.6409 | 5.6409 | 0.76939 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS17276C
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2430128 | 2017-10-11 | 4.0286 | 4.01 | 100.4638 | 0.46384 | 0.063265 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS17284A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3200136 | 2017-03-02 | 4.0814 | 3.7 | 110.3081 | 10.3081 | 1.4285 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17061A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3370119 | 2016-12-13 | 3.14 | 3.7 | 84.8649 | -15.1351 | -2.0974 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS16348A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1290178 | 2017-06-20 | 4.152 | 3.7 | 112.2162 | 12.2162 | 1.6929 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17171A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1430168 | 2017-07-17 | 3.7259 | 3.7 | 100.7 | 0.7 | 0.097004 | 0.2 | 3304 | Sample was diluted |  |  | µg/L | T223 | ICPMS17198B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3130044 | 2016-12-07 | 20.53 | 19.9 | 103.1658 | 3.1658 | 0.63317 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS16342A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3270122 | 2017-02-16 | 19.9392 | 19.9 | 100.197 | 0.19698 | 0.039397 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17038A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1220113 | 2017-05-26 | 21.0407 | 19.9 | 105.7322 | 5.7322 | 1.1464 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17144B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1370163 | 2017-06-20 | 20.4911 | 19.9 | 102.9704 | 2.9704 | 0.59407 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17171A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3220018 | 2016-12-08 | 3.95 | 3.78 | 104.4974 | 4.4974 | 0.62731 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS16343A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3370164 | 2016-12-13 | 3.88 | 3.78 | 102.6455 | 2.6455 | 0.369 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS16348A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1310185 | 2017-06-20 | 3.8447 | 3.78 | 101.7116 | 1.7116 | 0.23875 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17171A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1450234 | 2017-06-23 | 3.8834 | 3.78 | 102.7354 | 2.7354 | 0.38155 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17174A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0380073 | 2017-02-27 | 19.7184 | 19.9 | 99.0874 | -0.91256 | -0.18251 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17058A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0540066 | 2017-04-07 | 20.6569 | 19.9 | 103.8035 | 3.8035 | 0.7607 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17095B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2270191 | 2017-10-03 | 18.3621 | 19.9 | 92.2719 | -7.7281 | -1.5456 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17276A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2410214 | 2017-10-11 | 20.2408 | 19.9 | 101.7126 | 1.7126 | 0.34251 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17284A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0330060 | 2017-03-08 | 4.1646 | 3.7 | 112.5568 | 12.5568 | 1.7401 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17065A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0450117 | 2017-03-24 | 4.0639 | 3.7 | 109.8351 | 9.8351 | 1.3629 | 0.2 | 3304 | Analyte detected in laboratory blank | See result laboratory comment |  | µg/L | T223 | ICPMS17080A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2200291 | 2017-10-02 | 4.1451 | 3.7 | 112.0297 | 12.0297 | 1.667 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17275A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2340157 | 2017-10-05 | 3.9198 | 3.7 | 105.9405 | 5.9405 | 0.82322 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17277B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0100050 | 2017-02-22 | 4.2023 | 3.78 | 111.172 | 11.172 | 1.5583 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17053A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0240086 | 2017-02-22 | 3.7993 | 3.78 | 100.5106 | 0.51058 | 0.071218 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17053A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1920149 | 2017-07-21 | 7.422 | 3.78 | 196.3492 | 96.3492 | 13.4391 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17202B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2060194 | 2017-09-29 | 16.5758 | 3.78 | 438.5132 | 338.5132 | 47.217 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17272A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0040033 | 2017-02-21 | 3.9988 | 4.01 | 99.7207 | -0.2793 | -0.038095 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS17052B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0190006 | 2017-02-23 | 4.7815 | 4.01 | 119.2394 | 19.2394 | 2.6241 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS17053A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1870005 | 2017-07-20 | 4.0774 | 4.01 | 101.6808 | 1.6808 | 0.22925 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS17201A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1990222 | 2017-07-27 | 3.9837 | 4.01 | 99.3441 | -0.65586 | -0.089456 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS17207B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0730075 | 2017-03-28 | 0.7532 | 0.764 | 98.5864 | -1.4136 | -0.075524 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS17087A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0870131 | 2017-04-12 | 0.7727 | 0.764 | 101.1387 | 1.1387 | 0.060839 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS17101A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2560128 | 2017-10-18 | 0.6555 | 0.764 | 85.7984 | -14.2016 | -0.75874 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS17289C
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2690198 | 2017-12-01 | 0.9511 | 0.764 | 124.4895 | 24.4895 | 1.3084 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS17324A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0660085 | 2017-04-10 | 2.2552 | 1.24 | 181.871 | 81.871 | 6.5077 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17100A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0800017 | 2017-03-28 | 1.757 | 1.24 | 141.6935 | 41.6935 | 3.3141 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17087A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2500006 | 2017-10-16 | 1.3069 | 1.24 | 105.3952 | 5.3952 | 0.42885 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17289B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2620203 | 2017-12-01 | 1.3205 | 1.24 | 106.4919 | 6.4919 | 0.51603 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17324A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0760023 | 2017-03-28 | 3.9061 | 3.7 | 105.5703 | 5.5703 | 0.77191 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17087A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 0890147 | 2017-04-11 | 4.01 | 3.7 | 108.3784 | 8.3784 | 1.161 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17101A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2580020 | 2017-11-30 | 3.6289 | 3.7 | 98.0784 | -1.9216 | -0.26629 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17324A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2710006 | 2017-12-04 | 3.5188 | 3.7 | 95.1027 | -4.8973 | -0.67865 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17338A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3480033 | 2017-01-31 | 1.19 | 1.24 | 95.9677 | -4.0323 | -0.32051 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17031B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3630023 | 2017-02-21 | 1.2102 | 1.24 | 97.5968 | -2.4032 | -0.19103 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17052B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1640178 | 2017-06-30 | 2.4774 | 1.24 | 199.7903 | 99.7903 | 7.9321 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17180A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1780227 | 2017-07-20 | 1.9564 | 1.24 | 157.7742 | 57.7742 | 4.5923 | 0.2 | 3304 |  |  |  | µg/L | T211 | ICPMS17201A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3410125 | 2017-01-31 | 0.79 | 0.764 | 103.4031 | 3.4031 | 0.18182 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS17031B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 3550006 | 2017-01-31 | 0.74 | 0.764 | 96.8586 | -3.1414 | -0.16783 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS17031B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1570092 | 2017-06-27 | 0.7918 | 0.764 | 103.6387 | 3.6387 | 0.19441 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS17178A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1710241 | 2017-07-19 | 0.8806 | 0.764 | 115.2618 | 15.2618 | 0.81538 | 0.2 | 3304 | Sample was diluted |  |  | µg/L | T215 | ICPMS17200B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 1940221 | 2017-07-25 | 0.8747 | 0.764 | 114.4895 | 14.4895 | 0.77413 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS17206B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2017 | 2080086 | 2017-09-30 | 0.7207 | 0.764 | 94.3325 | -5.6675 | -0.3028 | 0.2 | 3304 |  |  |  | µg/L | T215 | ICPMS17272A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2760114 | 2017-12-04 | 4.2064 | 3.78 | 111.2804 | 11.2804 | 1.5734 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17338A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2910001 | 2017-12-13 | 3.3172 | 3.78 | 87.7566 | -12.2434 | -1.7077 | 0.2 | 3304 | Sample was diluted |  |  | µg/L | T221 | ICPMS17346B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0930126 | 2018-05-01 | 3.7516 | 3.78 | 99.2487 | -0.75132 | -0.1048 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS18121B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1080117 | 2018-05-07 | 4.0108 | 3.78 | 106.1058 | 6.1058 | 0.85166 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS18127A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2860038 | 2017-12-13 | 3.9128 | 4.01 | 97.5761 | -2.4239 | -0.33061 | 0.2 | 3304 | Sample was diluted |  |  | µg/L | T217 | ICPMS17346B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2970215 | 2017-12-06 | 4.4414 | 4.01 | 110.7581 | 10.7581 | 1.4673 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS17339C
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1020132 | 2018-05-01 | 4.027 | 4.01 | 100.4239 | 0.42394 | 0.057823 | 0.4 | 3304 |  |  |  | µg/L | T217 | ICPMS18121B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1140191 | 2018-05-08 | 4.3296 | 4.01 | 107.9701 | 7.9701 | 1.0871 | 0.4 | 3304 |  |  |  | µg/L | T217 | ICPMS18127A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1650204 | 2018-07-16 | 20.6554 | 19.9 | 103.796 | 3.796 | 0.7592 | 0.4 | 3304 |  |  |  | µg/L | T219 | ICPMS18193B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1790143 | 2018-07-25 | 20.3005 | 19.9 | 102.0126 | 2.0126 | 0.40251 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T219 | ICPMS18201A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2860176 | 2017-12-14 | 2.2383 | 2.45 | 91.3592 | -8.6408 | -0.43921 | 0.2 | 3304 | Sample was diluted |  |  | µg/L | T225 | ICPMS17346B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2990148 | 2017-12-28 | 2.2444 | 2.45 | 91.6082 | -8.3918 | -0.42656 | 0.2 | 3304 | Sample was diluted |  |  | µg/L | T225 | ICPMS17361A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1030057 | 2018-05-02 | 2.4618 | 2.45 | 100.4816 | 0.48163 | 0.024481 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS18121B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1160209 | 2018-05-23 | 2.4781 | 2.45 | 101.1469 | 1.1469 | 0.058299 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS18142A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2280203 | 2018-08-28 | 4.225 | 4.01 | 105.3616 | 5.3616 | 0.73129 | 0.4 | 3304 |  |  |  | µg/L | T217 | ICPMS18240A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2420121 | 2018-09-12 | 4.0942 | 4.01 | 102.0998 | 2.0998 | 0.28639 | 0.4 | 3304 |  |  |  | µg/L | T217 | ICPMS18253B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3180171 | 2017-12-13 | 4.0111 | 3.7 | 108.4081 | 8.4081 | 1.1652 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17346B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3330004 | 2017-12-27 | 3.9203 | 3.7 | 105.9541 | 5.9541 | 0.82509 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS17361A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1350128 | 2018-06-06 | 3.8793 | 3.7 | 104.8459 | 4.8459 | 0.67154 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS18157B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1500140 | 2018-06-18 | 3.7966 | 3.7 | 102.6108 | 2.6108 | 0.3618 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS18169A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3110098 | 2017-12-07 | 20.6253 | 19.9 | 103.6447 | 3.6447 | 0.72894 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17341B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3250154 | 2017-12-27 | 22.5009 | 19.9 | 113.0698 | 13.0698 | 2.614 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS17361A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1280142 | 2018-05-23 | 20.9947 | 19.9 | 105.501 | 5.501 | 1.1002 | 0.4 | 3304 |  |  |  | µg/L | T219 | ICPMS18143A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1420223 | 2018-06-08 | 20.294 | 19.9 | 101.9799 | 1.9799 | 0.39598 | 0.4 | 3304 |  |  |  | µg/L | T219 | ICPMS18158B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3200122 | 2017-12-13 | 3.64 | 3.78 | 96.2963 | -3.7037 | -0.51661 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS17346B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3340146 | 2018-01-03 | 4.0252 | 3.78 | 106.4868 | 6.4868 | 0.9048 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS18003B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1380027 | 2018-06-06 | 3.7716 | 3.78 | 99.7778 | -0.22222 | -0.030996 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS18157B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1510124 | 2018-06-18 | 3.7795 | 3.78 | 99.9868 | -0.013228 | -0.001845 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS18169A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0440095 | 2018-03-06 | 19.9843 | 19.9 | 100.4236 | 0.42362 | 0.084724 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS18060A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0580118 | 2018-03-14 | 20.5293 | 19.9 | 103.1623 | 3.1623 | 0.63246 | 0.2 | 3304 |  |  |  | µg/L | T219 | ICPMS18071A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2260149 | 2018-08-28 | 21.1524 | 19.9 | 106.2935 | 6.2935 | 1.2587 | 0.4 | 3304 |  |  |  | µg/L | T219 | ICPMS18240A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2410018 | 2018-09-12 | 21.3453 | 19.9 | 107.2628 | 7.2628 | 1.4526 | 0.4 | 3304 |  |  |  | µg/L | T219 | ICPMS18253B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0370095 | 2018-02-21 | 3.8322 | 3.7 | 103.573 | 3.573 | 0.49513 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS18051B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0520070 | 2018-03-13 | 4.0144 | 3.7 | 108.4973 | 8.4973 | 1.1775 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS18071A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2200026 | 2018-08-21 | 3.7764 | 3.7 | 102.0649 | 2.0649 | 0.28614 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T223 | ICPMS18233A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2330199 | 2018-08-28 | 3.9178 | 3.7 | 105.8865 | 5.8865 | 0.81573 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS18240A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0170071 | 2018-02-01 | 4.0278 | 3.78 | 106.5556 | 6.5556 | 0.91439 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS18032A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0300092 | 2018-02-13 | 4.048 | 3.78 | 107.0899 | 7.0899 | 0.98893 | 0.2 | 3304 |  |  |  | µg/L | T221 | ICPMS18039A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1910179 | 2018-07-25 | 3.8128 | 3.78 | 100.8677 | 0.86772 | 0.12103 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T221 | ICPMS18201A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2050299 | 2018-08-03 | 3.7242 | 3.78 | 98.5238 | -1.4762 | -0.2059 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS18215B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0100019 | 2018-01-25 | 4.2315 | 4.01 | 105.5237 | 5.5237 | 0.7534 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS18024B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0240044 | 2018-02-13 | 4.2295 | 4.01 | 105.4738 | 5.4738 | 0.7466 | 0.2 | 3304 |  |  |  | µg/L | T217 | ICPMS18039A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1840099 | 2018-07-26 | 4.0478 | 4.01 | 100.9426 | 0.94264 | 0.12857 | 0.4 | 3304 |  |  |  | µg/L | T217 | ICPMS18201A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1990130 | 2018-08-02 | 4.1563 | 4.01 | 103.6484 | 3.6484 | 0.49762 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T217 | ICPMS18214B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0730071 | 2018-04-30 | 8.2209 | 8.19 | 100.3773 | 0.37729 | 0.06319 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS18120B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0860122 | 2018-04-16 | 8.1327 | 8.19 | 99.3004 | -0.69963 | -0.11718 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS18106A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2550005 | 2018-09-18 | 8.1998 | 8.19 | 100.1197 | 0.11966 | 0.020041 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS18261B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2680171 | 2018-10-12 | 8.353 | 8.19 | 101.9902 | 1.9902 | 0.33333 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS18284B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0650045 | 2018-03-21 | 2.4626 | 2.45 | 100.5143 | 0.51429 | 0.026141 | 0.2 | 3304 |  |  |  | µg/L | T225 | ICPMS18079A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0790092 | 2018-04-17 | 2.513 | 2.45 | 102.5714 | 2.5714 | 0.13071 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS18106A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2490026 | 2018-09-19 | 2.3924 | 2.45 | 97.649 | -2.351 | -0.1195 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T225 | ICPMS18261B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2610146 | 2018-10-04 | 2.3941 | 2.45 | 97.7184 | -2.2816 | -0.11598 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS18271B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0740074 | 2018-03-28 | 3.8195 | 3.7 | 103.2297 | 3.2297 | 0.44757 | 0.2 | 3304 |  |  |  | µg/L | T223 | ICPMS18086B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 0880082 | 2018-04-16 | 3.9612 | 3.7 | 107.0595 | 7.0595 | 0.97828 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS18106A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2560308 | 2018-10-03 | 3.8191 | 3.7 | 103.2189 | 3.2189 | 0.44607 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS18271B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2700189 | 2018-10-15 | 3.9418 | 3.7 | 106.5351 | 6.5351 | 0.90562 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS18288B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3460079 | 2018-01-04 | 2.4503 | 2.45 | 100.0122 | 0.012245 | 0.00062241 | 0.2 | 3304 |  |  |  | µg/L | T225 | ICPMS18004A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3610007 | 2018-01-11 | 2.4873 | 2.45 | 101.5224 | 1.5224 | 0.077386 | 0.2 | 3304 |  |  |  | µg/L | T225 | ICPMS18010B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1640022 | 2018-07-17 | 2.4068 | 2.45 | 98.2367 | -1.7633 | -0.089627 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS18193B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1770196 | 2018-07-20 | 2.338 | 2.45 | 95.4286 | -4.5714 | -0.23237 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS18198A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3390056 | 2018-01-03 | 8.4824 | 8.19 | 103.5702 | 3.5702 | 0.59796 | 0.2 | 3304 |  |  |  | µg/L | T227 | ICPMS18003B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 3540001 | 2018-01-10 | 8.4858 | 8.19 | 103.6117 | 3.6117 | 0.60491 | 0.2 | 3304 |  |  |  | µg/L | T227 | ICPMS18010B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1560173 | 2018-07-16 | 8.4721 | 8.19 | 103.4444 | 3.4444 | 0.57689 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS18193B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1700199 | 2018-08-01 | 8.7239 | 8.19 | 106.5189 | 6.5189 | 1.0918 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS18211B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 1930155 | 2018-08-01 | 8.6702 | 8.19 | 105.8632 | 5.8632 | 0.982 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS18211B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2018 | 2070282 | 2018-08-03 | 8.0424 | 8.19 | 98.1978 | -1.8022 | -0.30184 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS18215B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2760034 | 2018-10-15 | 3.8122 | 3.78 | 100.8519 | 0.85185 | 0.11882 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS18288B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2890061 | 2018-10-29 | 4.0836 | 3.78 | 108.0317 | 8.0317 | 1.1203 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS18299B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0920065 | 2019-04-30 | 3.8746 | 3.78 | 102.5026 | 2.5026 | 0.34908 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS19119B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1060103 | 2019-05-06 | 3.9789 | 3.78 | 105.2619 | 5.2619 | 0.73395 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS19122B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2830105 | 2018-10-29 | 22.7746 | 21.6 | 105.438 | 5.438 | 0.88316 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS18299B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2960205 | 2018-11-27 | 22.9436 | 21.6 | 106.2204 | 6.2204 | 1.0102 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS18324A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0990128 | 2019-05-06 | 22.3244 | 21.6 | 103.3537 | 3.3537 | 0.54466 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19122B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1130095 | 2019-05-06 | 22.3481 | 21.6 | 103.4634 | 3.4634 | 0.56248 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS19122B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1640207 | 2019-07-02 | 6.5554 | 6.41 | 102.2683 | 2.2683 | 0.45367 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS19183B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1780227 | 2019-08-01 | 6.3062 | 6.41 | 98.3807 | -1.6193 | -0.32387 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19211A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2840111 | 2018-10-30 | 2.5112 | 2.45 | 102.498 | 2.498 | 0.12697 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS18299B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2980090 | 2018-11-29 | 2.7705 | 2.45 | 113.0816 | 13.0816 | 0.66494 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS18331A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1010105 | 2019-05-06 | 2.4346 | 2.45 | 99.3714 | -0.62857 | -0.03195 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19122B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1150184 | 2019-05-06 | 2.564 | 2.45 | 104.6531 | 4.6531 | 0.23651 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS19122B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2270233 | 2019-09-05 | 22.2166 | 21.6 | 102.8546 | 2.8546 | 0.46361 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS19247A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 3180066 | 2019-02-07 | 4.3915 | 3.7 | 118.6892 | 18.6892 | 2.5899 | 0.4 | 3304 | Sample was diluted |  |  | µg/L | T223 | ICPMS19036B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 3320104 | 2019-02-25 | 4.8275 | 3.7 | 130.473 | 30.473 | 4.2228 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS19051B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1340212 | 2019-06-06 | 3.8872 | 3.7 | 105.0595 | 5.0595 | 0.70112 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS19157A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1490062 | 2019-06-24 | 4.8723 | 3.7 | 131.6838 | 31.6838 | 4.3906 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS19169A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 3100174 | 2019-02-05 | 6.2538 | 6.41 | 97.5632 | -2.4368 | -0.48736 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS19035A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 3270026 | 2019-02-12 | 6.3369 | 6.41 | 98.8596 | -1.1404 | -0.22808 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS19042A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1280117 | 2019-06-05 | 6.5504 | 6.41 | 102.1903 | 2.1903 | 0.43807 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19154A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1410229 | 2019-06-12 | 6.5617 | 6.41 | 102.3666 | 2.3666 | 0.47332 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19158A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 3250019 | 2019-02-06 | 3.8307 | 3.78 | 101.3413 | 1.3413 | 0.18708 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS19036B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 3330148 | 2019-02-25 | 3.715 | 3.78 | 98.2804 | -1.7196 | -0.23985 | 0.4 | 3304 | Value verified by rerun, same method |  |  | µg/L | T221 | ICPMS19051B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1360139 | 2019-06-11 | 3.8838 | 3.78 | 102.746 | 2.746 | 0.38303 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS19158A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1550159 | 2019-07-23 | 3.6818 | 3.78 | 97.4021 | -2.5979 | -0.36236 | 0.4 | 3304 | Value verified by rerun, same method |  |  | µg/L | T221 | ICPMS19203A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0570186 | 2019-04-08 | 6.4062 | 6.41 | 99.9407 | -0.059282 | -0.011856 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19098A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2250166 | 2019-09-04 | 6.4412 | 6.41 | 100.4867 | 0.48674 | 0.097348 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS19247A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2390203 | 2019-09-23 | 6.374 | 6.41 | 99.4384 | -0.56162 | -0.11232 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS19266A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0520007 | 2019-03-29 | 3.8345 | 3.7 | 103.6351 | 3.6351 | 0.50375 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19087B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2180150 | 2019-09-17 | 285.0276 | 3.7 | 7703.4486 | 7603.4486 | 1053.6614 | 0.4 | 3304 | Sample was diluted |  |  | µg/L | T223 | ICPMS19260A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2320181 | 2019-09-09 | 4.2228 | 3.7 | 114.1297 | 14.1297 | 1.9581 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS19252A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1900100 | 2019-08-19 | 5.8675 | 3.78 | 155.2249 | 55.2249 | 7.703 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T221 | ICPMS19231B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2050046 | 2019-08-19 | 4.2093 | 3.78 | 111.3571 | 11.3571 | 1.5841 | 0.4 | 3304 |  |  |  | µg/L | T221 | ICPMS19231B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1830106 | 2019-08-15 | 22.4794 | 21.6 | 104.0713 | 4.0713 | 0.6612 | 0.4 | 3304 | Sample was diluted |  |  | µg/L | T229 | ICPMS19219B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2000016 | 2019-08-20 | 22.5013 | 21.6 | 104.1727 | 4.1727 | 0.67767 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19231B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0720020 | 2019-04-27 | 7.9663 | 8.19 | 97.2686 | -2.7314 | -0.45746 | 0.4 | 3304 | Value verified by rerun, same method | Sample was diluted |  | µg/L | T227 | ICPMS19114A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0860006 | 2019-04-30 | 8.2368 | 8.19 | 100.5714 | 0.57143 | 0.095706 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19119B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2550075 | 2019-10-01 | 8.2436 | 8.19 | 100.6545 | 0.65446 | 0.10961 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19274A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2680149 | 2019-12-03 | 8.5178 | 8.19 | 104.0024 | 4.0024 | 0.67035 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19322A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0640092 | 2019-04-17 | 2.4584 | 2.45 | 100.3429 | 0.34286 | 0.017427 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19105A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0780096 | 2019-04-26 | 2.4536 | 2.45 | 100.1469 | 0.14694 | 0.0074689 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19114A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2470180 | 2019-10-02 | 2.5385 | 2.45 | 103.6122 | 3.6122 | 0.18361 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS19274A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2600328 | 2019-10-09 | 2.6294 | 2.45 | 107.3224 | 7.3224 | 0.3722 | 0.4 | 3304 | Sample was diluted |  |  | µg/L | T225 | ICPMS19282B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0730067 | 2019-04-16 | 3.9023 | 3.7 | 105.4676 | 5.4676 | 0.75768 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19105A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 0870140 | 2019-04-30 | 3.7955 | 3.7 | 102.5811 | 2.5811 | 0.35768 | 0.4 | 3304 |  |  |  | µg/L | T223 | ICPMS19119B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 3450114 | 2019-02-21 | 2.8012 | 2.45 | 114.3347 | 14.3347 | 0.72863 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS19045B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1620136 | 2019-07-03 | 6.9727 | 2.45 | 284.6 | 184.6 | 9.3832 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS19183B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1760173 | 2019-07-23 | 2.9699 | 2.45 | 121.2204 | 21.2204 | 1.0786 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS19203A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 3400024 | 2019-02-20 | 9.646 | 8.19 | 117.7778 | 17.7778 | 2.9775 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS19045B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 3530016 | 2019-02-20 | 8.9699 | 8.19 | 109.5226 | 9.5226 | 1.5949 | 0.4 | 3304 | Value verified by rerun, same method |  |  | µg/L | T227 | ICPMS19045B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1550162 | 2019-06-26 | 8.4297 | 8.19 | 102.9267 | 2.9267 | 0.49018 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19175B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1690137 | 2019-07-02 | 8.2352 | 8.19 | 100.5519 | 0.55189 | 0.092434 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS19183B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 1930195 | 2019-08-05 | 8.2851 | 8.19 | 101.1612 | 1.1612 | 0.19448 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS19217A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2019 | 2060243 | 2019-08-27 | 8.3813 | 8.19 | 102.3358 | 2.3358 | 0.39121 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS19238A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2810114 | 2019-12-19 | 3.6574 | 3.98 | 91.8945 | -8.1055 | -1.613 | 0.4 | 3304 | Value verified by rerun, same method |  |  | µg/L | T233 | ICPMS19352B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2950100 | 2019-12-16 | 3.9611 | 3.98 | 99.5251 | -0.47487 | -0.0945 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T233 | ICPMS19347B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0980043 | 2020-04-23 | 3.9051 | 3.98 | 98.1181 | -1.8819 | -0.3745 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS20114A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 1120049 | 2020-05-04 | 3.7573 | 3.98 | 94.4045 | -5.5955 | -1.1135 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS20125B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2890221 | 2019-12-12 | 21.2113 | 21.6 | 98.2005 | -1.7995 | -0.29226 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19344B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 3030027 | 2019-12-18 | 21.5475 | 21.6 | 99.7569 | -0.24306 | -0.039474 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19350A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 1060059 | 2020-04-23 | 22.0757 | 21.6 | 102.2023 | 2.2023 | 0.35767 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20114A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 3170095 | 2019-12-30 | 6.7475 | 6.9 | 97.7899 | -2.2101 | -0.44203 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 3310060 | 2019-12-30 | 6.6272 | 6.9 | 96.0464 | -3.9536 | -0.79072 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 1330126 | 2020-06-12 | 7.5524 | 6.9 | 109.4551 | 9.4551 | 1.891 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS20163B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 3090147 | 2019-12-30 | 6.6276 | 6.41 | 103.3947 | 3.3947 | 0.67894 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19364A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 3230099 | 2019-12-30 | 6.3166 | 6.41 | 98.5429 | -1.4571 | -0.29142 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS19364A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0420076 | 2020-03-03 | 5.9262 | 6.41 | 92.4524 | -7.5476 | -1.5095 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS20063B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0560053 | 2020-03-04 | 6.1454 | 6.41 | 95.8721 | -4.1279 | -0.82559 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T231 | ICPMS20064A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2240092 | 2020-09-24 | 6.4919 | 6.41 | 101.2777 | 1.2777 | 0.25554 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS20276A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2390027 | 2020-09-29 | 6.9317 | 6.41 | 108.1388 | 8.1388 | 1.6278 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS20273A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0350135 | 2020-03-03 | 6.7902 | 6.9 | 98.4087 | -1.5913 | -0.31826 | 0.4 | 3304 | Value verified by rerun, same method |  |  | µg/L | T235 | ICPMS20063B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0500059 | 2020-03-04 | 6.3476 | 6.9 | 91.9942 | -8.0058 | -1.6012 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20064A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2170035 | 2020-09-17 | 7.2265 | 6.9 | 104.7319 | 4.7319 | 0.94638 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS20260A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2320037 | 2020-09-24 | 6.7769 | 6.9 | 98.2159 | -1.7841 | -0.35681 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS20276A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0150017 | 2020-02-03 | 4.4171 | 3.98 | 110.9824 | 10.9824 | 2.1855 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS20031A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0280070 | 2020-02-03 | 3.764 | 3.98 | 94.5729 | -5.4271 | -1.08 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS20031A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 1960126 | 2020-09-03 | 3.9149 | 3.98 | 98.3643 | -1.6357 | -0.3255 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS20247B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2120199 | 2020-09-17 | 4.2175 | 3.98 | 105.9673 | 5.9673 | 1.1875 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS20260A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0070044 | 2020-01-21 | 21.1609 | 21.6 | 97.9671 | -2.0329 | -0.33015 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20021A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0220109 | 2020-02-03 | 21.3658 | 21.6 | 98.9157 | -1.0843 | -0.17609 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20031A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 1890182 | 2020-09-02 | 23.7974 | 21.6 | 110.1731 | 10.1731 | 1.6522 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS20245B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2040025 | 2020-09-03 | 22.1738 | 21.6 | 102.6565 | 2.6565 | 0.43143 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS20247B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0700103 | 2020-04-20 | 8.009 | 8.19 | 97.79 | -2.21 | -0.37014 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20111B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0840029 | 2020-04-22 | 7.8839 | 8.19 | 96.2625 | -3.7375 | -0.62597 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20113B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2590164 | 2020-10-08 | 8.7677 | 8.19 | 107.0537 | 7.0537 | 1.1814 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS20281B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2740056 | 2020-10-22 | 8.4448 | 8.19 | 103.1111 | 3.1111 | 0.52106 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS20296B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0630051 | 2020-03-18 | 2.5059 | 2.45 | 102.2816 | 2.2816 | 0.11598 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20076A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 0770114 | 2020-06-03 | 2.5062 | 2.45 | 102.2939 | 2.2939 | 0.1166 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS20153B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2530137 | 2020-10-06 | 2.8962 | 2.45 | 118.2122 | 18.2122 | 0.92573 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS20279B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 2670298 | 2020-10-09 | 2.7752 | 2.45 | 113.2735 | 13.2735 | 0.67469 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS20281B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 3440294 | 2020-01-30 | 2.104 | 2.45 | 85.8776 | -14.1224 | -0.71784 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS20030A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 3600045 | 2020-01-21 | 2.1352 | 2.45 | 87.151 | -12.849 | -0.65311 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20021A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 1610191 | 2020-07-01 | 2.7058 | 2.45 | 110.4408 | 10.4408 | 0.53071 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS20182B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 1760101 | 2020-08-28 | 2.4666 | 2.45 | 100.6776 | 0.67755 | 0.03444 | 0.4 | 3304 |  |  |  | µg/L | T225 | ICPMS20240A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 3370103 | 2020-01-10 | 8.2475 | 8.19 | 100.7021 | 0.70208 | 0.11759 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 3510023 | 2020-01-10 | 8.1698 | 8.19 | 99.7534 | -0.24664 | -0.041309 | 0.4 | 3304 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 1550007 | 2020-07-01 | 9.1677 | 8.19 | 111.9377 | 11.9377 | 1.9994 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS20182B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2020 | 1680149 | 2020-08-27 | 8.3196 | 8.19 | 101.5824 | 1.5824 | 0.26503 | 0.4 | 3304 |  |  |  | µg/L | T227 | ICPMS20240A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 2810032 | 2020-10-22 | 4.3301 | 3.98 | 108.7965 | 8.7965 | 1.7505 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS20296B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 2950028 | 2021-01-13 | 3.8334 | 3.98 | 96.3166 | -3.6834 | -0.733 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS21013B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0970048 | 2021-05-21 | 3.4867 | 3.98 | 87.6055 | -12.3945 | -2.4665 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS21140A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1110004 | 2021-06-02 | 3.8705 | 3.98 | 97.2487 | -2.7513 | -0.5475 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS21153A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 2880069 | 2020-12-30 | 23.2952 | 21.6 | 107.8481 | 7.8481 | 1.2746 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS20350A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 3010155 | 2021-01-14 | 23.5959 | 21.6 | 109.2403 | 9.2403 | 1.5007 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS21013B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1030144 | 2021-05-05 | 22.5377 | 21.6 | 104.3412 | 4.3412 | 0.70504 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS21125A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1180038 | 2021-06-16 | 22.5161 | 21.6 | 104.2412 | 4.2412 | 0.6888 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS21167B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 3150100 | 2021-01-15 | 7.0921 | 6.9 | 102.7841 | 2.7841 | 0.55681 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS21015A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 3300047 | 2021-02-02 | 7.2315 | 6.9 | 104.8043 | 4.8043 | 0.96087 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS21033A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1320162 | 2021-06-29 | 6.799 | 6.9 | 98.5362 | -1.4638 | -0.29275 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS21180B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1460003 | 2021-07-10 | 6.9838 | 6.9 | 101.2145 | 1.2145 | 0.2429 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS21188B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 3080107 | 2021-01-14 | 6.6766 | 6.41 | 104.1591 | 4.1591 | 0.83183 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS21013B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 3230039 | 2021-01-27 | 6.148 | 6.41 | 95.9126 | -4.0874 | -0.81747 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS21026B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1250004 | 2021-06-16 | 6.4095 | 6.41 | 99.9922 | -0.0078003 | -0.0015601 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS21167B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1380139 | 2021-07-02 | 6.1655 | 6.41 | 96.1856 | -3.8144 | -0.76287 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS21182B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0330077 | 2021-05-07 | 6.4673 | 6.41 | 100.8939 | 0.89392 | 0.17878 | 0.4 | 3304 | Sample was diluted |  |  | µg/L | T231 | ICPMS21126A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0480038 | 2021-05-04 | 5.8813 | 6.41 | 91.752 | -8.248 | -1.6496 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS21124A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 2220178 | 2021-09-23 | 6.6559 | 6.41 | 103.8362 | 3.8362 | 0.76724 | 0.4 | 3304 |  |  |  | µg/L | T231 | ICPMS21258B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0400076 | 2021-05-04 | 6.8498 | 6.9 | 99.2725 | -0.72754 | -0.14551 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS21124A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0540055 | 2021-05-11 | 6.9464 | 6.9 | 100.6725 | 0.67246 | 0.13449 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS21131A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 2150046 | 2021-08-30 | 7.0295 | 6.9 | 101.8768 | 1.8768 | 0.37536 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS21242B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 2290121 | 2021-09-24 | 7.0713 | 6.9 | 102.4826 | 2.4826 | 0.49652 | 0.4 | 3304 |  |  |  | µg/L | T235 | ICPMS21267A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0120036 | 2021-03-04 | 4.0725 | 3.98 | 102.3241 | 2.3241 | 0.4625 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS21055A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0270078 | 2021-03-26 | 3.8564 | 3.98 | 96.8945 | -3.1055 | -0.618 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS21077A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1940229 | 2021-08-16 | 3.7535 | 3.98 | 94.309 | -5.691 | -1.1325 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS21228B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 2080172 | 2021-08-19 | 4.3535 | 3.98 | 109.3844 | 9.3844 | 1.8675 | 0.4 | 3304 |  |  |  | µg/L | T233 | ICPMS21230A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0050024 | 2021-03-04 | 21.998 | 21.6 | 101.8426 | 1.8426 | 0.29925 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS21055A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0210015 | 2021-03-26 | 21.6882 | 21.6 | 100.4083 | 0.40833 | 0.066316 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS21077A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1880114 | 2021-08-11 | 21.509 | 21.6 | 99.5787 | -0.4213 | -0.068421 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS21222B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 2010231 | 2021-08-19 | 21.3497 | 21.6 | 98.8412 | -1.1588 | -0.1882 | 0.4 | 3304 |  |  |  | µg/L | T229 | ICPMS21230A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0680063 | 2021-05-14 | 1.6823 | 1.61 | 104.4907 | 4.4907 | 0.3615 | 0.4 | 3304 | Sample was diluted |  |  | µg/L | T239 | ICPMS21132B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0830027 | 2021-05-15 | 1.5988 | 1.61 | 99.3043 | -0.69565 | -0.056 | 0.4 | 3304 | Analyte detected in laboratory blank | Below the reporting level but at or above the detection level | Sample was diluted | µg/L | T239 | ICPMS21134A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0620100 | 2021-05-13 | 8.7083 | 8.14 | 106.9816 | 6.9816 | 1.3963 | 0.4 | 3304 |  |  |  | µg/L | T237 | ICPMS21132B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 0760035 | 2021-05-14 | 8.6052 | 8.14 | 105.715 | 5.715 | 1.143 | 0.4 | 3304 |  |  |  | µg/L | T237 | ICPMS21134A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 3500073 | 2021-01-29 | 8.8124 | 8.14 | 108.2604 | 8.2604 | 1.6521 | 0.4 | 3304 |  |  |  | µg/L | T237 | ICPMS21028B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 3640015 | 2021-03-04 | 8.3802 | 8.14 | 102.9509 | 2.9509 | 0.59017 | 0.4 | 3304 |  |  |  | µg/L | T237 | ICPMS21055A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1600035 | 2021-07-24 | 7.9795 | 8.14 | 98.0283 | -1.9717 | -0.39435 | 0.4 | 3304 |  |  |  | µg/L | T237 | ICPMS21200B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1730218 | 2021-08-07 | 8.2701 | 8.14 | 101.5983 | 1.5983 | 0.31966 | 0.4 | 3304 |  |  |  | µg/L | T237 | ICPMS21218A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 3440081 | 2021-01-29 | 1.6465 | 1.61 | 102.2671 | 2.2671 | 0.1825 | 0.4 | 3304 |  |  |  | µg/L | T239 | ICPMS21028B
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 3580059 | 2021-03-04 | 1.4822 | 1.61 | 92.0621 | -7.9379 | -0.639 | 0.4 | 3304 |  |  |  | µg/L | T239 | ICPMS21055A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1540139 | 2021-07-16 | 1.5963 | 1.61 | 99.1491 | -0.85093 | -0.0685 | 0.4 | 3304 |  |  |  | µg/L | T239 | ICPMS21195A
Copper, UNF, cICP-MS | 01042 | PLM77 | UNF | 2021 | 1660119 | 2021-07-29 | 1.4635 | 1.61 | 90.9006 | -9.0994 | -0.7325 | 0.4 | 3304 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS21209B