## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1040075 | 2015-05-12 | 1.76 | 2.0125 | 87.4534 | -12.5466 | -0.97632 |  | 3305 | See result laboratory comment |  |  | ug/L | 25213-75211 | TCMS051115
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1190148 | 2015-05-12 | 1.729 | 2.0125 | 85.913 | -14.087 | -1.0962 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS051115
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1620201 | 2015-07-20 | 0.5655 | 1.02 | 55.4412 | -44.5588 | -2.165 | 0.2 | 3305 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS072015
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1740034 | 2015-07-23 | 0.6704 | 1.02 | 65.7255 | -34.2745 | -1.6653 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS072215
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2230087 | 2015-09-10 | 0.6726 | 1.1375 | 59.1297 | -40.8703 | -2.1554 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091015
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2370155 | 2015-09-19 | 0.6695 | 1.1375 | 58.8571 | -41.1429 | -2.1697 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091815
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1320073 | 2015-07-01 | 0.7975 | 0.91 | 87.6374 | -12.3626 | -0.55003 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS063015
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1470115 | 2015-06-12 | 0.9108 | 0.91 | 100.0879 | 0.087912 | 0.0039113 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS061115
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1250074 | 2015-06-08 | 0.6466 | 1.1375 | 56.844 | -43.156 | -2.2759 | 0.2 | 3305 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | 25209-75213 | TCMS060615
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1390153 | 2015-07-06 | 0.6343 | 1.1375 | 55.7626 | -44.2374 | -2.3329 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS070615
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2160028 | 2015-08-31 | 0.7749 | 0.91 | 85.1538 | -14.8462 | -0.66052 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS083115
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2320211 | 2015-09-17 | 0.9664 | 0.91 | 106.1978 | 6.1978 | 0.27575 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS091515
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1880120 | 2015-08-12 | 1.888 | 2.0125 | 93.8137 | -6.1863 | -0.4814 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS081115
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2030107 | 2015-09-02 | 1.607 | 2.0125 | 79.8509 | -20.1491 | -1.5679 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS090115
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2520016 | 2015-09-29 | 1.509 | 1.6725 | 90.2242 | -9.7758 | -0.67578 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS092915
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2660034 | 2015-10-07 | 1.472 | 1.6725 | 88.012 | -11.988 | -0.82871 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS100715
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2450074 | 2015-09-25 | 0.5694 | 1.02 | 55.8235 | -44.1765 | -2.1464 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS092415
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2580071 | 2015-10-01 | 0.5662 | 1.02 | 55.5098 | -44.4902 | -2.1617 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS093015
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1530193 | 2015-06-12 | 1.698 | 1.6725 | 101.5247 | 1.5247 | 0.1054 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS061115
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1690074 | 2015-07-22 | 1.609 | 1.6725 | 96.2033 | -3.7967 | -0.26246 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS072215
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 1950022 | 2015-08-13 | 0.5366 | 1.02 | 52.6078 | -47.3922 | -2.3027 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS081215
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2015 | 2090026 | 2015-08-25 | 0.6869 | 1.02 | 67.3431 | -32.6569 | -1.5867 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS082415
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2790069 | 2015-10-14 | 0.6417 | 1.02 | 62.9118 | -37.0882 | -1.802 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS101315
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2930192 | 2015-11-04 | 0.6145 | 1.02 | 60.2451 | -39.7549 | -1.9316 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS110415
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0960078 | 2016-04-22 | 0.6583 | 1.02 | 64.5392 | -35.4608 | -1.7229 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCME042116
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1110067 | 2016-04-28 | 0.6832 | 1.02 | 66.9804 | -33.0196 | -1.6043 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS042816
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2870054 | 2015-10-27 | 2.821 | 2.33 | 121.073 | 21.073 | 1.4109 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T217 | TCMS102315
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 3000098 | 2015-11-05 | 2.526 | 2.33 | 108.412 | 8.412 | 0.56322 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T217 | TCMS110415
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1030064 | 2016-04-27 | 2.676 | 2.33 | 114.8498 | 14.8498 | 0.99425 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T217 | TCMS042616
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1170029 | 2016-04-28 | 2.31 | 2.33 | 99.1416 | -0.85837 | -0.057471 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T217 | TCMS042816
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1660104 | 2016-08-11 | 2.28 | 2.23 | 102.2422 | 2.2422 | 0.20408 | 0.2 | 3305 | Result determined by alternate method | See result laboratory comment |  | µg/L | T211 | TC081016
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1800078 | 2016-07-26 | 2.347 | 2.23 | 105.2466 | 5.2466 | 0.47755 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T211 | TC071416
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2150172 | 2016-09-03 | 1.701 | 1.78 | 95.5618 | -4.4382 | -0.50641 | 0.2 | 3305 |  |  |  | µg/L | T219 | TC083116
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2290123 | 2016-11-23 | 1.82 | 1.78 | 102.2472 | 2.2472 | 0.25641 | 0.2 | 3305 | Value verified by rerun, same method |  |  | µg/L | T219 | ICPMS16327B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 3140098 | 2015-11-20 | 0.499 | 0.47 | 106.1702 | 6.1702 | 0.14216 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T209 | TCMS111915
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 3290007 | 2015-12-18 | 0.3539 | 0.47 | 75.2979 | -24.7021 | -0.56912 | 0.2 | 3305 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TCMS121715
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1320064 | 2016-06-18 | 0.4038 | 0.47 | 85.9149 | -14.0851 | -0.32451 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T209 | TC061716
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1460114 | 2016-06-24 | 0.3897 | 0.47 | 82.9149 | -17.0851 | -0.39363 | 0.2 | 3305 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TC062316
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 3070095 | 2015-11-17 | 2.067 | 1.78 | 116.1236 | 16.1236 | 1.8397 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T219 | TCMS111615
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 3210006 | 2015-12-10 | 2.041 | 1.78 | 114.6629 | 14.6629 | 1.6731 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T219 | TCMS120915
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1240108 | 2016-06-02 | 1.782 | 1.78 | 100.1124 | 0.11236 | 0.012821 | 0.2 | 3305 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T219 | TC060116
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1400027 | 2016-06-18 | 2.3 | 1.78 | 129.2135 | 29.2135 | 3.3333 | 0.2 | 3305 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T219 | TC061716
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0400035 | 2016-03-25 | 2.639 | 1.78 | 148.2584 | 48.2584 | 5.5064 | 0.2 | 3305 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T219 | TCMS032516
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0540101 | 2016-04-09 | 2.12 | 1.78 | 119.1011 | 19.1011 | 2.1795 | 0.2 | 3305 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T219 | TCMS040816
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0330057 | 2016-03-22 | 0.4 | 0.47 | 85.1064 | -14.8936 | -0.34314 | 0.2 | 3305 | Sample was diluted | See result laboratory comment |  | µg/L | T209 | TCMS032216
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0480024 | 2016-03-31 | 0.4125 | 0.47 | 87.766 | -12.234 | -0.28186 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T209 | TCMS033116
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2230020 | 2016-09-26 | 0.7127 | 0.47 | 151.6383 | 51.6383 | 1.1897 | 0.2 | 3305 |  |  |  | µg/L | T209 | 091916
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2360191 | 2016-10-08 | 0.42 | 0.47 | 89.3617 | -10.6383 | -0.2451 | 0.2 | 3305 | Analyte detected in laboratory blank | See result laboratory comment |  | µg/L | T209 | ICPMS16281B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0120026 | 2016-01-21 | 0.6802 | 1.02 | 66.6863 | -33.3137 | -1.6186 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS012116
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0260031 | 2016-02-05 | 0.5992 | 1.02 | 58.7451 | -41.2549 | -2.0045 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS020416
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0050023 | 2016-01-20 | 2.088 | 2.33 | 89.6137 | -10.3863 | -0.6954 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T217 | TCMS012016
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0200028 | 2016-02-04 | 2.181 | 2.33 | 93.6052 | -6.3948 | -0.42816 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T217 | TCMS020416
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1880119 | 2016-08-20 | 2.365 | 2.33 | 101.5021 | 1.5021 | 0.10057 | 0.2 | 3305 |  |  |  | µg/L | T217 | TC081916
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2010272 | 2016-08-09 | 2.309 | 2.33 | 99.0987 | -0.90129 | -0.060345 | 0.2 | 3305 |  |  |  | µg/L | T217 | TC080516
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0750071 | 2016-04-21 | 1.596 | 0.54 | 295.5556 | 195.5556 | 3.1617 | 0.2 | 3305 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T215 | TCMS042016
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0890172 | 2016-04-22 | 0.2886 | 0.54 | 53.4444 | -46.5556 | -0.75269 | 0.2 | 3305 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T215 | TCME042116
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2580002 | 2016-11-10 | 0.31 | 0.54 | 57.4074 | -42.5926 | -0.68862 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPMS16291B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2710083 | 2016-11-29 | 0.37 | 0.54 | 68.5185 | -31.4815 | -0.50898 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPMS16333A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0690046 | 2016-04-20 | 2.356 | 2.23 | 105.6502 | 5.6502 | 0.51429 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T211 | TCMS042016
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 0820024 | 2016-04-22 | 2.36 | 2.23 | 105.8296 | 5.8296 | 0.53061 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T211 | TCME042116
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2520013 | 2016-10-13 | 2.41 | 2.23 | 108.0717 | 8.0717 | 0.73469 | 0.2 | 3305 |  |  |  | µg/L | T211 | ICPMS16287A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2640186 | 2016-11-29 | 2.367 | 2.23 | 106.1435 | 6.1435 | 0.55918 | 0.2 | 3305 |  |  |  | µg/L | T211 | ICPMS16333A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 3500111 | 2016-01-04 | 3.33 | 2.23 | 149.3274 | 49.3274 | 4.4898 | 0.2 | 3305 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T211 | TCMS010416
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 3630067 | 2016-01-20 | 2.218 | 2.23 | 99.4619 | -0.53812 | -0.04898 | 0.2 | 3305 | Value verified by rerun, same method | Sample was diluted | See result laboratory comment | µg/L | T211 | TCMS012016
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 3420099 | 2015-12-21 | 0.3311 | 0.54 | 61.3148 | -38.6852 | -0.62545 | 0.2 | 3305 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T215 | TCMS122115
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 3560097 | 2016-01-05 | 0.8447 | 0.54 | 156.4259 | 56.4259 | 0.91228 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T215 | TCMS010416
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1590119 | 2016-06-30 | 0.5593 | 0.54 | 103.5741 | 3.5741 | 0.057784 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T215 | TC062916
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1740273 | 2016-07-26 | 0.9544 | 0.54 | 176.7407 | 76.7407 | 1.2407 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T215 | TC071416
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 1940102 | 2016-08-08 | 0.6033 | 1.02 | 59.1471 | -40.8529 | -1.9849 | 0.2 | 3305 |  |  |  | µg/L | 75213-25DIW | TC080516
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2016 | 2080216 | 2016-08-20 | 0.6071 | 1.02 | 59.5196 | -40.4804 | -1.9668 | 0.2 | 3305 |  |  |  | µg/L | 75213-25DIW | TC081916
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2780114 | 2016-11-29 | 0.45 | 0.6 | 75 | -25 | -0.53191 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS16334B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2940163 | 2016-11-30 | 0.5 | 0.6 | 83.3333 | -16.6667 | -0.35461 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS16335A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0940130 | 2017-04-11 | 0.5295 | 0.6 | 88.25 | -11.75 | -0.25 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS17101A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1080100 | 2017-05-09 | 0.5011 | 0.6 | 83.5167 | -16.4833 | -0.35071 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS17129A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2860091 | 2016-11-29 | 2.36 | 2.33 | 101.2876 | 1.2876 | 0.086207 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS16334B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 3000017 | 2016-12-05 | 2.44 | 2.33 | 104.721 | 4.721 | 0.31609 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS16340A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1020077 | 2017-05-10 | 2.4083 | 2.33 | 103.3605 | 3.3605 | 0.225 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS17129A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1150158 | 2017-05-10 | 2.3086 | 2.33 | 99.0815 | -0.91845 | -0.061494 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS17129A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 3200136 | 2017-01-26 | 0.51 | 0.51 | 100 | 0 | 0 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS17026A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 3370119 | 2017-01-26 | 0.55 | 0.51 | 107.8431 | 7.8431 | 0.4 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS17026A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1290178 | 2017-06-20 | 0.5001 | 0.51 | 98.0588 | -1.9412 | -0.099 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS17171A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1430168 | 2017-07-17 | 0.5206 | 0.51 | 102.0784 | 2.0784 | 0.106 | 0.2 | 3305 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T223 | ICPMS17198B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 3130044 | 2016-12-07 | 3.14 | 1.78 | 176.4045 | 76.4045 | 8.7179 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS16342A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 3270122 | 2016-12-08 | 1.61 | 1.78 | 90.4494 | -9.5506 | -1.0897 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS16343A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1220113 | 2017-06-19 | 1.9107 | 1.78 | 107.3427 | 7.3427 | 0.83782 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS17170A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1370163 | 2017-06-20 | 1.8772 | 1.78 | 105.4607 | 5.4607 | 0.62308 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS17171A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0380073 | 2017-04-11 | 1.9537 | 1.78 | 109.7584 | 9.7584 | 1.1135 | 0.2 | 3305 | Value verified by rerun, same method |  |  | µg/L | T219 | ICPMS17101A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0540066 | 2017-04-07 | 2.7497 | 1.78 | 154.4775 | 54.4775 | 6.216 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS17095B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2270191 | 2017-11-16 | 1.8083 | 1.78 | 101.5899 | 1.5899 | 0.18141 | 0.2 | 3305 | Value verified by rerun, same method | Sample was diluted |  | µg/L | T219 | ICPMS17320B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2410214 | 2017-10-11 | 1.7511 | 1.78 | 98.3764 | -1.6236 | -0.18526 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS17284A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0330060 | 2017-03-08 | 0.611 | 0.51 | 119.8039 | 19.8039 | 1.01 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS17065A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0450117 | 2017-03-23 | 0.5961 | 0.51 | 116.8824 | 16.8824 | 0.861 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS17080A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2200291 | 2017-10-02 | 0.5812 | 0.51 | 113.9608 | 13.9608 | 0.712 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS17275A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2340157 | 2017-10-05 | 0.5588 | 0.51 | 109.5686 | 9.5686 | 0.488 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS17277B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0100050 | 2017-02-22 | 0.5087 | 0.6 | 84.7833 | -15.2167 | -0.32376 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS17053A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0240086 | 2017-02-22 | 0.5069 | 0.6 | 84.4833 | -15.5167 | -0.33014 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS17053A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1920149 | 2017-07-21 | 0.5798 | 0.6 | 96.6333 | -3.3667 | -0.071631 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS17202B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2060194 | 2017-09-29 | 0.6644 | 0.6 | 110.7333 | 10.7333 | 0.22837 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS17272A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0040033 | 2017-04-07 | 2.4651 | 2.33 | 105.7983 | 5.7983 | 0.38822 | 0.2 | 3305 | Value verified by rerun, same method |  |  | µg/L | T217 | ICPMS17095B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0190006 | 2017-04-07 | 2.6979 | 2.33 | 115.7897 | 15.7897 | 1.0572 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS17095B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1870005 | 2017-07-20 | 2.2056 | 2.33 | 94.6609 | -5.3391 | -0.35747 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS17201A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1990222 | 2017-07-27 | 2.1542 | 2.33 | 92.4549 | -7.5451 | -0.50517 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS17207B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0730075 | 2017-03-28 | 0.3751 | 0.54 | 69.463 | -30.537 | -0.49371 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPMS17087A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0870131 | 2017-04-12 | 0.2891 | 0.54 | 53.537 | -46.463 | -0.7512 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPMS17101A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2560128 | 2017-10-18 | 0.2825 | 0.54 | 52.3148 | -47.6852 | -0.77096 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPMS17289C
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2690198 | 2017-12-22 | 0.3627 | 0.54 | 67.1667 | -32.8333 | -0.53084 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPMS17345B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0660085 | 2017-04-10 | 2.7848 | 2.23 | 124.8789 | 24.8789 | 2.2645 | 0.2 | 3305 |  |  |  | µg/L | T211 | ICPMS17100A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 0800017 | 2017-03-28 | 2.8042 | 2.23 | 125.7489 | 25.7489 | 2.3437 | 0.2 | 3305 |  |  |  | µg/L | T211 | ICPMS17087A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2500006 | 2017-10-16 | 2.2639 | 2.23 | 101.5202 | 1.5202 | 0.13837 | 0.2 | 3305 |  |  |  | µg/L | T211 | ICPMS17289B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 2620203 | 2017-12-22 | 2.5713 | 2.23 | 115.3049 | 15.3049 | 1.3931 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T211 | ICPMS17345B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 3480033 | 2017-02-21 | 2.3277 | 2.23 | 104.3812 | 4.3812 | 0.39878 | 0.2 | 3305 |  |  |  | µg/L | T211 | ICPMS17052B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 3630023 | 2017-02-21 | 2.1805 | 2.23 | 97.7803 | -2.2197 | -0.20204 | 0.2 | 3305 |  |  |  | µg/L | T211 | ICPMS17052B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1640178 | 2017-06-30 | 2.262 | 2.23 | 101.435 | 1.435 | 0.13061 | 0.2 | 3305 |  |  |  | µg/L | T211 | ICPMS17180A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1780227 | 2017-07-20 | 2.2961 | 2.23 | 102.9641 | 2.9641 | 0.2698 | 0.2 | 3305 |  |  |  | µg/L | T211 | ICPMS17201A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 3410125 | 2017-03-09 | 0.407 | 0.54 | 75.3704 | -24.6296 | -0.3982 | 0.2 | 3305 |  |  |  | µg/L | T215 | ICPMS17065A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 3550006 | 2017-02-21 | 0.4374 | 0.54 | 81 | -19 | -0.30719 | 0.2 | 3305 |  |  |  | µg/L | T215 | ICPMS17052B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1570092 | 2017-06-27 | 0.3005 | 0.54 | 55.6481 | -44.3519 | -0.71707 | 0.2 | 3305 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPMS17178A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2017 | 1710241 | 2017-07-19 | 0.4 | 0.54 | 74.0741 | -25.9259 | -0.41916 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T215 | ICPMS17200B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2760114 | 2017-12-04 | 0.5053 | 0.6 | 84.2167 | -15.7833 | -0.33582 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS17338A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2910001 | 2017-12-13 | 0.4286 | 0.6 | 71.4333 | -28.5667 | -0.6078 | 0.2 | 3305 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T221 | ICPMS17346B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0930126 | 2018-05-01 | 0.5001 | 0.6 | 83.35 | -16.65 | -0.35426 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS18121B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1080117 | 2018-05-07 | 0.5204 | 0.6 | 86.7333 | -13.2667 | -0.28227 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS18127A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2860038 | 2017-12-13 | 2.4217 | 2.33 | 103.9356 | 3.9356 | 0.26351 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T217 | ICPMS17346B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2970215 | 2017-12-06 | 2.4378 | 2.33 | 104.6266 | 4.6266 | 0.30977 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS17339C
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1020132 | 2018-05-01 | 2.2715 | 2.33 | 97.4893 | -2.5107 | -0.1681 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS18121B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1140191 | 2018-05-08 | 2.374 | 2.33 | 101.8884 | 1.8884 | 0.12644 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS18127A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 3180171 | 2017-12-13 | 0.5247 | 0.51 | 102.8824 | 2.8824 | 0.147 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS17346B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 3330004 | 2017-12-27 | 0.5581 | 0.51 | 109.4314 | 9.4314 | 0.481 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS17361A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1350128 | 2018-06-06 | 0.5278 | 0.51 | 103.4902 | 3.4902 | 0.178 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS18157B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1500140 | 2018-06-18 | 0.6983 | 0.51 | 136.9216 | 36.9216 | 1.883 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS18169A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 3110098 | 2017-12-21 | 1.7035 | 1.78 | 95.7022 | -4.2978 | -0.49038 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T219 | ICPMS17353C
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 3250154 | 2017-12-27 | 1.9912 | 1.78 | 111.8652 | 11.8652 | 1.3538 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS17361A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1280142 | 2018-05-23 | 2.2364 | 1.78 | 125.6404 | 25.6404 | 2.9256 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS18143A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1420223 | 2018-06-08 | 3.1526 | 1.78 | 177.1124 | 77.1124 | 8.7987 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS18158B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0440095 | 2018-03-06 | 1.8223 | 1.78 | 102.3764 | 2.3764 | 0.27115 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS18060A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0580118 | 2018-03-14 | 2.1478 | 1.78 | 120.6629 | 20.6629 | 2.3577 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS18071A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2260149 | 2018-08-28 | 2.3478 | 1.78 | 131.8989 | 31.8989 | 3.6397 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS18240A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2410018 | 2018-09-12 | 1.9232 | 1.78 | 108.0449 | 8.0449 | 0.91795 | 0.2 | 3305 |  |  |  | µg/L | T219 | ICPMS18253B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0370095 | 2018-02-21 | 0.5505 | 0.51 | 107.9412 | 7.9412 | 0.405 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS18051B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0520070 | 2018-03-13 | 0.6818 | 0.51 | 133.6863 | 33.6863 | 1.718 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS18071A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2200026 | 2018-09-20 | 0.5347 | 0.51 | 104.8431 | 4.8431 | 0.247 | 0.2 | 3305 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T223 | ICPMS18253A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2330199 | 2018-08-28 | 0.5776 | 0.51 | 113.2549 | 13.2549 | 0.676 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS18240A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0170071 | 2018-02-01 | 0.4947 | 0.6 | 82.45 | -17.55 | -0.3734 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS18032A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0300092 | 2018-02-13 | 0.5289 | 0.6 | 88.15 | -11.85 | -0.25213 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS18039A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1910179 | 2018-07-25 | 0.5728 | 0.6 | 95.4667 | -4.5333 | -0.096454 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T221 | ICPMS18201A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2050299 | 2018-08-03 | 0.4826 | 0.6 | 80.4333 | -19.5667 | -0.41631 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS18215B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0100019 | 2018-01-25 | 2.4095 | 2.33 | 103.412 | 3.412 | 0.22845 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS18024B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0240044 | 2018-02-13 | 2.4028 | 2.33 | 103.1245 | 3.1245 | 0.2092 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS18039A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1840099 | 2018-07-26 | 2.1398 | 2.33 | 91.8369 | -8.1631 | -0.54655 | 0.2 | 3305 |  |  |  | µg/L | T217 | ICPMS18201A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1990130 | 2018-08-02 | 2.5959 | 2.33 | 111.412 | 11.412 | 0.76408 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T217 | ICPMS18214B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0730071 | 2018-04-30 | 0.6038 | 0.68 | 88.7941 | -11.2059 | -0.56444 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS18120B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0860122 | 2018-04-16 | 0.656 | 0.68 | 96.4706 | -3.5294 | -0.17778 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS18106A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2550005 | 2018-09-18 | 0.6727 | 0.68 | 98.9265 | -1.0735 | -0.054074 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS18261B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2680171 | 2018-10-12 | 0.6582 | 0.68 | 96.7941 | -3.2059 | -0.16148 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS18284B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0650045 | 2018-03-21 | 7.0546 | 6.89 | 102.389 | 2.389 | 0.16813 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS18079A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 0790092 | 2018-04-17 | 7.02 | 6.89 | 101.8868 | 1.8868 | 0.13279 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS18106A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2490026 | 2018-09-19 | 6.9665 | 6.89 | 101.1103 | 1.1103 | 0.078141 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T225 | ICPMS18261B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 2610146 | 2018-10-04 | 6.8609 | 6.89 | 99.5776 | -0.42235 | -0.029724 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS18271B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 3460079 | 2018-01-04 | 6.9258 | 6.89 | 100.5196 | 0.51959 | 0.036568 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS18004A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 3610007 | 2018-01-11 | 7.1359 | 6.89 | 103.5689 | 3.5689 | 0.25117 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS18010B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1640022 | 2018-07-17 | 7.1981 | 6.89 | 104.4717 | 4.4717 | 0.31471 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS18193B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1770196 | 2018-07-20 | 6.8361 | 6.89 | 99.2177 | -0.78229 | -0.055056 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS18198A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 3390056 | 2018-01-03 | 0.65 | 0.68 | 95.5882 | -4.4118 | -0.22222 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS18003B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 3540001 | 2018-01-10 | 0.6709 | 0.68 | 98.6618 | -1.3382 | -0.067407 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS18010B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1560173 | 2018-07-16 | 0.845 | 0.68 | 124.2647 | 24.2647 | 1.2222 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS18193B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2018 | 1700199 | 2018-08-03 | 0.65 | 0.68 | 95.5882 | -4.4118 | -0.22222 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS18215B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2760034 | 2018-10-15 | 0.4851 | 0.6 | 80.85 | -19.15 | -0.40745 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS18288B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2890061 | 2018-10-29 | 0.4905 | 0.6 | 81.75 | -18.25 | -0.3883 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS18299B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 0920065 | 2019-04-30 | 0.4918 | 0.6 | 81.9667 | -18.0333 | -0.38369 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS19119B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1060103 | 2019-05-06 | 0.5198 | 0.6 | 86.6333 | -13.3667 | -0.2844 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS19122B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2830105 | 2018-10-29 | 9.184 | 8.83 | 104.0091 | 4.0091 | 0.64481 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS18299B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2960205 | 2018-11-27 | 9.3445 | 8.83 | 105.8267 | 5.8267 | 0.93716 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS18324A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 0990128 | 2019-05-06 | 9.1509 | 8.83 | 103.6342 | 3.6342 | 0.58452 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19122B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1130095 | 2019-05-06 | 8.988 | 8.83 | 101.7894 | 1.7894 | 0.2878 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS19122B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 3180066 | 2019-02-07 | 0.6 | 0.51 | 117.6471 | 17.6471 | 0.9 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T223 | ICPMS19036B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 3320104 | 2019-02-11 | 0.6024 | 0.51 | 118.1176 | 18.1176 | 0.924 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19042A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1340212 | 2019-06-06 | 0.5131 | 0.51 | 100.6078 | 0.60784 | 0.031 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS19157A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1490062 | 2019-06-24 | 0.5496 | 0.51 | 107.7647 | 7.7647 | 0.396 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS19169A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 3100174 | 2019-02-05 | 0.64 | 0.7 | 91.4286 | -8.5714 | -0.11561 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS19035A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 3270026 | 2019-02-12 | 0.5767 | 0.7 | 82.3857 | -17.6143 | -0.23757 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS19042A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1280117 | 2019-06-05 | 0.5876 | 0.7 | 83.9429 | -16.0571 | -0.21657 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19154A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1410229 | 2019-06-12 | 0.6106 | 0.7 | 87.2286 | -12.7714 | -0.17225 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19158A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 0570186 | 2019-04-08 | 0.6304 | 0.7 | 90.0571 | -9.9429 | -0.1341 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19098A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2250166 | 2019-09-04 | 0.6111 | 0.7 | 87.3 | -12.7 | -0.17129 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS19247A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2390203 | 2019-10-01 | 0.6575 | 0.7 | 93.9286 | -6.0714 | -0.081888 | 0.2 | 3305 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T231 | ICPMS19274A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 0520007 | 2019-03-29 | 0.5469 | 0.51 | 107.2353 | 7.2353 | 0.369 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19087B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2180150 | 2019-08-29 | 9.1673 | 0.51 | 1797.5098 | 1697.5098 | 86.573 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS19239B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2320181 | 2019-09-09 | 0.5769 | 0.51 | 113.1176 | 13.1176 | 0.669 | 0.2 | 3305 |  |  |  | µg/L | T223 | ICPMS19252A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1900100 | 2019-08-19 | 0.818 | 0.6 | 136.3333 | 36.3333 | 0.77305 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T221 | ICPMS19231B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2050046 | 2019-08-19 | 0.5246 | 0.6 | 87.4333 | -12.5667 | -0.26738 | 0.2 | 3305 |  |  |  | µg/L | T221 | ICPMS19231B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1830106 | 2019-08-15 | 9.1453 | 8.83 | 103.5708 | 3.5708 | 0.57432 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T229 | ICPMS19219B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2000016 | 2019-08-20 | 9.034 | 8.83 | 102.3103 | 2.3103 | 0.37158 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19231B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 0720020 | 2019-04-16 | 0.6588 | 0.68 | 96.8824 | -3.1176 | -0.15704 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS19105A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 0860006 | 2019-04-30 | 0.6884 | 0.68 | 101.2353 | 1.2353 | 0.062222 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19119B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2550075 | 2019-10-01 | 0.6502 | 0.68 | 95.6176 | -4.3824 | -0.22074 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19274A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2680149 | 2019-12-03 | 0.6682 | 0.68 | 98.2647 | -1.7353 | -0.087407 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19322A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 0640092 | 2019-04-17 | 7.1064 | 6.89 | 103.1408 | 3.1408 | 0.22104 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19105A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 0780096 | 2019-04-26 | 7.2762 | 6.89 | 105.6052 | 5.6052 | 0.39448 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19114A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2470180 | 2019-10-02 | 7.4995 | 6.89 | 108.8462 | 8.8462 | 0.62257 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS19274A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 2600328 | 2019-10-09 | 7.3263 | 6.89 | 106.3324 | 6.3324 | 0.44566 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T225 | ICPMS19282B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 3450114 | 2019-02-21 | 7.5068 | 6.89 | 108.9521 | 8.9521 | 0.63003 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS19045B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1620136 | 2019-07-03 | 6.9878 | 6.89 | 101.4194 | 1.4194 | 0.099898 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS19183B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1760173 | 2019-07-23 | 7.0385 | 6.89 | 102.1553 | 2.1553 | 0.15169 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS19203A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 3400024 | 2019-02-20 | 0.7454 | 0.68 | 109.6176 | 9.6176 | 0.48444 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS19045B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 3530016 | 2019-02-04 | 0.6957 | 0.68 | 102.3088 | 2.3088 | 0.1163 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS19035A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1550162 | 2019-06-26 | 0.673 | 0.68 | 98.9706 | -1.0294 | -0.051852 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19175B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2019 | 1690137 | 2019-07-02 | 0.6538 | 0.68 | 96.1471 | -3.8529 | -0.19407 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS19183B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2810114 | 2019-12-19 | 1.9208 | 1.99 | 96.5226 | -3.4774 | -0.25255 | 0.2 | 3305 | Value verified by rerun, same method |  |  | µg/L | T233 | ICPMS19352B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2950100 | 2019-12-16 | 1.916 | 1.99 | 96.2814 | -3.7186 | -0.27007 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T233 | ICPMS19347B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0980043 | 2020-04-23 | 1.8882 | 1.99 | 94.8844 | -5.1156 | -0.37153 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20114A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 1120049 | 2020-05-04 | 1.9032 | 1.99 | 95.6382 | -4.3618 | -0.31679 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20125B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2890221 | 2019-12-12 | 9.0591 | 8.83 | 102.5946 | 2.5946 | 0.4173 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19344B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 3030027 | 2019-12-18 | 9.5589 | 8.83 | 108.2548 | 8.2548 | 1.3277 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19350A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 1060059 | 2020-04-23 | 8.8718 | 8.83 | 100.4734 | 0.47339 | 0.076138 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20114A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 3170095 | 2019-12-30 | 1.2127 | 1.1 | 110.2455 | 10.2455 | 0.69141 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 3310060 | 2019-12-30 | 1.0888 | 1.1 | 98.9818 | -1.0182 | -0.068712 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 1330126 | 2020-06-12 | 1.1073 | 1.1 | 100.6636 | 0.66364 | 0.044785 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS20163B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 3090147 | 2019-12-30 | 0.6324 | 0.7 | 90.3429 | -9.6571 | -0.13025 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19364A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 3230099 | 2019-12-30 | 0.5873 | 0.7 | 83.9 | -16.1 | -0.21715 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS19364A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0420076 | 2020-03-03 | 0.6067 | 0.7 | 86.6714 | -13.3286 | -0.17977 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS20063B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0560053 | 2020-03-04 | 0.5358 | 0.7 | 76.5429 | -23.4571 | -0.31638 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T231 | ICPMS20064A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2240092 | 2020-09-24 | 0.6739 | 0.7 | 96.2714 | -3.7286 | -0.050289 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS20276A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2390027 | 2020-09-29 | 0.6271 | 0.7 | 89.5857 | -10.4143 | -0.14046 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS20273A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0350135 | 2020-02-12 | 1.245 | 1.1 | 113.1818 | 13.1818 | 0.88957 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20043A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0500059 | 2020-03-04 | 1.0315 | 1.1 | 93.7727 | -6.2273 | -0.42025 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20064A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2170035 | 2020-09-17 | 1.1179 | 1.1 | 101.6273 | 1.6273 | 0.10982 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS20260A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2320037 | 2020-09-24 | 1.0654 | 1.1 | 96.8545 | -3.1455 | -0.21227 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS20276A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0150017 | 2020-02-03 | 1.995 | 1.99 | 100.2513 | 0.25126 | 0.018248 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20031A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0280070 | 2020-03-03 | 1.9007 | 1.99 | 95.5126 | -4.4874 | -0.32591 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20063B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 1960126 | 2020-09-03 | 1.8716 | 1.99 | 94.0503 | -5.9497 | -0.43212 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20247B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2120199 | 2020-09-17 | 1.9585 | 1.99 | 98.4171 | -1.5829 | -0.11496 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20260A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0070044 | 2020-01-21 | 9.1124 | 8.83 | 103.1982 | 3.1982 | 0.51439 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20021A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0220109 | 2020-02-03 | 9.0919 | 8.83 | 102.966 | 2.966 | 0.47705 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20031A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 1890182 | 2020-09-02 | 9.5357 | 8.83 | 107.9921 | 7.9921 | 1.2854 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS20245B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2040025 | 2020-09-03 | 8.6626 | 8.83 | 98.1042 | -1.8958 | -0.30492 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS20247B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0700103 | 2020-04-20 | 0.632 | 0.68 | 92.9412 | -7.0588 | -0.35556 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20111B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0840029 | 2020-06-02 | 0.6812 | 0.68 | 100.1765 | 0.17647 | 0.0088889 | 0.2 | 3305 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T227 | ICPMS20153B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2590164 | 2020-10-08 | 0.684 | 0.68 | 100.5882 | 0.58824 | 0.02963 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS20281B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2740056 | 2020-10-22 | 0.6396 | 0.68 | 94.0588 | -5.9412 | -0.29926 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS20296B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0630051 | 2020-03-18 | 6.3217 | 6.89 | 91.7518 | -8.2482 | -0.58049 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20076A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 0770114 | 2020-08-24 | 6.9907 | 6.89 | 101.4615 | 1.4615 | 0.10286 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T225 | ICPMS20237A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2530137 | 2020-10-06 | 7.1276 | 6.89 | 103.4485 | 3.4485 | 0.2427 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20279B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 2670298 | 2020-10-09 | 6.6991 | 6.89 | 97.2293 | -2.7707 | -0.19499 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20281B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 3440294 | 2020-01-30 | 6.3887 | 6.89 | 92.7242 | -7.2758 | -0.51205 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20030A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 3600045 | 2020-01-21 | 6.3275 | 6.89 | 91.836 | -8.164 | -0.57457 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20021A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 1610191 | 2020-07-01 | 6.9272 | 6.89 | 100.5399 | 0.53991 | 0.037998 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20182B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 1760101 | 2020-08-28 | 6.5213 | 6.89 | 94.6488 | -5.3512 | -0.37661 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20240A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 3370103 | 2020-01-10 | 0.6687 | 0.68 | 98.3382 | -1.6618 | -0.083704 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 3510023 | 2020-01-10 | 0.7049 | 0.68 | 103.6618 | 3.6618 | 0.18444 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 1550007 | 2020-07-01 | 0.6952 | 0.68 | 102.2353 | 2.2353 | 0.11259 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS20182B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2020 | 1680149 | 2020-08-27 | 0.6577 | 0.68 | 96.7206 | -3.2794 | -0.16519 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS20240A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 2810032 | 2020-10-22 | 2.0988 | 1.99 | 105.4673 | 5.4673 | 0.39708 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20296B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 2950028 | 2021-01-13 | 1.8512 | 1.99 | 93.0251 | -6.9749 | -0.50657 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21013B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0970048 | 2021-05-21 | 1.8799 | 1.99 | 94.4673 | -5.5327 | -0.40182 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21140A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1110004 | 2021-06-02 | 2.0707 | 1.99 | 104.0553 | 4.0553 | 0.29453 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21153A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 2880069 | 2020-12-30 | 9.2277 | 8.83 | 104.504 | 4.504 | 0.72441 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS20350A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 3010155 | 2021-01-14 | 9.7284 | 8.83 | 110.1744 | 10.1744 | 1.6364 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21013B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1030144 | 2021-05-05 | 9.073 | 8.83 | 102.752 | 2.752 | 0.44262 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21125A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1180038 | 2021-06-16 | 9.1092 | 8.83 | 103.1619 | 3.1619 | 0.50856 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21167B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 3150100 | 2021-01-15 | 1.081 | 1.1 | 98.2727 | -1.7273 | -0.11656 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21015A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 3300047 | 2021-02-02 | 1.1352 | 1.1 | 103.2 | 3.2 | 0.21595 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21033A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1320162 | 2021-06-29 | 1.0394 | 1.1 | 94.4909 | -5.5091 | -0.37178 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21180B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1460003 | 2021-07-10 | 1.0596 | 1.1 | 96.3273 | -3.6727 | -0.24785 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21188B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 3080107 | 2021-01-14 | 0.6333 | 0.7 | 90.4714 | -9.5286 | -0.12852 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21013B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 3230039 | 2021-01-27 | 0.5682 | 0.7 | 81.1714 | -18.8286 | -0.25395 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21026B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1250004 | 2021-06-16 | 0.6741 | 0.7 | 96.3 | -3.7 | -0.049904 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21167B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1380139 | 2021-07-02 | 0.5671 | 0.7 | 81.0143 | -18.9857 | -0.25607 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21182B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0330077 | 2021-04-21 | 0.5465 | 0.7 | 78.0714 | -21.9286 | -0.29576 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21110A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0480038 | 2021-05-12 | 0.7368 | 0.7 | 105.2571 | 5.2571 | 0.070906 | 0.2 | 3305 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T231 | ICPMS21131A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 2220178 | 2021-09-23 | 0.6753 | 0.7 | 96.4714 | -3.5286 | -0.047592 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21258B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0400076 | 2021-05-04 | 1.1741 | 1.1 | 106.7364 | 6.7364 | 0.4546 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21124A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0540055 | 2021-05-11 | 1.0862 | 1.1 | 98.7455 | -1.2545 | -0.084663 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21131A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 2150046 | 2021-08-30 | 1.1582 | 1.1 | 105.2909 | 5.2909 | 0.35706 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21242B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 2290121 | 2021-09-24 | 1.0833 | 1.1 | 98.4818 | -1.5182 | -0.10245 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21267A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0120036 | 2021-03-04 | 1.9574 | 1.99 | 98.3618 | -1.6382 | -0.11898 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21055A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0270078 | 2021-03-26 | 1.9164 | 1.99 | 96.3015 | -3.6985 | -0.26861 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21077A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1940229 | 2021-08-16 | 1.9689 | 1.99 | 98.9397 | -1.0603 | -0.077007 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21228B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 2080172 | 2021-08-19 | 1.9389 | 1.99 | 97.4322 | -2.5678 | -0.1865 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21230A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0050024 | 2021-03-04 | 8.7736 | 8.83 | 99.3613 | -0.63873 | -0.10273 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21055A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0210015 | 2021-03-26 | 8.9847 | 8.83 | 101.752 | 1.752 | 0.28179 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21077A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1880114 | 2021-08-11 | 8.8094 | 8.83 | 99.7667 | -0.2333 | -0.037523 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21222B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 2010231 | 2021-08-19 | 8.8708 | 8.83 | 100.4621 | 0.46206 | 0.074317 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21230A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0680063 | 2021-05-14 | 3.9106 | 3.76 | 104.0053 | 4.0053 | 0.17822 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T239 | ICPMS21132B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0830027 | 2021-05-15 | 3.9735 | 3.76 | 105.6782 | 5.6782 | 0.25266 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T239 | ICPMS21134A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0620100 | 2021-05-13 | 1.5729 | 1.23 | 127.878 | 27.878 | 3.429 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21132B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 0760035 | 2021-05-14 | 1.55 | 1.23 | 126.0163 | 26.0163 | 3.2 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21134A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 3500073 | 2021-01-29 | 1.3753 | 1.23 | 111.813 | 11.813 | 1.453 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21028B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 3640015 | 2021-03-04 | 1.3425 | 1.23 | 109.1463 | 9.1463 | 1.125 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21055A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1600035 | 2021-07-24 | 1.2453 | 1.23 | 101.2439 | 1.2439 | 0.153 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21200B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1730218 | 2021-08-07 | 1.2387 | 1.23 | 100.7073 | 0.70732 | 0.087 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21218A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 3440081 | 2021-01-29 | 3.6649 | 3.76 | 97.4707 | -2.5293 | -0.11254 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS21028B
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 3580059 | 2021-03-04 | 3.6135 | 3.76 | 96.1037 | -3.8963 | -0.17337 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS21055A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1540139 | 2021-07-16 | 3.8712 | 3.76 | 102.9574 | 2.9574 | 0.1316 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS21195A
Nickel, UNF, cICP-MS | 01067 | PLM77 | UNF | 2021 | 1660119 | 2021-08-14 | 3.2954 | 3.76 | 87.6436 | -12.3564 | -0.54982 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T239 | ICPMS21225A