## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2510401 | 2006-10-03 | 0.453 | 0.46 | 98.4783 | -1.5217 | -0.30435 | 0.02 | 2758 |  |  |  | mg/L | N90 | PANP269B
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2620202 | 2006-10-03 | 0.434 | 0.46 | 94.3478 | -5.6522 | -1.1304 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP269B
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2680091 | 2006-10-03 | 0.45 | 0.46 | 97.8261 | -2.1739 | -0.43478 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP269B
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2750054 | 2006-10-31 | 0.455 | 0.46 | 98.913 | -1.087 | -0.21739 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP299A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2400117 | 2006-10-03 | 0.288 | 0.282 | 102.1277 | 2.1277 | 0.40846 | 0.02 | 2758 | Holding time exceeded | Result determined by alternate method | See result laboratory comment | mg/L as P | N89 | PANP269B
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2400118 | 2006-10-03 | 0.289 | 0.282 | 102.4823 | 2.4823 | 0.47653 | 0.02 | 2758 | Holding time exceeded |  |  | mg/L as P | N89 | PANP269B
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 0980066 | 2008-04-30 | 0.397 | 0.41 | 96.8293 | -3.1707 | -0.63415 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP121A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1050090 | 2008-04-30 | 0.396 | 0.41 | 96.5854 | -3.4146 | -0.68293 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP121A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1190030 | 2008-06-11 | 0.408 | 0.41 | 99.5122 | -0.4878 | -0.097561 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP162A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1580236 | 2008-06-26 | 0.393 | 0.41 | 95.8537 | -4.1463 | -0.82927 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP171A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1650004 | 2008-06-26 | 0.408 | 0.41 | 99.5122 | -0.4878 | -0.097561 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP171A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1790144 | 2008-07-23 | 0.407 | 0.41 | 99.2683 | -0.73171 | -0.14634 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP204A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 2210290 | 2008-08-27 | 0.377 | 0.41 | 91.9512 | -8.0488 | -1.6098 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP239A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 2280222 | 2008-09-11 | 0.41 | 0.41 | 100 | 0 | 0 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP253A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 2350258 | 2008-09-23 | 0.404 | 0.41 | 98.5366 | -1.4634 | -0.29268 | 0.02 | 2758 | Holding time exceeded | Result determined by alternate method | See result laboratory comment | mg/L as P | N97 | PANP266A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 2420250 | 2008-09-23 | 0.407 | 0.41 | 99.2683 | -0.73171 | -0.14634 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP266A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 0560048 | 2008-03-12 | 0.227 | 0.231 | 98.2684 | -1.7316 | -0.31207 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N95 | PANP071A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 1040067 | 2009-05-20 | 0.362 | 0.349 | 103.7249 | 3.7249 | 0.74499 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N101 | PANP135A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 1120014 | 2009-05-20 | 0.354 | 0.349 | 101.4327 | 1.4327 | 0.28653 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N101 | PANP135A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 1180075 | 2009-05-20 | 0.336 | 0.349 | 96.2751 | -3.7249 | -0.74499 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N101 | PANP135A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 3380120 | 2008-12-31 | 0.286 | 0.287 | 99.6516 | -0.34843 | -0.067236 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N99 | PANP365A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 3440100 | 2008-12-31 | 0.284 | 0.287 | 98.9547 | -1.0453 | -0.20171 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N99 | PANP365A
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 3520226 | 2008-12-31 | 0.285 | 0.287 | 99.3031 | -0.69686 | -0.13447 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N99 | PANP365A