## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1040075 | 2015-05-12 | 322.6 | 349 | 92.4355 | -7.5645 | -1.1927 |  | 3309 | Sample was diluted | See result laboratory comment |  | ug/L | 25213-75211 | TCMS051115
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1190148 | 2015-06-26 | 311 | 349 | 89.1117 | -10.8883 | -1.7168 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 25213-75211 | TC062615
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1660029 | 2015-07-29 | 131.5 | 140.3375 | 93.7027 | -6.2973 | -0.99096 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS072915
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1760083 | 2015-08-13 | 133 | 140.3375 | 94.7715 | -5.2285 | -0.82276 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS081215
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1620201 | 2015-07-20 | 125.8 | 138 | 91.1594 | -8.8406 | -1.3911 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS072015
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1740034 | 2015-07-23 | 131.4 | 138 | 95.2174 | -4.7826 | -0.75256 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS072215
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1200159 | 2015-06-08 | 125.5 | 138 | 90.942 | -9.058 | -1.4253 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS060615
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2250102 | 2015-09-16 | 347.4 | 349 | 99.5415 | -0.45845 | -0.072284 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 25213-75211 | TCMS091515
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2390155 | 2015-09-30 | 319.6 | 349 | 91.5759 | -8.4241 | -1.3282 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 25213-75211 | TCMS093015
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2230087 | 2015-09-10 | 124.8 | 140.3375 | 88.9285 | -11.0715 | -1.7422 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091015
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2370155 | 2015-09-19 | 125.7 | 140.3375 | 89.5698 | -10.4302 | -1.6413 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091815
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1320073 | 2015-06-09 | 104.6 | 108.0125 | 96.8406 | -3.1594 | -0.49668 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS060915
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1470115 | 2015-06-12 | 109.2 | 108.0125 | 101.0994 | 1.0994 | 0.17284 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS061115
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1250074 | 2015-06-27 | 139.3 | 140.3375 | 99.2607 | -0.73929 | -0.11634 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25209-75213 | TC062615
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1390153 | 2015-06-10 | 149.3 | 140.3375 | 106.3864 | 6.3864 | 1.005 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS060915
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1340066 | 2015-06-09 | 7.646 | 7.0125 | 109.0339 | 9.0339 | 0.84467 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75209-25DIW | TCMS060915
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1480118 | 2015-06-12 | 7.878 | 7.0125 | 112.3422 | 12.3422 | 1.154 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75209-25DIW | TCMS061115
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2160028 | 2015-08-31 | 99.74 | 108.0125 | 92.3412 | -7.6588 | -1.204 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS083115
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2320211 | 2015-09-17 | 104 | 108.0125 | 96.2852 | -3.7148 | -0.584 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS091515
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1880120 | 2015-08-19 | 354.6 | 349 | 101.6046 | 1.6046 | 0.253 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 25213-75211 | TCMS081815
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2030107 | 2015-09-02 | 334.8 | 349 | 95.9312 | -4.0688 | -0.64152 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 25213-75211 | TCMS090115
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2520016 | 2015-10-07 | 282.4 | 303 | 93.2013 | -6.7987 | -1.0717 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS100715
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2660034 | 2015-10-21 | 285.6 | 303 | 94.2574 | -5.7426 | -0.90525 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS102015
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2450074 | 2015-09-25 | 121.2 | 138 | 87.8261 | -12.1739 | -1.9156 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS092415
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2580071 | 2015-10-01 | 125.9 | 138 | 91.2319 | -8.7681 | -1.3797 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS093015
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2530063 | 2015-10-01 | 100.8 | 108.0125 | 93.3225 | -6.6775 | -1.0498 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS093015
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2670054 | 2015-10-21 | 96.96 | 108.0125 | 89.7674 | -10.2326 | -1.6087 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS102015
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1530193 | 2015-07-10 | 297.1 | 303 | 98.0528 | -1.9472 | -0.30695 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS070815
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1690074 | 2015-08-06 | 306.8 | 303 | 101.2541 | 1.2541 | 0.1977 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS080415
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1970116 | 2015-09-01 | 291.4 | 303 | 96.1716 | -3.8284 | -0.6035 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS090115
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2110081 | 2015-09-03 | 278 | 303 | 91.7492 | -8.2508 | -1.3006 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | 75211-25DIW | TCMS090215
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 1950022 | 2015-08-13 | 130 | 138 | 94.2029 | -5.7971 | -0.91219 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS081215
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2015 | 2090026 | 2015-08-25 | 136.5 | 138 | 98.913 | -1.087 | -0.17104 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS082415
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2790069 | 2015-10-14 | 125.3 | 138 | 90.7971 | -9.2029 | -1.4481 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS101315
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2930192 | 2015-11-04 | 120.3 | 138 | 87.1739 | -12.8261 | -2.0182 | 2 | 3309 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS110415
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0960078 | 2016-04-22 | 131.2 | 138 | 95.0725 | -4.9275 | -0.77536 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCME042116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1110067 | 2016-04-28 | 133 | 138 | 96.3768 | -3.6232 | -0.57012 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS042816
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2870054 | 2015-10-27 | 175 | 191 | 91.623 | -8.377 | -1.6754 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T217 | TCMS102315
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3000098 | 2015-11-05 | 180.8 | 191 | 94.6597 | -5.3403 | -1.0681 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T217 | TCMS110415
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1030064 | 2016-04-27 | 187.7 | 191 | 98.2723 | -1.7277 | -0.34555 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T217 | TCMS042616
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1170029 | 2016-04-28 | 186.4 | 191 | 97.5916 | -2.4084 | -0.48168 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T217 | TCMS042816
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1720042 | 2016-08-04 | 183.6 | 193 | 95.1295 | -4.8705 | -0.97409 | 2 | 3309 |  |  |  | µg/L | T219 | TC071316
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1820114 | 2016-08-18 | 188.9 | 193 | 97.8756 | -2.1244 | -0.42487 | 2 | 3309 |  |  |  | µg/L | T219 | TC081616
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1660104 | 2016-08-19 | 385.4 | 404 | 95.396 | -4.604 | -0.74104 | 2 | 3309 |  |  |  | µg/L | T211 | TC081916
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1800078 | 2016-08-18 | 387.1 | 404 | 95.8168 | -4.1832 | -0.67331 | 2 | 3309 |  |  |  | µg/L | T211 | TC081616
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2880094 | 2015-11-09 | 384.6 | 404 | 95.198 | -4.802 | -0.77291 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | T211 | TCMS110915
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3020042 | 2015-11-19 | 385.8 | 404 | 95.495 | -4.505 | -0.7251 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | T211 | TCMS111915
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1050160 | 2016-04-27 | 399 | 404 | 98.7624 | -1.2376 | -0.1992 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T211 | TCMS042616
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1190078 | 2016-05-24 | 408.6 | 404 | 101.1386 | 1.1386 | 0.18327 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T211 | TC052316
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2240223 | 2016-10-28 | 191.792 | 191 | 100.4147 | 0.41466 | 0.082932 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS16301A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2380232 | 2016-12-07 | 195.71 | 191 | 102.466 | 2.466 | 0.49319 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS16342A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2150172 | 2016-09-03 | 184.7 | 193 | 95.6995 | -4.3005 | -0.8601 | 2 | 3309 |  |  |  | µg/L | T219 | TC083116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2290123 | 2016-10-28 | 196.137 | 193 | 101.6254 | 1.6254 | 0.32508 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS16301A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3140098 | 2015-11-20 | 8.987 | 9.35 | 96.1176 | -3.8824 | -0.363 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T209 | TCMS111915
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3290007 | 2015-12-18 | 8.489 | 9.35 | 90.7914 | -9.2086 | -0.861 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T209 | TCMS121715
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1320064 | 2016-06-18 | 8.817 | 9.35 | 94.2995 | -5.7005 | -0.533 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T209 | TC061716
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1460114 | 2016-07-07 | 8.594 | 9.35 | 91.9144 | -8.0856 | -0.756 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T209 | TC070616
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3070095 | 2015-11-17 | 183.4 | 193 | 95.0259 | -4.9741 | -0.99482 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T219 | TCMS111615
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3210006 | 2015-12-10 | 189.2 | 193 | 98.0311 | -1.9689 | -0.39378 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T219 | TCMS120915
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1240108 | 2016-06-02 | 187.8 | 193 | 97.3057 | -2.6943 | -0.53886 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T219 | TC060116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1400027 | 2016-06-18 | 190.5 | 193 | 98.7047 | -1.2953 | -0.25907 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T219 | TC061716
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3200020 | 2015-12-10 | 129.6 | 138 | 93.913 | -6.087 | -0.9578 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS120915
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3340004 | 2015-12-21 | 122 | 138 | 88.4058 | -11.5942 | -1.8244 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS122115
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1340012 | 2016-06-18 | 130.2 | 138 | 94.3478 | -5.6522 | -0.88939 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TC061716
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1470084 | 2016-07-07 | 128.2 | 138 | 92.8986 | -7.1014 | -1.1174 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TC070616
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0400035 | 2016-03-25 | 183.2 | 193 | 94.9223 | -5.0777 | -1.0155 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T219 | TCMS032516
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0540101 | 2016-04-09 | 191.7 | 193 | 99.3264 | -0.67358 | -0.13472 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T219 | TCMS040816
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0330057 | 2016-03-22 | 9.714 | 9.35 | 103.893 | 3.893 | 0.364 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | T209 | TCMS032216
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0480024 | 2016-04-08 | 8.967 | 9.35 | 95.9037 | -4.0963 | -0.383 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T209 | TCMS040816
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2230020 | 2016-09-26 | 9.049 | 9.35 | 96.7807 | -3.2193 | -0.301 | 2 | 3309 |  |  |  | µg/L | T209 | 091916
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2360191 | 2016-10-27 | 9.28 | 9.35 | 99.2513 | -0.74866 | -0.07 | 2 | 3309 |  |  |  | µg/L | T209 | ICPMS16301A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0120026 | 2016-01-21 | 126.2 | 138 | 91.4493 | -8.5507 | -1.3455 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS012116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0260031 | 2016-02-05 | 121.6 | 138 | 88.1159 | -11.8841 | -1.87 | 2 | 3309 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS020416
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0050023 | 2016-01-20 | 167.6 | 191 | 87.7487 | -12.2513 | -2.4503 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T217 | TCMS012016
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0200028 | 2016-02-04 | 181.9 | 191 | 95.2356 | -4.7644 | -0.95288 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T217 | TCMS020416
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1880119 | 2016-08-20 | 186.7 | 191 | 97.7487 | -2.2513 | -0.45026 | 2 | 3309 |  |  |  | µg/L | T217 | TC081916
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2010272 | 2016-08-20 | 183.5 | 191 | 96.0733 | -3.9267 | -0.78534 | 2 | 3309 |  |  |  | µg/L | T217 | TC081916
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0750071 | 2016-04-21 | 3.9 | 4.45 | 87.6404 | -12.3596 | -0.55 | 2 | 3309 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T215 | TCMS042016
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0890172 | 2016-04-22 | 4.635 | 4.45 | 104.1573 | 4.1573 | 0.185 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T215 | TCME042116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2580002 | 2016-11-10 | 8.59 | 4.45 | 193.0337 | 93.0337 | 4.14 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS16291B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2710083 | 2016-11-29 | 5.26 | 4.45 | 118.2022 | 18.2022 | 0.81 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS16333A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0690046 | 2016-04-20 | 394.1 | 404 | 97.5495 | -2.4505 | -0.39442 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T211 | TCMS042016
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0820024 | 2016-04-22 | 413.2 | 404 | 102.2772 | 2.2772 | 0.36653 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T211 | TCME042116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2520013 | 2016-11-10 | 424.38 | 404 | 105.0446 | 5.0446 | 0.81195 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS16294B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2640186 | 2016-12-14 | 416.928 | 404 | 103.2 | 3.2 | 0.51506 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS16348A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0770086 | 2016-04-22 | 8.934 | 9.35 | 95.5508 | -4.4492 | -0.416 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T209 | TCME042116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 0910017 | 2016-04-22 | 9.337 | 9.35 | 99.861 | -0.13904 | -0.013 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T209 | TCME042116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2590098 | 2016-11-09 | 9.41 | 9.35 | 100.6417 | 0.64171 | 0.06 | 2 | 3309 |  |  |  | µg/L | T209 | ICPMS16291B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2730033 | 2016-11-28 | 9.33 | 9.35 | 99.7861 | -0.2139 | -0.02 | 2 | 3309 |  |  |  | µg/L | T209 | ICPMS16333A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3500111 | 2016-01-21 | 419.2 | 404 | 103.7624 | 3.7624 | 0.60558 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | T211 | TCMS012116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3630067 | 2016-01-20 | 376 | 404 | 93.0693 | -6.9307 | -1.1155 | 2 | 3309 | Sample was diluted | See result laboratory comment |  | µg/L | T211 | TCMS012016
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3420099 | 2015-12-21 | 4.321 | 4.45 | 97.1011 | -2.8989 | -0.129 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T215 | TCMS122115
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 3560097 | 2016-01-05 | 4.399 | 4.45 | 98.8539 | -1.1461 | -0.051 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T215 | TCMS010416
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1590119 | 2016-06-30 | 4.401 | 4.45 | 98.8989 | -1.1011 | -0.049 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T215 | TC062916
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1740273 | 2016-07-26 | 4.501 | 4.45 | 101.1461 | 1.1461 | 0.051 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T215 | TC071416
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1960356 | 2016-08-20 | 4.323 | 4.45 | 97.1461 | -2.8539 | -0.127 | 2 | 3309 |  |  |  | µg/L | T215 | TC081916
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2100264 | 2016-09-03 | 4.821 | 4.45 | 108.3371 | 8.3371 | 0.371 | 2 | 3309 |  |  |  | µg/L | T215 | TC083116
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 1940102 | 2016-08-08 | 130.9 | 138 | 94.8551 | -5.1449 | -0.80957 | 2 | 3309 |  |  |  | µg/L | 75213-25DIW | TC080516
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2016 | 2080216 | 2016-08-20 | 126.1 | 138 | 91.3768 | -8.6232 | -1.3569 | 2 | 3309 |  |  |  | µg/L | 75213-25DIW | TC081916
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2780114 | 2017-01-10 | 28.6 | 25.2 | 113.4921 | 13.4921 | 2.2819 | 2 | 3309 | Sample was diluted |  |  | µg/L | T221 | ICPMS17009A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2940163 | 2016-11-30 | 25.47 | 25.2 | 101.0714 | 1.0714 | 0.18121 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS16335A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0940130 | 2017-04-11 | 27.4834 | 25.2 | 109.0611 | 9.0611 | 1.5325 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17101A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1080100 | 2017-05-09 | 25.915 | 25.2 | 102.8373 | 2.8373 | 0.47987 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17129A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2860091 | 2017-03-08 | 206.459 | 191 | 108.0937 | 8.0937 | 1.6187 | 2 | 3309 | Value verified by rerun, same method | Sample was diluted | See result laboratory comment | µg/L | T217 | ICPMS17065A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3000017 | 2017-01-25 | 201.84 | 191 | 105.6754 | 5.6754 | 1.1351 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17024B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1020077 | 2017-05-23 | 202.069 | 191 | 105.7953 | 5.7953 | 1.1591 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17143B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1150158 | 2017-05-27 | 200.244 | 191 | 104.8398 | 4.8398 | 0.96796 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17144B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1660140 | 2017-07-21 | 208.2152 | 193 | 107.8835 | 7.8835 | 1.5767 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17202B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1810232 | 2017-07-25 | 206.5151 | 193 | 107.0026 | 7.0026 | 1.4005 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17206B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2870115 | 2017-02-03 | 409.399 | 404 | 101.3364 | 1.3364 | 0.2151 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17033A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3020133 | 2017-03-02 | 405.0837 | 404 | 100.2682 | 0.26824 | 0.043175 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17061A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1030298 | 2017-05-23 | 418.1338 | 404 | 103.4985 | 3.4985 | 0.5631 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17143B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1170220 | 2017-06-24 | 422.8042 | 404 | 104.6545 | 4.6545 | 0.74917 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17174A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2290112 | 2017-10-10 | 193.4228 | 191 | 101.2685 | 1.2685 | 0.2537 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17283A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2430128 | 2017-10-19 | 208.2673 | 191 | 109.0405 | 9.0405 | 1.8081 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17292B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3200136 | 2017-03-02 | 13.2583 | 12.7 | 104.3961 | 4.3961 | 0.46916 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17061A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3370119 | 2016-12-13 | 10.66 | 12.7 | 83.937 | -16.063 | -1.7143 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS16348A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1290178 | 2017-06-20 | 13.3272 | 12.7 | 104.9386 | 4.9386 | 0.52706 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17171A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1430168 | 2017-06-22 | 13.7416 | 12.7 | 108.2016 | 8.2016 | 0.87529 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17172C
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3130044 | 2017-01-26 | 192.38 | 193 | 99.6788 | -0.32124 | -0.064249 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17026A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3270122 | 2017-01-26 | 196.7 | 193 | 101.9171 | 1.9171 | 0.38342 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17026A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1220113 | 2017-06-24 | 206.0683 | 193 | 106.7711 | 6.7711 | 1.3542 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17174A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1370163 | 2017-06-27 | 202.603 | 193 | 104.9756 | 4.9756 | 0.99513 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17177A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3220018 | 2017-01-26 | 24.67 | 25.2 | 97.8968 | -2.1032 | -0.3557 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17026A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3370164 | 2016-12-13 | 25.06 | 25.2 | 99.4444 | -0.55556 | -0.09396 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS16348A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1310185 | 2017-06-20 | 25.8138 | 25.2 | 102.4357 | 2.4357 | 0.41195 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17171A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1450234 | 2017-06-23 | 25.8405 | 25.2 | 102.5417 | 2.5417 | 0.42987 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17174A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0380073 | 2017-03-23 | 191.2795 | 193 | 99.1085 | -0.89145 | -0.17829 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17080A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0540066 | 2017-04-07 | 198.4279 | 193 | 102.8124 | 2.8124 | 0.56248 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17095B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2270191 | 2017-10-19 | 205.3902 | 193 | 106.4198 | 6.4198 | 1.284 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17292B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2410214 | 2017-10-19 | 204.7422 | 193 | 106.084 | 6.084 | 1.2168 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17292B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0330060 | 2017-02-27 | 12.6159 | 12.7 | 99.3378 | -0.6622 | -0.070672 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17058A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0450117 | 2017-02-27 | 13.3692 | 12.7 | 105.2693 | 5.2693 | 0.56235 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17058A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2200291 | 2017-10-16 | 12.1713 | 12.7 | 95.837 | -4.163 | -0.44429 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17289B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2340157 | 2017-10-05 | 13.0454 | 12.7 | 102.7197 | 2.7197 | 0.29025 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17277B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0100050 | 2017-02-22 | 24.4136 | 25.2 | 96.8794 | -3.1206 | -0.52779 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17053A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0240086 | 2017-02-22 | 24.1444 | 25.2 | 95.8111 | -4.1889 | -0.70846 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17053A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1920149 | 2017-07-21 | 26.2136 | 25.2 | 104.0222 | 4.0222 | 0.68027 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17202B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2060194 | 2017-09-29 | 25.1676 | 25.2 | 99.8714 | -0.12857 | -0.021745 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17272A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0040033 | 2017-03-09 | 208.4225 | 191 | 109.1217 | 9.1217 | 1.8243 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17065A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0190006 | 2017-03-09 | 201.644 | 191 | 105.5728 | 5.5728 | 1.1146 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17065A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1870005 | 2017-08-11 | 196.7989 | 191 | 103.0361 | 3.0361 | 0.60721 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17223B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1990222 | 2017-09-28 | 198.9111 | 191 | 104.1419 | 4.1419 | 0.82839 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17271A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0730075 | 2017-03-28 | 4.4846 | 4.45 | 100.7775 | 0.77753 | 0.0346 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS17087A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0870131 | 2017-04-12 | 4.4551 | 4.45 | 100.1146 | 0.11461 | 0.0051 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS17101A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2560128 | 2017-11-16 | 4.4708 | 4.45 | 100.4674 | 0.46742 | 0.0208 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS17320B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2690198 | 2017-12-01 | 4.5244 | 4.45 | 101.6719 | 1.6719 | 0.0744 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS17324A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0660085 | 2017-05-04 | 419.2298 | 404 | 103.7698 | 3.7698 | 0.60676 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17121A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0800017 | 2017-04-10 | 418.0639 | 404 | 103.4812 | 3.4812 | 0.56031 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17100A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2500006 | 2017-10-24 | 390.9879 | 404 | 96.7792 | -3.2208 | -0.51841 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17296A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2620203 | 2017-12-22 | 442.4513 | 404 | 109.5176 | 9.5176 | 1.5319 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17345B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0760023 | 2017-03-28 | 12.443 | 12.7 | 97.9764 | -2.0236 | -0.21597 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17087A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 0890147 | 2017-04-11 | 12.8113 | 12.7 | 100.8764 | 0.87638 | 0.093529 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17101A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2580020 | 2017-11-30 | 11.8879 | 12.7 | 93.6055 | -6.3945 | -0.68244 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17324A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2710006 | 2017-12-04 | 12.1367 | 12.7 | 95.5646 | -4.4354 | -0.47336 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17338A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3480033 | 2017-02-22 | 404.721 | 404 | 100.1785 | 0.17847 | 0.028725 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17052B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3630023 | 2017-03-08 | 405.8259 | 404 | 100.452 | 0.45196 | 0.072745 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17065A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1640178 | 2017-07-21 | 424.1786 | 404 | 104.9947 | 4.9947 | 0.80393 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17202B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1780227 | 2017-08-11 | 418.922 | 404 | 103.6936 | 3.6936 | 0.5945 | 2 | 3309 | Sample was diluted |  |  | µg/L | T211 | ICPMS17223B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3410125 | 2017-03-09 | 7.478 | 4.45 | 168.0449 | 68.0449 | 3.028 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS17065A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 3550006 | 2017-02-21 | 4.3382 | 4.45 | 97.4876 | -2.5124 | -0.1118 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS17052B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1570092 | 2017-06-27 | 4.4617 | 4.45 | 100.2629 | 0.26292 | 0.0117 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS17178A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1710241 | 2017-07-19 | 4.9975 | 4.45 | 112.3034 | 12.3034 | 0.5475 | 2 | 3309 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T215 | ICPMS17200B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 1940221 | 2017-07-25 | 4.5136 | 4.45 | 101.4292 | 1.4292 | 0.0636 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS17206B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2017 | 2080086 | 2017-09-30 | 4.3539 | 4.45 | 97.8404 | -2.1596 | -0.0961 | 2 | 3309 |  |  |  | µg/L | T215 | ICPMS17272A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2760114 | 2017-12-22 | 22.1045 | 25.2 | 87.7163 | -12.2837 | -2.0775 | 2 | 3309 | Sample was diluted |  |  | µg/L | T221 | ICPMS17345B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2910001 | 2017-12-13 | 21.972 | 25.2 | 87.1905 | -12.8095 | -2.1664 | 2 | 3309 | Sample was diluted |  |  | µg/L | T221 | ICPMS17346B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0930126 | 2018-05-01 | 26.882 | 25.2 | 106.6746 | 6.6746 | 1.1289 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18121B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1080117 | 2018-05-07 | 26.2246 | 25.2 | 104.0659 | 4.0659 | 0.68765 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18127A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2860038 | 2017-12-13 | 191.6641 | 191 | 100.3477 | 0.3477 | 0.069539 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17346B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2970215 | 2017-12-19 | 168.6301 | 191 | 88.288 | -11.712 | -2.3424 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS17353A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1020132 | 2018-05-11 | 186.9501 | 191 | 97.8796 | -2.1204 | -0.42407 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS18130A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1140191 | 2018-05-11 | 187.1842 | 191 | 98.0022 | -1.9978 | -0.39956 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS18130A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1650204 | 2018-07-30 | 203.4471 | 193 | 105.413 | 5.413 | 1.0826 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS18211A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1790143 | 2018-08-02 | 202.7809 | 193 | 105.0678 | 5.0678 | 1.0136 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS18214B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2860176 | 2017-12-14 | 9.7862 | 10.1 | 96.8931 | -3.1069 | -0.3138 | 2 | 3309 | Sample was diluted |  |  | µg/L | T225 | ICPMS17346B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2990148 | 2017-12-28 | 10.7756 | 10.1 | 106.6891 | 6.6891 | 0.6756 | 2 | 3309 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS17361A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1030057 | 2018-05-02 | 10.0704 | 10.1 | 99.7069 | -0.29307 | -0.0296 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18121B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1160209 | 2018-05-23 | 11.0217 | 10.1 | 109.1257 | 9.1257 | 0.9217 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18142A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2280203 | 2018-09-20 | 197.2636 | 191 | 103.2794 | 3.2794 | 0.65587 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS18253A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2420121 | 2018-09-26 | 186.3234 | 191 | 97.5515 | -2.4485 | -0.4897 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS18269A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3180171 | 2017-12-13 | 13.63 | 12.7 | 107.3228 | 7.3228 | 0.78151 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17346B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3330004 | 2017-12-27 | 13.1273 | 12.7 | 103.3646 | 3.3646 | 0.35908 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS17361A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1350128 | 2018-06-06 | 13.4981 | 12.7 | 106.2843 | 6.2843 | 0.67067 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS18157B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1500140 | 2018-06-18 | 13.239 | 12.7 | 104.2441 | 4.2441 | 0.45294 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS18169A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3110098 | 2017-12-21 | 216.8423 | 193 | 112.3535 | 12.3535 | 2.4707 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS17353C
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3250154 | 2018-01-10 | 201.7551 | 193 | 104.5363 | 4.5363 | 0.90726 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS18010B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1280142 | 2018-06-05 | 196.982 | 193 | 102.0632 | 2.0632 | 0.41264 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS18156B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1420223 | 2018-06-18 | 190.8729 | 193 | 98.8979 | -1.1021 | -0.22042 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS18169A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3200122 | 2017-12-13 | 24.4688 | 25.2 | 97.0984 | -2.9016 | -0.49074 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS17346B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3340146 | 2018-01-03 | 26.8397 | 25.2 | 106.5067 | 6.5067 | 1.1005 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18003B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1380027 | 2018-06-06 | 25.6972 | 25.2 | 101.973 | 1.973 | 0.33369 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18157B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1510124 | 2018-06-18 | 25.4719 | 25.2 | 101.079 | 1.079 | 0.18248 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18169A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0440095 | 2018-03-14 | 195.701 | 193 | 101.3995 | 1.3995 | 0.2799 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS18071A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0580118 | 2018-03-28 | 182.7645 | 193 | 94.6966 | -5.3034 | -1.0607 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS18086B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2260149 | 2018-09-20 | 195.8346 | 193 | 101.4687 | 1.4687 | 0.29374 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS18253A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2410018 | 2018-09-26 | 196.7747 | 193 | 101.9558 | 1.9558 | 0.39116 | 2 | 3309 | Sample was diluted |  |  | µg/L | T219 | ICPMS18269A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0370095 | 2018-02-21 | 13.4306 | 12.7 | 105.7528 | 5.7528 | 0.61395 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS18051B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0520070 | 2018-03-13 | 12.7304 | 12.7 | 100.2394 | 0.23937 | 0.025546 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS18071A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2200026 | 2018-08-21 | 12.8367 | 12.7 | 101.0764 | 1.0764 | 0.11487 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T223 | ICPMS18233A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2330199 | 2018-08-28 | 13.1735 | 12.7 | 103.7283 | 3.7283 | 0.3979 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS18240A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0170071 | 2018-02-01 | 25.2375 | 25.2 | 100.1488 | 0.14881 | 0.025168 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18032A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0300092 | 2018-02-13 | 24.7216 | 25.2 | 98.1016 | -1.8984 | -0.32107 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18039A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1910179 | 2018-07-25 | 25.2848 | 25.2 | 100.3365 | 0.33651 | 0.056913 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T221 | ICPMS18201A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2050299 | 2018-08-03 | 25.4252 | 25.2 | 100.8937 | 0.89365 | 0.15114 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18215B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0100019 | 2018-01-31 | 196.372 | 191 | 102.8126 | 2.8126 | 0.56251 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS18031A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0240044 | 2018-02-21 | 198.4434 | 191 | 103.8971 | 3.8971 | 0.77941 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS18051B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1840099 | 2018-08-02 | 199.6616 | 191 | 104.5349 | 4.5349 | 0.90697 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS18214B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1990130 | 2018-08-08 | 194.5044 | 191 | 101.8348 | 1.8348 | 0.36695 | 2 | 3309 | Sample was diluted |  |  | µg/L | T217 | ICPMS18219B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0730071 | 2018-04-04 | 194.648 | 205 | 94.9502 | -5.0498 | -0.86992 | 2 | 3309 | Value verified by rerun, same method | Sample was diluted |  | µg/L | T227 | ICPMS18093B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0860122 | 2018-05-01 | 188.414 | 205 | 91.9093 | -8.0907 | -1.3938 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS18120B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2550005 | 2018-09-28 | 200.7101 | 205 | 97.9074 | -2.0926 | -0.3605 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS18269B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2680171 | 2018-10-29 | 209.9349 | 205 | 102.4073 | 2.4073 | 0.4147 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS18299B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0650045 | 2018-03-21 | 10.4717 | 10.1 | 103.6802 | 3.6802 | 0.3717 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18079A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0790092 | 2018-04-17 | 10.4387 | 10.1 | 103.3535 | 3.3535 | 0.3387 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18106A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2490026 | 2018-09-19 | 10.4468 | 10.1 | 103.4337 | 3.4337 | 0.3468 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T225 | ICPMS18261B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2610146 | 2018-10-04 | 9.9638 | 10.1 | 98.6515 | -1.3485 | -0.1362 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18271B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0740074 | 2018-03-28 | 12.4762 | 12.7 | 98.2378 | -1.7622 | -0.18807 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS18086B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 0880082 | 2018-04-16 | 12.721 | 12.7 | 100.1654 | 0.16535 | 0.017647 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS18106A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2560308 | 2018-10-03 | 13.5956 | 12.7 | 107.052 | 7.052 | 0.75261 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS18271B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2700189 | 2018-10-15 | 13.7654 | 12.7 | 108.389 | 8.389 | 0.89529 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS18288B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3460079 | 2018-01-05 | 10.456 | 10.1 | 103.5248 | 3.5248 | 0.356 | 2 | 3309 | Analyte detected in laboratory blank | See result laboratory comment |  | µg/L | T225 | ICPMS18004A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3610007 | 2018-01-11 | 10.3879 | 10.1 | 102.8505 | 2.8505 | 0.2879 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18010B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1640022 | 2018-07-17 | 9.9886 | 10.1 | 98.897 | -1.103 | -0.1114 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18193B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1770196 | 2018-07-20 | 9.7546 | 10.1 | 96.5802 | -3.4198 | -0.3454 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18198A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3390056 | 2018-01-10 | 209.1745 | 205 | 102.0363 | 2.0363 | 0.3508 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS18010B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 3540001 | 2018-01-31 | 214.7219 | 205 | 104.7424 | 4.7424 | 0.81697 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS18031A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1560173 | 2018-07-30 | 206.1445 | 205 | 100.5583 | 0.55829 | 0.096176 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS18211A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1700199 | 2018-08-08 | 203.9138 | 205 | 99.4701 | -0.52985 | -0.091277 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS18219B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 1930155 | 2018-08-08 | 204.8915 | 205 | 99.9471 | -0.052927 | -0.0091176 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS18219B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2018 | 2070282 | 2018-08-13 | 196.93 | 205 | 96.0634 | -3.9366 | -0.67815 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS18225B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2760034 | 2018-10-15 | 26.1631 | 25.2 | 103.8218 | 3.8218 | 0.64638 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18288B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2890061 | 2018-10-29 | 26.4361 | 25.2 | 104.9052 | 4.9052 | 0.8296 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS18299B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0920065 | 2019-04-30 | 24.6587 | 25.2 | 97.852 | -2.148 | -0.36329 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS19119B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1060103 | 2019-05-06 | 26.6114 | 25.2 | 105.6008 | 5.6008 | 0.94725 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS19122B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2830105 | 2018-11-15 | 243.8084 | 230 | 106.0037 | 6.0037 | 1.1226 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS18318B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2960205 | 2019-02-05 | 229.025 | 230 | 99.5761 | -0.42391 | -0.079268 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS19035A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0990128 | 2019-06-04 | 224.8379 | 230 | 97.7556 | -2.2444 | -0.41968 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS19149A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1130095 | 2019-06-04 | 227.8908 | 230 | 99.083 | -0.91704 | -0.17148 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS19149A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1640207 | 2019-07-23 | 185.192 | 185 | 100.1038 | 0.10378 | 0.017455 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS19203A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1780227 | 2019-08-15 | 185.334 | 185 | 100.1805 | 0.18054 | 0.030364 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS19219B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2840111 | 2018-10-30 | 10.5292 | 10.1 | 104.2495 | 4.2495 | 0.4292 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18299B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2980090 | 2018-11-29 | 10.8298 | 10.1 | 107.2257 | 7.2257 | 0.7298 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS18331A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1010105 | 2019-05-06 | 9.8697 | 10.1 | 97.7198 | -2.2802 | -0.2303 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19122B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1150184 | 2019-05-06 | 9.7622 | 10.1 | 96.6554 | -3.3446 | -0.3378 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS19122B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2270233 | 2019-09-17 | 227.8771 | 230 | 99.077 | -0.923 | -0.17259 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS19260A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 3180066 | 2019-02-07 | 13.2901 | 12.7 | 104.6465 | 4.6465 | 0.49588 | 2 | 3309 | Sample was diluted |  |  | µg/L | T223 | ICPMS19036B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 3320104 | 2019-02-11 | 13.2698 | 12.7 | 104.4866 | 4.4866 | 0.47882 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19042A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1340212 | 2019-06-12 | 12.7431 | 12.7 | 100.3394 | 0.33937 | 0.036218 | 2 | 3309 | Sample was diluted |  |  | µg/L | T223 | ICPMS19163B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1490062 | 2019-06-24 | 12.4922 | 12.7 | 98.3638 | -1.6362 | -0.17462 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS19169A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 3100174 | 2019-02-12 | 174.9159 | 185 | 94.5491 | -5.4509 | -0.91674 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS19042A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 3270026 | 2019-02-26 | 188.7523 | 185 | 102.0283 | 2.0283 | 0.34112 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS19051B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1280117 | 2019-06-13 | 188.2555 | 185 | 101.7597 | 1.7597 | 0.29595 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS19163B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1410229 | 2019-06-24 | 192.7503 | 185 | 104.1894 | 4.1894 | 0.70457 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS19169A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 3250019 | 2019-02-06 | 25.7776 | 25.2 | 102.2921 | 2.2921 | 0.38765 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS19036B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 3330148 | 2019-02-11 | 25.0491 | 25.2 | 99.4012 | -0.59881 | -0.10128 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T221 | ICPMS19042A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1360139 | 2019-06-11 | 25.7439 | 25.2 | 102.1583 | 2.1583 | 0.36503 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS19158A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1550159 | 2019-06-26 | 26.8876 | 25.2 | 106.6968 | 6.6968 | 1.1326 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T221 | ICPMS19175B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0570186 | 2019-04-27 | 185.1715 | 185 | 100.0927 | 0.092703 | 0.015591 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS19114A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2250166 | 2019-09-17 | 184.5446 | 185 | 99.7538 | -0.24616 | -0.0414 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS19260A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2390203 | 2019-10-01 | 187.4741 | 185 | 101.3374 | 1.3374 | 0.22492 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS19274A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0520007 | 2019-03-29 | 12.3429 | 12.7 | 97.1882 | -2.8118 | -0.30008 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19087B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2180150 | 2019-08-29 | 13.6625 | 12.7 | 107.5787 | 7.5787 | 0.80882 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS19239B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2320181 | 2019-09-09 | 13.0872 | 12.7 | 103.0488 | 3.0488 | 0.32538 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS19252A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1900100 | 2019-08-19 | 27.699 | 25.2 | 109.9167 | 9.9167 | 1.6772 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T221 | ICPMS19231B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2050046 | 2019-08-19 | 26.9081 | 25.2 | 106.7782 | 6.7782 | 1.1464 | 2 | 3309 |  |  |  | µg/L | T221 | ICPMS19231B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1830106 | 2019-08-15 | 232.3084 | 230 | 101.0037 | 1.0037 | 0.18767 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS19219B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2000016 | 2019-08-28 | 226.4225 | 230 | 98.4446 | -1.5554 | -0.29085 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS19238A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0720020 | 2019-04-27 | 207.2286 | 205 | 101.0871 | 1.0871 | 0.18728 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19114A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0860006 | 2019-05-24 | 200.6204 | 205 | 97.8636 | -2.1364 | -0.36803 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19135A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2550075 | 2019-10-09 | 200.4495 | 205 | 97.7802 | -2.2198 | -0.38239 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19282B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2680149 | 2019-12-18 | 212.1664 | 205 | 103.4958 | 3.4958 | 0.60222 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19350A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0640092 | 2019-04-17 | 10.5072 | 10.1 | 104.0317 | 4.0317 | 0.4072 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19105A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0780096 | 2019-04-26 | 10.9515 | 10.1 | 108.4307 | 8.4307 | 0.8515 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19114A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2470180 | 2019-10-02 | 10.3051 | 10.1 | 102.0307 | 2.0307 | 0.2051 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS19274A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2600328 | 2019-10-09 | 11 | 10.1 | 108.9109 | 8.9109 | 0.9 | 2 | 3309 | Sample was diluted |  |  | µg/L | T225 | ICPMS19282B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0730067 | 2019-04-16 | 12.7427 | 12.7 | 100.3362 | 0.33622 | 0.035882 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19105A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 0870140 | 2019-04-30 | 12.8319 | 12.7 | 101.0386 | 1.0386 | 0.11084 | 2 | 3309 |  |  |  | µg/L | T223 | ICPMS19119B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 3450114 | 2019-03-07 | 10.2731 | 10.1 | 101.7139 | 1.7139 | 0.1731 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS19065A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1620136 | 2019-07-03 | 9.8104 | 10.1 | 97.1327 | -2.8673 | -0.2896 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS19183B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1760173 | 2019-07-23 | 10.307 | 10.1 | 102.0495 | 2.0495 | 0.207 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS19203A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 3400024 | 2019-03-06 | 209.0821 | 205 | 101.9913 | 1.9913 | 0.34303 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19065A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 3530016 | 2019-02-20 | 207.284 | 205 | 101.1141 | 1.1141 | 0.19193 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19045B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1550162 | 2019-07-23 | 208.366 | 205 | 101.642 | 1.642 | 0.28286 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19203A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1690137 | 2019-07-23 | 192.8883 | 205 | 94.0919 | -5.9081 | -1.0178 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19203A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 1930195 | 2019-08-14 | 212.1547 | 205 | 103.4901 | 3.4901 | 0.60124 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19219B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2019 | 2060243 | 2019-09-09 | 201.2699 | 205 | 98.1804 | -1.8196 | -0.31345 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS19252A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2810114 | 2019-12-19 | 18.8356 | 19.7 | 95.6122 | -4.3878 | -0.46724 | 2 | 3309 | Value verified by rerun, same method |  |  | µg/L | T233 | ICPMS19352B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2950100 | 2019-12-16 | 19.6792 | 19.7 | 99.8944 | -0.10558 | -0.011243 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T233 | ICPMS19347B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0980043 | 2020-04-23 | 18.425 | 19.7 | 93.5279 | -6.4721 | -0.68919 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS20114A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 1120049 | 2020-05-04 | 19.8018 | 19.7 | 100.5168 | 0.51675 | 0.055027 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS20125B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2890221 | 2019-12-19 | 233.9083 | 230 | 101.6993 | 1.6993 | 0.31775 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS19352B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 3030027 | 2020-01-09 | 234.0941 | 230 | 101.78 | 1.78 | 0.33285 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS20006A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 1060059 | 2020-06-02 | 250.7118 | 230 | 109.0051 | 9.0051 | 1.6839 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS20153B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 3170095 | 2019-12-30 | 26.3325 | 24.8 | 106.1794 | 6.1794 | 0.99513 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 3310060 | 2019-12-30 | 25.6426 | 24.8 | 103.3976 | 3.3976 | 0.54714 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 1330126 | 2020-06-12 | 26.4469 | 24.8 | 106.6407 | 6.6407 | 1.0694 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS20163B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 3090147 | 2020-01-09 | 184.1496 | 185 | 99.5403 | -0.45968 | -0.077309 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS20006A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 3230099 | 2020-01-09 | 184.7011 | 185 | 99.8384 | -0.16157 | -0.027173 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS20006A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0420076 | 2020-04-20 | 179.974 | 185 | 97.2832 | -2.7168 | -0.45691 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS20111B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0560053 | 2020-04-20 | 181.4791 | 185 | 98.0968 | -1.9032 | -0.32008 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS20111B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2240092 | 2021-01-11 | 193.7941 | 185 | 104.7536 | 4.7536 | 0.79946 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS20353A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2390027 | 2021-01-12 | 194.0582 | 185 | 104.8963 | 4.8963 | 0.82347 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS20353A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0350135 | 2020-02-12 | 23.2512 | 24.8 | 93.7548 | -6.2452 | -1.0057 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20043A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0500059 | 2020-03-04 | 22.9697 | 24.8 | 92.6198 | -7.3802 | -1.1885 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20064A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2170035 | 2020-09-17 | 25.9832 | 24.8 | 104.771 | 4.771 | 0.76831 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS20260A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2320037 | 2020-09-24 | 24.3813 | 24.8 | 98.3117 | -1.6883 | -0.27188 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS20276A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0150017 | 2020-02-03 | 19.3508 | 19.7 | 98.2274 | -1.7726 | -0.18876 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS20031A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0280070 | 2020-02-03 | 19.1577 | 19.7 | 97.2472 | -2.7528 | -0.29314 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS20031A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 1960126 | 2020-09-03 | 18.5294 | 19.7 | 94.0579 | -5.9421 | -0.63276 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS20247B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2120199 | 2020-09-17 | 20.5938 | 19.7 | 104.5371 | 4.5371 | 0.48314 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS20260A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0070044 | 2020-01-30 | 250.3776 | 230 | 108.8598 | 8.8598 | 1.6567 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS20030A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0220109 | 2020-02-05 | 220.9587 | 230 | 96.069 | -3.931 | -0.73507 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS20036A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 1890182 | 2020-10-14 | 244.0228 | 230 | 106.0969 | 6.0969 | 1.1401 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS20283A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2040025 | 2020-09-21 | 236.3205 | 230 | 102.748 | 2.748 | 0.51386 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS20265B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0700103 | 2020-05-04 | 206.2646 | 205 | 100.6169 | 0.61688 | 0.10627 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS20125B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0840029 | 2020-06-02 | 213.4884 | 205 | 104.1407 | 4.1407 | 0.71331 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS20153B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2590164 | 2020-12-29 | 207.8648 | 205 | 101.3975 | 1.3975 | 0.24074 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS20350A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2740056 | 2020-12-29 | 208.0574 | 205 | 101.4914 | 1.4914 | 0.25692 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS20350A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0630051 | 2020-03-18 | 10.2921 | 10.1 | 101.902 | 1.902 | 0.1921 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20076A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 0770114 | 2020-06-03 | 10.3366 | 10.1 | 102.3426 | 2.3426 | 0.2366 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS20153B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2530137 | 2020-10-06 | 12.6073 | 10.1 | 124.8248 | 24.8248 | 2.5073 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS20279B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 2670298 | 2020-10-09 | 10.7361 | 10.1 | 106.298 | 6.298 | 0.6361 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS20281B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 3440294 | 2020-01-30 | 10.0747 | 10.1 | 99.7495 | -0.2505 | -0.0253 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS20030A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 3600045 | 2020-01-21 | 9.6831 | 10.1 | 95.8723 | -4.1277 | -0.4169 | 2 | 3309 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20021A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 1610191 | 2020-07-01 | 10.6641 | 10.1 | 105.5851 | 5.5851 | 0.5641 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS20182B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 1760101 | 2020-08-28 | 9.6361 | 10.1 | 95.4069 | -4.5931 | -0.4639 | 2 | 3309 |  |  |  | µg/L | T225 | ICPMS20240A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 3370103 | 2020-01-30 | 218.3702 | 205 | 106.522 | 6.522 | 1.1235 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS20030A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 3510023 | 2020-01-30 | 212.1607 | 205 | 103.493 | 3.493 | 0.60174 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS20030A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 1550007 | 2020-08-28 | 201.9378 | 205 | 98.5062 | -1.4938 | -0.25733 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS20240A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2020 | 1680149 | 2020-09-21 | 207.697 | 205 | 101.3156 | 1.3156 | 0.22664 | 2 | 3309 | Sample was diluted |  |  | µg/L | T227 | ICPMS20265B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 2810032 | 2020-10-22 | 19.6418 | 19.7 | 99.7046 | -0.29543 | -0.031459 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS20296B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 2950028 | 2021-01-13 | 19.0875 | 19.7 | 96.8909 | -3.1091 | -0.33108 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS21013B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0970048 | 2021-05-21 | 17.8842 | 19.7 | 90.7827 | -9.2173 | -0.98151 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS21140A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1110004 | 2021-06-02 | 18.5416 | 19.7 | 94.1198 | -5.8802 | -0.62616 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS21153A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 2880069 | 2021-01-15 | 237.8446 | 230 | 103.4107 | 3.4107 | 0.63777 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS21015A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 3010155 | 2021-01-27 | 243.3793 | 230 | 105.8171 | 5.8171 | 1.0877 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS21026B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1030144 | 2021-05-26 | 239.687 | 230 | 104.2117 | 4.2117 | 0.78756 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS21145B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1180038 | 2021-06-24 | 233.1004 | 230 | 101.348 | 1.348 | 0.25207 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS21173A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 3150100 | 2021-01-15 | 26.1815 | 24.8 | 105.5706 | 5.5706 | 0.89708 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS21015A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 3300047 | 2021-02-02 | 27.2171 | 24.8 | 109.7464 | 9.7464 | 1.5695 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS21033A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1320162 | 2021-06-29 | 25.2941 | 24.8 | 101.9923 | 1.9923 | 0.32084 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS21180B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1460003 | 2021-07-24 | 24.2692 | 24.8 | 97.8597 | -2.1403 | -0.34468 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS21200B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 3080107 | 2021-01-27 | 181.203 | 185 | 97.9476 | -2.0524 | -0.34518 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS21026B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 3230039 | 2021-03-04 | 190.9073 | 185 | 103.1931 | 3.1931 | 0.53703 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS21055A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1250004 | 2021-06-23 | 189.1324 | 185 | 102.2337 | 2.2337 | 0.37567 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS21173A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1380139 | 2021-07-30 | 162.5449 | 185 | 87.8621 | -12.1379 | -2.0414 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS21207B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0330077 | 2021-05-07 | 190.7725 | 185 | 103.1203 | 3.1203 | 0.52477 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS21126A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0480038 | 2021-05-12 | 189.5587 | 185 | 102.4642 | 2.4642 | 0.41443 | 2 | 3309 | Sample was diluted |  |  | µg/L | T231 | ICPMS21131A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0400076 | 2021-05-04 | 25.2873 | 24.8 | 101.9649 | 1.9649 | 0.31643 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS21124A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0540055 | 2021-05-11 | 25.4697 | 24.8 | 102.7004 | 2.7004 | 0.43487 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS21131A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 2150046 | 2021-08-30 | 26.4652 | 24.8 | 106.7145 | 6.7145 | 1.0813 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS21242B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 2290121 | 2021-09-24 | 25.958 | 24.8 | 104.6694 | 4.6694 | 0.75195 | 2 | 3309 |  |  |  | µg/L | T235 | ICPMS21267A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0120036 | 2021-03-04 | 19.9173 | 19.7 | 101.103 | 1.103 | 0.11746 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS21055A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0270078 | 2021-03-26 | 19.1009 | 19.7 | 96.9589 | -3.0411 | -0.32384 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS21077A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1940229 | 2021-08-16 | 18.6468 | 19.7 | 94.6538 | -5.3462 | -0.5693 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS21228B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 2080172 | 2021-08-19 | 19.9624 | 19.7 | 101.332 | 1.332 | 0.14184 | 2 | 3309 |  |  |  | µg/L | T233 | ICPMS21230A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0050024 | 2021-03-26 | 233.5268 | 230 | 101.5334 | 1.5334 | 0.28673 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS21077A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0210015 | 2021-05-08 | 243.68 | 230 | 105.9478 | 5.9478 | 1.1122 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS21126A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1880114 | 2021-09-01 | 238.8883 | 230 | 103.8645 | 3.8645 | 0.72263 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS21232A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 2010231 | 2021-09-02 | 241.3113 | 230 | 104.918 | 4.918 | 0.91962 | 2 | 3309 | Sample was diluted |  |  | µg/L | T229 | ICPMS21244A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0680063 | 2021-05-14 | 13.313 | 13.2 | 100.8561 | 0.85606 | 0.0904 | 2 | 3309 | Sample was diluted |  |  | µg/L | T239 | ICPMS21132B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0830027 | 2021-05-15 | 13.7928 | 13.2 | 104.4909 | 4.4909 | 0.47424 | 2 | 3309 | Sample was diluted |  |  | µg/L | T239 | ICPMS21134A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0620100 | 2021-05-21 | 250.3833 | 266 | 94.1291 | -5.8709 | -1.1742 | 2 | 3309 | Sample was diluted |  |  | µg/L | T237 | ICPMS21140A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 0760035 | 2021-05-19 | 251.569 | 266 | 94.5748 | -5.4252 | -1.085 | 2 | 3309 | Sample was diluted |  |  | µg/L | T237 | ICPMS21140A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 3500073 | 2021-03-04 | 276.3586 | 266 | 103.8942 | 3.8942 | 0.77884 | 2 | 3309 | Sample was diluted |  |  | µg/L | T237 | ICPMS21055A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 3640015 | 2021-03-26 | 276.554 | 266 | 103.9677 | 3.9677 | 0.79353 | 2 | 3309 | Sample was diluted |  |  | µg/L | T237 | ICPMS21077A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1600035 | 2021-08-13 | 254.4621 | 266 | 95.6624 | -4.3376 | -0.86751 | 2 | 3309 | Sample was diluted |  |  | µg/L | T237 | ICPMS21225A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1730218 | 2021-09-01 | 272.217 | 266 | 102.3372 | 2.3372 | 0.46744 | 2 | 3309 | Sample was diluted |  |  | µg/L | T237 | ICPMS21232A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 3440081 | 2021-01-29 | 12.5765 | 13.2 | 95.2765 | -4.7235 | -0.4988 | 2 | 3309 |  |  |  | µg/L | T239 | ICPMS21028B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 3580059 | 2021-03-04 | 12.4794 | 13.2 | 94.5409 | -5.4591 | -0.57648 | 2 | 3309 |  |  |  | µg/L | T239 | ICPMS21055A
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1540139 | 2021-07-31 | 13.2069 | 13.2 | 100.0523 | 0.052273 | 0.00552 | 2 | 3309 | Sample was diluted |  |  | µg/L | T239 | ICPMS21207B
Zinc, UNF, cICP-MS | 01092 | PLM77 | UNF | 2021 | 1660119 | 2021-08-07 | 12.5326 | 13.2 | 94.9439 | -5.0561 | -0.53392 | 2 | 3309 | Sample was diluted |  |  | µg/L | T239 | ICPMS21218A