## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 1870014 | 2016-10-03 |  | 5.3225 | 5.21 | 102.1593 | 2.1593 | 0.2605 | 0.43186 |  | 3502 | Sample was diluted |  |  | mg/L | T211 | ICPOE16277B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 1900148 | 2016-10-03 |  | 7.6807 | 7.5 | 102.4093 | 2.4093 | 0.375 | 0.48187 | 0.01 | 3502 | Sample was diluted |  |  | mg/L | T217 | ICPOE16277B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2280044 | 2016-11-28 |  | 5.8432 | 5.77 | 101.2686 | 1.2686 | 0.2885 | 0.25373 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE16333A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2040161 | 2016-11-29 |  | 7.571 | 7.5 | 100.9467 | 0.94667 | 0.375 | 0.18933 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE16334A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2000017 | 2016-11-29 |  | 3.0901 | 3.0675 | 100.7368 | 0.73676 | 0.15338 | 0.14735 | 0.01 | 3502 |  |  |  | mg/L | 75213-25DIW | ICPOE16334A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2140006 | 2016-11-29 |  | 3.1467 | 3.0675 | 102.5819 | 2.5819 | 0.15338 | 0.51638 | 0.01 | 3502 |  |  |  | mg/L | 75213-25DIW | ICPOE16334A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2350041 | 2016-11-30 |  | 4.8864 | 4.91 | 99.5193 | -0.48065 | 0.2455 | -0.09613 | 0.01 | 3502 |  |  |  | mg/L | T209 | ICPOE16335A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2440086 | 2016-12-01 |  | 5.9978 | 5.77 | 103.948 | 3.948 | 0.2885 | 0.7896 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE16336A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2570067 | 2016-12-02 |  | 5.2906 | 5.21 | 101.547 | 1.547 | 0.2605 | 0.3094 | 0.01 | 3502 |  |  |  | mg/L | T211 | ICPOE16337A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2710001 | 2016-12-03 |  | 5.3589 | 5.21 | 102.858 | 2.858 | 0.2605 | 0.57159 | 0.01 | 3502 |  |  |  | mg/L | T211 | ICPOE16337B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2600135 | 2016-12-03 |  | 10.739 | 10.5 | 102.2762 | 2.2762 | 0.525 | 0.45524 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE16337B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2016 | 2740113 | 2016-12-05 |  | 10.832 | 10.5 | 103.1619 | 3.1619 | 0.525 | 0.63238 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE16340A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2880016 | 2016-12-05 |  | 7.8104 | 7.5 | 104.1387 | 4.1387 | 0.375 | 0.82773 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE16340A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2850006 | 2016-12-05 |  | 3.8005 | 3.77 | 100.809 | 0.80902 | 0.1885 | 0.1618 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE16340A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 3020132 | 2016-12-06 |  | 7.5976 | 7.5 | 101.3013 | 1.3013 | 0.375 | 0.26027 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE16341A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2980006 | 2016-12-06 |  | 3.8183 | 3.77 | 101.2812 | 1.2812 | 0.1885 | 0.25623 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE16341A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 3270001 | 2016-12-07 |  | 4.0976 | 4.07 | 100.6781 | 0.67813 | 0.2035 | 0.13563 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE16342A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 3190001 | 2016-12-07 |  | 5.8851 | 5.77 | 101.9948 | 1.9948 | 0.2885 | 0.39896 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE16342A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 3350024 | 2016-12-07 |  | 5.7383 | 5.77 | 99.4506 | -0.54939 | 0.2885 | -0.10988 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE16342A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 3400001 | 2016-12-19 |  | 4.2743 | 4.07 | 105.0197 | 5.0197 | 0.2035 | 1.0039 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE16354A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 3440102 | 2016-12-19 |  | 11.152 | 10.5 | 106.2095 | 6.2095 | 0.525 | 1.2419 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE16354A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 0060077 | 2017-01-25 |  | 7.5013 | 7.5 | 100.0173 | 0.017333 | 0.375 | 0.0034667 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE17023A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 3580162 | 2017-01-25 |  | 10.315 | 10.5 | 98.2381 | -1.7619 | 0.525 | -0.35238 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE17023A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 0230026 | 2017-01-31 |  | 7.4451 | 7.5 | 99.268 | -0.732 | 0.375 | -0.1464 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE17031A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 0370012 | 2017-02-16 |  | 4.0934 | 4.07 | 100.5749 | 0.57494 | 0.2035 | 0.11499 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE17046A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 0480085 | 2017-03-03 |  | 4.1666 | 4.07 | 102.3735 | 2.3735 | 0.2035 | 0.47469 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE17059A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 0720004 | 2017-03-22 |  | 5.3334 | 5.21 | 102.3685 | 2.3685 | 0.2605 | 0.4737 | 0.01 | 3502 |  |  |  | mg/L | T211 | ICPOE17081A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 0790001 | 2017-03-28 |  | 10.493 | 10.5 | 99.9333 | -0.066667 | 0.525 | -0.013333 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE17087A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 0860004 | 2017-04-10 |  | 5.3951 | 5.21 | 103.5528 | 3.5528 | 0.2605 | 0.71056 | 0.01 | 3502 |  |  |  | mg/L | T211 | ICPOE17100A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 0900189 | 2017-04-11 |  | 10.938 | 10.5 | 104.1714 | 4.1714 | 0.525 | 0.83429 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE17101A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1010341 | 2017-04-20 |  | 3.7946 | 3.77 | 100.6525 | 0.65252 | 0.1885 | 0.1305 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE17110A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1040168 | 2017-04-26 |  | 7.5648 | 7.5 | 100.864 | 0.864 | 0.375 | 0.1728 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE17116A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1140023 | 2017-05-22 |  | 3.8008 | 3.77 | 100.817 | 0.81698 | 0.1885 | 0.1634 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE17139A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1180066 | 2017-05-23 |  | 7.4347 | 7.5 | 99.1293 | -0.87067 | 0.375 | -0.17413 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE17139A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1280011 | 2017-05-30 |  | 5.6924 | 5.77 | 98.6551 | -1.3449 | 0.2885 | -0.26898 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE17150A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1320085 | 2017-05-31 |  | 4.0126 | 4.07 | 98.5897 | -1.4103 | 0.2035 | -0.28206 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE17151C
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1420031 | 2017-06-01 |  | 5.9185 | 5.77 | 102.5737 | 2.5737 | 0.2885 | 0.51473 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE17152A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1460137 | 2017-06-14 |  | 4.0999 | 4.07 | 100.7346 | 0.73464 | 0.2035 | 0.14693 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE17163A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1600150 | 2017-06-23 |  | 10.889 | 10.5 | 103.7048 | 3.7048 | 0.525 | 0.74095 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE17174A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1700056 | 2017-07-03 |  | 5.3061 | 5.21 | 101.8445 | 1.8445 | 0.2605 | 0.36891 | 0.01 | 3502 |  |  |  | mg/L | T211 | ICPOE17181A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1740149 | 2017-07-05 |  | 10.533 | 10.5 | 100.3143 | 0.31429 | 0.525 | 0.062857 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE17184A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1810233 | 2017-07-11 |  | 5.2725 | 5.21 | 101.1996 | 1.1996 | 0.2605 | 0.23992 | 0.01 | 3502 |  |  |  | mg/L | T211 | ICPOE17192B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1920148 | 2017-07-21 |  | 7.4947 | 7.5 | 99.9293 | -0.070667 | 0.375 | -0.014133 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE17202A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 1980032 | 2017-07-21 |  | 3.8957 | 3.77 | 103.3342 | 3.3342 | 0.1885 | 0.66684 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE17202A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2020036 | 2017-07-28 |  | 7.4679 | 7.5 | 99.572 | -0.428 | 0.375 | -0.0856 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE17209A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2120001 | 2017-08-15 |  | 3.8509 | 3.77 | 102.1459 | 2.1459 | 0.1885 | 0.42918 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE17222A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2260060 | 2017-08-25 |  | 4.237 | 4.07 | 104.1032 | 4.1032 | 0.2035 | 0.82064 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE17237A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2300179 | 2017-09-06 |  | 6.0086 | 5.77 | 104.1352 | 4.1352 | 0.2885 | 0.82704 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE17244A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2400046 | 2017-09-07 |  | 4.2259 | 4.07 | 103.8305 | 3.8305 | 0.2035 | 0.76609 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE17250A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2440274 | 2017-09-15 |  | 5.8003 | 5.77 | 100.5251 | 0.52513 | 0.2885 | 0.10503 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE17257A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2550107 | 2017-10-03 |  | 4.9 | 5.21 | 94.0499 | -5.9501 | 0.2605 | -1.19 | 0.01 | 3502 |  |  |  | mg/L | T211 | ICPOE17275A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2580248 | 2017-10-03 |  | 11.346 | 10.5 | 108.0571 | 8.0571 | 0.525 | 1.6114 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE17276A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2680027 | 2017-10-17 |  | 5.2228 | 5.21 | 100.2457 | 0.24568 | 0.2605 | 0.049136 | 0.01 | 3502 |  |  |  | mg/L | T211 | ICPOE17290A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2017 | 2750013 | 2017-10-17 |  | 10.484 | 10.5 | 99.8476 | -0.15238 | 0.525 | -0.030476 | 0.01 | 3502 |  |  |  | mg/L | T215 | ICPOE17290A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2860175 | 2017-10-20 |  | 7.9551 | 7.5 | 106.068 | 6.068 | 0.375 | 1.2136 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE17293A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2840082 | 2017-10-20 |  | 3.9492 | 3.77 | 104.7533 | 4.7533 | 0.1885 | 0.95066 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE17293A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2960003 | 2017-10-31 |  | 3.9032 | 3.77 | 103.5332 | 3.5332 | 0.1885 | 0.70663 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE17304A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2990147 | 2017-11-02 |  | 7.655 | 7.5 | 102.0667 | 2.0667 | 0.375 | 0.41333 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE17306A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 3200123 | 2017-11-29 |  | 4.0882 | 4.07 | 100.4472 | 0.44717 | 0.2035 | 0.089435 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE17333A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 3170001 | 2017-11-29 |  | 5.683 | 5.77 | 98.4922 | -1.5078 | 0.2885 | -0.30156 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE17333A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 3340147 | 2017-12-12 |  | 4.067 | 4.07 | 99.9263 | -0.07371 | 0.2035 | -0.014742 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE17340B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 3310002 | 2017-12-12 |  | 5.5624 | 5.77 | 96.4021 | -3.5979 | 0.2885 | -0.71958 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE17340B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 3420020 | 2018-01-02 |  | 3.2644 | 3.19 | 102.3323 | 2.3323 | 0.1595 | 0.46646 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE17363A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 3560009 | 2018-01-16 |  | 3.4018 | 3.19 | 106.6395 | 6.6395 | 0.1595 | 1.3279 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE18016A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 0160011 | 2018-01-26 |  | 7.5207 | 7.5 | 100.276 | 0.276 | 0.375 | 0.0552 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE18026A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 0300091 | 2018-02-22 |  | 7.4993 | 7.5 | 99.9907 | -0.0093333 | 0.375 | -0.0018667 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE18053A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 0440065 | 2018-03-13 |  | 4.2773 | 4.07 | 105.0934 | 5.0934 | 0.2035 | 1.0187 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE18071A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 0580013 | 2018-03-20 |  | 4.2449 | 4.07 | 104.2973 | 4.2973 | 0.2035 | 0.85946 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE18079A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 0720089 | 2018-04-18 |  | 15.224 | 14.8 | 102.8649 | 2.8649 | 0.74 | 0.57297 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE18108A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 0740073 | 2018-04-18 |  | 3.3607 | 3.19 | 105.3511 | 5.3511 | 0.1595 | 1.0702 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE18108A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 0850003 | 2018-05-07 |  | 15.1 | 14.8 | 102.027 | 2.027 | 0.74 | 0.40541 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE18127A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 0880083 | 2018-05-07 |  | 2.816 | 3.19 | 88.2759 | -11.7241 | 0.1595 | -2.3448 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE18127A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1030056 | 2018-05-08 |  | 7.82 | 7.5 | 104.2667 | 4.2667 | 0.375 | 0.85333 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE18128A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1010001 | 2018-05-08 |  | 3.79 | 3.77 | 100.5305 | 0.5305 | 0.1885 | 0.1061 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE18128A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1140023 | 2018-05-17 |  | 3.78 | 3.77 | 100.2653 | 0.26525 | 0.1885 | 0.05305 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE18134A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1160210 | 2018-06-29 |  | 7.498 | 7.5 | 99.9733 | -0.026667 | 0.375 | -0.0053333 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE18180A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1340013 | 2018-06-29 |  | 5.721 | 5.77 | 99.1508 | -0.84922 | 0.2885 | -0.16984 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE18180A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1380028 | 2018-07-05 |  | 4.079 | 4.07 | 100.2211 | 0.22113 | 0.2035 | 0.044226 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE18186A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1510123 | 2018-07-09 |  | 4.111 | 4.07 | 101.0074 | 1.0074 | 0.2035 | 0.20147 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE18190A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1500066 | 2018-07-09 |  | 5.827 | 5.77 | 100.9879 | 0.98787 | 0.2885 | 0.19757 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE18190A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1590256 | 2018-07-10 |  | 3.13 | 3.19 | 98.1191 | -1.8809 | 0.1595 | -0.37618 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE18191A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1650203 | 2018-07-11 |  | 15.55 | 14.8 | 105.0676 | 5.0676 | 0.74 | 1.0135 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE18191A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1790144 | 2018-07-25 |  | 15.44 | 14.8 | 104.3243 | 4.3243 | 0.74 | 0.86486 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE18206A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1730338 | 2018-08-06 |  | 3.156 | 3.19 | 98.9342 | -1.0658 | 0.1595 | -0.21317 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE18218A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1870110 | 2018-08-08 |  | 7.44 | 7.5 | 99.2 | -0.8 | 0.375 | -0.16 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T217 | ICPOE18220A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 1930156 | 2018-08-08 |  | 3.794 | 3.77 | 100.6366 | 0.6366 | 0.1885 | 0.12732 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE18220A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2010198 | 2018-08-10 |  | 7.421 | 7.5 | 98.9467 | -1.0533 | 0.375 | -0.21067 | 0.01 | 3502 |  |  |  | mg/L | T217 | ICPOE18221B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2070281 | 2018-08-22 |  | 3.755 | 3.77 | 99.6021 | -0.39788 | 0.1885 | -0.079576 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE18234A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2250029 | 2018-09-13 |  | 4.202 | 4.07 | 103.2432 | 3.2432 | 0.2035 | 0.64865 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE18255A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2280204 | 2018-09-13 |  | 5.868 | 5.77 | 101.6984 | 1.6984 | 0.2885 | 0.33969 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE18255A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2400080 | 2018-09-17 |  | 4.099 | 4.07 | 100.7125 | 0.71253 | 0.2035 | 0.14251 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE18260A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2420120 | 2018-09-17 |  | 5.796 | 5.77 | 100.4506 | 0.45061 | 0.2885 | 0.090121 | 0.01 | 3502 |  |  |  | mg/L | T219 | ICPOE18260A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2550004 | 2018-10-10 |  | 15.55 | 14.8 | 105.0676 | 5.0676 | 0.74 | 1.0135 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T225 | ICPOE18283A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2670001 | 2018-10-11 |  | 15.21 | 14.8 | 102.7703 | 2.7703 | 0.74 | 0.55405 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T225 | ICPOE18284A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2560307 | 2018-10-11 |  | 3.298 | 3.19 | 103.3856 | 3.3856 | 0.1595 | 0.67712 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE18284A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2018 | 2700188 | 2018-10-23 |  | 3.231 | 3.19 | 101.2853 | 1.2853 | 0.1595 | 0.25705 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE18295A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2840110 | 2018-10-24 |  | 23.57 | 22 | 107.1364 | 7.1364 | 1.1 | 1.4273 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE18297A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2830076 | 2018-10-24 |  | 3.758 | 3.77 | 99.6817 | -0.3183 | 0.1885 | -0.06366 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE18297A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2960210 | 2018-11-13 |  | 3.7 | 3.77 | 98.1432 | -1.8568 | 0.1885 | -0.37135 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE18317A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2980089 | 2018-11-14 |  | 22.98 | 22 | 104.4545 | 4.4545 | 1.1 | 0.89091 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE18318A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 3130082 | 2018-12-07 |  | 13.97 | 13.4 | 104.2537 | 4.2537 | 0.67 | 0.85075 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE18341A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 3250018 | 2018-12-10 |  | 4.118 | 4.07 | 101.1794 | 1.1794 | 0.2035 | 0.23587 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE18344B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 3310047 | 2018-12-10 |  | 14.21 | 13.4 | 106.0448 | 6.0448 | 0.67 | 1.209 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE18344B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 3330149 | 2018-12-20 |  | 4.03 | 4.07 | 99.0172 | -0.9828 | 0.2035 | -0.19656 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE18354A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 3410266 | 2019-02-01 |  | 3.312 | 3.19 | 103.8245 | 3.8245 | 0.1595 | 0.76489 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE19032A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 3550315 | 2019-02-08 |  | 3.27 | 3.19 | 102.5078 | 2.5078 | 0.1595 | 0.50157 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE19039B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 0570185 | 2019-04-18 |  | 4.059 | 4.07 | 99.7297 | -0.27027 | 0.2035 | -0.054054 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T223 | ICPOE19108A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 0720017 | 2019-04-25 |  | 15.76 | 14.8 | 106.4865 | 6.4865 | 0.74 | 1.2973 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T225 | ICPOE19115A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 0730066 | 2019-04-25 |  | 3.291 | 3.19 | 103.1661 | 3.1661 | 0.1595 | 0.63323 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE19115A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 0860001 | 2019-04-26 |  | 15.31 | 14.8 | 103.4459 | 3.4459 | 0.74 | 0.68919 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T225 | ICPOE19116A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 0870141 | 2019-04-26 |  | 3.222 | 3.19 | 101.0031 | 1.0031 | 0.1595 | 0.20063 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE19116A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1010104 | 2019-05-10 |  | 23.5 | 22 | 106.8182 | 6.8182 | 1.1 | 1.3636 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE19129B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1150183 | 2019-05-10 |  | 23.68 | 22 | 107.6364 | 7.6364 | 1.1 | 1.5273 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE19129B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 0990225 | 2019-05-10 |  | 3.765 | 3.77 | 99.8674 | -0.13263 | 0.1885 | -0.026525 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE19129B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1130094 | 2019-05-10 |  | 3.779 | 3.77 | 100.2387 | 0.23873 | 0.1885 | 0.047745 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE19130A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1300189 | 2019-06-04 |  | 14.87 | 13.4 | 110.9701 | 10.9701 | 0.67 | 2.194 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T231 | ICPOE19151A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1360140 | 2019-06-05 |  | 4.017 | 4.07 | 98.6978 | -1.3022 | 0.2035 | -0.26044 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE19156B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1480032 | 2019-06-18 |  | 14.17 | 13.4 | 105.7463 | 5.7463 | 0.67 | 1.1493 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE19169A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1550158 | 2019-06-20 |  | 4.094 | 4.07 | 100.5897 | 0.58968 | 0.2035 | 0.11794 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T223 | ICPOE19171A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1580172 | 2019-06-28 |  | 3.235 | 3.19 | 101.4107 | 1.4107 | 0.1595 | 0.28213 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE19179A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1640208 | 2019-06-28 |  | 15.04 | 14.8 | 101.6216 | 1.6216 | 0.74 | 0.32432 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE19179A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1720211 | 2019-07-31 |  | 3.27 | 3.19 | 102.5078 | 2.5078 | 0.1595 | 0.50157 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T227 | ICPOE19212A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1780228 | 2019-07-31 |  | 15.63 | 14.8 | 105.6081 | 5.6081 | 0.74 | 1.1216 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE19212A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1890001 | 2019-08-01 |  | 23.48 | 22 | 106.7273 | 6.7273 | 1.1 | 1.3455 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T229 | ICPOE19213B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 1930194 | 2019-08-07 |  | 3.753 | 3.77 | 99.5491 | -0.45093 | 0.1885 | -0.090186 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE19219A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2250170 | 2019-09-16 |  | 4.242 | 4.07 | 104.226 | 4.226 | 0.2035 | 0.84521 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE19259A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2050047 | 2019-09-16 |  | 23.03 | 22 | 104.6818 | 4.6818 | 1.1 | 0.93636 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE19259A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2060244 | 2019-09-16 |  | 3.794 | 3.77 | 100.6366 | 0.6366 | 0.1885 | 0.12732 | 0.01 | 3502 |  |  |  | mg/L | T221 | ICPOE19259A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2270232 | 2019-09-18 |  | 14.25 | 13.4 | 106.3433 | 6.3433 | 0.67 | 1.2687 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T231 | ICPOE19261B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2390201 | 2019-09-19 |  | 4.229 | 4.07 | 103.9066 | 3.9066 | 0.2035 | 0.78133 | 0.01 | 3502 |  |  |  | mg/L | T223 | ICPOE19262B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2410096 | 2019-09-19 |  | 14.43 | 13.4 | 107.6866 | 7.6866 | 0.67 | 1.5373 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE19262B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2530046 | 2019-10-25 |  | 15.56 | 14.8 | 105.1351 | 5.1351 | 0.74 | 1.027 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE19297B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2560157 | 2019-10-25 |  | 3.389 | 3.19 | 106.2382 | 6.2382 | 0.1595 | 1.2476 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE19297B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2670167 | 2019-11-06 |  | 15.43 | 14.8 | 104.2568 | 4.2568 | 0.74 | 0.85135 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE19310A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2019 | 2690146 | 2019-11-06 |  | 3.334 | 3.19 | 104.5141 | 4.5141 | 0.1595 | 0.90282 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE19310A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2840134 | 2019-11-08 |  | 6.712 | 6.71 | 100.0298 | 0.029806 | 0.3355 | 0.0059613 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE19312A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2910179 | 2019-11-12 |  | 22.94 | 22 | 104.2727 | 4.2727 | 1.1 | 0.85455 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE19316A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 3030024 | 2019-11-25 |  | 6.744 | 6.71 | 100.5067 | 0.50671 | 0.3355 | 0.10134 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE19329B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 3040164 | 2019-12-04 |  | 22.94 | 22 | 104.2727 | 4.2727 | 1.1 | 0.85455 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE19338A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 3180077 | 2019-12-04 |  | 4.114 | 4.1 | 100.3415 | 0.34146 | 0.205 | 0.068293 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE19338A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 3120135 | 2019-12-04 |  | 14.11 | 13.4 | 105.2985 | 5.2985 | 0.67 | 1.0597 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE19338A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 3370104 | 2020-01-14 |  | 4.203 | 4.1 | 102.5122 | 2.5122 | 0.205 | 0.50244 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE20014A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 3260057 | 2020-01-14 |  | 14.35 | 13.4 | 107.0896 | 7.0896 | 0.67 | 1.4179 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE20014A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 3400073 | 2020-01-14 |  | 3.278 | 3.19 | 102.7586 | 2.7586 | 0.1595 | 0.55172 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE20014A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 3600047 | 2020-01-15 |  | 3.248 | 3.19 | 101.8182 | 1.8182 | 0.1595 | 0.36364 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE20014A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 0150016 | 2020-02-06 |  | 22.87 | 22 | 103.9545 | 3.9545 | 1.1 | 0.79091 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE20037A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 0280068 | 2020-02-06 |  | 23.45 | 22 | 106.5909 | 6.5909 | 1.1 | 1.3182 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE20037A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 0420074 | 2020-02-26 |  | 4.17 | 4.1 | 101.7073 | 1.7073 | 0.205 | 0.34146 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE20057B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 0560054 | 2020-03-05 |  | 4.166 | 4.1 | 101.6098 | 1.6098 | 0.205 | 0.32195 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T235 | ICPOE20064A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 0700086 | 2020-03-19 |  | 15.39 | 14.8 | 103.9865 | 3.9865 | 0.74 | 0.7973 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE20079A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 0730160 | 2020-04-07 |  | 3.241 | 3.19 | 101.5987 | 1.5987 | 0.1595 | 0.31975 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T227 | ICPOE20098A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 0840025 | 2020-04-16 |  | 15.56 | 14.8 | 105.1351 | 5.1351 | 0.74 | 1.027 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE20107A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 0860002 | 2020-04-16 |  | 3.223 | 3.19 | 101.0345 | 1.0345 | 0.1595 | 0.2069 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE20107A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1040011 | 2020-04-27 |  | 6.733 | 6.71 | 100.3428 | 0.34277 | 0.3355 | 0.068554 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T233 | ICPOE20118B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1070055 | 2020-05-05 |  | 22.48 | 22 | 102.1818 | 2.1818 | 1.1 | 0.43636 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE20126B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1150060 | 2020-05-07 |  | 6.778 | 6.71 | 101.0134 | 1.0134 | 0.3355 | 0.20268 | 0.01 | 3502 | See result laboratory comment |  |  | mg/L | T233 | ICPOE20128B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1290023 | 2020-06-01 |  | 14.26 | 13.4 | 106.4179 | 6.4179 | 0.67 | 1.2836 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE20153A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1470041 | 2020-06-15 |  | 14.2 | 13.4 | 105.9701 | 5.9701 | 0.67 | 1.194 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE20167B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1570002 | 2020-07-16 |  | 3.268 | 3.19 | 102.4451 | 2.4451 | 0.1595 | 0.48903 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE20198A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1770247 | 2020-07-17 |  | 15.37 | 14.8 | 103.8514 | 3.8514 | 0.74 | 0.77027 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE20198A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1630146 | 2020-07-20 |  | 15.15 | 14.8 | 102.3649 | 2.3649 | 0.74 | 0.47297 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE20202A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1710162 | 2020-07-21 |  | 3.262 | 3.19 | 102.2571 | 2.2571 | 0.1595 | 0.45141 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE20203A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1920105 | 2020-07-27 |  | 23.02 | 22 | 104.6364 | 4.6364 | 1.1 | 0.92727 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE20209A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 1980098 | 2020-08-19 |  | 7.075 | 6.71 | 105.4396 | 5.4396 | 0.3355 | 1.0879 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE20232A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2130182 | 2020-08-21 |  | 6.668 | 6.71 | 99.3741 | -0.62593 | 0.3355 | -0.12519 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE20234A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2110156 | 2020-08-24 |  | 22.77 | 22 | 103.5 | 3.5 | 1.1 | 0.7 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE20237A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2200219 | 2020-08-27 |  | 4.241 | 4.1 | 103.439 | 3.439 | 0.205 | 0.6878 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE20248B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2260121 | 2020-08-27 |  | 14.07 | 13.4 | 105 | 5 | 0.67 | 1 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE20248B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2390033 | 2020-09-10 |  | 4.242 | 4.1 | 103.4634 | 3.4634 | 0.205 | 0.69268 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE20254A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2400049 | 2020-09-10 |  | 13.99 | 13.4 | 104.403 | 4.403 | 0.67 | 0.8806 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE20254A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2550049 | 2020-09-29 |  | 15.03 | 14.8 | 101.5541 | 1.5541 | 0.74 | 0.31081 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE20273B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2610177 | 2020-09-29 |  | 3.301 | 3.19 | 103.4796 | 3.4796 | 0.1595 | 0.69592 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE20273B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2690022 | 2020-10-14 |  | 15.03 | 14.8 | 101.5541 | 1.5541 | 0.74 | 0.31081 | 0.01 | 3502 |  |  |  | mg/L | T225 | ICPOE20288B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2020 | 2750113 | 2020-10-14 |  | 3.262 | 3.19 | 102.2571 | 2.2571 | 0.1595 | 0.45141 | 0.01 | 3502 |  |  |  | mg/L | T227 | ICPOE20288B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 2830130 | 2020-10-19 |  | 6.701 | 6.71 | 99.8659 | -0.13413 | 0.3355 | -0.026826 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE20293A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 2970237 | 2020-11-12 |  | 6.556 | 6.71 | 97.7049 | -2.2951 | 0.3355 | -0.45902 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE20317A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 2890051 | 2020-11-13 |  | 23.35 | 22 | 106.1364 | 6.1364 | 1.1 | 1.2273 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE20318A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 3030155 | 2020-11-13 |  | 23.15 | 22 | 105.2273 | 5.2273 | 1.1 | 1.0455 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE20318A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 3110060 | 2020-11-13 |  | 14.01 | 13.4 | 104.5522 | 4.5522 | 0.67 | 0.91045 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE20317A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 3180093 | 2020-11-25 |  | 4.132 | 4.1 | 100.7805 | 0.78049 | 0.205 | 0.1561 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE20330A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 3350002 | 2021-01-14 |  | 4.278 | 4.1 | 104.3415 | 4.3415 | 0.205 | 0.86829 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE21014A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 3250099 | 2021-01-14 |  | 13.91 | 13.4 | 103.806 | 3.806 | 0.67 | 0.76119 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE21014A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 3640039 | 2021-01-14 |  | 29.51 | 28.3 | 104.2756 | 4.2756 | 1.415 | 0.85512 | 0.01 | 3502 |  |  |  | mg/L | T239 | ICPOE21014A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 3460123 | 2021-01-22 |  | 29.2 | 28.3 | 103.1802 | 3.1802 | 1.415 | 0.63604 | 0.01 | 3502 |  |  |  | mg/L | T239 | ICPOE21019A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 0120029 | 2021-01-26 |  | 23.72 | 22 | 107.8182 | 7.8182 | 1.1 | 1.5636 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE21026A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 0270013 | 2021-02-17 |  | 22.18 | 22 | 100.8182 | 0.81818 | 1.1 | 0.16364 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE21048A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 0480041 | 2021-03-11 |  | 3.992 | 4.1 | 97.3659 | -2.6341 | 0.205 | -0.52683 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE21070A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 0620101 | 2021-03-19 |  | 3.832 | 4.1 | 93.4634 | -6.5366 | 0.205 | -1.3073 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE21078A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 0680060 | 2021-03-19 |  | 7.679 | 7.56 | 101.5741 | 1.5741 | 0.378 | 0.31481 | 0.01 | 3502 |  |  |  | mg/L | T237 | ICPOE21078A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 0820065 | 2021-03-29 |  | 7.58 | 7.56 | 100.2646 | 0.26455 | 0.378 | 0.05291 | 0.01 | 3502 |  |  |  | mg/L | T237 | ICPOE21088A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 0690089 | 2021-03-29 |  | 26.48 | 28.3 | 93.5689 | -6.4311 | 1.415 | -1.2862 | 0.01 | 3502 |  |  |  | mg/L | T239 | ICPOE21088A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 0840105 | 2021-05-04 |  | 27.23 | 28.3 | 96.2191 | -3.7809 | 1.415 | -0.75618 | 0.01 | 3502 |  |  |  | mg/L | T239 | ICPOE21124A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1180043 | 2021-06-08 |  | 6.488 | 6.71 | 96.6915 | -3.3085 | 0.3355 | -0.6617 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE21159B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1330238 | 2021-06-09 |  | 4.164 | 4.1 | 101.561 | 1.561 | 0.205 | 0.3122 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE21159B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1300058 | 2021-06-09 |  | 14.1 | 13.4 | 105.2239 | 5.2239 | 0.67 | 1.0448 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE21159B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1050215 | 2021-06-10 |  | 23.44 | 22 | 106.5455 | 6.5455 | 1.1 | 1.3091 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE21168A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1030140 | 2021-06-10 |  | 6.685 | 6.71 | 99.6274 | -0.37258 | 0.3355 | -0.074516 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE21168A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1440087 | 2021-06-24 |  | 14.62 | 13.4 | 109.1045 | 9.1045 | 0.67 | 1.8209 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE21174B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1530099 | 2021-06-28 |  | 4.049 | 4.1 | 98.7561 | -1.2439 | 0.205 | -0.24878 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE21179B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1600034 | 2021-07-01 |  | 27.79 | 28.3 | 98.1979 | -1.8021 | 1.415 | -0.36042 | 0.01 | 3502 |  |  |  | mg/L | T239 | ICPOE21182A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1610180 | 2021-07-01 |  | 7.018 | 7.56 | 92.8307 | -7.1693 | 0.378 | -1.4339 | 0.01 | 3502 |  |  |  | mg/L | T237 | ICPOE21182A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1730215 | 2021-07-07 |  | 28.62 | 28.3 | 101.1307 | 1.1307 | 1.415 | 0.22615 | 0.01 | 3502 |  |  |  | mg/L | T239 | ICPOE21187B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1190108 | 2021-08-02 |  | 22.25 | 22 | 101.1364 | 1.1364 | 1.1 | 0.22727 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE21214B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1750331 | 2021-08-02 |  | 7.072 | 7.56 | 93.545 | -6.455 | 0.378 | -1.291 | 0.01 | 3502 |  |  |  | mg/L | T237 | ICPOE21214B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1960203 | 2021-08-06 |  | 5.912 | 6.71 | 88.1073 | -11.8927 | 0.3355 | -2.3785 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE21218A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 2040240 | 2021-08-12 |  | 23.71 | 22 | 107.7727 | 7.7727 | 1.1 | 1.5545 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE21224B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 2100162 | 2021-08-12 |  | 6.676 | 6.71 | 99.4933 | -0.50671 | 0.3355 | -0.10134 | 0.01 | 3502 |  |  |  | mg/L | T233 | ICPOE21224B
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 2180158 | 2021-09-09 |  | 4.164 | 4.1 | 101.561 | 1.561 | 0.205 | 0.3122 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE21251A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 1900156 | 2021-09-09 |  | 23.01 | 22 | 104.5909 | 4.5909 | 1.1 | 0.91818 | 0.01 | 3502 |  |  |  | mg/L | T229 | ICPOE21251A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 2240199 | 2021-09-14 |  | 14.34 | 13.4 | 107.0149 | 7.0149 | 0.67 | 1.403 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE21256A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 2320154 | 2021-09-15 |  | 4.157 | 4.1 | 101.3902 | 1.3902 | 0.205 | 0.27805 | 0.01 | 3502 |  |  |  | mg/L | T235 | ICPOE21256A
Magnesium, UNF, ICP-OES | 00927 | PLO07 | UNF | 2021 | 2380347 | 2021-09-20 |  | 14.48 | 13.4 | 108.0597 | 8.0597 | 0.67 | 1.6119 | 0.01 | 3502 |  |  |  | mg/L | T231 | ICPOE21258A