## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2780112 | 2016-10-19 |  | 43.12 | 42 | 102.6667 | 2.6667 | 2.1 | 0.53333 | 5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/L | M206 | AKDS16292A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2860090 | 2016-10-24 |  | 41.64 | 40.2 | 103.5821 | 3.5821 | 2.01 | 0.71642 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS16298A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2940162 | 2016-11-02 |  | 43.06 | 42 | 102.5238 | 2.5238 | 2.1 | 0.50476 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M206 | AKDS16307A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 3000018 | 2016-11-07 |  | 41.4 | 40.2 | 102.9851 | 2.9851 | 2.01 | 0.59701 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS16309A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 3130045 | 2016-11-17 |  | 71.62 | 75 | 95.4933 | -4.5067 | 3.75 | -0.90133 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKDS16321A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 3200135 | 2016-11-23 |  | 42.86 | 42 | 102.0476 | 2.0476 | 2.1 | 0.40952 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M206 | AKDS16327A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 3270123 | 2016-12-01 |  | 65.94 | 75 | 87.92 | -12.08 | 3.75 | -2.416 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKDS16335A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 3370120 | 2016-12-09 |  | 43.85 | 42 | 104.4048 | 4.4048 | 2.1 | 0.88095 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M206 | AKDS16343A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 3410126 | 2016-12-13 |  | 23.51 | 23 | 102.2174 | 2.2174 | 2 | 0.255 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS16347A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 3550005 | 2016-12-29 |  | 23.34 | 23 | 101.4783 | 1.4783 | 2 | 0.17 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS16362A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 0040030 | 2017-01-13 |  | 30.49 | 29.6 | 103.0068 | 3.0068 | 2 | 0.445 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS17012A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 0190005 | 2017-01-24 |  | 30.08 | 29.6 | 101.6216 | 1.6216 | 2 | 0.24 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS17023A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 0330059 | 2017-02-07 |  | 25.67 | 24.5 | 104.7755 | 4.7755 | 2 | 0.585 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS17038A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 0450114 | 2017-02-22 |  | 25.85 | 24.5 | 105.5102 | 5.5102 | 2 | 0.675 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS17052A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 0660084 | 2017-03-14 |  | 41.32 | 40.2 | 102.7861 | 2.7861 | 2.01 | 0.55721 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS17069A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 0730074 | 2017-03-23 |  | 26.5 | 24.5 | 108.1633 | 8.1633 | 2 | 1 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS17081A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 0800016 | 2017-03-28 |  | 42.65 | 40.2 | 106.0945 | 6.0945 | 2.01 | 1.2189 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS17086A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 0870130 | 2017-04-04 |  | 26.36 | 24.5 | 107.5918 | 7.5918 | 2 | 0.93 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS17093A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 0940133 | 2017-04-11 |  | 43.06 | 42 | 102.5238 | 2.5238 | 2.1 | 0.50476 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M206 | AKDS17100A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1020076 | 2017-04-18 |  | 41.05 | 40.2 | 102.1144 | 2.1144 | 2.01 | 0.42289 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS17107A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1080099 | 2017-04-24 |  | 42.29 | 42 | 100.6905 | 0.69048 | 2.1 | 0.1381 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M206 | AKDS17111A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1150157 | 2017-05-03 |  | 41.2 | 40.2 | 102.4876 | 2.4876 | 2.01 | 0.49751 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS17122A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1220116 | 2017-05-11 |  | 77.38 | 75 | 103.1733 | 3.1733 | 3.75 | 0.63467 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKDS17130A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1290177 | 2017-05-18 |  | 43.07 | 42 | 102.5476 | 2.5476 | 2.1 | 0.50952 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M206 | AKDS17138A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1370164 | 2017-05-31 |  | 73.74 | 75 | 98.32 | -1.68 | 3.75 | -0.336 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKDS17145A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1430167 | 2017-06-07 |  | 43.37 | 42 | 103.2619 | 3.2619 | 2.1 | 0.65238 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M206 | AKDS17157A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1570090 | 2017-06-15 |  | 23.25 | 23 | 101.087 | 1.087 | 2 | 0.125 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS17165A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1640177 | 2017-06-26 |  | 70.66 | 75 | 94.2133 | -5.7867 | 3.75 | -1.1573 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKDS17174A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1710240 | 2017-07-10 |  | 23.42 | 23 | 101.8261 | 1.8261 | 2 | 0.21 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS17188A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1780226 | 2017-07-12 |  | 72.11 | 75 | 96.1467 | -3.8533 | 3.75 | -0.77067 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M208 | AKDS17192A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1870002 | 2017-07-17 |  | 30.23 | 29.6 | 102.1284 | 2.1284 | 2 | 0.315 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS17195A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1920147 | 2017-07-25 |  | 23.67 | 23 | 102.913 | 2.913 | 2 | 0.335 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS17205A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 1990221 | 2017-08-02 |  | 30.97 | 29.6 | 104.6284 | 4.6284 | 2 | 0.685 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS17213B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2060195 | 2017-08-10 |  | 23.74 | 23 | 103.2174 | 3.2174 | 2 | 0.37 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS17221A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2200292 | 2017-08-21 |  | 25.97 | 24.5 | 106 | 6 | 2 | 0.735 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS17233A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2270192 | 2017-09-05 |  | 30.26 | 29.6 | 102.2297 | 2.2297 | 2 | 0.33 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS17243A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2340158 | 2017-09-11 |  | 25.59 | 24.5 | 104.449 | 4.449 | 2 | 0.545 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS17251A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2410213 | 2017-09-21 |  | 30.78 | 29.6 | 103.9865 | 3.9865 | 2 | 0.59 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS17264A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2500007 | 2017-09-22 |  | 41.19 | 40.2 | 102.4627 | 2.4627 | 2.01 | 0.49254 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS17264B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2560129 | 2017-09-28 |  | 25.92 | 24.5 | 105.7959 | 5.7959 | 2 | 0.71 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS17271A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2620206 | 2017-10-05 |  | 41.67 | 40.2 | 103.6567 | 3.6567 | 2.01 | 0.73134 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS17277A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2017 | 2690197 | 2017-10-11 |  | 26.04 | 24.5 | 106.2857 | 6.2857 | 2 | 0.77 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS17284A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2760117 | 2017-10-18 |  | 30.49 | 29.7 | 102.6599 | 2.6599 | 2 | 0.395 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS17290A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2860037 | 2017-10-25 |  | 41.68 | 40.2 | 103.6816 | 3.6816 | 2.01 | 0.73632 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS17297A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2910002 | 2017-10-31 |  | 30.5 | 29.7 | 102.6936 | 2.6936 | 2 | 0.4 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS17304A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2970216 | 2017-11-03 |  | 41.54 | 40.2 | 103.3333 | 3.3333 | 2.01 | 0.66667 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS17305A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 3110099 | 2017-11-28 |  | 53.19 | 52.4 | 101.5076 | 1.5076 | 2.62 | 0.30153 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS17332A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 3180170 | 2017-11-30 |  | 30.15 | 29.7 | 101.5152 | 1.5152 | 2 | 0.225 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS17333A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 3330003 | 2017-12-11 |  | 30.15 | 29.7 | 101.5152 | 1.5152 | 2 | 0.225 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS17345A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 3250153 | 2017-12-11 |  | 53.28 | 52.4 | 101.6794 | 1.6794 | 2.62 | 0.33588 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS17345A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 3390055 | 2017-12-15 |  | 23.74 | 23 | 103.2174 | 3.2174 | 2 | 0.37 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS17348A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 3540002 | 2017-12-28 |  | 23.48 | 23 | 102.087 | 2.087 | 2 | 0.24 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS17361A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 0100018 | 2018-01-16 |  | 30.47 | 29.6 | 102.9392 | 2.9392 | 2 | 0.435 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS18012A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 0240047 | 2018-01-29 |  | 30.57 | 29.6 | 103.277 | 3.277 | 2 | 0.485 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS18026A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 0370094 | 2018-02-15 |  | 25.93 | 24.5 | 105.8367 | 5.8367 | 2 | 0.715 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS18045B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 0520069 | 2018-03-12 |  | 26.22 | 24.5 | 107.0204 | 7.0204 | 2 | 0.86 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS18071A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 0650044 | 2018-03-15 |  | 41.63 | 40.2 | 103.5572 | 3.5572 | 2.01 | 0.71144 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18073A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 0730070 | 2018-03-28 |  | 26.28 | 24.5 | 107.2653 | 7.2653 | 2 | 0.89 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS18086A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 0790091 | 2018-03-29 |  | 41.49 | 40.2 | 103.209 | 3.209 | 2.01 | 0.64179 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18087A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 0860121 | 2018-04-10 |  | 26.06 | 24.5 | 106.3673 | 6.3673 | 2 | 0.78 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS18099A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 0930127 | 2018-04-17 |  | 30.6 | 29.7 | 103.0303 | 3.0303 | 2 | 0.45 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18106A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1020131 | 2018-04-23 |  | 41.72 | 40.2 | 103.7811 | 3.7811 | 2.01 | 0.75622 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18110A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1080116 | 2018-05-09 |  | 30.78 | 29.7 | 103.6364 | 3.6364 | 2 | 0.54 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18128A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1140192 | 2018-05-14 |  | 42.23 | 40.2 | 105.0498 | 5.0498 | 2.01 | 1.01 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18134A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1280143 | 2018-05-23 |  | 54.27 | 52.4 | 103.5687 | 3.5687 | 2.62 | 0.71374 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS18142A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1350129 | 2018-06-05 |  | 30.33 | 29.7 | 102.1212 | 2.1212 | 2 | 0.315 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18152A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1420220 | 2018-06-07 |  | 54.1 | 52.4 | 103.2443 | 3.2443 | 2.62 | 0.64885 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS18157A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1500139 | 2018-06-13 |  | 30.9 | 29.7 | 104.0404 | 4.0404 | 2 | 0.6 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18163A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1560174 | 2018-06-20 |  | 23.88 | 23 | 103.8261 | 3.8261 | 2 | 0.44 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS18171A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1640023 | 2018-06-26 |  | 54.35 | 52.4 | 103.7214 | 3.7214 | 2.62 | 0.74427 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS18177A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1700198 | 2018-07-10 |  | 23.53 | 23 | 102.3043 | 2.3043 | 2 | 0.265 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS18190A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1770195 | 2018-07-18 |  | 53.45 | 52.4 | 102.0038 | 2.0038 | 2.62 | 0.40076 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS18197A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1840100 | 2018-07-24 |  | 31.38 | 29.6 | 106.0135 | 6.0135 | 2 | 0.89 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS18204A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1910178 | 2018-07-25 |  | 23.59 | 23 | 102.5652 | 2.5652 | 2 | 0.295 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS18205A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 1990133 | 2018-08-02 |  | 30.38 | 29.6 | 102.6351 | 2.6351 | 2 | 0.39 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS18214A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2050300 | 2018-08-07 |  | 23.9 | 23 | 103.913 | 3.913 | 2 | 0.45 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M212 | AKDS18218A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2200023 | 2018-08-23 |  | 26.13 | 24.5 | 106.6531 | 6.6531 | 2 | 0.815 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS18234A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2260150 | 2018-08-30 |  | 30.9 | 29.6 | 104.3919 | 4.3919 | 2 | 0.65 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS18241A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2330198 | 2018-09-10 |  | 26.05 | 24.5 | 106.3265 | 6.3265 | 2 | 0.775 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS18250A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2410019 | 2018-09-17 |  | 30.84 | 29.6 | 104.1892 | 4.1892 | 2 | 0.62 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS18260A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2490025 | 2018-09-24 |  | 41.69 | 40.2 | 103.7065 | 3.7065 | 2.01 | 0.74129 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18267A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2550006 | 2018-10-03 |  | 25.86 | 24.5 | 105.551 | 5.551 | 2 | 0.68 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS18275A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2610145 | 2018-10-09 |  | 42.23 | 40.2 | 105.0498 | 5.0498 | 2.01 | 1.01 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18278A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2680172 | 2018-10-16 |  | 25.79 | 24.5 | 105.2653 | 5.2653 | 2 | 0.645 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS18288A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2760031 | 2018-10-17 |  | 29.94 | 29.7 | 100.8081 | 0.80808 | 2 | 0.12 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18289A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2830104 | 2018-10-19 |  | 41.22 | 40.2 | 102.5373 | 2.5373 | 2.01 | 0.50746 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18291A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2890060 | 2018-10-25 |  | 29.89 | 29.7 | 100.6397 | 0.63973 | 2 | 0.095 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18297A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2960206 | 2018-11-01 |  | 42.32 | 40.2 | 105.2736 | 5.2736 | 2.01 | 1.0547 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18304A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3100177 | 2018-11-14 |  | 53.28 | 52.4 | 101.6794 | 1.6794 | 2.62 | 0.33588 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS18317A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3180065 | 2018-11-26 |  | 31.55 | 29.7 | 106.229 | 6.229 | 2 | 0.925 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18324A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3270027 | 2018-11-30 |  | 56.36 | 52.4 | 107.5573 | 7.5573 | 2.62 | 1.5115 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS18334A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3320103 | 2018-12-04 |  | 31.56 | 29.7 | 106.2626 | 6.2626 | 2 | 0.93 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18337A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3400025 | 2019-01-31 |  | 23.86 | 23.3 | 102.4034 | 2.4034 | 2 | 0.28 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19029A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3530017 | 2019-02-06 |  | 23.61 | 23.3 | 101.3305 | 1.3305 | 2 | 0.155 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19036A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0520010 | 2019-03-08 |  | 58.2 | 57.4 | 101.3937 | 1.3937 | 2.87 | 0.27875 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19066A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0640093 | 2019-03-19 |  | 43.58 | 40.2 | 108.408 | 8.408 | 2.01 | 1.6816 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19077A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0720019 | 2019-03-28 |  | 59.08 | 57.4 | 102.9268 | 2.9268 | 2.87 | 0.58537 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19086A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0780094 | 2019-04-01 |  | 41.51 | 40.2 | 103.2587 | 3.2587 | 2.01 | 0.65174 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19087A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0860005 | 2019-04-05 |  | 58.99 | 57.4 | 102.77 | 2.77 | 2.87 | 0.55401 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19094A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0920064 | 2019-04-10 |  | 30.56 | 29.7 | 102.8956 | 2.8956 | 2 | 0.43 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19098A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0990127 | 2019-04-18 |  | 41.46 | 40.2 | 103.1343 | 3.1343 | 2.01 | 0.62687 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19107A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1060102 | 2019-04-24 |  | 30.24 | 29.7 | 101.8182 | 1.8182 | 2 | 0.27 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19113A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1130097 | 2019-05-07 |  | 41.12 | 40.2 | 102.2886 | 2.2886 | 2.01 | 0.45771 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19126A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1280120 | 2019-05-31 |  | 53.81 | 52.4 | 102.6908 | 2.6908 | 2.62 | 0.53817 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19150A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1340211 | 2019-06-04 |  | 29.99 | 29.7 | 100.9764 | 0.97643 | 2 | 0.145 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19154A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1410226 | 2019-06-06 |  | 53.15 | 52.4 | 101.4313 | 1.4313 | 2.62 | 0.28626 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19156A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1490061 | 2019-06-13 |  | 30.5 | 29.7 | 102.6936 | 2.6936 | 2 | 0.4 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19162A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1550165 | 2019-06-17 |  | 23.64 | 23.3 | 101.4592 | 1.4592 | 2 | 0.17 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19164A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1620135 | 2019-06-25 |  | 53.11 | 52.4 | 101.355 | 1.355 | 2.62 | 0.27099 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19175A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1690138 | 2019-07-02 |  | 23.87 | 23.3 | 102.4464 | 2.4464 | 2 | 0.285 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19182A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1760172 | 2019-07-10 |  | 53.94 | 52.4 | 102.9389 | 2.9389 | 2.62 | 0.58779 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19190A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1830104 | 2019-07-17 |  | 30.46 | 29.6 | 102.9054 | 2.9054 | 2 | 0.43 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS19197A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1900099 | 2019-07-17 |  | 24.07 | 23.3 | 103.3047 | 3.3047 | 2 | 0.385 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19197A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2000017 | 2019-07-30 |  | 30.88 | 29.6 | 104.3243 | 4.3243 | 2 | 0.64 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS19210B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2050045 | 2019-08-01 |  | 24.8 | 23.3 | 106.4378 | 6.4378 | 2 | 0.75 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19212A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2180151 | 2019-08-20 |  | 58.88 | 57.4 | 102.5784 | 2.5784 | 2.87 | 0.51568 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19231A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2250165 | 2019-08-23 |  | 30.78 | 29.6 | 103.9865 | 3.9865 | 2 | 0.59 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS19235A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2320180 | 2019-09-04 |  | 59.24 | 57.4 | 103.2056 | 3.2056 | 2.87 | 0.64111 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19247A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2390204 | 2019-09-12 |  | 30.88 | 29.6 | 104.3243 | 4.3243 | 2 | 0.64 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS19254A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2470181 | 2019-09-17 |  | 41.56 | 40.2 | 103.3831 | 3.3831 | 2.01 | 0.67662 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19259A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2550074 | 2019-09-20 |  | 58.79 | 57.4 | 102.4216 | 2.4216 | 2.87 | 0.48432 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19263A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2600329 | 2019-09-25 |  | 41.57 | 40.2 | 103.408 | 3.408 | 2.01 | 0.68159 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19267A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2680151 | 2019-10-03 |  | 58.74 | 57.4 | 102.3345 | 2.3345 | 2.87 | 0.4669 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19274A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2810113 | 2019-10-23 |  | 29.89 | 29.7 | 100.6397 | 0.63973 | 2 | 0.095 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19295A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2890222 | 2019-11-01 |  | 48.2 | 49.8 | 96.7871 | -3.2129 | 2.49 | -0.64257 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS19304A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2950102 | 2019-11-05 |  | 29.95 | 29.7 | 100.8418 | 0.84175 | 2 | 0.125 | 4 | 2109 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/l CaCO3 | M218 | AKDS19308A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3030025 | 2019-11-07 |  | 50.05 | 49.8 | 100.502 | 0.50201 | 2.49 | 0.1004 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS19310A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3090146 | 2019-11-20 |  | 53.22 | 52.4 | 101.5649 | 1.5649 | 2.62 | 0.31298 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19322A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3170096 | 2019-11-29 |  | 29.91 | 29.7 | 100.7071 | 0.70707 | 2 | 0.105 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19329A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3230098 | 2019-12-04 |  | 50.85 | 52.4 | 97.042 | -2.958 | 2.62 | -0.5916 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19337A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3310058 | 2019-12-05 |  | 30.1 | 29.7 | 101.3468 | 1.3468 | 2 | 0.2 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19338A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3370102 | 2019-12-12 |  | 23.25 | 23.3 | 99.7854 | -0.21459 | 2 | -0.025 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19345A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3510019 | 2020-01-02 |  | 23.2 | 23.3 | 99.5708 | -0.42918 | 2 | -0.05 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS20002A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0070043 | 2020-01-22 |  | 35.16 | 33.9 | 103.7168 | 3.7168 | 2 | 0.63 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | AKDS20016A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0220110 | 2020-01-28 |  | 34.95 | 33.9 | 103.0973 | 3.0973 | 2 | 0.525 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | AKDS20027A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0350136 | 2020-02-12 |  | 57.68 | 57.4 | 100.4878 | 0.4878 | 2.87 | 0.097561 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20042A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0500060 | 2020-03-05 |  | 58.77 | 57.4 | 102.3868 | 2.3868 | 2.87 | 0.47735 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20064A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0630050 | 2020-03-18 |  | 48.69 | 49.8 | 97.7711 | -2.2289 | 2.49 | -0.44578 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20077A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0700104 | 2020-03-24 |  | 60.85 | 57.4 | 106.0105 | 6.0105 | 2.87 | 1.2021 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20078A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0770115 | 2020-04-07 |  | 51.26 | 49.8 | 102.9317 | 2.9317 | 2.49 | 0.58635 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20097A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0840030 | 2020-04-09 |  | 59.18 | 57.4 | 103.101 | 3.101 | 2.87 | 0.62021 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20098A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0980042 | 2020-04-23 |  | 30.3 | 29.7 | 102.0202 | 2.0202 | 2 | 0.3 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS20112A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1120048 | 2020-04-30 |  | 29.7 | 29.7 | 100 | 0 | 2 | 0 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS20119A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1060055 | 2020-04-30 |  | 50.74 | 49.8 | 101.8876 | 1.8876 | 2.49 | 0.37751 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20119A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1190086 | 2020-05-07 |  | 50.83 | 49.8 | 102.0683 | 2.0683 | 2.49 | 0.41365 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20126A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1260081 | 2020-05-18 |  | 53.75 | 52.4 | 102.5763 | 2.5763 | 2.62 | 0.51527 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20148B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1330127 | 2020-06-04 |  | 30.09 | 29.7 | 101.3131 | 1.3131 | 2 | 0.195 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | ALK__20155A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1500215 | 2020-06-10 |  | 30.15 | 29.7 | 101.5152 | 1.5152 | 2 | 0.225 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | ALK__20161A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1550006 | 2020-06-17 |  | 24.17 | 23.3 | 103.7339 | 3.7339 | 2 | 0.435 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20168A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1610192 | 2020-06-24 |  | 54.13 | 52.4 | 103.3015 | 3.3015 | 2.62 | 0.66031 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20175B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1680147 | 2020-07-01 |  | 24.03 | 23.3 | 103.133 | 3.133 | 2 | 0.365 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20182A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1760102 | 2020-07-14 |  | 54.2 | 52.4 | 103.4351 | 3.4351 | 2.62 | 0.68702 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20195A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1890181 | 2020-07-23 |  | 36.45 | 33.9 | 107.5221 | 7.5221 | 2 | 1.275 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20204A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1960127 | 2020-08-04 |  | 24.18 | 23.3 | 103.7768 | 3.7768 | 2 | 0.44 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20217A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2040024 | 2020-08-10 |  | 35 | 33.9 | 103.2448 | 3.2448 | 2 | 0.55 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20219A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2120197 | 2020-08-24 |  | 24.11 | 23.3 | 103.4764 | 3.4764 | 2 | 0.405 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20234A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2170031 | 2020-08-25 |  | 58.31 | 57.4 | 101.5854 | 1.5854 | 2.87 | 0.31707 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20237A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2240090 | 2020-09-03 |  | 34.81 | 33.9 | 102.6844 | 2.6844 | 2 | 0.455 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20246A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2320038 | 2020-09-14 |  | 59.43 | 57.4 | 103.5366 | 3.5366 | 2.87 | 0.70732 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20258A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2390028 | 2020-09-29 |  | 34.1 | 33.9 | 100.59 | 0.58997 | 2 | 0.1 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20265A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2530138 | 2020-10-13 |  | 51.41 | 49.8 | 103.2329 | 3.2329 | 2.49 | 0.64659 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20282A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2590162 | 2020-10-15 |  | 58.57 | 57.4 | 102.0383 | 2.0383 | 2.87 | 0.40767 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20288A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2670296 | 2020-10-22 |  | 51.15 | 49.8 | 102.7108 | 2.7108 | 2.49 | 0.54217 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20295A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2740057 | 2020-10-29 |  | 58.42 | 57.4 | 101.777 | 1.777 | 2.87 | 0.3554 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20302A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2810028 | 2020-11-02 |  | 52.41 | 51 | 102.7647 | 2.7647 | 2.55 | 0.55294 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20304A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2880070 | 2020-11-10 |  | 50.21 | 49.8 | 100.8233 | 0.82329 | 2.49 | 0.16466 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20314A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2950029 | 2020-11-13 |  | 52.93 | 51 | 103.7843 | 3.7843 | 2.55 | 0.75686 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20317B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3010153 | 2020-11-24 |  | 51.38 | 49.8 | 103.1727 | 3.1727 | 2.49 | 0.63454 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20324A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3080105 | 2020-12-07 |  | 14.85 | 14 | 106.0714 | 6.0714 | 2.08 | 0.40865 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__20337A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3150098 | 2020-12-08 |  | 52.42 | 51 | 102.7843 | 2.7843 | 2.55 | 0.55686 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20342A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3230037 | 2020-12-14 |  | 14.7 | 14 | 105 | 5 | 2.08 | 0.33654 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__20344A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3300048 | 2020-12-17 |  | 52.25 | 51 | 102.451 | 2.451 | 2.55 | 0.4902 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20351A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3440079 | 2020-12-29 |  | 23.8 | 23.3 | 102.1459 | 2.1459 | 2 | 0.25 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20363A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3580055 | 2021-01-13 |  | 23.88 | 23.3 | 102.4893 | 2.4893 | 2 | 0.29 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21012A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0050023 | 2021-01-19 |  | 35.64 | 33.9 | 105.1327 | 5.1327 | 2 | 0.87 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21019A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0210016 | 2021-02-01 |  | 35.45 | 33.9 | 104.5723 | 4.5723 | 2 | 0.775 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21032A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0400074 | 2021-02-19 |  | 59.11 | 57.4 | 102.9791 | 2.9791 | 2.87 | 0.59582 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21049A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0540053 | 2021-03-03 |  | 59.26 | 57.4 | 103.2404 | 3.2404 | 2.87 | 0.64808 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21061A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0620098 | 2021-03-24 |  | 51.17 | 49.8 | 102.751 | 2.751 | 2.49 | 0.5502 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21083A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0680061 | 2021-03-26 |  | 58.47 | 57.4 | 101.8641 | 1.8641 | 2.87 | 0.37282 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21085A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0760033 | 2021-03-31 |  | 51.14 | 49.8 | 102.6908 | 2.6908 | 2.49 | 0.53815 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21089A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0830028 | 2021-04-16 |  | 59.2 | 57.4 | 103.1359 | 3.1359 | 2.87 | 0.62718 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21105A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0970046 | 2021-04-27 |  | 52.92 | 51 | 103.7647 | 3.7647 | 2.55 | 0.75294 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21113A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1030146 | 2021-04-29 |  | 51.45 | 49.8 | 103.3133 | 3.3133 | 2.49 | 0.66265 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21117A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1110002 | 2021-05-04 |  | 52.79 | 51 | 103.5098 | 3.5098 | 2.55 | 0.70196 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21123A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1180037 | 2021-05-10 |  | 51.26 | 49.8 | 102.9317 | 2.9317 | 2.49 | 0.58635 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21126A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1250005 | 2021-05-11 |  | 14.69 | 14 | 104.9286 | 4.9286 | 2.08 | 0.33173 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21130A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1320163 | 2021-05-24 |  | 53.01 | 51 | 103.9412 | 3.9412 | 2.55 | 0.78824 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21140A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1380135 | 2021-05-26 |  | 14.78 | 14 | 105.5714 | 5.5714 | 2.08 | 0.375 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21144A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1460005 | 2021-06-03 |  | 52.62 | 51 | 103.1765 | 3.1765 | 2.55 | 0.63529 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21152A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1540141 | 2021-06-14 |  | 23.79 | 23.3 | 102.103 | 2.103 | 2 | 0.245 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21161A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1600036 | 2021-06-15 |  | 14.84 | 14 | 106 | 6 | 2.08 | 0.40385 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21165A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1660121 | 2021-06-23 |  | 24.45 | 23.3 | 104.9356 | 4.9356 | 2 | 0.575 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21173A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1730219 | 2021-06-29 |  | 15.32 | 14 | 109.4286 | 9.4286 | 2.08 | 0.63462 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21180A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1880113 | 2021-07-16 |  | 35.57 | 33.9 | 104.9263 | 4.9263 | 2 | 0.835 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21195A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1940224 | 2021-07-22 |  | 23.73 | 23.3 | 101.8455 | 1.8455 | 2 | 0.215 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21201A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2010229 | 2021-07-27 |  | 35.22 | 33.9 | 103.8938 | 3.8938 | 2 | 0.66 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21207B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2080173 | 2021-08-03 |  | 23.89 | 23.3 | 102.5322 | 2.5322 | 2 | 0.295 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21214A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2150047 | 2021-08-17 |  | 58.8 | 57.4 | 102.439 | 2.439 | 2.87 | 0.4878 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21222A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2220179 | 2021-08-25 |  | 35.51 | 33.9 | 104.7493 | 4.7493 | 2 | 0.805 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21231A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2290123 | 2021-08-27 |  | 59.1 | 57.4 | 102.9617 | 2.9617 | 2.87 | 0.59233 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21238A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2360119 | 2021-09-01 |  | 35.37 | 33.9 | 104.3363 | 4.3363 | 2 | 0.735 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21243A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2510435 | 2021-09-13 |  | 50.6 | 49.8 | 101.6064 | 1.6064 | 2.49 | 0.32129 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21253A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2580263 | 2021-09-21 |  | 57.71 | 57.4 | 100.5401 | 0.54007 | 2.87 | 0.10801 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21263A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2640273 | 2021-09-29 |  | 50.48 | 49.8 | 101.3655 | 1.3655 | 2.49 | 0.27309 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21270A