## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Bromide, FIL, IC | 71870 | IC027 | FIL | 2016 | 2150173 | 2016-10-06 |  | 0.4739 | 0.469 | 101.0448 | 1.0448 | 0.02345 | 0.20896 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M202 | BRIC16270A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2016 | 2290119 | 2016-10-17 |  | 0.4728 | 0.469 | 100.8102 | 0.81023 | 0.02345 | 0.16205 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M202 | BRIC16285A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2016 | 2360188 | 2016-10-17 | E | 0.1064 | 0.091 | 116.9231 | 16.9231 | 0.036 | 0.42778 | 0.01 | 3166 | Result may be affected by interference |  |  | mg/L | M210 | BRIC16285A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2016 | 2640181 | 2016-10-25 |  | 0.2775 | 0.276 | 100.5435 | 0.54348 | 0.042 | 0.035714 | 0.01 | 3166 |  |  |  | mg/L | M204 | BRIC16291A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2016 | 2710068 | 2016-10-25 |  | 0.0954 | 0.091 | 104.8352 | 4.8352 | 0.036 | 0.12222 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC16291A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2016 | 2520010 | 2016-11-01 |  | 0.2762 | 0.276 | 100.0725 | 0.072464 | 0.042 | 0.0047619 | 0.01 | 3166 |  |  |  | mg/L | M204 | BRIC16298A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2016 | 2580003 | 2016-11-01 |  | 0.0916 | 0.091 | 100.6593 | 0.65934 | 0.036 | 0.016667 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC16298A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2860090 | 2016-11-10 |  | 0.136 | 0.134 | 101.4925 | 1.4925 | 0.062 | 0.032258 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC16305A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 3000018 | 2016-11-14 |  | 0.1363 | 0.134 | 101.7164 | 1.7164 | 0.062 | 0.037097 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC16312A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2780112 | 2016-11-21 |  | 0.6935 | 0.675 | 102.7407 | 2.7407 | 0.036 | 0.51389 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M206 | BRIC16320A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2940162 | 2016-11-21 |  | 0.6932 | 0.675 | 102.6963 | 2.6963 | 0.036 | 0.50556 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M206 | BRIC16320A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 3130045 | 2016-11-22 |  | 0.1371 | 0.14 | 97.9286 | -2.0714 | 0.035 | -0.082857 | 0.01 | 3166 |  |  |  | mg/L | M208 | BRIC16320A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 3270123 | 2016-12-12 |  | 0.1396 | 0.14 | 99.7143 | -0.28571 | 0.035 | -0.011429 | 0.01 | 3166 |  |  |  | mg/L | M208 | BRIC16340A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 3200135 | 2016-12-13 |  | 0.6879 | 0.675 | 101.9111 | 1.9111 | 0.036 | 0.35833 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M206 | BRIC16347A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 3410126 | 2016-12-13 |  | 0.2748 | 0.28 | 98.1429 | -1.8571 | 0.052 | -0.1 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC16347A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 3370120 | 2016-12-15 |  | 0.6927 | 0.675 | 102.6222 | 2.6222 | 0.036 | 0.49167 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M206 | BRIC16348A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 3550005 | 2016-12-28 |  | 0.2879 | 0.28 | 102.8214 | 2.8214 | 0.052 | 0.15192 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC16357A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 0040030 | 2017-01-19 |  | 0.2843 | 0.283 | 100.4594 | 0.45936 | 0.068 | 0.019118 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC17005A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 0190005 | 2017-02-01 |  | 0.2765 | 0.283 | 97.7032 | -2.2968 | 0.068 | -0.095588 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC17023A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 0330059 | 2017-02-13 |  | 0.0937 | 0.091 | 102.967 | 2.967 | 0.036 | 0.075 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M210 | BRIC17044A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 0450114 | 2017-03-21 |  | 0.0906 | 0.091 | 99.5604 | -0.43956 | 0.036 | -0.011111 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC17058A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 0660084 | 2017-03-22 |  | 0.1458 | 0.134 | 108.806 | 8.806 | 0.062 | 0.19032 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC17058A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 0800016 | 2017-03-31 |  | 0.1164 | 0.134 | 86.8657 | -13.1343 | 0.062 | -0.28387 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC17082A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 0730074 | 2017-04-18 |  | 0.0945 | 0.091 | 103.8462 | 3.8462 | 0.036 | 0.097222 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC17103A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1020076 | 2017-04-20 |  | 0.136 | 0.134 | 101.4925 | 1.4925 | 0.062 | 0.032258 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC17108A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 0940133 | 2017-04-25 |  | 0.6644 | 0.675 | 98.4296 | -1.5704 | 0.036 | -0.29444 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M206 | BRIC17114A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 0870130 | 2017-04-25 |  | 0.0861 | 0.091 | 94.6154 | -5.3846 | 0.036 | -0.13611 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M210 | BRIC17114A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1080099 | 2017-05-01 |  | 0.6922 | 0.675 | 102.5481 | 2.5481 | 0.036 | 0.47778 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M206 | BRIC17117A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1150157 | 2017-05-01 |  | 0.1383 | 0.134 | 103.209 | 3.209 | 0.062 | 0.069355 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC17117A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1220116 | 2017-05-08 |  | 0.1437 | 0.14 | 102.6429 | 2.6429 | 0.035 | 0.10571 | 0.01 | 3166 |  |  |  | mg/L | M208 | BRIC17124A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1290177 | 2017-05-24 |  | 0.682 | 0.675 | 101.037 | 1.037 | 0.036 | 0.19444 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M206 | BRIC17135A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1370164 | 2017-05-24 |  | 0.1435 | 0.14 | 102.5 | 2.5 | 0.035 | 0.1 | 0.01 | 3166 |  |  |  | mg/L | M208 | BRIC17135A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1430167 | 2017-06-12 |  | 0.676 | 0.675 | 100.1481 | 0.14815 | 0.036 | 0.027778 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M206 | BRIC17159A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1570090 | 2017-06-12 |  | 0.2766 | 0.28 | 98.7857 | -1.2143 | 0.052 | -0.065385 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC17159A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1640177 | 2017-06-23 |  | 0.1375 | 0.14 | 98.2143 | -1.7857 | 0.035 | -0.071429 | 0.01 | 3166 |  |  |  | mg/L | M208 | BRIC17166A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1710240 | 2017-07-07 |  | 0.2828 | 0.28 | 101 | 1 | 0.052 | 0.053846 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC17184A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1780226 | 2017-07-14 |  | 0.1355 | 0.14 | 96.7857 | -3.2143 | 0.035 | -0.12857 | 0.01 | 3166 |  |  |  | mg/L | M208 | BRIC17191B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1870002 | 2017-08-01 |  | 0.2776 | 0.283 | 98.0919 | -1.9081 | 0.068 | -0.079412 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC17208A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1920147 | 2017-08-07 |  | 0.2695 | 0.28 | 96.25 | -3.75 | 0.052 | -0.20192 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC17212A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 1990221 | 2017-08-09 |  | 0.2762 | 0.283 | 97.5972 | -2.4028 | 0.068 | -0.1 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC17215A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2270192 | 2017-08-18 |  | 0.2677 | 0.283 | 94.5936 | -5.4064 | 0.068 | -0.225 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC17230A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2060195 | 2017-08-22 |  | 0.2757 | 0.28 | 98.4643 | -1.5357 | 0.052 | -0.082692 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC17229A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2410213 | 2017-09-21 |  | 0.2822 | 0.283 | 99.7173 | -0.28269 | 0.068 | -0.011765 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC17244A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2340158 | 2017-09-25 | E | 0.1124 | 0.091 | 123.5165 | 23.5165 | 0.036 | 0.59444 | 0.01 | 3166 | Result may be affected by interference |  |  | mg/L | M210 | BRIC17255A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2500007 | 2017-09-26 |  | 0.1368 | 0.134 | 102.0896 | 2.0896 | 0.062 | 0.045161 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC17255A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2200292 | 2017-09-28 |  | 0.0854 | 0.091 | 93.8462 | -6.1538 | 0.036 | -0.15556 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC17268A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2620206 | 2017-10-03 |  | 0.1322 | 0.134 | 98.6567 | -1.3433 | 0.062 | -0.029032 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC17271A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2560129 | 2017-10-13 | E | 0.1012 | 0.091 | 111.2088 | 11.2088 | 0.036 | 0.28333 | 0.01 | 3166 | Result may be affected by interference |  |  | mg/L | M210 | BRIC17285A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2017 | 2690197 | 2017-10-13 |  | 0.085 | 0.091 | 93.4066 | -6.5934 | 0.036 | -0.16667 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC17285A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2760117 | 2017-10-13 |  | 0.1676 | 0.183 | 91.5847 | -8.4153 | 0.189 | -0.081481 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC17279A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2860037 | 2017-10-18 |  | 0.132 | 0.134 | 98.5075 | -1.4925 | 0.062 | -0.032258 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC17286A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2910002 | 2017-10-19 |  | 0.1638 | 0.183 | 89.5082 | -10.4918 | 0.189 | -0.10159 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC17292A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2970216 | 2017-10-31 |  | 0.1326 | 0.134 | 98.9552 | -1.0448 | 0.062 | -0.022581 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC17297A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 3110099 | 2017-11-16 |  | 0.2266 | 0.25 | 90.64 | -9.36 | 0.042 | -0.55714 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC17317A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 3180170 | 2017-12-01 |  | 0.164 | 0.183 | 89.6175 | -10.3825 | 0.189 | -0.10053 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC17321A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 3250153 | 2018-01-26 |  | 0.2228 | 0.25 | 89.12 | -10.88 | 0.042 | -0.64762 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC18023A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 3330003 | 2018-01-31 |  | 0.1747 | 0.183 | 95.4645 | -4.5355 | 0.189 | -0.043915 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC18026A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 3390055 | 2018-02-02 |  | 0.2774 | 0.28 | 99.0714 | -0.92857 | 0.052 | -0.05 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC18026A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 3540002 | 2018-02-08 |  | 0.2861 | 0.28 | 102.1786 | 2.1786 | 0.052 | 0.11731 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC18030A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 0100018 | 2018-02-28 |  | 0.2795 | 0.283 | 98.7633 | -1.2367 | 0.068 | -0.051471 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC18054B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 0240047 | 2018-03-06 |  | 0.2826 | 0.283 | 99.8587 | -0.14134 | 0.068 | -0.0058824 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC18058A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 0370094 | 2018-03-22 |  | 0.0954 | 0.091 | 104.8352 | 4.8352 | 0.036 | 0.12222 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC18059A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 0520069 | 2018-03-29 |  | 0.0942 | 0.091 | 103.5165 | 3.5165 | 0.036 | 0.088889 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC18079A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 0650044 | 2018-03-30 |  | 0.1424 | 0.134 | 106.2687 | 6.2687 | 0.062 | 0.13548 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC18079A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 0730070 | 2018-04-11 |  | 0.0913 | 0.091 | 100.3297 | 0.32967 | 0.036 | 0.0083333 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC18088A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 0790091 | 2018-04-12 |  | 0.1408 | 0.134 | 105.0746 | 5.0746 | 0.062 | 0.10968 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC18088A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 0860121 | 2018-04-19 |  | 0.0902 | 0.091 | 99.1209 | -0.87912 | 0.036 | -0.022222 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC18100A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 0930127 | 2018-05-08 |  | 0.1728 | 0.183 | 94.4262 | -5.5738 | 0.189 | -0.053968 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC18103A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1020131 | 2018-05-15 |  | 0.1378 | 0.134 | 102.8358 | 2.8358 | 0.062 | 0.06129 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC18128A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1080116 | 2018-05-16 |  | 0.1646 | 0.183 | 89.9454 | -10.0546 | 0.189 | -0.097354 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC18130A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1140192 | 2018-05-17 |  | 0.1314 | 0.134 | 98.0597 | -1.9403 | 0.062 | -0.041935 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC18130A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1350129 | 2018-05-30 |  | 0.1615 | 0.183 | 88.2514 | -11.7486 | 0.189 | -0.11376 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC18149A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1280143 | 2018-05-30 |  | 0.2165 | 0.25 | 86.6 | -13.4 | 0.042 | -0.79762 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC18149A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1420220 | 2018-06-04 |  | 0.2191 | 0.25 | 87.64 | -12.36 | 0.042 | -0.73571 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC18151A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1500139 | 2018-06-05 |  | 0.1664 | 0.183 | 90.929 | -9.071 | 0.189 | -0.087831 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC18151A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1560174 | 2018-06-12 |  | 0.2662 | 0.28 | 95.0714 | -4.9286 | 0.052 | -0.26538 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC18162A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1640023 | 2018-06-28 |  | 0.2098 | 0.25 | 83.92 | -16.08 | 0.042 | -0.95714 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC18166A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1700198 | 2018-07-18 |  | 0.2717 | 0.28 | 97.0357 | -2.9643 | 0.052 | -0.15962 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC18171A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1770195 | 2018-07-18 |  | 0.2244 | 0.25 | 89.76 | -10.24 | 0.042 | -0.60952 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC18171A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1840100 | 2018-07-21 |  | 0.2786 | 0.283 | 98.4452 | -1.5548 | 0.068 | -0.064706 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC18201A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1910178 | 2018-08-08 |  | 0.2797 | 0.28 | 99.8929 | -0.10714 | 0.052 | -0.0057692 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC18207A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2050300 | 2018-08-24 |  | 0.2757 | 0.28 | 98.4643 | -1.5357 | 0.052 | -0.082692 | 0.01 | 3166 |  |  |  | mg/L | M212 | BRIC18226A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 1990133 | 2018-08-24 |  | 0.2698 | 0.283 | 95.3357 | -4.6643 | 0.068 | -0.19412 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC18226A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2200023 | 2018-09-14 |  | 0.0814 | 0.091 | 89.4505 | -10.5495 | 0.036 | -0.26667 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC18250A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2410019 | 2018-09-28 |  | 0.2754 | 0.283 | 97.3145 | -2.6855 | 0.068 | -0.11176 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC18270A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2550006 | 2018-10-23 |  | 0.0879 | 0.091 | 96.5934 | -3.4066 | 0.036 | -0.086111 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC18288A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2260150 | 2018-10-26 |  | 0.2706 | 0.283 | 95.6184 | -4.3816 | 0.068 | -0.18235 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC18255A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2330198 | 2018-11-16 |  | 0.0844 | 0.091 | 92.7473 | -7.2527 | 0.036 | -0.18333 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC18264A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2490025 | 2018-12-12 |  | 0.1354 | 0.134 | 101.0448 | 1.0448 | 0.062 | 0.022581 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC18282A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2830104 | 2018-12-18 |  | 0.1256 | 0.134 | 93.7313 | -6.2687 | 0.062 | -0.13548 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC18345A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2890060 | 2018-12-19 |  | 0.1595 | 0.183 | 87.1585 | -12.8415 | 0.189 | -0.12434 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC18345A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2018 | 2680172 | 2018-12-20 |  | 0.1009 | 0.091 | 110.8791 | 10.8791 | 0.036 | 0.275 | 0.01 | 3166 |  |  |  | mg/L | M210 | BRIC18332A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2760031 | 2018-12-21 |  | 0.1645 | 0.183 | 89.8907 | -10.1093 | 0.189 | -0.097884 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC18332A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 3100177 | 2019-03-07 |  | 0.2281 | 0.25 | 91.24 | -8.76 | 0.042 | -0.52143 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC18345B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2960206 | 2019-03-08 |  | 0.1403 | 0.134 | 104.7015 | 4.7015 | 0.062 | 0.10161 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC19028A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 3180065 | 2019-03-08 |  | 0.1761 | 0.183 | 96.2295 | -3.7705 | 0.189 | -0.036508 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19028A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 3320103 | 2019-03-12 |  | 0.1777 | 0.183 | 97.1038 | -2.8962 | 0.189 | -0.028042 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19064A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 3270027 | 2019-03-12 |  | 0.2297 | 0.25 | 91.88 | -8.12 | 0.042 | -0.48333 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC19064A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 3400025 | 2019-03-15 |  | 0.2512 | 0.265 | 94.7925 | -5.2075 | 0.037 | -0.37297 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC19066A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 3530017 | 2019-03-26 |  | 0.2497 | 0.265 | 94.2264 | -5.7736 | 0.037 | -0.41351 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC19071A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 0520010 | 2019-04-03 |  | 0.088 | 0.101 | 87.1287 | -12.8713 | 0.049 | -0.26531 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC19084B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 0640093 | 2019-04-09 |  | 0.1453 | 0.134 | 108.4328 | 8.4328 | 0.062 | 0.18226 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC19087A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 0720019 | 2019-04-10 |  | 0.0867 | 0.101 | 85.8416 | -14.1584 | 0.049 | -0.29184 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC19094A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 0780094 | 2019-04-11 |  | 0.1386 | 0.134 | 103.4328 | 3.4328 | 0.062 | 0.074194 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC19094A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 0860005 | 2019-04-16 |  | 0.0851 | 0.101 | 84.2574 | -15.7426 | 0.049 | -0.32449 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC19098A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 0920064 | 2019-04-17 |  | 0.1707 | 0.183 | 93.2787 | -6.7213 | 0.189 | -0.065079 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19098A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 0990127 | 2019-04-25 |  | 0.1363 | 0.134 | 101.7164 | 1.7164 | 0.062 | 0.037097 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC19106B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1060102 | 2019-05-09 |  | 0.1749 | 0.183 | 95.5738 | -4.4262 | 0.189 | -0.042857 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19119A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1130097 | 2019-05-14 |  | 0.1369 | 0.134 | 102.1642 | 2.1642 | 0.062 | 0.046774 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC19122A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1340211 | 2019-06-18 |  | 0.1685 | 0.183 | 92.0765 | -7.9235 | 0.189 | -0.07672 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19141A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1490061 | 2019-07-03 |  | 0.1691 | 0.183 | 92.4044 | -7.5956 | 0.189 | -0.073545 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19163A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1410226 | 2019-07-03 |  | 0.2203 | 0.25 | 88.12 | -11.88 | 0.042 | -0.70714 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC19163A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1280120 | 2019-07-09 | E | 0.2263 | 0.25 | 90.52 | -9.48 | 0.042 | -0.56429 | 0.01 | 3166 | Result may be affected by interference |  |  | mg/L | M220 | BRIC19176A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1550165 | 2019-07-09 |  | 0.2512 | 0.265 | 94.7925 | -5.2075 | 0.037 | -0.37297 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC19176A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1620135 | 2019-07-25 |  | 0.2276 | 0.25 | 91.04 | -8.96 | 0.042 | -0.53333 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC19192A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1690138 | 2019-07-30 |  | 0.2504 | 0.265 | 94.4906 | -5.5094 | 0.037 | -0.39459 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC19199A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1760172 | 2019-08-16 |  | 0.2192 | 0.25 | 87.68 | -12.32 | 0.042 | -0.73333 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC19205A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1830104 | 2019-09-05 |  | 0.2709 | 0.283 | 95.7244 | -4.2756 | 0.068 | -0.17794 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC19232A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 1900099 | 2019-09-05 |  | 0.2513 | 0.265 | 94.8302 | -5.1698 | 0.037 | -0.37027 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC19232A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2000017 | 2019-09-11 |  | 0.2734 | 0.283 | 96.6078 | -3.3922 | 0.068 | -0.14118 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC19238A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2050045 | 2019-09-11 |  | 0.2503 | 0.265 | 94.4528 | -5.5472 | 0.037 | -0.3973 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC19238A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2180151 | 2019-09-26 |  | 0.0816 | 0.101 | 80.7921 | -19.2079 | 0.049 | -0.39592 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC19253A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2250165 | 2019-09-27 |  | 0.2749 | 0.283 | 97.1378 | -2.8622 | 0.068 | -0.11912 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC19260A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2320180 | 2019-10-02 |  | 0.0917 | 0.101 | 90.7921 | -9.2079 | 0.049 | -0.1898 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC19268A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2470181 | 2019-10-08 |  | 0.1367 | 0.134 | 102.0149 | 2.0149 | 0.062 | 0.043548 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC19274A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2390204 | 2019-10-08 |  | 0.274 | 0.283 | 96.8198 | -3.1802 | 0.068 | -0.13235 | 0.01 | 3166 |  |  |  | mg/L | M216 | BRIC19274A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2550074 | 2019-10-17 |  | 0.0846 | 0.101 | 83.7624 | -16.2376 | 0.049 | -0.33469 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC19274B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2600329 | 2019-10-31 |  | 0.1342 | 0.134 | 100.1493 | 0.14925 | 0.062 | 0.0032258 | 0.01 | 3166 |  |  |  | mg/L | M214 | BRIC19276A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2890222 | 2019-11-06 |  | 0.0454 | 0.055 | 82.5455 | -17.4545 | 0.03 | -0.32 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC19298A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2019 | 2680151 | 2019-11-07 |  | 0.0825 | 0.101 | 81.6832 | -18.3168 | 0.049 | -0.37755 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC19308A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2810113 | 2019-12-04 |  | 0.1451 | 0.183 | 79.2896 | -20.7104 | 0.189 | -0.20053 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19336A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2950102 | 2019-12-12 |  | 0.1463 | 0.183 | 79.9454 | -20.0546 | 0.189 | -0.19418 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19336B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 3030025 | 2019-12-13 |  | 0.0372 | 0.055 | 67.6364 | -32.3636 | 0.03 | -0.59333 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC19336B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 3090146 | 2019-12-30 |  | 0.2048 | 0.25 | 81.92 | -18.08 | 0.042 | -1.0762 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC19338A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 3170096 | 2019-12-31 |  | 0.1492 | 0.183 | 81.5301 | -18.4699 | 0.189 | -0.17884 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19338A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 3510019 | 2020-01-10 |  | 0.2246 | 0.265 | 84.7547 | -15.2453 | 0.037 | -1.0919 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC20008A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 3310058 | 2020-01-14 |  | 0.1439 | 0.183 | 78.6339 | -21.3661 | 0.189 | -0.20688 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC19364A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 3370102 | 2020-01-15 |  | 0.226 | 0.265 | 85.283 | -14.717 | 0.037 | -1.0541 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC19364A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 3230098 | 2020-01-30 |  | 0.1922 | 0.25 | 76.88 | -23.12 | 0.042 | -1.3762 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC20023A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 0070043 | 2020-02-12 |  | 0.1497 | 0.18 | 83.1667 | -16.8333 | 0.171 | -0.17719 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC20042A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 0220110 | 2020-03-17 |  | 0.1379 | 0.18 | 76.6111 | -23.3889 | 0.171 | -0.2462 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC20057A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 0350136 | 2020-03-18 |  | 0.069 | 0.101 | 68.3168 | -31.6832 | 0.049 | -0.65306 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC20057A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 0630050 | 2020-04-03 |  | 0.0387 | 0.055 | 70.3636 | -29.6364 | 0.03 | -0.54333 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC20084A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 0700104 | 2020-04-17 |  | 0.0874 | 0.101 | 86.5347 | -13.4653 | 0.049 | -0.27755 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC20091A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 0500060 | 2020-04-23 |  | 0.0775 | 0.101 | 76.7327 | -23.2673 | 0.049 | -0.47959 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M222 | BRIC20114A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 0980042 | 2020-04-24 |  | 0.1778 | 0.183 | 97.1585 | -2.8415 | 0.189 | -0.027513 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC20114A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1120048 | 2020-04-24 |  | 0.1781 | 0.183 | 97.3224 | -2.6776 | 0.189 | -0.025926 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC20114A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 0840030 | 2020-04-24 |  | 0.0864 | 0.101 | 85.5446 | -14.4554 | 0.049 | -0.29796 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC20114A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1060055 | 2020-04-24 |  | 0.0447 | 0.055 | 81.2727 | -18.7273 | 0.03 | -0.34333 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC20114A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 0770115 | 2020-04-24 |  | 0.0444 | 0.055 | 80.7273 | -19.2727 | 0.03 | -0.35333 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC20114A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1190086 | 2020-05-12 |  | 0.0489 | 0.055 | 88.9091 | -11.0909 | 0.03 | -0.20333 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC20119A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1330127 | 2020-05-28 |  | 0.1752 | 0.183 | 95.7377 | -4.2623 | 0.189 | -0.04127 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC_20148A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1260081 | 2020-05-28 |  | 0.2239 | 0.25 | 89.56 | -10.44 | 0.042 | -0.62143 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC_20148A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1500215 | 2020-07-17 |  | 0.177 | 0.183 | 96.7213 | -3.2787 | 0.189 | -0.031746 | 0.01 | 3166 |  |  |  | mg/L | M218 | BRIC_20154A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1550006 | 2020-07-22 |  | 0.249 | 0.265 | 93.9623 | -6.0377 | 0.037 | -0.43243 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC_20161A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1610192 | 2020-07-28 |  | 0.2207 | 0.25 | 88.28 | -11.72 | 0.042 | -0.69762 | 0.01 | 3166 |  |  |  | mg/L | M220 | BRIC_20162A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1760102 | 2020-08-26 | E | 0.2259 | 0.25 | 90.36 | -9.64 | 0.042 | -0.57381 | 0.01 | 3166 | Value extrapolated at low end |  |  | mg/L | M220 | BRIC_20218A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1890181 | 2020-09-03 |  | 0.1762 | 0.18 | 97.8889 | -2.1111 | 0.171 | -0.022222 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC_20232A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 1960127 | 2020-09-09 |  | 0.2582 | 0.265 | 97.434 | -2.566 | 0.037 | -0.18378 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC_20238A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2040024 | 2020-10-02 |  | 0.1698 | 0.18 | 94.3333 | -5.6667 | 0.171 | -0.059649 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC_20252A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2120197 | 2020-10-09 |  | 0.256 | 0.265 | 96.6038 | -3.3962 | 0.037 | -0.24324 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC_20282A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2170031 | 2020-10-10 |  | 0.0856 | 0.101 | 84.7525 | -15.2475 | 0.049 | -0.31429 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC_20282A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2240090 | 2020-10-22 |  | 0.175 | 0.18 | 97.2222 | -2.7778 | 0.171 | -0.02924 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC_20289B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2320038 | 2020-10-23 |  | 0.0903 | 0.101 | 89.4059 | -10.5941 | 0.049 | -0.21837 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC_20294A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2390028 | 2020-10-27 |  | 0.1775 | 0.18 | 98.6111 | -1.3889 | 0.171 | -0.01462 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC_20296A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2530138 | 2020-10-29 |  | 0.0516 | 0.055 | 93.8182 | -6.1818 | 0.03 | -0.11333 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC_20302A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2590162 | 2020-10-30 |  | 0.0917 | 0.101 | 90.7921 | -9.2079 | 0.049 | -0.1898 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC_20302A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2670296 | 2020-11-10 |  | 0.0507 | 0.055 | 92.1818 | -7.8182 | 0.03 | -0.14333 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC_20309A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2020 | 2740057 | 2020-11-18 |  | 0.0887 | 0.101 | 87.8218 | -12.1782 | 0.049 | -0.25102 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC_20317A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 2810028 | 2020-11-19 |  | 0.043 | 0.044 | 97.7273 | -2.2727 | 0.007 | -0.14286 | 0.01 | 3166 |  |  |  | mg/L | M230 | BRIC_20317A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 2880070 | 2020-11-23 |  | 0.0509 | 0.055 | 92.5455 | -7.4545 | 0.03 | -0.13667 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC_20325A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 2950029 | 2020-11-24 |  | 0.0426 | 0.044 | 96.8182 | -3.1818 | 0.007 | -0.2 | 0.01 | 3166 |  |  |  | mg/L | M230 | BRIC_20325A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 3010153 | 2020-12-09 |  | 0.0486 | 0.055 | 88.3636 | -11.6364 | 0.03 | -0.21333 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC_20328A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 3150098 | 2020-12-23 |  | 0.0391 | 0.044 | 88.8636 | -11.1364 | 0.007 | -0.7 | 0.01 | 3166 |  |  |  | mg/L | M230 | BRIC_20357A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 3080105 | 2021-01-06 |  | 0.4294 | 0.44 | 97.5909 | -2.4091 | 0.088 | -0.12045 | 0.01 | 3166 | Value verified by rerun, same method | Sample was diluted |  | mg/L | M232 | BRIC_21005A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 3230037 | 2021-01-26 |  | 0.4105 | 0.44 | 93.2955 | -6.7045 | 0.088 | -0.33523 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M232 | BRIC_21021A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 3300048 | 2021-01-27 |  | 0.0353 | 0.044 | 80.2273 | -19.7727 | 0.007 | -1.2429 | 0.01 | 3166 |  |  |  | mg/L | M230 | BRIC_21021A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 3440079 | 2021-02-05 |  | 0.2269 | 0.265 | 85.6226 | -14.3774 | 0.037 | -1.0297 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC_21033A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 3580055 | 2021-02-12 |  | 0.2237 | 0.265 | 84.4151 | -15.5849 | 0.037 | -1.1162 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC_21040A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 0050023 | 2021-02-12 |  | 0.1446 | 0.18 | 80.3333 | -19.6667 | 0.171 | -0.20702 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC_21040A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 0210016 | 2021-03-02 |  | 0.1446 | 0.18 | 80.3333 | -19.6667 | 0.171 | -0.20702 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC_21053A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 0540053 | 2021-03-05 | E | 0.0622 | 0.101 | 61.5842 | -38.4158 | 0.049 | -0.79184 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC_21062A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1030146 | 2021-06-08 |  | 0.0452 | 0.055 | 82.1818 | -17.8182 | 0.03 | -0.32667 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC_21158A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 0830028 | 2021-06-28 |  | 0.0824 | 0.101 | 81.5842 | -18.4158 | 0.049 | -0.37959 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M222 | BRIC_21174A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1110002 | 2021-06-29 |  | 0.0355 | 0.044 | 80.6818 | -19.3182 | 0.007 | -1.2143 | 0.01 | 3166 |  |  |  | mg/L | M230 | BRIC_21174A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 0400074 | 2021-06-30 |  | 0.0889 | 0.101 | 88.0198 | -11.9802 | 0.049 | -0.24694 | 0.01 | 3166 | Below the reporting level but at or above the detection level | Sample was diluted |  | mg/L | M222 | BRIC_21130A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 0620098 | 2021-06-30 |  | 0.0464 | 0.055 | 84.3636 | -15.6364 | 0.03 | -0.28667 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M226 | BRIC_21130A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 0680061 | 2021-07-01 |  | 0.0829 | 0.101 | 82.0792 | -17.9208 | 0.049 | -0.36939 | 0.01 | 3166 |  |  |  | mg/L | M222 | BRIC_21130A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 0760033 | 2021-07-01 |  | 0.0439 | 0.055 | 79.8182 | -20.1818 | 0.03 | -0.37 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC_21130A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 0970046 | 2021-07-22 |  | 0.0346 | 0.044 | 78.6364 | -21.3636 | 0.007 | -1.3429 | 0.01 | 3166 | Below the reporting level but at or above the detection level | Sample was diluted |  | mg/L | M230 | BRIC_21180A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1180037 | 2021-07-23 |  | 0.0434 | 0.055 | 78.9091 | -21.0909 | 0.03 | -0.38667 | 0.01 | 3166 |  |  |  | mg/L | M226 | BRIC_21180A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1250005 | 2021-07-27 |  | 0.4121 | 0.44 | 93.6591 | -6.3409 | 0.088 | -0.31705 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M232 | BRIC_21203A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1320163 | 2021-07-30 |  | 0.0352 | 0.044 | 80 | -20 | 0.007 | -1.2571 | 0.01 | 3166 |  |  |  | mg/L | M230 | BRIC_21204A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1380135 | 2021-08-04 |  | 0.415 | 0.44 | 94.3182 | -5.6818 | 0.088 | -0.28409 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M232 | BRIC_21216A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1460005 | 2021-08-12 |  | 0.0361 | 0.044 | 82.0455 | -17.9545 | 0.007 | -1.1286 | 0.01 | 3166 |  |  |  | mg/L | M230 | BRIC_21208A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1540141 | 2021-08-25 |  | 0.2449 | 0.265 | 92.4151 | -7.5849 | 0.037 | -0.54324 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC_21217A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1660121 | 2021-09-01 |  | 0.2427 | 0.265 | 91.5849 | -8.4151 | 0.037 | -0.6027 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC_21235A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1880113 | 2021-09-10 |  | 0.1697 | 0.18 | 94.2778 | -5.7222 | 0.171 | -0.060234 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC_21243B
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1730219 | 2021-09-24 |  | 0.4227 | 0.44 | 96.0682 | -3.9318 | 0.088 | -0.19659 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M232 | BRIC_21245A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1940224 | 2021-09-29 |  | 0.2588 | 0.265 | 97.6604 | -2.3396 | 0.037 | -0.16757 | 0.01 | 3166 |  |  |  | mg/L | M224 | BRIC_21266A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 2010229 | 2021-09-29 |  | 0.1756 | 0.18 | 97.5556 | -2.4444 | 0.171 | -0.025731 | 0.01 | 3166 |  |  |  | mg/L | M228 | BRIC_21266A
Bromide, FIL, IC | 71870 | IC027 | FIL | 2021 | 1600036 | 2021-09-30 |  | 0.4215 | 0.44 | 95.7955 | -4.2045 | 0.088 | -0.21023 | 0.01 | 3166 | Sample was diluted |  |  | mg/L | M232 | BRIC_21273A