## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 2580006 | 2016-10-04 |  | 0.199 | 0.185 | 107.5676 | 7.5676 | 0.013 | 1.0769 | 0.04 | 2188 |  |  |  | mg/L | N129 | NUTA274A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2016 | 2710071 | 2016-10-06 |  | 0.199 | 0.185 | 107.5676 | 7.5676 | 0.013 | 1.0769 | 0.02 | 2188 |  |  |  | mg/L as N | N129 | NUTA280A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 2860089 | 2016-10-20 |  | 0.298 | 0.275 | 108.3636 | 8.3636 | 0.022 | 1.0455 | 0.02 | 2188 |  |  |  | mg/L as N | N132 | NUTA293A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 3000020 | 2016-11-09 |  | 0.273 | 0.275 | 99.2727 | -0.72727 | 0.022 | -0.090909 | 0.02 | 2188 |  |  |  | mg/L as N | N132 | NUTA313A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 3200139 | 2016-11-29 |  | 0.111 | 0.112 | 99.1071 | -0.89286 | 0.013 | -0.076923 | 0.02 | 2188 |  |  |  | mg/L as N | N131 | NUTA334A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 3370117 | 2016-12-09 |  | 0.108 | 0.112 | 96.4286 | -3.5714 | 0.013 | -0.30769 | 0.02 | 2188 |  |  |  | mg/L as N | N131 | NUTA344A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 3480031 | 2016-12-23 |  | 0.281 | 0.275 | 102.1818 | 2.1818 | 0.022 | 0.27273 | 0.02 | 2188 |  |  |  | mg/L as N | N132 | NUTA358A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 0100052 | 2017-02-03 |  | 0.108 | 0.112 | 96.4286 | -3.5714 | 0.013 | -0.30769 | 0.02 | 2188 |  |  |  | mg/L as N | N131 | NUTA034A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 0240083 | 2017-02-03 |  | 0.108 | 0.112 | 96.4286 | -3.5714 | 0.013 | -0.30769 | 0.02 | 2188 |  |  |  | mg/L as N | N131 | NUTA034A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 3630008 | 2017-02-03 |  | 0.282 | 0.275 | 102.5455 | 2.5455 | 0.022 | 0.31818 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N132 | NUTA034A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 0380071 | 2017-03-02 |  | 0.284 | 0.275 | 103.2727 | 3.2727 | 0.022 | 0.40909 | 0.02 | 2188 |  |  |  | mg/L as N | N132 | NUTA061A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 0540063 | 2017-03-02 |  | 0.283 | 0.275 | 102.9091 | 2.9091 | 0.022 | 0.36364 | 0.02 | 2188 |  |  |  | mg/L as N | N132 | NUTA061A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 0730073 | 2017-03-28 |  | 0.109 | 0.112 | 97.3214 | -2.6786 | 0.013 | -0.23077 | 0.02 | 2188 |  |  |  | mg/L as N | N131 | NUTA086A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 0870127 | 2017-04-17 |  | 0.108 | 0.112 | 96.4286 | -3.5714 | 0.013 | -0.30769 | 0.02 | 2188 |  |  |  | mg/L as N | N131 | NUTA101A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 1020075 | 2017-04-26 |  | 0.127 | 0.115 | 110.4348 | 10.4348 | 0.035 | 0.34286 | 0.02 | 2188 |  |  |  | mg/L as N | N134 | NUTA116A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 1150162 | 2017-04-26 |  | 0.12 | 0.115 | 104.3478 | 4.3478 | 0.035 | 0.14286 | 0.02 | 2188 |  |  |  | mg/L as N | N134 | NUTA116A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 1290175 | 2017-05-18 |  | 0.083 | 0.093 | 89.2473 | -10.7527 | 0.01 | -1 | 0.02 | 2188 |  |  |  | mg/L as N | N133 | NUTA130A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 1430171 | 2017-06-14 |  | 0.085 | 0.093 | 91.3978 | -8.6022 | 0.01 | -0.8 | 0.02 | 2188 |  |  |  | mg/L as N | N133 | NUTA163A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 1640180 | 2017-07-03 |  | 0.123 | 0.115 | 106.9565 | 6.9565 | 0.035 | 0.22857 | 0.02 | 2188 |  |  |  | mg/L as N | N134 | NUTA180A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 1780224 | 2017-07-03 |  | 0.134 | 0.115 | 116.5217 | 16.5217 | 0.035 | 0.54286 | 0.02 | 2188 |  |  |  | mg/L as N | N134 | NUTA180A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 1920146 | 2017-08-02 |  | 0.099 | 0.093 | 106.4516 | 6.4516 | 0.01 | 0.6 | 0.02 | 2188 |  |  |  | mg/L as N | N133 | NUTA207A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 2060198 | 2017-08-18 |  | 0.083 | 0.093 | 89.2473 | -10.7527 | 0.01 | -1 | 0.02 | 2188 |  |  |  | mg/L as N | N133 | NUTA226A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 2270193 | 2017-08-18 |  | 0.116 | 0.115 | 100.8696 | 0.86957 | 0.035 | 0.028571 | 0.02 | 2188 |  |  |  | mg/L as N | N134 | NUTA230A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 2560125 | 2017-09-18 |  | 0.094 | 0.093 | 101.0753 | 1.0753 | 0.01 | 0.1 | 0.02 | 2188 |  |  |  | mg/L as N | N133 | NUTA261B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 2410211 | 2017-09-18 |  | 0.115 | 0.115 | 100 | 0 | 0.035 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N134 | NUTA261A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2017 | 2690195 | 2017-09-29 |  | 0.089 | 0.093 | 95.6989 | -4.3011 | 0.01 | -0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N133 | NUTA272A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 2860034 | 2017-11-06 |  | 0.368 | 0.37 | 99.4595 | -0.54054 | 0.026 | -0.076923 | 0.02 | 2188 |  |  |  | mg/L as N | N136 | NUTA306A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 2970213 | 2017-11-06 |  | 0.375 | 0.37 | 101.3514 | 1.3514 | 0.026 | 0.19231 | 0.02 | 2188 |  |  |  | mg/L as N | N136 | NUTA306A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 3180168 | 2017-12-07 |  | 0.145 | 0.154 | 94.1558 | -5.8442 | 0.01 | -0.9 | 0.02 | 2188 | Sample was diluted |  |  | mg/L as N | N135 | NUTA339A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 3330002 | 2017-12-07 |  | 0.154 | 0.154 | 100 | 0 | 0.01 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N135 | NUTA339A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 0170070 | 2018-01-25 |  | 0.255 | 0.154 | 165.5844 | 65.5844 | 0.01 | 10.1 | 0.02 | 2188 |  |  |  | mg/L as N | N135 | NUTA025B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 0300094 | 2018-02-12 |  | 0.169 | 0.154 | 109.7403 | 9.7403 | 0.01 | 1.5 | 0.02 | 2188 |  |  |  | mg/L as N | N135 | NUTA043A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 0730072 | 2018-03-16 |  | 0.155 | 0.154 | 100.6494 | 0.64935 | 0.01 | 0.1 | 0.02 | 2188 |  |  |  | mg/L as N | N135 | NUTA075A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 0860119 | 2018-04-04 |  | 0.166 | 0.154 | 107.7922 | 7.7922 | 0.01 | 1.2 | 0.02 | 2188 |  |  |  | mg/L as N | N135 | NUTA094A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 1020129 | 2018-04-19 |  | 0.447 | 0.43 | 103.9535 | 3.9535 | 0.031 | 0.54839 | 0.02 | 2188 |  |  |  | mg/L as N | N138 | NUTA109A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 1140195 | 2018-05-03 |  | 0.449 | 0.43 | 104.4186 | 4.4186 | 0.031 | 0.6129 | 0.02 | 2188 |  |  |  | mg/L as N | N138 | NUTA123A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 1350131 | 2018-05-22 |  | 0.118 | 0.11 | 107.2727 | 7.2727 | 0.013 | 0.61538 | 0.02 | 2188 |  |  |  | mg/L as N | N137 | NUTA142A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 1500137 | 2018-06-08 |  | 0.111 | 0.11 | 100.9091 | 0.90909 | 0.013 | 0.076923 | 0.02 | 2188 |  |  |  | mg/L as N | N137 | NUTA159A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 1640026 | 2018-06-15 |  | 0.377 | 0.43 | 87.6744 | -12.3256 | 0.031 | -1.7097 | 0.02 | 2188 |  |  |  | mg/L as N | N138 | NUTA166A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 1770193 | 2018-06-28 |  | 0.502 | 0.43 | 116.7442 | 16.7442 | 0.031 | 2.3226 | 0.02 | 2188 |  |  |  | mg/L as N | N138 | NUTA178A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 1910180 | 2018-07-11 |  | 0.112 | 0.11 | 101.8182 | 1.8182 | 0.013 | 0.15385 | 0.02 | 2188 |  |  |  | mg/L as N | N137 | NUTA192A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 2050302 | 2018-08-14 |  | 0.309 | 0.11 | 280.9091 | 180.9091 | 0.013 | 15.3077 | 0.02 | 2188 |  |  |  | mg/L as N | N137 | NUTA226A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 2260151 | 2018-08-17 |  | 0.439 | 0.43 | 102.093 | 2.093 | 0.031 | 0.29032 | 0.02 | 2188 |  |  |  | mg/L as N | N138 | NUTA228A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 2410016 | 2018-09-11 |  | 0.454 | 0.43 | 105.5814 | 5.5814 | 0.031 | 0.77419 | 0.02 | 2188 |  |  |  | mg/L as N | N138 | NUTA254A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 2550002 | 2018-09-19 |  | 0.12 | 0.11 | 109.0909 | 9.0909 | 0.013 | 0.76923 | 0.02 | 2188 |  |  |  | mg/L as N | N137 | NUTA262A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2018 | 2680174 | 2018-09-28 |  | 0.122 | 0.11 | 110.9091 | 10.9091 | 0.013 | 0.92308 | 0.02 | 2188 |  |  |  | mg/L as N | N137 | NUTA271A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 2830101 | 2018-10-12 |  | 0.402 | 0.413 | 97.3366 | -2.6634 | 0.032 | -0.34375 | 0.02 | 2188 |  |  |  | mg/L as N | N140 | NUTA285A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 2960209 | 2018-10-25 |  | 0.447 | 0.413 | 108.2324 | 8.2324 | 0.032 | 1.0625 | 0.02 | 2188 |  |  |  | mg/L as N | N140 | NUTA298A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 3180067 | 2018-11-19 |  | 0.071 | 0.079 | 89.8734 | -10.1266 | 0.015 | -0.53333 | 0.02 | 2188 |  |  |  | mg/L as N | N139 | NUTA323A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 3320102 | 2018-12-07 |  | 0.079 | 0.079 | 100 | 0 | 0.015 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N139 | NUTA341A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 3450111 | 2018-12-19 |  | 0.487 | 0.413 | 117.9177 | 17.9177 | 0.032 | 2.3125 | 0.02 | 2188 |  |  |  | mg/L as N | N140 | NUTA353A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 0570187 | 2019-02-27 |  | 0.444 | 0.413 | 107.5061 | 7.5061 | 0.032 | 0.96875 | 0.02 | 2188 |  |  |  | mg/L as N | N140 | NUTA058A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 0720023 | 2019-03-28 |  | 0.087 | 0.079 | 110.1266 | 10.1266 | 0.015 | 0.53333 | 0.02 | 2188 |  |  |  | mg/L as N | N139 | NUTA085A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 0860004 | 2019-03-28 |  | 0.083 | 0.079 | 105.0633 | 5.0633 | 0.015 | 0.26667 | 0.02 | 2188 |  |  |  | mg/L as N | N139 | NUTA085A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 0990129 | 2019-04-18 |  | 0.47 | 0.47 | 100 | 0 | 0.024 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N142 | NUTA106A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 1130099 | 2019-05-20 |  | 0.484 | 0.47 | 102.9787 | 2.9787 | 0.024 | 0.58333 | 0.02 | 2188 |  |  |  | mg/L as N | N142 | NUTA140A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 1340210 | 2019-05-22 |  | 0.126 | 0.14 | 90 | -10 | 0.011 | -1.2727 | 0.02 | 2188 | Sample was diluted |  |  | mg/L as N | N141 | NUTA142B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 1490060 | 2019-06-10 |  | 0.134 | 0.14 | 95.7143 | -4.2857 | 0.011 | -0.54545 | 0.02 | 2188 |  |  |  | mg/L as N | N141 | NUTA161A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 1620132 | 2019-07-03 |  | 0.462 | 0.47 | 98.2979 | -1.7021 | 0.024 | -0.33333 | 0.02 | 2188 |  |  |  | mg/L as N | N142 | NUTA184A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 1760174 | 2019-07-03 |  | 0.474 | 0.47 | 100.8511 | 0.85106 | 0.024 | 0.16667 | 0.02 | 2188 |  |  |  | mg/L as N | N142 | NUTA184A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 1900102 | 2019-07-12 |  | 0.131 | 0.14 | 93.5714 | -6.4286 | 0.011 | -0.81818 | 0.02 | 2188 |  |  |  | mg/L as N | N141 | NUTA192A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 2050049 | 2019-07-29 |  | 0.123 | 0.14 | 87.8571 | -12.1429 | 0.011 | -1.5455 | 0.02 | 2188 |  |  |  | mg/L as N | N141 | NUTA210A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 2250169 | 2019-08-29 |  | 0.469 | 0.47 | 99.7872 | -0.21277 | 0.024 | -0.041667 | 0.02 | 2188 |  |  |  | mg/L as N | N142 | NUTA239A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 2390205 | 2019-08-29 |  | 0.467 | 0.47 | 99.3617 | -0.6383 | 0.024 | -0.125 | 0.02 | 2188 |  |  |  | mg/L as N | N142 | NUTA240A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 2890225 | 2019-11-01 |  | 0.318 | 0.297 | 107.0707 | 7.0707 | 0.018 | 1.1667 | 0.02 | 2188 |  |  |  | mg/L as N | N144 | NUTA304A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 3030029 | 2019-11-01 |  | 0.319 | 0.297 | 107.4074 | 7.4074 | 0.018 | 1.2222 | 0.02 | 2188 |  |  |  | mg/L as N | N144 | NUTA305A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 2550077 | 2019-11-07 |  | 0.129 | 0.14 | 92.1429 | -7.8571 | 0.011 | -1 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N141 | NUTA260A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2019 | 2680152 | 2019-11-07 |  | 0.135 | 0.14 | 96.4286 | -3.5714 | 0.011 | -0.45455 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N141 | NUTA260A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 3170098 | 2019-11-29 |  | 0.151 | 0.156 | 96.7949 | -3.2051 | 0.01 | -0.5 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA333A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 3310061 | 2019-12-17 |  | 0.137 | 0.156 | 87.8205 | -12.1795 | 0.01 | -1.9 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA346A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 3440296 | 2019-12-17 |  | 0.305 | 0.297 | 102.6936 | 2.6936 | 0.018 | 0.44444 | 0.02 | 2188 |  |  |  | mg/L as N | N144 | NUTA350A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 0150020 | 2020-01-28 |  | 0.158 | 0.156 | 101.2821 | 1.2821 | 0.01 | 0.2 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA028A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 3600043 | 2020-01-28 |  | 0.311 | 0.297 | 104.7138 | 4.7138 | 0.018 | 0.77778 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N144 | NUTA015A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 0420078 | 2020-02-18 |  | 0.3 | 0.297 | 101.0101 | 1.0101 | 0.018 | 0.16667 | 0.02 | 2188 |  |  |  | mg/L as N | N144 | NUTA049B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 0700106 | 2020-03-11 |  | 0.148 | 0.156 | 94.8718 | -5.1282 | 0.01 | -0.8 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA071A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 0560050 | 2020-03-11 |  | 0.312 | 0.297 | 105.0505 | 5.0505 | 0.018 | 0.83333 | 0.02 | 2188 |  |  |  | mg/L as N | N144 | NUTA069A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 0840026 | 2020-03-26 |  | 0.152 | 0.156 | 97.4359 | -2.5641 | 0.01 | -0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA085A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 1060058 | 2020-05-07 |  | 0.336 | 0.33 | 101.8182 | 1.8182 | 0.017 | 0.35294 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA127A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 1190083 | 2020-05-07 |  | 0.335 | 0.33 | 101.5152 | 1.5152 | 0.017 | 0.29412 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA127A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 1330130 | 2020-05-28 |  | 0.107 | 0.098 | 109.1837 | 9.1837 | 0.01 | 0.9 | 0.02 | 2188 |  |  |  | mg/L as N | N145 | NUTA_20148A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 1500214 | 2020-07-08 |  | 0.097 | 0.098 | 98.9796 | -1.0204 | 0.01 | -0.1 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N145 | NUTA_20183A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 1610196 | 2020-07-08 |  | 0.32688 | 0.33 | 99.0556 | -0.94442 | 0.017 | -0.18333 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA_20190A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 1750073 | 2020-07-08 |  | 0.32378 | 0.33 | 98.1158 | -1.8842 | 0.017 | -0.36576 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA_20190A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 1960129 | 2020-08-27 |  | 0.095 | 0.098 | 96.9388 | -3.0612 | 0.01 | -0.3 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N145 | NUTA_20198A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 2120195 | 2020-08-27 |  | 0.094 | 0.098 | 95.9184 | -4.0816 | 0.01 | -0.4 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N145 | NUTA_20239A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 2240095 | 2020-08-27 |  | 0.315 | 0.33 | 95.4545 | -4.5455 | 0.017 | -0.88235 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA_20239B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 2390030 | 2020-08-27 |  | 0.334 | 0.33 | 101.2121 | 1.2121 | 0.017 | 0.23529 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA_20239C
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 2590161 | 2020-09-25 |  | 0.096 | 0.098 | 97.9592 | -2.0408 | 0.01 | -0.2 | 0.02 | 2188 |  |  |  | mg/L as N | N145 | NUTA_20269B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 2740060 | 2020-11-10 |  | 0.096 | 0.098 | 97.9592 | -2.0408 | 0.01 | -0.2 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N145 | NUTA_20290A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 2880073 | 2020-11-10 |  | 0.235 | 0.232 | 101.2931 | 1.2931 | 0.019 | 0.15789 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_20290A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 3010156 | 2020-11-10 |  | 0.239 | 0.232 | 103.0172 | 3.0172 | 0.019 | 0.36842 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_20290A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 3150101 | 2020-12-11 |  | 0.124 | 0.126 | 98.4127 | -1.5873 | 0.01 | -0.2 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N147 | NUTA_20345B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 3300050 | 2020-12-11 |  | 0.127 | 0.126 | 100.7937 | 0.79365 | 0.01 | 0.1 | 0.02 | 2188 |  |  |  | mg/L as N | N147 | NUTA_20345B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 3500076 | 2020-12-17 |  | 0.247 | 0.232 | 106.4655 | 6.4655 | 0.019 | 0.78947 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_20351A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 3640017 | 2021-01-11 |  | 0.236 | 0.232 | 101.7241 | 1.7241 | 0.019 | 0.21053 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_21011A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 0270076 | 2021-02-16 |  | 0.13 | 0.126 | 103.1746 | 3.1746 | 0.01 | 0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N147 | NUTA_21039A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 0330080 | 2021-02-16 |  | 0.248 | 0.232 | 106.8966 | 6.8966 | 0.019 | 0.84211 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_21039A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 0120035 | 2021-02-17 |  | 0.128 | 0.126 | 101.5873 | 1.5873 | 0.01 | 0.2 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N147 | NUTA_21048A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 0480040 | 2021-03-04 |  | 0.236 | 0.232 | 101.7241 | 1.7241 | 0.019 | 0.21053 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_21063A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 0680064 | 2021-03-11 |  | 0.118 | 0.126 | 93.6508 | -6.3492 | 0.01 | -0.8 | 0.02 | 2188 |  |  |  | mg/L as N | N147 | NUTA_21069A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 0830030 | 2021-03-25 |  | 0.12 | 0.126 | 95.2381 | -4.7619 | 0.01 | -0.6 | 0.02 | 2188 |  |  |  | mg/L as N | N147 | NUTA_21083A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 1030141 | 2021-05-14 |  | 0.285 | 0.28 | 101.7857 | 1.7857 | 0.03 | 0.16667 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N150 | NUTA_21133A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 1180040 | 2021-05-14 |  | 0.28 | 0.28 | 100 | 0 | 0.03 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N150 | NUTA_21133B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 1320165 | 2021-05-18 |  | 0.154 | 0.154 | 100 | 0 | 0.01 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21137A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 1460001 | 2021-06-11 |  | 0.181 | 0.154 | 117.5325 | 17.5325 | 0.01 | 2.7 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21152A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 1600031 | 2021-06-11 |  | 0.275 | 0.28 | 98.2143 | -1.7857 | 0.03 | -0.16667 | 0.02 | 2188 |  |  |  | mg/L as N | N150 | NUTA_21161A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 1940227 | 2021-08-06 |  | 0.166 | 0.154 | 107.7922 | 7.7922 | 0.01 | 1.2 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21215B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 2080175 | 2021-08-06 |  | 0.158 | 0.154 | 102.5974 | 2.5974 | 0.01 | 0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21215B
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 1730217 | 2021-08-06 |  | 0.3 | 0.28 | 107.1429 | 7.1429 | 0.03 | 0.66667 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N150 | NUTA_21215A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 2220181 | 2021-08-23 |  | 0.284 | 0.28 | 101.4286 | 1.4286 | 0.03 | 0.13333 | 0.02 | 2188 |  |  |  | mg/L as N | N150 | NUTA_21232A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 2360116 | 2021-09-01 |  | 0.292 | 0.28 | 104.2857 | 4.2857 | 0.03 | 0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N150 | NUTA_21244A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 2580267 | 2021-09-30 |  | 0.154 | 0.154 | 100 | 0 | 0.01 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21272C