## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2016 | 2710069 | 2016-10-04 |  | 0.0599 | 0.0573 | 104.5375 | 4.5375 | 0.003201 | 0.81224 | 0.006 | 2331 |  |  |  | mg/L | N130X | PELD273A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2016 | 2660144 | 2016-10-06 |  | 0.2157 | 0.214 | 100.7944 | 0.79439 | 0.0107 | 0.15888 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N129 | PELD279A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2016 | 2730034 | 2016-10-12 |  | 0.2175 | 0.214 | 101.6355 | 1.6355 | 0.0107 | 0.3271 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N129 | PELD285A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2780111 | 2016-10-12 |  | 0.0696 | 0.066 | 105.4545 | 5.4545 | 0.008 | 0.45 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD285A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2800076 | 2016-10-12 |  | 0.031 | 0.0293 | 105.802 | 5.802 | 0.0021499 | 0.79073 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD285A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2860087 | 2016-10-18 |  | 0.0665 | 0.066 | 100.7576 | 0.75758 | 0.008 | 0.0625 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD291A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2870117 | 2016-10-18 |  | 0.0294 | 0.0293 | 100.3413 | 0.3413 | 0.0021499 | 0.046513 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD291A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2940164 | 2016-10-25 |  | 0.0677 | 0.066 | 102.5758 | 2.5758 | 0.008 | 0.2125 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD299A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2940108 | 2016-10-25 |  | 0.0277 | 0.0293 | 94.5392 | -5.4608 | 0.0021499 | -0.74421 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD298A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3000021 | 2016-11-03 |  | 0.0647 | 0.066 | 98.0303 | -1.9697 | 0.008 | -0.1625 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD305C
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3020134 | 2016-11-10 |  | 0.0263 | 0.0293 | 89.7611 | -10.2389 | 0.0021499 | -1.3954 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD312A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3150104 | 2016-11-14 |  | 0.0666 | 0.066 | 100.9091 | 0.90909 | 0.008 | 0.075 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD319A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3130043 | 2016-11-14 |  | 0.0282 | 0.0293 | 96.2457 | -3.7543 | 0.0021499 | -0.51165 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD319A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3200137 | 2016-11-17 |  | 0.0294 | 0.0293 | 100.3413 | 0.3413 | 0.0021499 | 0.046513 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD321A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3220015 | 2016-12-01 |  | 0.0697 | 0.066 | 105.6061 | 5.6061 | 0.008 | 0.4625 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD334A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3350001 | 2016-12-06 |  | 0.0705 | 0.066 | 106.8182 | 6.8182 | 0.008 | 0.5625 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD340A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3270125 | 2016-12-06 |  | 0.031 | 0.0293 | 105.802 | 5.802 | 0.0021499 | 0.79073 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD340A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3370165 | 2016-12-13 |  | 0.0688 | 0.066 | 104.2424 | 4.2424 | 0.008 | 0.35 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD347A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3370116 | 2016-12-13 |  | 0.0305 | 0.0293 | 104.0956 | 4.0956 | 0.0021499 | 0.55816 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD347A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3410123 | 2016-12-15 |  | 0.0722 | 0.066 | 109.3939 | 9.3939 | 0.008 | 0.775 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD350A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3430081 | 2016-12-21 |  | 0.0307 | 0.0293 | 104.7782 | 4.7782 | 0.0021499 | 0.65119 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD355A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3500009 | 2016-12-27 |  | 0.0304 | 0.0293 | 103.7543 | 3.7543 | 0.0021499 | 0.51165 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD362A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3550003 | 2016-12-29 |  | 0.0702 | 0.066 | 106.3636 | 6.3636 | 0.008 | 0.525 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD363B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3570111 | 2017-01-06 |  | 0.0302 | 0.0293 | 103.0717 | 3.0717 | 0.0021499 | 0.41862 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD003A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 3630009 | 2017-01-10 |  | 0.0704 | 0.066 | 106.6667 | 6.6667 | 0.008 | 0.55 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD009A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0050006 | 2017-01-12 |  | 0.0685 | 0.066 | 103.7879 | 3.7879 | 0.008 | 0.3125 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD011A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0040032 | 2017-01-12 |  | 0.0301 | 0.0293 | 102.7304 | 2.7304 | 0.0021499 | 0.37211 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD011A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0120069 | 2017-01-31 |  | 0.0702 | 0.066 | 106.3636 | 6.3636 | 0.008 | 0.525 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD025A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0190004 | 2017-01-31 |  | 0.0304 | 0.0293 | 103.7543 | 3.7543 | 0.0021499 | 0.51165 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD025A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0240084 | 2017-02-02 |  | 0.0296 | 0.0293 | 101.0239 | 1.0239 | 0.0021499 | 0.13954 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD032A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0230003 | 2017-02-09 |  | 0.0749 | 0.066 | 113.4848 | 13.4848 | 0.008 | 1.1125 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD030A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0390043 | 2017-02-14 |  | 0.0336 | 0.0293 | 114.6758 | 14.6758 | 0.0021499 | 2.0001 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD044A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0450116 | 2017-02-15 |  | 0.0678 | 0.066 | 102.7273 | 2.7273 | 0.008 | 0.225 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD045A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0330057 | 2017-02-16 |  | 0.0676 | 0.066 | 102.4242 | 2.4242 | 0.008 | 0.2 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD039A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0340051 | 2017-02-16 |  | 0.0292 | 0.0293 | 99.6587 | -0.3413 | 0.0021499 | -0.046513 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD039A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0470015 | 2017-02-21 |  | 0.0286 | 0.0293 | 97.6109 | -2.3891 | 0.0021499 | -0.32559 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD052B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0540064 | 2017-02-27 |  | 0.0671 | 0.066 | 101.6667 | 1.6667 | 0.008 | 0.1375 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD058A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0680096 | 2017-03-14 |  | 0.0667 | 0.066 | 101.0606 | 1.0606 | 0.008 | 0.0875 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD072B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0660086 | 2017-03-14 |  | 0.0277 | 0.0293 | 94.5392 | -5.4608 | 0.0021499 | -0.74421 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD072B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0760020 | 2017-03-22 |  | 0.0678 | 0.066 | 102.7273 | 2.7273 | 0.008 | 0.225 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD080A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0730072 | 2017-03-22 |  | 0.0298 | 0.0293 | 101.7065 | 1.7065 | 0.0021499 | 0.23257 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD080A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0800019 | 2017-03-28 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0021499 | -0.60467 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD086A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0830038 | 2017-04-06 |  | 0.0662 | 0.066 | 100.303 | 0.30303 | 0.008 | 0.025 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD094A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0890149 | 2017-04-06 |  | 0.0651 | 0.066 | 98.6364 | -1.3636 | 0.008 | -0.1125 | 0.003 | 2331 |  |  |  | mg/L as P | N131 | PELD094A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0870126 | 2017-04-06 |  | 0.0285 | 0.0293 | 97.2696 | -2.7304 | 0.0021499 | -0.37211 | 0.003 | 2331 |  |  |  | mg/L as P | N132X | PELD094A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0940131 | 2017-04-13 |  | 0.1151 | 0.11 | 104.6364 | 4.6364 | 0.0055 | 0.92727 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD101A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1020074 | 2017-04-18 |  | 0.1158 | 0.11 | 105.2727 | 5.2727 | 0.0055 | 1.0545 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD103B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 0960201 | 2017-04-18 |  | 0.028 | 0.0274 | 102.1898 | 2.1898 | 0.0020786 | 0.28866 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD103A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1030299 | 2017-04-18 |  | 0.026 | 0.0274 | 94.8905 | -5.1095 | 0.0020786 | -0.67353 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD107A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1080098 | 2017-04-25 |  | 0.115 | 0.11 | 104.5455 | 4.5455 | 0.0055 | 0.90909 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD114A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1100181 | 2017-04-25 |  | 0.0291 | 0.0274 | 106.2044 | 6.2044 | 0.0020786 | 0.81786 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD114A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1150161 | 2017-05-01 |  | 0.1146 | 0.11 | 104.1818 | 4.1818 | 0.0055 | 0.83636 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD118A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1170218 | 2017-05-01 |  | 0.0291 | 0.0274 | 106.2044 | 6.2044 | 0.0020786 | 0.81786 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD118A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1220115 | 2017-05-05 |  | 0.0275 | 0.0274 | 100.365 | 0.36496 | 0.0020786 | 0.048109 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD124A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1240257 | 2017-05-16 |  | 0.115 | 0.11 | 104.5455 | 4.5455 | 0.0055 | 0.90909 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD131A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1310183 | 2017-05-18 |  | 0.1133 | 0.11 | 103 | 3 | 0.0055 | 0.6 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD136A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1290174 | 2017-05-18 |  | 0.0287 | 0.0274 | 104.7445 | 4.7445 | 0.0020786 | 0.62542 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD136A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1370165 | 2017-05-22 |  | 0.0284 | 0.0274 | 103.6496 | 3.6496 | 0.0020786 | 0.48109 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD142A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1380219 | 2017-05-24 |  | 0.1184 | 0.11 | 107.6364 | 7.6364 | 0.0055 | 1.5273 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD144A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1450236 | 2017-06-01 |  | 0.1129 | 0.11 | 102.6364 | 2.6364 | 0.0055 | 0.52727 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD151A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1430170 | 2017-06-01 |  | 0.0277 | 0.0274 | 101.0949 | 1.0949 | 0.0020786 | 0.14433 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD151A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1570089 | 2017-06-13 |  | 0.1131 | 0.11 | 102.8182 | 2.8182 | 0.0055 | 0.56364 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD160A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1590285 | 2017-06-13 |  | 0.029 | 0.0274 | 105.8394 | 5.8394 | 0.0020786 | 0.76975 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD160A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1660142 | 2017-06-19 |  | 0.0292 | 0.0274 | 106.5693 | 6.5693 | 0.0020786 | 0.86597 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD170A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1640179 | 2017-06-21 |  | 0.1122 | 0.11 | 102 | 2 | 0.0055 | 0.4 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD171A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1710239 | 2017-06-27 |  | 0.1087 | 0.11 | 98.8182 | -1.1818 | 0.0055 | -0.23636 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD178A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1780223 | 2017-07-12 |  | 0.1188 | 0.11 | 108 | 8 | 0.0055 | 1.6 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD187A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1730302 | 2017-07-12 |  | 0.0303 | 0.0274 | 110.5839 | 10.5839 | 0.0020786 | 1.3952 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD187A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1810230 | 2017-07-12 |  | 0.0289 | 0.0274 | 105.4745 | 5.4745 | 0.0020786 | 0.72164 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD187B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1880105 | 2017-07-18 |  | 0.1138 | 0.11 | 103.4545 | 3.4545 | 0.0055 | 0.69091 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD198B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1870003 | 2017-07-18 |  | 0.0284 | 0.0274 | 103.6496 | 3.6496 | 0.0020786 | 0.48109 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD198B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1940218 | 2017-07-25 |  | 0.1175 | 0.11 | 106.8182 | 6.8182 | 0.0055 | 1.3636 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD198C
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1920145 | 2017-07-25 |  | 0.0283 | 0.0274 | 103.2847 | 3.2847 | 0.0020786 | 0.43298 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD198C
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 1990220 | 2017-08-02 |  | 0.0286 | 0.0274 | 104.3796 | 4.3796 | 0.0020786 | 0.57731 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD213A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2010174 | 2017-08-07 |  | 0.1133 | 0.11 | 103 | 3 | 0.0055 | 0.6 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD219A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2080083 | 2017-08-10 |  | 0.1131 | 0.11 | 102.8182 | 2.8182 | 0.0055 | 0.56364 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD219B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2060197 | 2017-08-10 |  | 0.0288 | 0.0274 | 105.1095 | 5.1095 | 0.0020786 | 0.67353 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD219B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2200293 | 2017-08-17 |  | 0.1128 | 0.11 | 102.5455 | 2.5455 | 0.0055 | 0.50909 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD228A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2220205 | 2017-08-17 |  | 0.0285 | 0.0274 | 104.0146 | 4.0146 | 0.0020786 | 0.5292 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD228A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2270194 | 2017-08-22 |  | 0.1097 | 0.11 | 99.7273 | -0.27273 | 0.0055 | -0.054545 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD233A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2290110 | 2017-08-29 |  | 0.0274 | 0.0274 | 100 | 0 | 0.0020786 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD235A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2340156 | 2017-08-31 |  | 0.111 | 0.11 | 100.9091 | 0.90909 | 0.0055 | 0.18182 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD240A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2410212 | 2017-09-06 |  | 0.116 | 0.11 | 105.4545 | 5.4545 | 0.0055 | 1.0909 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD248A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2360196 | 2017-09-06 |  | 0.0267 | 0.0274 | 97.4453 | -2.5547 | 0.0020786 | -0.33677 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD248A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2430126 | 2017-09-06 |  | 0.0278 | 0.0274 | 101.4599 | 1.4599 | 0.0020786 | 0.19244 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD248A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2500009 | 2017-09-14 |  | 0.0277 | 0.0274 | 101.0949 | 1.0949 | 0.0020786 | 0.14433 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD250B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2500193 | 2017-09-15 |  | 0.1147 | 0.11 | 104.2727 | 4.2727 | 0.0055 | 0.85455 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD255A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2560127 | 2017-09-26 |  | 0.027 | 0.0274 | 98.5401 | -1.4599 | 0.0020786 | -0.19244 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD264A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2580022 | 2017-09-28 |  | 0.1142 | 0.11 | 103.8182 | 3.8182 | 0.0055 | 0.76364 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD270A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2620204 | 2017-09-28 |  | 0.0263 | 0.0274 | 95.9854 | -4.0146 | 0.0020786 | -0.5292 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD270A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2640164 | 2017-10-03 |  | 0.1149 | 0.11 | 104.4545 | 4.4545 | 0.0055 | 0.89091 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD275A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2710008 | 2017-10-03 |  | 0.1141 | 0.11 | 103.7273 | 3.7273 | 0.0055 | 0.74545 | 0.003 | 2331 |  |  |  | mg/L as P | N133 | PELD275A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2017 | 2690194 | 2017-10-03 |  | 0.0273 | 0.0274 | 99.635 | -0.36496 | 0.0020786 | -0.048109 | 0.003 | 2331 |  |  |  | mg/L as P | N134X | PELD275A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2760116 | 2017-10-12 |  | 0.1693 | 0.163 | 103.865 | 3.865 | 0.00815 | 0.77301 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD284A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2860036 | 2017-10-17 |  | 0.1705 | 0.163 | 104.6012 | 4.6012 | 0.00815 | 0.92025 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD289B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2780106 | 2017-10-17 |  | 0.0391 | 0.0388 | 100.7732 | 0.7732 | 0.0025066 | 0.11969 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD289A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2910005 | 2017-10-19 |  | 0.1727 | 0.163 | 105.9509 | 5.9509 | 0.00815 | 1.1902 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD292A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2860179 | 2017-10-19 |  | 0.0401 | 0.0388 | 103.3505 | 3.3505 | 0.0025066 | 0.51864 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD292A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2920180 | 2017-10-25 |  | 0.0398 | 0.0388 | 102.5773 | 2.5773 | 0.0025066 | 0.39895 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD297A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3110100 | 2017-11-14 |  | 0.0391 | 0.0388 | 100.7732 | 0.7732 | 0.0025066 | 0.11969 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD317A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3130277 | 2017-11-16 |  | 0.1748 | 0.163 | 107.2393 | 7.2393 | 0.00815 | 1.4479 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD319B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3180169 | 2017-11-16 |  | 0.0394 | 0.0388 | 101.5464 | 1.5464 | 0.0025066 | 0.23937 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD319B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3200124 | 2017-11-29 |  | 0.1701 | 0.163 | 104.3558 | 4.3558 | 0.00815 | 0.87117 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD332A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3250156 | 2017-11-29 |  | 0.0383 | 0.0388 | 98.7113 | -1.2887 | 0.0025066 | -0.19948 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD332A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3280005 | 2017-12-05 |  | 0.1687 | 0.163 | 103.4969 | 3.4969 | 0.00815 | 0.69939 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD338A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3390053 | 2017-12-19 |  | 0.1651 | 0.163 | 101.2883 | 1.2883 | 0.00815 | 0.25767 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD352A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3410136 | 2017-12-19 |  | 0.04 | 0.0388 | 103.0928 | 3.0928 | 0.0025066 | 0.47875 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD352A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3540005 | 2017-12-27 |  | 0.1661 | 0.163 | 101.9018 | 1.9018 | 0.00815 | 0.38037 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD361A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 3560006 | 2018-01-03 |  | 0.0372 | 0.0388 | 95.8763 | -4.1237 | 0.0025066 | -0.63833 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD002A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0100017 | 2018-01-17 |  | 0.0397 | 0.0388 | 102.3196 | 2.3196 | 0.0025066 | 0.35906 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD016A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0120125 | 2018-01-18 |  | 0.1763 | 0.163 | 108.1595 | 8.1595 | 0.00815 | 1.6319 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD017A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0290003 | 2018-02-15 |  | 0.1715 | 0.163 | 105.2147 | 5.2147 | 0.00815 | 1.0429 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD043A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0240045 | 2018-02-15 |  | 0.0381 | 0.0388 | 98.1959 | -1.8041 | 0.0025066 | -0.27927 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD043A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0370092 | 2018-02-22 |  | 0.1716 | 0.163 | 105.2761 | 5.2761 | 0.00815 | 1.0552 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD052A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0390101 | 2018-02-26 |  | 0.0407 | 0.0388 | 104.8969 | 4.8969 | 0.0025066 | 0.75801 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD057A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0520067 | 2018-03-06 |  | 0.1763 | 0.163 | 108.1595 | 8.1595 | 0.00815 | 1.6319 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD064B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0570005 | 2018-03-08 |  | 0.0434 | 0.0388 | 111.8557 | 11.8557 | 0.0025066 | 1.8352 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD065A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0650048 | 2018-03-19 |  | 0.0401 | 0.0388 | 103.3505 | 3.3505 | 0.0025066 | 0.51864 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD078A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0670086 | 2018-03-22 |  | 0.1684 | 0.163 | 103.3129 | 3.3129 | 0.00815 | 0.66258 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD080A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0740076 | 2018-04-04 |  | 0.1695 | 0.163 | 103.9877 | 3.9877 | 0.00815 | 0.79755 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD092A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0730074 | 2018-04-04 |  | 0.0386 | 0.0388 | 99.4845 | -0.51546 | 0.0025066 | -0.079791 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD086A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0790090 | 2018-04-04 |  | 0.0382 | 0.0388 | 98.4536 | -1.5464 | 0.0025066 | -0.23937 | 0.003 | 2331 |  |  |  | mg/L as P | N136X | PELD092A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0820004 | 2018-04-09 |  | 0.1705 | 0.163 | 104.6012 | 4.6012 | 0.00815 | 0.92025 | 0.003 | 2331 |  |  |  | mg/L as P | N135 | PELD094A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0930130 | 2018-04-10 |  | 0.1383 | 0.135 | 102.4444 | 2.4444 | 0.00675 | 0.48889 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD099A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1020128 | 2018-04-17 |  | 0.1393 | 0.135 | 103.1852 | 3.1852 | 0.00675 | 0.63704 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD106A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 0950146 | 2018-04-17 |  | 0.0629 | 0.062 | 101.4516 | 1.4516 | 0.0033775 | 0.26647 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD106A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1080115 | 2018-04-25 |  | 0.1394 | 0.135 | 103.2593 | 3.2593 | 0.00675 | 0.65185 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD115A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1030054 | 2018-04-25 |  | 0.063 | 0.062 | 101.6129 | 1.6129 | 0.0033775 | 0.29608 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD113A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1130032 | 2018-05-07 |  | 0.0625 | 0.062 | 100.8065 | 0.80645 | 0.0033775 | 0.14804 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD127A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1280145 | 2018-05-24 |  | 0.0626 | 0.062 | 100.9677 | 0.96774 | 0.0033775 | 0.17765 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD141A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1310211 | 2018-06-04 |  | 0.1381 | 0.135 | 102.2963 | 2.2963 | 0.00675 | 0.45926 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD155A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1350133 | 2018-06-04 |  | 0.0647 | 0.062 | 104.3548 | 4.3548 | 0.0033775 | 0.79941 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD155A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1380025 | 2018-06-06 |  | 0.1368 | 0.135 | 101.3333 | 1.3333 | 0.00675 | 0.26667 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD156A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1450163 | 2018-06-12 |  | 0.1336 | 0.135 | 98.963 | -1.037 | 0.00675 | -0.20741 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD162A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1420222 | 2018-06-13 |  | 0.0635 | 0.062 | 102.4194 | 2.4194 | 0.0033775 | 0.44412 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD156B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1560171 | 2018-06-20 |  | 0.1359 | 0.135 | 100.6667 | 0.66667 | 0.00675 | 0.13333 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD169B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1580218 | 2018-06-21 |  | 0.0637 | 0.062 | 102.7419 | 2.7419 | 0.0033775 | 0.50333 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD171A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1640024 | 2018-06-25 |  | 0.1359 | 0.135 | 100.6667 | 0.66667 | 0.00675 | 0.13333 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD176A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1650202 | 2018-06-28 |  | 0.0661 | 0.062 | 106.6129 | 6.6129 | 0.0033775 | 1.2139 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD178A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1700196 | 2018-07-12 |  | 0.1362 | 0.135 | 100.8889 | 0.88889 | 0.00675 | 0.17778 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD191A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1720174 | 2018-07-12 |  | 0.065 | 0.062 | 104.8387 | 4.8387 | 0.0033775 | 0.88824 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD191A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1860029 | 2018-07-19 |  | 0.1361 | 0.135 | 100.8148 | 0.81481 | 0.00675 | 0.16296 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD197C
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1840102 | 2018-07-19 |  | 0.0657 | 0.062 | 105.9677 | 5.9677 | 0.0033775 | 1.0955 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD197C
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1930158 | 2018-07-25 |  | 0.1302 | 0.135 | 96.4444 | -3.5556 | 0.00675 | -0.71111 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD204B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1910181 | 2018-07-25 |  | 0.0619 | 0.062 | 99.8387 | -0.16129 | 0.0033775 | -0.029608 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD204B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 1990132 | 2018-08-03 |  | 0.0612 | 0.062 | 98.7097 | -1.2903 | 0.0033775 | -0.23686 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD213A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2000204 | 2018-08-07 |  | 0.1305 | 0.135 | 96.6667 | -3.3333 | 0.00675 | -0.66667 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD218A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2200025 | 2018-08-22 |  | 0.1325 | 0.135 | 98.1481 | -1.8519 | 0.00675 | -0.37037 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD233A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2210331 | 2018-08-23 |  | 0.0656 | 0.062 | 105.8065 | 5.8065 | 0.0033775 | 1.0659 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD234A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2260153 | 2018-08-29 |  | 0.1293 | 0.135 | 95.7778 | -4.2222 | 0.00675 | -0.84444 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD235A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2280201 | 2018-08-29 |  | 0.0628 | 0.062 | 101.2903 | 1.2903 | 0.0033775 | 0.23686 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD240A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2330196 | 2018-08-31 |  | 0.1317 | 0.135 | 97.5556 | -2.4444 | 0.00675 | -0.48889 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD242A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2350268 | 2018-08-31 |  | 0.064 | 0.062 | 103.2258 | 3.2258 | 0.0033775 | 0.59216 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD242A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2490023 | 2018-09-11 |  | 0.061 | 0.062 | 98.3871 | -1.6129 | 0.0033775 | -0.29608 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD253A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2490218 | 2018-09-20 |  | 0.1309 | 0.135 | 96.963 | -3.037 | 0.00675 | -0.60741 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD260B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2550003 | 2018-09-20 |  | 0.0614 | 0.062 | 99.0323 | -0.96774 | 0.0033775 | -0.17765 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD260B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2560304 | 2018-10-11 |  | 0.1368 | 0.135 | 101.3333 | 1.3333 | 0.00675 | 0.26667 | 0.003 | 2331 |  |  |  | mg/L as P | N137 | PELD269A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2610143 | 2018-10-11 |  | 0.0636 | 0.062 | 102.5806 | 2.5806 | 0.0033775 | 0.47373 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD269A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2760033 | 2018-10-24 |  | 0.1218 | 0.122 | 99.8361 | -0.16393 | 0.0061 | -0.032787 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD295A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2770143 | 2018-10-24 |  | 0.029 | 0.0295 | 98.3051 | -1.6949 | 0.0021574 | -0.23176 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD295A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2830103 | 2018-10-29 |  | 0.1335 | 0.122 | 109.4262 | 9.4262 | 0.0061 | 1.8852 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD302A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2840113 | 2018-10-29 |  | 0.03 | 0.0295 | 101.6949 | 1.6949 | 0.0021574 | 0.23176 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD302A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2890059 | 2018-11-01 |  | 0.1353 | 0.122 | 110.9016 | 10.9016 | 0.0061 | 2.1803 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD304A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2910157 | 2018-11-06 |  | 0.0305 | 0.0295 | 103.3898 | 3.3898 | 0.0021574 | 0.46351 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD309A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2630223 | 2018-11-15 |  | 0.6318 | 0.135 | 468 | 368 | 0.00675 | 73.6 | 0.003 | 2331 | Holding time exceeded | Value verified by rerun, same method | Sample was diluted | mg/L as P | N137 | PELD317B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3100175 | 2018-11-15 |  | 0.0293 | 0.0295 | 99.322 | -0.67797 | 0.0021574 | -0.092703 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD317B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3120138 | 2018-11-27 |  | 0.1353 | 0.122 | 110.9016 | 10.9016 | 0.0061 | 2.1803 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD324A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3180069 | 2018-11-27 |  | 0.0291 | 0.0295 | 98.6441 | -1.3559 | 0.0021574 | -0.18541 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD324A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3250021 | 2018-12-04 |  | 0.1334 | 0.122 | 109.3443 | 9.3443 | 0.0061 | 1.8689 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD333A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3310052 | 2018-12-10 |  | 0.1342 | 0.122 | 110 | 10 | 0.0061 | 2 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD344A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3270029 | 2018-12-10 |  | 0.0292 | 0.0295 | 98.9831 | -1.0169 | 0.0021574 | -0.13905 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD344A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3400028 | 2018-12-13 |  | 0.1346 | 0.122 | 110.3279 | 10.3279 | 0.0061 | 2.0656 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD345A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3410002 | 2018-12-13 |  | 0.0303 | 0.0295 | 102.7119 | 2.7119 | 0.0021574 | 0.37081 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD345A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3530020 | 2019-02-07 |  | 0.1317 | 0.122 | 107.9508 | 7.9508 | 0.0061 | 1.5902 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N139 | PELD029B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3540065 | 2019-02-13 |  | 2.2801 | 0.0295 | 7729.1525 | 7629.1525 | 0.0021574 | 1043.1856 | 0.003 | 2331 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N140X | PELD042A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0520009 | 2019-02-28 |  | 0.1326 | 0.122 | 108.6885 | 8.6885 | 0.0061 | 1.7377 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD058A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0520136 | 2019-02-28 |  | 0.0311 | 0.0295 | 105.4237 | 5.4237 | 0.0021574 | 0.74162 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD058A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0660076 | 2019-03-19 |  | 0.1377 | 0.122 | 112.8689 | 12.8689 | 0.0061 | 2.5738 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD077A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0640095 | 2019-03-19 |  | 0.0301 | 0.0295 | 102.0339 | 2.0339 | 0.0021574 | 0.27811 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD071A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0720021 | 2019-03-21 |  | 0.0304 | 0.0295 | 103.0508 | 3.0508 | 0.0021574 | 0.41716 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD079A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0730068 | 2019-03-26 |  | 0.1292 | 0.122 | 105.9016 | 5.9016 | 0.0061 | 1.1803 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD080A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0800129 | 2019-03-28 |  | 0.131 | 0.122 | 107.377 | 7.377 | 0.0061 | 1.4754 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD086A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0780098 | 2019-03-28 |  | 0.0321 | 0.0295 | 108.8136 | 8.8136 | 0.0021574 | 1.2051 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD084A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0920067 | 2019-04-04 |  | 0.1765 | 0.171 | 103.2164 | 3.2164 | 0.013 | 0.42308 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD094A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0940210 | 2019-04-09 |  | 0.0653 | 0.0622 | 104.9839 | 4.9839 | 0.003385 | 0.91581 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD098A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0990131 | 2019-04-16 |  | 0.1732 | 0.171 | 101.2865 | 1.2865 | 0.013 | 0.16923 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD105A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1010107 | 2019-04-16 |  | 0.0632 | 0.0622 | 101.6077 | 1.6077 | 0.003385 | 0.29542 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD105A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1060104 | 2019-04-25 |  | 0.1747 | 0.171 | 102.1637 | 2.1637 | 0.013 | 0.28462 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD112A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1080308 | 2019-04-25 |  | 0.0619 | 0.0622 | 99.5177 | -0.48232 | 0.003385 | -0.088627 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD112A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1290100 | 2019-05-13 |  | 0.1797 | 0.171 | 105.0877 | 5.0877 | 0.013 | 0.66923 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD129A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1280119 | 2019-05-13 |  | 0.0642 | 0.0622 | 103.2154 | 3.2154 | 0.003385 | 0.59084 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD129A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1360141 | 2019-05-22 |  | 0.1744 | 0.171 | 101.9883 | 1.9883 | 0.013 | 0.26154 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD141B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1340208 | 2019-05-22 |  | 0.0624 | 0.0622 | 100.3215 | 0.32154 | 0.003385 | 0.059084 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD141B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1410228 | 2019-05-30 |  | 0.0623 | 0.0622 | 100.1608 | 0.16077 | 0.003385 | 0.029542 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD149A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1430270 | 2019-05-31 |  | 0.1805 | 0.171 | 105.5556 | 5.5556 | 0.013 | 0.73077 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD151A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1550164 | 2019-06-06 |  | 0.174 | 0.171 | 101.7544 | 1.7544 | 0.013 | 0.23077 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD156A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1570212 | 2019-06-11 |  | 0.0611 | 0.0622 | 98.2315 | -1.7685 | 0.003385 | -0.32496 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD161B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1620133 | 2019-06-21 |  | 0.1774 | 0.171 | 103.7427 | 3.7427 | 0.013 | 0.49231 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD168A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1690139 | 2019-06-21 |  | 0.1766 | 0.171 | 103.2749 | 3.2749 | 0.013 | 0.43077 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD170A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1640204 | 2019-06-21 |  | 0.0633 | 0.0622 | 101.7685 | 1.7685 | 0.003385 | 0.32496 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD170A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1710259 | 2019-06-25 |  | 0.064 | 0.0622 | 102.8939 | 2.8939 | 0.003385 | 0.53176 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD176A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1840118 | 2019-07-23 |  | 0.1764 | 0.171 | 103.1579 | 3.1579 | 0.013 | 0.41538 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD196D
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1830102 | 2019-07-23 |  | 0.0619 | 0.0622 | 99.5177 | -0.48232 | 0.003385 | -0.088627 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD196D
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1900103 | 2019-07-23 |  | 0.0605 | 0.0622 | 97.2669 | -2.7331 | 0.003385 | -0.50222 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD196D
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1930196 | 2019-07-29 |  | 0.1724 | 0.171 | 100.8187 | 0.81871 | 0.013 | 0.10769 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD206A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2030081 | 2019-08-01 |  | 0.1716 | 0.171 | 100.3509 | 0.35088 | 0.013 | 0.046154 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD213A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2000020 | 2019-08-01 |  | 0.0616 | 0.0622 | 99.0354 | -0.96463 | 0.003385 | -0.17725 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD212A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2180153 | 2019-08-20 |  | 0.1787 | 0.171 | 104.5029 | 4.5029 | 0.013 | 0.59231 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD231A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2200201 | 2019-08-20 |  | 0.0618 | 0.0622 | 99.3569 | -0.64309 | 0.003385 | -0.11817 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD231A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2250167 | 2019-08-27 |  | 0.1783 | 0.171 | 104.269 | 4.269 | 0.013 | 0.56154 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD233A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2320183 | 2019-08-29 |  | 0.1798 | 0.171 | 105.1462 | 5.1462 | 0.013 | 0.67692 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD239A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2270235 | 2019-08-29 |  | 0.0639 | 0.0622 | 102.7331 | 2.7331 | 0.003385 | 0.50222 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD238A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2340258 | 2019-09-04 |  | 0.0626 | 0.0622 | 100.6431 | 0.64309 | 0.003385 | 0.11817 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD246A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2470183 | 2019-09-12 |  | 0.0642 | 0.0622 | 103.2154 | 3.2154 | 0.003385 | 0.59084 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD253A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2480209 | 2019-09-17 |  | 0.1781 | 0.171 | 104.152 | 4.152 | 0.013 | 0.54615 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD259A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2550079 | 2019-09-19 |  | 0.0632 | 0.0622 | 101.6077 | 1.6077 | 0.003385 | 0.29542 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD260A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2560160 | 2019-09-24 |  | 0.1843 | 0.171 | 107.7778 | 7.7778 | 0.013 | 1.0231 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD266A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2600330 | 2019-09-24 |  | 0.0635 | 0.0622 | 102.09 | 2.09 | 0.003385 | 0.38405 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD266A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2620332 | 2019-10-01 |  | 0.1772 | 0.171 | 103.6257 | 3.6257 | 0.013 | 0.47692 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD273A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2810116 | 2019-10-16 |  | 0.1925 | 0.184 | 104.6196 | 4.6196 | 0.0092 | 0.92391 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD288A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2830132 | 2019-10-18 |  | 0.0428 | 0.0412 | 103.8835 | 3.8835 | 0.0025966 | 0.61618 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD290A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2890224 | 2019-10-31 |  | 0.1878 | 0.184 | 102.0652 | 2.0652 | 0.0092 | 0.41304 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N143 | PELD302A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2910181 | 2019-10-31 |  | 0.0418 | 0.0412 | 101.4563 | 1.4563 | 0.0025966 | 0.23107 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD302A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2950099 | 2019-11-05 |  | 0.1879 | 0.184 | 102.1196 | 2.1196 | 0.0092 | 0.42391 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N143 | PELD308A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2970177 | 2019-11-05 |  | 0.0407 | 0.0412 | 98.7864 | -1.2136 | 0.0025966 | -0.19256 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD308A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3110126 | 2019-11-13 |  | 0.193 | 0.184 | 104.8913 | 4.8913 | 0.0092 | 0.97826 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD316A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3090143 | 2019-11-13 |  | 0.0429 | 0.0412 | 104.1262 | 4.1262 | 0.0025966 | 0.65469 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD316A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3180075 | 2019-11-19 |  | 0.1989 | 0.184 | 108.0978 | 8.0978 | 0.0092 | 1.6196 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD322A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3170100 | 2019-11-19 |  | 0.0416 | 0.0412 | 100.9709 | 0.97087 | 0.0025966 | 0.15404 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD322A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3250087 | 2019-12-02 |  | 0.191 | 0.184 | 103.8043 | 3.8043 | 0.0092 | 0.76087 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD329A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3230097 | 2019-12-02 |  | 0.0421 | 0.0412 | 102.1845 | 2.1845 | 0.0025966 | 0.3466 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD329A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3370099 | 2019-12-11 |  | 0.1965 | 0.184 | 106.7935 | 6.7935 | 0.0092 | 1.3587 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD344A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3390132 | 2019-12-19 |  | 0.0393 | 0.0412 | 95.3883 | -4.6117 | 0.0025966 | -0.73171 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD345A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3510020 | 2020-01-07 |  | 0.1979 | 0.184 | 107.5543 | 7.5543 | 0.0092 | 1.5109 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD006A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3530003 | 2020-01-07 |  | 0.0411 | 0.0412 | 99.7573 | -0.24272 | 0.0025966 | -0.038511 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD006B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0090080 | 2020-01-16 |  | 0.1854 | 0.184 | 100.7609 | 0.76087 | 0.0092 | 0.15217 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD014A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0070045 | 2020-01-16 |  | 0.0412 | 0.0412 | 100 | 0 | 0.0025966 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD014A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0230067 | 2020-01-30 |  | 0.1846 | 0.184 | 100.3261 | 0.32609 | 0.0092 | 0.065217 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD028A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0220112 | 2020-01-30 |  | 0.0415 | 0.0412 | 100.7282 | 0.72816 | 0.0025966 | 0.11553 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD028A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0350139 | 2020-02-13 |  | 0.1863 | 0.184 | 101.25 | 1.25 | 0.0092 | 0.25 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD042A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0370097 | 2020-02-19 |  | 0.0425 | 0.0412 | 103.1553 | 3.1553 | 0.0025966 | 0.50065 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD049B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0500056 | 2020-03-03 |  | 0.191 | 0.184 | 103.8043 | 3.8043 | 0.0092 | 0.76087 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD062A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0510087 | 2020-03-03 |  | 0.0422 | 0.0412 | 102.4272 | 2.4272 | 0.0025966 | 0.38511 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD062A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0630049 | 2020-03-10 |  | 0.0399 | 0.0412 | 96.8447 | -3.1553 | 0.0025966 | -0.50065 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD069A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0650092 | 2020-03-17 |  | 0.1881 | 0.184 | 102.2283 | 2.2283 | 0.0092 | 0.44565 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD071A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0700105 | 2020-03-17 |  | 0.0408 | 0.0412 | 99.0291 | -0.97087 | 0.0025966 | -0.15404 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD071A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0730162 | 2020-03-25 |  | 0.1845 | 0.184 | 100.2717 | 0.27174 | 0.0092 | 0.054348 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD083A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0800003 | 2020-03-25 |  | 0.188 | 0.184 | 102.1739 | 2.1739 | 0.0092 | 0.43478 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD083A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0770113 | 2020-03-25 |  | 0.0414 | 0.0412 | 100.4854 | 0.48544 | 0.0025966 | 0.077022 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD083A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0980041 | 2020-04-15 |  | 0.1391 | 0.134 | 103.806 | 3.806 | 0.008 | 0.6375 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD104A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1000060 | 2020-04-15 |  | 0.0352 | 0.0339 | 103.8348 | 3.8348 | 0.0023226 | 0.55972 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD104A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1060057 | 2020-04-22 |  | 0.1357 | 0.134 | 101.2687 | 1.2687 | 0.008 | 0.2125 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD111A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1120051 | 2020-04-28 |  | 0.1344 | 0.134 | 100.2985 | 0.29851 | 0.008 | 0.05 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD118A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1070052 | 2020-04-28 |  | 0.032 | 0.0339 | 94.3953 | -5.6047 | 0.0023226 | -0.81805 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD118A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1140083 | 2020-04-28 |  | 0.0333 | 0.0339 | 98.2301 | -1.7699 | 0.0023226 | -0.25833 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD118A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1280005 | 2020-05-12 |  | 0.1353 | 0.134 | 100.9701 | 0.97015 | 0.008 | 0.1625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD132B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1260080 | 2020-05-12 |  | 0.0339 | 0.0339 | 100 | 0 | 0.0023226 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD132B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1330128 | 2020-05-27 |  | 0.0439 | 0.0339 | 129.4985 | 29.4985 | 0.0023226 | 4.3055 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20147A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1400017 | 2020-06-02 |  | 0.1345 | 0.134 | 100.3731 | 0.37313 | 0.008 | 0.0625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20153A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1430096 | 2020-06-02 |  | 0.1347 | 0.134 | 100.5224 | 0.52239 | 0.008 | 0.0875 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20153A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1550010 | 2020-06-25 |  | 0.1292 | 0.134 | 96.4179 | -3.5821 | 0.008 | -0.6 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20170B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1560173 | 2020-06-25 |  | 0.0327 | 0.0339 | 96.4602 | -3.5398 | 0.0023226 | -0.51666 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20170B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1610194 | 2020-06-26 |  | 0.1295 | 0.134 | 96.6418 | -3.3582 | 0.008 | -0.5625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20177A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1630142 | 2020-06-26 |  | 0.0321 | 0.0339 | 94.6903 | -5.3097 | 0.0023226 | -0.77499 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20177A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1680151 | 2020-06-29 |  | 0.1345 | 0.134 | 100.3731 | 0.37313 | 0.008 | 0.0625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20181A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1700256 | 2020-07-02 |  | 0.0331 | 0.0339 | 97.6401 | -2.3599 | 0.0023226 | -0.34444 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20181B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1910117 | 2020-07-22 |  | 0.1391 | 0.134 | 103.806 | 3.806 | 0.008 | 0.6375 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20197A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1890184 | 2020-07-22 |  | 0.0336 | 0.0339 | 99.115 | -0.88496 | 0.0023226 | -0.12917 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20197A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1960131 | 2020-07-22 |  | 0.0345 | 0.0339 | 101.7699 | 1.7699 | 0.0023226 | 0.25833 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20198A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1980095 | 2020-07-28 |  | 0.1372 | 0.134 | 102.3881 | 2.3881 | 0.008 | 0.4 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20209A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2040022 | 2020-07-29 |  | 0.0348 | 0.0339 | 102.6549 | 2.6549 | 0.0023226 | 0.3875 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20210A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2110026 | 2020-08-04 |  | 0.1433 | 0.134 | 106.9403 | 6.9403 | 0.008 | 1.1625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20216A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2170033 | 2020-08-12 |  | 0.138 | 0.134 | 102.9851 | 2.9851 | 0.008 | 0.5 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20223A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2190158 | 2020-08-18 |  | 0.0316 | 0.0339 | 93.2153 | -6.7847 | 0.0023226 | -0.99027 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20226B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2240094 | 2020-08-20 |  | 0.1368 | 0.134 | 102.0896 | 2.0896 | 0.008 | 0.35 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20232A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2260120 | 2020-08-20 |  | 0.0342 | 0.0339 | 100.885 | 0.88496 | 0.0023226 | 0.12917 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20232A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2370048 | 2020-09-01 |  | 0.0338 | 0.0339 | 99.705 | -0.29499 | 0.0023226 | -0.043055 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20244B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2320040 | 2020-09-10 |  | 0.1377 | 0.134 | 102.7612 | 2.7612 | 0.008 | 0.4625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20244A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2530139 | 2020-09-29 |  | 0.0321 | 0.0339 | 94.6903 | -5.3097 | 0.0023226 | -0.77499 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20266A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2610178 | 2020-10-07 |  | 0.1355 | 0.134 | 101.1194 | 1.1194 | 0.008 | 0.1875 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20281A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2540251 | 2020-10-08 |  | 0.1319 | 0.134 | 98.4328 | -1.5672 | 0.008 | -0.2625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20275A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2590159 | 2020-10-08 |  | 0.0316 | 0.0339 | 93.2153 | -6.7847 | 0.0023226 | -0.99027 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20275A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2670295 | 2020-10-14 |  | 0.0308 | 0.0339 | 90.8555 | -9.1445 | 0.0023226 | -1.3347 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20287A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2680085 | 2020-10-21 |  | 0.1335 | 0.134 | 99.6269 | -0.37313 | 0.008 | -0.0625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20288A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2810030 | 2020-11-02 |  | 0.2063 | 0.198 | 104.1919 | 4.1919 | 0.0099 | 0.83838 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20303A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2820103 | 2020-11-02 |  | 0.0311 | 0.0295 | 105.4237 | 5.4237 | 0.0021574 | 0.74162 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20303A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2880071 | 2020-11-05 |  | 0.2058 | 0.198 | 103.9394 | 3.9394 | 0.0099 | 0.78788 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20308A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2960118 | 2020-11-05 |  | 0.0309 | 0.0295 | 104.7458 | 4.7458 | 0.0021574 | 0.64892 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20308A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2890048 | 2020-11-10 |  | 0.0303 | 0.0295 | 102.7119 | 2.7119 | 0.0021574 | 0.37081 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20303B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2950031 | 2020-11-17 |  | 0.211 | 0.198 | 106.5657 | 6.5657 | 0.0099 | 1.3131 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20321A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3080109 | 2020-11-17 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0021574 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20321A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3150102 | 2020-11-19 |  | 0.0301 | 0.0295 | 102.0339 | 2.0339 | 0.0021574 | 0.27811 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20321B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3230040 | 2020-11-23 |  | 0.0317 | 0.0295 | 107.4576 | 7.4576 | 0.0021574 | 1.0197 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20324A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3180089 | 2020-12-02 |  | 0.2081 | 0.198 | 105.101 | 5.101 | 0.0099 | 1.0202 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20330A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3240159 | 2020-12-10 |  | 0.2031 | 0.198 | 102.5758 | 2.5758 | 0.0099 | 0.51515 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20344A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3350003 | 2020-12-15 |  | 0.2131 | 0.198 | 107.6263 | 7.6263 | 0.0099 | 1.5253 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20349B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3440083 | 2020-12-29 |  | 0.2094 | 0.198 | 105.7576 | 5.7576 | 0.0099 | 1.1515 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20352A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3530074 | 2020-12-30 |  | 0.0284 | 0.0295 | 96.2712 | -3.7288 | 0.0021574 | -0.50987 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20358A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3580057 | 2021-01-25 |  | 0.2121 | 0.198 | 107.1212 | 7.1212 | 0.0099 | 1.4242 | 0.003 | 2331 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N147 | PELD_21021A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0050026 | 2021-01-25 |  | 0.0293 | 0.0295 | 99.322 | -0.67797 | 0.0021574 | -0.092703 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21021A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3660011 | 2021-01-25 |  | 0.0308 | 0.0295 | 104.4068 | 4.4068 | 0.0021574 | 0.60257 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21021A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0150003 | 2021-01-27 |  | 0.2024 | 0.198 | 102.2222 | 2.2222 | 0.0099 | 0.44444 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21026A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0210019 | 2021-01-27 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0021574 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21026A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0280001 | 2021-02-10 |  | 0.2044 | 0.198 | 103.2323 | 3.2323 | 0.0099 | 0.64646 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21040A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0350086 | 2021-02-18 |  | 0.0306 | 0.0295 | 103.7288 | 3.7288 | 0.0021574 | 0.50987 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21047B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0400078 | 2021-02-23 |  | 0.2036 | 0.198 | 102.8283 | 2.8283 | 0.0099 | 0.56566 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21053A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0490010 | 2021-02-23 |  | 0.0298 | 0.0295 | 101.0169 | 1.0169 | 0.0021574 | 0.13905 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21053A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0540056 | 2021-03-09 |  | 0.2041 | 0.198 | 103.0808 | 3.0808 | 0.0099 | 0.61616 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21062A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0620096 | 2021-03-18 |  | 0.028 | 0.0295 | 94.9153 | -5.0847 | 0.0021574 | -0.69527 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21075A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0690090 | 2021-03-24 |  | 0.1977 | 0.198 | 99.8485 | -0.15152 | 0.0099 | -0.030303 | 0.003 | 2331 |  |  |  | mg/L as P | N147 | PELD_21081A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0680065 | 2021-03-24 |  | 0.0284 | 0.0295 | 96.2712 | -3.7288 | 0.0021574 | -0.50987 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21081A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0760023 | 2021-04-07 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0021574 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21096A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0770042 | 2021-04-15 |  | 0.2077 | 0.198 | 104.899 | 4.899 | 0.0099 | 0.9798 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21098A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0840107 | 2021-05-04 |  | 0.2061 | 0.198 | 104.0909 | 4.0909 | 0.0099 | 0.81818 | 0.003 | 2331 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N147 | PELD_21123A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0970045 | 2021-05-04 |  | 0.1851 | 0.184 | 100.5978 | 0.59783 | 0.0092 | 0.11957 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21123A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1030142 | 2021-05-12 |  | 0.1879 | 0.184 | 102.1196 | 2.1196 | 0.0092 | 0.42391 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21131A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1050216 | 2021-05-20 |  | 0.0468 | 0.045 | 104 | 4 | 0.0027393 | 0.6571 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N150X | PELD_21137A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1110005 | 2021-05-25 |  | 0.1845 | 0.184 | 100.2717 | 0.27174 | 0.0092 | 0.054348 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N149 | PELD_21144A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1120202 | 2021-05-25 |  | 0.043 | 0.045 | 95.5556 | -4.4444 | 0.0027393 | -0.73011 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N150X | PELD_21144A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1250007 | 2021-05-27 |  | 0.0415 | 0.045 | 92.2222 | -7.7778 | 0.0027393 | -1.2777 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21146A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1190110 | 2021-05-28 |  | 0.045 | 0.045 | 100 | 0 | 0.0027393 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21147A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1330235 | 2021-06-08 |  | 0.1832 | 0.184 | 99.5652 | -0.43478 | 0.0092 | -0.086957 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21158A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1320167 | 2021-06-08 |  | 0.0437 | 0.045 | 97.1111 | -2.8889 | 0.0027393 | -0.47457 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21158A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1380138 | 2021-06-08 |  | 0.045 | 0.045 | 100 | 0 | 0.0027393 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21158A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1390135 | 2021-06-09 |  | 0.1805 | 0.184 | 98.0978 | -1.9022 | 0.0092 | -0.38043 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21159A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1530101 | 2021-06-15 |  | 0.1912 | 0.184 | 103.913 | 3.913 | 0.0092 | 0.78261 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21165A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1540138 | 2021-06-17 |  | 0.1915 | 0.184 | 104.0761 | 4.0761 | 0.0092 | 0.81522 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21167A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1600030 | 2021-06-22 |  | 0.1861 | 0.184 | 101.1413 | 1.1413 | 0.0092 | 0.22826 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21167B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1610182 | 2021-06-24 |  | 0.0465 | 0.045 | 103.3333 | 3.3333 | 0.0027393 | 0.54759 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21173A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1660118 | 2021-06-25 |  | 0.1895 | 0.184 | 102.9891 | 2.9891 | 0.0092 | 0.59783 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21174A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1680020 | 2021-06-25 |  | 0.0481 | 0.045 | 106.8889 | 6.8889 | 0.0027393 | 1.1317 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21174B
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1750330 | 2021-07-15 |  | 0.0451 | 0.045 | 100.2222 | 0.22222 | 0.0027393 | 0.036506 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21193A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1880116 | 2021-07-21 |  | 0.0451 | 0.045 | 100.2222 | 0.22222 | 0.0027393 | 0.036506 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21200C
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1940226 | 2021-07-27 |  | 0.044 | 0.045 | 97.7778 | -2.2222 | 0.0027393 | -0.36506 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21204A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1960205 | 2021-07-28 |  | 0.184 | 0.184 | 100 | 0 | 0.0092 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21207A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2010232 | 2021-08-04 |  | 0.0452 | 0.045 | 100.4444 | 0.44444 | 0.0027393 | 0.073011 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21214A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2020247 | 2021-08-10 |  | 0.187 | 0.184 | 101.6304 | 1.6304 | 0.0092 | 0.32609 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21221A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2150045 | 2021-08-12 |  | 0.1833 | 0.184 | 99.6196 | -0.38043 | 0.0092 | -0.076087 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21223A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2100165 | 2021-08-12 |  | 0.1857 | 0.184 | 100.9239 | 0.92391 | 0.0092 | 0.18478 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21223A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2220183 | 2021-08-19 |  | 0.1875 | 0.184 | 101.9022 | 1.9022 | 0.0092 | 0.38043 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21230A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2240200 | 2021-08-25 |  | 0.0423 | 0.045 | 94 | -6 | 0.0027393 | -0.98565 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21235A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2290125 | 2021-09-03 |  | 0.1842 | 0.184 | 100.1087 | 0.1087 | 0.0092 | 0.021739 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21244A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2310207 | 2021-09-03 |  | 0.0443 | 0.045 | 98.4444 | -1.5556 | 0.0027393 | -0.25554 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21244A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2380345 | 2021-09-14 |  | 0.0463 | 0.045 | 102.8889 | 2.8889 | 0.0027393 | 0.47457 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21252A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2510431 | 2021-09-22 |  | 0.0452 | 0.045 | 100.4444 | 0.44444 | 0.0027393 | 0.073011 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21263A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2590009 | 2021-09-30 |  | 0.1859 | 0.184 | 101.0326 | 1.0326 | 0.0092 | 0.20652 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21266A
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2580268 | 2021-09-30 |  | 0.0465 | 0.045 | 103.3333 | 3.3333 | 0.0027393 | 0.54759 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21266A