## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2016 | 2710071 | 2016-10-05 |  | 0.225 | 0.214 | 105.1402 | 5.1402 | 0.0107 | 1.028 | 0.02 | 2759 |  |  |  | mg/L | N129 | PTNP279A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 2860089 | 2016-10-18 |  | 0.313 | 0.293 | 106.8259 | 6.8259 | 0.01465 | 1.3652 | 0.01 | 2759 |  |  |  | mg/L as P | N132 | PTNP292A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 3000020 | 2016-11-17 |  | 0.312 | 0.293 | 106.4846 | 6.4846 | 0.01465 | 1.2969 | 0.01 | 2759 |  |  |  | mg/L as P | N132 | PTNP319A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 3200139 | 2016-11-22 |  | 0.069 | 0.066 | 104.5455 | 4.5455 | 0.008 | 0.375 | 0.01 | 2759 |  |  |  | mg/L as P | N131 | PTNP327A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 3370117 | 2016-12-07 |  | 0.069 | 0.066 | 104.5455 | 4.5455 | 0.008 | 0.375 | 0.01 | 2759 |  |  |  | mg/L as P | N131 | PTNP342A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 3480031 | 2016-12-20 |  | 0.286 | 0.293 | 97.6109 | -2.3891 | 0.01465 | -0.47782 | 0.01 | 2759 |  |  |  | mg/L as P | N132 | PTNP354A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 3630008 | 2017-01-03 |  | 0.308 | 0.293 | 105.1195 | 5.1195 | 0.01465 | 1.0239 | 0.01 | 2759 |  |  |  | mg/L as P | N132 | PTNP003A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 0100052 | 2017-01-24 |  | 0.066 | 0.066 | 100 | 0 | 0.008 | 0 | 0.01 | 2759 |  |  |  | mg/L as P | N131 | PTNP024A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 0240083 | 2017-01-31 |  | 0.067 | 0.066 | 101.5152 | 1.5152 | 0.008 | 0.125 | 0.01 | 2759 |  |  |  | mg/L as P | N131 | PTNP030A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 0380071 | 2017-02-13 |  | 0.289 | 0.293 | 98.6348 | -1.3652 | 0.01465 | -0.27304 | 0.01 | 2759 |  |  |  | mg/L as P | N132 | PTNP044A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 0540063 | 2017-02-27 |  | 0.303 | 0.293 | 103.413 | 3.413 | 0.01465 | 0.68259 | 0.01 | 2759 |  |  |  | mg/L as P | N132 | PTNP058A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 0730073 | 2017-03-24 |  | 0.067 | 0.066 | 101.5152 | 1.5152 | 0.008 | 0.125 | 0.01 | 2759 |  |  |  | mg/L as P | N131 | PTNP083A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 0870127 | 2017-03-31 |  | 0.065 | 0.066 | 98.4848 | -1.5152 | 0.008 | -0.125 | 0.01 | 2759 |  |  |  | mg/L as P | N131 | PTNP089A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 1020075 | 2017-04-19 |  | 0.262 | 0.274 | 95.6204 | -4.3796 | 0.015 | -0.8 | 0.01 | 2759 |  |  |  | mg/L as P | N134 | PTNP107A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 1150162 | 2017-05-02 |  | 0.277 | 0.274 | 101.0949 | 1.0949 | 0.015 | 0.2 | 0.01 | 2759 |  |  |  | mg/L as P | N134 | PTNP121A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 1290175 | 2017-05-23 |  | 0.111 | 0.11 | 100.9091 | 0.90909 | 0.0055 | 0.18182 | 0.01 | 2759 |  |  |  | mg/L as P | N133 | PTNP137A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 1430171 | 2017-06-01 |  | 0.107 | 0.11 | 97.2727 | -2.7273 | 0.0055 | -0.54545 | 0.01 | 2759 |  |  |  | mg/L as P | N133 | PTNP150A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 1640180 | 2017-06-21 |  | 0.282 | 0.274 | 102.9197 | 2.9197 | 0.015 | 0.53333 | 0.01 | 2759 |  |  |  | mg/L as P | N134 | PTNP171A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 1780224 | 2017-07-13 |  | 0.273 | 0.274 | 99.635 | -0.36496 | 0.015 | -0.066667 | 0.01 | 2759 |  |  |  | mg/L as P | N134 | PTNP188A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 1920146 | 2017-07-24 |  | 0.108 | 0.11 | 98.1818 | -1.8182 | 0.0055 | -0.36364 | 0.01 | 2759 |  |  |  | mg/L as P | N133 | PTNP199B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 2060198 | 2017-08-09 |  | 0.114 | 0.11 | 103.6364 | 3.6364 | 0.0055 | 0.72727 | 0.01 | 2759 |  |  |  | mg/L as P | N133 | PTNP213A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 2270193 | 2017-08-25 |  | 0.268 | 0.274 | 97.8102 | -2.1898 | 0.015 | -0.4 | 0.01 | 2759 |  |  |  | mg/L as P | N134 | PTNP236A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 2410211 | 2017-09-07 |  | 0.281 | 0.274 | 102.5547 | 2.5547 | 0.015 | 0.46667 | 0.01 | 2759 |  |  |  | mg/L as P | N134 | PTNP248A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 2560125 | 2017-09-27 |  | 0.106 | 0.11 | 96.3636 | -3.6364 | 0.0055 | -0.72727 | 0.01 | 2759 |  |  |  | mg/L as P | N133 | PTNP265A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2017 | 2690195 | 2017-10-10 |  | 0.113 | 0.11 | 102.7273 | 2.7273 | 0.0055 | 0.54545 | 0.01 | 2759 |  |  |  | mg/L as P | N133 | PTNP279A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 2860034 | 2017-10-24 |  | 0.387 | 0.388 | 99.7423 | -0.25773 | 0.0194 | -0.051546 | 0.01 | 2759 |  |  |  | mg/L as P | N136 | PTNP296A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 2970213 | 2017-10-27 |  | 0.404 | 0.388 | 104.1237 | 4.1237 | 0.0194 | 0.82474 | 0.01 | 2759 |  |  |  | mg/L as P | N136 | PTNP300A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 3180168 | 2017-11-20 |  | 0.161 | 0.163 | 98.773 | -1.227 | 0.00815 | -0.2454 | 0.01 | 2759 |  |  |  | mg/L as P | N135 | PTNP324A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 3330002 | 2017-12-06 |  | 0.171 | 0.163 | 104.908 | 4.908 | 0.00815 | 0.9816 | 0.01 | 2759 |  |  |  | mg/L as P | N135 | PTNP340A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 3460081 | 2017-12-20 |  | 0.377 | 0.388 | 97.1649 | -2.8351 | 0.0194 | -0.56701 | 0.01 | 2759 |  |  |  | mg/L as P | N136 | PTNP353A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 3610006 | 2018-01-11 |  | 0.381 | 0.388 | 98.1959 | -1.8041 | 0.0194 | -0.36082 | 0.01 | 2759 |  |  |  | mg/L as P | N136 | PTNP010A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 0170070 | 2018-02-14 |  | 0.17 | 0.163 | 104.2945 | 4.2945 | 0.00815 | 0.8589 | 0.01 | 2759 |  |  |  | mg/L as P | N135 | PTNP044A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 0300094 | 2018-02-20 |  | 0.171 | 0.163 | 104.908 | 4.908 | 0.00815 | 0.9816 | 0.01 | 2759 |  |  |  | mg/L as P | N135 | PTNP047A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 0440094 | 2018-03-02 |  | 0.405 | 0.388 | 104.3814 | 4.3814 | 0.0194 | 0.87629 | 0.01 | 2759 |  |  |  | mg/L as P | N136 | PTNP061A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 0580117 | 2018-03-19 |  | 0.373 | 0.388 | 96.134 | -3.866 | 0.0194 | -0.7732 | 0.01 | 2759 |  |  |  | mg/L as P | N136 | PTNP074A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 0730072 | 2018-04-06 |  | 0.17 | 0.163 | 104.2945 | 4.2945 | 0.00815 | 0.8589 | 0.01 | 2759 |  |  |  | mg/L as P | N135 | PTNP095A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 0860119 | 2018-04-10 |  | 0.165 | 0.163 | 101.227 | 1.227 | 0.00815 | 0.2454 | 0.01 | 2759 |  |  |  | mg/L as P | N135 | PTNP099A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 1020129 | 2018-04-19 |  | 0.57 | 0.62 | 91.9355 | -8.0645 | 0.031 | -1.6129 | 0.01 | 2759 |  |  |  | mg/L as P | N138 | PTNP107B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 1140195 | 2018-05-03 |  | 0.586 | 0.62 | 94.5161 | -5.4839 | 0.031 | -1.0968 | 0.01 | 2759 |  |  |  | mg/L as P | N138 | PTNP121A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 1350131 | 2018-05-21 |  | 0.125 | 0.135 | 92.5926 | -7.4074 | 0.00675 | -1.4815 | 0.01 | 2759 |  |  |  | mg/L as P | N137 | PTNP141A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 1500137 | 2018-06-05 |  | 0.126 | 0.135 | 93.3333 | -6.6667 | 0.00675 | -1.3333 | 0.01 | 2759 |  |  |  | mg/L as P | N137 | PTNP156A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 1640026 | 2018-06-25 |  | 0.606 | 0.62 | 97.7419 | -2.2581 | 0.031 | -0.45161 | 0.01 | 2759 |  |  |  | mg/L as P | N138 | PTNP176A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 1770193 | 2018-07-12 |  | 0.605 | 0.62 | 97.5806 | -2.4194 | 0.031 | -0.48387 | 0.01 | 2759 |  |  |  | mg/L as P | N138 | PTNP191B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 1910180 | 2018-07-27 |  | 0.127 | 0.135 | 94.0741 | -5.9259 | 0.00675 | -1.1852 | 0.01 | 2759 |  |  |  | mg/L as P | N137 | PTNP204A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 2050302 | 2018-08-13 |  | 0.126 | 0.135 | 93.3333 | -6.6667 | 0.00675 | -1.3333 | 0.01 | 2759 |  |  |  | mg/L as P | N137 | PTNP220A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 2260151 | 2018-09-06 |  | 0.572 | 0.62 | 92.2581 | -7.7419 | 0.031 | -1.5484 | 0.01 | 2759 |  |  |  | mg/L as P | N138 | PTNP247A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 2410016 | 2018-09-26 |  | 0.611 | 0.62 | 98.5484 | -1.4516 | 0.031 | -0.29032 | 0.01 | 2759 |  |  |  | mg/L as P | N138 | PTNP264A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 2550002 | 2018-10-19 |  | 0.13 | 0.135 | 96.2963 | -3.7037 | 0.00675 | -0.74074 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N137 | PTNP282B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2018 | 2680174 | 2018-11-16 |  | 0.127 | 0.135 | 94.0741 | -5.9259 | 0.00675 | -1.1852 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N137 | PTNP311A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 2830101 | 2018-11-27 |  | 0.298 | 0.295 | 101.0169 | 1.0169 | 0.01475 | 0.20339 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N140 | PTNP317D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 3180067 | 2018-12-14 |  | 0.113 | 0.122 | 92.623 | -7.377 | 0.0061 | -1.4754 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N139 | PTNP345A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 3320102 | 2018-12-18 |  | 0.117 | 0.122 | 95.9016 | -4.0984 | 0.0061 | -0.81967 | 0.01 | 2759 |  |  |  | mg/L as P | N139 | PTNP346A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 3450111 | 2018-12-20 |  | 0.276 | 0.295 | 93.5593 | -6.4407 | 0.01475 | -1.2881 | 0.01 | 2759 |  |  |  | mg/L as P | N140 | PTNP348B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 2960209 | 2019-02-05 |  | 0.293 | 0.295 | 99.322 | -0.67797 | 0.01475 | -0.13559 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N140 | PTNP352A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 0570187 | 2019-03-07 |  | 0.304 | 0.295 | 103.0508 | 3.0508 | 0.01475 | 0.61017 | 0.01 | 2759 |  |  |  | mg/L as P | N140 | PTNP060A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 0720023 | 2019-03-20 |  | 0.115 | 0.122 | 94.2623 | -5.7377 | 0.0061 | -1.1475 | 0.01 | 2759 |  |  |  | mg/L as P | N139 | PTNP074A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 0860004 | 2019-04-02 |  | 0.121 | 0.122 | 99.1803 | -0.81967 | 0.0061 | -0.16393 | 0.01 | 2759 |  |  |  | mg/L as P | N139 | PTNP087A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 0990129 | 2019-04-16 |  | 0.605 | 0.622 | 97.2669 | -2.7331 | 0.033 | -0.51515 | 0.01 | 2759 |  |  |  | mg/L as P | N142 | PTNP101B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 1130099 | 2019-04-30 |  | 0.581 | 0.622 | 93.4084 | -6.5916 | 0.033 | -1.2424 | 0.01 | 2759 |  |  |  | mg/L as P | N142 | PTNP119A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 1340210 | 2019-05-21 |  | 0.175 | 0.171 | 102.3392 | 2.3392 | 0.013 | 0.30769 | 0.01 | 2759 |  |  |  | mg/L as P | N141 | PTNP136A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 1490060 | 2019-06-05 |  | 0.182 | 0.171 | 106.4327 | 6.4327 | 0.013 | 0.84615 | 0.01 | 2759 |  |  |  | mg/L as P | N141 | PTNP151A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 1620132 | 2019-07-12 |  | 0.63 | 0.622 | 101.2862 | 1.2862 | 0.033 | 0.24242 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N142 | PTNP175B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 1760174 | 2019-07-25 |  | 0.611 | 0.622 | 98.2315 | -1.7685 | 0.033 | -0.33333 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N142 | PTNP198B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 1900102 | 2019-07-31 |  | 0.173 | 0.171 | 101.1696 | 1.1696 | 0.013 | 0.15385 | 0.01 | 2759 |  |  |  | mg/L as P | N141 | PTNP210A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 2050049 | 2019-08-20 |  | 0.174 | 0.171 | 101.7544 | 1.7544 | 0.013 | 0.23077 | 0.01 | 2759 |  |  |  | mg/L as P | N141 | PTNP224A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 2250169 | 2019-08-28 |  | 0.61 | 0.622 | 98.0707 | -1.9293 | 0.033 | -0.36364 | 0.01 | 2759 |  |  |  | mg/L as P | N142 | PTNP234C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 2390205 | 2019-09-18 |  | 0.655 | 0.622 | 105.3055 | 5.3055 | 0.033 | 1 | 0.01 | 2759 |  |  |  | mg/L as P | N142 | PTNP255A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 2550077 | 2019-09-24 |  | 0.169 | 0.171 | 98.8304 | -1.1696 | 0.013 | -0.15385 | 0.01 | 2759 |  |  |  | mg/L as P | N141 | PTNP263B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2019 | 2680152 | 2019-10-03 |  | 0.171 | 0.171 | 100 | 0 | 0.013 | 0 | 0.01 | 2759 |  |  |  | mg/L as P | N141 | PTNP270A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 2890225 | 2019-10-25 |  | 0.407 | 0.412 | 98.7864 | -1.2136 | 0.0206 | -0.24272 | 0.01 | 2759 |  |  |  | mg/L as P | N144 | PTNP291A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 3030029 | 2019-11-08 |  | 0.421 | 0.412 | 102.1845 | 2.1845 | 0.0206 | 0.43689 | 0.01 | 2759 |  |  |  | mg/L as P | N144 | PTNP305B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 3170098 | 2019-11-19 |  | 0.184 | 0.184 | 100 | 0 | 0.0092 | 0 | 0.01 | 2759 |  |  |  | mg/L as P | N143 | PTNP318B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 3310061 | 2019-12-12 |  | 0.182 | 0.184 | 98.913 | -1.087 | 0.0092 | -0.21739 | 0.01 | 2759 |  |  |  | mg/L as P | N143 | PTNP344A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 3440296 | 2019-12-31 |  | 0.407 | 0.412 | 98.7864 | -1.2136 | 0.0206 | -0.24272 | 0.01 | 2759 |  |  |  | mg/L as P | N144 | PTNP346B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 3600043 | 2020-01-09 |  | 0.406 | 0.412 | 98.5437 | -1.4563 | 0.0206 | -0.29126 | 0.01 | 2759 |  |  |  | mg/L as P | N144 | PTNP002A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 0150020 | 2020-01-23 |  | 0.184 | 0.184 | 100 | 0 | 0.0092 | 0 | 0.01 | 2759 |  |  |  | mg/L as P | N143 | PTNP016A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 0280071 | 2020-02-07 |  | 0.176 | 0.184 | 95.6522 | -4.3478 | 0.0092 | -0.86957 | 0.01 | 2759 |  |  |  | mg/L as P | N143 | PTNP030A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 0420078 | 2020-02-25 |  | 0.397 | 0.412 | 96.3592 | -3.6408 | 0.0206 | -0.72816 | 0.01 | 2759 |  |  |  | mg/L as P | N144 | PTNP049B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 0560050 | 2020-03-03 |  | 0.413 | 0.412 | 100.2427 | 0.24272 | 0.0206 | 0.048544 | 0.01 | 2759 |  |  |  | mg/L as P | N144 | PTNP059A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 0700106 | 2020-03-16 |  | 0.185 | 0.184 | 100.5435 | 0.54348 | 0.0092 | 0.1087 | 0.01 | 2759 |  |  |  | mg/L as P | N143 | PTNP073A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 0840026 | 2020-04-01 |  | 0.18 | 0.184 | 97.8261 | -2.1739 | 0.0092 | -0.43478 | 0.01 | 2759 |  |  |  | mg/L as P | N143 | PTNP086A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 1060058 | 2020-04-23 |  | 0.346 | 0.339 | 102.0649 | 2.0649 | 0.01695 | 0.41298 | 0.01 | 2759 |  |  |  | mg/L as P | N146 | PTNP111A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 1190083 | 2020-05-01 |  | 0.344 | 0.339 | 101.4749 | 1.4749 | 0.01695 | 0.29499 | 0.01 | 2759 |  |  |  | mg/L as P | N146 | PTNP120A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 1330130 | 2020-05-29 |  | 0.139 | 0.134 | 103.7313 | 3.7313 | 0.008 | 0.625 | 0.01 | 2759 |  |  |  | mg/L as P | N145 | PTNP_20147C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 1500214 | 2020-06-16 |  | 0.131 | 0.134 | 97.7612 | -2.2388 | 0.008 | -0.375 | 0.01 | 2759 |  |  |  | mg/L as P | N145 | PTNP_20163A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 1610196 | 2020-06-19 |  | 0.331 | 0.339 | 97.6401 | -2.3599 | 0.01695 | -0.47198 | 0.01 | 2759 |  |  |  | mg/L as P | N146 | PTNP_20163C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 1750073 | 2020-07-08 |  | 0.349 | 0.339 | 102.9499 | 2.9499 | 0.01695 | 0.58997 | 0.01 | 2759 |  |  |  | mg/L as P | N146 | PTNP_20189A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 1960129 | 2020-07-22 |  | 0.139 | 0.134 | 103.7313 | 3.7313 | 0.008 | 0.625 | 0.01 | 2759 |  |  |  | mg/L as P | N145 | PTNP_20199A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 2120195 | 2020-08-28 |  | 0.14 | 0.134 | 104.4776 | 4.4776 | 0.008 | 0.75 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N145 | PTNP_20239A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 2240095 | 2020-09-02 |  | 0.336 | 0.339 | 99.115 | -0.88496 | 0.01695 | -0.17699 | 0.01 | 2759 |  |  |  | mg/L as P | N146 | PTNP_20240B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 2390030 | 2020-09-16 |  | 0.328 | 0.339 | 96.7552 | -3.2448 | 0.01695 | -0.64897 | 0.01 | 2759 |  |  |  | mg/L as P | N146 | PTNP_20255A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 2590161 | 2020-10-06 |  | 0.131 | 0.134 | 97.7612 | -2.2388 | 0.008 | -0.375 | 0.01 | 2759 |  |  |  | mg/L as P | N145 | PTNP_20275A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 2740060 | 2020-10-23 |  | 0.133 | 0.134 | 99.2537 | -0.74627 | 0.008 | -0.125 | 0.01 | 2759 |  |  |  | mg/L as P | N145 | PTNP_20293B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 2880073 | 2020-11-05 |  | 0.329 | 0.295 | 111.5254 | 11.5254 | 0.01475 | 2.3051 | 0.01 | 2759 |  |  |  | mg/L as P | N148 | PTNP_20303A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 3010156 | 2020-11-13 |  | 0.33 | 0.295 | 111.8644 | 11.8644 | 0.01475 | 2.3729 | 0.01 | 2759 |  |  |  | mg/L as P | N148 | PTNP_20311B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 3150101 | 2020-11-25 |  | 0.207 | 0.198 | 104.5455 | 4.5455 | 0.0099 | 0.90909 | 0.01 | 2759 |  |  |  | mg/L as P | N147 | PTNP_20328A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 3300050 | 2020-12-04 |  | 0.204 | 0.198 | 103.0303 | 3.0303 | 0.0099 | 0.60606 | 0.01 | 2759 |  |  |  | mg/L as P | N147 | PTNP_20335A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 3500076 | 2020-12-31 |  | 0.334 | 0.295 | 113.2203 | 13.2203 | 0.01475 | 2.6441 | 0.01 | 2759 |  |  |  | mg/L as P | N148 | PTNP_20363A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 3640017 | 2021-01-08 |  | 0.31 | 0.295 | 105.0847 | 5.0847 | 0.01475 | 1.0169 | 0.01 | 2759 |  |  |  | mg/L as P | N148 | PTNP_21007A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 0120035 | 2021-01-22 |  | 0.212 | 0.198 | 107.0707 | 7.0707 | 0.0099 | 1.4141 | 0.01 | 2759 |  |  |  | mg/L as P | N147 | PTNP_21021A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 0270076 | 2021-02-03 |  | 0.211 | 0.198 | 106.5657 | 6.5657 | 0.0099 | 1.3131 | 0.01 | 2759 |  |  |  | mg/L as P | N147 | PTNP_21032A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 0330080 | 2021-02-10 |  | 0.306 | 0.295 | 103.7288 | 3.7288 | 0.01475 | 0.74576 | 0.01 | 2759 |  |  |  | mg/L as P | N148 | PTNP_21039B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 0480040 | 2021-03-03 |  | 0.293 | 0.295 | 99.322 | -0.67797 | 0.01475 | -0.13559 | 0.01 | 2759 |  |  |  | mg/L as P | N148 | PTNP_21053A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 0680064 | 2021-03-18 |  | 0.232 | 0.198 | 117.1717 | 17.1717 | 0.0099 | 3.4343 | 0.01 | 2759 |  |  |  | mg/L as P | N147 | PTNP_21075B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 0830030 | 2021-03-30 |  | 0.204 | 0.198 | 103.0303 | 3.0303 | 0.0099 | 0.60606 | 0.01 | 2759 |  |  |  | mg/L as P | N147 | PTNP_21084A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 1030141 | 2021-05-07 |  | 0.4514 | 0.45 | 100.3111 | 0.31111 | 0.0225 | 0.062222 | 0.01 | 2759 |  |  |  | mg/L as P | N150 | PTNP_21125A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 1180040 | 2021-05-17 |  | 0.4571 | 0.45 | 101.5778 | 1.5778 | 0.0225 | 0.31556 | 0.01 | 2759 |  |  |  | mg/L as P | N150 | PTNP_21133A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 1320165 | 2021-06-09 |  | 0.182 | 0.184 | 98.913 | -1.087 | 0.0092 | -0.21739 | 0.01 | 2759 |  |  |  | mg/L as P | N149 | PTNP_21153A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 1460001 | 2021-06-15 |  | 0.182 | 0.184 | 98.913 | -1.087 | 0.0092 | -0.21739 | 0.01 | 2759 |  |  |  | mg/L as P | N149 | PTNP_21165A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 1600031 | 2021-06-24 |  | 0.4537 | 0.45 | 100.8222 | 0.82222 | 0.0225 | 0.16444 | 0.01 | 2759 |  |  |  | mg/L as P | N150 | PTNP_21172D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 1730217 | 2021-07-19 |  | 0.4421 | 0.45 | 98.2444 | -1.7556 | 0.0225 | -0.35111 | 0.01 | 2759 |  |  |  | mg/L as P | N150 | PTNP_21195B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 1940227 | 2021-07-28 |  | 0.1937 | 0.184 | 105.2717 | 5.2717 | 0.0092 | 1.0543 | 0.01 | 2759 |  |  |  | mg/L as P | N149 | PTNP_21208A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 1960206 | 2021-08-09 |  | 2.084 | 1.995 | 104.4612 | 4.4612 | 0.09975 | 0.89223 | 0.01 | 2759 | Sample was diluted | Result determined by alternate method | See result laboratory comment | mg/L as P | NS31 | PTNP_21217A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 2080175 | 2021-08-11 |  | 0.1715 | 0.184 | 93.2065 | -6.7935 | 0.0092 | -1.3587 | 0.01 | 2759 |  |  |  | mg/L as P | N149 | PTNP_21222A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 2220181 | 2021-08-18 |  | 0.4588 | 0.45 | 101.9556 | 1.9556 | 0.0225 | 0.39111 | 0.01 | 2759 |  |  |  | mg/L as P | N150 | PTNP_21229A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 2360116 | 2021-08-30 |  | 0.4399 | 0.45 | 97.7556 | -2.2444 | 0.0225 | -0.44889 | 0.01 | 2759 |  |  |  | mg/L as P | N150 | PTNP_21238A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 2580267 | 2021-09-23 |  | 0.1894 | 0.184 | 102.9348 | 2.9348 | 0.0092 | 0.58696 | 0.01 | 2759 |  |  |  | mg/L as P | N149 | PTNP_21264A