## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2016 | 2660144 | 2016-10-04 |  | 0.2566 | 0.214 | 119.9065 | 19.9065 | 0.0107 | 3.9813 | 0.008 | 2333 | Sample was diluted |  |  | mg/L | N129 | PELW277A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2016 | 2710069 | 2016-10-04 |  | 0.0647 | 0.0573 | 112.9145 | 12.9145 | 0.0061074 | 1.2116 | 0.004 | 2333 |  |  |  | mg/L as P | N130X | PELW277A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2016 | 2730034 | 2016-10-11 |  | 0.2307 | 0.214 | 107.8037 | 7.8037 | 0.0107 | 1.5607 | 0.004 | 2333 | Sample was diluted |  |  | mg/L as P | N129 | PELW281A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2780111 | 2016-10-11 |  | 0.0733 | 0.066 | 111.0606 | 11.0606 | 0.008 | 0.9125 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW281B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2800076 | 2016-10-12 |  | 0.0339 | 0.0293 | 115.6997 | 15.6997 | 0.0052389 | 0.87805 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW285A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2860087 | 2016-10-20 |  | 0.071 | 0.066 | 107.5758 | 7.5758 | 0.008 | 0.625 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW291A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2870117 | 2016-10-20 |  | 0.0332 | 0.0293 | 113.3106 | 13.3106 | 0.0052389 | 0.74443 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW293A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2940108 | 2016-10-26 |  | 0.0319 | 0.0293 | 108.8737 | 8.8737 | 0.0052389 | 0.49629 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW299A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2940164 | 2016-10-27 |  | 0.0679 | 0.066 | 102.8788 | 2.8788 | 0.008 | 0.2375 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW300A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3000021 | 2016-11-03 |  | 0.0689 | 0.066 | 104.3939 | 4.3939 | 0.008 | 0.3625 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW300B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3020134 | 2016-11-07 |  | 0.0335 | 0.0293 | 114.3345 | 14.3345 | 0.0052389 | 0.8017 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW312A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3130043 | 2016-11-14 |  | 0.0319 | 0.0293 | 108.8737 | 8.8737 | 0.0052389 | 0.49629 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW315A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3150104 | 2016-11-17 |  | 0.076 | 0.066 | 115.1515 | 15.1515 | 0.008 | 1.25 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW321B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3220015 | 2016-11-22 |  | 0.0718 | 0.066 | 108.7879 | 8.7879 | 0.008 | 0.725 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW326A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3200137 | 2016-11-22 |  | 0.0318 | 0.0293 | 108.5324 | 8.5324 | 0.0052389 | 0.4772 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW326A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3350001 | 2016-12-05 |  | 0.0698 | 0.066 | 105.7576 | 5.7576 | 0.008 | 0.475 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW340A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3270125 | 2016-12-05 |  | 0.0326 | 0.0293 | 111.2628 | 11.2628 | 0.0052389 | 0.6299 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW340A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3370165 | 2016-12-08 |  | 0.0732 | 0.066 | 110.9091 | 10.9091 | 0.008 | 0.9 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW342A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3410123 | 2016-12-13 |  | 0.0715 | 0.066 | 108.3333 | 8.3333 | 0.008 | 0.6875 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW347A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3370116 | 2016-12-13 |  | 0.0342 | 0.0293 | 116.7235 | 16.7235 | 0.0052389 | 0.93531 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW340C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3430081 | 2016-12-21 |  | 0.032 | 0.0293 | 109.215 | 9.215 | 0.0052389 | 0.51538 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW350B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3500009 | 2016-12-22 |  | 0.0299 | 0.0293 | 102.0478 | 2.0478 | 0.0052389 | 0.11453 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW355B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3550003 | 2017-01-04 |  | 0.0696 | 0.066 | 105.4545 | 5.4545 | 0.008 | 0.45 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW003A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3630009 | 2017-01-04 |  | 0.0703 | 0.066 | 106.5152 | 6.5152 | 0.008 | 0.5375 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW003B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 3570111 | 2017-01-04 |  | 0.031 | 0.0293 | 105.802 | 5.802 | 0.0052389 | 0.3245 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW003B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0050006 | 2017-01-10 |  | 0.0664 | 0.066 | 100.6061 | 0.60606 | 0.008 | 0.05 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW009B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0040032 | 2017-01-12 |  | 0.0385 | 0.0293 | 131.3993 | 31.3993 | 0.0052389 | 1.7561 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW009A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0120069 | 2017-01-18 |  | 0.0673 | 0.066 | 101.9697 | 1.9697 | 0.008 | 0.1625 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW017B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0190004 | 2017-01-26 |  | 0.0304 | 0.0293 | 103.7543 | 3.7543 | 0.0052389 | 0.20997 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW024A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0230003 | 2017-01-31 |  | 0.0731 | 0.066 | 110.7576 | 10.7576 | 0.008 | 0.8875 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW030A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0240084 | 2017-01-31 |  | 0.0315 | 0.0293 | 107.5085 | 7.5085 | 0.0052389 | 0.41994 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW030A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0330057 | 2017-02-09 |  | 0.0695 | 0.066 | 105.303 | 5.303 | 0.008 | 0.4375 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW039A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0340051 | 2017-02-14 |  | 0.0322 | 0.0293 | 109.8976 | 9.8976 | 0.0052389 | 0.55355 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW044A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0390043 | 2017-02-14 |  | 0.0306 | 0.0293 | 104.4369 | 4.4369 | 0.0052389 | 0.24814 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW044A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0450116 | 2017-02-22 |  | 0.0703 | 0.066 | 106.5152 | 6.5152 | 0.008 | 0.5375 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW052C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0470015 | 2017-02-22 |  | 0.0315 | 0.0293 | 107.5085 | 7.5085 | 0.0052389 | 0.41994 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW053A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0540064 | 2017-02-28 |  | 0.0729 | 0.066 | 110.4545 | 10.4545 | 0.008 | 0.8625 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW054C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0680096 | 2017-03-14 |  | 0.0729 | 0.066 | 110.4545 | 10.4545 | 0.008 | 0.8625 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW072B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0660086 | 2017-03-14 |  | 0.031 | 0.0293 | 105.802 | 5.802 | 0.0052389 | 0.3245 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW072A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0730072 | 2017-03-21 |  | 0.0298 | 0.0293 | 101.7065 | 1.7065 | 0.0052389 | 0.09544 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW074A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0760020 | 2017-03-28 |  | 0.0731 | 0.066 | 110.7576 | 10.7576 | 0.008 | 0.8875 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW081B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0800019 | 2017-03-29 |  | 0.0312 | 0.0293 | 106.4846 | 6.4846 | 0.0052389 | 0.36267 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW086A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0830038 | 2017-04-04 |  | 0.0714 | 0.066 | 108.1818 | 8.1818 | 0.008 | 0.675 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW089B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0890149 | 2017-04-04 |  | 0.0691 | 0.066 | 104.697 | 4.697 | 0.008 | 0.3875 | 0.004 | 2333 |  |  |  | mg/L as P | N131 | PELW089D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0870126 | 2017-04-04 |  | 0.0315 | 0.0293 | 107.5085 | 7.5085 | 0.0052389 | 0.41994 | 0.004 | 2333 |  |  |  | mg/L as P | N132X | PELW089C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0940131 | 2017-04-11 |  | 0.1212 | 0.11 | 110.1818 | 10.1818 | 0.0055 | 2.0364 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW096B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 0960201 | 2017-04-13 |  | 0.0294 | 0.0274 | 107.2993 | 7.2993 | 0.0051799 | 0.3861 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW101A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1020074 | 2017-04-20 |  | 0.1178 | 0.11 | 107.0909 | 7.0909 | 0.0055 | 1.4182 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW109A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1030299 | 2017-04-25 |  | 0.0311 | 0.0274 | 113.5036 | 13.5036 | 0.0051799 | 0.71429 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW114A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1080098 | 2017-05-01 |  | 0.1137 | 0.11 | 103.3636 | 3.3636 | 0.0055 | 0.67273 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW114C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1100181 | 2017-05-02 |  | 0.0301 | 0.0274 | 109.854 | 9.854 | 0.0051799 | 0.52124 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW121A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1150161 | 2017-05-03 |  | 0.1149 | 0.11 | 104.4545 | 4.4545 | 0.0055 | 0.89091 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW121D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1170218 | 2017-05-05 |  | 0.0287 | 0.0274 | 104.7445 | 4.7445 | 0.0051799 | 0.25097 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW124A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1220115 | 2017-05-05 |  | 0.0297 | 0.0274 | 108.3942 | 8.3942 | 0.0051799 | 0.44402 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW124B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1290174 | 2017-05-11 |  | 0.0296 | 0.0274 | 108.0292 | 8.0292 | 0.0051799 | 0.42471 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW131A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1240257 | 2017-05-16 |  | 0.1184 | 0.11 | 107.6364 | 7.6364 | 0.0055 | 1.5273 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW128B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1310183 | 2017-05-18 |  | 0.113 | 0.11 | 102.7273 | 2.7273 | 0.0055 | 0.54545 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW137B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1380219 | 2017-05-24 |  | 0.1318 | 0.11 | 119.8182 | 19.8182 | 0.0055 | 3.9636 | 0.004 | 2333 | Sample was diluted |  |  | mg/L as P | N133 | PELW144A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1370165 | 2017-06-05 |  | 0.0314 | 0.0274 | 114.5985 | 14.5985 | 0.0051799 | 0.77221 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW138C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1430170 | 2017-06-05 |  | 0.0307 | 0.0274 | 112.0438 | 12.0438 | 0.0051799 | 0.63707 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW152A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1450236 | 2017-06-09 |  | 0.1196 | 0.11 | 108.7273 | 8.7273 | 0.0055 | 1.7455 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW157C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1570089 | 2017-06-14 |  | 0.1147 | 0.11 | 104.2727 | 4.2727 | 0.0055 | 0.85455 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW163C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1590285 | 2017-06-16 |  | 0.0315 | 0.0274 | 114.9635 | 14.9635 | 0.0051799 | 0.79151 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW163E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1640179 | 2017-06-19 |  | 0.1137 | 0.11 | 103.3636 | 3.3636 | 0.0055 | 0.67273 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW167A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1660142 | 2017-06-19 |  | 0.0314 | 0.0274 | 114.5985 | 14.5985 | 0.0051799 | 0.77221 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW167B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1710239 | 2017-06-23 |  | 0.1151 | 0.11 | 104.6364 | 4.6364 | 0.0055 | 0.92727 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW173B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1730302 | 2017-07-07 |  | 0.0278 | 0.0274 | 101.4599 | 1.4599 | 0.0051799 | 0.077221 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW184A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1780223 | 2017-07-12 |  | 0.1121 | 0.11 | 101.9091 | 1.9091 | 0.0055 | 0.38182 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW184D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1880105 | 2017-07-18 |  | 0.1124 | 0.11 | 102.1818 | 2.1818 | 0.0055 | 0.43636 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW198D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1810230 | 2017-07-18 |  | 0.0296 | 0.0274 | 108.0292 | 8.0292 | 0.0051799 | 0.42471 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW198A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1870003 | 2017-07-18 |  | 0.0288 | 0.0274 | 105.1095 | 5.1095 | 0.0051799 | 0.27027 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW198C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1920145 | 2017-07-19 |  | 0.0298 | 0.0274 | 108.7591 | 8.7591 | 0.0051799 | 0.46333 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW198F
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1940218 | 2017-07-27 |  | 0.1142 | 0.11 | 103.8182 | 3.8182 | 0.0055 | 0.76364 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW199C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 1990220 | 2017-08-02 |  | 0.0295 | 0.0274 | 107.6642 | 7.6642 | 0.0051799 | 0.40541 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW213A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2010174 | 2017-08-03 |  | 0.1131 | 0.11 | 102.8182 | 2.8182 | 0.0055 | 0.56364 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW214B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2060197 | 2017-08-03 |  | 0.0292 | 0.0274 | 106.5693 | 6.5693 | 0.0051799 | 0.34749 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW214C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2080083 | 2017-08-08 |  | 0.1102 | 0.11 | 100.1818 | 0.18182 | 0.0055 | 0.036364 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW219B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2220205 | 2017-08-21 |  | 0.0284 | 0.0274 | 103.6496 | 3.6496 | 0.0051799 | 0.19305 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW228A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2200293 | 2017-08-24 |  | 0.1156 | 0.11 | 105.0909 | 5.0909 | 0.0055 | 1.0182 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW233A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2270194 | 2017-08-24 |  | 0.1173 | 0.11 | 106.6364 | 6.6364 | 0.0055 | 1.3273 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW233A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2290110 | 2017-08-24 |  | 0.0278 | 0.0274 | 101.4599 | 1.4599 | 0.0051799 | 0.077221 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW233C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2340156 | 2017-08-30 |  | 0.1205 | 0.11 | 109.5455 | 9.5455 | 0.0055 | 1.9091 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW240A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2360196 | 2017-08-31 |  | 0.0293 | 0.0274 | 106.9343 | 6.9343 | 0.0051799 | 0.3668 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW242A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2410212 | 2017-09-05 |  | 0.1151 | 0.11 | 104.6364 | 4.6364 | 0.0055 | 0.92727 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW244B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2430126 | 2017-09-08 |  | 0.0287 | 0.0274 | 104.7445 | 4.7445 | 0.0051799 | 0.25097 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW248A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2500009 | 2017-09-14 |  | 0.0282 | 0.0274 | 102.9197 | 2.9197 | 0.0051799 | 0.15444 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW250B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2580022 | 2017-09-22 |  | 0.1135 | 0.11 | 103.1818 | 3.1818 | 0.0055 | 0.63636 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW261A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2560127 | 2017-09-22 |  | 0.0275 | 0.0274 | 100.365 | 0.36496 | 0.0051799 | 0.019305 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW257C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2500193 | 2017-09-25 |  | 0.1152 | 0.11 | 104.7273 | 4.7273 | 0.0055 | 0.94545 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW250C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2620204 | 2017-09-27 |  | 0.0274 | 0.0274 | 100 | 0 | 0.0051799 | 0 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW265A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2640164 | 2017-10-03 |  | 0.1133 | 0.11 | 103 | 3 | 0.0055 | 0.6 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW269B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2710008 | 2017-10-04 |  | 0.1137 | 0.11 | 103.3636 | 3.3636 | 0.0055 | 0.67273 | 0.004 | 2333 |  |  |  | mg/L as P | N133 | PELW275B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2017 | 2690194 | 2017-10-04 |  | 0.0277 | 0.0274 | 101.0949 | 1.0949 | 0.0051799 | 0.057916 | 0.004 | 2333 |  |  |  | mg/L as P | N134X | PELW275B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2760116 | 2017-10-12 |  | 0.1746 | 0.163 | 107.1166 | 7.1166 | 0.00815 | 1.4233 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW284B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2780106 | 2017-10-12 |  | 0.0388 | 0.0388 | 100 | 0 | 0.0055336 | 0 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW284C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2860036 | 2017-10-18 |  | 0.1717 | 0.163 | 105.3374 | 5.3374 | 0.00815 | 1.0675 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW289B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2860179 | 2017-10-19 |  | 0.0396 | 0.0388 | 102.0619 | 2.0619 | 0.0055336 | 0.14457 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW291A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2910005 | 2017-10-25 |  | 0.1765 | 0.163 | 108.2822 | 8.2822 | 0.00815 | 1.6564 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW297B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2920180 | 2017-10-31 |  | 0.0385 | 0.0388 | 99.2268 | -0.7732 | 0.0055336 | -0.054214 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW297C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3110100 | 2017-11-14 |  | 0.0412 | 0.0388 | 106.1856 | 6.1856 | 0.0055336 | 0.43372 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW317B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3130277 | 2017-11-16 |  | 0.1731 | 0.163 | 106.1963 | 6.1963 | 0.00815 | 1.2393 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW319A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3200124 | 2017-11-21 |  | 0.1789 | 0.163 | 109.7546 | 9.7546 | 0.00815 | 1.9509 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW324C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3180169 | 2017-11-21 |  | 0.0419 | 0.0388 | 107.9897 | 7.9897 | 0.0055336 | 0.56022 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW324B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3250156 | 2017-11-29 |  | 0.0389 | 0.0388 | 100.2577 | 0.25773 | 0.0055336 | 0.018071 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW332B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3280005 | 2017-12-07 |  | 0.1761 | 0.163 | 108.0368 | 8.0368 | 0.00815 | 1.6074 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW340B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3390053 | 2017-12-13 |  | 0.171 | 0.163 | 104.908 | 4.908 | 0.00815 | 0.9816 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW346A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3410136 | 2017-12-19 |  | 0.0395 | 0.0388 | 101.8041 | 1.8041 | 0.0055336 | 0.1265 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW352A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3540005 | 2017-12-28 |  | 0.1683 | 0.163 | 103.2515 | 3.2515 | 0.00815 | 0.65031 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW361A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 3560006 | 2018-01-02 |  | 0.0393 | 0.0388 | 101.2887 | 1.2887 | 0.0055336 | 0.090357 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW002A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0100017 | 2018-01-17 |  | 0.0392 | 0.0388 | 101.0309 | 1.0309 | 0.0055336 | 0.072286 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW016A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0120125 | 2018-01-23 |  | 0.1747 | 0.163 | 107.1779 | 7.1779 | 0.00815 | 1.4356 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW023A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0290003 | 2018-02-05 |  | 0.1699 | 0.163 | 104.2331 | 4.2331 | 0.00815 | 0.84663 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW031A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0240045 | 2018-02-13 |  | 0.0394 | 0.0388 | 101.5464 | 1.5464 | 0.0055336 | 0.10843 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW029A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0370092 | 2018-02-15 |  | 0.1736 | 0.163 | 106.5031 | 6.5031 | 0.00815 | 1.3006 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW045A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0390101 | 2018-02-27 |  | 0.0395 | 0.0388 | 101.8041 | 1.8041 | 0.0055336 | 0.1265 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW057A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0520067 | 2018-02-28 |  | 0.1687 | 0.163 | 103.4969 | 3.4969 | 0.00815 | 0.69939 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW058A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0570005 | 2018-03-06 |  | 0.0392 | 0.0388 | 101.0309 | 1.0309 | 0.0055336 | 0.072286 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW064B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0650048 | 2018-03-21 |  | 0.0411 | 0.0388 | 105.9278 | 5.9278 | 0.0055336 | 0.41564 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW078B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0670086 | 2018-03-28 |  | 0.1731 | 0.163 | 106.1963 | 6.1963 | 0.00815 | 1.2393 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW080B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0740076 | 2018-03-29 |  | 0.1753 | 0.163 | 107.546 | 7.546 | 0.00815 | 1.5092 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW087A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0730074 | 2018-03-29 |  | 0.0389 | 0.0388 | 100.2577 | 0.25773 | 0.0055336 | 0.018071 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW087A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0790090 | 2018-04-04 |  | 0.0412 | 0.0388 | 106.1856 | 6.1856 | 0.0055336 | 0.43372 | 0.004 | 2333 |  |  |  | mg/L as P | N136X | PELW089B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0820004 | 2018-04-10 |  | 0.1729 | 0.163 | 106.0736 | 6.0736 | 0.00815 | 1.2147 | 0.004 | 2333 |  |  |  | mg/L as P | N135 | PELW092A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0930130 | 2018-04-12 |  | 0.1373 | 0.135 | 101.7037 | 1.7037 | 0.00675 | 0.34074 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW101B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 0950146 | 2018-04-13 |  | 0.0644 | 0.062 | 103.871 | 3.871 | 0.0062532 | 0.3838 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW101D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1020128 | 2018-04-23 |  | 0.1446 | 0.135 | 107.1111 | 7.1111 | 0.00675 | 1.4222 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW113A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1030054 | 2018-04-24 |  | 0.0682 | 0.062 | 110 | 10 | 0.0062532 | 0.99149 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW113B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1080115 | 2018-04-26 |  | 0.1412 | 0.135 | 104.5926 | 4.5926 | 0.00675 | 0.91852 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW113E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1130032 | 2018-05-02 |  | 0.0649 | 0.062 | 104.6774 | 4.6774 | 0.0062532 | 0.46376 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW115C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1280145 | 2018-05-16 |  | 0.0658 | 0.062 | 106.129 | 6.129 | 0.0062532 | 0.60768 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW134C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1310211 | 2018-05-24 |  | 0.1324 | 0.135 | 98.0741 | -1.9259 | 0.00675 | -0.38519 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW141D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1350133 | 2018-05-30 |  | 0.0665 | 0.062 | 107.2581 | 7.2581 | 0.0062532 | 0.71963 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW141E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1380025 | 2018-05-31 |  | 0.1363 | 0.135 | 100.963 | 0.96296 | 0.00675 | 0.19259 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW149B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1420222 | 2018-06-05 |  | 0.0641 | 0.062 | 103.3871 | 3.3871 | 0.0062532 | 0.33583 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW149E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1450163 | 2018-06-13 |  | 0.1399 | 0.135 | 103.6296 | 3.6296 | 0.00675 | 0.72593 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW162C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1560171 | 2018-06-18 |  | 0.1334 | 0.135 | 98.8148 | -1.1852 | 0.00675 | -0.23704 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW163C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1580218 | 2018-06-18 |  | 0.0645 | 0.062 | 104.0323 | 4.0323 | 0.0062532 | 0.39979 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW166B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1640024 | 2018-06-25 |  | 0.1374 | 0.135 | 101.7778 | 1.7778 | 0.00675 | 0.35556 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW176A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1650202 | 2018-06-27 |  | 0.0626 | 0.062 | 100.9677 | 0.96774 | 0.0062532 | 0.09595 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW176B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1700196 | 2018-06-28 |  | 0.135 | 0.135 | 100 | 0 | 0.00675 | 0 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW178A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1720174 | 2018-07-10 |  | 0.0627 | 0.062 | 101.129 | 1.129 | 0.0062532 | 0.11194 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW183C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1860029 | 2018-07-12 |  | 0.1356 | 0.135 | 100.4444 | 0.44444 | 0.00675 | 0.088889 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW192A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1840102 | 2018-07-12 |  | 0.0639 | 0.062 | 103.0645 | 3.0645 | 0.0062532 | 0.30384 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW192A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1910181 | 2018-07-27 |  | 0.0613 | 0.062 | 98.871 | -1.129 | 0.0062532 | -0.11194 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW197D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1930158 | 2018-07-30 |  | 0.1327 | 0.135 | 98.2963 | -1.7037 | 0.00675 | -0.34074 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW204C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 1990132 | 2018-08-01 |  | 0.0618 | 0.062 | 99.6774 | -0.32258 | 0.0062532 | -0.031983 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW211B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2000204 | 2018-08-02 |  | 0.1314 | 0.135 | 97.3333 | -2.6667 | 0.00675 | -0.53333 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW211C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2200025 | 2018-08-16 |  | 0.1303 | 0.135 | 96.5185 | -3.4815 | 0.00675 | -0.6963 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW227A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2210331 | 2018-08-17 |  | 0.0618 | 0.062 | 99.6774 | -0.32258 | 0.0062532 | -0.031983 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW228B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2260153 | 2018-08-22 |  | 0.1346 | 0.135 | 99.7037 | -0.2963 | 0.00675 | -0.059259 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW232C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2280201 | 2018-08-29 |  | 0.0629 | 0.062 | 101.4516 | 1.4516 | 0.0062532 | 0.14393 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW235A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2330196 | 2018-08-30 |  | 0.1311 | 0.135 | 97.1111 | -2.8889 | 0.00675 | -0.57778 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW240B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2350268 | 2018-09-11 |  | 0.0617 | 0.062 | 99.5161 | -0.48387 | 0.0062532 | -0.047975 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW247B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2490218 | 2018-09-18 |  | 0.1319 | 0.135 | 97.7037 | -2.2963 | 0.00675 | -0.45926 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW260A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2490023 | 2018-09-19 |  | 0.063 | 0.062 | 101.6129 | 1.6129 | 0.0062532 | 0.15992 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW253C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2550003 | 2018-09-19 |  | 0.0636 | 0.062 | 102.5806 | 2.5806 | 0.0062532 | 0.25587 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW260D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2560304 | 2018-09-26 |  | 0.1315 | 0.135 | 97.4074 | -2.5926 | 0.00675 | -0.51852 | 0.004 | 2333 |  |  |  | mg/L as P | N137 | PELW261A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2610143 | 2018-09-27 |  | 0.0642 | 0.062 | 103.5484 | 3.5484 | 0.0062532 | 0.35182 | 0.004 | 2333 |  |  |  | mg/L as P | N138X | PELW269A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2760033 | 2018-10-18 |  | 0.1379 | 0.122 | 113.0328 | 13.0328 | 0.0061 | 2.6066 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW290A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2770143 | 2018-10-18 |  | 0.0322 | 0.0295 | 109.1525 | 9.1525 | 0.002 | 1.35 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW290B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2630223 | 2018-10-24 |  | 0.1285 | 0.135 | 95.1852 | -4.8148 | 0.00675 | -0.96296 | 0.004 | 2333 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L as P | N137 | PELW295A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2830103 | 2018-10-24 |  | 0.132 | 0.122 | 108.1967 | 8.1967 | 0.0061 | 1.6393 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW295B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2840113 | 2018-10-24 |  | 0.0297 | 0.0295 | 100.678 | 0.67797 | 0.002 | 0.1 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW295B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2890059 | 2018-10-25 |  | 0.1348 | 0.122 | 110.4918 | 10.4918 | 0.0061 | 2.0984 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW297B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2910157 | 2018-10-30 |  | 0.0296 | 0.0295 | 100.339 | 0.33898 | 0.002 | 0.05 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW302B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3100175 | 2018-11-27 |  | 0.03 | 0.0295 | 101.6949 | 1.6949 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW323C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3120138 | 2018-11-29 |  | 0.1323 | 0.122 | 108.4426 | 8.4426 | 0.0061 | 1.6885 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW330A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3250021 | 2018-12-12 |  | 0.1311 | 0.122 | 107.459 | 7.459 | 0.0061 | 1.4918 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW345A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3180069 | 2018-12-12 |  | 0.0295 | 0.0295 | 100 | 0 | 0.002 | 0 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW333A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3310052 | 2018-12-18 |  | 0.1299 | 0.122 | 106.4754 | 6.4754 | 0.0061 | 1.2951 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW351A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3270029 | 2018-12-18 |  | 0.0297 | 0.0295 | 100.678 | 0.67797 | 0.002 | 0.1 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW351A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3400028 | 2019-01-31 |  | 0.1313 | 0.122 | 107.623 | 7.623 | 0.0061 | 1.5246 | 0.004 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N139 | PELW351E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3410002 | 2019-01-31 |  | 0.029 | 0.0295 | 98.3051 | -1.6949 | 0.002 | -0.25 | 0.004 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N140X | PELW351E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3530020 | 2019-02-08 |  | 0.1283 | 0.122 | 105.1639 | 5.1639 | 0.0061 | 1.0328 | 0.004 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N139 | PELW030C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3540065 | 2019-02-20 |  | 0.0297 | 0.0295 | 100.678 | 0.67797 | 0.002 | 0.1 | 0.004 | 2333 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L as P | N140X | PELW050A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0520009 | 2019-03-12 |  | 0.1285 | 0.122 | 105.3279 | 5.3279 | 0.0061 | 1.0656 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW058A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0520136 | 2019-03-12 |  | 0.0299 | 0.0295 | 101.3559 | 1.3559 | 0.002 | 0.2 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW065A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0660076 | 2019-03-20 |  | 0.1308 | 0.122 | 107.2131 | 7.2131 | 0.0061 | 1.4426 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW072A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0640095 | 2019-03-20 |  | 0.0317 | 0.0295 | 107.4576 | 7.4576 | 0.002 | 1.1 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW077C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0730068 | 2019-03-26 |  | 0.13 | 0.122 | 106.5574 | 6.5574 | 0.0061 | 1.3115 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW078B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0720021 | 2019-03-26 |  | 0.0316 | 0.0295 | 107.1186 | 7.1186 | 0.002 | 1.05 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW078B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0780098 | 2019-03-28 |  | 0.03 | 0.0295 | 101.6949 | 1.6949 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW085A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0800129 | 2019-04-03 |  | 0.129 | 0.122 | 105.7377 | 5.7377 | 0.0061 | 1.1475 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW092A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0920067 | 2019-04-16 |  | 0.1797 | 0.171 | 105.0877 | 5.0877 | 0.013 | 0.66923 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW100B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0940210 | 2019-04-17 |  | 0.0637 | 0.0622 | 102.4116 | 2.4116 | 0.00311 | 0.48232 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW100C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0990131 | 2019-04-18 |  | 0.1774 | 0.171 | 103.7427 | 3.7427 | 0.013 | 0.49231 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW105B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1060104 | 2019-04-26 |  | 0.1803 | 0.171 | 105.4386 | 5.4386 | 0.013 | 0.71538 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW112B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1010107 | 2019-04-30 |  | 0.0638 | 0.0622 | 102.5723 | 2.5723 | 0.00311 | 0.51447 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW108B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1080308 | 2019-05-02 |  | 0.0638 | 0.0622 | 102.5723 | 2.5723 | 0.00311 | 0.51447 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW119B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1280119 | 2019-05-10 |  | 0.0626 | 0.0622 | 100.6431 | 0.64309 | 0.00311 | 0.12862 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW129B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1290100 | 2019-05-16 |  | 0.1789 | 0.171 | 104.6199 | 4.6199 | 0.013 | 0.60769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW129D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1340208 | 2019-05-23 |  | 0.0613 | 0.0622 | 98.5531 | -1.4469 | 0.00311 | -0.28939 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW136A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1360141 | 2019-05-29 |  | 0.175 | 0.171 | 102.3392 | 2.3392 | 0.013 | 0.30769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW148B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1410228 | 2019-05-30 |  | 0.063 | 0.0622 | 101.2862 | 1.2862 | 0.00311 | 0.25723 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW148C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1430270 | 2019-06-04 |  | 0.1794 | 0.171 | 104.9123 | 4.9123 | 0.013 | 0.64615 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW154A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1550164 | 2019-06-11 |  | 0.1754 | 0.171 | 102.5731 | 2.5731 | 0.013 | 0.33846 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW161B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1570212 | 2019-06-13 |  | 0.0611 | 0.0622 | 98.2315 | -1.7685 | 0.00311 | -0.3537 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW163A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1620133 | 2019-06-21 |  | 0.1763 | 0.171 | 103.0994 | 3.0994 | 0.013 | 0.40769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW168B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1640204 | 2019-06-21 |  | 0.0637 | 0.0622 | 102.4116 | 2.4116 | 0.00311 | 0.48232 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW169A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1690139 | 2019-06-26 |  | 0.1736 | 0.171 | 101.5205 | 1.5205 | 0.013 | 0.2 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW171A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1710259 | 2019-06-27 |  | 0.0704 | 0.0622 | 113.1833 | 13.1833 | 0.00311 | 2.6367 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW177A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1840118 | 2019-07-12 |  | 0.1756 | 0.171 | 102.6901 | 2.6901 | 0.013 | 0.35385 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW192A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1830102 | 2019-07-18 |  | 0.0637 | 0.0622 | 102.4116 | 2.4116 | 0.00311 | 0.48232 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW191C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1900103 | 2019-07-18 |  | 0.0638 | 0.0622 | 102.5723 | 2.5723 | 0.00311 | 0.51447 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW196D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1930196 | 2019-07-25 |  | 0.1763 | 0.171 | 103.0994 | 3.0994 | 0.013 | 0.40769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW199B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2000020 | 2019-07-30 |  | 0.0607 | 0.0622 | 97.5884 | -2.4116 | 0.00311 | -0.48232 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW206C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2030081 | 2019-07-31 |  | 0.1723 | 0.171 | 100.7602 | 0.76023 | 0.013 | 0.1 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW210B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2180153 | 2019-08-15 |  | 0.1763 | 0.171 | 103.0994 | 3.0994 | 0.013 | 0.40769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW226A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2200201 | 2019-08-22 |  | 0.0671 | 0.0622 | 107.8778 | 7.8778 | 0.00311 | 1.5756 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW231C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2320183 | 2019-08-27 |  | 0.1795 | 0.171 | 104.9708 | 4.9708 | 0.013 | 0.65385 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW238C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2270235 | 2019-08-27 |  | 0.0674 | 0.0622 | 108.3601 | 8.3601 | 0.00311 | 1.672 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW238A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2250167 | 2019-08-28 |  | 0.1814 | 0.171 | 106.0819 | 6.0819 | 0.013 | 0.8 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW238E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2340258 | 2019-08-29 |  | 0.0641 | 0.0622 | 103.0547 | 3.0547 | 0.00311 | 0.61093 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW238G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2470183 | 2019-09-11 |  | 0.0628 | 0.0622 | 100.9646 | 0.96463 | 0.00311 | 0.19293 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW252D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2480209 | 2019-09-12 |  | 0.1804 | 0.171 | 105.4971 | 5.4971 | 0.013 | 0.72308 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW254A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2550079 | 2019-09-17 |  | 0.0658 | 0.0622 | 105.7878 | 5.7878 | 0.00311 | 1.1576 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW259C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2560160 | 2019-09-19 |  | 0.176 | 0.171 | 102.924 | 2.924 | 0.013 | 0.38462 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW261D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2600330 | 2019-09-24 |  | 0.0613 | 0.0622 | 98.5531 | -1.4469 | 0.00311 | -0.28939 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW266B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2620332 | 2019-09-26 |  | 0.18 | 0.171 | 105.2632 | 5.2632 | 0.013 | 0.69231 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW268A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2810116 | 2019-10-16 |  | 0.1927 | 0.184 | 104.7283 | 4.7283 | 0.0092 | 0.94565 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW288A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2830132 | 2019-10-17 |  | 0.0416 | 0.0412 | 100.9709 | 0.97087 | 0.00206 | 0.19417 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW290A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2890224 | 2019-10-22 |  | 0.1944 | 0.184 | 105.6522 | 5.6522 | 0.0092 | 1.1304 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW294A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2950099 | 2019-10-31 |  | 0.1953 | 0.184 | 106.1413 | 6.1413 | 0.0092 | 1.2283 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW296A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2910181 | 2019-10-31 |  | 0.0447 | 0.0412 | 108.4951 | 8.4951 | 0.00206 | 1.699 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW296A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2970177 | 2019-11-07 |  | 0.0418 | 0.0412 | 101.4563 | 1.4563 | 0.00206 | 0.29126 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW303A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3090143 | 2019-11-15 |  | 0.0429 | 0.0412 | 104.1262 | 4.1262 | 0.00206 | 0.82524 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW316C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3110126 | 2019-11-19 |  | 0.1862 | 0.184 | 101.1957 | 1.1957 | 0.0092 | 0.23913 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW316F
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3180075 | 2019-11-22 |  | 0.1909 | 0.184 | 103.75 | 3.75 | 0.0092 | 0.75 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW322A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3170100 | 2019-11-22 |  | 0.0419 | 0.0412 | 101.699 | 1.699 | 0.00206 | 0.33981 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW322A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3230097 | 2019-12-05 |  | 0.0436 | 0.0412 | 105.8252 | 5.8252 | 0.00206 | 1.165 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW336A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3250087 | 2019-12-06 |  | 0.1932 | 0.184 | 105 | 5 | 0.0092 | 1 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW337A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3370099 | 2019-12-17 |  | 0.1874 | 0.184 | 101.8478 | 1.8478 | 0.0092 | 0.36957 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW344B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3390132 | 2019-12-17 |  | 0.0428 | 0.0412 | 103.8835 | 3.8835 | 0.00206 | 0.7767 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW350A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3510020 | 2020-01-03 |  | 0.1838 | 0.184 | 99.8913 | -0.1087 | 0.0092 | -0.021739 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW360C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3530003 | 2020-01-03 |  | 0.0415 | 0.0412 | 100.7282 | 0.72816 | 0.00206 | 0.14563 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW360D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0090080 | 2020-01-23 |  | 0.186 | 0.184 | 101.087 | 1.087 | 0.0092 | 0.21739 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW016A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0070045 | 2020-01-24 |  | 0.0417 | 0.0412 | 101.2136 | 1.2136 | 0.00206 | 0.24272 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW023A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0230067 | 2020-01-31 |  | 0.191 | 0.184 | 103.8043 | 3.8043 | 0.0092 | 0.76087 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW030A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0220112 | 2020-01-31 |  | 0.0418 | 0.0412 | 101.4563 | 1.4563 | 0.00206 | 0.29126 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW027D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0350139 | 2020-02-12 |  | 0.1873 | 0.184 | 101.7935 | 1.7935 | 0.0092 | 0.3587 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW037B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0370097 | 2020-02-12 |  | 0.0415 | 0.0412 | 100.7282 | 0.72816 | 0.00206 | 0.14563 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW042A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0510087 | 2020-03-04 |  | 0.0425 | 0.0412 | 103.1553 | 3.1553 | 0.00206 | 0.63107 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW057B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0500056 | 2020-03-05 |  | 0.1879 | 0.184 | 102.1196 | 2.1196 | 0.0092 | 0.42391 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW057A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0630049 | 2020-03-06 |  | 0.0403 | 0.0412 | 97.8155 | -2.1845 | 0.00206 | -0.43689 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW064B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0650092 | 2020-03-11 |  | 0.189 | 0.184 | 102.7174 | 2.7174 | 0.0092 | 0.54348 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW069C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0700105 | 2020-03-17 |  | 0.0415 | 0.0412 | 100.7282 | 0.72816 | 0.00206 | 0.14563 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW076A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0730162 | 2020-03-24 |  | 0.1899 | 0.184 | 103.2065 | 3.2065 | 0.0092 | 0.6413 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW079A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0770113 | 2020-03-25 |  | 0.041 | 0.0412 | 99.5146 | -0.48544 | 0.00206 | -0.097087 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW083A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0800003 | 2020-04-01 |  | 0.1943 | 0.184 | 105.5978 | 5.5978 | 0.0092 | 1.1196 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW091A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1060057 | 2020-04-22 |  | 0.1394 | 0.134 | 104.0299 | 4.0299 | 0.008 | 0.675 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW111A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0980041 | 2020-04-23 |  | 0.1361 | 0.134 | 101.5672 | 1.5672 | 0.008 | 0.2625 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW104B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1000060 | 2020-04-23 |  | 0.0342 | 0.0339 | 100.885 | 0.88496 | 0.002 | 0.15 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW106A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1070052 | 2020-04-29 |  | 0.0329 | 0.0339 | 97.0501 | -2.9499 | 0.002 | -0.5 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW118A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1140083 | 2020-04-30 |  | 0.0344 | 0.0339 | 101.4749 | 1.4749 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW118B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1120051 | 2020-05-06 |  | 0.1353 | 0.134 | 100.9701 | 0.97015 | 0.008 | 0.1625 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW126B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1280005 | 2020-05-12 |  | 0.1353 | 0.134 | 100.9701 | 0.97015 | 0.008 | 0.1625 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW132A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1260080 | 2020-05-12 |  | 0.0323 | 0.0339 | 95.2802 | -4.7198 | 0.002 | -0.8 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW128A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1330128 | 2020-05-28 |  | 0.0334 | 0.0339 | 98.5251 | -1.4749 | 0.002 | -0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20147B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1400017 | 2020-06-02 |  | 0.137 | 0.134 | 102.2388 | 2.2388 | 0.008 | 0.375 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20153A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1430096 | 2020-06-09 |  | 0.1368 | 0.134 | 102.0896 | 2.0896 | 0.008 | 0.35 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20154B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1550010 | 2020-06-17 |  | 0.1396 | 0.134 | 104.1791 | 4.1791 | 0.008 | 0.7 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20167C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1560173 | 2020-06-19 |  | 0.0346 | 0.0339 | 102.0649 | 2.0649 | 0.002 | 0.35 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20169B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1610194 | 2020-06-25 |  | 0.1328 | 0.134 | 99.1045 | -0.89552 | 0.008 | -0.15 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20169E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1680151 | 2020-06-29 |  | 0.1324 | 0.134 | 98.806 | -1.194 | 0.008 | -0.2 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20176A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1630142 | 2020-06-30 |  | 0.0335 | 0.0339 | 98.8201 | -1.1799 | 0.002 | -0.2 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20175C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1700256 | 2020-07-01 |  | 0.0357 | 0.0339 | 105.3097 | 5.3097 | 0.002 | 0.9 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20177A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1890184 | 2020-07-15 |  | 0.032 | 0.0339 | 94.3953 | -5.6047 | 0.002 | -0.95 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20196B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1910117 | 2020-07-16 |  | 0.1345 | 0.134 | 100.3731 | 0.37313 | 0.008 | 0.0625 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20196C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1960131 | 2020-07-22 |  | 0.0336 | 0.0339 | 99.115 | -0.88496 | 0.002 | -0.15 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20198A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1980095 | 2020-07-28 |  | 0.1397 | 0.134 | 104.2537 | 4.2537 | 0.008 | 0.7125 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20209A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2040022 | 2020-08-04 |  | 0.0339 | 0.0339 | 100 | 0 | 0.002 | 0 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20216B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2110026 | 2020-08-06 |  | 0.1371 | 0.134 | 102.3134 | 2.3134 | 0.008 | 0.3875 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20218A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2170033 | 2020-08-11 |  | 0.1388 | 0.134 | 103.5821 | 3.5821 | 0.008 | 0.6 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20223C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2190158 | 2020-08-13 |  | 0.0344 | 0.0339 | 101.4749 | 1.4749 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20225B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2240094 | 2020-08-20 |  | 0.1405 | 0.134 | 104.8507 | 4.8507 | 0.008 | 0.8125 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20226A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2260120 | 2020-08-20 |  | 0.0333 | 0.0339 | 98.2301 | -1.7699 | 0.002 | -0.3 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20231A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2320040 | 2020-08-26 |  | 0.1354 | 0.134 | 101.0448 | 1.0448 | 0.008 | 0.175 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20233B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2370048 | 2020-09-09 |  | 0.0351 | 0.0339 | 103.5398 | 3.5398 | 0.002 | 0.6 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20252C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2530139 | 2020-09-21 |  | 0.035 | 0.0339 | 103.2448 | 3.2448 | 0.002 | 0.55 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20261B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2540251 | 2020-09-24 |  | 0.133 | 0.134 | 99.2537 | -0.74627 | 0.008 | -0.125 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20266A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2590159 | 2020-09-30 |  | 0.0344 | 0.0339 | 101.4749 | 1.4749 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20272B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2610178 | 2020-10-05 |  | 0.1378 | 0.134 | 102.8358 | 2.8358 | 0.008 | 0.475 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20273B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2670295 | 2020-10-07 |  | 0.034 | 0.0339 | 100.295 | 0.29499 | 0.002 | 0.05 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20275B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2680085 | 2020-10-08 |  | 0.1362 | 0.134 | 101.6418 | 1.6418 | 0.008 | 0.275 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20281A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2810030 | 2020-10-28 |  | 0.2041 | 0.198 | 103.0808 | 3.0808 | 0.0099 | 0.61616 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20301A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2820103 | 2020-10-28 |  | 0.0299 | 0.0295 | 101.3559 | 1.3559 | 0.0015 | 0.26667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20295B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2960118 | 2020-11-03 |  | 0.0285 | 0.0295 | 96.6102 | -3.3898 | 0.0015 | -0.66667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20303B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2950031 | 2020-11-04 |  | 0.2099 | 0.198 | 106.0101 | 6.0101 | 0.0099 | 1.202 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20308A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2890048 | 2020-11-04 |  | 0.032 | 0.0295 | 108.4746 | 8.4746 | 0.0015 | 1.6667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20295C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2880071 | 2020-11-05 |  | 0.2146 | 0.198 | 108.3838 | 8.3838 | 0.0099 | 1.6768 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20309A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3080109 | 2020-11-17 |  | 0.0299 | 0.0295 | 101.3559 | 1.3559 | 0.0015 | 0.26667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20321B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3150102 | 2020-11-24 |  | 0.029 | 0.0295 | 98.3051 | -1.6949 | 0.0015 | -0.33333 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20324A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3180089 | 2020-12-10 |  | 0.2043 | 0.198 | 103.1818 | 3.1818 | 0.0099 | 0.63636 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20344A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3230040 | 2020-12-10 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0015 | 0 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20329A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3240159 | 2020-12-15 |  | 0.2071 | 0.198 | 104.596 | 4.596 | 0.0099 | 0.91919 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20345A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3350003 | 2020-12-29 |  | 0.2047 | 0.198 | 103.3838 | 3.3838 | 0.0099 | 0.67677 | 0.003 | 2333 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N147 | PELW_20358A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3440083 | 2021-01-07 |  | 0.199 | 0.198 | 100.5051 | 0.50505 | 0.0099 | 0.10101 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N147 | PELW_20365B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0050026 | 2021-01-14 |  | 0.0297 | 0.0295 | 100.678 | 0.67797 | 0.0015 | 0.13333 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21012A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3660011 | 2021-01-14 |  | 0.0311 | 0.0295 | 105.4237 | 5.4237 | 0.0015 | 1.0667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21012A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3580057 | 2021-01-21 |  | 0.2018 | 0.198 | 101.9192 | 1.9192 | 0.0099 | 0.38384 | 0.003 | 2333 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N147 | PELW_21019A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3530074 | 2021-01-21 |  | 0.0347 | 0.0295 | 117.6271 | 17.6271 | 0.0015 | 3.4667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N148X | PELW_21005B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0150003 | 2021-01-28 |  | 0.2049 | 0.198 | 103.4848 | 3.4848 | 0.0099 | 0.69697 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21027A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0210019 | 2021-02-02 |  | 0.0289 | 0.0295 | 97.9661 | -2.0339 | 0.0015 | -0.4 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21028A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0280001 | 2021-02-10 |  | 0.2128 | 0.198 | 107.4747 | 7.4747 | 0.0099 | 1.4949 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21040A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0350086 | 2021-02-17 |  | 0.0292 | 0.0295 | 98.9831 | -1.0169 | 0.0015 | -0.2 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21042B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0400078 | 2021-02-23 |  | 0.2027 | 0.198 | 102.3737 | 2.3737 | 0.0099 | 0.47475 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21053A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0490010 | 2021-03-02 |  | 0.0298 | 0.0295 | 101.0169 | 1.0169 | 0.0015 | 0.2 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21054A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0540056 | 2021-03-04 |  | 0.2023 | 0.198 | 102.1717 | 2.1717 | 0.0099 | 0.43434 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21062A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0620096 | 2021-03-09 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0015 | 0 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21068A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0690090 | 2021-03-23 |  | 0.1997 | 0.198 | 100.8586 | 0.85859 | 0.0099 | 0.17172 | 0.003 | 2333 |  |  |  | mg/L as P | N147 | PELW_21077A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0680065 | 2021-03-23 |  | 0.0291 | 0.0295 | 98.6441 | -1.3559 | 0.0015 | -0.26667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21075B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0770042 | 2021-04-06 |  | 0.2065 | 0.198 | 104.2929 | 4.2929 | 0.0099 | 0.85859 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21095A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0760023 | 2021-04-06 |  | 0.0307 | 0.0295 | 104.0678 | 4.0678 | 0.0015 | 0.8 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21095A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0840107 | 2021-04-15 |  | 0.1996 | 0.198 | 100.8081 | 0.80808 | 0.0099 | 0.16162 | 0.003 | 2333 |  |  |  | mg/L as P | N147 | PELW_21096A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0970045 | 2021-05-06 |  | 0.1918 | 0.184 | 104.2391 | 4.2391 | 0.0092 | 0.84783 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N149 | PELW_21116B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1030142 | 2021-05-06 |  | 0.1862 | 0.184 | 101.1957 | 1.1957 | 0.0092 | 0.23913 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21123B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1050216 | 2021-05-10 |  | 0.045 | 0.045 | 100 | 0 | 0.00225 | 0 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21126B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1110005 | 2021-05-12 |  | 0.1861 | 0.184 | 101.1413 | 1.1413 | 0.0092 | 0.22826 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21130A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1120202 | 2021-05-13 |  | 0.0462 | 0.045 | 102.6667 | 2.6667 | 0.00225 | 0.53333 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21131A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1190110 | 2021-05-20 |  | 0.0448 | 0.045 | 99.5556 | -0.44444 | 0.00225 | -0.088889 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21137A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1250007 | 2021-05-21 |  | 0.0433 | 0.045 | 96.2222 | -3.7778 | 0.00225 | -0.75556 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21139A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1330235 | 2021-06-08 |  | 0.1891 | 0.184 | 102.7717 | 2.7717 | 0.0092 | 0.55435 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21158B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1320167 | 2021-06-09 |  | 0.0421 | 0.045 | 93.5556 | -6.4444 | 0.00225 | -1.2889 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21152D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1390135 | 2021-06-10 |  | 0.1821 | 0.184 | 98.9674 | -1.0326 | 0.0092 | -0.20652 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21160A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1380138 | 2021-06-10 |  | 0.0445 | 0.045 | 98.8889 | -1.1111 | 0.00225 | -0.22222 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21159B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1540138 | 2021-06-17 |  | 0.1905 | 0.184 | 103.5326 | 3.5326 | 0.0092 | 0.70652 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21166B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1530101 | 2021-06-17 |  | 0.1906 | 0.184 | 103.587 | 3.587 | 0.0092 | 0.71739 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21165D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1600030 | 2021-06-22 |  | 0.1938 | 0.184 | 105.3261 | 5.3261 | 0.0092 | 1.0652 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21167C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1610182 | 2021-06-23 |  | 0.0454 | 0.045 | 100.8889 | 0.88889 | 0.00225 | 0.17778 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21173C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1660118 | 2021-06-24 |  | 0.1942 | 0.184 | 105.5435 | 5.5435 | 0.0092 | 1.1087 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21174B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1680020 | 2021-06-29 |  | 0.0446 | 0.045 | 99.1111 | -0.88889 | 0.00225 | -0.17778 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21176A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1750330 | 2021-07-13 |  | 0.0459 | 0.045 | 102 | 2 | 0.00225 | 0.4 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21189C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1880116 | 2021-07-16 |  | 0.0455 | 0.045 | 101.1111 | 1.1111 | 0.00225 | 0.22222 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21194C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1940226 | 2021-07-23 |  | 0.0458 | 0.045 | 101.7778 | 1.7778 | 0.00225 | 0.35556 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21203A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1960205 | 2021-07-28 |  | 0.1868 | 0.184 | 101.5217 | 1.5217 | 0.0092 | 0.30435 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21207A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2020247 | 2021-07-29 |  | 0.1867 | 0.184 | 101.4674 | 1.4674 | 0.0092 | 0.29348 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21210A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2010232 | 2021-07-29 |  | 0.0476 | 0.045 | 105.7778 | 5.7778 | 0.00225 | 1.1556 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21208B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2100165 | 2021-08-11 |  | 0.1896 | 0.184 | 103.0435 | 3.0435 | 0.0092 | 0.6087 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21221B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2150045 | 2021-08-12 |  | 0.188 | 0.184 | 102.1739 | 2.1739 | 0.0092 | 0.43478 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21222A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2220183 | 2021-08-18 |  | 0.1812 | 0.184 | 98.4783 | -1.5217 | 0.0092 | -0.30435 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21230A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2290125 | 2021-08-26 |  | 0.1829 | 0.184 | 99.4022 | -0.59783 | 0.0092 | -0.11957 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21237A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2240200 | 2021-08-26 |  | 0.045 | 0.045 | 100 | 0 | 0.00225 | 0 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21235C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2310207 | 2021-08-31 |  | 0.0479 | 0.045 | 106.4444 | 6.4444 | 0.00225 | 1.2889 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21242A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2380345 | 2021-09-02 |  | 0.0434 | 0.045 | 96.4444 | -3.5556 | 0.00225 | -0.71111 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21243A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2510431 | 2021-09-23 |  | 0.0447 | 0.045 | 99.3333 | -0.66667 | 0.00225 | -0.13333 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21256B