## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 3080062 | 2008-12-01 | 0.5724 | 0.525 | 109.0286 | 9.0286 | 0.09147 | 1 | 2357 | Below the reporting level but at or above the detection level |  |  | ug/L | 75187-25DIW | ICPOE08333A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1000113 | 2009-04-28 | 0.6387 | 0.525 | 121.6571 | 21.6571 | 0.21941 | 1 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75187-25DIW | ICPOE09117B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1140003 | 2009-05-07 | 0.56 | 0.525 | 106.6667 | 6.6667 | 0.067541 | 1 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75187-25DIW | ICPOE09126B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1560191 | 2009-07-09 | 1.933 | 2.255 | 85.7206 | -14.2794 | -0.53556 | 1 | 2357 |  |  |  | µg/L | 50187-50191 | ICPOE09189B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1660109 | 2009-06-30 | 2.351 | 2.255 | 104.2572 | 4.2572 | 0.15967 | 1 | 2357 |  |  |  | µg/L | 50187-50191 | ICPOE09180B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1730162 | 2009-07-09 | 1.896 | 2.255 | 84.0798 | -15.9202 | -0.5971 | 1 | 2357 |  |  |  | µg/L | 50187-50191 | ICPOE09189B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1810002 | 2009-07-16 | 1.952 | 2.255 | 86.5632 | -13.4368 | -0.50396 | 1 | 2357 |  |  |  | µg/L | 50187-50191 | ICPOE09197B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 3120099 | 2008-12-01 | 2.019 | 1.975 | 102.2278 | 2.2278 | 0.074855 | 1 | 2357 |  |  |  | µg/L | 50187-50189 | ICPOE08333A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 3230069 | 2008-12-12 | 1.928 | 1.975 | 97.6203 | -2.3797 | -0.079959 | 1 | 2357 |  |  |  | µg/L | 50187-50189 | ICPOE08346A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 3260104 | 2008-12-19 | 2.039 | 1.975 | 103.2405 | 3.2405 | 0.10888 | 1 | 2357 |  |  |  | µg/L | 50187-50189 | ICPOE08354A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 3380023 | 2008-12-19 | 1.944 | 1.975 | 98.4304 | -1.5696 | -0.052739 | 1 | 2357 |  |  |  | µg/L | 50187-50189 | ICPOE08354A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1320060 | 2009-06-02 | 1.764 | 1.975 | 89.3165 | -10.6835 | -0.35897 | 1 | 2357 |  |  |  | µg/L | 50187-50189 | ICPOE09153B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1350002 | 2009-06-04 | 2.018 | 1.975 | 102.1772 | 2.1772 | 0.073154 | 1 | 2357 |  |  |  | µg/L | 50187-50189 | ICPOE09154B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1480017 | 2009-06-12 | 2.026 | 1.975 | 102.5823 | 2.5823 | 0.086764 | 1 | 2357 |  |  |  | µg/L | 50187-50189 | ICPOE09162B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1530133 | 2009-06-30 | 1.979 | 1.975 | 100.2025 | 0.20253 | 0.006805 | 1 | 2357 |  |  |  | µg/L | 50187-50189 | ICPOE09180B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 0120035 | 2009-02-02 | 2.346 | 2.4375 | 96.2462 | -3.7538 | -0.15 | 1 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE09033B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 0270003 | 2009-02-04 | 2.429 | 2.4375 | 99.6513 | -0.34872 | -0.013934 | 1 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE09035B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 0680035 | 2009-03-19 | 2.74 | 2.8575 | 95.888 | -4.112 | -0.18646 | 1 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09078B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 0720179 | 2009-04-03 | 2.71 | 2.8575 | 94.8381 | -5.1619 | -0.23407 | 1 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09089B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 0820036 | 2009-04-14 | 2.354 | 2.8575 | 82.3797 | -17.6203 | -0.799 | 1 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09103B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 0860145 | 2009-04-14 | 2.655 | 2.8575 | 92.9134 | -7.0866 | -0.32135 | 1 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09103B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 2520012 | 2009-10-07 | 2.394 | 2.8575 | 83.7795 | -16.2205 | -0.73553 | 1 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09278B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 2570069 | 2009-09-30 | 2.138 | 2.8575 | 74.8206 | -25.1794 | -1.1418 | 1 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09272B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 2640040 | 2009-11-12 | 2.667 | 2.8575 | 93.3333 | -6.6667 | -0.3023 | 1 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09314A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 2710103 | 2009-11-12 | 2.755 | 2.8575 | 96.4129 | -3.5871 | -0.16266 | 1 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09314A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 3430078 | 2009-01-06 | 2.206 | 2.255 | 97.8271 | -2.1729 | -0.081498 | 1 | 2357 |  |  |  | µg/L | 50187-50191 | ICPOE09005A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 3570018 | 2009-01-15 | 2.209 | 2.255 | 97.9601 | -2.0399 | -0.076509 | 1 | 2357 |  |  |  | µg/L | 50187-50191 | ICPOE09015B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1940072 | 2009-08-06 | 2.091 | 2.4375 | 85.7846 | -14.2154 | -0.56803 | 1 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE09217B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 1980152 | 2009-08-19 | 1.986 | 2.4375 | 81.4769 | -18.5231 | -0.74016 | 1 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE09230B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 2080169 | 2009-08-19 | 2.2 | 2.4375 | 90.2564 | -9.7436 | -0.38934 | 1 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE09230B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2009 | 2120003 | 2009-08-19 | 2.036 | 2.4375 | 83.5282 | -16.4718 | -0.6582 | 1 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE09230B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2820211 | 2009-11-12 | 2.583 | 2.8575 | 90.3937 | -9.6063 | -0.4356 | 0.6 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09314A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2930100 | 2009-11-25 | 2.568 | 2.8575 | 89.8688 | -10.1312 | -0.45941 | 0.6 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09328B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2960013 | 2009-12-03 | 2.32 | 2.8575 | 81.1899 | -18.8101 | -0.85296 | 0.6 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09337A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 3080065 | 2010-01-05 | 2.601 | 2.8575 | 91.0236 | -8.9764 | -0.40704 | 0.6 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE09357A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 0990194 | 2010-05-01 | 2.398 | 2.8575 | 83.9195 | -16.0805 | -0.72918 | 0.6 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE10119B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1090106 | 2010-05-14 | 2.665 | 2.8575 | 93.2633 | -6.7367 | -0.30548 | 0.6 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE10134A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1130195 | 2010-05-18 | 2.698 | 2.8575 | 94.4182 | -5.5818 | -0.25311 | 0.6 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE10138A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1200096 | 2010-06-03 | 2.47 | 2.8575 | 86.4392 | -13.5608 | -0.61492 | 0.6 | 2357 |  |  |  | µg/L | 75191-25DIW | ICPOE10153A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1550188 | 2010-07-13 | 1.791 | 2.4375 | 73.4769 | -26.5231 | -1.0598 | 0.6 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE10193B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1650129 | 2010-07-23 | 2.169 | 2.4375 | 88.9846 | -11.0154 | -0.44016 | 0.6 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE10202B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1720013 | 2010-07-22 | 2.066 | 2.4375 | 84.759 | -15.241 | -0.60902 | 0.6 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE10202B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1790140 | 2010-08-10 | 1.929 | 2.4375 | 79.1385 | -20.8615 | -0.83361 | 0.6 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE10221B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2230036 | 2010-09-08 | 3.158 | 3.39 | 93.1563 | -6.8437 | -0.35381 | 0.6 | 2357 |  |  |  | µg/L | 75189-25191 | ICPOE10251B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2250307 | 2010-09-11 | 3.111 | 3.39 | 91.7699 | -8.2301 | -0.42549 | 0.6 | 2357 |  |  |  | µg/L | 75189-25191 | ICPOE10252B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2350154 | 2010-09-22 | 2.962 | 3.39 | 87.3746 | -12.6254 | -0.65272 | 0.6 | 2357 |  |  |  | µg/L | 75189-25191 | ICPOE10264B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2390295 | 2010-10-05 | 3.277 | 3.39 | 96.6667 | -3.3333 | -0.17233 | 0.6 | 2357 |  |  |  | µg/L | 75189-25191 | ICPOE10277B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 3100145 | 2010-01-20 | 3.257 | 3.4375 | 94.7491 | -5.2509 | -0.27432 | 0.6 | 2357 |  |  |  | µg/L | 75189-25193 | ICPOE10019B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 3210018 | 2010-01-12 | 3.511 | 3.4375 | 102.1382 | 2.1382 | 0.1117 | 0.6 | 2357 |  |  |  | µg/L | 75189-25193 | ICPOE10005B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 3240198 | 2010-01-20 | 3.238 | 3.4375 | 94.1964 | -5.8036 | -0.30319 | 0.6 | 2357 |  |  |  | µg/L | 75189-25193 | ICPOE10019B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 3350061 | 2010-01-21 | 3.789 | 3.4375 | 110.2255 | 10.2255 | 0.53419 | 0.6 | 2357 |  |  |  | µg/L | 75189-25193 | ICPOE10019B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1310094 | 2010-06-17 | 3.128 | 3.4375 | 90.9964 | -9.0036 | -0.47036 | 0.6 | 2357 |  |  |  | µg/L | 75189-25193 | ICPOE10165B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1380023 | 2010-06-17 | 2.937 | 3.4375 | 85.44 | -14.56 | -0.76064 | 0.6 | 2357 |  |  |  | µg/L | 75189-25193 | ICPOE10165B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1440061 | 2010-06-29 | 2.763 | 3.4375 | 80.3782 | -19.6218 | -1.0251 | 0.6 | 2357 |  |  |  | µg/L | 75189-25193 | ICPOE10180B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1530005 | 2010-06-25 | 2.954 | 3.4375 | 85.9345 | -14.0655 | -0.7348 | 0.6 | 2357 |  |  |  | µg/L | 75189-25193 | ICPOE10174A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 0390051 | 2010-02-19 | 3.093 | 3.39 | 91.2389 | -8.7611 | -0.45294 | 0.6 | 2357 |  |  |  | µg/L | 75189-25191 | ICPOE10049B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 0530070 | 2010-03-08 | 3.388 | 3.39 | 99.941 | -0.058997 | -0.0030501 | 0.6 | 2357 |  |  |  | µg/L | 75189-25191 | ICPOE10067B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 0110105 | 2010-02-04 | 4.256 | 3.9525 | 107.6787 | 7.6787 | 0.44455 | 0.6 | 2357 |  |  |  | µg/L | 25191-75193 | ICPOE10034A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 0250040 | 2010-02-05 | 3.696 | 3.9525 | 93.5104 | -6.4896 | -0.3757 | 0.6 | 2357 |  |  |  | µg/L | 25191-75193 | ICPOE10036B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 0670037 | 2010-03-25 | 3.167 | 3 | 105.5667 | 5.5667 | 0.26217 | 0.6 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10084A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 0710174 | 2010-04-06 | 2.859 | 3 | 95.3 | -4.7 | -0.22135 | 0.6 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10096B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 0780161 | 2010-04-06 | 2.666 | 3 | 88.8667 | -11.1333 | -0.52433 | 0.6 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10096B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 0890054 | 2010-04-24 | 2.598 | 3 | 86.6 | -13.4 | -0.63108 | 0.6 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10113B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2580068 | 2010-10-20 | 2.688 | 3 | 89.6 | -10.4 | -0.4898 | 0.6 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10291B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2650032 | 2010-10-23 | 3.21 | 3 | 107 | 7 | 0.32967 | 0.6 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10295A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2700167 | 2010-11-08 | 3.324 | 3 | 110.8 | 10.8 | 0.50863 | 0.6 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10312B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2780038 | 2010-10-28 | 3.351 | 3 | 111.7 | 11.7 | 0.55102 | 0.6 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10301B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 3480078 | 2010-01-23 | 2.174 | 2.4375 | 89.1897 | -10.8103 | -0.43197 | 0.6 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE10020B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 3630043 | 2010-01-27 | 2.622 | 2.4375 | 107.5692 | 7.5692 | 0.30246 | 0.6 | 2357 |  |  |  | µg/L | 75189-25DIW | ICPOE10026A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 1940136 | 2010-08-11 | 3.864 | 3.9525 | 97.7609 | -2.2391 | -0.12963 | 0.6 | 2357 |  |  |  | µg/L | 25191-75193 | ICPOE10221B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2000041 | 2010-08-17 | 3.417 | 3.9525 | 86.4516 | -13.5484 | -0.78436 | 0.6 | 2357 |  |  |  | µg/L | 25191-75193 | ICPOE10229B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2070094 | 2010-09-08 | 3.81 | 3.9525 | 96.3947 | -3.6053 | -0.20872 | 0.6 | 2357 |  |  |  | µg/L | 25191-75193 | ICPOE10251B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2010 | 2140122 | 2010-08-31 | 3.313 | 3.9525 | 83.8204 | -16.1796 | -0.93669 | 0.6 | 2357 |  |  |  | µg/L | 25191-75193 | ICPOE10242A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2810152 | 2010-11-17 | 2.962 | 3 | 98.7333 | -1.2667 | -0.059655 | 0.5 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10320B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2920118 | 2010-11-17 | 2.641 | 3 | 88.0333 | -11.9667 | -0.56358 | 0.5 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10320B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2950047 | 2010-11-29 | 2.732 | 3 | 91.0667 | -8.9333 | -0.42072 | 0.5 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10333A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 3060022 | 2010-11-30 | 2.883 | 3 | 96.1 | -3.9 | -0.18367 | 0.5 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE10333A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 0980089 | 2011-05-11 | 2.965 | 3 | 98.8333 | -1.1667 | -0.054945 | 0.5 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE11124B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1080034 | 2011-05-16 | 3.257 | 3 | 108.5667 | 8.5667 | 0.40345 | 0.5 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE11133B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1160054 | 2011-05-27 | 3.06 | 3 | 102 | 2 | 0.094192 | 0.5 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE11143B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1220098 | 2011-05-31 | 2.88 | 3 | 96 | -4 | -0.18838 | 0.5 | 2357 |  |  |  | µg/L | 75193-25DIW | ICPOE11151B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1640085 | 2011-07-21 | 1.697 | 1.825 | 92.9863 | -7.0137 | -0.22046 | 0.5 | 2357 |  |  |  | µg/L | 25193-75195 | ICPOE11201C
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1710082 | 2011-07-19 | 1.652 | 1.825 | 90.5205 | -9.4795 | -0.29797 | 0.5 | 2357 |  |  |  | µg/L | 25193-75195 | ICPOE11199A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1790119 | 2011-08-03 | 1.926 | 1.825 | 105.5342 | 5.5342 | 0.17396 | 0.5 | 2357 |  |  |  | µg/L | 25193-75195 | ICPOE11213B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1870011 | 2011-08-05 | 1.331 | 1.825 | 72.9315 | -27.0685 | -0.85084 | 0.5 | 2357 |  |  |  | µg/L | 25193-75195 | ICPOE11216B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2170145 | 2011-10-25 | 1.396 | 1.25 | 111.68 | 11.68 | 0.26401 | 0.5 | 2357 |  |  |  | µg/L | 25195-75197 | ICPOE11293B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2350157 | 2011-09-22 | 1.643 | 1.25 | 131.44 | 31.44 | 0.71067 | 0.5 | 2357 |  |  |  | µg/L | 25195-75197 | ICPOE11264B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2420140 | 2011-09-30 | 1.461 | 1.25 | 116.88 | 16.88 | 0.38156 | 0.5 | 2357 |  |  |  | µg/L | 25195-75197 | ICPOE11269B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 3090215 | 2010-12-10 | 3.331 | 3.325 | 100.1805 | 0.18045 | 0.009194 | 0.5 | 2357 |  |  |  | µg/L | 75193-25197 | ICPOE10342B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 3200115 | 2010-12-17 | 4.044 | 3.325 | 121.6241 | 21.6241 | 1.1017 | 0.5 | 2357 |  |  |  | µg/L | 75193-25197 | ICPOE10350A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 3270060 | 2010-12-17 | 3.816 | 3.325 | 114.7669 | 14.7669 | 0.75238 | 0.5 | 2357 |  |  |  | µg/L | 75193-25197 | ICPOE10350A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 3340091 | 2010-12-22 | 3.67 | 3.325 | 110.3759 | 10.3759 | 0.52865 | 0.5 | 2357 |  |  |  | µg/L | 75193-25197 | ICPOE10356A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1260086 | 2011-05-31 | 3.564 | 3.325 | 107.188 | 7.188 | 0.36623 | 0.5 | 2357 |  |  |  | µg/L | 75193-25197 | ICPOE11151B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1370057 | 2011-06-03 | 3.786 | 3.325 | 113.8647 | 13.8647 | 0.70641 | 0.5 | 2357 |  |  |  | µg/L | 75193-25197 | ICPOE11152A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1430220 | 2011-06-17 | 3.264 | 3.325 | 98.1654 | -1.8346 | -0.093472 | 0.5 | 2357 |  |  |  | µg/L | 75193-25197 | ICPOE11166B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1510163 | 2011-07-06 | 2.898 | 3.325 | 87.1579 | -12.8421 | -0.65431 | 0.5 | 2357 |  |  |  | µg/L | 75193-25197 | ICPOE11187B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 0390005 | 2011-02-22 | 2.417 | 1.25 | 193.36 | 93.36 | 2.1103 | 0.5 | 2357 |  |  |  | µg/L | 25195-75197 | ICPOE11053B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 0530083 | 2011-03-08 | 1.553 | 1.25 | 124.24 | 24.24 | 0.54792 | 0.5 | 2357 |  |  |  | µg/L | 25195-75197 | ICPOE11067A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 0100014 | 2011-02-04 | 2.133 | 1.15 | 185.4783 | 85.4783 | 1.7931 | 0.5 | 2357 |  |  |  | µg/L | 75195-25197 | ICPOE11034A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 0250098 | 2011-02-16 | 1.78 | 1.15 | 154.7826 | 54.7826 | 1.1492 | 0.5 | 2357 |  |  |  | µg/L | 75195-25197 | ICPOE11047B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 0700076 | 2011-04-07 | 1.41 | 0.975 | 144.6154 | 44.6154 | 0.80585 | 0.5 | 2357 |  |  |  | µg/L | 75197-25DIW | ICPOE11089B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 0800068 | 2011-04-13 | 2.475 | 0.975 | 253.8462 | 153.8462 | 2.7788 | 0.5 | 2357 |  |  |  | µg/L | 75197-25DIW | ICPOE11103B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 0840103 | 2011-04-13 | 2.312 | 0.975 | 237.1282 | 137.1282 | 2.4768 | 0.5 | 2357 |  |  |  | µg/L | 75197-25DIW | ICPOE11103B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 0950058 | 2011-04-22 | 1.718 | 0.975 | 176.2051 | 76.2051 | 1.3764 | 0.5 | 2357 |  |  |  | µg/L | 75197-25DIW | ICPOE11111B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2520217 | 2011-10-24 | 0.954 | 0.975 | 97.8462 | -2.1538 | -0.038903 | 0.5 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75197-25DIW | ICPOE11286A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2630069 | 2011-11-07 | 1.161 | 0.975 | 119.0769 | 19.0769 | 0.34457 | 0.5 | 2357 |  |  |  | µg/L | 75197-25DIW | ICPOE11311A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2660133 | 2011-11-07 | 1.117 | 0.975 | 114.5641 | 14.5641 | 0.26306 | 0.5 | 2357 |  |  |  | µg/L | 75197-25DIW | ICPOE11311A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 3470104 | 2011-01-12 | 2.145 | 1.825 | 117.5342 | 17.5342 | 0.55115 | 0.5 | 2357 |  |  |  | µg/L | 25193-75195 | ICPOE11011B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 3630037 | 2011-01-20 | 2.673 | 1.825 | 146.4658 | 46.4658 | 1.4606 | 0.5 | 2357 |  |  |  | µg/L | 25193-75195 | ICPOE11018B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1940097 | 2011-08-11 | 0.907 | 1.15 | 78.8696 | -21.1304 | -0.44327 | 0.5 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75195-25197 | ICPOE11222B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 1990080 | 2011-08-16 | 0.683 | 1.15 | 59.3913 | -40.6087 | -0.85188 | 0.5 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75195-25197 | ICPOE11228B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2070166 | 2011-08-19 | 22.55 | 1.15 | 1960.8696 | 1860.8696 | 39.0368 | 0.5 | 2357 |  |  |  | µg/L | 75195-25197 | ICPOE11230B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2011 | 2100275 | 2011-09-22 | 1.081 | 1.15 | 94 | -6 | -0.12587 | 0.5 | 2357 |  |  |  | µg/L | 75195-25197 | ICPOE11264B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 2940003 | 2014-02-07 | 0.6 | 0.81 | 74.0741 | -25.9259 | -0.93333 | 0.6 | 2357 |  |  |  | µg/L | 75205-25DIW | ICPOE14038A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3030015 | 2014-02-11 | 0.6 | 0.81 | 74.0741 | -25.9259 | -0.93333 | 0.6 | 2357 |  |  |  | µg/L | 75205-25DIW | ICPOE14041C
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 0940008 | 2014-04-23 | 0.718 | 0.81 | 88.642 | -11.358 | -0.40889 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75205-25DIW | ICPOE14112B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1050013 | 2014-04-23 | 0.652 | 0.81 | 80.4938 | -19.5062 | -0.70222 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75205-25DIW | ICPOE14112B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1130031 | 2014-04-28 | 0.766 | 0.81 | 94.5679 | -5.4321 | -0.19556 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 75205-25DIW | ICPOE14118A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1190011 | 2014-05-29 | 0.6 | 0.81 | 74.0741 | -25.9259 | -0.93333 | 0.6 | 2357 |  |  |  | µg/L | 75205-25DIW | ICPOE14162B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1600104 | 2014-07-01 | 1.029 | 0.8985 | 114.5242 | 14.5242 | 0.58 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 25207-75205 | ICPOE14181B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1680071 | 2014-07-14 | 0.903 | 0.8985 | 100.5008 | 0.50083 | 0.02 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 25207-75205 | ICPOE14191A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1750061 | 2014-07-29 | 0.6 | 0.8985 | 66.778 | -33.222 | -1.3267 | 0.6 | 2357 |  |  |  | µg/L | 25207-75205 | ICPOE14206B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 1810177 | 2014-07-29 | 0.6 | 0.8985 | 66.778 | -33.222 | -1.3267 | 0.6 | 2357 |  |  |  | µg/L | 25207-75205 | ICPOE14206B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3430117 | 2014-02-15 | 1.204 | 0.8985 | 134.0011 | 34.0011 | 1.3578 | 0.6 | 2357 |  |  |  | µg/L | 25207-75205 | ICPOE14045A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3500048 | 2014-02-15 | 0.988 | 0.8985 | 109.961 | 9.961 | 0.39778 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 25207-75205 | ICPOE14045A
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3580044 | 2014-02-25 | 0.773 | 0.8985 | 86.0323 | -13.9677 | -0.55778 | 0.6 | 2357 | Below the reporting level but at or above the detection level |  |  | µg/L | 25207-75205 | ICPOE14050B
Chromium, UNF, ICP-OES | 01034 | PLA15 | UNF | 2014 | 3610044 | 2014-02-25 | 1.261 | 0.8985 | 140.345 | 40.345 | 1.6111 | 0.6 | 2357 |  |  |  | µg/L | 25207-75205 | ICPOE14050B