## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1190148 | 2015-05-12 | 2.273 | 2.1825 | 104.1466 | 4.1466 | 0.78664 |  | 3412 | See result laboratory comment |  |  | ug/L | 25213-75211 | TCMS051115
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1620201 | 2015-07-20 | 0.8851 | 1.035 | 85.5169 | -14.4831 | -2.2207 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS072015
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1740034 | 2015-07-23 | 1.001 | 1.035 | 96.715 | -3.285 | -0.5037 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS072215
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2230087 | 2015-09-16 | 1.168 | 1.1202 | 104.2624 | 4.2624 | 0.67694 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091515
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2370155 | 2015-09-19 | 1.155 | 1.1202 | 103.102 | 3.102 | 0.49264 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091815
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1320073 | 2015-06-09 | 0.8925 | 0.86825 | 102.793 | 2.793 | 0.35926 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS060915
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1470115 | 2015-06-12 | 0.8941 | 0.86825 | 102.9773 | 2.9773 | 0.38296 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS061115
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1250074 | 2015-06-08 | 1.135 | 1.1202 | 101.3167 | 1.3167 | 0.20911 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS060615
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1390153 | 2015-06-10 | 1.27 | 1.1202 | 113.3676 | 13.3676 | 2.123 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS060915
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2160028 | 2015-09-11 | 0.9176 | 0.86825 | 105.6838 | 5.6838 | 0.73111 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS091115
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2320211 | 2015-09-17 | 0.9373 | 0.86825 | 107.9528 | 7.9528 | 1.023 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS091515
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1880120 | 2015-08-12 | 2.198 | 2.1825 | 100.7102 | 0.71019 | 0.13473 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS081115
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2030107 | 2015-08-24 | 2.254 | 2.1825 | 103.2761 | 3.2761 | 0.62149 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS082415
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2520016 | 2015-09-29 | 1.787 | 1.8375 | 97.2517 | -2.7483 | -0.50203 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS092915
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2660034 | 2015-10-07 | 1.835 | 1.8375 | 99.8639 | -0.13605 | -0.024853 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS100715
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2450074 | 2015-09-25 | 1.01 | 1.035 | 97.5845 | -2.4155 | -0.37037 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS092415
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2580071 | 2015-10-01 | 1.019 | 1.035 | 98.4541 | -1.5459 | -0.23704 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS093015
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1530193 | 2015-06-12 | 1.891 | 1.8375 | 102.9116 | 2.9116 | 0.53186 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS061115
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1690074 | 2015-07-22 | 1.806 | 1.8375 | 98.2857 | -1.7143 | -0.31315 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75211-25DIW | TCMS072215
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 1950022 | 2015-08-13 | 1.023 | 1.035 | 98.8406 | -1.1594 | -0.17778 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS081215
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2015 | 2090026 | 2015-08-25 | 1.036 | 1.035 | 100.0966 | 0.096618 | 0.014815 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS082415
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2790069 | 2015-10-14 | 1.045 | 1.035 | 100.9662 | 0.96618 | 0.11111 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS101315
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2930192 | 2015-11-04 | 0.9801 | 1.035 | 94.6957 | -5.3043 | -0.61 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS110415
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0960078 | 2016-04-22 | 1.019 | 1.035 | 98.4541 | -1.5459 | -0.17778 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCME042116
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1110067 | 2016-04-28 | 1.024 | 1.035 | 98.9372 | -1.0628 | -0.12222 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS042816
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 3000098 | 2015-11-05 | 0.2166 | 0.17 | 127.4118 | 27.4118 | 0.51778 | 0.18 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T217 | TCMS110415
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1660104 | 2016-07-20 | 2.437 | 2.45 | 99.4694 | -0.53061 | -0.092199 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T211 | TC071116B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1800078 | 2016-07-26 | 2.527 | 2.45 | 103.1429 | 3.1429 | 0.5461 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T211 | TC071416
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2150172 | 2016-09-03 | 1.307 | 1.26 | 103.7302 | 3.7302 | 0.52222 | 0.18 | 3412 |  |  |  | µg/L | T219 | TC083116
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2290123 | 2016-10-08 | 1.41 | 1.26 | 111.9048 | 11.9048 | 2.381 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS16281B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 3140098 | 2015-11-20 | 0.3309 | 0.341 | 97.0381 | -2.9619 | -0.11222 | 0.18 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TCMS111915
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 3290007 | 2015-12-18 | 0.3224 | 0.341 | 94.5455 | -5.4545 | -0.20667 | 0.18 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TCMS121715
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1320064 | 2016-06-18 | 0.3348 | 0.341 | 98.1818 | -1.8182 | -0.068889 | 0.18 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TC061716
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1460114 | 2016-06-24 | 0.3194 | 0.341 | 93.6657 | -6.3343 | -0.24 | 0.18 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T209 | TC062316
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 3070095 | 2015-11-17 | 1.26 | 1.26 | 100 | 0 | 0 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T219 | TCMS111615
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 3210006 | 2015-12-10 | 1.348 | 1.26 | 106.9841 | 6.9841 | 0.97778 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T219 | TCMS120915
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1240108 | 2016-06-02 | 1.336 | 1.26 | 106.0317 | 6.0317 | 0.84444 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T219 | TC060116
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1400027 | 2016-06-18 | 1.264 | 1.26 | 100.3175 | 0.31746 | 0.044444 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T219 | TC061716
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0400035 | 2016-03-25 | 1.227 | 1.26 | 97.381 | -2.619 | -0.36667 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T219 | TCMS032516
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0540101 | 2016-04-09 | 1.258 | 1.26 | 99.8413 | -0.15873 | -0.022222 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T219 | TCMS040816
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0330057 | 2016-03-22 | 0.36 | 0.341 | 105.5718 | 5.5718 | 0.21111 | 0.18 | 3412 | Sample was diluted | See result laboratory comment |  | µg/L | T209 | TCMS032216
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0480024 | 2016-03-31 | 0.389 | 0.341 | 114.0762 | 14.0762 | 0.53333 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T209 | TCMS033116
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2230020 | 2016-09-26 | 0.3318 | 0.341 | 97.3021 | -2.6979 | -0.10222 | 0.18 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T209 | 091916
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2360191 | 2016-10-08 | 0.36 | 0.341 | 105.5718 | 5.5718 | 0.42222 | 0.09 | 3412 |  |  |  | µg/L | T209 | ICPMS16281B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0120026 | 2016-01-21 | 1.021 | 1.035 | 98.6473 | -1.3527 | -0.15556 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS012116
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0260031 | 2016-02-05 | 1.019 | 1.035 | 98.4541 | -1.5459 | -0.17778 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS020416
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0200028 | 2016-02-04 | 0.1808 | 0.17 | 106.3529 | 6.3529 | 0.12 | 0.18 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T217 | TCMS020416
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0750071 | 2016-04-21 | 1.577 | 1.59 | 99.1824 | -0.81761 | -0.13542 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T215 | TCMS042016
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0890172 | 2016-04-22 | 1.587 | 1.59 | 99.8113 | -0.18868 | -0.03125 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T215 | TCME042116
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2580002 | 2016-11-10 | 1.67 | 1.59 | 105.0314 | 5.0314 | 0.83333 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS16291B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2710083 | 2016-11-29 | 1.77 | 1.59 | 111.3208 | 11.3208 | 1.875 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS16333A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0690046 | 2016-04-20 | 2.445 | 2.45 | 99.7959 | -0.20408 | -0.035461 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T211 | TCMS042016
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 0820024 | 2016-04-22 | 2.396 | 2.45 | 97.7959 | -2.2041 | -0.38298 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T211 | TCME042116
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2520013 | 2016-10-13 | 2.5 | 2.45 | 102.0408 | 2.0408 | 0.35461 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS16287A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2640186 | 2016-11-29 | 2.661 | 2.45 | 108.6122 | 8.6122 | 1.4965 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS16333A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 3500111 | 2016-01-04 | 2.464 | 2.45 | 100.5714 | 0.57143 | 0.099291 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T211 | TCMS010416
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 3630067 | 2016-01-05 | 2.43 | 2.45 | 99.1837 | -0.81633 | -0.14184 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T211 | TCMS010416
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 3420099 | 2015-12-21 | 1.669 | 1.59 | 104.9686 | 4.9686 | 0.82292 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T215 | TCMS122115
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 3560097 | 2016-01-05 | 1.621 | 1.59 | 101.9497 | 1.9497 | 0.32292 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T215 | TCMS010416
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1590119 | 2016-06-30 | 1.621 | 1.59 | 101.9497 | 1.9497 | 0.32292 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T215 | TC062916
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1740273 | 2016-07-26 | 1.607 | 1.59 | 101.0692 | 1.0692 | 0.17708 | 0.18 | 3412 | See result laboratory comment |  |  | µg/L | T215 | TC071416
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 1940102 | 2016-08-08 | 1.061 | 1.035 | 102.5121 | 2.5121 | 0.28889 | 0.18 | 3412 |  |  |  | µg/L | 75213-25DIW | TC080516
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2016 | 2080216 | 2016-08-20 | 1.002 | 1.035 | 96.8116 | -3.1884 | -0.36667 | 0.18 | 3412 |  |  |  | µg/L | 75213-25DIW | TC081916
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2780114 | 2016-11-29 | 1.16 | 1.04 | 111.5385 | 11.5385 | 1.791 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS16334B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2940163 | 2016-11-30 | 1.09 | 1.04 | 104.8077 | 4.8077 | 0.74627 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS16335A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0940130 | 2017-04-11 | 0.9707 | 1.04 | 93.3365 | -6.6635 | -1.0343 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS17101A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1080100 | 2017-05-09 | 1.0203 | 1.04 | 98.1058 | -1.8942 | -0.29403 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS17129A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2860091 | 2016-11-29 | 0.19 | 0.17 | 111.7647 | 11.7647 | 0.44444 | 0.09 | 3412 |  |  |  | µg/L | T217 | ICPMS16334B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 3000017 | 2016-12-05 | 0.18 | 0.17 | 105.8824 | 5.8824 | 0.22222 | 0.09 | 3412 |  |  |  | µg/L | T217 | ICPMS16340A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1020077 | 2017-05-10 | 0.1818 | 0.17 | 106.9412 | 6.9412 | 0.26222 | 0.09 | 3412 |  |  |  | µg/L | T217 | ICPMS17129A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1150158 | 2017-05-10 | 0.1815 | 0.17 | 106.7647 | 6.7647 | 0.25556 | 0.09 | 3412 |  |  |  | µg/L | T217 | ICPMS17129A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 3200136 | 2016-12-07 | 5.43 | 4.97 | 109.2555 | 9.2555 | 1.8511 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS16342A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 3370119 | 2016-12-13 | 5.25 | 4.97 | 105.6338 | 5.6338 | 1.1268 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS16348A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1290178 | 2017-06-20 | 4.9282 | 4.97 | 99.159 | -0.84105 | -0.16821 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS17171A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1430168 | 2017-06-22 | 4.9735 | 4.97 | 100.0704 | 0.070423 | 0.014085 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS17172C
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 3130044 | 2016-12-07 | 1.37 | 1.26 | 108.7302 | 8.7302 | 1.746 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS16342A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 3270122 | 2016-12-08 | 1.38 | 1.26 | 109.5238 | 9.5238 | 1.9048 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS16343A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1220113 | 2017-06-19 | 1.2956 | 1.26 | 102.8254 | 2.8254 | 0.56508 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS17170A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1370163 | 2017-06-20 | 1.3396 | 1.26 | 106.3175 | 6.3175 | 1.2635 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS17171A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0380073 | 2017-02-27 | 1.2721 | 1.26 | 100.9603 | 0.96032 | 0.19206 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS17058A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0540066 | 2017-03-27 | 1.3876 | 1.26 | 110.127 | 10.127 | 2.0254 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS17086A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2270191 | 2017-10-03 | 1.3167 | 1.26 | 104.5 | 4.5 | 0.9 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS17276A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2410214 | 2017-10-11 | 1.2572 | 1.26 | 99.7778 | -0.22222 | -0.044444 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS17284A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0330060 | 2017-02-27 | 5.1022 | 4.97 | 102.66 | 2.66 | 0.53199 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS17058A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0450117 | 2017-02-27 | 5.2006 | 4.97 | 104.6398 | 4.6398 | 0.92797 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS17058A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2200291 | 2017-10-02 | 5.0316 | 4.97 | 101.2394 | 1.2394 | 0.24789 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS17275A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2340157 | 2017-10-05 | 4.8347 | 4.97 | 97.2777 | -2.7223 | -0.54447 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS17277B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0100050 | 2017-02-22 | 1.036 | 1.04 | 99.6154 | -0.38462 | -0.059701 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS17053A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0240086 | 2017-02-22 | 1.0501 | 1.04 | 100.9712 | 0.97115 | 0.15075 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS17053A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1920149 | 2017-07-21 | 1.0294 | 1.04 | 98.9808 | -1.0192 | -0.15821 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS17202B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2060194 | 2017-09-29 | 1.0276 | 1.04 | 98.8077 | -1.1923 | -0.18507 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS17272A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0040033 | 2017-02-21 | 0.1703 | 0.17 | 100.1765 | 0.17647 | 0.0066667 | 0.09 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T217 | ICPMS17052B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0190006 | 2017-02-23 | 0.1785 | 0.17 | 105 | 5 | 0.18889 | 0.09 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T217 | ICPMS17053A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1870005 | 2017-07-20 | 0.1809 | 0.17 | 106.4118 | 6.4118 | 0.24222 | 0.09 | 3412 |  |  |  | µg/L | T217 | ICPMS17201A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1990222 | 2017-07-27 | 0.171 | 0.17 | 100.5882 | 0.58824 | 0.022222 | 0.09 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T217 | ICPMS17207B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0730075 | 2017-03-28 | 1.5973 | 1.59 | 100.4591 | 0.45912 | 0.076042 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS17087A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0870131 | 2017-04-12 | 1.5834 | 1.59 | 99.5849 | -0.41509 | -0.06875 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS17101A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2560128 | 2017-10-18 | 1.5615 | 1.59 | 98.2075 | -1.7925 | -0.29687 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS17289C
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2690198 | 2017-12-01 | 1.7985 | 1.59 | 113.1132 | 13.1132 | 2.1719 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS17324A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0660085 | 2017-05-05 | 2.522 | 2.45 | 102.9388 | 2.9388 | 0.51064 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS17121A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 0800017 | 2017-03-28 | 2.4172 | 2.45 | 98.6612 | -1.3388 | -0.23262 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS17087A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2500006 | 2017-10-16 | 2.5675 | 2.45 | 104.7959 | 4.7959 | 0.83333 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS17289B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 2620203 | 2017-10-17 | 2.2954 | 2.45 | 93.6898 | -6.3102 | -1.0965 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS17289C
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 3480033 | 2017-01-31 | 2.49 | 2.45 | 101.6327 | 1.6327 | 0.28369 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS17031B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 3630023 | 2017-02-21 | 2.3946 | 2.45 | 97.7388 | -2.2612 | -0.39291 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS17052B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1640178 | 2017-06-30 | 2.5934 | 2.45 | 105.8531 | 5.8531 | 1.017 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS17180A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1780227 | 2017-07-20 | 2.4811 | 2.45 | 101.2694 | 1.2694 | 0.22057 | 0.09 | 3412 |  |  |  | µg/L | T211 | ICPMS17201A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 3410125 | 2017-01-31 | 1.65 | 1.59 | 103.7736 | 3.7736 | 0.625 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS17031B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 3550006 | 2017-01-31 | 1.66 | 1.59 | 104.4025 | 4.4025 | 0.72917 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS17031B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1570092 | 2017-06-27 | 1.7094 | 1.59 | 107.5094 | 7.5094 | 1.2437 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS17178A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2017 | 1710241 | 2017-06-30 | 1.6913 | 1.59 | 106.3711 | 6.3711 | 1.0552 | 0.09 | 3412 |  |  |  | µg/L | T215 | ICPMS17180A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2760114 | 2017-12-22 | 1.0482 | 1.04 | 100.7885 | 0.78846 | 0.12239 | 0.09 | 3412 | Sample was diluted |  |  | µg/L | T221 | ICPMS17345B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2910001 | 2017-12-27 | 1.1361 | 1.04 | 109.2404 | 9.2404 | 1.4343 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS17361A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0930126 | 2018-05-01 | 1.0255 | 1.04 | 98.6058 | -1.3942 | -0.21642 | 0.06 | 3412 |  |  |  | µg/L | T221 | ICPMS18121B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1080117 | 2018-05-07 | 0.9819 | 1.04 | 94.4135 | -5.5865 | -0.86716 | 0.06 | 3412 |  |  |  | µg/L | T221 | ICPMS18127A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2860038 | 2017-12-13 | 0.27 | 0.17 | 158.8235 | 58.8235 | 2.2222 | 0.09 | 3412 | Sample was diluted |  |  | µg/L | T217 | ICPMS17346B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2970215 | 2017-12-06 | 0.2006 | 0.17 | 118 | 18 | 0.68 | 0.09 | 3412 |  |  |  | µg/L | T217 | ICPMS17339C
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1020132 | 2018-05-01 | 0.185 | 0.17 | 108.8235 | 8.8235 | 0.5 | 0.06 | 3412 |  |  |  | µg/L | T217 | ICPMS18121B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1140191 | 2018-05-08 | 0.1761 | 0.17 | 103.5882 | 3.5882 | 0.20333 | 0.06 | 3412 |  |  |  | µg/L | T217 | ICPMS18127A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 3180171 | 2017-12-13 | 5.174 | 4.97 | 104.1046 | 4.1046 | 0.82093 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS17346B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 3330004 | 2017-12-27 | 5.0844 | 4.97 | 102.3018 | 2.3018 | 0.46036 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS17361A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1350128 | 2018-06-06 | 4.5921 | 4.97 | 92.3964 | -7.6036 | -1.5207 | 0.06 | 3412 |  |  |  | µg/L | T223 | ICPMS18157B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1500140 | 2018-06-18 | 4.7429 | 4.97 | 95.4306 | -4.5694 | -0.91388 | 0.06 | 3412 |  |  |  | µg/L | T223 | ICPMS18169A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 3110098 | 2017-12-07 | 1.4736 | 1.26 | 116.9524 | 16.9524 | 3.3905 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS17341B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 3250154 | 2017-12-27 | 1.4937 | 1.26 | 118.5476 | 18.5476 | 3.7095 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS17361A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1280142 | 2018-05-23 | 1.2137 | 1.26 | 96.3254 | -3.6746 | -0.73492 | 0.06 | 3412 |  |  |  | µg/L | T219 | ICPMS18143A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1420223 | 2018-06-08 | 1.1611 | 1.26 | 92.1508 | -7.8492 | -1.5698 | 0.06 | 3412 |  |  |  | µg/L | T219 | ICPMS18158B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0440095 | 2018-03-14 | 0.9725 | 1.26 | 77.1825 | -22.8175 | -4.5635 | 0.09 | 3412 | Sample was diluted |  |  | µg/L | T219 | ICPMS18071A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0580118 | 2018-03-14 | 1.1341 | 1.26 | 90.0079 | -9.9921 | -1.9984 | 0.09 | 3412 |  |  |  | µg/L | T219 | ICPMS18071A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2260149 | 2018-09-20 | 1.2928 | 1.26 | 102.6032 | 2.6032 | 0.52063 | 0.06 | 3412 | Sample was diluted |  |  | µg/L | T219 | ICPMS18253A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2410018 | 2018-09-12 | 1.151 | 1.26 | 91.3492 | -8.6508 | -1.7302 | 0.06 | 3412 |  |  |  | µg/L | T219 | ICPMS18253B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0370095 | 2018-02-21 | 4.6173 | 4.97 | 92.9034 | -7.0966 | -1.4193 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS18051B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0520070 | 2018-03-13 | 4.5749 | 4.97 | 92.0503 | -7.9497 | -1.5899 | 0.09 | 3412 |  |  |  | µg/L | T223 | ICPMS18071A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2200026 | 2018-08-21 | 4.6047 | 4.97 | 92.6499 | -7.3501 | -1.47 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T223 | ICPMS18233A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2330199 | 2018-08-28 | 4.5826 | 4.97 | 92.2052 | -7.7948 | -1.559 | 0.06 | 3412 |  |  |  | µg/L | T223 | ICPMS18240A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0170071 | 2018-02-01 | 1.0568 | 1.04 | 101.6154 | 1.6154 | 0.25075 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS18032A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0300092 | 2018-02-13 | 1.037 | 1.04 | 99.7115 | -0.28846 | -0.044776 | 0.09 | 3412 |  |  |  | µg/L | T221 | ICPMS18039A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1910179 | 2018-07-25 | 0.994 | 1.04 | 95.5769 | -4.4231 | -0.68657 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T221 | ICPMS18201A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2050299 | 2018-08-03 | 0.9885 | 1.04 | 95.0481 | -4.9519 | -0.76866 | 0.06 | 3412 |  |  |  | µg/L | T221 | ICPMS18215B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0100019 | 2018-01-25 | 0.1987 | 0.17 | 116.8824 | 16.8824 | 0.63778 | 0.09 | 3412 |  |  |  | µg/L | T217 | ICPMS18024B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0240044 | 2018-02-13 | 0.1705 | 0.17 | 100.2941 | 0.29412 | 0.011111 | 0.09 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T217 | ICPMS18039A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1840099 | 2018-07-26 | 0.1651 | 0.17 | 97.1176 | -2.8824 | -0.16333 | 0.06 | 3412 |  |  |  | µg/L | T217 | ICPMS18201A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1990130 | 2018-08-02 | 0.1678 | 0.17 | 98.7059 | -1.2941 | -0.073333 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T217 | ICPMS18214B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0730071 | 2018-05-07 | 2.6929 | 2.79 | 96.5197 | -3.4803 | -0.69606 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T227 | ICPMS18127A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0860122 | 2018-04-16 | 2.7774 | 2.79 | 99.5484 | -0.45161 | -0.090323 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS18106A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2550005 | 2018-09-18 | 2.8376 | 2.79 | 101.7061 | 1.7061 | 0.34122 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS18261B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2680171 | 2018-10-12 | 2.7605 | 2.79 | 98.9427 | -1.0573 | -0.21147 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS18284B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0650045 | 2018-03-21 | 1.8595 | 1.84 | 101.0598 | 1.0598 | 0.11207 | 0.09 | 3412 |  |  |  | µg/L | T225 | ICPMS18079A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 0790092 | 2018-04-17 | 1.8028 | 1.84 | 97.9783 | -2.0217 | -0.21379 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS18106A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2490026 | 2018-09-19 | 1.7484 | 1.84 | 95.0217 | -4.9783 | -0.52644 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T225 | ICPMS18261B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 2610146 | 2018-10-04 | 1.802 | 1.84 | 97.9348 | -2.0652 | -0.21839 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS18271B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 3460079 | 2018-01-04 | 1.9665 | 1.84 | 106.875 | 6.875 | 0.72701 | 0.09 | 3412 |  |  |  | µg/L | T225 | ICPMS18004A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 3610007 | 2018-01-31 | 1.9728 | 1.84 | 107.2174 | 7.2174 | 0.76322 | 0.09 | 3412 |  |  |  | µg/L | T225 | ICPMS18031A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1640022 | 2018-07-17 | 1.8497 | 1.84 | 100.5272 | 0.52717 | 0.055747 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS18193B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1770196 | 2018-07-20 | 1.7401 | 1.84 | 94.5707 | -5.4293 | -0.57414 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS18198A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 3390056 | 2018-01-03 | 2.8737 | 2.79 | 103 | 3 | 0.6 | 0.09 | 3412 |  |  |  | µg/L | T227 | ICPMS18003B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 3540001 | 2018-01-10 | 2.5559 | 2.79 | 91.6093 | -8.3907 | -1.6781 | 0.09 | 3412 |  |  |  | µg/L | T227 | ICPMS18010B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1560173 | 2018-07-16 | 2.7008 | 2.79 | 96.8029 | -3.1971 | -0.63943 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS18193B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2018 | 1700199 | 2018-08-01 | 2.7808 | 2.79 | 99.6703 | -0.32975 | -0.06595 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS18211B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2760034 | 2018-10-15 | 1.0149 | 1.04 | 97.5865 | -2.4135 | -0.37463 | 0.06 | 3412 |  |  |  | µg/L | T221 | ICPMS18288B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2890061 | 2018-10-29 | 0.9909 | 1.04 | 95.2788 | -4.7212 | -0.73284 | 0.06 | 3412 |  |  |  | µg/L | T221 | ICPMS18299B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 0920065 | 2019-04-30 | 1.0544 | 1.04 | 101.3846 | 1.3846 | 0.21493 | 0.06 | 3412 |  |  |  | µg/L | T221 | ICPMS19119B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1060103 | 2019-05-06 | 0.9593 | 1.04 | 92.2404 | -7.7596 | -1.2045 | 0.06 | 3412 |  |  |  | µg/L | T221 | ICPMS19122B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2830105 | 2018-10-29 | 3.1476 | 3.17 | 99.2934 | -0.70662 | -0.14132 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS18299B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2960205 | 2018-11-27 | 3.4985 | 3.17 | 110.3628 | 10.3628 | 2.0726 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS18324A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 0990128 | 2019-05-06 | 3.2697 | 3.17 | 103.1451 | 3.1451 | 0.62902 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19122B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1130095 | 2019-05-06 | 3.2737 | 3.17 | 103.2713 | 3.2713 | 0.65426 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS19122B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 3180066 | 2019-02-07 | 4.8787 | 4.97 | 98.163 | -1.837 | -0.3674 | 0.06 | 3412 | Sample was diluted |  |  | µg/L | T223 | ICPMS19036B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 3320104 | 2019-02-11 | 4.8597 | 4.97 | 97.7807 | -2.2193 | -0.44386 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19042A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1340212 | 2019-06-06 | 5.0837 | 4.97 | 102.2877 | 2.2877 | 0.45755 | 0.06 | 3412 |  |  |  | µg/L | T223 | ICPMS19157A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1490062 | 2019-06-24 | 5.1201 | 4.97 | 103.0201 | 3.0201 | 0.60402 | 0.06 | 3412 |  |  |  | µg/L | T223 | ICPMS19169A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 3100174 | 2019-02-12 | 0.1869 | 0.205 | 91.1707 | -8.8293 | -0.60333 | 0.06 | 3412 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T231 | ICPMS19042A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 3270026 | 2019-02-12 | 0.1933 | 0.205 | 94.2927 | -5.7073 | -0.39 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS19042A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1280117 | 2019-06-05 | 0.2153 | 0.205 | 105.0244 | 5.0244 | 0.34333 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19154A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1410229 | 2019-06-12 | 0.2236 | 0.205 | 109.0732 | 9.0732 | 0.62 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19158A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 0570186 | 2019-04-08 | 0.213 | 0.205 | 103.9024 | 3.9024 | 0.26667 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19098A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2250166 | 2019-09-04 | 0.2257 | 0.205 | 110.0976 | 10.0976 | 0.69 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS19247A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2390203 | 2019-09-23 | 0.2163 | 0.205 | 105.5122 | 5.5122 | 0.37667 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS19266A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 0520007 | 2019-03-29 | 5.0777 | 4.97 | 102.167 | 2.167 | 0.4334 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19087B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2180150 | 2019-08-29 | 5.0008 | 4.97 | 100.6197 | 0.61972 | 0.12394 | 0.06 | 3412 |  |  |  | µg/L | T223 | ICPMS19239B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2320181 | 2019-09-09 | 4.8506 | 4.97 | 97.5976 | -2.4024 | -0.48048 | 0.06 | 3412 |  |  |  | µg/L | T223 | ICPMS19252A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1900100 | 2019-08-19 | 1.0824 | 1.04 | 104.0769 | 4.0769 | 0.63284 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T221 | ICPMS19231B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2050046 | 2019-08-19 | 1.0717 | 1.04 | 103.0481 | 3.0481 | 0.47313 | 0.06 | 3412 |  |  |  | µg/L | T221 | ICPMS19231B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1830106 | 2019-08-02 | 3.2605 | 3.17 | 102.8549 | 2.8549 | 0.57098 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19214A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2000016 | 2019-08-20 | 3.2867 | 3.17 | 103.6814 | 3.6814 | 0.73628 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19231B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 0720020 | 2019-04-16 | 2.8966 | 2.79 | 103.8208 | 3.8208 | 0.76416 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS19105A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 0860006 | 2019-04-30 | 2.8601 | 2.79 | 102.5125 | 2.5125 | 0.50251 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19119B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2550075 | 2019-10-01 | 2.9237 | 2.79 | 104.7921 | 4.7921 | 0.95842 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19274A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2680149 | 2019-12-03 | 2.7519 | 2.79 | 98.6344 | -1.3656 | -0.27312 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19322A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 0640092 | 2019-04-17 | 1.9523 | 1.84 | 106.1033 | 6.1033 | 0.6454 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19105A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 0780096 | 2019-04-26 | 2.1812 | 1.84 | 118.5435 | 18.5435 | 1.9609 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19114A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2470180 | 2019-10-02 | 2.0618 | 1.84 | 112.0543 | 12.0543 | 1.2747 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS19274A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 2600328 | 2019-10-09 | 2.0173 | 1.84 | 109.6359 | 9.6359 | 1.019 | 0.06 | 3412 | Sample was diluted |  |  | µg/L | T225 | ICPMS19282B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 3450114 | 2019-02-21 | 1.8026 | 1.84 | 97.9674 | -2.0326 | -0.21494 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS19045B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1620136 | 2019-07-03 | 2.0196 | 1.84 | 109.7609 | 9.7609 | 1.0322 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS19183B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1760173 | 2019-07-03 | 1.9605 | 1.84 | 106.5489 | 6.5489 | 0.69253 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS19184B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 3400024 | 2019-02-20 | 2.7949 | 2.79 | 100.1756 | 0.17563 | 0.035125 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS19045B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 3530016 | 2019-02-04 | 2.8905 | 2.79 | 103.6022 | 3.6022 | 0.72043 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS19035A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1550162 | 2019-06-26 | 3.0288 | 2.79 | 108.5591 | 8.5591 | 1.7118 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19175B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2019 | 1690137 | 2019-07-02 | 2.8683 | 2.79 | 102.8065 | 2.8065 | 0.56129 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS19183B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2810114 | 2019-12-10 | 1.6554 | 1.65 | 100.3273 | 0.32727 | 0.063529 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS19338A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2950100 | 2019-12-16 | 1.7152 | 1.65 | 103.9515 | 3.9515 | 0.76706 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T233 | ICPMS19347B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0980043 | 2020-04-23 | 1.6241 | 1.65 | 98.4303 | -1.5697 | -0.30471 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS20114A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 1120049 | 2020-05-04 | 1.6456 | 1.65 | 99.7333 | -0.26667 | -0.051765 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS20125B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2890221 | 2019-12-12 | 3.2889 | 3.17 | 103.7508 | 3.7508 | 0.75016 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19344B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 3030027 | 2019-12-18 | 3.5132 | 3.17 | 110.8265 | 10.8265 | 2.1653 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19350A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 1060059 | 2020-04-23 | 3.2407 | 3.17 | 102.2303 | 2.2303 | 0.44606 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20114A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 3170095 | 2019-12-30 | 0.08 | 0.079 | 101.2658 | 1.2658 | 0.033333 | 0.06 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T235 | ICPMS19364A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 3310060 | 2019-12-30 | 0.083 | 0.079 | 105.0633 | 5.0633 | 0.13333 | 0.06 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T235 | ICPMS19364A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 1330126 | 2020-06-12 | 0.0808 | 0.079 | 102.2785 | 2.2785 | 0.06 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS20163B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 3090147 | 2019-12-30 | 0.2198 | 0.205 | 107.2195 | 7.2195 | 0.49333 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19364A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 3230099 | 2019-12-30 | 0.2323 | 0.205 | 113.3171 | 13.3171 | 0.91 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS19364A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0420076 | 2020-03-03 | 0.2137 | 0.205 | 104.2439 | 4.2439 | 0.29 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS20063B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0560053 | 2020-03-04 | 0.2133 | 0.205 | 104.0488 | 4.0488 | 0.27667 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T231 | ICPMS20064A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2240092 | 2020-09-24 | 0.2168 | 0.205 | 105.7561 | 5.7561 | 0.39333 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS20276A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2390027 | 2020-09-29 | 0.224 | 0.205 | 109.2683 | 9.2683 | 0.63333 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS20273A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0350135 | 2020-02-12 | 0.0805 | 0.079 | 101.8987 | 1.8987 | 0.05 | 0.06 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T235 | ICPMS20043A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0500059 | 2020-03-04 | 0.0781 | 0.079 | 98.8608 | -1.1392 | -0.03 | 0.06 | 3412 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T235 | ICPMS20064A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2170035 | 2020-09-17 | 0.0826 | 0.079 | 104.557 | 4.557 | 0.12 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS20260A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2320037 | 2020-09-24 | 0.0765 | 0.079 | 96.8354 | -3.1646 | -0.083333 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS20276A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0150017 | 2020-02-03 | 1.7122 | 1.65 | 103.7697 | 3.7697 | 0.73176 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS20031A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0280070 | 2020-02-03 | 1.6887 | 1.65 | 102.3455 | 2.3455 | 0.45529 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS20031A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 1960126 | 2020-09-03 | 1.6352 | 1.65 | 99.103 | -0.89697 | -0.17412 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS20247B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2120199 | 2020-09-17 | 1.6033 | 1.65 | 97.1697 | -2.8303 | -0.54941 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS20260A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0070044 | 2020-01-21 | 3.2145 | 3.17 | 101.4038 | 1.4038 | 0.28076 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20021A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0220109 | 2020-02-03 | 3.3989 | 3.17 | 107.2208 | 7.2208 | 1.4442 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20031A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 1890182 | 2020-09-02 | 3.0504 | 3.17 | 96.2271 | -3.7729 | -0.75457 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS20245B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2040025 | 2020-09-03 | 3.4217 | 3.17 | 107.9401 | 7.9401 | 1.588 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS20247B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0700103 | 2020-04-20 | 2.8269 | 2.79 | 101.3226 | 1.3226 | 0.26452 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20111B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0840029 | 2020-04-22 | 2.9057 | 2.79 | 104.147 | 4.147 | 0.82939 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20113B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2590164 | 2020-10-08 | 2.762 | 2.79 | 98.9964 | -1.0036 | -0.20072 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS20281B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2740056 | 2020-10-22 | 2.8929 | 2.79 | 103.6882 | 3.6882 | 0.73763 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS20296B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0630051 | 2020-03-18 | 1.9612 | 1.84 | 106.587 | 6.587 | 0.69655 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20076A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 0770114 | 2020-06-03 | 1.713 | 1.84 | 93.0978 | -6.9022 | -0.72989 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS20153B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2530137 | 2020-10-06 | 1.8686 | 1.84 | 101.5543 | 1.5543 | 0.16437 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS20279B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 2670298 | 2020-10-09 | 1.9762 | 1.84 | 107.4022 | 7.4022 | 0.78276 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS20281B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 3440294 | 2020-01-30 | 2.0381 | 1.84 | 110.7663 | 10.7663 | 1.1385 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS20030A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 3600045 | 2020-01-21 | 1.9434 | 1.84 | 105.6196 | 5.6196 | 0.59425 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20021A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 1610191 | 2020-07-01 | 1.8297 | 1.84 | 99.4402 | -0.55978 | -0.059195 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS20182B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 1760101 | 2020-08-28 | 1.8336 | 1.84 | 99.6522 | -0.34783 | -0.036782 | 0.06 | 3412 |  |  |  | µg/L | T225 | ICPMS20240A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 3370103 | 2020-01-10 | 2.6911 | 2.79 | 96.4552 | -3.5448 | -0.70896 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 3510023 | 2020-01-10 | 2.7092 | 2.79 | 97.1039 | -2.8961 | -0.57921 | 0.06 | 3412 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 1550007 | 2020-07-01 | 2.7295 | 2.79 | 97.8315 | -2.1685 | -0.43369 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS20182B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2020 | 1680149 | 2020-08-27 | 2.7951 | 2.79 | 100.1828 | 0.1828 | 0.036559 | 0.06 | 3412 |  |  |  | µg/L | T227 | ICPMS20240A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2810032 | 2020-10-22 | 1.6893 | 1.65 | 102.3818 | 2.3818 | 0.46235 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS20296B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2950028 | 2021-01-13 | 1.644 | 1.65 | 99.6364 | -0.36364 | -0.070588 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS21013B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0970048 | 2021-05-21 | 1.6791 | 1.65 | 101.7636 | 1.7636 | 0.34235 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS21140A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1110004 | 2021-06-02 | 1.656 | 1.65 | 100.3636 | 0.36364 | 0.070588 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS21153A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2880069 | 2020-12-30 | 3.314 | 3.17 | 104.5426 | 4.5426 | 0.90852 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS20350A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 3010155 | 2021-01-14 | 3.3178 | 3.17 | 104.6625 | 4.6625 | 0.93249 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS21013B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1030144 | 2021-05-05 | 3.2267 | 3.17 | 101.7886 | 1.7886 | 0.35773 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS21125A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1180038 | 2021-06-16 | 3.4323 | 3.17 | 108.2744 | 8.2744 | 1.6549 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS21167B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 3150100 | 2021-01-15 | 0.0777 | 0.079 | 98.3544 | -1.6456 | -0.043333 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS21015A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 3300047 | 2021-02-02 | 0.1089 | 0.079 | 137.8481 | 37.8481 | 0.99667 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS21033A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1320162 | 2021-06-29 | 0.083 | 0.079 | 105.0633 | 5.0633 | 0.13333 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS21180B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1460003 | 2021-07-10 | 0.0828 | 0.079 | 104.8101 | 4.8101 | 0.12667 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS21188B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 3080107 | 2021-01-14 | 0.2284 | 0.205 | 111.4146 | 11.4146 | 0.78 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS21013B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 3230039 | 2021-01-27 | 0.2174 | 0.205 | 106.0488 | 6.0488 | 0.41333 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS21026B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1250004 | 2021-06-16 | 0.2264 | 0.205 | 110.439 | 10.439 | 0.71333 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS21167B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1380139 | 2021-07-02 | 0.2129 | 0.205 | 103.8537 | 3.8537 | 0.26333 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS21182B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0330077 | 2021-05-07 | 0.1649 | 0.205 | 80.439 | -19.561 | -1.3367 | 0.06 | 3412 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T231 | ICPMS21126A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0480038 | 2021-05-18 | 0.2226 | 0.205 | 108.5854 | 8.5854 | 0.58667 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS21138A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2220178 | 2021-09-23 | 0.2117 | 0.205 | 103.2683 | 3.2683 | 0.22333 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS21258B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2360118 | 2021-10-02 | 0.215 | 0.205 | 104.878 | 4.878 | 0.33333 | 0.06 | 3412 |  |  |  | µg/L | T231 | ICPMS21273A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0400076 | 2021-05-07 | 0.06 | 0.079 | 75.9494 | -24.0506 | -0.63333 | 0.06 | 3412 |  |  |  | µg/L | T235 | ICPMS21126A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0540055 | 2021-05-11 | 0.0792 | 0.079 | 100.2532 | 0.25316 | 0.0066667 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS21131A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2150046 | 2021-08-30 | 0.0727 | 0.079 | 92.0253 | -7.9747 | -0.21 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS21242B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2290121 | 2021-09-24 | 0.0791 | 0.079 | 100.1266 | 0.12658 | 0.0033333 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS21267A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0120036 | 2021-03-04 | 1.6416 | 1.65 | 99.4909 | -0.50909 | -0.098824 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS21055A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0270078 | 2021-03-26 | 1.5774 | 1.65 | 95.6 | -4.4 | -0.85412 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS21077A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1940229 | 2021-08-16 | 1.6351 | 1.65 | 99.097 | -0.90303 | -0.17529 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS21228B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2080172 | 2021-08-19 | 1.668 | 1.65 | 101.0909 | 1.0909 | 0.21176 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS21230A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0050024 | 2021-03-04 | 3.2781 | 3.17 | 103.4101 | 3.4101 | 0.68202 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS21055A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0210015 | 2021-03-26 | 3.2599 | 3.17 | 102.836 | 2.836 | 0.56719 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS21077A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1880114 | 2021-08-11 | 3.313 | 3.17 | 104.511 | 4.511 | 0.90221 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS21222B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2010231 | 2021-08-19 | 3.2092 | 3.17 | 101.2366 | 1.2366 | 0.24732 | 0.06 | 3412 |  |  |  | µg/L | T229 | ICPMS21230A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0680063 | 2021-05-14 | 2.6416 | 2.52 | 104.8254 | 4.8254 | 0.53805 | 0.06 | 3412 | Sample was diluted |  |  | µg/L | T239 | ICPMS21132B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0830027 | 2021-05-15 | 2.6257 | 2.52 | 104.1944 | 4.1944 | 0.4677 | 0.06 | 3412 | Sample was diluted |  |  | µg/L | T239 | ICPMS21134A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2580265 | 2021-10-20 | 2.6398 | 2.52 | 104.754 | 4.754 | 0.53009 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS21292A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2790034 | 2021-11-23 | 2.6184 | 2.52 | 103.9048 | 3.9048 | 0.4354 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS21308B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0620100 | 2021-05-13 | 0.2793 | 0.256 | 109.1016 | 9.1016 | 0.77667 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS21132B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 0760035 | 2021-05-14 | 0.2712 | 0.256 | 105.9375 | 5.9375 | 0.50667 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS21134A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2510433 | 2021-10-14 | 0.2662 | 0.256 | 103.9844 | 3.9844 | 0.34 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS21287B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 2640271 | 2021-11-02 | 0.2495 | 0.256 | 97.4609 | -2.5391 | -0.21667 | 0.06 | 3412 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T237 | ICPMS21295B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 3500073 | 2021-01-29 | 0.2691 | 0.256 | 105.1172 | 5.1172 | 0.43667 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS21028B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 3640015 | 2021-03-04 | 0.2668 | 0.256 | 104.2187 | 4.2187 | 0.36 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS21055A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1600035 | 2021-07-24 | 0.2605 | 0.256 | 101.7578 | 1.7578 | 0.15 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS21200B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1730218 | 2021-08-07 | 0.2655 | 0.256 | 103.7109 | 3.7109 | 0.31667 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS21218A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 3440081 | 2021-01-29 | 2.4693 | 2.52 | 97.9881 | -2.0119 | -0.22434 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS21028B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 3580059 | 2021-03-04 | 2.6033 | 2.52 | 103.3056 | 3.3056 | 0.36858 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS21055A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1540139 | 2021-07-16 | 2.5762 | 2.52 | 102.2302 | 2.2302 | 0.24867 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS21195A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2021 | 1660119 | 2021-07-29 | 2.6476 | 2.52 | 105.0635 | 5.0635 | 0.5646 | 0.06 | 3412 | Sample was diluted |  |  | µg/L | T239 | ICPMS21209B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2790037 | 2021-12-14 | 1.6765 | 1.65 | 101.6061 | 1.6061 | 0.31176 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS21340B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0960123 | 2022-05-23 | 1.63 | 1.65 | 98.7879 | -1.2121 | -0.23529 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS22143B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1090127 | 2022-05-19 | 1.71 | 1.65 | 103.6364 | 3.6364 | 0.70588 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS22139A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2870243 | 2021-12-22 | 0.1553 | 0.16 | 97.0625 | -2.9375 | -0.15667 | 0.06 | 3412 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T241 | ICPMS21356A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 3000133 | 2022-01-03 | 0.1505 | 0.16 | 94.0625 | -5.9375 | -0.31667 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS21356B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1020024 | 2022-05-26 | 0.15 | 0.16 | 93.75 | -6.25 | -0.33333 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS22146A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1170082 | 2022-05-25 | 0.17 | 0.16 | 106.25 | 6.25 | 0.33333 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS22144A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 3130184 | 2022-01-05 | 0.0761 | 0.079 | 96.3291 | -3.6709 | -0.096667 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS22005A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 3270288 | 2022-01-20 | 0.08 | 0.079 | 101.2658 | 1.2658 | 0.033333 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS22011B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1320258 | 2022-07-20 | 0.08 | 0.079 | 101.2658 | 1.2658 | 0.033333 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS22157B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1460098 | 2022-06-27 | 0.09 | 0.079 | 113.9241 | 13.9241 | 0.36667 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS22178A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 3060209 | 2022-01-04 | 2.4765 | 2.46 | 100.6707 | 0.67073 | 0.11149 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS21356B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 3200088 | 2022-01-06 | 2.39 | 2.46 | 97.1545 | -2.8455 | -0.47297 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS22005A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1230094 | 2022-05-26 | 2.43 | 2.46 | 98.7805 | -1.2195 | -0.2027 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS22144A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1380070 | 2022-06-24 | 2.26 | 2.46 | 91.8699 | -8.1301 | -1.3514 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS22174A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0390071 | 2022-03-18 | 2.47 | 2.46 | 100.4065 | 0.4065 | 0.067568 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS22076B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0540113 | 2022-04-20 | 2.39 | 2.46 | 97.1545 | -2.8455 | -0.47297 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS22088B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2210114 | 2022-08-19 | 2.33 | 2.46 | 94.7154 | -5.2846 | -0.87838 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS22229B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2360390 | 2022-09-21 | 2.43 | 2.46 | 98.7805 | -1.2195 | -0.2027 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS22263B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0380065 | 2022-03-17 | 0.08 | 0.079 | 101.2658 | 1.2658 | 0.033333 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS22076B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0480131 | 2022-03-24 | 0.07 | 0.079 | 88.6076 | -11.3924 | -0.3 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS22080A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2140174 | 2022-08-09 | 0.08 | 0.079 | 101.2658 | 1.2658 | 0.033333 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS22220A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2280351 | 2022-08-26 | 0.08 | 0.079 | 101.2658 | 1.2658 | 0.033333 | 0.06 | 3412 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPMS22238A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0120120 | 2022-02-17 | 1.69 | 1.65 | 102.4242 | 2.4242 | 0.47059 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS22047B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0250044 | 2022-03-02 | 1.59 | 1.65 | 96.3636 | -3.6364 | -0.70588 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS22060A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1930200 | 2022-08-04 | 1.57 | 1.65 | 95.1515 | -4.8485 | -0.94118 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS22215B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2080416 | 2022-08-08 | 1.58 | 1.65 | 95.7576 | -4.2424 | -0.82353 | 0.06 | 3412 |  |  |  | µg/L | T233 | ICPMS22220A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0050041 | 2022-02-17 | 0.16 | 0.16 | 100 | 0 | 0 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS22047B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0190121 | 2022-03-02 | 0.15 | 0.16 | 93.75 | -6.25 | -0.33333 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS22060A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1870090 | 2022-08-02 | 0.17 | 0.16 | 106.25 | 6.25 | 0.33333 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS22214B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2000024 | 2022-08-04 | 0.15 | 0.16 | 93.75 | -6.25 | -0.33333 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS22215B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0670123 | 2022-04-20 | 2.68 | 2.52 | 106.3492 | 6.3492 | 0.70796 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS22088B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0820073 | 2022-05-24 | 2.78 | 2.52 | 110.3175 | 10.3175 | 1.1504 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS22143B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2570117 | 2022-09-28 | 2.67 | 2.52 | 105.9524 | 5.9524 | 0.66372 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS22269A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0760093 | 2022-05-24 | 0.25 | 0.256 | 97.6562 | -2.3438 | -0.2 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS22143B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 0880096 | 2022-05-24 | 0.26 | 0.256 | 101.5625 | 1.5625 | 0.13333 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS22143B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2500494 | 2022-10-05 | 0.25 | 0.256 | 97.6562 | -2.3438 | -0.2 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS22277A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 2630184 | 2022-10-05 | 0.25 | 0.256 | 97.6562 | -2.3438 | -0.2 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS22277A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 3480118 | 2022-03-09 | 0.27 | 0.256 | 105.4688 | 5.4688 | 0.46667 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS22068B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 3640134 | 2022-01-29 | 0.26 | 0.256 | 101.5625 | 1.5625 | 0.13333 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS22027D
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1660162 | 2022-07-26 | 0.26 | 0.256 | 101.5625 | 1.5625 | 0.13333 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS22203B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1790078 | 2022-07-28 | 0.25 | 0.256 | 97.6562 | -2.3438 | -0.2 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS22208B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 3410064 | 2022-01-15 | 2.41 | 2.52 | 95.6349 | -4.3651 | -0.48673 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS22014B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 3570003 | 2022-01-28 | 2.65 | 2.52 | 105.1587 | 5.1587 | 0.57522 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS22027C
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1580091 | 2022-07-22 | 2.57 | 2.52 | 101.9841 | 1.9841 | 0.22124 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS22202A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2022 | 1730126 | 2022-07-28 | 2.36 | 2.52 | 93.6508 | -6.3492 | -0.70796 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS22208B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 2770114 | 2022-10-26 | 0.23 | 0.236 | 97.4576 | -2.5424 | -0.2 | 0.06 | 3412 |  |  |  | µg/L | T245 | ICPMS22298B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 2920222 | 2022-10-28 | 0.23 | 0.236 | 97.4576 | -2.5424 | -0.2 | 0.06 | 3412 |  |  |  | µg/L | T245 | ICPMS22300A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0940130 | 2023-04-28 | 0.216 | 0.236 | 91.5254 | -8.4746 | -0.66667 | 0.06 | 3412 |  |  |  | µg/L | T245 | ICPMS23117A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1100089 | 2023-05-01 | 0.2315 | 0.236 | 98.0932 | -1.9068 | -0.15 | 0.06 | 3412 |  |  |  | µg/L | T245 | ICPMS23121B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 2860101 | 2022-10-28 | 0.15 | 0.16 | 93.75 | -6.25 | -0.33333 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS22300A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 2990136 | 2022-11-01 | 0.16 | 0.16 | 100 | 0 | 0 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS22305B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1020111 | 2023-04-28 | 0.129 | 0.16 | 80.625 | -19.375 | -1.0333 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS23117A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1170147 | 2023-05-23 | 0.1565 | 0.16 | 97.8125 | -2.1875 | -0.11667 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS23142B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 3130109 | 2022-11-16 | 3.3592 | 3.46 | 97.0867 | -2.9133 | -0.43826 | 0.06 | 3412 |  |  |  | µg/L | T247 | ICPMS22320A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 3330054 | 2023-02-02 | 3.5136 | 3.46 | 101.5491 | 1.5491 | 0.23304 | 0.06 | 3412 |  |  |  | µg/L | T247 | ICPMS23032A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1300167 | 2023-05-24 | 3.437 | 3.46 | 99.3353 | -0.66474 | -0.1 | 0.06 | 3412 |  |  |  | µg/L | T247 | ICPMS23142B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1440060 | 2023-06-06 | 3.5479 | 3.46 | 102.5405 | 2.5405 | 0.38217 | 0.06 | 3412 |  |  |  | µg/L | T247 | ICPMS23156B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 3060049 | 2022-11-08 | 2.5354 | 2.46 | 103.065 | 3.065 | 0.50946 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS22312B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 3200145 | 2023-01-28 | 2.3428 | 2.46 | 95.2358 | -4.7642 | -0.79189 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS23027A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1240210 | 2023-05-20 | 2.3605 | 2.46 | 95.9553 | -4.0447 | -0.6723 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS23139A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1360048 | 2023-05-25 | 2.3376 | 2.46 | 95.0244 | -4.9756 | -0.82703 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS23144C
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0470007 | 2023-03-16 | 2.1938 | 2.46 | 89.1789 | -10.8211 | -1.7986 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS23074A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0620097 | 2023-03-25 | 2.3482 | 2.46 | 95.4553 | -4.5447 | -0.75541 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS23083B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 2280173 | 2023-09-08 | 2.4538 | 2.46 | 99.748 | -0.25203 | -0.041892 | 0.06 | 3412 |  |  |  | µg/L | T243 | ICPMS23250A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0380151 | 2023-02-18 | 3.347 | 3.46 | 96.7341 | -3.2659 | -0.4913 | 0.06 | 3412 |  |  |  | µg/L | T247 | ICPMS23048A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0590092 | 2023-03-16 | 3.3176 | 3.46 | 95.8844 | -4.1156 | -0.61913 | 0.06 | 3412 |  |  |  | µg/L | T247 | ICPMS23074A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 2200127 | 2023-09-01 | 3.4824 | 3.46 | 100.6474 | 0.6474 | 0.097391 | 0.06 | 3412 |  |  |  | µg/L | T247 | ICPMS23241B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 2350096 | 2023-09-27 | 3.5498 | 3.46 | 102.5954 | 2.5954 | 0.39043 | 0.06 | 3412 |  |  |  | µg/L | T247 | ICPMS23269A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0190114 | 2023-02-16 | 0.2388 | 0.236 | 101.1864 | 1.1864 | 0.093333 | 0.06 | 3412 |  |  |  | µg/L | T245 | ICPMS23047A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0310087 | 2023-02-17 | 0.2312 | 0.236 | 97.9661 | -2.0339 | -0.16 | 0.06 | 3412 |  |  |  | µg/L | T245 | ICPMS23048A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1940234 | 2023-07-28 | 0.2339 | 0.236 | 99.1102 | -0.88983 | -0.07 | 0.06 | 3412 |  |  |  | µg/L | T245 | ICPMS23208B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 2060142 | 2023-08-08 | 0.2571 | 0.236 | 108.9407 | 8.9407 | 0.70333 | 0.06 | 3412 |  |  |  | µg/L | T245 | ICPMS23219A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0100103 | 2023-02-14 | 0.1513 | 0.16 | 94.5625 | -5.4375 | -0.29 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS23045A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0250122 | 2023-02-02 | 0.1445 | 0.16 | 90.3125 | -9.6875 | -0.51667 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS23032A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1870310 | 2023-07-18 | 0.1749 | 0.16 | 109.3125 | 9.3125 | 0.49667 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS23198A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1990166 | 2023-07-28 | 0.1529 | 0.16 | 95.5625 | -4.4375 | -0.23667 | 0.06 | 3412 |  |  |  | µg/L | T241 | ICPMS23208B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0740033 | 2023-03-22 | 2.4865 | 2.52 | 98.6706 | -1.3294 | -0.14823 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS23080A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0880093 | 2023-04-28 | 2.4215 | 2.52 | 96.0913 | -3.9087 | -0.43584 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS23117A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0670102 | 2023-03-25 | 0.228 | 0.256 | 89.0625 | -10.9375 | -0.93333 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS23083B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0800075 | 2023-03-30 | 0.2695 | 0.256 | 105.2734 | 5.2734 | 0.45 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS23089B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 2490138 | 2023-09-18 | 0.2559 | 0.256 | 99.9609 | -0.039062 | -0.0033333 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS23257A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 3490121 | 2023-02-09 | 0.2361 | 0.256 | 92.2266 | -7.7734 | -0.66333 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS23040A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 0040114 | 2023-02-14 | 0.2638 | 0.256 | 103.0469 | 3.0469 | 0.26 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS23045A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1650066 | 2023-06-26 | 0.2457 | 0.256 | 95.9766 | -4.0234 | -0.34333 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS23177B
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1840086 | 2023-07-18 | 0.258 | 0.256 | 100.7812 | 0.78125 | 0.066667 | 0.06 | 3412 |  |  |  | µg/L | T237 | ICPMS23198A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 3400090 | 2023-02-02 | 2.4237 | 2.52 | 96.1786 | -3.8214 | -0.42611 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS23032A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 3610135 | 2023-01-12 | 2.4414 | 2.52 | 96.881 | -3.119 | -0.34779 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS23011A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1570041 | 2023-06-28 | 2.6454 | 2.52 | 104.9762 | 4.9762 | 0.55487 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS23179A
Antimony, UNF, ICP-MS | 01097 | PLM78 | UNF | 2023 | 1730211 | 2023-06-28 | 2.6909 | 2.52 | 106.7817 | 6.7817 | 0.75619 | 0.06 | 3412 |  |  |  | µg/L | T239 | ICPMS23179A