## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1070070 | 2015-05-30 | 336.6 | 349 | 96.447 | -3.553 | -0.5602 |  | 3522 | See result laboratory comment |  |  | ug/L | 25213-75211 | ICPOE15149A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1210015 | 2015-06-10 | 338.3 | 349 | 96.9341 | -3.0659 | -0.4834 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15159C
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1030094 | 2015-05-30 | 7.297 | 7.0125 | 104.057 | 4.057 | 0.37933 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15149A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1180081 | 2015-06-10 | 7.117 | 7.0125 | 101.4902 | 1.4902 | 0.13933 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15156A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1610001 | 2015-07-01 | 286.8 | 303 | 94.6535 | -5.3465 | -0.84282 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15181A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1730008 | 2015-07-03 | 292.1 | 303 | 96.4026 | -3.5974 | -0.56708 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15182B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1670047 | 2015-07-02 | 127.4 | 138 | 92.3188 | -7.6812 | -1.2087 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15182B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1770059 | 2015-07-31 | 127.4 | 138 | 92.3188 | -7.6812 | -1.2087 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15212A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2190001 | 2015-08-28 | 104 | 108.0125 | 96.2852 | -3.7148 | -0.584 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15239A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2330121 | 2015-09-18 | 100 | 108.0125 | 92.5819 | -7.4181 | -1.1662 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15258A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2300001 | 2015-09-17 | 126 | 140.3375 | 89.7836 | -10.2164 | -1.6077 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15258A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2430086 | 2015-09-26 | 127 | 140.3375 | 90.4961 | -9.5039 | -1.4955 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15267C
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1350073 | 2015-06-11 | 109.1 | 108.0125 | 101.0068 | 1.0068 | 0.15828 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15159C
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1490088 | 2015-06-12 | 104.7 | 108.0125 | 96.9332 | -3.0668 | -0.48212 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15162E
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1310024 | 2015-06-10 | 136.8 | 140.3375 | 97.4793 | -2.5207 | -0.39666 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15159C
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1460100 | 2015-06-12 | 131.7 | 140.3375 | 93.8452 | -6.1548 | -0.96853 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15162E
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 0840083 | 2015-06-12 | 131.1 | 138 | 95 | -5 | -0.78677 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15163A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2510002 | 2015-10-02 | 127.7 | 138 | 92.5362 | -7.4638 | -1.1744 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15274A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2610001 | 2015-10-03 | 125.7 | 138 | 91.087 | -8.913 | -1.4025 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15274A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 0900120 | 2015-05-28 | 309.3 | 303 | 102.0792 | 2.0792 | 0.32776 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15131A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2580002 | 2015-10-02 | 290.8 | 303 | 95.9736 | -4.0264 | -0.63472 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15274A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2710062 | 2015-10-15 | 291.5 | 303 | 96.2046 | -3.7954 | -0.5983 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15287A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 1910076 | 2015-08-04 | 334.5 | 349 | 95.8453 | -4.1547 | -0.65508 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15215C
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2050099 | 2015-08-25 | 321.9 | 349 | 92.235 | -7.765 | -1.2243 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15236C
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2010039 | 2015-08-17 | 5.365 | 7.0125 | 76.5062 | -23.4938 | -2.1967 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15229C
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2015 | 2150036 | 2015-08-28 | 4.067 | 7.0125 | 57.9964 | -42.0036 | -3.9273 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15239A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2890004 | 2015-11-07 | 183.4 | 191 | 96.0209 | -3.9791 | -0.79581 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T217 | ICPOE15308A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 3030023 | 2015-12-02 | 181.6 | 191 | 95.0785 | -4.9215 | -0.98429 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T217 | ICPOE15336A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1100108 | 2016-04-25 | 188 | 191 | 98.4293 | -1.5707 | -0.31414 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T217 | ICPOE16116A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1200078 | 2016-05-19 | 179.2 | 191 | 93.822 | -6.178 | -1.2356 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T217 | ICPOE16139B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2860107 | 2015-10-24 | 121.7 | 138 | 88.1884 | -11.8116 | -1.8586 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15295A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2990059 | 2015-11-12 | 125.7 | 138 | 91.087 | -8.913 | -1.4025 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15314A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1020033 | 2016-04-20 | 124.6 | 138 | 90.2899 | -9.7101 | -1.5279 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE16109B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1160085 | 2016-05-19 | 129.2 | 138 | 93.6232 | -6.3768 | -1.0034 | 2 | 3522 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE16139B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1620234 | 2016-08-18 | 2.992 | 4.45 | 67.236 | -32.764 | -1.458 | 2 | 3522 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | µg/L | T215 | ICPOE16231A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1760254 | 2016-08-19 | 4.135 | 4.45 | 92.9213 | -7.0787 | -0.315 | 2 | 3522 |  |  |  | µg/L | T215 | ICPOE16232B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1740082 | 2016-08-19 | 390.8 | 404 | 96.7327 | -3.2673 | -0.5259 | 2 | 3522 |  |  |  | µg/L | T211 | ICPOE16232B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1870014 | 2016-08-18 | 402.4 | 404 | 99.604 | -0.39604 | -0.063745 | 2 | 3522 |  |  |  | µg/L | T211 | ICPOE16231A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2210021 | 2016-08-24 | 9.628 | 9.35 | 102.9733 | 2.9733 | 0.278 | 2 | 3522 |  |  |  | µg/L | T209 | ICPOE16236B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2350041 | 2016-11-30 | 8.109 | 9.35 | 86.7273 | -13.2727 | -1.241 | 2 | 3522 |  |  |  | µg/L | T209 | ICPOE16335A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2280044 | 2016-08-26 | 183.5 | 193 | 95.0777 | -4.9223 | -0.98446 | 2 | 3522 |  |  |  | µg/L | T219 | ICPOE16239A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2440086 | 2016-12-01 | 200.5 | 193 | 103.886 | 3.886 | 0.7772 | 2 | 3522 |  |  |  | µg/L | T219 | ICPOE16336A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 3200021 | 2015-12-03 | 7.375 | 9.35 | 78.877 | -21.123 | -1.975 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T209 | ICPOE15336A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 3340003 | 2015-12-31 | 8.218 | 9.35 | 87.893 | -12.107 | -1.132 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T209 | ICPOE15365A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1380005 | 2016-06-01 | 9.269 | 9.35 | 99.1337 | -0.86631 | -0.081 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T209 | ICPOE16152A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1480195 | 2016-06-10 | 8.686 | 9.35 | 92.8984 | -7.1016 | -0.664 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T209 | ICPOE16161B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 3140014 | 2015-12-02 | 182.4 | 193 | 94.5078 | -5.4922 | -1.0984 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T219 | ICPOE15336A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 3270016 | 2015-12-04 | 180.4 | 193 | 93.4715 | -6.5285 | -1.3057 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T219 | ICPOE15337A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1270017 | 2016-06-01 | 186.9 | 193 | 96.8394 | -3.1606 | -0.63212 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T219 | ICPOE16152A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1450037 | 2016-06-09 | 186.7 | 193 | 96.7358 | -3.2642 | -0.65285 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T219 | ICPOE16161B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 0360140 | 2016-02-16 | 8.471 | 9.35 | 90.5989 | -9.4011 | -0.879 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T209 | ICPOE16047A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 0500013 | 2016-03-08 | 8.621 | 9.35 | 92.2032 | -7.7968 | -0.729 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T209 | ICPOE16067A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 0080060 | 2016-01-20 | 184.9 | 191 | 96.8063 | -3.1937 | -0.63874 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T217 | ICPOE16020A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 0220021 | 2016-02-02 | 178.2 | 191 | 93.2984 | -6.7016 | -1.3403 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T217 | ICPOE16033A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 0740017 | 2016-04-05 | 379.1 | 404 | 93.8366 | -6.1634 | -0.99203 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T211 | ICPOE16095A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 0880042 | 2016-04-15 | 409.9 | 404 | 101.4604 | 1.4604 | 0.23506 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T211 | ICPOE16103A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2570067 | 2016-12-02 | 403.9 | 404 | 99.9752 | -0.024752 | -0.0039841 | 2 | 3522 |  |  |  | µg/L | T211 | ICPOE16337A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2710001 | 2016-12-03 | 417.3 | 404 | 103.2921 | 3.2921 | 0.52988 | 2 | 3522 |  |  |  | µg/L | T211 | ICPOE16337B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 0780004 | 2016-04-05 | 3.721 | 4.45 | 83.618 | -16.382 | -0.729 | 2 | 3522 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T215 | ICPOE16095A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 0920001 | 2016-04-15 | 4.028 | 4.45 | 90.5169 | -9.4831 | -0.422 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T215 | ICPOE16103A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2600135 | 2016-12-03 | 2.369 | 4.45 | 53.236 | -46.764 | -2.081 | 2 | 3522 | Below the reporting level but at or above the detection level |  |  | µg/L | T215 | ICPOE16337B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 3490011 | 2015-12-31 | 3.732 | 4.45 | 83.8652 | -16.1348 | -0.718 | 2 | 3522 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T215 | ICPOE15365A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 3630062 | 2016-01-20 | 3.315 | 4.45 | 74.4944 | -25.5056 | -1.135 | 2 | 3522 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T215 | ICPOE16020A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 1900148 | 2016-09-08 | 192.7 | 191 | 100.8901 | 0.89005 | 0.17801 | 2 | 3522 | Sample was diluted |  |  | µg/L | T217 | ICPOE16252A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2040161 | 2016-08-22 | 199.9 | 191 | 104.6597 | 4.6597 | 0.93194 | 2 | 3522 |  |  |  | µg/L | T217 | ICPOE16235A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2000017 | 2016-08-22 | 135.1 | 138 | 97.8986 | -2.1014 | -0.33067 | 2 | 3522 |  |  |  | µg/L | 75213-25DIW | ICPOE16235A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2016 | 2140006 | 2016-08-22 | 132.4 | 138 | 95.942 | -4.058 | -0.63854 | 2 | 3522 |  |  |  | µg/L | 75213-25DIW | ICPOE16235A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2019 | 2390201 | 2019-09-19 | 12.9 | 12.7 | 101.5748 | 1.5748 | 0.16807 | 2 | 3522 |  |  |  | µg/L | T223 | ICPOE19262B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2019 | 2530046 | 2019-10-25 | 10.1 | 10.1 | 100 | 0 | 0 | 2 | 3522 |  |  |  | µg/L | T225 | ICPOE19297B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2019 | 2670167 | 2019-11-06 | 10.24 | 10.1 | 101.3861 | 1.3861 | 0.14 | 2 | 3522 |  |  |  | µg/L | T225 | ICPOE19310A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 2840134 | 2019-11-08 | 19.57 | 19.7 | 99.3401 | -0.6599 | -0.07027 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE19312A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 3030024 | 2019-11-25 | 19.15 | 19.7 | 97.2081 | -2.7919 | -0.2973 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE19329B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 1040011 | 2020-04-27 | 18.88 | 19.7 | 95.8376 | -4.1624 | -0.44324 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T233 | ICPOE20118B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 1150060 | 2020-05-07 | 19.4 | 19.7 | 98.4772 | -1.5228 | -0.16216 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T233 | ICPOE20128B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 1570002 | 2020-07-16 | 216.3 | 205 | 105.5122 | 5.5122 | 0.94958 | 2 | 3522 |  |  |  | µg/L | T227 | ICPOE20198A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 1710162 | 2020-07-21 | 198.7 | 205 | 96.9268 | -3.0732 | -0.52941 | 2 | 3522 |  |  |  | µg/L | T227 | ICPOE20203A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 2200219 | 2020-08-27 | 25.45 | 24.8 | 102.621 | 2.621 | 0.42208 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE20248B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 2390033 | 2020-09-10 | 25.33 | 24.8 | 102.1371 | 2.1371 | 0.34416 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE20254A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 3120135 | 2019-12-04 | 179.2 | 185 | 96.8649 | -3.1351 | -0.52727 | 2 | 3522 |  |  |  | µg/L | T231 | ICPOE19338A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 3260057 | 2020-01-14 | 182.9 | 185 | 98.8649 | -1.1351 | -0.19091 | 2 | 3522 |  |  |  | µg/L | T231 | ICPOE20014A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 1290023 | 2020-06-01 | 184.8 | 185 | 99.8919 | -0.10811 | -0.018182 | 2 | 3522 |  |  |  | µg/L | T231 | ICPOE20153A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 1470041 | 2020-06-15 | 186.3 | 185 | 100.7027 | 0.7027 | 0.11818 | 2 | 3522 |  |  |  | µg/L | T231 | ICPOE20167B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 0420074 | 2020-02-26 | 24.32 | 24.8 | 98.0645 | -1.9355 | -0.31169 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE20057B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 0560054 | 2020-03-05 | 24.76 | 24.8 | 99.8387 | -0.16129 | -0.025974 | 2 | 3522 | See result laboratory comment |  |  | µg/L | T235 | ICPOE20064A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 0150016 | 2020-02-06 | 221.9 | 230 | 96.4783 | -3.5217 | -0.65854 | 2 | 3522 |  |  |  | µg/L | T229 | ICPOE20037A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 0280068 | 2020-02-06 | 227 | 230 | 98.6957 | -1.3043 | -0.2439 | 2 | 3522 |  |  |  | µg/L | T229 | ICPOE20037A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 0700086 | 2020-03-19 | 9.928 | 10.1 | 98.297 | -1.703 | -0.172 | 2 | 3522 |  |  |  | µg/L | T225 | ICPOE20079A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 0840025 | 2020-04-08 | 10.58 | 10.1 | 104.7525 | 4.7525 | 0.48 | 2 | 3522 |  |  |  | µg/L | T225 | ICPOE20098A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 2550049 | 2020-09-29 | 10.03 | 10.1 | 99.3069 | -0.69307 | -0.07 | 2 | 3522 |  |  |  | µg/L | T225 | ICPOE20273B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 2690022 | 2020-10-14 | 9.107 | 10.1 | 90.1683 | -9.8317 | -0.993 | 2 | 3522 |  |  |  | µg/L | T225 | ICPOE20288B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 3400073 | 2020-01-14 | 199.1 | 205 | 97.122 | -2.878 | -0.4958 | 2 | 3522 |  |  |  | µg/L | T227 | ICPOE20014A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 3600047 | 2020-01-15 | 195.3 | 205 | 95.2683 | -4.7317 | -0.81513 | 2 | 3522 |  |  |  | µg/L | T227 | ICPOE20014A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 1920105 | 2020-07-27 | 228.3 | 230 | 99.2609 | -0.73913 | -0.13821 | 2 | 3522 |  |  |  | µg/L | T229 | ICPOE20209A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2020 | 2110156 | 2020-08-24 | 229.2 | 230 | 99.6522 | -0.34783 | -0.065041 | 2 | 3522 |  |  |  | µg/L | T229 | ICPOE20237A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 2830130 | 2020-10-19 | 19.24 | 19.7 | 97.665 | -2.335 | -0.24865 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE20293A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 2970237 | 2020-11-12 | 18.96 | 19.7 | 96.2437 | -3.7563 | -0.4 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE20317A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 1030140 | 2021-06-10 | 18.74 | 19.7 | 95.1269 | -4.8731 | -0.51892 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE21168A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 1180043 | 2021-06-08 | 18.18 | 19.7 | 92.2843 | -7.7157 | -0.82162 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE21159B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 1600034 | 2021-07-01 | 11.84 | 13.2 | 89.697 | -10.303 | -1.088 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE21182A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 1730215 | 2021-07-07 | 11.38 | 13.2 | 86.2121 | -13.7879 | -1.456 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE21187B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 2180158 | 2021-09-09 | 25.2 | 24.8 | 101.6129 | 1.6129 | 0.25974 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE21251A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 2320154 | 2021-09-15 | 24.79 | 24.8 | 99.9597 | -0.040323 | -0.0064935 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE21256A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 3110060 | 2020-11-13 | 182.5 | 185 | 98.6486 | -1.3514 | -0.22727 | 2 | 3522 |  |  |  | µg/L | T231 | ICPOE20317A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 3250099 | 2021-01-14 | 181.8 | 185 | 98.2703 | -1.7297 | -0.29091 | 2 | 3522 |  |  |  | µg/L | T231 | ICPOE21014A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 1300058 | 2021-06-09 | 189.6 | 185 | 102.4865 | 2.4865 | 0.41818 | 2 | 3522 |  |  |  | µg/L | T231 | ICPOE21159B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 1440087 | 2021-06-24 | 184.8 | 185 | 99.8919 | -0.10811 | -0.018182 | 2 | 3522 |  |  |  | µg/L | T231 | ICPOE21174B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 0480041 | 2021-03-11 | 23.49 | 24.8 | 94.7177 | -5.2823 | -0.85065 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE21070A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 0620101 | 2021-03-19 | 23.4 | 24.8 | 94.3548 | -5.6452 | -0.90909 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE21078A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 0120029 | 2021-01-26 | 225.1 | 230 | 97.8696 | -2.1304 | -0.39837 | 2 | 3522 |  |  |  | µg/L | T229 | ICPOE21026A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 0270013 | 2021-02-17 | 215.3 | 230 | 93.6087 | -6.3913 | -1.1951 | 2 | 3522 |  |  |  | µg/L | T229 | ICPOE21048A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 0680060 | 2021-03-29 | 238.5 | 266 | 89.6617 | -10.3383 | -2.0677 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE21088A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 0820065 | 2021-03-29 | 259.2 | 266 | 97.4436 | -2.5564 | -0.51128 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE21088A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 2580240 | 2021-10-06 | 254 | 266 | 95.4887 | -4.5113 | -0.90226 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE21279A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 2670211 | 2021-10-19 | 262.8 | 266 | 98.797 | -1.203 | -0.2406 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE21292A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 3460123 | 2021-01-22 | 12.59 | 13.2 | 95.3788 | -4.6212 | -0.488 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE21019A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 3640039 | 2021-01-14 | 14.02 | 13.2 | 106.2121 | 6.2121 | 0.656 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE21014A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 1900156 | 2021-08-03 | 218.4 | 230 | 94.9565 | -5.0435 | -0.94309 | 2 | 3522 |  |  |  | µg/L | T229 | ICPOE21215B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2021 | 2040240 | 2021-08-12 | 236.1 | 230 | 102.6522 | 2.6522 | 0.49593 | 2 | 3522 |  |  |  | µg/L | T229 | ICPOE21224B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 2860149 | 2021-11-24 | 18.41 | 19.7 | 93.4518 | -6.5482 | -0.6973 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE21328A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 2990148 | 2021-11-10 | 18.44 | 19.7 | 93.6041 | -6.3959 | -0.68108 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE21314B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 0980188 | 2022-04-19 | 19 | 19.7 | 96.4467 | -3.5533 | -0.37838 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE22108B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 1160192 | 2022-05-12 | 20 | 19.7 | 101.5228 | 1.5228 | 0.16216 | 2 | 3522 |  |  |  | µg/L | T233 | ICPOE22132A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 1660163 | 2022-07-15 | 13 | 13.2 | 98.4848 | -1.5152 | -0.16 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE22196B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 1750117 | 2022-07-20 | 13 | 13.2 | 98.4848 | -1.5152 | -0.16 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE22201A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 2220143 | 2022-09-30 | 30 | 24.8 | 120.9677 | 20.9677 | 3.3766 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE22272A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 2350173 | 2022-09-06 | 25 | 24.8 | 100.8065 | 0.80645 | 0.12987 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE22244A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 3090005 | 2022-01-25 | 440.5 | 446 | 98.7668 | -1.2332 | -0.21484 | 2 | 3522 |  |  |  | µg/L | T243 | ICPOE22025A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 3260007 | 2021-12-27 | 435 | 446 | 97.5336 | -2.4664 | -0.42969 | 2 | 3522 |  |  |  | µg/L | T243 | ICPOE21361A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 1300129 | 2022-05-24 | 439 | 446 | 98.4305 | -1.5695 | -0.27344 | 2 | 3522 |  |  |  | µg/L | T243 | ICPOE22143A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 1450287 | 2022-07-12 | 448 | 446 | 100.4484 | 0.44843 | 0.078125 | 2 | 3522 |  |  |  | µg/L | T243 | ICPOE22193A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 0470184 | 2022-03-04 | 25 | 24.8 | 100.8065 | 0.80645 | 0.12987 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE22063A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 0600064 | 2022-03-16 | 25 | 24.8 | 100.8065 | 0.80645 | 0.12987 | 2 | 3522 |  |  |  | µg/L | T235 | ICPOE22075A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 0110077 | 2022-01-25 | 193 | 193 | 100 | 0 | 0 | 2 | 3522 |  |  |  | µg/L | T241 | ICPOE22025A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 0260159 | 2022-02-15 | 193 | 193 | 100 | 0 | 0 | 2 | 3522 |  |  |  | µg/L | T241 | ICPOE22046A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 0810117 | 2022-04-07 | 266 | 266 | 100 | 0 | 0 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE22097A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 0950119 | 2022-04-19 | 260 | 266 | 97.7444 | -2.2556 | -0.45113 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE22108B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 2560120 | 2022-09-27 | 260 | 266 | 97.7444 | -2.2556 | -0.45113 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE22269B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 2700272 | 2022-10-17 | 252 | 266 | 94.7368 | -5.2632 | -1.0526 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE22290A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 3440003 | 2022-01-25 | 13 | 13.2 | 98.4848 | -1.5152 | -0.16 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE22025A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 3630121 | 2022-01-26 | 13 | 13.2 | 98.4848 | -1.5152 | -0.16 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE22026A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 1920046 | 2022-07-15 | 190 | 193 | 98.4456 | -1.5544 | -0.28846 | 2 | 3522 |  |  |  | µg/L | T241 | ICPOE22195A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2022 | 2070158 | 2022-08-09 | 194 | 193 | 100.5181 | 0.51813 | 0.096154 | 2 | 3522 |  |  |  | µg/L | T241 | ICPOE22221A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 2850200 | 2022-10-25 | 161 | 167 | 96.4072 | -3.5928 | -0.71856 | 2 | 3522 |  |  |  | µg/L | T245 | ICPOE22297A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 2980100 | 2022-11-03 | 159 | 167 | 95.2096 | -4.7904 | -0.95808 | 2 | 3522 |  |  |  | µg/L | T245 | ICPOE22307A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 1010253 | 2023-05-03 | 155.8 | 167 | 93.2934 | -6.7066 | -1.3413 | 2 | 3522 | Matrix spike (MS) recovery outside of acceptable range |  |  | µg/L | T245 | ICPOE23122B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 1160089 | 2023-05-03 | 167.2 | 167 | 100.1198 | 0.11976 | 0.023952 | 2 | 3522 |  |  |  | µg/L | T245 | ICPOE23123B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 1640229 | 2023-06-23 | 11.81 | 13.2 | 89.4697 | -10.5303 | -1.112 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE23166A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 1800090 | 2023-07-06 | 12.53 | 13.2 | 94.9242 | -5.0758 | -0.536 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE23186C
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 2260045 | 2023-08-30 | 9.52 | 10.2 | 93.3333 | -6.6667 | -0.5 | 2 | 3522 |  |  |  | µg/L | T247 | ICPOE23235A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 2430075 | 2023-09-20 | 9.416 | 10.2 | 92.3137 | -7.6863 | -0.57647 | 2 | 3522 |  |  |  | µg/L | T247 | ICPOE23263A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 3120116 | 2022-11-23 | 434.4 | 446 | 97.3991 | -2.6009 | -0.45313 | 2 | 3522 |  |  |  | µg/L | T243 | ICPOE22327B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 3260049 | 2022-12-14 | 439.2 | 446 | 98.4753 | -1.5247 | -0.26562 | 2 | 3522 |  |  |  | µg/L | T243 | ICPOE22348B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 1290206 | 2023-05-25 | 456.8 | 446 | 102.4215 | 2.4215 | 0.42188 | 2 | 3522 |  |  |  | µg/L | T243 | ICPOE23143B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 1430249 | 2023-05-30 | 441.8 | 446 | 99.0583 | -0.9417 | -0.16406 | 2 | 3522 | Matrix spike (MS) recovery outside of acceptable range |  |  | µg/L | T243 | ICPOE23146B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 0450135 | 2023-03-22 | 10.08 | 10.2 | 98.8235 | -1.1765 | -0.088235 | 2 | 3522 |  |  |  | µg/L | T247 | ICPOE23081A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 0610266 | 2023-04-27 | 10.12 | 10.2 | 99.2157 | -0.78431 | -0.058824 | 2 | 3522 |  |  |  | µg/L | T247 | ICPOE23117A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 0180009 | 2023-02-13 | 183.4 | 193 | 95.0259 | -4.9741 | -0.92308 | 2 | 3522 |  |  |  | µg/L | T241 | ICPOE23044A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 0270018 | 2023-02-10 | 187.4 | 193 | 97.0984 | -2.9016 | -0.53846 | 2 | 3522 |  |  |  | µg/L | T241 | ICPOE23040A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 0730106 | 2023-03-22 | 257.4 | 266 | 96.7669 | -3.2331 | -0.64662 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE23081A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 0870135 | 2023-05-02 | 254.3 | 266 | 95.6015 | -4.3985 | -0.8797 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE23122B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 2560013 | 2023-09-20 | 256.5 | 266 | 96.4286 | -3.5714 | -0.71429 | 2 | 3522 |  |  |  | µg/L | T237 | ICPOE23263A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 3480158 | 2022-12-22 | 11.99 | 13.2 | 90.8333 | -9.1667 | -0.968 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE22355B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 3630098 | 2023-01-10 | 12.11 | 13.2 | 91.7424 | -8.2576 | -0.872 | 2 | 3522 |  |  |  | µg/L | T239 | ICPOE23010A
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 1930108 | 2023-07-19 | 190.5 | 193 | 98.7047 | -1.2953 | -0.24038 | 2 | 3522 |  |  |  | µg/L | T241 | ICPOE23200B
Zinc, UNF, ICP-OES | 01092 | PLO07 | UNF | 2023 | 2050065 | 2023-08-04 | 191.1 | 193 | 99.0155 | -0.98446 | -0.18269 | 2 | 3522 |  |  |  | µg/L | T241 | ICPOE23215B