## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2770143 | 2018-10-18 |  | 0.0322 | 0.0295 | 109.1525 | 9.1525 | 0.002 | 1.35 | 0.008 | 2333 |  |  |  | mg/L (as P) | N140X | PELW290B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2760033 | 2018-10-18 |  | 0.1379 | 0.122 | 113.0328 | 13.0328 | 0.0061 | 2.6066 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW290A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2018 | 2630223 | 2018-10-24 |  | 0.1285 | 0.135 | 95.1852 | -4.8148 | 0.00675 | -0.96296 | 0.004 | 2333 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L as P | N137 | PELW295A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2840113 | 2018-10-24 |  | 0.0297 | 0.0295 | 100.678 | 0.67797 | 0.002 | 0.1 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW295B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2830103 | 2018-10-24 |  | 0.132 | 0.122 | 108.1967 | 8.1967 | 0.0061 | 1.6393 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW295B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2890059 | 2018-10-25 |  | 0.1348 | 0.122 | 110.4918 | 10.4918 | 0.0061 | 2.0984 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW297B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2910157 | 2018-10-30 |  | 0.0296 | 0.0295 | 100.339 | 0.33898 | 0.002 | 0.05 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW302B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3100175 | 2018-11-27 |  | 0.03 | 0.0295 | 101.6949 | 1.6949 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW323C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3120138 | 2018-11-29 |  | 0.1323 | 0.122 | 108.4426 | 8.4426 | 0.0061 | 1.6885 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW330A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3250021 | 2018-12-12 |  | 0.1311 | 0.122 | 107.459 | 7.459 | 0.0061 | 1.4918 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW345A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3180069 | 2018-12-12 |  | 0.0295 | 0.0295 | 100 | 0 | 0.002 | 0 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW333A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3310052 | 2018-12-18 |  | 0.1299 | 0.122 | 106.4754 | 6.4754 | 0.0061 | 1.2951 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW351A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3270029 | 2018-12-18 |  | 0.0297 | 0.0295 | 100.678 | 0.67797 | 0.002 | 0.1 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW351A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3410002 | 2019-01-31 |  | 0.029 | 0.0295 | 98.3051 | -1.6949 | 0.002 | -0.25 | 0.004 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N140X | PELW351E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3400028 | 2019-01-31 |  | 0.1313 | 0.122 | 107.623 | 7.623 | 0.0061 | 1.5246 | 0.004 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N139 | PELW351E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3530020 | 2019-02-08 |  | 0.1283 | 0.122 | 105.1639 | 5.1639 | 0.0061 | 1.0328 | 0.004 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N139 | PELW030C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 3540065 | 2019-02-20 |  | 0.0297 | 0.0295 | 100.678 | 0.67797 | 0.002 | 0.1 | 0.004 | 2333 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L as P | N140X | PELW050A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0520136 | 2019-03-12 |  | 0.0299 | 0.0295 | 101.3559 | 1.3559 | 0.002 | 0.2 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW065A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0520009 | 2019-03-12 |  | 0.1285 | 0.122 | 105.3279 | 5.3279 | 0.0061 | 1.0656 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW058A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0660076 | 2019-03-20 |  | 0.1308 | 0.122 | 107.2131 | 7.2131 | 0.0061 | 1.4426 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW072A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0640095 | 2019-03-20 |  | 0.0317 | 0.0295 | 107.4576 | 7.4576 | 0.002 | 1.1 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW077C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0730068 | 2019-03-26 |  | 0.13 | 0.122 | 106.5574 | 6.5574 | 0.0061 | 1.3115 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW078B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0720021 | 2019-03-26 |  | 0.0316 | 0.0295 | 107.1186 | 7.1186 | 0.002 | 1.05 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW078B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0780098 | 2019-03-28 |  | 0.03 | 0.0295 | 101.6949 | 1.6949 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N140X | PELW085A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0800129 | 2019-04-03 |  | 0.129 | 0.122 | 105.7377 | 5.7377 | 0.0061 | 1.1475 | 0.004 | 2333 |  |  |  | mg/L as P | N139 | PELW092A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0920067 | 2019-04-16 |  | 0.1797 | 0.171 | 105.0877 | 5.0877 | 0.013 | 0.66923 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW100B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0940210 | 2019-04-17 |  | 0.0637 | 0.0622 | 102.4116 | 2.4116 | 0.00311 | 0.48232 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW100C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 0990131 | 2019-04-18 |  | 0.1774 | 0.171 | 103.7427 | 3.7427 | 0.013 | 0.49231 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW105B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1060104 | 2019-04-26 |  | 0.1803 | 0.171 | 105.4386 | 5.4386 | 0.013 | 0.71538 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW112B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1010107 | 2019-04-30 |  | 0.0638 | 0.0622 | 102.5723 | 2.5723 | 0.00311 | 0.51447 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW108B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1080308 | 2019-05-02 |  | 0.0638 | 0.0622 | 102.5723 | 2.5723 | 0.00311 | 0.51447 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW119B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1280119 | 2019-05-10 |  | 0.0626 | 0.0622 | 100.6431 | 0.64309 | 0.00311 | 0.12862 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW129B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1290100 | 2019-05-16 |  | 0.1789 | 0.171 | 104.6199 | 4.6199 | 0.013 | 0.60769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW129D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1340208 | 2019-05-23 |  | 0.0613 | 0.0622 | 98.5531 | -1.4469 | 0.00311 | -0.28939 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW136A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1360141 | 2019-05-29 |  | 0.175 | 0.171 | 102.3392 | 2.3392 | 0.013 | 0.30769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW148B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1410228 | 2019-05-30 |  | 0.063 | 0.0622 | 101.2862 | 1.2862 | 0.00311 | 0.25723 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW148C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1430270 | 2019-06-04 |  | 0.1794 | 0.171 | 104.9123 | 4.9123 | 0.013 | 0.64615 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW154A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1550164 | 2019-06-11 |  | 0.1754 | 0.171 | 102.5731 | 2.5731 | 0.013 | 0.33846 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW161B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1570212 | 2019-06-13 |  | 0.0611 | 0.0622 | 98.2315 | -1.7685 | 0.00311 | -0.3537 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW163A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1640204 | 2019-06-21 |  | 0.0637 | 0.0622 | 102.4116 | 2.4116 | 0.00311 | 0.48232 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW169A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1620133 | 2019-06-21 |  | 0.1763 | 0.171 | 103.0994 | 3.0994 | 0.013 | 0.40769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW168B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1690139 | 2019-06-26 |  | 0.1736 | 0.171 | 101.5205 | 1.5205 | 0.013 | 0.2 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW171A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1710259 | 2019-06-27 |  | 0.0704 | 0.0622 | 113.1833 | 13.1833 | 0.00311 | 2.6367 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW177A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1840118 | 2019-07-12 |  | 0.1756 | 0.171 | 102.6901 | 2.6901 | 0.013 | 0.35385 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW192A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1830102 | 2019-07-18 |  | 0.0637 | 0.0622 | 102.4116 | 2.4116 | 0.00311 | 0.48232 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW191C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1900103 | 2019-07-18 |  | 0.0638 | 0.0622 | 102.5723 | 2.5723 | 0.00311 | 0.51447 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW196D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 1930196 | 2019-07-25 |  | 0.1763 | 0.171 | 103.0994 | 3.0994 | 0.013 | 0.40769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW199B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2000020 | 2019-07-30 |  | 0.0607 | 0.0622 | 97.5884 | -2.4116 | 0.00311 | -0.48232 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW206C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2030081 | 2019-07-31 |  | 0.1723 | 0.171 | 100.7602 | 0.76023 | 0.013 | 0.1 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW210B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2180153 | 2019-08-15 |  | 0.1763 | 0.171 | 103.0994 | 3.0994 | 0.013 | 0.40769 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW226A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2200201 | 2019-08-22 |  | 0.0671 | 0.0622 | 107.8778 | 7.8778 | 0.00311 | 1.5756 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW231C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2270235 | 2019-08-27 |  | 0.0674 | 0.0622 | 108.3601 | 8.3601 | 0.00311 | 1.672 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW238A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2320183 | 2019-08-27 |  | 0.1795 | 0.171 | 104.9708 | 4.9708 | 0.013 | 0.65385 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW238C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2250167 | 2019-08-28 |  | 0.1814 | 0.171 | 106.0819 | 6.0819 | 0.013 | 0.8 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW238E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2340258 | 2019-08-29 |  | 0.0641 | 0.0622 | 103.0547 | 3.0547 | 0.00311 | 0.61093 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW238G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2470183 | 2019-09-11 |  | 0.0628 | 0.0622 | 100.9646 | 0.96463 | 0.00311 | 0.19293 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW252D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2480209 | 2019-09-12 |  | 0.1804 | 0.171 | 105.4971 | 5.4971 | 0.013 | 0.72308 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW254A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2550079 | 2019-09-17 |  | 0.0658 | 0.0622 | 105.7878 | 5.7878 | 0.00311 | 1.1576 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW259C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2560160 | 2019-09-19 |  | 0.176 | 0.171 | 102.924 | 2.924 | 0.013 | 0.38462 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW261D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2600330 | 2019-09-24 |  | 0.0613 | 0.0622 | 98.5531 | -1.4469 | 0.00311 | -0.28939 | 0.004 | 2333 |  |  |  | mg/L as P | N142X | PELW266B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2019 | 2620332 | 2019-09-26 |  | 0.18 | 0.171 | 105.2632 | 5.2632 | 0.013 | 0.69231 | 0.004 | 2333 |  |  |  | mg/L as P | N141 | PELW268A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2810116 | 2019-10-16 |  | 0.1927 | 0.184 | 104.7283 | 4.7283 | 0.0092 | 0.94565 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW288A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2830132 | 2019-10-17 |  | 0.0416 | 0.0412 | 100.9709 | 0.97087 | 0.00206 | 0.19417 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW290A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2890224 | 2019-10-22 |  | 0.1944 | 0.184 | 105.6522 | 5.6522 | 0.0092 | 1.1304 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW294A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2910181 | 2019-10-31 |  | 0.0447 | 0.0412 | 108.4951 | 8.4951 | 0.00206 | 1.699 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW296A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2950099 | 2019-10-31 |  | 0.1953 | 0.184 | 106.1413 | 6.1413 | 0.0092 | 1.2283 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW296A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2970177 | 2019-11-07 |  | 0.0418 | 0.0412 | 101.4563 | 1.4563 | 0.00206 | 0.29126 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW303A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3090143 | 2019-11-15 |  | 0.0429 | 0.0412 | 104.1262 | 4.1262 | 0.00206 | 0.82524 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW316C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3110126 | 2019-11-19 |  | 0.1862 | 0.184 | 101.1957 | 1.1957 | 0.0092 | 0.23913 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW316F
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3180075 | 2019-11-22 |  | 0.1909 | 0.184 | 103.75 | 3.75 | 0.0092 | 0.75 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW322A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3170100 | 2019-11-22 |  | 0.0419 | 0.0412 | 101.699 | 1.699 | 0.00206 | 0.33981 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW322A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3230097 | 2019-12-05 |  | 0.0436 | 0.0412 | 105.8252 | 5.8252 | 0.00206 | 1.165 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW336A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3250087 | 2019-12-06 |  | 0.1932 | 0.184 | 105 | 5 | 0.0092 | 1 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW337A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3390132 | 2019-12-17 |  | 0.0428 | 0.0412 | 103.8835 | 3.8835 | 0.00206 | 0.7767 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW350A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3370099 | 2019-12-17 |  | 0.1874 | 0.184 | 101.8478 | 1.8478 | 0.0092 | 0.36957 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW344B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3530003 | 2020-01-03 |  | 0.0415 | 0.0412 | 100.7282 | 0.72816 | 0.00206 | 0.14563 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW360D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 3510020 | 2020-01-03 |  | 0.1838 | 0.184 | 99.8913 | -0.1087 | 0.0092 | -0.021739 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW360C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0090080 | 2020-01-23 |  | 0.186 | 0.184 | 101.087 | 1.087 | 0.0092 | 0.21739 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW016A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0070045 | 2020-01-24 |  | 0.0417 | 0.0412 | 101.2136 | 1.2136 | 0.00206 | 0.24272 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW023A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0230067 | 2020-01-31 |  | 0.191 | 0.184 | 103.8043 | 3.8043 | 0.0092 | 0.76087 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW030A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0220112 | 2020-01-31 |  | 0.0418 | 0.0412 | 101.4563 | 1.4563 | 0.00206 | 0.29126 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW027D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0370097 | 2020-02-12 |  | 0.0415 | 0.0412 | 100.7282 | 0.72816 | 0.00206 | 0.14563 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW042A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0350139 | 2020-02-12 |  | 0.1873 | 0.184 | 101.7935 | 1.7935 | 0.0092 | 0.3587 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW037B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0510087 | 2020-03-04 |  | 0.0425 | 0.0412 | 103.1553 | 3.1553 | 0.00206 | 0.63107 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW057B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0500056 | 2020-03-05 |  | 0.1879 | 0.184 | 102.1196 | 2.1196 | 0.0092 | 0.42391 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW057A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0630049 | 2020-03-06 |  | 0.0403 | 0.0412 | 97.8155 | -2.1845 | 0.00206 | -0.43689 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW064B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0650092 | 2020-03-11 |  | 0.189 | 0.184 | 102.7174 | 2.7174 | 0.0092 | 0.54348 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW069C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0700105 | 2020-03-17 |  | 0.0415 | 0.0412 | 100.7282 | 0.72816 | 0.00206 | 0.14563 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW076A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0730162 | 2020-03-24 |  | 0.1899 | 0.184 | 103.2065 | 3.2065 | 0.0092 | 0.6413 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW079A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0770113 | 2020-03-25 |  | 0.041 | 0.0412 | 99.5146 | -0.48544 | 0.00206 | -0.097087 | 0.004 | 2333 |  |  |  | mg/L as P | N144X | PELW083A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0800003 | 2020-04-01 |  | 0.1943 | 0.184 | 105.5978 | 5.5978 | 0.0092 | 1.1196 | 0.004 | 2333 |  |  |  | mg/L as P | N143 | PELW091A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1060057 | 2020-04-22 |  | 0.1394 | 0.134 | 104.0299 | 4.0299 | 0.008 | 0.675 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW111A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1000060 | 2020-04-23 |  | 0.0342 | 0.0339 | 100.885 | 0.88496 | 0.002 | 0.15 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW106A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 0980041 | 2020-04-23 |  | 0.1361 | 0.134 | 101.5672 | 1.5672 | 0.008 | 0.2625 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW104B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1070052 | 2020-04-29 |  | 0.0329 | 0.0339 | 97.0501 | -2.9499 | 0.002 | -0.5 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW118A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1140083 | 2020-04-30 |  | 0.0344 | 0.0339 | 101.4749 | 1.4749 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW118B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1120051 | 2020-05-06 |  | 0.1353 | 0.134 | 100.9701 | 0.97015 | 0.008 | 0.1625 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW126B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1280005 | 2020-05-12 |  | 0.1353 | 0.134 | 100.9701 | 0.97015 | 0.008 | 0.1625 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW132A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1260080 | 2020-05-12 |  | 0.0323 | 0.0339 | 95.2802 | -4.7198 | 0.002 | -0.8 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW128A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1330128 | 2020-05-28 |  | 0.0334 | 0.0339 | 98.5251 | -1.4749 | 0.002 | -0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20147B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1400017 | 2020-06-02 |  | 0.137 | 0.134 | 102.2388 | 2.2388 | 0.008 | 0.375 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20153A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1430096 | 2020-06-09 |  | 0.1368 | 0.134 | 102.0896 | 2.0896 | 0.008 | 0.35 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20154B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1550010 | 2020-06-17 |  | 0.1396 | 0.134 | 104.1791 | 4.1791 | 0.008 | 0.7 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20167C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1560173 | 2020-06-19 |  | 0.0346 | 0.0339 | 102.0649 | 2.0649 | 0.002 | 0.35 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20169B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1610194 | 2020-06-25 |  | 0.1328 | 0.134 | 99.1045 | -0.89552 | 0.008 | -0.15 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20169E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1680151 | 2020-06-29 |  | 0.1324 | 0.134 | 98.806 | -1.194 | 0.008 | -0.2 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20176A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1630142 | 2020-06-30 |  | 0.0335 | 0.0339 | 98.8201 | -1.1799 | 0.002 | -0.2 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20175C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1700256 | 2020-07-01 |  | 0.0357 | 0.0339 | 105.3097 | 5.3097 | 0.002 | 0.9 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20177A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1890184 | 2020-07-15 |  | 0.032 | 0.0339 | 94.3953 | -5.6047 | 0.002 | -0.95 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20196B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1910117 | 2020-07-16 |  | 0.1345 | 0.134 | 100.3731 | 0.37313 | 0.008 | 0.0625 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20196C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1960131 | 2020-07-22 |  | 0.0336 | 0.0339 | 99.115 | -0.88496 | 0.002 | -0.15 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20198A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 1980095 | 2020-07-28 |  | 0.1397 | 0.134 | 104.2537 | 4.2537 | 0.008 | 0.7125 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20209A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2040022 | 2020-08-04 |  | 0.0339 | 0.0339 | 100 | 0 | 0.002 | 0 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20216B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2110026 | 2020-08-06 |  | 0.1371 | 0.134 | 102.3134 | 2.3134 | 0.008 | 0.3875 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20218A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2170033 | 2020-08-11 |  | 0.1388 | 0.134 | 103.5821 | 3.5821 | 0.008 | 0.6 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20223C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2190158 | 2020-08-13 |  | 0.0344 | 0.0339 | 101.4749 | 1.4749 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20225B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2260120 | 2020-08-20 |  | 0.0333 | 0.0339 | 98.2301 | -1.7699 | 0.002 | -0.3 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20231A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2240094 | 2020-08-20 |  | 0.1405 | 0.134 | 104.8507 | 4.8507 | 0.008 | 0.8125 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20226A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2320040 | 2020-08-26 |  | 0.1354 | 0.134 | 101.0448 | 1.0448 | 0.008 | 0.175 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20233B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2370048 | 2020-09-09 |  | 0.0351 | 0.0339 | 103.5398 | 3.5398 | 0.002 | 0.6 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20252C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2530139 | 2020-09-21 |  | 0.035 | 0.0339 | 103.2448 | 3.2448 | 0.002 | 0.55 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20261B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2540251 | 2020-09-24 |  | 0.133 | 0.134 | 99.2537 | -0.74627 | 0.008 | -0.125 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20266A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2590159 | 2020-09-30 |  | 0.0344 | 0.0339 | 101.4749 | 1.4749 | 0.002 | 0.25 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20272B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2610178 | 2020-10-05 |  | 0.1378 | 0.134 | 102.8358 | 2.8358 | 0.008 | 0.475 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20273B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2670295 | 2020-10-07 |  | 0.034 | 0.0339 | 100.295 | 0.29499 | 0.002 | 0.05 | 0.004 | 2333 |  |  |  | mg/L as P | N146X | PELW_20275B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 2680085 | 2020-10-08 |  | 0.1362 | 0.134 | 101.6418 | 1.6418 | 0.008 | 0.275 | 0.004 | 2333 |  |  |  | mg/L as P | N145 | PELW_20281A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2820103 | 2020-10-28 |  | 0.0299 | 0.0295 | 101.3559 | 1.3559 | 0.0015 | 0.26667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20295B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2810030 | 2020-10-28 |  | 0.2041 | 0.198 | 103.0808 | 3.0808 | 0.0099 | 0.61616 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20301A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2960118 | 2020-11-03 |  | 0.0285 | 0.0295 | 96.6102 | -3.3898 | 0.0015 | -0.66667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20303B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2890048 | 2020-11-04 |  | 0.032 | 0.0295 | 108.4746 | 8.4746 | 0.0015 | 1.6667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20295C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2950031 | 2020-11-04 |  | 0.2099 | 0.198 | 106.0101 | 6.0101 | 0.0099 | 1.202 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20308A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2880071 | 2020-11-05 |  | 0.2146 | 0.198 | 108.3838 | 8.3838 | 0.0099 | 1.6768 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20309A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3080109 | 2020-11-17 |  | 0.0299 | 0.0295 | 101.3559 | 1.3559 | 0.0015 | 0.26667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20321B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3150102 | 2020-11-24 |  | 0.029 | 0.0295 | 98.3051 | -1.6949 | 0.0015 | -0.33333 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20324A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3180089 | 2020-12-10 |  | 0.2043 | 0.198 | 103.1818 | 3.1818 | 0.0099 | 0.63636 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20344A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3230040 | 2020-12-10 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0015 | 0 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_20329A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3240159 | 2020-12-15 |  | 0.2071 | 0.198 | 104.596 | 4.596 | 0.0099 | 0.91919 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_20345A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3350003 | 2020-12-29 |  | 0.2047 | 0.198 | 103.3838 | 3.3838 | 0.0099 | 0.67677 | 0.003 | 2333 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N147 | PELW_20358A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3440083 | 2021-01-07 |  | 0.199 | 0.198 | 100.5051 | 0.50505 | 0.0099 | 0.10101 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N147 | PELW_20365B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0050026 | 2021-01-14 |  | 0.0297 | 0.0295 | 100.678 | 0.67797 | 0.0015 | 0.13333 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21012A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3660011 | 2021-01-14 |  | 0.0311 | 0.0295 | 105.4237 | 5.4237 | 0.0015 | 1.0667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21012A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3530074 | 2021-01-21 |  | 0.0347 | 0.0295 | 117.6271 | 17.6271 | 0.0015 | 3.4667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N148X | PELW_21005B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 3580057 | 2021-01-21 |  | 0.2018 | 0.198 | 101.9192 | 1.9192 | 0.0099 | 0.38384 | 0.003 | 2333 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N147 | PELW_21019A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0150003 | 2021-01-28 |  | 0.2049 | 0.198 | 103.4848 | 3.4848 | 0.0099 | 0.69697 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21027A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0210019 | 2021-02-02 |  | 0.0289 | 0.0295 | 97.9661 | -2.0339 | 0.0015 | -0.4 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21028A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0280001 | 2021-02-10 |  | 0.2128 | 0.198 | 107.4747 | 7.4747 | 0.0099 | 1.4949 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21040A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0350086 | 2021-02-17 |  | 0.0292 | 0.0295 | 98.9831 | -1.0169 | 0.0015 | -0.2 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21042B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0400078 | 2021-02-23 |  | 0.2027 | 0.198 | 102.3737 | 2.3737 | 0.0099 | 0.47475 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21053A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0490010 | 2021-03-02 |  | 0.0298 | 0.0295 | 101.0169 | 1.0169 | 0.0015 | 0.2 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21054A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0540056 | 2021-03-04 |  | 0.2023 | 0.198 | 102.1717 | 2.1717 | 0.0099 | 0.43434 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21062A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0620096 | 2021-03-09 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0015 | 0 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21068A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0690090 | 2021-03-23 |  | 0.1997 | 0.198 | 100.8586 | 0.85859 | 0.0099 | 0.17172 | 0.003 | 2333 |  |  |  | mg/L as P | N147 | PELW_21077A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0680065 | 2021-03-23 |  | 0.0291 | 0.0295 | 98.6441 | -1.3559 | 0.0015 | -0.26667 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21075B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0770042 | 2021-04-06 |  | 0.2065 | 0.198 | 104.2929 | 4.2929 | 0.0099 | 0.85859 | 0.003 | 2333 | Sample was diluted |  |  | mg/L as P | N147 | PELW_21095A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0760023 | 2021-04-06 |  | 0.0307 | 0.0295 | 104.0678 | 4.0678 | 0.0015 | 0.8 | 0.003 | 2333 |  |  |  | mg/L as P | N148X | PELW_21095A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0840107 | 2021-04-15 |  | 0.1996 | 0.198 | 100.8081 | 0.80808 | 0.0099 | 0.16162 | 0.003 | 2333 |  |  |  | mg/L as P | N147 | PELW_21096A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 0970045 | 2021-05-06 |  | 0.1918 | 0.184 | 104.2391 | 4.2391 | 0.0092 | 0.84783 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N149 | PELW_21116B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1030142 | 2021-05-06 |  | 0.1862 | 0.184 | 101.1957 | 1.1957 | 0.0092 | 0.23913 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21123B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1050216 | 2021-05-10 |  | 0.045 | 0.045 | 100 | 0 | 0.00225 | 0 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21126B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1110005 | 2021-05-12 |  | 0.1861 | 0.184 | 101.1413 | 1.1413 | 0.0092 | 0.22826 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21130A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1120202 | 2021-05-13 |  | 0.0462 | 0.045 | 102.6667 | 2.6667 | 0.00225 | 0.53333 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21131A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1190110 | 2021-05-20 |  | 0.0448 | 0.045 | 99.5556 | -0.44444 | 0.00225 | -0.088889 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21137A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1250007 | 2021-05-21 |  | 0.0433 | 0.045 | 96.2222 | -3.7778 | 0.00225 | -0.75556 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21139A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1330235 | 2021-06-08 |  | 0.1891 | 0.184 | 102.7717 | 2.7717 | 0.0092 | 0.55435 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21158B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1320167 | 2021-06-09 |  | 0.0421 | 0.045 | 93.5556 | -6.4444 | 0.00225 | -1.2889 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21152D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1390135 | 2021-06-10 |  | 0.1821 | 0.184 | 98.9674 | -1.0326 | 0.0092 | -0.20652 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21160A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1380138 | 2021-06-10 |  | 0.0445 | 0.045 | 98.8889 | -1.1111 | 0.00225 | -0.22222 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21159B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1540138 | 2021-06-17 |  | 0.1905 | 0.184 | 103.5326 | 3.5326 | 0.0092 | 0.70652 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21166B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1530101 | 2021-06-17 |  | 0.1906 | 0.184 | 103.587 | 3.587 | 0.0092 | 0.71739 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21165D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1600030 | 2021-06-22 |  | 0.1938 | 0.184 | 105.3261 | 5.3261 | 0.0092 | 1.0652 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21167C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1610182 | 2021-06-23 |  | 0.0454 | 0.045 | 100.8889 | 0.88889 | 0.00225 | 0.17778 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21173C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1660118 | 2021-06-24 |  | 0.1942 | 0.184 | 105.5435 | 5.5435 | 0.0092 | 1.1087 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21174B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1680020 | 2021-06-29 |  | 0.0446 | 0.045 | 99.1111 | -0.88889 | 0.00225 | -0.17778 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21176A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1750330 | 2021-07-13 |  | 0.0459 | 0.045 | 102 | 2 | 0.00225 | 0.4 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21189C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1880116 | 2021-07-16 |  | 0.0455 | 0.045 | 101.1111 | 1.1111 | 0.00225 | 0.22222 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21194C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1940226 | 2021-07-23 |  | 0.0458 | 0.045 | 101.7778 | 1.7778 | 0.00225 | 0.35556 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21203A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 1960205 | 2021-07-28 |  | 0.1868 | 0.184 | 101.5217 | 1.5217 | 0.0092 | 0.30435 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21207A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2020247 | 2021-07-29 |  | 0.1867 | 0.184 | 101.4674 | 1.4674 | 0.0092 | 0.29348 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21210A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2010232 | 2021-07-29 |  | 0.0476 | 0.045 | 105.7778 | 5.7778 | 0.00225 | 1.1556 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21208B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2100165 | 2021-08-11 |  | 0.1896 | 0.184 | 103.0435 | 3.0435 | 0.0092 | 0.6087 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21221B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2150045 | 2021-08-12 |  | 0.188 | 0.184 | 102.1739 | 2.1739 | 0.0092 | 0.43478 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21222A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2220183 | 2021-08-18 |  | 0.1812 | 0.184 | 98.4783 | -1.5217 | 0.0092 | -0.30435 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21230A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2240200 | 2021-08-26 |  | 0.045 | 0.045 | 100 | 0 | 0.00225 | 0 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21235C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2290125 | 2021-08-26 |  | 0.1829 | 0.184 | 99.4022 | -0.59783 | 0.0092 | -0.11957 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21237A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2310207 | 2021-08-31 |  | 0.0479 | 0.045 | 106.4444 | 6.4444 | 0.00225 | 1.2889 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21242A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2380345 | 2021-09-02 |  | 0.0434 | 0.045 | 96.4444 | -3.5556 | 0.00225 | -0.71111 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21243A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2510431 | 2021-09-23 |  | 0.0447 | 0.045 | 99.3333 | -0.66667 | 0.00225 | -0.13333 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21256B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2590009 | 2021-10-06 |  | 0.1766 | 0.184 | 95.9783 | -4.0217 | 0.0092 | -0.80435 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21278A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2580268 | 2021-10-06 |  | 0.0446 | 0.045 | 99.1111 | -0.88889 | 0.00225 | -0.17778 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21278A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2640270 | 2021-10-07 |  | 0.0392 | 0.045 | 87.1111 | -12.8889 | 0.00225 | -2.5778 | 0.003 | 2333 |  |  |  | mg/L as P | N150X | PELW_21279A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2660015 | 2021-10-13 |  | 0.1868 | 0.184 | 101.5217 | 1.5217 | 0.0092 | 0.30435 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21280A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 2790019 | 2021-10-26 |  | 0.182 | 0.184 | 98.913 | -1.087 | 0.0092 | -0.21739 | 0.003 | 2333 |  |  |  | mg/L as P | N149 | PELW_21292B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2790021 | 2021-10-26 |  | 0.0866 | 0.089 | 97.3034 | -2.6966 | 0.005 | -0.48 | 0.003 | 2333 |  |  |  | mg/L as P | N151 | PELW_21292B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2870241 | 2021-11-04 |  | 0.0933 | 0.089 | 104.8315 | 4.8315 | 0.005 | 0.86 | 0.003 | 2333 |  |  |  | mg/L as P | N151 | PELW_21305B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2940005 | 2021-11-09 |  | 0.034 | 0.0323 | 105.2632 | 5.2632 | 0.001615 | 1.0526 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_21308A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2940011 | 2021-11-09 |  | 0.0916 | 0.089 | 102.9213 | 2.9213 | 0.005 | 0.52 | 0.003 | 2333 |  |  |  | mg/L as P | N151 | PELW_21308A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 3010095 | 2021-11-18 |  | 0.0336 | 0.0323 | 104.0248 | 4.0248 | 0.001615 | 0.80495 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_21314C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2940111 | 2021-11-23 |  | 0.0319 | 0.0323 | 98.7616 | -1.2384 | 0.001615 | -0.24768 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N152X | PELW_21308B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 3060201 | 2021-12-01 |  | 0.0336 | 0.0323 | 104.0248 | 4.0248 | 0.001615 | 0.80495 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_21334A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 3130189 | 2021-12-10 |  | 0.0332 | 0.0323 | 102.7864 | 2.7864 | 0.001615 | 0.55728 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N152X | PELW_21343A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 3190110 | 2021-12-14 |  | 0.0907 | 0.089 | 101.9101 | 1.9101 | 0.005 | 0.34 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N151 | PELW_21344A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 3220099 | 2021-12-21 |  | 0.092 | 0.089 | 103.3708 | 3.3708 | 0.005 | 0.6 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N151 | PELW_21344B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 3200075 | 2021-12-21 |  | 0.033 | 0.0323 | 102.1672 | 2.1672 | 0.001615 | 0.43344 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N152X | PELW_21344B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 3340036 | 2021-12-28 |  | 0.089 | 0.089 | 100 | 0 | 0.005 | 0 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N151 | PELW_21361C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 3410062 | 2022-01-06 |  | 0.094 | 0.089 | 105.618 | 5.618 | 0.005 | 1 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N151 | PELW_21363B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0050043 | 2022-01-20 |  | 0.034 | 0.0323 | 105.2632 | 5.2632 | 0.001615 | 1.0526 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_22019A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 3570004 | 2022-01-24 |  | 0.092 | 0.089 | 103.3708 | 3.3708 | 0.005 | 0.6 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N151 | PELW_22018D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0130002 | 2022-02-01 |  | 0.093 | 0.089 | 104.4944 | 4.4944 | 0.005 | 0.8 | 0.003 | 2333 |  |  |  | mg/L as P | N151 | PELW_22027B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0190123 | 2022-02-01 |  | 0.033 | 0.0323 | 102.1672 | 2.1672 | 0.001615 | 0.43344 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_22027C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0270157 | 2022-02-10 |  | 0.097 | 0.089 | 108.9888 | 8.9888 | 0.005 | 1.6 | 0.003 | 2333 |  |  |  | mg/L as P | N151 | PELW_22038B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0380063 | 2022-02-23 |  | 0.099 | 0.089 | 111.236 | 11.236 | 0.005 | 2 | 0.003 | 2333 |  |  |  | mg/L as P | N151 | PELW_22045B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0470023 | 2022-03-08 |  | 0.033 | 0.0323 | 102.1672 | 2.1672 | 0.001615 | 0.43344 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_22062B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0480132 | 2022-03-17 |  | 0.092 | 0.089 | 103.3708 | 3.3708 | 0.005 | 0.6 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N151 | PELW_22069B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0560010 | 2022-03-22 |  | 0.032 | 0.0323 | 99.0712 | -0.92879 | 0.001615 | -0.18576 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_22080A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0670120 | 2022-03-31 |  | 0.032 | 0.0323 | 99.0712 | -0.92879 | 0.001615 | -0.18576 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_22087B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0690223 | 2022-04-06 |  | 0.096 | 0.089 | 107.8652 | 7.8652 | 0.005 | 1.4 | 0.003 | 2333 |  |  |  | mg/L as P | N151 | PELW_22090B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0760101 | 2022-04-06 |  | 0.032 | 0.0323 | 99.0712 | -0.92879 | 0.001615 | -0.18576 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_22095A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0770096 | 2022-04-13 |  | 0.092 | 0.089 | 103.3708 | 3.3708 | 0.005 | 0.6 | 0.003 | 2333 |  |  |  | mg/L as P | N151 | PELW_22101B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0830134 | 2022-04-20 |  | 0.093 | 0.089 | 104.4944 | 4.4944 | 0.005 | 0.8 | 0.003 | 2333 |  |  |  | mg/L as P | N151 | PELW_22109A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0880102 | 2022-04-21 |  | 0.035 | 0.0323 | 108.3591 | 8.3591 | 0.001615 | 1.6718 | 0.003 | 2333 |  |  |  | mg/L as P | N152X | PELW_22109B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 0960125 | 2022-04-28 |  | 0.1 | 0.098 | 102.0408 | 2.0408 | 0.006 | 0.33333 | 0.003 | 2333 |  |  |  | mg/L as P | N153 | PELW_22115B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1020026 | 2022-04-28 |  | 0.1 | 0.098 | 102.0408 | 2.0408 | 0.006 | 0.33333 | 0.003 | 2333 |  |  |  | mg/L as P | N153 | PELW_22117A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1090123 | 2022-05-05 |  | 0.099 | 0.098 | 101.0204 | 1.0204 | 0.006 | 0.16667 | 0.003 | 2333 |  |  |  | mg/L as P | N153 | PELW_22124A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1040102 | 2022-05-11 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0015 | 0.46667 | 0.003 | 2333 |  |  |  | mg/L as P | N154X | PELW_22123A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1110199 | 2022-05-12 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0015 | -0.2 | 0.003 | 2333 |  |  |  | mg/L as P | N154X | PELW_22130A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1180145 | 2022-05-25 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0015 | 0.46667 | 0.003 | 2333 |  |  |  | mg/L as P | N154X | PELW_22143A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1230107 | 2022-05-26 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0015 | 0.46667 | 0.003 | 2333 |  |  |  | mg/L as P | N154X | PELW_22143B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1320262 | 2022-06-23 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0015 | -0.2 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22165D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1370141 | 2022-06-28 |  | 0.1 | 0.098 | 102.0408 | 2.0408 | 0.006 | 0.33333 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22174A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1380069 | 2022-06-28 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0015 | -0.86667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22178A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1440208 | 2022-06-29 |  | 0.098 | 0.098 | 100 | 0 | 0.006 | 0 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22178D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1520232 | 2022-07-07 |  | 0.1 | 0.098 | 102.0408 | 2.0408 | 0.006 | 0.33333 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22186C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1580093 | 2022-07-26 |  | 0.098 | 0.098 | 100 | 0 | 0.006 | 0 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22193A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1660167 | 2022-07-27 |  | 0.096 | 0.098 | 97.9592 | -2.0408 | 0.006 | -0.33333 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22194D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1670122 | 2022-08-03 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0015 | -0.86667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22206A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1740031 | 2022-08-09 |  | 0.027 | 0.0293 | 92.1502 | -7.8498 | 0.0015 | -1.5333 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22220B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1730127 | 2022-08-09 |  | 0.097 | 0.098 | 98.9796 | -1.0204 | 0.006 | -0.16667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22220A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1810188 | 2022-08-17 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0015 | -0.86667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22223B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1870091 | 2022-08-18 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0015 | -0.86667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22228A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1930195 | 2022-08-23 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0015 | -0.2 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22234A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2000025 | 2022-08-24 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0015 | 0.46667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22235B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 1950117 | 2022-08-25 |  | 0.097 | 0.098 | 98.9796 | -1.0204 | 0.006 | -0.16667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22234C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2020023 | 2022-08-25 |  | 0.098 | 0.098 | 100 | 0 | 0.006 | 0 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22235C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2090179 | 2022-09-14 |  | 0.098 | 0.098 | 100 | 0 | 0.006 | 0 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22255A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2140178 | 2022-09-15 |  | 0.101 | 0.098 | 103.0612 | 3.0612 | 0.006 | 0.5 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22255C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2230329 | 2022-09-22 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0015 | -0.86667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22262C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2210119 | 2022-09-27 |  | 0.099 | 0.098 | 101.0204 | 1.0204 | 0.006 | 0.16667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22262A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2300209 | 2022-10-05 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0015 | 0.46667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22276B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2280356 | 2022-10-05 |  | 0.099 | 0.098 | 101.0204 | 1.0204 | 0.006 | 0.16667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22276A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2370218 | 2022-10-13 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0015 | 0.46667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22285A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2500497 | 2022-10-25 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0015 | -0.86667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22293A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2580149 | 2022-11-02 |  | 0.097 | 0.098 | 98.9796 | -1.0204 | 0.006 | -0.16667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22299A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2570114 | 2022-11-09 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0015 | -0.2 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELW_22305A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2660046 | 2022-11-15 |  | 0.1 | 0.098 | 102.0408 | 2.0408 | 0.006 | 0.33333 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22306B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 2720120 | 2022-11-22 |  | 0.097 | 0.098 | 98.9796 | -1.0204 | 0.006 | -0.16667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELW_22318B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2770117 | 2022-11-22 |  | 0.138 | 0.131 | 105.3435 | 5.3435 | 0.007 | 1 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_22318B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2910109 | 2022-12-01 |  | 0.068 | 0.067 | 101.4925 | 1.4925 | 0.00335 | 0.29851 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_22335B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2860106 | 2022-12-01 |  | 0.138 | 0.131 | 105.3435 | 5.3435 | 0.007 | 1 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_22335A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2930114 | 2022-12-06 |  | 0.068 | 0.067 | 101.4925 | 1.4925 | 0.00335 | 0.29851 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_22339A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2920223 | 2022-12-06 |  | 0.139 | 0.131 | 106.1069 | 6.1069 | 0.007 | 1.1429 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_22339A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3060051 | 2022-12-07 |  | 0.0667 | 0.067 | 99.5522 | -0.44776 | 0.00335 | -0.089552 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_22341A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3000168 | 2022-12-08 |  | 0.068 | 0.067 | 101.4925 | 1.4925 | 0.00335 | 0.29851 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_22340A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3130111 | 2022-12-15 |  | 0.0674 | 0.067 | 100.597 | 0.59701 | 0.00335 | 0.1194 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_22347B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3190027 | 2022-12-28 |  | 0.1382 | 0.131 | 105.4962 | 5.4962 | 0.007 | 1.0286 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_22354A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3210271 | 2023-01-05 |  | 0.1387 | 0.131 | 105.8779 | 5.8779 | 0.007 | 1.1 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_22361A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3340031 | 2023-01-25 |  | 0.139 | 0.131 | 106.1069 | 6.1069 | 0.007 | 1.1429 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_23012A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3400092 | 2023-01-26 |  | 0.143 | 0.131 | 109.1603 | 9.1603 | 0.007 | 1.7143 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_23023A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3200146 | 2023-02-01 |  | 0.0709 | 0.067 | 105.8209 | 5.8209 | 0.00335 | 1.1642 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_23026A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3540136 | 2023-02-07 |  | 0.0687 | 0.067 | 102.5373 | 2.5373 | 0.00335 | 0.50746 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_23033B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0050054 | 2023-02-07 |  | 0.0654 | 0.067 | 97.6119 | -2.3881 | 0.00335 | -0.47761 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_23037A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 3610136 | 2023-02-08 |  | 0.1334 | 0.131 | 101.8321 | 1.8321 | 0.007 | 0.34286 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_23034B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0100104 | 2023-02-10 |  | 0.0744 | 0.067 | 111.0448 | 11.0448 | 0.00335 | 2.209 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_23038C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0240119 | 2023-02-23 |  | 0.137 | 0.131 | 104.5802 | 4.5802 | 0.007 | 0.85714 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_23052C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0250119 | 2023-02-23 |  | 0.0666 | 0.067 | 99.403 | -0.59701 | 0.00335 | -0.1194 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_23052D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0320034 | 2023-03-01 |  | 0.1366 | 0.131 | 104.2748 | 4.2748 | 0.007 | 0.8 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_23058B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0380148 | 2023-03-03 |  | 0.1329 | 0.131 | 101.4504 | 1.4504 | 0.007 | 0.27143 | 0.003 | 2333 |  |  |  | mg/L as P | N155 | PELW_23059C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0540081 | 2023-03-15 |  | 0.066 | 0.067 | 98.5075 | -1.4925 | 0.00335 | -0.29851 | 0.003 | 2333 |  |  |  | mg/L as P | N156X | PELW_23067C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0590094 | 2023-03-23 |  | 0.1361 | 0.131 | 103.8931 | 3.8931 | 0.007 | 0.72857 | 0.003 | 2333 |  |  |  | mg/L as P | N155 | PELW_23067D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0670100 | 2023-04-05 |  | 0.0647 | 0.067 | 96.5672 | -3.4328 | 0.00335 | -0.68657 | 0.003 | 2333 |  |  |  | mg/L as P | N156X | PELW_23094A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0660113 | 2023-04-11 |  | 0.0642 | 0.067 | 95.8209 | -4.1791 | 0.00335 | -0.83582 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_23096A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0740034 | 2023-04-19 |  | 0.0674 | 0.067 | 100.597 | 0.59701 | 0.00335 | 0.1194 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_23107B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0750100 | 2023-04-25 |  | 0.1368 | 0.131 | 104.4275 | 4.4275 | 0.007 | 0.82857 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_23107C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0800082 | 2023-04-25 |  | 0.0659 | 0.067 | 98.3582 | -1.6418 | 0.00335 | -0.32836 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELW_23109A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0820083 | 2023-04-27 |  | 0.1385 | 0.131 | 105.7252 | 5.7252 | 0.007 | 1.0714 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_23114B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0890107 | 2023-05-03 |  | 0.1377 | 0.131 | 105.1145 | 5.1145 | 0.007 | 0.95714 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELW_23117A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 0940131 | 2023-05-04 |  | 0.114 | 0.117 | 97.4359 | -2.5641 | 0.006 | -0.5 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELW_23124B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1090192 | 2023-05-18 |  | 0.0272 | 0.028 | 97.1429 | -2.8571 | 0.0015 | -0.53333 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23137C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1020107 | 2023-05-25 |  | 0.1122 | 0.117 | 95.8974 | -4.1026 | 0.006 | -0.8 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELW_23144B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1100090 | 2023-05-26 |  | 0.1149 | 0.117 | 98.2051 | -1.7949 | 0.006 | -0.35 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELW_23143B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1230177 | 2023-05-31 |  | 0.0279 | 0.028 | 99.6429 | -0.35714 | 0.0015 | -0.066667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23150B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1380204 | 2023-05-31 |  | 0.1159 | 0.117 | 99.0598 | -0.94017 | 0.006 | -0.18333 | 0.003 | 2333 |  |  |  | mg/L as P | N157 | PELW_23150B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1150153 | 2023-06-01 |  | 0.0278 | 0.028 | 99.2857 | -0.71429 | 0.0015 | -0.13333 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23144C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1240213 | 2023-06-13 |  | 0.0278 | 0.028 | 99.2857 | -0.71429 | 0.0015 | -0.13333 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23159B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1300165 | 2023-06-22 |  | 0.0261 | 0.028 | 93.2143 | -6.7857 | 0.0015 | -1.2667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23166A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1310001 | 2023-06-23 |  | 0.1116 | 0.117 | 95.3846 | -4.6154 | 0.006 | -0.9 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELW_23172A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1360050 | 2023-06-23 |  | 0.024 | 0.028 | 85.7143 | -14.2857 | 0.0015 | -2.6667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23172C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1460004 | 2023-07-11 |  | 0.1102 | 0.117 | 94.188 | -5.812 | 0.006 | -1.1333 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELW_23191A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1570043 | 2023-07-12 |  | 0.1055 | 0.117 | 90.1709 | -9.8291 | 0.006 | -1.9167 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELW_23191D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1660195 | 2023-07-20 |  | 0.028 | 0.028 | 100 | 0 | 0.0015 | 0 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23200A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1650069 | 2023-07-20 |  | 0.1112 | 0.117 | 95.0427 | -4.9573 | 0.006 | -0.96667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELW_23200A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1730213 | 2023-08-02 |  | 0.1133 | 0.117 | 96.8376 | -3.1624 | 0.006 | -0.61667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELW_23212B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1860130 | 2023-08-03 |  | 0.0264 | 0.028 | 94.2857 | -5.7143 | 0.0015 | -1.0667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23214B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1870311 | 2023-08-03 |  | 0.0304 | 0.028 | 108.5714 | 8.5714 | 0.0015 | 1.6 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23214C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1790032 | 2023-08-04 |  | 0.0258 | 0.028 | 92.1429 | -7.8571 | 0.0015 | -1.4667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23215A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1980053 | 2023-08-11 |  | 0.1144 | 0.117 | 97.7778 | -2.2222 | 0.006 | -0.43333 | 0.003 | 2333 |  |  |  | mg/L as P | N157 | PELW_23221A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1940236 | 2023-08-11 |  | 0.0279 | 0.028 | 99.6429 | -0.35714 | 0.0015 | -0.066667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23222A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2020028 | 2023-08-16 |  | 0.1138 | 0.117 | 97.265 | -2.735 | 0.006 | -0.53333 | 0.003 | 2333 |  |  |  | mg/L as P | N157 | PELW_23226A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 1990168 | 2023-08-17 |  | 0.0252 | 0.028 | 90 | -10 | 0.0015 | -1.8667 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23221B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2080233 | 2023-08-23 |  | 0.1123 | 0.117 | 95.9829 | -4.0171 | 0.006 | -0.78333 | 0.003 | 2333 |  |  |  | mg/L as P | N157 | PELW_23227B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2200131 | 2023-09-06 |  | 0.1114 | 0.117 | 95.2137 | -4.7863 | 0.006 | -0.93333 | 0.003 | 2333 |  |  |  | mg/L as P | N157 | PELW_23243D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2280170 | 2023-09-13 |  | 0.1145 | 0.117 | 97.8632 | -2.1368 | 0.006 | -0.41667 | 0.003 | 2333 |  |  |  | mg/L as P | N157 | PELW_23255B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2350098 | 2023-09-18 |  | 0.1143 | 0.117 | 97.6923 | -2.3077 | 0.006 | -0.45 | 0.003 | 2333 |  |  |  | mg/L as P | N157 | PELW_23261A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 2290215 | 2023-09-20 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0015 | -0.8 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELW_23255D