## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N100 | 0.78559 | 0.01901 | 2.4199 | 22 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N101 | 0.39938 | 0.036031 | 9.0219 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N102 | 0.93108 | 0.038949 | 4.1831 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N103 | 0.334 | 0.025076 | 7.5076 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N104 | 0.773 | 0.03677 | 4.7567 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N105 | 0.30083 | 0.026223 | 8.7166 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N106 | 1.1925 | 0.038485 | 3.2272 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N107 | 0.23687 | 0.0191 | 8.0633 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N108 | 0.53342 | 0.038833 | 7.28 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N109 | 0.25179 | 0.021273 | 8.4485 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N110 | 0.75117 | 0.045009 | 5.9918 | 23 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N111 | 0.29517 | 0.021017 | 7.1204 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N112 | 0.86663 | 0.061942 | 7.1475 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N113 | 0.24875 | 0.032152 | 12.9255 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N114 | 1.0631 | 0.039514 | 3.717 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N115 | 0.23825 | 0.026002 | 10.9138 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N116 | 0.43383 | 0.02084 | 4.8038 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N117 | 0.42358 | 0.030456 | 7.19 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N118 | 0.936 | 0.033734 | 3.6041 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N119 | 0.26427 | 0.02755 | 10.4249 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N120 | 0.5354 | 0.022267 | 4.159 | 10 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N121 | 0.16525 | 0.030392 | 18.3914 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N122 | 0.59492 | 0.054259 | 9.1205 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N123 | 0.29342 | 0.018985 | 6.4705 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N124 | 0.1985 | 0.02836 | 14.287 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N125 | 0.16892 | 0.0292 | 17.2865 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N126 | 0.37692 | 0.022472 | 5.9621 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N127 | 0.15375 | 0.027103 | 17.6279 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N128 | 0.49767 | 0.019406 | 3.8995 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N129 | 0.20458 | 0.029234 | 14.2895 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N130 | 0.52609 | 0.025665 | 4.8784 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N131 | 0.11075 | 0.018917 | 17.0805 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N132 | 0.30345 | 0.023343 | 7.6923 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N133 | 0.11725 | 0.03237 | 27.608 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N134 | 0.17092 | 0.038682 | 22.6318 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N135 | 0.173 | 0.021382 | 12.3597 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N136 | 0.397 | 0.020187 | 5.0848 | 5 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N137 | 0.12117 | 0.022695 | 18.7304 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N138 | 0.47927 | 0.023829 | 4.9719 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N139 | 0.11986 | 0.024559 | 20.4902 | 7 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N140 | 0.47478 | 0.02543 | 5.3562 | 9 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N141 | 0.1585 | 0.019435 | 12.262 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N142 | 0.58942 | 0.040559 | 6.8811 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N143 | 0.15967 | 0.027907 | 17.4781 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N144 | 0.35733 | 0.025036 | 7.0063 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N145 | 0.10891 | 0.024562 | 22.5527 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N146 | 0.34208 | 0.02235 | 6.5336 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N147 | 0.13292 | 0.016401 | 12.3393 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N148 | 0.29667 | 0.014767 | 4.9776 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N149 | 0.18525 | 0.01841 | 9.938 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N150 | 0.41625 | 0.042917 | 10.3103 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N151 | 0.094417 | 0.029785 | 31.5468 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N152 | 0.341 | 0.029027 | 8.5122 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N153 | 0.078182 | 0.014355 | 18.3608 | 22 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N155 | 0.11258 | 0.055599 | 49.3844 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N156 | 0.40596 | 0.097221 | 23.9484 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N157 | 0.075737 | 0.01192 | 15.7391 | 19 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N158 | 0.23744 | 0.027804 | 11.71 | 16 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N159 | 0.078 | 0.0075498 | 9.6793 | 3 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | N99 | 0.18395 | 0.019132 | 10.4006 | 22 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | NS19 | 2.2065 | 0.069427 | 3.1465 | 68 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | NS21 | 1.4992 | 0.065399 | 4.3622 | 84 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | NS23 | 0.67783 | 0.030961 | 4.5676 | 66 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | NS25 | 3.5477 | 0.098649 | 2.7806 | 84 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | NS27 | 3.7214 | 0.1181 | 3.1736 | 72 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | NS29 | 3.3876 | 0.26519 | 7.8281 | 75 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), UNF, CFA, ACD | 00625 | KJ008 | UNF | NS31 | 4.5038 | 0.087545 | 1.9438 | 49 | mg/L as N