## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N100 | 0.718 | 0.0060414 | 0.84143 | 22 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N101 | 0.35992 | 0.0063924 | 1.7761 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N102 | 0.971 | 0.019007 | 1.9575 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N103 | 0.27467 | 0.0037261 | 1.3566 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N104 | 0.82517 | 0.0096579 | 1.1704 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N105 | 0.17375 | 0.0049454 | 2.8462 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N106 | 1.1098 | 0.015103 | 1.361 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N107 | 0.13642 | 0.0059849 | 4.3872 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N108 | 0.92317 | 0.013672 | 1.481 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N109 | 0.19175 | 0.0086288 | 4.5 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N110 | 1.4381 | 0.052434 | 3.646 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N112 | 1.3847 | 0.0046188 | 0.33357 | 3 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N99 | 0.235 | 0.0062888 | 2.676 | 22 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | NS18 | 0.39936 | 0.0063143 | 1.5811 | 69 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | NS20 | 0.28873 | 0.0064383 | 2.2299 | 73 | mg/L as N