## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N100X | 0.071055 | 0.001969 | 2.771 | 29 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N101 | 0.35867 | 0.0061659 | 1.7191 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N102X | 0.097113 | 0.0018583 | 1.9135 | 16 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N103 | 0.28112 | 0.0063287 | 2.2513 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N104X | 0.084492 | 0.0025892 | 3.0645 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N105 | 0.17956 | 0.0069003 | 3.8429 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N106X | 0.11413 | 0.002547 | 2.2316 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N107 | 0.13551 | 0.0035273 | 2.6029 | 35 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N108X | 0.09385 | 0.0027067 | 2.884 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N109 | 0.18903 | 0.0023113 | 1.2227 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N110X | 0.142 | 0.0041899 | 2.9507 | 28 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N111 | 0.314 | 0.0026458 | 0.8426 | 3 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N99 | 0.23563 | 0.0063294 | 2.6861 | 32 | mg/L as N