## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N111 | 0.31369 | 0.018001 | 5.7383 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N112 | 1.4056 | 0.042286 | 3.0084 | 22 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N113 | 0.11252 | 0.012906 | 11.4705 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N114 | 1.115 | 0.025562 | 2.2925 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N115 | 0.22511 | 0.013693 | 6.083 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N116 | 0.43476 | 0.014723 | 3.3864 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N117 | 0.2181 | 0.020554 | 9.4242 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N118 | 0.58077 | 0.018362 | 3.1617 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N119 | 0.26591 | 0.012397 | 4.6623 | 11 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N120 | 0.6802 | 0.024176 | 3.5543 | 10 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N121 | 0.41661 | 0.018605 | 4.4658 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N122 | 1.1028 | 0.034227 | 3.1035 | 10 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N123 | 0.24246 | 0.017876 | 7.373 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N124 | 0.53253 | 0.044437 | 8.3445 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N125 | 0.29069 | 0.010906 | 3.7517 | 11 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N126 | 1.4316 | 0.034683 | 2.4226 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N127 | 0.30446 | 0.013468 | 4.4237 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N128 | 3.0418 | 0.056931 | 1.8716 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N129 | 0.25322 | 0.012945 | 5.112 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N130 | 1.7829 | 0.052683 | 2.9548 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N131 | 0.34886 | 0.021058 | 6.0362 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N132 | 0.93223 | 0.032283 | 3.4629 | 11 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N133 | 0.088419 | 0.010969 | 12.4061 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N134 | 0.79342 | 0.017336 | 2.185 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N135 | 0.43426 | 0.013498 | 3.1082 | 11 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N136 | 0.63637 | 0.032576 | 5.1191 | 5 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N137 | 0.32138 | 0.023425 | 7.2889 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N138 | 0.78191 | 0.028206 | 3.6074 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N139 | 0.18945 | 0.013142 | 6.9369 | 7 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N140 | 0.66597 | 0.028233 | 4.2394 | 9 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N141 | 0.13783 | 0.008793 | 6.3797 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N142 | 0.46007 | 0.01058 | 2.2996 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N143 | 0.18271 | 0.0093938 | 5.1414 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N144 | 0.55167 | 0.011217 | 2.0332 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N145 | 0.097366 | 0.0085518 | 8.7831 | 11 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N146 | 0.41435 | 0.0094168 | 2.2727 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N147 | 0.22672 | 0.011315 | 4.9906 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N148 | 1.0533 | 0.029231 | 2.7751 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N149 | 0.38549 | 0.019103 | 4.9554 | 11 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N150 | 1.1437 | 0.030595 | 2.675 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N151 | 0.32784 | 0.013929 | 4.2487 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N152 | 2.1578 | 0.10433 | 4.8352 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N153 | 0.38027 | 0.022862 | 6.0121 | 22 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N155 | 0.44145 | 0.013755 | 3.1159 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N156 | 4.4611 | 0.078213 | 1.7532 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N157 | 0.30355 | 0.020485 | 6.7484 | 19 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N158 | 1.4982 | 0.040848 | 2.7264 | 16 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | N159 | 0.22719 | 0.007624 | 3.3558 | 3 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | NS20 | 0.2907 | 0.012476 | 4.2917 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | NS22 | 1.327 | 0.0296 | 2.2307 | 81 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | NS24 | 6.238 | 0.19613 | 3.1441 | 96 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | NS26 | 1.884 | 0.040808 | 2.166 | 88 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | NS28 | 10.1241 | 0.31378 | 3.0994 | 89 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA | 00631 | RED01 | FIL | NS30 | 6.1181 | 0.18065 | 2.9527 | 94 | mg/L as N