## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N111 | 0.31438 | 0.012367 | 3.9338 | 33 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N112X | 0.1388 | 0.0059076 | 4.2562 | 34 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N113 | 0.10589 | 0.0044307 | 4.1841 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N114X | 0.11325 | 0.0034481 | 3.0447 | 35 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N115 | 0.22484 | 0.0063357 | 2.8179 | 35 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N116X | 0.04434 | 0.0040263 | 9.0806 | 35 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N117 | 0.21753 | 0.0054525 | 2.5065 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N118X | 0.057299 | 0.003163 | 5.5201 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N119 | 0.26996 | 0.0084982 | 3.148 | 21 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N120X | 0.067204 | 0.0043167 | 6.4232 | 21 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N121 | 0.42138 | 0.011133 | 2.6421 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N122X | 0.10894 | 0.004057 | 3.724 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N123 | 0.25074 | 0.0071696 | 2.8594 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N124X | 0.056252 | 0.0048161 | 8.5617 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N125 | 0.29754 | 0.0083002 | 2.7896 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N126X | 0.14501 | 0.0047 | 3.2412 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N127 | 0.30576 | 0.007839 | 2.5638 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N128X | 0.30461 | 0.0097173 | 3.1901 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N129 | 0.26523 | 0.0076005 | 2.8656 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N130X | 0.18062 | 0.005553 | 3.0744 | 22 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N131 | 0.35703 | 0.011234 | 3.1466 | 21 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N132X | 0.094819 | 0.0034134 | 3.5999 | 21 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N133 | 0.086262 | 0.0050448 | 5.8482 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N134X | 0.080929 | 0.0040476 | 5.0014 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N135 | 0.43499 | 0.0098727 | 2.2696 | 15 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N136X | 0.063988 | 0.00096402 | 1.5066 | 6 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N137 | 0.32307 | 0.0099549 | 3.0813 | 16 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N138X | 0.077405 | 0.0026055 | 3.3661 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N139 | 0.19203 | 0.0040057 | 2.0859 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N140X | 0.066517 | 0.0029951 | 4.5028 | 11 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N141 | 0.13846 | 0.0072014 | 5.2012 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N142X | 0.046737 | 0.0027741 | 5.9357 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N143 | 0.17679 | 0.0053068 | 3.0018 | 15 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N144X | 0.05603 | 0.0037583 | 6.7077 | 15 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N145 | 0.090537 | 0.0023954 | 2.6457 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N146X | 0.042456 | 0.0023131 | 5.4481 | 17 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N147 | 0.23206 | 0.0036801 | 1.5859 | 14 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N148X | 0.10623 | 0.0028465 | 2.6795 | 15 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N149 | 0.38857 | 0.013273 | 3.416 | 17 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N150X | 0.11274 | 0.0040124 | 3.5588 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N151 | 0.33213 | 0.010655 | 3.208 | 14 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N152X | 0.21493 | 0.0074929 | 3.4863 | 13 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N153 | 0.38833 | 0.012485 | 3.2151 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N155 | 0.461 | 0.013707 | 2.9734 | 15 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N156X | 0.46053 | 0.015414 | 3.347 | 15 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N157 | 0.30333 | 0.013737 | 4.5287 | 17 | mg/L as N
Nitrate plus Nitrite (as N), FIL, DA, LL | 00631 | RED02 | FIL | N158X | 0.14969 | 0.0081997 | 5.4778 | 17 | mg/L as N