## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N100 | 0.65259 | 0.013966 | 2.1401 | 22 | mg/L (as P)
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N101 | 0.33719 | 0.013117 | 3.8901 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N102 | 1.2637 | 0.02214 | 1.7521 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N103 | 0.28813 | 0.007839 | 2.7206 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N104 | 0.70854 | 0.016143 | 2.2784 | 23 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N105 | 0.22662 | 0.010814 | 4.772 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N106 | 1.2436 | 0.034489 | 2.7732 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N108 | 0.5478 | 0.013272 | 2.4228 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N109 | 0.19136 | 0.0070336 | 3.6756 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N110 | 0.57722 | 0.011472 | 1.9875 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N111 | 0.28018 | 0.0075816 | 2.706 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N112 | 1.2838 | 0.028997 | 2.2587 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N114 | 1.0736 | 0.026293 | 2.449 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N115 | 0.23598 | 0.0065825 | 2.7894 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N116 | 0.41403 | 0.016173 | 3.9062 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N117 | 0.3623 | 0.014317 | 3.9518 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N118 | 0.7408 | 0.030087 | 4.0614 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N120 | 0.68019 | 0.021195 | 3.116 | 10 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N121 | 0.090525 | 0.0023026 | 2.5436 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N123 | 0.26579 | 0.0064941 | 2.4433 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N124 | 0.19448 | 0.0045703 | 2.3501 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N125 | 0.22193 | 0.0073092 | 3.2934 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N126 | 0.49916 | 0.011178 | 2.2393 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N127 | 0.10876 | 0.0034203 | 3.1449 | 11 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N128 | 0.43837 | 0.011494 | 2.622 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N129 | 0.2134 | 0.0039817 | 1.8658 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N130 | 0.58646 | 0.013098 | 2.2334 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N131 | 0.044146 | 0.00078219 | 1.7718 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N132 | 0.29906 | 0.0061737 | 2.0644 | 11 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N133 | 0.089701 | 0.002126 | 2.3701 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N134 | 0.27112 | 0.0032789 | 1.2094 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N135 | 0.1613 | 0.0038224 | 2.3698 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N136 | 0.39035 | 0.0064293 | 1.6471 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N137 | 0.12875 | 0.0032165 | 2.4982 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N138 | 0.61954 | 0.021708 | 3.5039 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N139 | 0.10328 | 0.0052067 | 5.0416 | 8 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N140 | 0.28876 | 0.011248 | 3.8954 | 9 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N141 | 0.14716 | 0.0087789 | 5.9657 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N142 | 0.49896 | 0.034843 | 6.9832 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N143 | 0.169 | 0.0085501 | 5.0591 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N144 | 0.39065 | 0.035013 | 8.9627 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N145 | 0.13517 | 0.005709 | 4.2235 | 10 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N146 | 0.3326 | 0.01803 | 5.421 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N147 | 0.19534 | 0.0066646 | 3.4117 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N148 | 0.29425 | 0.020947 | 7.1186 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N149 | 0.16863 | 0.0049426 | 2.931 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N150 | 0.32014 | 0.015395 | 4.8089 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N151 | 0.079176 | 0.0030876 | 3.8996 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N152 | 0.32045 | 0.0076607 | 2.3906 | 12 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N153 | 0.089136 | 0.0034819 | 3.9062 | 22 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N154 | 0.28245 | 0.0091429 | 3.237 | 22 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N155 | 0.1329 | 0.0044643 | 3.3593 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N156 | 0.65274 | 0.020553 | 3.1486 | 24 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N157 | 0.10665 | 0.0031149 | 2.9208 | 19 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N158 | 0.27677 | 0.0069869 | 2.5244 | 16 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N159 | 0.12369 | 0.0032144 | 2.5988 | 3 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | N99 | 0.18531 | 0.0053427 | 2.8832 | 22 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | NS18 | 0.2658 | 0.0087672 | 3.2984 | 68 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | NS20 | 0.12989 | 0.0031845 | 2.4517 | 94 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | NS22 | 0.12157 | 0.0031376 | 2.581 | 75 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | NS24 | 0.49672 | 0.015135 | 3.047 | 94 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | NS26 | 0.48026 | 0.012032 | 2.5053 | 88 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | NS28 | 2.1157 | 0.10141 | 4.793 | 89 | mg/L as P
Orthophosphate (as P), FIL, DA | 00671 | PHM01 | FIL | NS30 | 0.47214 | 0.019114 | 4.0483 | 95 | mg/L as P