## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N101 | 0.35067 | 0.013317 | 3.7975 | 3 | mg/L as P
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N99 | 0.285 | 0.001 | 0.35088 | 3 | mg/L as P