## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N100 | 0.62968 | 0.01013 | 1.6087 | 22 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N101 | 0.34867 | 0.008835 | 2.534 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N102 | 1.2247 | 0.016263 | 1.328 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N103 | 0.29033 | 0.0092486 | 3.1855 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N104 | 0.66646 | 0.015229 | 2.285 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N105 | 0.26 | 0.01062 | 4.0846 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N106 | 1.3116 | 0.017673 | 1.3474 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N107 | 0.16712 | 0.0084612 | 5.0628 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N108 | 0.52587 | 0.014253 | 2.7104 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N109 | 0.26967 | 0.008741 | 3.2414 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N110 | 0.57283 | 0.0094301 | 1.6462 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N111 | 0.2835 | 0.0097846 | 3.4514 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N112 | 1.2518 | 0.020315 | 1.6229 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N113 | 0.25208 | 0.0077343 | 3.0681 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N114 | 1.0603 | 0.018355 | 1.7311 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N115 | 0.23704 | 0.0036651 | 1.5462 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N116 | 0.41 | 0.0094593 | 2.3071 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N117 | 0.385 | 0.010171 | 2.6419 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N118 | 0.87225 | 0.020785 | 2.3829 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N119 | 0.22327 | 0.0067393 | 3.0184 | 11 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N120 | 0.6473 | 0.012685 | 1.9596 | 10 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N121 | 0.16008 | 0.0041001 | 2.5612 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N122 | 0.55925 | 0.010532 | 1.8833 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N123 | 0.26342 | 0.0073294 | 2.7824 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N124 | 0.18517 | 0.0059518 | 3.2143 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N125 | 0.23017 | 0.0099712 | 4.3322 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N126 | 0.4755 | 0.017845 | 3.753 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N127 | 0.13936 | 0.0081274 | 5.8318 | 11 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N128 | 0.41533 | 0.0072405 | 1.7433 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N129 | 0.21208 | 0.0054349 | 2.5626 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N130 | 0.56458 | 0.0057755 | 1.023 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N131 | 0.0645 | 0.0057128 | 8.8571 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N132 | 0.28764 | 0.0085822 | 2.9837 | 11 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N133 | 0.10925 | 0.0070727 | 6.4738 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N134 | 0.26683 | 0.0062207 | 2.3313 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N135 | 0.16025 | 0.0087503 | 5.4604 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N136 | 0.37792 | 0.013097 | 3.4656 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N137 | 0.12708 | 0.0046799 | 3.6825 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N138 | 0.61458 | 0.010326 | 1.6802 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N139 | 0.11787 | 0.0099777 | 8.4646 | 8 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N140 | 0.29 | 0.0060622 | 2.0904 | 9 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N141 | 0.16242 | 0.0098945 | 6.0921 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N142 | 0.62242 | 0.012588 | 2.0224 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N143 | 0.16708 | 0.0064731 | 3.8742 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N144 | 0.38608 | 0.010613 | 2.7488 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N145 | 0.12145 | 0.0055202 | 4.5451 | 11 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N146 | 0.32192 | 0.016968 | 5.2708 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N147 | 0.18358 | 0.0085009 | 4.6305 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N148 | 0.27792 | 0.0091498 | 3.2923 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N149 | 0.16967 | 0.0058049 | 3.4214 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N150 | 0.42742 | 0.015646 | 3.6607 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N151 | 0.079364 | 0.0091681 | 11.552 | 11 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N152 | 0.3065 | 0.017307 | 5.6468 | 12 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N153 | 0.09 | 0.0083666 | 9.2962 | 21 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N154 | 0.28238 | 0.0148 | 5.2412 | 21 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N155 | 0.12633 | 0.0070134 | 5.5515 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N156 | 0.64971 | 0.024496 | 3.7703 | 24 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N157 | 0.11674 | 0.01231 | 10.5452 | 19 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N158 | 0.27644 | 0.0090772 | 3.2836 | 16 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N159 | 0.12467 | 0.0083267 | 6.6791 | 3 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | N99 | 0.28109 | 0.0082399 | 2.9314 | 22 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | NS19 | 0.39268 | 0.0089899 | 2.2894 | 68 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | NS21 | 0.41185 | 0.0086324 | 2.096 | 84 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | NS23 | 0.89603 | 0.013947 | 1.5565 | 66 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | NS25 | 3.7447 | 0.074931 | 2.001 | 84 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | NS27 | 2.6161 | 0.053431 | 2.0424 | 72 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | NS29 | 2.2526 | 0.078502 | 3.485 | 74 | mg/L as P
Phosphorus as P, FIL, ASF, Kjeldahl | 00666 | KJ005 | FIL | NS31 | 1.9636 | 0.032907 | 1.6758 | 49 | mg/L as P