## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N100 | 0.62118 | 0.02063 | 3.321 | 22 | mg/L (as P)
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N101 | 0.34232 | 0.013564 | 3.9623 | 25 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N102 | 1.2211 | 0.0265 | 2.1702 | 23 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N103 | 0.29262 | 0.0075228 | 2.5708 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N104 | 0.66692 | 0.015723 | 2.3576 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N105 | 0.25479 | 0.0058159 | 2.2826 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N106 | 1.3072 | 0.027169 | 2.0784 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N107 | 0.16237 | 0.0046979 | 2.8933 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N108 | 0.525 | 0.013118 | 2.4987 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N109 | 0.26882 | 0.0084501 | 3.1434 | 17 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N110 | 0.57369 | 0.010423 | 1.8168 | 16 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N113 | 0.25225 | 0.0044747 | 1.7739 | 12 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N114 | 1.0757 | 0.023701 | 2.2034 | 9 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N115 | 0.23608 | 0.007317 | 3.0993 | 12 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N116 | 0.40658 | 0.0082623 | 2.0321 | 12 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N117 | 0.38367 | 0.012879 | 3.3568 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N118 | 0.8685 | 0.0097108 | 1.1181 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N119 | 0.2305 | 0.0056833 | 2.4656 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N120 | 0.659 | 0.019723 | 2.9929 | 5 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N121 | 0.16133 | 0.013545 | 8.3957 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N122 | 0.57417 | 0.0089312 | 1.5555 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N123 | 0.27083 | 0.0075476 | 2.7868 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N124 | 0.18783 | 0.0069113 | 3.6795 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N125 | 0.24533 | 0.011361 | 4.6307 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N126 | 0.50783 | 0.015575 | 3.0669 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N127 | 0.14017 | 0.0083287 | 5.942 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N128 | 0.41983 | 0.011618 | 2.7672 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N129 | 0.22033 | 0.0039833 | 1.8079 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N130 | 0.57833 | 0.015565 | 2.6913 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N131 | 0.067167 | 0.0016021 | 2.3852 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N132 | 0.30183 | 0.011686 | 3.8717 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N133 | 0.10983 | 0.0033116 | 3.0151 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N134 | 0.27383 | 0.0077825 | 2.842 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N135 | 0.168 | 0.0040988 | 2.4398 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N136 | 0.38783 | 0.013717 | 3.5369 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N137 | 0.12683 | 0.0017224 | 1.358 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N138 | 0.59167 | 0.01814 | 3.0659 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N139 | 0.1165 | 0.0034157 | 2.9319 | 4 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N140 | 0.29275 | 0.012038 | 4.1121 | 4 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N141 | 0.174 | 0.0044721 | 2.5702 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N142 | 0.61533 | 0.024985 | 4.0605 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N143 | 0.18183 | 0.0033714 | 1.8541 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N144 | 0.4085 | 0.0079937 | 1.9569 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N145 | 0.1355 | 0.0042778 | 3.1571 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N146 | 0.339 | 0.008579 | 2.5307 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N147 | 0.21167 | 0.01052 | 4.97 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N148 | 0.317 | 0.01642 | 5.1797 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N149 | 0.18495 | 0.0081547 | 4.4091 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N150 | 0.4505 | 0.0078284 | 1.7377 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N151 | 0.089833 | 0.00040825 | 0.45445 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N152 | 0.32417 | 0.0046552 | 1.436 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N153 | 0.096667 | 0.008165 | 8.4465 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N154 | 0.28333 | 0.012111 | 4.2743 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N155 | 0.1385 | 0.0057184 | 4.1288 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N156 | 0.6735 | 0.023399 | 3.4742 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N158 | 0.27733 | 0.0060277 | 2.1735 | 3 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N99 | 0.2768 | 0.0095263 | 3.4416 | 25 | mg/L as P