## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N100X | 0.065203 | 0.0016563 | 2.5402 | 35 | mg/L (as P)
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N101 | 0.35108 | 0.0087995 | 2.5064 | 31 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N102X | 0.12371 | 0.0022654 | 1.8312 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N103 | 0.29687 | 0.012155 | 4.0946 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N104X | 0.066797 | 0.0011597 | 1.7361 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N105 | 0.26188 | 0.0090146 | 3.4423 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N106X | 0.13034 | 0.0022581 | 1.7325 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N107 | 0.16889 | 0.0025166 | 1.4901 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N108X | 0.052772 | 0.0026245 | 4.9732 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N109 | 0.27397 | 0.009709 | 3.5438 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N110X | 0.057958 | 0.0014543 | 2.5093 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N111 | 0.27967 | 0.010541 | 3.7691 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N112X | 0.12521 | 0.0032846 | 2.6232 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N113 | 0.25681 | 0.0071352 | 2.7784 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N114X | 0.11129 | 0.0017628 | 1.5839 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N115 | 0.24316 | 0.0063831 | 2.6251 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N116X | 0.042339 | 0.0010832 | 2.5584 | 36 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N117 | 0.40093 | 0.011695 | 2.917 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N118X | 0.088844 | 0.0027887 | 3.1388 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N119 | 0.23633 | 0.0093387 | 3.9515 | 20 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N120X | 0.068557 | 0.0044221 | 6.4502 | 21 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N121 | 0.16872 | 0.0070179 | 4.1594 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N122X | 0.057912 | 0.0020176 | 3.4839 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N123 | 0.2774 | 0.0054886 | 1.9786 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N124X | 0.019254 | 0.00091461 | 4.7502 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N125 | 0.25124 | 0.0082719 | 3.2924 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N126X | 0.049462 | 0.0012994 | 2.6271 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N127 | 0.14657 | 0.002192 | 1.4955 | 23 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N128X | 0.043941 | 0.0012393 | 2.8204 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N129 | 0.2253 | 0.011209 | 4.9754 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N130X | 0.060022 | 0.0029113 | 4.8503 | 23 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N131 | 0.070919 | 0.0023579 | 3.3248 | 21 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N132X | 0.0321 | 0.0018947 | 5.9026 | 21 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N133 | 0.11584 | 0.0043596 | 3.7635 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N134X | 0.029304 | 0.0012692 | 4.3311 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N135 | 0.17323 | 0.002963 | 1.7105 | 15 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N136X | 0.039747 | 0.0010569 | 2.659 | 15 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N137 | 0.13473 | 0.0041693 | 3.0946 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N138X | 0.063772 | 0.001811 | 2.8398 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N139 | 0.13132 | 0.0027529 | 2.0962 | 12 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N140X | 0.030217 | 0.0010188 | 3.3715 | 12 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N141 | 0.17743 | 0.0026025 | 1.4667 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N142X | 0.063894 | 0.0024716 | 3.8682 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N143 | 0.18995 | 0.0035213 | 1.8538 | 15 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N144X | 0.042073 | 0.001084 | 2.5763 | 15 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N145 | 0.13654 | 0.0024615 | 1.8028 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N146X | 0.033924 | 0.0009763 | 2.8779 | 17 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N147 | 0.20493 | 0.0046374 | 2.2629 | 15 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N148X | 0.0301 | 0.001563 | 5.1926 | 15 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N149 | 0.18694 | 0.0046506 | 2.4877 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N150X | 0.04475 | 0.0019636 | 4.3879 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N151 | 0.092747 | 0.0030395 | 3.2772 | 15 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N152X | 0.0331 | 0.00095044 | 2.8714 | 13 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N153 | 0.098556 | 0.0014234 | 1.4443 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N154X | 0.028882 | 0.00099262 | 3.4368 | 17 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N155 | 0.13753 | 0.0023858 | 1.7348 | 15 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N156X | 0.067487 | 0.0025464 | 3.7732 | 15 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N157 | 0.11309 | 0.0028138 | 2.4881 | 17 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N158X | 0.027011 | 0.0014442 | 5.3467 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N99 | 0.28925 | 0.0038158 | 1.3192 | 32 | mg/L as P