## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N100 | 0.62445 | 0.0074752 | 1.1971 | 22 | mg/L (as P)
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N101 | 0.34817 | 0.006863 | 1.9712 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N102 | 1.2125 | 0.012399 | 1.0226 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N103 | 0.28733 | 0.010366 | 3.6076 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N104 | 0.65913 | 0.018809 | 2.8536 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N105 | 0.25488 | 0.0065761 | 2.5801 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N106 | 1.2986 | 0.033318 | 2.5657 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N107 | 0.16404 | 0.0066756 | 4.0694 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N108 | 0.52037 | 0.012531 | 2.4081 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N109 | 0.26696 | 0.0065904 | 2.4687 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N110 | 0.57142 | 0.013909 | 2.4342 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N111 | 0.27404 | 0.0049298 | 1.7989 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N112 | 1.2465 | 0.015976 | 1.2816 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N113 | 0.24892 | 0.0067946 | 2.7297 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N114 | 1.0576 | 0.015059 | 1.4238 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N115 | 0.23533 | 0.0052558 | 2.2333 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N116 | 0.40379 | 0.0065606 | 1.6248 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N117 | 0.38225 | 0.0072001 | 1.8836 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N118 | 0.87533 | 0.013513 | 1.5438 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N119 | 0.21991 | 0.0050686 | 2.3049 | 11 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N120 | 0.6436 | 0.014909 | 2.3164 | 10 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N121 | 0.158 | 0.0079772 | 5.0489 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N122 | 0.56075 | 0.017436 | 3.1095 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N123 | 0.26633 | 0.0080941 | 3.0391 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N124 | 0.1865 | 0.0082847 | 4.4422 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N125 | 0.23175 | 0.0092552 | 3.9936 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N126 | 0.47725 | 0.016587 | 3.4754 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N127 | 0.14109 | 0.0085142 | 6.0345 | 11 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N128 | 0.41567 | 0.0080265 | 1.931 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N129 | 0.21133 | 0.0061693 | 2.9192 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N130 | 0.55983 | 0.0072216 | 1.29 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N131 | 0.064833 | 0.0032706 | 5.0447 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N132 | 0.29145 | 0.0061215 | 2.1003 | 11 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N133 | 0.10925 | 0.0042023 | 3.8465 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N134 | 0.27025 | 0.0079215 | 2.9312 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N135 | 0.16209 | 0.0052241 | 3.2229 | 11 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N136 | 0.38158 | 0.011477 | 3.0077 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N137 | 0.12908 | 0.0070512 | 5.4625 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N138 | 0.61808 | 0.0071663 | 1.1594 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N139 | 0.11825 | 0.005994 | 5.069 | 8 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N140 | 0.29633 | 0.0085294 | 2.8783 | 9 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N141 | 0.16133 | 0.011827 | 7.3308 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N142 | 0.62558 | 0.011131 | 1.7793 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N143 | 0.16783 | 0.011645 | 6.9384 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N144 | 0.38208 | 0.014681 | 3.8424 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N145 | 0.12245 | 0.0070479 | 5.7555 | 11 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N146 | 0.31808 | 0.0067885 | 2.1342 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N147 | 0.18558 | 0.0075252 | 4.0549 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N148 | 0.27467 | 0.0074142 | 2.6993 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N149 | 0.17 | 0.011732 | 6.9011 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N150 | 0.43608 | 0.010247 | 2.3497 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N151 | 0.083667 | 0.011773 | 14.0714 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N152 | 0.30342 | 0.010613 | 3.4977 | 12 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N153 | 0.089545 | 0.0089853 | 10.0344 | 22 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N154 | 0.28227 | 0.016599 | 5.8806 | 22 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N155 | 0.13225 | 0.01084 | 8.1964 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N156 | 0.63921 | 0.02863 | 4.4789 | 24 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N157 | 0.11221 | 0.0096181 | 8.5715 | 19 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N158 | 0.27563 | 0.0092295 | 3.3486 | 16 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N159 | 0.12267 | 0.017786 | 14.4993 | 3 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N99 | 0.28191 | 0.0080706 | 2.8628 | 22 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | NS19 | 0.39078 | 0.008583 | 2.1964 | 68 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | NS21 | 0.40806 | 0.010763 | 2.6376 | 84 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | NS23 | 0.88333 | 0.015804 | 1.7891 | 66 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | NS25 | 3.7218 | 0.063528 | 1.7069 | 84 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | NS27 | 2.5986 | 0.034168 | 1.3149 | 71 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | NS29 | 2.2312 | 0.062359 | 2.7949 | 75 | mg/L as P
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | NS31 | 1.958 | 0.032551 | 1.6625 | 49 | mg/L as P