## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2550006 | 2018-10-03 |  | 25.86 | 24.5 | 105.551 | 5.551 | 2 | 0.68 | 5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/L | M210 | AKDS18275A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2610145 | 2018-10-09 |  | 42.23 | 40.2 | 105.0498 | 5.0498 | 2.01 | 1.01 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18278A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2018 | 2680172 | 2018-10-16 |  | 25.79 | 24.5 | 105.2653 | 5.2653 | 2 | 0.645 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M210 | AKDS18288A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2760031 | 2018-10-17 |  | 29.94 | 29.7 | 100.8081 | 0.80808 | 2 | 0.12 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18289A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2830104 | 2018-10-19 |  | 41.22 | 40.2 | 102.5373 | 2.5373 | 2.01 | 0.50746 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18291A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2890060 | 2018-10-25 |  | 29.89 | 29.7 | 100.6397 | 0.63973 | 2 | 0.095 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18297A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2960206 | 2018-11-01 |  | 42.32 | 40.2 | 105.2736 | 5.2736 | 2.01 | 1.0547 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS18304A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3100177 | 2018-11-14 |  | 53.28 | 52.4 | 101.6794 | 1.6794 | 2.62 | 0.33588 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS18317A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3180065 | 2018-11-26 |  | 31.55 | 29.7 | 106.229 | 6.229 | 2 | 0.925 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18324A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3270027 | 2018-11-30 |  | 56.36 | 52.4 | 107.5573 | 7.5573 | 2.62 | 1.5115 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS18334A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3320103 | 2018-12-04 |  | 31.56 | 29.7 | 106.2626 | 6.2626 | 2 | 0.93 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS18337A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3400025 | 2019-01-31 |  | 23.86 | 23.3 | 102.4034 | 2.4034 | 2 | 0.28 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19029A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 3530017 | 2019-02-06 |  | 23.61 | 23.3 | 101.3305 | 1.3305 | 2 | 0.155 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19036A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0520010 | 2019-03-08 |  | 58.2 | 57.4 | 101.3937 | 1.3937 | 2.87 | 0.27875 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19066A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0640093 | 2019-03-19 |  | 43.58 | 40.2 | 108.408 | 8.408 | 2.01 | 1.6816 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19077A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0720019 | 2019-03-28 |  | 59.08 | 57.4 | 102.9268 | 2.9268 | 2.87 | 0.58537 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19086A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0780094 | 2019-04-01 |  | 41.51 | 40.2 | 103.2587 | 3.2587 | 2.01 | 0.65174 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19087A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0860005 | 2019-04-05 |  | 58.99 | 57.4 | 102.77 | 2.77 | 2.87 | 0.55401 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19094A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0920064 | 2019-04-10 |  | 30.56 | 29.7 | 102.8956 | 2.8956 | 2 | 0.43 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19098A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 0990127 | 2019-04-18 |  | 41.46 | 40.2 | 103.1343 | 3.1343 | 2.01 | 0.62687 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19107A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1060102 | 2019-04-24 |  | 30.24 | 29.7 | 101.8182 | 1.8182 | 2 | 0.27 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19113A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1130097 | 2019-05-07 |  | 41.12 | 40.2 | 102.2886 | 2.2886 | 2.01 | 0.45771 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19126A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1280120 | 2019-05-31 |  | 53.81 | 52.4 | 102.6908 | 2.6908 | 2.62 | 0.53817 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19150A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1340211 | 2019-06-04 |  | 29.99 | 29.7 | 100.9764 | 0.97643 | 2 | 0.145 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19154A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1410226 | 2019-06-06 |  | 53.15 | 52.4 | 101.4313 | 1.4313 | 2.62 | 0.28626 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19156A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1490061 | 2019-06-13 |  | 30.5 | 29.7 | 102.6936 | 2.6936 | 2 | 0.4 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19162A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1550165 | 2019-06-17 |  | 23.64 | 23.3 | 101.4592 | 1.4592 | 2 | 0.17 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19164A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1620135 | 2019-06-25 |  | 53.11 | 52.4 | 101.355 | 1.355 | 2.62 | 0.27099 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19175A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1690138 | 2019-07-02 |  | 23.87 | 23.3 | 102.4464 | 2.4464 | 2 | 0.285 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19182A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1760172 | 2019-07-10 |  | 53.94 | 52.4 | 102.9389 | 2.9389 | 2.62 | 0.58779 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19190A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1830104 | 2019-07-17 |  | 30.46 | 29.6 | 102.9054 | 2.9054 | 2 | 0.43 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS19197A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 1900099 | 2019-07-17 |  | 24.07 | 23.3 | 103.3047 | 3.3047 | 2 | 0.385 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19197A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2000017 | 2019-07-30 |  | 30.88 | 29.6 | 104.3243 | 4.3243 | 2 | 0.64 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS19210B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2050045 | 2019-08-01 |  | 24.8 | 23.3 | 106.4378 | 6.4378 | 2 | 0.75 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19212A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2180151 | 2019-08-20 |  | 58.88 | 57.4 | 102.5784 | 2.5784 | 2.87 | 0.51568 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19231A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2250165 | 2019-08-23 |  | 30.78 | 29.6 | 103.9865 | 3.9865 | 2 | 0.59 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS19235A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2320180 | 2019-09-04 |  | 59.24 | 57.4 | 103.2056 | 3.2056 | 2.87 | 0.64111 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19247A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2390204 | 2019-09-12 |  | 30.88 | 29.6 | 104.3243 | 4.3243 | 2 | 0.64 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKDS19254A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2470181 | 2019-09-17 |  | 41.56 | 40.2 | 103.3831 | 3.3831 | 2.01 | 0.67662 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19259A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2550074 | 2019-09-20 |  | 58.79 | 57.4 | 102.4216 | 2.4216 | 2.87 | 0.48432 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19263A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2600329 | 2019-09-25 |  | 41.57 | 40.2 | 103.408 | 3.408 | 2.01 | 0.68159 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKDS19267A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2019 | 2680151 | 2019-10-03 |  | 58.74 | 57.4 | 102.3345 | 2.3345 | 2.87 | 0.4669 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS19274A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2810113 | 2019-10-23 |  | 29.89 | 29.7 | 100.6397 | 0.63973 | 2 | 0.095 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19295A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2890222 | 2019-11-01 |  | 48.2 | 49.8 | 96.7871 | -3.2129 | 2.49 | -0.64257 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS19304A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2950102 | 2019-11-05 |  | 29.95 | 29.7 | 100.8418 | 0.84175 | 2 | 0.125 | 4 | 2109 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/l CaCO3 | M218 | AKDS19308A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3030025 | 2019-11-07 |  | 50.05 | 49.8 | 100.502 | 0.50201 | 2.49 | 0.1004 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS19310A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3090146 | 2019-11-20 |  | 53.22 | 52.4 | 101.5649 | 1.5649 | 2.62 | 0.31298 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19322A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3170096 | 2019-11-29 |  | 29.91 | 29.7 | 100.7071 | 0.70707 | 2 | 0.105 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19329A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3230098 | 2019-12-04 |  | 50.85 | 52.4 | 97.042 | -2.958 | 2.62 | -0.5916 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19337A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3310058 | 2019-12-05 |  | 30.1 | 29.7 | 101.3468 | 1.3468 | 2 | 0.2 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19338A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3370102 | 2019-12-12 |  | 23.25 | 23.3 | 99.7854 | -0.21459 | 2 | -0.025 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19345A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 3510019 | 2020-01-02 |  | 23.2 | 23.3 | 99.5708 | -0.42918 | 2 | -0.05 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS20002A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0070043 | 2020-01-22 |  | 35.16 | 33.9 | 103.7168 | 3.7168 | 2 | 0.63 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | AKDS20016A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0220110 | 2020-01-28 |  | 34.95 | 33.9 | 103.0973 | 3.0973 | 2 | 0.525 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | AKDS20027A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0350136 | 2020-02-12 |  | 57.68 | 57.4 | 100.4878 | 0.4878 | 2.87 | 0.097561 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20042A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0500060 | 2020-03-05 |  | 58.77 | 57.4 | 102.3868 | 2.3868 | 2.87 | 0.47735 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20064A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0630050 | 2020-03-18 |  | 48.69 | 49.8 | 97.7711 | -2.2289 | 2.49 | -0.44578 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20077A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0700104 | 2020-03-24 |  | 60.85 | 57.4 | 106.0105 | 6.0105 | 2.87 | 1.2021 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20078A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0770115 | 2020-04-07 |  | 51.26 | 49.8 | 102.9317 | 2.9317 | 2.49 | 0.58635 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20097A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0840030 | 2020-04-09 |  | 59.18 | 57.4 | 103.101 | 3.101 | 2.87 | 0.62021 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20098A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 0980042 | 2020-04-23 |  | 30.3 | 29.7 | 102.0202 | 2.0202 | 2 | 0.3 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS20112A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1120048 | 2020-04-30 |  | 29.7 | 29.7 | 100 | 0 | 2 | 0 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS20119A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1060055 | 2020-04-30 |  | 50.74 | 49.8 | 101.8876 | 1.8876 | 2.49 | 0.37751 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20119A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1190086 | 2020-05-07 |  | 50.83 | 49.8 | 102.0683 | 2.0683 | 2.49 | 0.41365 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20126A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1260081 | 2020-05-18 |  | 53.75 | 52.4 | 102.5763 | 2.5763 | 2.62 | 0.51527 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20148B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1330127 | 2020-06-04 |  | 30.09 | 29.7 | 101.3131 | 1.3131 | 2 | 0.195 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | ALK__20155A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1500215 | 2020-06-10 |  | 30.15 | 29.7 | 101.5152 | 1.5152 | 2 | 0.225 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | ALK__20161A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1550006 | 2020-06-17 |  | 24.17 | 23.3 | 103.7339 | 3.7339 | 2 | 0.435 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20168A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1610192 | 2020-06-24 |  | 54.13 | 52.4 | 103.3015 | 3.3015 | 2.62 | 0.66031 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20175B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1680147 | 2020-07-01 |  | 24.03 | 23.3 | 103.133 | 3.133 | 2 | 0.365 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20182A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1760102 | 2020-07-14 |  | 54.2 | 52.4 | 103.4351 | 3.4351 | 2.62 | 0.68702 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20195A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1890181 | 2020-07-23 |  | 36.45 | 33.9 | 107.5221 | 7.5221 | 2 | 1.275 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20204A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 1960127 | 2020-08-04 |  | 24.18 | 23.3 | 103.7768 | 3.7768 | 2 | 0.44 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20217A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2040024 | 2020-08-10 |  | 35 | 33.9 | 103.2448 | 3.2448 | 2 | 0.55 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20219A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2120197 | 2020-08-24 |  | 24.11 | 23.3 | 103.4764 | 3.4764 | 2 | 0.405 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20234A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2170031 | 2020-08-25 |  | 58.31 | 57.4 | 101.5854 | 1.5854 | 2.87 | 0.31707 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20237A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2240090 | 2020-09-03 |  | 34.81 | 33.9 | 102.6844 | 2.6844 | 2 | 0.455 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20246A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2320038 | 2020-09-14 |  | 59.43 | 57.4 | 103.5366 | 3.5366 | 2.87 | 0.70732 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20258A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2390028 | 2020-09-29 |  | 34.1 | 33.9 | 100.59 | 0.58997 | 2 | 0.1 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20265A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2530138 | 2020-10-13 |  | 51.41 | 49.8 | 103.2329 | 3.2329 | 2.49 | 0.64659 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20282A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2590162 | 2020-10-15 |  | 58.57 | 57.4 | 102.0383 | 2.0383 | 2.87 | 0.40767 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20288A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2670296 | 2020-10-22 |  | 51.15 | 49.8 | 102.7108 | 2.7108 | 2.49 | 0.54217 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20295A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2020 | 2740057 | 2020-10-29 |  | 58.42 | 57.4 | 101.777 | 1.777 | 2.87 | 0.3554 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20302A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2810028 | 2020-11-02 |  | 52.41 | 51 | 102.7647 | 2.7647 | 2.55 | 0.55294 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20304A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2880070 | 2020-11-10 |  | 50.21 | 49.8 | 100.8233 | 0.82329 | 2.49 | 0.16466 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20314A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2950029 | 2020-11-13 |  | 52.93 | 51 | 103.7843 | 3.7843 | 2.55 | 0.75686 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20317B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3010153 | 2020-11-24 |  | 51.38 | 49.8 | 103.1727 | 3.1727 | 2.49 | 0.63454 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20324A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3080105 | 2020-12-07 |  | 14.85 | 14 | 106.0714 | 6.0714 | 2.08 | 0.40865 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__20337A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3150098 | 2020-12-08 |  | 52.42 | 51 | 102.7843 | 2.7843 | 2.55 | 0.55686 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20342A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3230037 | 2020-12-14 |  | 14.7 | 14 | 105 | 5 | 2.08 | 0.33654 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__20344A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3300048 | 2020-12-17 |  | 52.25 | 51 | 102.451 | 2.451 | 2.55 | 0.4902 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20351A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3440079 | 2020-12-29 |  | 23.8 | 23.3 | 102.1459 | 2.1459 | 2 | 0.25 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20363A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 3580055 | 2021-01-13 |  | 23.88 | 23.3 | 102.4893 | 2.4893 | 2 | 0.29 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21012A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0050023 | 2021-01-19 |  | 35.64 | 33.9 | 105.1327 | 5.1327 | 2 | 0.87 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21019A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0210016 | 2021-02-01 |  | 35.45 | 33.9 | 104.5723 | 4.5723 | 2 | 0.775 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21032A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0400074 | 2021-02-19 |  | 59.11 | 57.4 | 102.9791 | 2.9791 | 2.87 | 0.59582 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21049A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0540053 | 2021-03-03 |  | 59.26 | 57.4 | 103.2404 | 3.2404 | 2.87 | 0.64808 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21061A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0620098 | 2021-03-24 |  | 51.17 | 49.8 | 102.751 | 2.751 | 2.49 | 0.5502 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21083A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0680061 | 2021-03-26 |  | 58.47 | 57.4 | 101.8641 | 1.8641 | 2.87 | 0.37282 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21085A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0760033 | 2021-03-31 |  | 51.14 | 49.8 | 102.6908 | 2.6908 | 2.49 | 0.53815 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21089A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0830028 | 2021-04-16 |  | 59.2 | 57.4 | 103.1359 | 3.1359 | 2.87 | 0.62718 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21105A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 0970046 | 2021-04-27 |  | 52.92 | 51 | 103.7647 | 3.7647 | 2.55 | 0.75294 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21113A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1030146 | 2021-04-29 |  | 51.45 | 49.8 | 103.3133 | 3.3133 | 2.49 | 0.66265 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21117A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1110002 | 2021-05-04 |  | 52.79 | 51 | 103.5098 | 3.5098 | 2.55 | 0.70196 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21123A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1180037 | 2021-05-10 |  | 51.26 | 49.8 | 102.9317 | 2.9317 | 2.49 | 0.58635 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21126A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1250005 | 2021-05-11 |  | 14.69 | 14 | 104.9286 | 4.9286 | 2.08 | 0.33173 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21130A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1320163 | 2021-05-24 |  | 53.01 | 51 | 103.9412 | 3.9412 | 2.55 | 0.78824 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21140A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1380135 | 2021-05-26 |  | 14.78 | 14 | 105.5714 | 5.5714 | 2.08 | 0.375 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21144A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1460005 | 2021-06-03 |  | 52.62 | 51 | 103.1765 | 3.1765 | 2.55 | 0.63529 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21152A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1540141 | 2021-06-14 |  | 23.79 | 23.3 | 102.103 | 2.103 | 2 | 0.245 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21161A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1600036 | 2021-06-15 |  | 14.84 | 14 | 106 | 6 | 2.08 | 0.40385 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21165A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1660121 | 2021-06-23 |  | 24.45 | 23.3 | 104.9356 | 4.9356 | 2 | 0.575 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21173A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1730219 | 2021-06-29 |  | 15.32 | 14 | 109.4286 | 9.4286 | 2.08 | 0.63462 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21180A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1880113 | 2021-07-16 |  | 35.57 | 33.9 | 104.9263 | 4.9263 | 2 | 0.835 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21195A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 1940224 | 2021-07-22 |  | 23.73 | 23.3 | 101.8455 | 1.8455 | 2 | 0.215 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21201A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2010229 | 2021-07-27 |  | 35.22 | 33.9 | 103.8938 | 3.8938 | 2 | 0.66 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21207B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2080173 | 2021-08-03 |  | 23.89 | 23.3 | 102.5322 | 2.5322 | 2 | 0.295 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21214A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2150047 | 2021-08-17 |  | 58.8 | 57.4 | 102.439 | 2.439 | 2.87 | 0.4878 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21222A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2220179 | 2021-08-25 |  | 35.51 | 33.9 | 104.7493 | 4.7493 | 2 | 0.805 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21231A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2290123 | 2021-08-27 |  | 59.1 | 57.4 | 102.9617 | 2.9617 | 2.87 | 0.59233 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21238A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2360119 | 2021-09-01 |  | 35.37 | 33.9 | 104.3363 | 4.3363 | 2 | 0.735 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21243A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2510435 | 2021-09-13 |  | 50.6 | 49.8 | 101.6064 | 1.6064 | 2.49 | 0.32129 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21253A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2580263 | 2021-09-21 |  | 57.71 | 57.4 | 100.5401 | 0.54007 | 2.87 | 0.10801 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21263A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2640273 | 2021-09-29 |  | 50.48 | 49.8 | 101.3655 | 1.3655 | 2.49 | 0.27309 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21270A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2021 | 2790035 | 2021-10-15 |  | 59.59 | 57.4 | 103.8153 | 3.8153 | 2.87 | 0.76307 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21281A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 2790036 | 2021-10-15 |  | 52.73 | 51 | 103.3922 | 3.3922 | 2.55 | 0.67843 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21281A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 2870244 | 2021-10-19 |  | 50.98 | 49.8 | 102.3695 | 2.3695 | 2.49 | 0.4739 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21291A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 2940008 | 2021-10-29 |  | 52.53 | 51 | 103 | 3 | 2.55 | 0.6 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21302A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 3000134 | 2021-11-05 |  | 51.2 | 49.8 | 102.8112 | 2.8112 | 2.49 | 0.56225 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21307A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 3060205 | 2021-11-08 |  | 14.79 | 14 | 105.6429 | 5.6429 | 2.08 | 0.37981 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21308A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 3130185 | 2021-11-16 |  | 54.22 | 51 | 106.3137 | 6.3137 | 2.55 | 1.2627 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21319A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 3200089 | 2021-11-22 |  | 15.3 | 14 | 109.2857 | 9.2857 | 2.08 | 0.625 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21323A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 3270287 | 2021-12-06 |  | 54.8 | 51 | 107.451 | 7.451 | 2.55 | 1.4902 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21337A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 3410061 | 2021-12-09 |  | 17.7 | 18.6 | 95.1613 | -4.8387 | 2.91 | -0.30928 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__21341A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 0050040 | 2022-02-23 |  | 34.6 | 33.9 | 102.0649 | 2.0649 | 2 | 0.35 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__22040A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 0380066 | 2022-02-23 |  | 35.8 | 35.4 | 101.1299 | 1.1299 | 2 | 0.2 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__22045B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 3570002 | 2022-02-23 |  | 17.7 | 18.6 | 95.1613 | -4.8387 | 2.91 | -0.30928 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__22031A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 0480129 | 2022-03-14 |  | 35.5 | 35.4 | 100.2825 | 0.28249 | 2 | 0.05 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__22060A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 0670122 | 2022-04-01 |  | 35.8 | 35.4 | 101.1299 | 1.1299 | 2 | 0.2 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__22083A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 0760099 | 2022-05-05 |  | 51.1 | 49.8 | 102.6104 | 2.6104 | 2.49 | 0.52209 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__22124A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 0190119 | 2022-06-17 |  | 34.4 | 33.9 | 101.4749 | 1.4749 | 2 | 0.25 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__22041B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 1020022 | 2022-06-22 |  | 131 | 49.8 | 263.0522 | 163.0522 | 2.49 | 32.6104 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__22172A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 2630186 | 2023-08-03 |  | 50.9 | 49.8 | 102.2088 | 2.2088 | 2.49 | 0.44177 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__23215A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 2770116 | 2023-08-03 |  | 52.9 | 51 | 103.7255 | 3.7255 | 2.55 | 0.7451 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | __ALK23214C
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2022 | 2710049 | 2023-08-03 |  | 38.2 | 35.4 | 107.9096 | 7.9096 | 1.77 | 1.5819 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | __ALK23214C
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 2860103 | 2023-08-08 |  | 60.3 | 60 | 100.5 | 0.5 | 3 | 0.1 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23219B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 3130107 | 2023-08-22 |  | 52.7157 | 51 | 103.3641 | 3.3641 | 2.55 | 0.67282 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23233B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 3060047 | 2023-08-22 | E | 14.1742 | 14 | 101.2443 | 1.2443 | 2.08 | 0.08375 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23233A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 2990134 | 2023-08-22 |  | 60.4 | 60 | 100.6667 | 0.66667 | 3 | 0.13333 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23233A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 3330052 | 2023-08-23 |  | 52.7655 | 51 | 103.4618 | 3.4618 | 2.55 | 0.69235 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23235B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 3400093 | 2023-08-23 | E | 18.5626 | 18.6 | 99.7989 | -0.20108 | 2.91 | -0.012852 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23235B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 3610133 | 2023-08-30 | E | 17.8175 | 18.6 | 95.793 | -4.207 | 2.91 | -0.2689 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23242A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 0100101 | 2023-08-31 |  | 27.236 | 27.2 | 100.1324 | 0.13235 | 1.85 | 0.019459 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23243B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 0380149 | 2023-09-05 |  | 35.9068 | 35.4 | 101.4316 | 1.4316 | 1.77 | 0.28633 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23248A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 0250121 | 2023-09-05 |  | 29.9157 | 27.2 | 109.9842 | 9.9842 | 1.85 | 1.4679 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23244B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 0590091 | 2023-09-06 |  | 38.8959 | 35.4 | 109.8754 | 9.8754 | 1.77 | 1.9751 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23248C
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 2200129 | 2023-09-06 |  | 39.1919 | 35.4 | 110.7116 | 10.7116 | 1.77 | 2.1423 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23248C
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 0670104 | 2023-09-18 |  | 64.296 | 60 | 107.16 | 7.16 | 3 | 1.432 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23255A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 0740031 | 2023-09-19 |  | 36.5098 | 35.4 | 103.135 | 3.135 | 1.77 | 0.62701 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23262A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 0800072 | 2023-09-19 |  | 62.8037 | 60 | 104.6728 | 4.6728 | 3 | 0.93457 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23262A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 0880091 | 2023-09-20 |  | 36.1049 | 35.4 | 101.9912 | 1.9912 | 1.77 | 0.39825 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23263A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 1100087 | 2023-09-21 |  | 53.2832 | 51 | 104.4769 | 4.4769 | 2.55 | 0.89537 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23264B
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 1020110 | 2023-09-21 |  | 60.4717 | 60 | 100.7862 | 0.78617 | 3 | 0.15723 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23264A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 1240208 | 2023-09-22 | E | 14.5521 | 14 | 103.9436 | 3.9436 | 2.08 | 0.26543 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23265A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 1170146 | 2023-09-22 |  | 61.5361 | 60 | 102.5602 | 2.5602 | 3 | 0.51203 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23265A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 1300168 | 2023-09-25 |  | 52.6583 | 51 | 103.2516 | 3.2516 | 2.55 | 0.65031 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23268A
Alkalinity (as CaCO3), FIL, TITR | 29801 | TT040 | FIL | 2023 | 1360046 | 2023-09-26 | E | 14.0745 | 14 | 100.5321 | 0.53214 | 2.08 | 0.035817 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23269A