## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2018 | 2490025 | 2018-10-01 |  | 41.51 | 40.2 | 103.2587 | 3.2587 | 2.01 | 0.65174 | 6 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/L | M214 | AKTO18272A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2018 | 2610145 | 2018-10-11 |  | 42.64 | 40.2 | 106.0697 | 6.0697 | 2.01 | 1.2139 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKTO18283A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 2760031 | 2018-10-18 |  | 30.01 | 29.7 | 101.0438 | 1.0438 | 2 | 0.155 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKTO18290A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 2890060 | 2018-10-23 |  | 30.21 | 29.7 | 101.7172 | 1.7172 | 2 | 0.255 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKTO18295A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 3100177 | 2018-11-13 |  | 52.52 | 52.4 | 100.229 | 0.22901 | 2.62 | 0.045802 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKTO18311A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 3270027 | 2018-11-27 |  | 56.09 | 52.4 | 107.042 | 7.042 | 2.62 | 1.4084 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKTO18330A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 3400025 | 2018-12-19 |  | 24.87 | 23.3 | 106.7382 | 6.7382 | 2 | 0.785 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKTO18353A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 3530017 | 2019-02-04 |  | 23.82 | 23.3 | 102.2318 | 2.2318 | 2 | 0.26 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKTO19031A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 0640093 | 2019-03-20 |  | 41.39 | 40.2 | 102.9602 | 2.9602 | 2.01 | 0.59204 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKTO19078B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 0520010 | 2019-03-20 |  | 58.89 | 57.4 | 102.5958 | 2.5958 | 2.87 | 0.51916 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKTO19078B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 0780094 | 2019-04-04 |  | 41.42 | 40.2 | 103.0348 | 3.0348 | 2.01 | 0.60697 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKTO19093A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 0920064 | 2019-04-11 |  | 30.37 | 29.7 | 102.2559 | 2.2559 | 2 | 0.335 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKTO19099A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 1060102 | 2019-04-25 |  | 30.15 | 29.7 | 101.5152 | 1.5152 | 2 | 0.225 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKTO19114A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 1280120 | 2019-05-29 |  | 53.42 | 52.4 | 101.9466 | 1.9466 | 2.62 | 0.38931 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKTO19142A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 1410226 | 2019-06-18 |  | 53.13 | 52.4 | 101.3931 | 1.3931 | 2.62 | 0.27863 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKTO19168A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 1550165 | 2019-06-19 |  | 23.6 | 23.3 | 101.2876 | 1.2876 | 2 | 0.15 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKTO19169A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 1690138 | 2019-07-01 |  | 23.66 | 23.3 | 101.5451 | 1.5451 | 2 | 0.18 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKTO19182A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 1830104 | 2019-07-24 |  | 30.43 | 29.6 | 102.8041 | 2.8041 | 2 | 0.415 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKTO19204A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 2000017 | 2019-07-31 |  | 31.04 | 29.6 | 104.8649 | 4.8649 | 2 | 0.72 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M216 | AKTO19211A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 2180151 | 2019-08-19 |  | 58.76 | 57.4 | 102.3693 | 2.3693 | 2.87 | 0.47387 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKTO19228A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 2320180 | 2019-09-05 |  | 59 | 57.4 | 102.7875 | 2.7875 | 2.87 | 0.55749 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKTO19247A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 2470181 | 2019-09-19 |  | 41.51 | 40.2 | 103.2587 | 3.2587 | 2.01 | 0.65174 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKTO19261A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2019 | 2600329 | 2019-09-24 |  | 41.35 | 40.2 | 102.8607 | 2.8607 | 2.01 | 0.57214 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M214 | AKTO19267A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 2810113 | 2019-10-31 |  | 29.74 | 29.7 | 100.1347 | 0.13468 | 2 | 0.02 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKTO19303A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 2950102 | 2019-11-04 |  | 29.23 | 29.7 | 98.4175 | -1.5825 | 2 | -0.235 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKTO19305A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 3090146 | 2019-11-19 |  | 53.19 | 52.4 | 101.5076 | 1.5076 | 2.62 | 0.30153 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKTO19322B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 3230098 | 2019-12-03 |  | 52.11 | 52.4 | 99.4466 | -0.55344 | 2.62 | -0.11069 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKTO19336A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 3370102 | 2019-12-09 |  | 23.66 | 23.3 | 101.5451 | 1.5451 | 2 | 0.18 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKTO19343A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 3510019 | 2020-01-07 |  | 22.05 | 23.3 | 94.6352 | -5.3648 | 2 | -0.625 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKTO20002A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 0070043 | 2020-01-16 |  | 35.72 | 33.9 | 105.3687 | 5.3687 | 2 | 0.91 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | AKTO20008A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 0350136 | 2020-02-10 |  | 54.41 | 57.4 | 94.7909 | -5.2091 | 2.87 | -1.0418 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKTO20041A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 0220110 | 2020-02-10 |  | 34.84 | 33.9 | 102.7729 | 2.7729 | 2 | 0.47 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | AKTO20041A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 0500060 | 2020-02-26 |  | 59.49 | 57.4 | 103.6411 | 3.6411 | 2.87 | 0.72822 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKTO20056A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 0630050 | 2020-03-10 |  | 51.25 | 49.8 | 102.9116 | 2.9116 | 2.49 | 0.58233 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKTO20066A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 0980042 | 2020-04-21 |  | 30.04 | 29.7 | 101.1448 | 1.1448 | 2 | 0.17 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKTO20106A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 0770115 | 2020-04-21 |  | 50.67 | 49.8 | 101.747 | 1.747 | 2.49 | 0.3494 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKTO20106A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 1120048 | 2020-05-05 |  | 30.1 | 29.7 | 101.3468 | 1.3468 | 2 | 0.2 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKTO20122A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 1260081 | 2020-06-01 |  | 53.53 | 52.4 | 102.1565 | 2.1565 | 2.62 | 0.4313 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20150C
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 1550006 | 2020-06-15 |  | 23.53 | 23.3 | 100.9871 | 0.98712 | 2 | 0.115 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20163A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 1890181 | 2020-07-21 |  | 37 | 33.9 | 109.1445 | 9.1445 | 2 | 1.55 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20198A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 2040024 | 2020-08-07 |  | 34.83 | 33.9 | 102.7434 | 2.7434 | 2 | 0.465 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20218A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 2170031 | 2020-08-31 |  | 58.31 | 57.4 | 101.5854 | 1.5854 | 2.87 | 0.31707 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20239A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 2320038 | 2020-09-18 |  | 59.02 | 57.4 | 102.8223 | 2.8223 | 2.87 | 0.56446 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20261A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 2530138 | 2020-10-07 |  | 51.17 | 49.8 | 102.751 | 2.751 | 2.49 | 0.5502 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20280A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2020 | 2670296 | 2020-10-21 |  | 51 | 49.8 | 102.4096 | 2.4096 | 2.49 | 0.48193 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20294B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 2810028 | 2020-10-28 |  | 51.33 | 51 | 100.6471 | 0.64706 | 2.55 | 0.12941 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20301B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 2950029 | 2020-11-16 |  | 52.68 | 51 | 103.2941 | 3.2941 | 2.55 | 0.65882 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20318A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 3080105 | 2020-12-02 |  | 15.09 | 14 | 107.7857 | 7.7857 | 2.08 | 0.52404 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__20336A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 3230037 | 2020-12-09 |  | 14.68 | 14 | 104.8571 | 4.8571 | 2.08 | 0.32692 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__20343A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 3440079 | 2020-12-30 |  | 23.73 | 23.3 | 101.8455 | 1.8455 | 2 | 0.215 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20364A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 3580055 | 2021-01-14 |  | 24.04 | 23.3 | 103.176 | 3.176 | 2 | 0.37 | 4 | 0070 | See result laboratory comment |  |  | mg/l CaCO3 | M224 | ALK__21013A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 0050023 | 2021-01-26 |  | 35.75 | 33.9 | 105.4572 | 5.4572 | 2 | 0.925 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21021A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 0210016 | 2021-02-09 |  | 35.59 | 33.9 | 104.9853 | 4.9853 | 2 | 0.845 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21035A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 0400074 | 2021-02-18 |  | 58.81 | 57.4 | 102.4564 | 2.4564 | 2.87 | 0.49129 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21042A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 0540053 | 2021-03-02 |  | 58.91 | 57.4 | 102.6307 | 2.6307 | 2.87 | 0.52613 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21060A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 0620098 | 2021-03-16 |  | 50.7 | 49.8 | 101.8072 | 1.8072 | 2.49 | 0.36145 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21070A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 0760033 | 2021-03-31 |  | 50.83 | 49.8 | 102.0683 | 2.0683 | 2.49 | 0.41365 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21090A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 0970046 | 2021-05-07 |  | 52.72 | 51 | 103.3725 | 3.3725 | 2.55 | 0.67451 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21125A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 1110002 | 2021-05-12 |  | 52.78 | 51 | 103.4902 | 3.4902 | 2.55 | 0.69804 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21130B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 1250005 | 2021-05-18 |  | 14.7 | 14 | 105 | 5 | 2.08 | 0.33654 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21137A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 1380135 | 2021-05-25 |  | 14.84 | 14 | 106 | 6 | 2.08 | 0.40385 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21141A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 1540141 | 2021-06-08 |  | 24.17 | 23.3 | 103.7339 | 3.7339 | 2 | 0.435 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21158A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 1660121 | 2021-06-24 |  | 24.24 | 23.3 | 104.0343 | 4.0343 | 2 | 0.47 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21173B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 1880113 | 2021-07-20 |  | 35.64 | 33.9 | 105.1327 | 5.1327 | 2 | 0.87 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21200B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 2010229 | 2021-08-06 |  | 35.56 | 33.9 | 104.8968 | 4.8968 | 2 | 0.83 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21217A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 2150047 | 2021-08-26 |  | 58.4 | 57.4 | 101.7422 | 1.7422 | 2.87 | 0.34843 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21237B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 2290123 | 2021-09-03 |  | 58.55 | 57.4 | 102.0035 | 2.0035 | 2.87 | 0.4007 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21245A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 2510435 | 2021-09-20 |  | 50.54 | 49.8 | 101.4859 | 1.4859 | 2.49 | 0.29719 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21260B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2021 | 2640273 | 2021-09-29 |  | 50.45 | 49.8 | 101.3052 | 1.3052 | 2.49 | 0.26104 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21271A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 2790036 | 2021-10-27 |  | 52.62 | 51 | 103.1765 | 3.1765 | 2.55 | 0.63529 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21299A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 2940008 | 2021-10-27 |  | 53.09 | 51 | 104.098 | 4.098 | 2.55 | 0.81961 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21299A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 3060205 | 2021-11-09 |  | 15.36 | 14 | 109.7143 | 9.7143 | 2.08 | 0.65385 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21309A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 3200089 | 2021-11-29 |  | 15.1 | 14 | 107.8571 | 7.8571 | 2.08 | 0.52885 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21328B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 3410061 | 2021-12-20 |  | 17.5 | 18.6 | 94.086 | -5.914 | 2.91 | -0.37801 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__21350A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 0050040 | 2022-03-14 |  | 35.3 | 33.9 | 104.1298 | 4.1298 | 2 | 0.7 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__22053A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 0190119 | 2022-03-14 |  | 35 | 33.9 | 103.2448 | 3.2448 | 2 | 0.55 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__22053A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 0380066 | 2022-03-14 |  | 35.6 | 35.4 | 100.565 | 0.56497 | 2 | 0.1 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__22053A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 3570002 | 2022-03-14 |  | 17.2 | 18.6 | 92.4731 | -7.5269 | 2.91 | -0.4811 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__22047B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 0480129 | 2022-04-08 |  | 35.5 | 35.4 | 100.2825 | 0.28249 | 2 | 0.05 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__22097A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 0760099 | 2022-04-26 |  | 50.6 | 49.8 | 101.6064 | 1.6064 | 2.49 | 0.32129 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__22112A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 2630186 | 2023-05-03 |  | 47.5 | 49.8 | 95.3815 | -4.6185 | 2.49 | -0.92369 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__23121B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 2770116 | 2023-05-05 |  | 51.5 | 51 | 100.9804 | 0.98039 | 2.55 | 0.19608 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23125C
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 3060047 | 2023-05-08 |  | 13.7 | 14 | 97.8571 | -2.1429 | 2.08 | -0.14423 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23128B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 3400093 | 2023-05-08 |  | 17 | 18.6 | 91.3978 | -8.6022 | 2.91 | -0.54983 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23128I
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0380149 | 2023-05-10 |  | 33.9 | 35.4 | 95.7627 | -4.2373 | 2 | -0.75 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23130E
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 3610133 | 2023-05-10 |  | 16.3 | 18.6 | 87.6344 | -12.3656 | 2.91 | -0.79038 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23128J
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0100101 | 2023-05-10 |  | 28 | 27.2 | 102.9412 | 2.9412 | 2 | 0.4 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23130C
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0250121 | 2023-05-10 |  | 25.8 | 27.2 | 94.8529 | -5.1471 | 2 | -0.7 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23130D
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0590091 | 2023-08-15 |  | 36.0045 | 35.4 | 101.7076 | 1.7076 | 1.77 | 0.34153 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23223A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0670104 | 2023-08-15 |  | 59.4174 | 60 | 99.029 | -0.971 | 3 | -0.1942 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23223A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0800072 | 2023-08-15 |  | 59.5456 | 60 | 99.2427 | -0.75733 | 3 | -0.15147 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23227A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0940122 | 2023-08-16 |  | 51.227 | 51 | 100.4451 | 0.4451 | 2.55 | 0.08902 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23228A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1240208 | 2023-08-16 | E | 14.0824 | 14 | 100.5886 | 0.58857 | 2.08 | 0.039615 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23228B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1100087 | 2023-08-17 |  | 51.7431 | 51 | 101.4571 | 1.4571 | 2.55 | 0.29141 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23228A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1360046 | 2023-08-17 | E | 14.1211 | 14 | 100.865 | 0.865 | 2.08 | 0.058221 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23229A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1570042 | 2023-08-18 | E | 18.3533 | 18.6 | 98.6737 | -1.3263 | 2.91 | -0.084777 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23229A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1730214 | 2023-08-18 | E | 17.8676 | 18.6 | 96.0624 | -3.9376 | 2.91 | -0.25168 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23230A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 2200129 | 2023-09-13 |  | 36.7636 | 35.4 | 103.852 | 3.852 | 1.77 | 0.7704 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23339B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1870308 | 2023-09-13 |  | 27.8542 | 27.2 | 102.4051 | 2.4051 | 1.85 | 0.35362 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23339B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1990165 | 2023-09-13 |  | 27.2763 | 27.2 | 100.2805 | 0.28051 | 1.85 | 0.041243 | 2.5 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23339B