## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2018 | 2680171 | 2018-10-02 |  | 26.2142 | 24.2 | 108.3231 | 8.3231 | 1.21 | 1.6646 | 0.1 | 1796 | Sample was diluted |  |  | ug/L | T227 | ICPMS18271A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2760034 | 2018-10-10 |  | 12.118 | 14 | 86.5571 | -13.4429 | 0.7 | -2.6886 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS18283A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2770140 | 2018-10-10 |  | 6.5383 | 7.04 | 92.8736 | -7.1264 | 0.5 | -1.0034 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS18283A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2830105 | 2018-10-12 |  | 3.4844 | 3.5 | 99.5543 | -0.44571 | 0.5 | -0.0312 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS18284A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2840111 | 2018-10-23 |  | 2.7993 | 2.6 | 107.6654 | 7.6654 | 0.5 | 0.3986 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS18288A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2910154 | 2018-10-24 |  | 6.5869 | 7.04 | 93.5639 | -6.4361 | 0.5 | -0.9062 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS18296A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2960205 | 2018-10-25 |  | 3.5063 | 3.5 | 100.18 | 0.18 | 0.5 | 0.0126 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS18296A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2890061 | 2018-10-26 |  | 13.4619 | 14 | 96.1564 | -3.8436 | 0.7 | -0.76871 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS18299A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2980090 | 2018-10-29 |  | 3.3799 | 2.6 | 129.9962 | 29.9962 | 0.5 | 1.5598 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS18302A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 3120135 | 2018-11-22 |  | 2.3857 | 2.6 | 91.7577 | -8.2423 | 0.5 | -0.4286 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS18320A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 3180066 | 2018-11-27 |  | 8.5423 | 7.04 | 121.3395 | 21.3395 | 0.5 | 3.0046 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS18327A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 3250019 | 2018-11-29 |  | 15.9143 | 14 | 113.6736 | 13.6736 | 0.7 | 2.7347 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS18333A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 3320104 | 2018-12-04 |  | 6.4186 | 7.04 | 91.1733 | -8.8267 | 0.5 | -1.2428 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS18334A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 3330148 | 2018-12-10 |  | 15.4518 | 14 | 110.37 | 10.37 | 0.7 | 2.074 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS18341A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 3410005 | 2019-02-06 |  | 14.3925 | 14 | 102.8036 | 2.8036 | 0.7 | 0.56071 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19036A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 3540062 | 2019-02-14 |  | 17.0152 | 14 | 121.5371 | 21.5371 | 0.7 | 4.3074 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19044A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 3530016 | 2019-02-14 |  | 25.4743 | 24.2 | 105.2657 | 5.2657 | 1.21 | 1.0531 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19044A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 3400024 | 2019-02-19 |  | 25.2815 | 24.2 | 104.469 | 4.469 | 1.21 | 0.8938 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19046A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0520007 | 2019-02-22 |  | 7.359 | 7.04 | 104.5313 | 4.5313 | 0.5 | 0.638 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19052A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0520133 | 2019-03-01 |  | 25.4729 | 24.2 | 105.2599 | 5.2599 | 1.21 | 1.052 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19059A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0640092 | 2019-03-13 |  | 2.9008 | 2.6 | 111.5692 | 11.5692 | 0.5 | 0.6016 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19064A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0660075 | 2019-03-15 |  | 2.8472 | 3.5 | 81.3486 | -18.6514 | 0.5 | -1.3056 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19071A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0730067 | 2019-03-22 |  | 8.5268 | 7.04 | 121.1193 | 21.1193 | 0.5 | 2.9736 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19078A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0720020 | 2019-03-22 |  | 27.136 | 24.2 | 112.1322 | 12.1322 | 1.21 | 2.4264 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19078A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0780096 | 2019-03-23 |  | 2.6231 | 2.6 | 100.8885 | 0.88846 | 0.5 | 0.0462 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19078A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0800127 | 2019-03-28 |  | 3.5505 | 3.5 | 101.4429 | 1.4429 | 0.5 | 0.101 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19085A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0870140 | 2019-04-03 |  | 3.7797 | 7.04 | 53.6889 | -46.3111 | 0.5 | -6.5206 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19088A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0940209 | 2019-04-09 |  | 7.9467 | 7.04 | 112.8793 | 12.8793 | 0.5 | 1.8134 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19095A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0920065 | 2019-04-11 |  | 14.2634 | 14 | 101.8814 | 1.8814 | 0.7 | 0.37629 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19099A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1010105 | 2019-04-15 |  | 2.648 | 2.6 | 101.8462 | 1.8462 | 0.5 | 0.096 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19100A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 0990128 | 2019-04-15 |  | 3.0608 | 3.5 | 87.4514 | -12.5486 | 0.5 | -0.8784 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19100A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1060103 | 2019-04-25 |  | 13.0538 | 14 | 93.2414 | -6.7586 | 0.7 | -1.3517 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19108A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1080305 | 2019-04-29 |  | 8.7627 | 7.04 | 124.4702 | 24.4702 | 0.5 | 3.4454 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19119A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1150184 | 2019-05-02 |  | 2.614 | 2.6 | 100.5385 | 0.53846 | 0.5 | 0.028 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19120A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1130095 | 2019-05-02 |  | 3.7778 | 3.5 | 107.9371 | 7.9371 | 0.5 | 0.5556 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19113A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1340212 | 2019-05-17 |  | 7.2896 | 7.04 | 103.5455 | 3.5455 | 0.5 | 0.4992 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19136A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1360139 | 2019-05-30 |  | 13.7561 | 14 | 98.2579 | -1.7421 | 0.7 | -0.34843 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19144A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1490062 | 2019-05-30 |  | 7.5289 | 7.04 | 106.9446 | 6.9446 | 0.5 | 0.9778 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19144A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1550159 | 2019-06-14 |  | 14.6797 | 14 | 104.855 | 4.855 | 0.7 | 0.971 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19163A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1570209 | 2019-06-14 |  | 15.5403 | 14 | 111.0021 | 11.0021 | 0.7 | 2.2004 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19163A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1550162 | 2019-06-14 |  | 24.5771 | 24.2 | 101.5583 | 1.5583 | 1.21 | 0.31165 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19163A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1710257 | 2019-07-02 |  | 12.882 | 14 | 92.0143 | -7.9857 | 0.7 | -1.5971 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19179A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1690137 | 2019-07-02 |  | 22.3092 | 24.2 | 92.1868 | -7.8132 | 1.21 | -1.5626 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19179A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1830106 | 2019-07-09 |  | 3.1251 | 3.5 | 89.2886 | -10.7114 | 0.5 | -0.7498 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19189A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1900100 | 2019-07-17 |  | 14.8758 | 14 | 106.2557 | 6.2557 | 0.7 | 1.2511 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19197A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 1930195 | 2019-07-24 |  | 26.6797 | 24.2 | 110.2467 | 10.2467 | 1.21 | 2.0493 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19204A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2000016 | 2019-07-25 |  | 3.9992 | 3.5 | 114.2629 | 14.2629 | 0.5 | 0.9984 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19205A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2050046 | 2019-08-07 |  | 14.4205 | 14 | 103.0036 | 3.0036 | 0.7 | 0.60071 | 1 | 1796 | Sample was diluted |  |  | µg/L | T221 | ICPMS19218A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2060243 | 2019-08-07 |  | 24.872 | 24.2 | 102.7769 | 2.7769 | 1.21 | 0.55537 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19218A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2180150 | 2019-08-15 |  | 7.6327 | 7.04 | 108.419 | 8.419 | 0.5 | 1.1854 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19226A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2270233 | 2019-08-22 |  | 3.6287 | 3.5 | 103.6771 | 3.6771 | 0.5 | 0.2574 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19232A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2320181 | 2019-08-23 |  | 7.0665 | 7.04 | 100.3764 | 0.37642 | 0.5 | 0.053 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19233A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2200206 | 2019-08-30 |  | 28.0922 | 24.2 | 116.0835 | 16.0835 | 1.21 | 3.2167 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19240A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2340254 | 2019-09-06 |  | 24.6449 | 24.2 | 101.8384 | 1.8384 | 1.21 | 0.36769 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19246A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2410097 | 2019-09-06 |  | 2.6775 | 3.5 | 76.5 | -23.5 | 0.5 | -1.645 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19246A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2480213 | 2019-09-10 |  | 2.1121 | 3.5 | 60.3457 | -39.6543 | 0.5 | -2.7758 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19248A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2560158 | 2019-09-19 |  | 7.1702 | 7.04 | 101.8494 | 1.8494 | 0.5 | 0.2604 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19256A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2600328 | 2019-09-24 |  | 2.8282 | 2.6 | 108.7769 | 8.7769 | 0.5 | 0.4564 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19261A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2550075 | 2019-09-24 |  | 25.2035 | 24.2 | 104.1467 | 4.1467 | 1.21 | 0.82934 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19261A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2620329 | 2019-09-25 |  | 3.6653 | 3.5 | 104.7229 | 4.7229 | 0.5 | 0.3306 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19267A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2690145 | 2019-10-01 |  | 6.6268 | 7.04 | 94.1307 | -5.8693 | 0.5 | -0.8264 | 1 | 1796 |  |  |  | µg/L | T223 | ICPMS19270A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2019 | 2680149 | 2019-10-04 |  | 23.1951 | 24.2 | 95.8475 | -4.1525 | 1.21 | -0.8305 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19276A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2810114 | 2019-10-11 |  | 2.1611 | 2.5 | 86.444 | -13.556 | 0.5 | -0.6778 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS19282A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2890221 | 2019-10-22 |  | 1.6192 | 3.5 | 46.2629 | -53.7371 | 0.5 | -3.7616 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T229 | ICPMS19290A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2910178 | 2019-10-24 |  | 2.8444 | 2.6 | 109.4 | 9.4 | 0.5 | 0.4888 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19295A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2950100 | 2019-10-28 |  | 2.851 | 2.5 | 114.04 | 14.04 | 0.5 | 0.702 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS19297A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3040163 | 2019-11-01 |  | 2.5058 | 2.6 | 96.3769 | -3.6231 | 0.5 | -0.1884 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19302A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3030027 | 2019-11-01 |  | 3.2275 | 3.5 | 92.2143 | -7.7857 | 0.5 | -0.545 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS19302A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3110129 | 2019-11-20 |  | 2.8637 | 2.6 | 110.1423 | 10.1423 | 0.5 | 0.5274 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19310A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3180078 | 2019-11-22 |  | 1.1235 | 2.5 | 44.94 | -55.06 | 0.5 | -2.753 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPMS19323A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3250088 | 2019-12-06 |  | 2.8205 | 2.6 | 108.4808 | 8.4808 | 0.5 | 0.441 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19326A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3370105 | 2019-12-09 |  | 2.3473 | 2.5 | 93.892 | -6.108 | 0.5 | -0.3054 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS19340A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3370103 | 2019-12-17 |  | 27.2205 | 24.2 | 112.4814 | 12.4814 | 1.21 | 2.4963 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19347A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3390130 | 2019-12-17 |  | 2.4432 | 2.5 | 97.728 | -2.272 | 0.5 | -0.1136 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS19347A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3440294 | 2019-12-18 |  | 2.8668 | 2.6 | 110.2615 | 10.2615 | 0.5 | 0.5336 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19351A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3530005 | 2019-12-23 |  | 2.5009 | 2.5 | 100.036 | 0.036 | 0.5 | 0.0018 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS19354A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3510023 | 2020-01-02 |  | 27.1369 | 24.2 | 112.136 | 12.136 | 1.21 | 2.4272 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS19357A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 3600045 | 2020-01-08 |  | 2.5908 | 2.6 | 99.6462 | -0.35385 | 0.5 | -0.0184 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20002A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0070044 | 2020-01-08 |  | 3.2198 | 3.5 | 91.9943 | -8.0057 | 0.5 | -0.5604 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20002A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0150017 | 2020-01-16 |  | 2.2947 | 2.5 | 91.788 | -8.212 | 0.5 | -0.4106 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20014A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0220109 | 2020-01-23 |  | 3.1849 | 3.5 | 90.9971 | -9.0029 | 0.5 | -0.6302 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20022A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0280070 | 2020-02-11 |  | 2.341 | 2.5 | 93.64 | -6.36 | 0.5 | -0.318 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20038A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0370095 | 2020-02-26 |  | 26.7324 | 24.2 | 110.4645 | 10.4645 | 1.21 | 2.0929 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20056A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0630051 | 2020-03-04 |  | 2.4381 | 2.6 | 93.7731 | -6.2269 | 0.5 | -0.3238 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20063A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0510085 | 2020-03-09 |  | 24.6853 | 24.2 | 102.0054 | 2.0054 | 1.21 | 0.40107 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20066A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0700103 | 2020-03-18 |  | 25.2493 | 24.2 | 104.336 | 4.336 | 1.21 | 0.86719 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20078A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0650087 | 2020-03-18 |  | 3.6674 | 3.5 | 104.7829 | 4.7829 | 0.5 | 0.3348 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T229 | ICPMS20078A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0770114 | 2020-03-31 |  | 3.2876 | 2.6 | 126.4462 | 26.4462 | 0.5 | 1.3752 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20087A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0800006 | 2020-04-01 |  | 3.5514 | 3.5 | 101.4686 | 1.4686 | 0.5 | 0.1028 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20091A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0840029 | 2020-04-15 |  | 25.8943 | 24.2 | 107.0012 | 7.0012 | 1.21 | 1.4002 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20106A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1060059 | 2020-04-20 |  | 3.5922 | 3.5 | 102.6343 | 2.6343 | 0.5 | 0.1844 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20111A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 0980043 | 2020-04-20 |  | 2.3688 | 2.5 | 94.752 | -5.248 | 0.5 | -0.2624 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20111A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1120049 | 2020-04-22 |  | 3.0209 | 2.5 | 120.836 | 20.836 | 0.5 | 1.0418 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20113A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1200019 | 2020-05-05 |  | 2.6189 | 2.6 | 100.7269 | 0.72692 | 0.5 | 0.0378 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20125A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1280003 | 2020-05-09 |  | 2.6561 | 2.6 | 102.1577 | 2.1577 | 0.5 | 0.1122 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20129A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1400018 | 2020-06-29 |  | 2.2606 | 2.5 | 90.424 | -9.576 | 0.5 | -0.4788 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20181A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1550011 | 2020-06-29 |  | 2.7007 | 2.5 | 108.028 | 8.028 | 0.5 | 0.4014 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20181A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1560169 | 2020-06-29 |  | 2.811 | 2.5 | 112.44 | 12.44 | 0.5 | 0.622 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20181A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1700253 | 2020-07-20 |  | 2.2316 | 2.5 | 89.264 | -10.736 | 0.5 | -0.5368 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20198A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1890182 | 2020-07-21 |  | 3.6602 | 3.5 | 104.5771 | 4.5771 | 0.5 | 0.3204 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20202A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1680149 | 2020-08-10 |  | 23.7215 | 24.2 | 98.0227 | -1.9773 | 1.21 | -0.39545 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20223A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1430102 | 2020-08-11 |  | 3.0271 | 2.6 | 116.4269 | 16.4269 | 0.5 | 0.8542 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20218B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1550007 | 2020-08-11 |  | 24.8782 | 24.2 | 102.8025 | 2.8025 | 1.21 | 0.5605 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20218B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1960126 | 2020-08-11 |  | 2.5522 | 2.5 | 102.088 | 2.088 | 0.5 | 0.1044 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20224A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2040025 | 2020-09-02 |  | 3.0646 | 3.5 | 87.56 | -12.44 | 0.5 | -0.8708 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20245A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2120199 | 2020-09-03 |  | 2.2501 | 2.5 | 90.004 | -9.996 | 0.5 | -0.4998 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20247A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2130181 | 2020-09-21 |  | 21.9982 | 24.2 | 90.9017 | -9.0983 | 1.21 | -1.8197 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20265A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2260122 | 2020-10-09 |  | 3.1297 | 3.5 | 89.42 | -10.58 | 0.5 | -0.7406 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20281A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 1980097 | 2020-10-13 |  | 27.7202 | 24.2 | 114.5463 | 14.5463 | 1.21 | 2.9093 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20283B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2400048 | 2020-10-23 |  | 3.5011 | 3.5 | 100.0314 | 0.031429 | 0.5 | 0.0022 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20297A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2530137 | 2020-10-30 |  | 3.3823 | 2.6 | 130.0885 | 30.0885 | 0.5 | 1.5646 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20303B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2540254 | 2020-11-03 |  | 3.7529 | 3.5 | 107.2257 | 7.2257 | 0.5 | 0.5058 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20307A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2670298 | 2020-11-04 |  | 3.2563 | 2.6 | 125.2423 | 25.2423 | 0.5 | 1.3126 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20307C
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2190154 | 2020-11-04 |  | 28.0124 | 24.2 | 115.7537 | 15.7537 | 1.21 | 3.1507 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20309A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2680088 | 2020-11-06 |  | 3.9007 | 3.5 | 111.4486 | 11.4486 | 0.5 | 0.8014 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20310B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2810032 | 2020-11-13 |  | 1.9476 | 2.5 | 77.904 | -22.096 | 0.5 | -1.1048 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPMS20318A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2950028 | 2020-11-23 |  | 2.0505 | 2.5 | 82.02 | -17.98 | 0.5 | -0.899 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS20328B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2590164 | 2020-12-04 |  | 29.9557 | 24.2 | 123.7839 | 23.7839 | 1.21 | 4.7568 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS20336B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2880069 | 2020-12-31 |  | 3.3163 | 3.5 | 94.7514 | -5.2486 | 0.5 | -0.3674 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS20356A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2740056 | 2021-01-13 |  | 22.309 | 24.2 | 92.186 | -7.814 | 1.21 | -1.5628 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS21013A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 3010155 | 2021-01-20 |  | 2.9711 | 3.5 | 84.8886 | -15.1114 | 0.5 | -1.0578 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21019A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2020 | 2370046 | 2021-01-21 |  | 23.242 | 24.2 | 96.0413 | -3.9587 | 1.21 | -0.79174 | 1 | 1796 | Sample was diluted |  |  | µg/L | T227 | ICPMS21032A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 3180092 | 2021-01-28 |  | 2.7516 | 2.5 | 110.064 | 10.064 | 0.5 | 0.5032 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21027A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 3350001 | 2021-02-19 |  | 2.054 | 2.5 | 82.16 | -17.84 | 0.5 | -0.892 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21047A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 3440081 | 2021-02-24 |  | 2.0094 | 2.05 | 98.0195 | -1.9805 | 0.5 | -0.0812 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS21053A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 3450088 | 2021-03-01 |  | 2.3814 | 2.5 | 95.256 | -4.744 | 0.5 | -0.2372 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21056A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 3630005 | 2021-03-03 |  | 2.5424 | 2.5 | 101.696 | 1.696 | 0.5 | 0.0848 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21062A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 0050024 | 2021-03-04 |  | 2.7473 | 3.5 | 78.4943 | -21.5057 | 0.5 | -1.5054 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21062A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 3580059 | 2021-03-04 |  | 2.424 | 2.05 | 118.2439 | 18.2439 | 0.5 | 0.748 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS21062A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 0120036 | 2021-03-08 |  | 2.5847 | 2.5 | 103.388 | 3.388 | 0.5 | 0.1694 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21063A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 0210015 | 2021-03-10 |  | 3.6005 | 3.5 | 102.8714 | 2.8714 | 0.5 | 0.201 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21067A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 0270078 | 2021-03-10 |  | 2.5185 | 2.5 | 100.74 | 0.74 | 0.5 | 0.037 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21067A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 0560226 | 2021-03-30 |  | 2.8863 | 2.05 | 140.7951 | 40.7951 | 0.5 | 1.6726 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS21088A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 0630014 | 2021-04-26 |  | 2.421 | 3.5 | 69.1714 | -30.8286 | 0.5 | -2.158 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21116A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 0680063 | 2021-04-28 |  | 2.2338 | 2.05 | 108.9659 | 8.9659 | 0.5 | 0.3676 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS21117A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 0970048 | 2021-05-13 |  | 1.8135 | 2.5 | 72.54 | -27.46 | 0.5 | -1.373 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPMS21133A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1110004 | 2021-05-27 |  | 2.0396 | 2.5 | 81.584 | -18.416 | 0.5 | -0.9208 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21146A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1180038 | 2021-06-09 |  | 3.0406 | 3.5 | 86.8743 | -13.1257 | 0.5 | -0.9188 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21158B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1030144 | 2021-06-10 |  | 3.223 | 3.5 | 92.0857 | -7.9143 | 0.5 | -0.554 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T229 | ICPMS21160A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1330239 | 2021-06-24 |  | 2.1507 | 2.5 | 86.028 | -13.972 | 0.5 | -0.6986 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21174B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1530098 | 2021-07-07 |  | 2.2707 | 2.5 | 90.828 | -9.172 | 0.5 | -0.4586 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21188A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1600024 | 2021-07-12 |  | 2.4305 | 2.5 | 97.22 | -2.78 | 0.5 | -0.139 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21193A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1680018 | 2021-07-22 |  | 2.6757 | 2.5 | 107.028 | 7.028 | 0.5 | 0.3514 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21203A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1660119 | 2021-07-22 |  | 2.379 | 2.05 | 116.0488 | 16.0488 | 0.5 | 0.658 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS21202A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1880114 | 2021-08-17 |  | 3.0274 | 3.5 | 86.4971 | -13.5029 | 0.5 | -0.9452 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21229A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 1940229 | 2021-08-23 |  | 2.3058 | 2.5 | 92.232 | -7.768 | 0.5 | -0.3884 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21235A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2010231 | 2021-08-31 |  | 3.2832 | 3.5 | 93.8057 | -6.1943 | 0.5 | -0.4336 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21242A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2080172 | 2021-09-14 |  | 2.2843 | 2.5 | 91.372 | -8.628 | 0.5 | -0.4314 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21256A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2100163 | 2021-09-14 |  | 2.4161 | 2.05 | 117.8585 | 17.8585 | 0.5 | 0.7322 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS21256A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2240198 | 2021-10-08 |  | 3.4745 | 3.5 | 99.2714 | -0.72857 | 0.5 | -0.051 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21281A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2310211 | 2021-10-15 |  | 1.6361 | 2.05 | 79.8098 | -20.1902 | 0.5 | -0.8278 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPMS21287A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2380348 | 2021-10-27 |  | 3.0419 | 3.5 | 86.9114 | -13.0886 | 0.5 | -0.9162 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21300A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2520501 | 2021-11-09 |  | 2.9354 | 3.5 | 83.8686 | -16.1314 | 0.5 | -1.1292 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21313A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2580265 | 2021-11-16 |  | 1.7223 | 2.05 | 84.0146 | -15.9854 | 0.5 | -0.6554 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPMS21320A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2660011 | 2021-11-24 |  | 3.253 | 3.5 | 92.9429 | -7.0571 | 0.5 | -0.494 | 1 | 1796 |  |  |  | µg/L | T229 | ICPMS21328A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 2790037 | 2021-12-02 |  | 2.4114 | 2.5 | 96.456 | -3.544 | 0.5 | -0.1772 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS21336A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2021 | 2790034 | 2021-12-03 |  | 1.7158 | 2.05 | 83.6976 | -16.3024 | 0.5 | -0.6684 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPMS21336A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 3060209 | 2021-12-29 |  | 3.9899 | 4.61 | 86.5488 | -13.4512 | 0.5 | -1.2402 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS21362A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 3190108 | 2022-01-12 |  | 1.738 | 2.5 | 69.52 | -30.48 | 0.5 | -1.524 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPMS22011A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 3620335 | 2022-01-27 |  | 2.29 | 2.5 | 91.6 | -8.4 | 0.5 | -0.42 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22027A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 3410064 | 2022-01-27 |  | 1.92 | 2.05 | 93.6585 | -6.3415 | 0.5 | -0.26 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPMS22026A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 3200088 | 2022-01-27 |  | 4.33 | 4.61 | 93.9262 | -6.0738 | 0.5 | -0.56 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22026A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0060146 | 2022-01-28 |  | 4.14 | 4.61 | 89.8048 | -10.1952 | 0.5 | -0.94 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22027A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 3340034 | 2022-02-07 |  | 2.19 | 2.5 | 87.6 | -12.4 | 0.5 | -0.62 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22038A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0120120 | 2022-02-07 |  | 2.28 | 2.5 | 91.2 | -8.8 | 0.5 | -0.44 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22038A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 3430138 | 2022-02-07 |  | 2.29 | 2.5 | 91.6 | -8.4 | 0.5 | -0.42 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22038A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 3570003 | 2022-02-08 |  | 1.93 | 2.05 | 94.1463 | -5.8537 | 0.5 | -0.24 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPMS22038A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0200051 | 2022-02-14 |  | 3.88 | 4.61 | 84.1649 | -15.8351 | 0.5 | -1.46 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22045A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0250044 | 2022-02-15 |  | 2.19 | 2.5 | 87.6 | -12.4 | 0.5 | -0.62 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22046A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0380061 | 2022-02-24 |  | 2.21 | 2.05 | 107.8049 | 7.8049 | 0.5 | 0.32 | 1 | 1796 |  |  |  | µg/L | T239 | ICPMS22054A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0390071 | 2022-02-24 |  | 4.84 | 4.61 | 104.9892 | 4.9892 | 0.5 | 0.46 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22054A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0490003 | 2022-03-04 |  | 2.03 | 2.05 | 99.0244 | -0.97561 | 0.5 | -0.04 | 1 | 1796 |  |  |  | µg/L | T239 | ICPMS22062A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0540113 | 2022-03-05 |  | 5.07 | 4.61 | 109.9783 | 9.9783 | 0.5 | 0.92 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22063A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0670123 | 2022-03-17 |  | 2.31 | 2.05 | 112.6829 | 12.6829 | 0.5 | 0.52 | 1 | 1796 |  |  |  | µg/L | T239 | ICPMS22075A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0960123 | 2022-04-20 |  | 2 | 2.5 | 80 | -20 | 0.5 | -1 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22110A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 0820073 | 2022-05-05 |  | 1.93 | 2.05 | 94.1463 | -5.8537 | 0.5 | -0.24 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPMS22124A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1090127 | 2022-05-06 |  | 3.42 | 2.5 | 136.8 | 36.8 | 0.5 | 1.84 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22126A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1230094 | 2022-06-01 |  | 4.44 | 4.61 | 96.3124 | -3.6876 | 0.5 | -0.34 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22151A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1370140 | 2022-06-14 |  | 2.13 | 2.5 | 85.2 | -14.8 | 0.5 | -0.74 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22165A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1380070 | 2022-06-15 |  | 4.47 | 4.61 | 96.9631 | -3.0369 | 0.5 | -0.28 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22165A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1580091 | 2022-07-02 |  | 2.08 | 2.05 | 101.4634 | 1.4634 | 0.5 | 0.06 | 1 | 1796 |  |  |  | µg/L | T239 | ICPMS22182A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1600025 | 2022-07-07 |  | 2.32 | 2.5 | 92.8 | -7.2 | 0.5 | -0.36 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22188A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1520234 | 2022-07-12 |  | 2.2 | 2.5 | 88 | -12 | 0.5 | -0.6 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22193A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1670120 | 2022-07-14 |  | 4.43 | 4.61 | 96.0954 | -3.9046 | 0.5 | -0.36 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22194A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1740029 | 2022-07-19 |  | 2.32 | 2.5 | 92.8 | -7.2 | 0.5 | -0.36 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22200A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1730126 | 2022-07-20 |  | 1.79 | 2.05 | 87.3171 | -12.6829 | 0.5 | -0.52 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPMS22200A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1810187 | 2022-07-23 |  | 4.22 | 4.61 | 91.5401 | -8.4599 | 0.5 | -0.78 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22203A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1930200 | 2022-07-27 |  | 2.37 | 2.5 | 94.8 | -5.2 | 0.5 | -0.26 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22208A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1880163 | 2022-07-27 |  | 4.95 | 4.61 | 107.3753 | 7.3753 | 0.5 | 0.68 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22207A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 1950119 | 2022-07-28 |  | 2.18 | 2.05 | 106.3415 | 6.3415 | 0.5 | 0.26 | 1 | 1796 |  |  |  | µg/L | T239 | ICPMS22209A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 2020026 | 2022-07-28 |  | 4.55 | 4.61 | 98.6985 | -1.3015 | 0.5 | -0.12 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22209A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 2080416 | 2022-07-29 |  | 2.56 | 2.5 | 102.4 | 2.4 | 0.5 | 0.12 | 1 | 1796 |  |  |  | µg/L | T233 | ICPMS22210A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 2090181 | 2022-07-29 |  | 2.81 | 2.05 | 137.0732 | 37.0732 | 0.5 | 1.52 | 1 | 1796 | Matrix spike (MS) recovery outside of acceptable range |  |  | µg/L | T239 | ICPMS22210A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 2160003 | 2022-09-01 |  | 2.06 | 2.05 | 100.4878 | 0.4878 | 0.5 | 0.02 | 1 | 1796 |  |  |  | µg/L | T239 | ICPMS22243A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 2210114 | 2022-09-07 |  | 5.21 | 4.61 | 113.0152 | 13.0152 | 0.5 | 1.2 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22249A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 2360390 | 2022-09-15 |  | 4.44 | 4.61 | 96.3124 | -3.6876 | 0.5 | -0.34 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22256B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 2300212 | 2022-09-17 |  | 1.04 | 2.05 | 50.7317 | -49.2683 | 0.5 | -2.02 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPMS22258B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2022 | 2570117 | 2022-09-30 |  | 2.55 | 2.05 | 124.3902 | 24.3902 | 0.5 | 1 | 1 | 1796 |  |  |  | µg/L | T239 | ICPMS22270A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 2770114 | 2022-10-20 |  | 2.48 | 2.3 | 107.8261 | 7.8261 | 0.5 | 0.36 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS22286A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 2790113 | 2022-10-20 |  | 1.67 | 1.26 | 132.5397 | 32.5397 | 0.5 | 0.82 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS22286A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 2930117 | 2022-11-10 |  | 1.61 | 1.26 | 127.7778 | 27.7778 | 0.5 | 0.7 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS22313A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 2920222 | 2022-11-16 |  | 2.2 | 2.3 | 95.6522 | -4.3478 | 0.5 | -0.2 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T245 | ICPMS22320B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 3060049 | 2022-12-02 |  | 4.3186 | 4.61 | 93.679 | -6.321 | 0.5 | -0.5828 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22325A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 3190029 | 2022-12-15 |  | 2.3913 | 2.3 | 103.9696 | 3.9696 | 0.5 | 0.1826 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS22349A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 3200145 | 2022-12-16 |  | 4.4573 | 4.61 | 96.6876 | -3.3124 | 0.5 | -0.3054 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS22349A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 3340029 | 2022-12-20 |  | 2.0976 | 2.3 | 91.2 | -8.8 | 0.5 | -0.4048 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS22354A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 3330054 | 2022-12-21 |  | 1.017 | 1.26 | 80.7143 | -19.2857 | 0.5 | -0.486 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS22354A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 3400090 | 2023-01-07 |  | 2.1023 | 2.05 | 102.5512 | 2.5512 | 0.5 | 0.1046 | 1 | 1796 |  |  |  | µg/L | T239 | ICPMS23006A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 3420127 | 2023-01-10 |  | 1.1918 | 2.3 | 51.8174 | -48.1826 | 0.5 | -2.2164 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23010A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 3620086 | 2023-03-02 |  | 2.0684 | 2.3 | 89.9304 | -10.0696 | 0.5 | -0.4632 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS23061A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 3610135 | 2023-03-03 |  | 1.9363 | 2.05 | 94.4537 | -5.5463 | 0.5 | -0.2274 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPMS23061A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0120192 | 2023-03-07 |  | 4.5079 | 4.61 | 97.7852 | -2.2148 | 0.5 | -0.2042 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23065A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0310087 | 2023-03-09 |  | 1.4776 | 2.3 | 64.2435 | -35.7565 | 0.5 | -1.6448 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23068A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0190114 | 2023-03-24 |  | 1.6936 | 2.3 | 73.6348 | -26.3652 | 0.5 | -1.2128 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23083A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0260067 | 2023-03-28 |  | 4.3316 | 4.61 | 93.961 | -6.039 | 0.5 | -0.5568 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23086A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0470007 | 2023-03-29 |  | 4.5172 | 4.61 | 97.987 | -2.013 | 0.5 | -0.1856 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23088B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0400092 | 2023-03-30 |  | 3.1607 | 2.05 | 154.1805 | 54.1805 | 0.5 | 2.2214 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23088B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0590092 | 2023-04-07 |  | 1.5485 | 1.26 | 122.8968 | 22.8968 | 0.5 | 0.577 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS23096A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0600115 | 2023-04-08 |  | 2.4875 | 2.05 | 121.3415 | 21.3415 | 0.5 | 0.875 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23097A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0620097 | 2023-04-08 |  | 5.2756 | 4.61 | 114.4382 | 14.4382 | 0.5 | 1.3312 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23097A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0880093 | 2023-04-15 |  | 3.6254 | 2.05 | 176.8488 | 76.8488 | 0.5 | 3.1508 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23104A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0890105 | 2023-04-21 |  | 1.3256 | 1.26 | 105.2063 | 5.2063 | 0.5 | 0.1312 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS23109A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0960142 | 2023-04-24 |  | 1.291 | 1.26 | 102.4603 | 2.4603 | 0.5 | 0.062 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS23111C
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0740033 | 2023-05-04 |  | 2.4466 | 2.05 | 119.3463 | 19.3463 | 0.5 | 0.7932 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23123A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0750097 | 2023-05-04 |  | 1.3817 | 1.26 | 109.6587 | 9.6587 | 0.5 | 0.2434 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS23123A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 0940130 | 2023-05-08 |  | 2.4431 | 2.3 | 106.2217 | 6.2217 | 0.5 | 0.2862 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS23125B
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1100089 | 2023-05-11 |  | 2.8014 | 2.3 | 121.8 | 21.8 | 0.5 | 1.0028 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T245 | ICPMS23130A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1150156 | 2023-05-13 |  | 1.188 | 1.26 | 94.2857 | -5.7143 | 0.5 | -0.144 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS23132A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1240210 | 2023-05-17 |  | 5.3198 | 4.61 | 115.397 | 15.397 | 0.5 | 1.4196 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23135A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1310002 | 2023-05-19 |  | 1.8071 | 2.3 | 78.5696 | -21.4304 | 0.5 | -0.9858 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23138A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1300167 | 2023-05-20 |  | 1.0799 | 1.26 | 85.7063 | -14.2937 | 0.5 | -0.3602 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS23138A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1360048 | 2023-05-26 |  | 3.645 | 4.61 | 79.0672 | -20.9328 | 0.5 | -1.93 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23145A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1440060 | 2023-06-01 |  | 1.2375 | 1.26 | 98.2143 | -1.7857 | 0.5 | -0.045 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS23145C
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1460002 | 2023-06-05 |  | 2.0652 | 2.3 | 89.7913 | -10.2087 | 0.5 | -0.4696 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS23156A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1570041 | 2023-06-09 |  | 2.8051 | 2.05 | 136.8341 | 36.8341 | 0.5 | 1.5102 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23159A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1590232 | 2023-06-26 |  | 2.3588 | 2.3 | 102.5565 | 2.5565 | 0.5 | 0.1176 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS23177A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1660194 | 2023-06-27 |  | 4.4842 | 4.61 | 97.2711 | -2.7289 | 0.5 | -0.2516 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23178A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1790028 | 2023-07-07 |  | 2.8128 | 2.3 | 122.2957 | 22.2957 | 0.5 | 1.0256 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS23188A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1860127 | 2023-07-11 |  | 3.5611 | 4.61 | 77.2473 | -22.7527 | 0.5 | -2.0978 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23191A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1940234 | 2023-07-14 |  | 2.2625 | 2.3 | 98.3696 | -1.6304 | 0.5 | -0.075 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS23195A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1920171 | 2023-07-15 |  | 4.6047 | 4.61 | 99.885 | -0.11497 | 0.5 | -0.0106 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23195A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1730211 | 2023-07-22 |  | 3.3191 | 2.05 | 161.9073 | 61.9073 | 0.5 | 2.5382 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23201A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 1980050 | 2023-08-10 |  | 2.6879 | 2.05 | 131.1171 | 31.1171 | 0.5 | 1.2758 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23221A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 2020024 | 2023-08-17 |  | 4.2201 | 4.61 | 91.5423 | -8.4577 | 0.5 | -0.7798 | 1 | 1796 |  |  |  | µg/L | T243 | ICPMS23228A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 2060142 | 2023-08-17 |  | 2.1211 | 2.3 | 92.2217 | -7.7783 | 0.5 | -0.3578 | 1 | 1796 |  |  |  | µg/L | T245 | ICPMS23229A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 2080234 | 2023-08-19 |  | 2.1065 | 2.05 | 102.7561 | 2.7561 | 0.5 | 0.113 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23230A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 2200127 | 2023-08-31 |  | 1.857 | 1.26 | 147.381 | 47.381 | 0.5 | 1.194 | 1 | 1796 | Below the reporting level but at or above the detection level |  |  | µg/L | T247 | ICPMS23243A
Silver, FIL, ICP-MS | 01075 | PLM43 | FIL | 2023 | 2220099 | 2023-09-01 |  | 2.6442 | 2.05 | 128.9854 | 28.9854 | 0.5 | 1.1884 | 1 | 1796 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23243A