## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2840134 | 2019-11-08 |  | 1.115 | 1.86 | 59.9462 | -40.0538 | 0.5 | -1.49 |  | 3511 | Below the reporting level but at or above the detection level |  |  | ug/L | T233 | ICPOE19312A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 3030024 | 2019-11-25 |  | 1.894 | 1.86 | 101.828 | 1.828 | 0.5 | 0.068 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE19329B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 3400073 | 2020-01-14 |  | 1.164 | 0.445 | 261.573 | 161.573 | 0.5 | 1.438 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T227 | ICPOE20014A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0150016 | 2020-02-06 |  | 6.95 | 7.51 | 92.5433 | -7.4567 | 0.5 | -1.12 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE20037A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0280068 | 2020-02-06 |  | 6.844 | 7.51 | 91.1318 | -8.8682 | 0.5 | -1.332 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE20037A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0420074 | 2020-02-26 |  | 1.767 | 1.88 | 93.9894 | -6.0106 | 0.5 | -0.226 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE20057B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 0560054 | 2020-03-05 |  | 1.602 | 1.88 | 85.2128 | -14.7872 | 0.5 | -0.556 | 1 | 3511 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T235 | ICPOE20064A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 1040011 | 2020-05-05 |  | 1.488 | 1.86 | 80 | -20 | 0.5 | -0.744 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE20126B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 1150060 | 2020-05-07 |  | 1.669 | 1.86 | 89.7312 | -10.2688 | 0.5 | -0.382 | 1 | 3511 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T233 | ICPOE20128B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 1920105 | 2020-07-27 |  | 7.134 | 7.51 | 94.9933 | -5.0067 | 0.5 | -0.752 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE20209A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2110156 | 2020-08-24 |  | 7.282 | 7.51 | 96.964 | -3.036 | 0.5 | -0.456 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE20237A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2200219 | 2020-08-27 |  | 1.754 | 1.88 | 93.2979 | -6.7021 | 0.5 | -0.252 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE20248B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2020 | 2390033 | 2020-09-10 |  | 1.468 | 1.88 | 78.0851 | -21.9149 | 0.5 | -0.824 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE20254A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2830130 | 2020-10-19 |  | 1.605 | 1.86 | 86.2903 | -13.7097 | 0.5 | -0.51 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE20293A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2970237 | 2020-11-12 |  | 1.567 | 1.86 | 84.2473 | -15.7527 | 0.5 | -0.586 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE20317A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 3640039 | 2021-01-14 |  | 2.657 | 3.06 | 86.8301 | -13.1699 | 0.5 | -0.806 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE21014A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 3460123 | 2021-01-22 |  | 2.19 | 3.06 | 71.5686 | -28.4314 | 0.5 | -1.74 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE21019A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0120029 | 2021-01-26 |  | 6.991 | 7.51 | 93.0892 | -6.9108 | 0.5 | -1.038 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE21026A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0270013 | 2021-02-17 |  | 6.891 | 7.51 | 91.7577 | -8.2423 | 0.5 | -1.238 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE21048A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0480041 | 2021-03-11 |  | 1.884 | 1.88 | 100.2128 | 0.21277 | 0.5 | 0.008 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE21070A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0620101 | 2021-03-19 |  | 2.175 | 1.88 | 115.6915 | 15.6915 | 0.5 | 0.59 | 1 | 3511 |  |  |  | µg/L | T235 | ICPOE21078A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0680060 | 2021-03-29 |  | 2.524 | 2.75 | 91.7818 | -8.2182 | 0.5 | -0.452 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE21088A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 0820065 | 2021-03-29 |  | 2.994 | 2.75 | 108.8727 | 8.8727 | 0.5 | 0.488 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE21088A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1180043 | 2021-06-08 |  | 2.102 | 1.86 | 113.0108 | 13.0108 | 0.5 | 0.484 | 1 | 3511 |  |  |  | µg/L | T233 | ICPOE21159B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1030140 | 2021-06-10 |  | 1.669 | 1.86 | 89.7312 | -10.2688 | 0.5 | -0.382 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE21168A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1600034 | 2021-07-01 |  | 2.831 | 3.06 | 92.5163 | -7.4837 | 0.5 | -0.458 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE21182A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1730215 | 2021-07-07 |  | 2.633 | 3.06 | 86.0458 | -13.9542 | 0.5 | -0.854 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE21187B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 1900156 | 2021-08-03 |  | 7.28 | 7.51 | 96.9374 | -3.0626 | 0.5 | -0.46 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE21215B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2040240 | 2021-08-12 |  | 6.937 | 7.51 | 92.3702 | -7.6298 | 0.5 | -1.146 | 1 | 3511 |  |  |  | µg/L | T229 | ICPOE21224B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2180158 | 2021-09-09 |  | 1.846 | 1.88 | 98.1915 | -1.8085 | 0.5 | -0.068 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE21251A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2320154 | 2021-09-15 |  | 1.991 | 1.88 | 105.9043 | 5.9043 | 0.5 | 0.222 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE21256A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2580240 | 2021-10-06 |  | 2.482 | 2.75 | 90.2545 | -9.7455 | 0.5 | -0.536 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE21279A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2021 | 2670211 | 2021-10-19 |  | 2.862 | 2.75 | 104.0727 | 4.0727 | 0.5 | 0.224 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE21292A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2990148 | 2021-11-10 |  | 1.985 | 1.86 | 106.7204 | 6.7204 | 0.5 | 0.25 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE21314B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2860149 | 2021-11-24 |  | 1.526 | 1.86 | 82.043 | -17.957 | 0.5 | -0.668 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE21328A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 3090005 | 2021-11-24 |  | 4.499 | 0.945 | 476.0847 | 376.0847 | 0.5 | 7.108 | 1 | 3511 |  |  |  | µg/L | T243 | ICPOE21328A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 3440003 | 2021-12-28 |  | 1.9 | 3.06 | 62.0915 | -37.9085 | 0.5 | -2.32 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPOE21362A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 3630121 | 2022-01-26 |  | 2.6 | 3.06 | 84.9673 | -15.0327 | 0.5 | -0.92 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE22026A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 0470184 | 2022-03-04 |  | 2.1 | 1.88 | 111.7021 | 11.7021 | 0.5 | 0.44 | 1 | 3511 |  |  |  | µg/L | T235 | ICPOE22063A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 0600064 | 2022-03-16 |  | 2 | 1.88 | 106.383 | 6.383 | 0.5 | 0.24 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE22075A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 0810117 | 2022-04-07 |  | 2.8 | 2.75 | 101.8182 | 1.8182 | 0.5 | 0.1 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE22097A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 0980188 | 2022-04-19 |  | 1.7 | 1.86 | 91.3978 | -8.6022 | 0.5 | -0.32 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE22108B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 0950119 | 2022-04-19 |  | 2.9 | 2.75 | 105.4545 | 5.4545 | 0.5 | 0.3 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE22108B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 1160192 | 2022-05-12 |  | 1.2 | 1.86 | 64.5161 | -35.4839 | 0.5 | -1.32 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T233 | ICPOE22132A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 1300129 | 2022-05-24 |  | 1.4 | 0.945 | 148.1481 | 48.1481 | 0.5 | 0.91 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPOE22143A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 1660163 | 2022-07-15 |  | 1.6 | 3.06 | 52.2876 | -47.7124 | 0.5 | -2.92 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T239 | ICPOE22196B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 1750117 | 2022-07-20 |  | 2.8 | 3.06 | 91.5033 | -8.4967 | 0.5 | -0.52 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE22201A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2350173 | 2022-09-06 |  | 1.9 | 1.88 | 101.0638 | 1.0638 | 0.5 | 0.04 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE22244A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2560120 | 2022-09-27 |  | 2.6 | 2.75 | 94.5455 | -5.4545 | 0.5 | -0.3 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE22269B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2220143 | 2022-09-30 |  | 1.9 | 1.88 | 101.0638 | 1.0638 | 0.5 | 0.04 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE22272A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2700272 | 2022-10-17 |  | 3.3 | 2.75 | 120 | 20 | 0.5 | 1.1 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE22290A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2850200 | 2022-10-25 |  | 2 | 2.36 | 84.7458 | -15.2542 | 0.5 | -0.72 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE22297A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2980100 | 2022-11-03 |  | 2.3 | 2.36 | 97.4576 | -2.5424 | 0.5 | -0.12 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE22307A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 3480158 | 2022-12-22 |  | 2.721 | 3.06 | 88.9216 | -11.0784 | 0.5 | -0.678 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE22355B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 3630098 | 2023-01-10 |  | 2.135 | 3.06 | 69.7712 | -30.2288 | 0.5 | -1.85 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE23010A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 0730106 | 2023-03-22 |  | 2.819 | 2.75 | 102.5091 | 2.5091 | 0.5 | 0.138 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE23081A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 0450135 | 2023-03-22 |  | 8.417 | 8.2 | 102.6463 | 2.6463 | 0.574 | 0.37805 | 1 | 3511 |  |  |  | µg/L | T247 | ICPOE23081A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 0610266 | 2023-04-27 |  | 8.406 | 8.2 | 102.5122 | 2.5122 | 0.574 | 0.35889 | 1 | 3511 |  |  |  | µg/L | T247 | ICPOE23117A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 0870135 | 2023-05-02 |  | 3.386 | 2.75 | 123.1273 | 23.1273 | 0.5 | 1.272 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE23122B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 1010253 | 2023-05-03 |  | 2.79 | 2.36 | 118.2203 | 18.2203 | 0.5 | 0.86 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE23122B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 1160089 | 2023-05-03 |  | 2.418 | 2.36 | 102.4576 | 2.4576 | 0.5 | 0.116 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE23123B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 1640229 | 2023-06-23 |  | 2.777 | 3.06 | 90.7516 | -9.2484 | 0.5 | -0.566 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE23166A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 1800090 | 2023-07-06 |  | 2.246 | 3.06 | 73.3987 | -26.6013 | 0.5 | -1.628 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE23186C
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2260045 | 2023-08-30 |  | 7.931 | 8.2 | 96.7195 | -3.2805 | 0.574 | -0.46864 | 1 | 3511 |  |  |  | µg/L | T247 | ICPOE23235A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2430075 | 2023-09-14 |  | 7.761 | 8.2 | 94.6463 | -5.3537 | 0.574 | -0.76481 | 1 | 3511 |  |  |  | µg/L | T247 | ICPOE23257B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2560013 | 2023-09-20 |  | 2.964 | 2.75 | 107.7818 | 7.7818 | 0.5 | 0.428 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE23263A