## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2560304 | 2018-10-11 |  | 0.1368 | 0.135 | 101.3333 | 1.3333 | 0.00675 | 0.26667 | 0.006 | 2331 |  |  |  | mg/L as P | N137 | PELD269A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2610143 | 2018-10-11 |  | 0.0636 | 0.062 | 102.5806 | 2.5806 | 0.0033775 | 0.47373 | 0.003 | 2331 |  |  |  | mg/L as P | N138X | PELD269A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2760033 | 2018-10-24 |  | 0.1218 | 0.122 | 99.8361 | -0.16393 | 0.0061 | -0.032787 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD295A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2770143 | 2018-10-24 |  | 0.029 | 0.0295 | 98.3051 | -1.6949 | 0.0021574 | -0.23176 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD295A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2830103 | 2018-10-29 |  | 0.1335 | 0.122 | 109.4262 | 9.4262 | 0.0061 | 1.8852 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD302A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2840113 | 2018-10-29 |  | 0.03 | 0.0295 | 101.6949 | 1.6949 | 0.0021574 | 0.23176 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD302A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2890059 | 2018-11-01 |  | 0.1353 | 0.122 | 110.9016 | 10.9016 | 0.0061 | 2.1803 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD304A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2910157 | 2018-11-06 |  | 0.0305 | 0.0295 | 103.3898 | 3.3898 | 0.0021574 | 0.46351 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD309A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2018 | 2630223 | 2018-11-15 |  | 0.6318 | 0.135 | 468 | 368 | 0.00675 | 73.6 | 0.003 | 2331 | Holding time exceeded | Value verified by rerun, same method | Sample was diluted | mg/L as P | N137 | PELD317B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3100175 | 2018-11-15 |  | 0.0293 | 0.0295 | 99.322 | -0.67797 | 0.0021574 | -0.092703 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD317B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3120138 | 2018-11-27 |  | 0.1353 | 0.122 | 110.9016 | 10.9016 | 0.0061 | 2.1803 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD324A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3180069 | 2018-11-27 |  | 0.0291 | 0.0295 | 98.6441 | -1.3559 | 0.0021574 | -0.18541 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD324A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3250021 | 2018-12-04 |  | 0.1334 | 0.122 | 109.3443 | 9.3443 | 0.0061 | 1.8689 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD333A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3310052 | 2018-12-10 |  | 0.1342 | 0.122 | 110 | 10 | 0.0061 | 2 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD344A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3270029 | 2018-12-10 |  | 0.0292 | 0.0295 | 98.9831 | -1.0169 | 0.0021574 | -0.13905 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD344A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3400028 | 2018-12-13 |  | 0.1346 | 0.122 | 110.3279 | 10.3279 | 0.0061 | 2.0656 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD345A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3410002 | 2018-12-13 |  | 0.0303 | 0.0295 | 102.7119 | 2.7119 | 0.0021574 | 0.37081 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD345A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3530020 | 2019-02-07 |  | 0.1317 | 0.122 | 107.9508 | 7.9508 | 0.0061 | 1.5902 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N139 | PELD029B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 3540065 | 2019-02-13 |  | 2.2801 | 0.0295 | 7729.1525 | 7629.1525 | 0.0021574 | 1043.1856 | 0.003 | 2331 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N140X | PELD042A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0520009 | 2019-02-28 |  | 0.1326 | 0.122 | 108.6885 | 8.6885 | 0.0061 | 1.7377 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD058A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0520136 | 2019-02-28 |  | 0.0311 | 0.0295 | 105.4237 | 5.4237 | 0.0021574 | 0.74162 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD058A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0660076 | 2019-03-19 |  | 0.1377 | 0.122 | 112.8689 | 12.8689 | 0.0061 | 2.5738 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD077A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0640095 | 2019-03-19 |  | 0.0301 | 0.0295 | 102.0339 | 2.0339 | 0.0021574 | 0.27811 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD071A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0720021 | 2019-03-21 |  | 0.0304 | 0.0295 | 103.0508 | 3.0508 | 0.0021574 | 0.41716 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD079A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0730068 | 2019-03-26 |  | 0.1292 | 0.122 | 105.9016 | 5.9016 | 0.0061 | 1.1803 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD080A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0800129 | 2019-03-28 |  | 0.131 | 0.122 | 107.377 | 7.377 | 0.0061 | 1.4754 | 0.003 | 2331 |  |  |  | mg/L as P | N139 | PELD086A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0780098 | 2019-03-28 |  | 0.0321 | 0.0295 | 108.8136 | 8.8136 | 0.0021574 | 1.2051 | 0.003 | 2331 |  |  |  | mg/L as P | N140X | PELD084A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0920067 | 2019-04-04 |  | 0.1765 | 0.171 | 103.2164 | 3.2164 | 0.013 | 0.42308 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD094A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0940210 | 2019-04-09 |  | 0.0653 | 0.0622 | 104.9839 | 4.9839 | 0.003385 | 0.91581 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD098A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 0990131 | 2019-04-16 |  | 0.1732 | 0.171 | 101.2865 | 1.2865 | 0.013 | 0.16923 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD105A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1010107 | 2019-04-16 |  | 0.0632 | 0.0622 | 101.6077 | 1.6077 | 0.003385 | 0.29542 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD105A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1060104 | 2019-04-25 |  | 0.1747 | 0.171 | 102.1637 | 2.1637 | 0.013 | 0.28462 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD112A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1080308 | 2019-04-25 |  | 0.0619 | 0.0622 | 99.5177 | -0.48232 | 0.003385 | -0.088627 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD112A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1290100 | 2019-05-13 |  | 0.1797 | 0.171 | 105.0877 | 5.0877 | 0.013 | 0.66923 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD129A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1280119 | 2019-05-13 |  | 0.0642 | 0.0622 | 103.2154 | 3.2154 | 0.003385 | 0.59084 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD129A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1360141 | 2019-05-22 |  | 0.1744 | 0.171 | 101.9883 | 1.9883 | 0.013 | 0.26154 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD141B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1340208 | 2019-05-22 |  | 0.0624 | 0.0622 | 100.3215 | 0.32154 | 0.003385 | 0.059084 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD141B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1410228 | 2019-05-30 |  | 0.0623 | 0.0622 | 100.1608 | 0.16077 | 0.003385 | 0.029542 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD149A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1430270 | 2019-05-31 |  | 0.1805 | 0.171 | 105.5556 | 5.5556 | 0.013 | 0.73077 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD151A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1550164 | 2019-06-06 |  | 0.174 | 0.171 | 101.7544 | 1.7544 | 0.013 | 0.23077 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD156A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1570212 | 2019-06-11 |  | 0.0611 | 0.0622 | 98.2315 | -1.7685 | 0.003385 | -0.32496 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD161B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1620133 | 2019-06-21 |  | 0.1774 | 0.171 | 103.7427 | 3.7427 | 0.013 | 0.49231 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD168A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1690139 | 2019-06-21 |  | 0.1766 | 0.171 | 103.2749 | 3.2749 | 0.013 | 0.43077 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD170A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1640204 | 2019-06-21 |  | 0.0633 | 0.0622 | 101.7685 | 1.7685 | 0.003385 | 0.32496 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD170A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1710259 | 2019-06-25 |  | 0.064 | 0.0622 | 102.8939 | 2.8939 | 0.003385 | 0.53176 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD176A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1840118 | 2019-07-23 |  | 0.1764 | 0.171 | 103.1579 | 3.1579 | 0.013 | 0.41538 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD196D
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1830102 | 2019-07-23 |  | 0.0619 | 0.0622 | 99.5177 | -0.48232 | 0.003385 | -0.088627 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD196D
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1900103 | 2019-07-23 |  | 0.0605 | 0.0622 | 97.2669 | -2.7331 | 0.003385 | -0.50222 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD196D
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 1930196 | 2019-07-29 |  | 0.1724 | 0.171 | 100.8187 | 0.81871 | 0.013 | 0.10769 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD206A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2030081 | 2019-08-01 |  | 0.1716 | 0.171 | 100.3509 | 0.35088 | 0.013 | 0.046154 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD213A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2000020 | 2019-08-01 |  | 0.0616 | 0.0622 | 99.0354 | -0.96463 | 0.003385 | -0.17725 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD212A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2180153 | 2019-08-20 |  | 0.1787 | 0.171 | 104.5029 | 4.5029 | 0.013 | 0.59231 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD231A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2200201 | 2019-08-20 |  | 0.0618 | 0.0622 | 99.3569 | -0.64309 | 0.003385 | -0.11817 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD231A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2250167 | 2019-08-27 |  | 0.1783 | 0.171 | 104.269 | 4.269 | 0.013 | 0.56154 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD233A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2320183 | 2019-08-29 |  | 0.1798 | 0.171 | 105.1462 | 5.1462 | 0.013 | 0.67692 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD239A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2270235 | 2019-08-29 |  | 0.0639 | 0.0622 | 102.7331 | 2.7331 | 0.003385 | 0.50222 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD238A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2340258 | 2019-09-04 |  | 0.0626 | 0.0622 | 100.6431 | 0.64309 | 0.003385 | 0.11817 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD246A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2470183 | 2019-09-12 |  | 0.0642 | 0.0622 | 103.2154 | 3.2154 | 0.003385 | 0.59084 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD253A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2480209 | 2019-09-17 |  | 0.1781 | 0.171 | 104.152 | 4.152 | 0.013 | 0.54615 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD259A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2550079 | 2019-09-19 |  | 0.0632 | 0.0622 | 101.6077 | 1.6077 | 0.003385 | 0.29542 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD260A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2560160 | 2019-09-24 |  | 0.1843 | 0.171 | 107.7778 | 7.7778 | 0.013 | 1.0231 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD266A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2600330 | 2019-09-24 |  | 0.0635 | 0.0622 | 102.09 | 2.09 | 0.003385 | 0.38405 | 0.003 | 2331 |  |  |  | mg/L as P | N142X | PELD266A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2019 | 2620332 | 2019-10-01 |  | 0.1772 | 0.171 | 103.6257 | 3.6257 | 0.013 | 0.47692 | 0.003 | 2331 |  |  |  | mg/L as P | N141 | PELD273A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2810116 | 2019-10-16 |  | 0.1925 | 0.184 | 104.6196 | 4.6196 | 0.0092 | 0.92391 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD288A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2830132 | 2019-10-18 |  | 0.0428 | 0.0412 | 103.8835 | 3.8835 | 0.0025966 | 0.61618 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD290A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2890224 | 2019-10-31 |  | 0.1878 | 0.184 | 102.0652 | 2.0652 | 0.0092 | 0.41304 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N143 | PELD302A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2910181 | 2019-10-31 |  | 0.0418 | 0.0412 | 101.4563 | 1.4563 | 0.0025966 | 0.23107 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD302A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2950099 | 2019-11-05 |  | 0.1879 | 0.184 | 102.1196 | 2.1196 | 0.0092 | 0.42391 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N143 | PELD308A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2970177 | 2019-11-05 |  | 0.0407 | 0.0412 | 98.7864 | -1.2136 | 0.0025966 | -0.19256 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD308A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3110126 | 2019-11-13 |  | 0.193 | 0.184 | 104.8913 | 4.8913 | 0.0092 | 0.97826 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD316A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3090143 | 2019-11-13 |  | 0.0429 | 0.0412 | 104.1262 | 4.1262 | 0.0025966 | 0.65469 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD316A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3180075 | 2019-11-19 |  | 0.1989 | 0.184 | 108.0978 | 8.0978 | 0.0092 | 1.6196 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD322A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3170100 | 2019-11-19 |  | 0.0416 | 0.0412 | 100.9709 | 0.97087 | 0.0025966 | 0.15404 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD322A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3250087 | 2019-12-02 |  | 0.191 | 0.184 | 103.8043 | 3.8043 | 0.0092 | 0.76087 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD329A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3230097 | 2019-12-02 |  | 0.0421 | 0.0412 | 102.1845 | 2.1845 | 0.0025966 | 0.3466 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD329A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3370099 | 2019-12-11 |  | 0.1965 | 0.184 | 106.7935 | 6.7935 | 0.0092 | 1.3587 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD344A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3390132 | 2019-12-19 |  | 0.0393 | 0.0412 | 95.3883 | -4.6117 | 0.0025966 | -0.73171 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD345A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3510020 | 2020-01-07 |  | 0.1979 | 0.184 | 107.5543 | 7.5543 | 0.0092 | 1.5109 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD006A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 3530003 | 2020-01-07 |  | 0.0411 | 0.0412 | 99.7573 | -0.24272 | 0.0025966 | -0.038511 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD006B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0090080 | 2020-01-16 |  | 0.1854 | 0.184 | 100.7609 | 0.76087 | 0.0092 | 0.15217 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD014A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0070045 | 2020-01-16 |  | 0.0412 | 0.0412 | 100 | 0 | 0.0025966 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD014A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0230067 | 2020-01-30 |  | 0.1846 | 0.184 | 100.3261 | 0.32609 | 0.0092 | 0.065217 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD028A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0220112 | 2020-01-30 |  | 0.0415 | 0.0412 | 100.7282 | 0.72816 | 0.0025966 | 0.11553 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD028A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0350139 | 2020-02-13 |  | 0.1863 | 0.184 | 101.25 | 1.25 | 0.0092 | 0.25 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD042A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0370097 | 2020-02-19 |  | 0.0425 | 0.0412 | 103.1553 | 3.1553 | 0.0025966 | 0.50065 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD049B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0500056 | 2020-03-03 |  | 0.191 | 0.184 | 103.8043 | 3.8043 | 0.0092 | 0.76087 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD062A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0510087 | 2020-03-03 |  | 0.0422 | 0.0412 | 102.4272 | 2.4272 | 0.0025966 | 0.38511 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD062A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0630049 | 2020-03-10 |  | 0.0399 | 0.0412 | 96.8447 | -3.1553 | 0.0025966 | -0.50065 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD069A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0650092 | 2020-03-17 |  | 0.1881 | 0.184 | 102.2283 | 2.2283 | 0.0092 | 0.44565 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD071A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0700105 | 2020-03-17 |  | 0.0408 | 0.0412 | 99.0291 | -0.97087 | 0.0025966 | -0.15404 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD071A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0730162 | 2020-03-25 |  | 0.1845 | 0.184 | 100.2717 | 0.27174 | 0.0092 | 0.054348 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD083A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0800003 | 2020-03-25 |  | 0.188 | 0.184 | 102.1739 | 2.1739 | 0.0092 | 0.43478 | 0.003 | 2331 |  |  |  | mg/L as P | N143 | PELD083A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0770113 | 2020-03-25 |  | 0.0414 | 0.0412 | 100.4854 | 0.48544 | 0.0025966 | 0.077022 | 0.003 | 2331 |  |  |  | mg/L as P | N144X | PELD083A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 0980041 | 2020-04-15 |  | 0.1391 | 0.134 | 103.806 | 3.806 | 0.008 | 0.6375 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD104A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1000060 | 2020-04-15 |  | 0.0352 | 0.0339 | 103.8348 | 3.8348 | 0.0023226 | 0.55972 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD104A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1060057 | 2020-04-22 |  | 0.1357 | 0.134 | 101.2687 | 1.2687 | 0.008 | 0.2125 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD111A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1120051 | 2020-04-28 |  | 0.1344 | 0.134 | 100.2985 | 0.29851 | 0.008 | 0.05 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD118A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1070052 | 2020-04-28 |  | 0.032 | 0.0339 | 94.3953 | -5.6047 | 0.0023226 | -0.81805 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD118A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1140083 | 2020-04-28 |  | 0.0333 | 0.0339 | 98.2301 | -1.7699 | 0.0023226 | -0.25833 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD118A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1280005 | 2020-05-12 |  | 0.1353 | 0.134 | 100.9701 | 0.97015 | 0.008 | 0.1625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD132B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1260080 | 2020-05-12 |  | 0.0339 | 0.0339 | 100 | 0 | 0.0023226 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD132B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1330128 | 2020-05-27 |  | 0.0439 | 0.0339 | 129.4985 | 29.4985 | 0.0023226 | 4.3055 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20147A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1400017 | 2020-06-02 |  | 0.1345 | 0.134 | 100.3731 | 0.37313 | 0.008 | 0.0625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20153A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1430096 | 2020-06-02 |  | 0.1347 | 0.134 | 100.5224 | 0.52239 | 0.008 | 0.0875 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20153A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1550010 | 2020-06-25 |  | 0.1292 | 0.134 | 96.4179 | -3.5821 | 0.008 | -0.6 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20170B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1560173 | 2020-06-25 |  | 0.0327 | 0.0339 | 96.4602 | -3.5398 | 0.0023226 | -0.51666 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20170B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1610194 | 2020-06-26 |  | 0.1295 | 0.134 | 96.6418 | -3.3582 | 0.008 | -0.5625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20177A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1630142 | 2020-06-26 |  | 0.0321 | 0.0339 | 94.6903 | -5.3097 | 0.0023226 | -0.77499 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20177A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1680151 | 2020-06-29 |  | 0.1345 | 0.134 | 100.3731 | 0.37313 | 0.008 | 0.0625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20181A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1700256 | 2020-07-02 |  | 0.0331 | 0.0339 | 97.6401 | -2.3599 | 0.0023226 | -0.34444 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20181B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1910117 | 2020-07-22 |  | 0.1391 | 0.134 | 103.806 | 3.806 | 0.008 | 0.6375 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20197A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1890184 | 2020-07-22 |  | 0.0336 | 0.0339 | 99.115 | -0.88496 | 0.0023226 | -0.12917 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20197A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1960131 | 2020-07-22 |  | 0.0345 | 0.0339 | 101.7699 | 1.7699 | 0.0023226 | 0.25833 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20198A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 1980095 | 2020-07-28 |  | 0.1372 | 0.134 | 102.3881 | 2.3881 | 0.008 | 0.4 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20209A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2040022 | 2020-07-29 |  | 0.0348 | 0.0339 | 102.6549 | 2.6549 | 0.0023226 | 0.3875 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20210A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2110026 | 2020-08-04 |  | 0.1433 | 0.134 | 106.9403 | 6.9403 | 0.008 | 1.1625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20216A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2170033 | 2020-08-12 |  | 0.138 | 0.134 | 102.9851 | 2.9851 | 0.008 | 0.5 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20223A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2190158 | 2020-08-18 |  | 0.0316 | 0.0339 | 93.2153 | -6.7847 | 0.0023226 | -0.99027 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20226B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2240094 | 2020-08-20 |  | 0.1368 | 0.134 | 102.0896 | 2.0896 | 0.008 | 0.35 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20232A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2260120 | 2020-08-20 |  | 0.0342 | 0.0339 | 100.885 | 0.88496 | 0.0023226 | 0.12917 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20232A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2370048 | 2020-09-01 |  | 0.0338 | 0.0339 | 99.705 | -0.29499 | 0.0023226 | -0.043055 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20244B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2320040 | 2020-09-10 |  | 0.1377 | 0.134 | 102.7612 | 2.7612 | 0.008 | 0.4625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20244A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2530139 | 2020-09-29 |  | 0.0321 | 0.0339 | 94.6903 | -5.3097 | 0.0023226 | -0.77499 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20266A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2610178 | 2020-10-07 |  | 0.1355 | 0.134 | 101.1194 | 1.1194 | 0.008 | 0.1875 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20281A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2540251 | 2020-10-08 |  | 0.1319 | 0.134 | 98.4328 | -1.5672 | 0.008 | -0.2625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20275A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2590159 | 2020-10-08 |  | 0.0316 | 0.0339 | 93.2153 | -6.7847 | 0.0023226 | -0.99027 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20275A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2670295 | 2020-10-14 |  | 0.0308 | 0.0339 | 90.8555 | -9.1445 | 0.0023226 | -1.3347 | 0.003 | 2331 |  |  |  | mg/L as P | N146X | PELD_20287A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 2680085 | 2020-10-21 |  | 0.1335 | 0.134 | 99.6269 | -0.37313 | 0.008 | -0.0625 | 0.003 | 2331 |  |  |  | mg/L as P | N145 | PELD_20288A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2810030 | 2020-11-02 |  | 0.2063 | 0.198 | 104.1919 | 4.1919 | 0.0099 | 0.83838 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20303A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2820103 | 2020-11-02 |  | 0.0311 | 0.0295 | 105.4237 | 5.4237 | 0.0021574 | 0.74162 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20303A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2880071 | 2020-11-05 |  | 0.2058 | 0.198 | 103.9394 | 3.9394 | 0.0099 | 0.78788 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20308A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2960118 | 2020-11-05 |  | 0.0309 | 0.0295 | 104.7458 | 4.7458 | 0.0021574 | 0.64892 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20308A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2890048 | 2020-11-10 |  | 0.0303 | 0.0295 | 102.7119 | 2.7119 | 0.0021574 | 0.37081 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20303B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2950031 | 2020-11-17 |  | 0.211 | 0.198 | 106.5657 | 6.5657 | 0.0099 | 1.3131 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20321A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3080109 | 2020-11-17 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0021574 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20321A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3150102 | 2020-11-19 |  | 0.0301 | 0.0295 | 102.0339 | 2.0339 | 0.0021574 | 0.27811 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20321B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3230040 | 2020-11-23 |  | 0.0317 | 0.0295 | 107.4576 | 7.4576 | 0.0021574 | 1.0197 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20324A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3180089 | 2020-12-02 |  | 0.2081 | 0.198 | 105.101 | 5.101 | 0.0099 | 1.0202 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20330A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3240159 | 2020-12-10 |  | 0.2031 | 0.198 | 102.5758 | 2.5758 | 0.0099 | 0.51515 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20344A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3350003 | 2020-12-15 |  | 0.2131 | 0.198 | 107.6263 | 7.6263 | 0.0099 | 1.5253 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20349B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3440083 | 2020-12-29 |  | 0.2094 | 0.198 | 105.7576 | 5.7576 | 0.0099 | 1.1515 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_20352A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3530074 | 2020-12-30 |  | 0.0284 | 0.0295 | 96.2712 | -3.7288 | 0.0021574 | -0.50987 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_20358A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3580057 | 2021-01-25 |  | 0.2121 | 0.198 | 107.1212 | 7.1212 | 0.0099 | 1.4242 | 0.003 | 2331 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N147 | PELD_21021A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0050026 | 2021-01-25 |  | 0.0293 | 0.0295 | 99.322 | -0.67797 | 0.0021574 | -0.092703 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21021A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 3660011 | 2021-01-25 |  | 0.0308 | 0.0295 | 104.4068 | 4.4068 | 0.0021574 | 0.60257 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21021A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0150003 | 2021-01-27 |  | 0.2024 | 0.198 | 102.2222 | 2.2222 | 0.0099 | 0.44444 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21026A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0210019 | 2021-01-27 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0021574 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21026A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0280001 | 2021-02-10 |  | 0.2044 | 0.198 | 103.2323 | 3.2323 | 0.0099 | 0.64646 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21040A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0350086 | 2021-02-18 |  | 0.0306 | 0.0295 | 103.7288 | 3.7288 | 0.0021574 | 0.50987 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21047B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0400078 | 2021-02-23 |  | 0.2036 | 0.198 | 102.8283 | 2.8283 | 0.0099 | 0.56566 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21053A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0490010 | 2021-02-23 |  | 0.0298 | 0.0295 | 101.0169 | 1.0169 | 0.0021574 | 0.13905 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21053A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0540056 | 2021-03-09 |  | 0.2041 | 0.198 | 103.0808 | 3.0808 | 0.0099 | 0.61616 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21062A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0620096 | 2021-03-18 |  | 0.028 | 0.0295 | 94.9153 | -5.0847 | 0.0021574 | -0.69527 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21075A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0690090 | 2021-03-24 |  | 0.1977 | 0.198 | 99.8485 | -0.15152 | 0.0099 | -0.030303 | 0.003 | 2331 |  |  |  | mg/L as P | N147 | PELD_21081A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0680065 | 2021-03-24 |  | 0.0284 | 0.0295 | 96.2712 | -3.7288 | 0.0021574 | -0.50987 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21081A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0760023 | 2021-04-07 |  | 0.0295 | 0.0295 | 100 | 0 | 0.0021574 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N148X | PELD_21096A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0770042 | 2021-04-15 |  | 0.2077 | 0.198 | 104.899 | 4.899 | 0.0099 | 0.9798 | 0.003 | 2331 | Sample was diluted |  |  | mg/L as P | N147 | PELD_21098A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0840107 | 2021-05-04 |  | 0.2061 | 0.198 | 104.0909 | 4.0909 | 0.0099 | 0.81818 | 0.003 | 2331 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as P | N147 | PELD_21123A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 0970045 | 2021-05-04 |  | 0.1851 | 0.184 | 100.5978 | 0.59783 | 0.0092 | 0.11957 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21123A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1030142 | 2021-05-12 |  | 0.1879 | 0.184 | 102.1196 | 2.1196 | 0.0092 | 0.42391 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21131A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1050216 | 2021-05-20 |  | 0.0468 | 0.045 | 104 | 4 | 0.0027393 | 0.6571 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N150X | PELD_21137A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1110005 | 2021-05-25 |  | 0.1845 | 0.184 | 100.2717 | 0.27174 | 0.0092 | 0.054348 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N149 | PELD_21144A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1120202 | 2021-05-25 |  | 0.043 | 0.045 | 95.5556 | -4.4444 | 0.0027393 | -0.73011 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N150X | PELD_21144A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1250007 | 2021-05-27 |  | 0.0415 | 0.045 | 92.2222 | -7.7778 | 0.0027393 | -1.2777 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21146A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1190110 | 2021-05-28 |  | 0.045 | 0.045 | 100 | 0 | 0.0027393 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21147A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1330235 | 2021-06-08 |  | 0.1832 | 0.184 | 99.5652 | -0.43478 | 0.0092 | -0.086957 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21158A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1320167 | 2021-06-08 |  | 0.0437 | 0.045 | 97.1111 | -2.8889 | 0.0027393 | -0.47457 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21158A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1380138 | 2021-06-08 |  | 0.045 | 0.045 | 100 | 0 | 0.0027393 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21158A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1390135 | 2021-06-09 |  | 0.1805 | 0.184 | 98.0978 | -1.9022 | 0.0092 | -0.38043 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21159A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1530101 | 2021-06-15 |  | 0.1912 | 0.184 | 103.913 | 3.913 | 0.0092 | 0.78261 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21165A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1540138 | 2021-06-17 |  | 0.1915 | 0.184 | 104.0761 | 4.0761 | 0.0092 | 0.81522 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21167A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1600030 | 2021-06-22 |  | 0.1861 | 0.184 | 101.1413 | 1.1413 | 0.0092 | 0.22826 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21167B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1610182 | 2021-06-24 |  | 0.0465 | 0.045 | 103.3333 | 3.3333 | 0.0027393 | 0.54759 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21173A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1660118 | 2021-06-25 |  | 0.1895 | 0.184 | 102.9891 | 2.9891 | 0.0092 | 0.59783 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21174A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1680020 | 2021-06-25 |  | 0.0481 | 0.045 | 106.8889 | 6.8889 | 0.0027393 | 1.1317 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21174B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1750330 | 2021-07-15 |  | 0.0451 | 0.045 | 100.2222 | 0.22222 | 0.0027393 | 0.036506 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21193A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1880116 | 2021-07-21 |  | 0.0451 | 0.045 | 100.2222 | 0.22222 | 0.0027393 | 0.036506 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21200C
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1940226 | 2021-07-27 |  | 0.044 | 0.045 | 97.7778 | -2.2222 | 0.0027393 | -0.36506 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21204A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 1960205 | 2021-07-28 |  | 0.184 | 0.184 | 100 | 0 | 0.0092 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21207A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2010232 | 2021-08-04 |  | 0.0452 | 0.045 | 100.4444 | 0.44444 | 0.0027393 | 0.073011 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21214A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2020247 | 2021-08-10 |  | 0.187 | 0.184 | 101.6304 | 1.6304 | 0.0092 | 0.32609 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21221A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2150045 | 2021-08-12 |  | 0.1833 | 0.184 | 99.6196 | -0.38043 | 0.0092 | -0.076087 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21223A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2100165 | 2021-08-12 |  | 0.1857 | 0.184 | 100.9239 | 0.92391 | 0.0092 | 0.18478 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21223A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2220183 | 2021-08-19 |  | 0.1875 | 0.184 | 101.9022 | 1.9022 | 0.0092 | 0.38043 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21230A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2240200 | 2021-08-25 |  | 0.0423 | 0.045 | 94 | -6 | 0.0027393 | -0.98565 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21235A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2290125 | 2021-09-03 |  | 0.1842 | 0.184 | 100.1087 | 0.1087 | 0.0092 | 0.021739 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21244A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2310207 | 2021-09-03 |  | 0.0443 | 0.045 | 98.4444 | -1.5556 | 0.0027393 | -0.25554 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21244A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2380345 | 2021-09-14 |  | 0.0463 | 0.045 | 102.8889 | 2.8889 | 0.0027393 | 0.47457 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21252A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2510431 | 2021-09-22 |  | 0.0452 | 0.045 | 100.4444 | 0.44444 | 0.0027393 | 0.073011 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21263A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2590009 | 2021-09-30 |  | 0.1859 | 0.184 | 101.0326 | 1.0326 | 0.0092 | 0.20652 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21266A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2580268 | 2021-09-30 |  | 0.0465 | 0.045 | 103.3333 | 3.3333 | 0.0027393 | 0.54759 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21266A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2660015 | 2021-10-05 |  | 0.1821 | 0.184 | 98.9674 | -1.0326 | 0.0092 | -0.20652 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21271A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2640270 | 2021-10-05 |  | 0.0439 | 0.045 | 97.5556 | -2.4444 | 0.0027393 | -0.40156 | 0.003 | 2331 |  |  |  | mg/L as P | N150X | PELD_21271A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 2790019 | 2021-10-20 |  | 0.1775 | 0.184 | 96.4674 | -3.5326 | 0.0092 | -0.70652 | 0.003 | 2331 |  |  |  | mg/L as P | N149 | PELD_21292A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2790021 | 2021-10-20 |  | 0.0933 | 0.089 | 104.8315 | 4.8315 | 0.005 | 0.86 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_21292A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2870241 | 2021-11-03 |  | 0.0911 | 0.089 | 102.3596 | 2.3596 | 0.005 | 0.42 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_21306A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2940011 | 2021-11-17 |  | 0.0866 | 0.089 | 97.3034 | -2.6966 | 0.005 | -0.48 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_21314A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2940005 | 2021-11-17 |  | 0.0316 | 0.0323 | 97.8328 | -2.1672 | 0.0022625 | -0.30939 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N152X | PELD_21314A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2940111 | 2021-11-17 |  | 0.0309 | 0.0323 | 95.6656 | -4.3344 | 0.0022625 | -0.61877 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_21314A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 3190110 | 2021-12-02 |  | 0.0937 | 0.089 | 105.2809 | 5.2809 | 0.005 | 0.94 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_21336A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 3010095 | 2021-12-02 |  | 0.0327 | 0.0323 | 101.2384 | 1.2384 | 0.0022625 | 0.17679 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N152X | PELD_21327B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 3060201 | 2021-12-02 |  | 0.0324 | 0.0323 | 100.3096 | 0.3096 | 0.0022625 | 0.044198 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N152X | PELD_21327B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 3130189 | 2021-12-02 |  | 0.0337 | 0.0323 | 104.3344 | 4.3344 | 0.0022625 | 0.61877 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_21336A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 3200075 | 2021-12-02 |  | 0.036 | 0.0323 | 111.4551 | 11.4551 | 0.0022625 | 1.6353 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_21336A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 3220099 | 2021-12-07 |  | 0.091 | 0.089 | 102.2472 | 2.2472 | 0.005 | 0.4 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_21340A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 3340036 | 2021-12-29 |  | 0.099 | 0.089 | 111.236 | 11.236 | 0.005 | 2 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N151 | PELD_21361A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 3410062 | 2021-12-29 |  | 0.094 | 0.089 | 105.618 | 5.618 | 0.005 | 1 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_21361A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 3570004 | 2022-01-24 |  | 0.093 | 0.089 | 104.4944 | 4.4944 | 0.005 | 0.8 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N151 | PELD_22020A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0050043 | 2022-01-24 |  | 0.033 | 0.0323 | 102.1672 | 2.1672 | 0.0022625 | 0.30939 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_22020A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0130002 | 2022-01-31 |  | 0.094 | 0.089 | 105.618 | 5.618 | 0.005 | 1 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_22027A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0190123 | 2022-01-31 |  | 0.035 | 0.0323 | 108.3591 | 8.3591 | 0.0022625 | 1.1933 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_22031A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0270157 | 2022-02-10 |  | 0.093 | 0.089 | 104.4944 | 4.4944 | 0.005 | 0.8 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_22034A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0380063 | 2022-03-08 |  | 0.095 | 0.089 | 106.7416 | 6.7416 | 0.005 | 1.2 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N151 | PELD_22053A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0480132 | 2022-03-09 |  | 0.091 | 0.089 | 102.2472 | 2.2472 | 0.005 | 0.4 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_22067A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0470023 | 2022-03-09 |  | 0.035 | 0.0323 | 108.3591 | 8.3591 | 0.0022625 | 1.1933 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_22066A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0560010 | 2022-03-17 |  | 0.033 | 0.0323 | 102.1672 | 2.1672 | 0.0022625 | 0.30939 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_22069A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0670120 | 2022-03-31 |  | 0.035 | 0.0323 | 108.3591 | 8.3591 | 0.0022625 | 1.1933 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_22081B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0690223 | 2022-04-06 |  | 0.094 | 0.089 | 105.618 | 5.618 | 0.005 | 1 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_22090A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0770096 | 2022-04-12 |  | 0.093 | 0.089 | 104.4944 | 4.4944 | 0.005 | 0.8 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_22101A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0760101 | 2022-04-12 |  | 0.034 | 0.0323 | 105.2632 | 5.2632 | 0.0022625 | 0.75137 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_22101A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0830134 | 2022-04-20 |  | 0.095 | 0.089 | 106.7416 | 6.7416 | 0.005 | 1.2 | 0.003 | 2331 |  |  |  | mg/L as P | N151 | PELD_22103A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0880102 | 2022-04-20 |  | 0.034 | 0.0323 | 105.2632 | 5.2632 | 0.0022625 | 0.75137 | 0.003 | 2331 |  |  |  | mg/L as P | N152X | PELD_22103A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 0960125 | 2022-04-28 |  | 0.102 | 0.098 | 104.0816 | 4.0816 | 0.006 | 0.66667 | 0.003 | 2331 |  |  |  | mg/L as P | N153 | PELD_22115A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1020026 | 2022-05-11 |  | 0.1 | 0.098 | 102.0408 | 2.0408 | 0.006 | 0.33333 | 0.003 | 2331 |  |  |  | mg/L as P | N153 | PELD_22117A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1040102 | 2022-05-11 |  | 0.031 | 0.0293 | 105.802 | 5.802 | 0.0021499 | 0.79073 | 0.003 | 2331 |  |  |  | mg/L as P | N154X | PELD_22123A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1090123 | 2022-05-24 |  | 0.096 | 0.098 | 97.9592 | -2.0408 | 0.006 | -0.33333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22132A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1110199 | 2022-05-24 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0021499 | -0.13954 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22137A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1180145 | 2022-06-07 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0021499 | 0.32559 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22152A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1230107 | 2022-06-07 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0021499 | 0.32559 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22152A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1370141 | 2022-06-23 |  | 0.1 | 0.098 | 102.0408 | 2.0408 | 0.006 | 0.33333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22166A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1320262 | 2022-06-23 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0021499 | -0.60467 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22166A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1380069 | 2022-06-23 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0021499 | -0.13954 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22166A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1520232 | 2022-07-07 |  | 0.099 | 0.098 | 101.0204 | 1.0204 | 0.006 | 0.16667 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22173B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1440208 | 2022-07-12 |  | 0.102 | 0.098 | 104.0816 | 4.0816 | 0.006 | 0.66667 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22173A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1580093 | 2022-07-14 |  | 0.099 | 0.098 | 101.0204 | 1.0204 | 0.006 | 0.16667 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22193A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1660167 | 2022-07-20 |  | 0.1 | 0.098 | 102.0408 | 2.0408 | 0.006 | 0.33333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22200A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1670122 | 2022-07-26 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0021499 | 0.32559 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22206A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1730127 | 2022-07-28 |  | 0.098 | 0.098 | 100 | 0 | 0.006 | 0 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22208A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1740031 | 2022-07-28 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0021499 | -0.60467 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22208A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1810188 | 2022-08-11 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0021499 | -0.13954 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22209B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1870091 | 2022-08-17 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0021499 | -0.13954 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22223A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1930195 | 2022-08-18 |  | 0.027 | 0.0293 | 92.1502 | -7.8498 | 0.0021499 | -1.0698 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22229A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 1950117 | 2022-08-24 |  | 0.099 | 0.098 | 101.0204 | 1.0204 | 0.006 | 0.16667 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22229B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2020023 | 2022-08-30 |  | 0.098 | 0.098 | 100 | 0 | 0.006 | 0 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22235A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2000025 | 2022-08-30 |  | 0.027 | 0.0293 | 92.1502 | -7.8498 | 0.0021499 | -1.0698 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22235A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2090179 | 2022-09-08 |  | 0.099 | 0.098 | 101.0204 | 1.0204 | 0.006 | 0.16667 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22250A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2140178 | 2022-09-21 |  | 0.102 | 0.098 | 104.0816 | 4.0816 | 0.006 | 0.66667 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22251A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2230329 | 2022-09-21 |  | 0.03 | 0.0293 | 102.3891 | 2.3891 | 0.0021499 | 0.32559 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22263A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2210119 | 2022-09-22 |  | 0.103 | 0.098 | 105.102 | 5.102 | 0.006 | 0.83333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22262A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2280356 | 2022-09-28 |  | 0.103 | 0.098 | 105.102 | 5.102 | 0.006 | 0.83333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22263B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2300209 | 2022-09-29 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0021499 | -0.60467 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22269A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2370218 | 2022-10-04 |  | 0.027 | 0.0293 | 92.1502 | -7.8498 | 0.0021499 | -1.0698 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22272A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2500497 | 2022-10-25 |  | 0.027 | 0.0293 | 92.1502 | -7.8498 | 0.0021499 | -1.0698 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22293A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2580149 | 2022-11-09 |  | 0.1 | 0.098 | 102.0408 | 2.0408 | 0.006 | 0.33333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22307A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2570114 | 2022-11-09 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0021499 | -0.13954 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22307A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2660046 | 2022-11-17 |  | 0.099 | 0.098 | 101.0204 | 1.0204 | 0.006 | 0.16667 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22318B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2720120 | 2022-11-17 |  | 0.098 | 0.098 | 100 | 0 | 0.006 | 0 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PELD_22318B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 2630182 | 2022-11-17 |  | 0.029 | 0.0293 | 98.9761 | -1.0239 | 0.0021499 | -0.13954 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154X | PELD_22318A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2770117 | 2022-11-17 |  | 0.139 | 0.131 | 106.1069 | 6.1069 | 0.007 | 1.1429 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_22320A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2860106 | 2022-11-30 |  | 0.143 | 0.131 | 109.1603 | 9.1603 | 0.007 | 1.7143 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_22333A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2920223 | 2022-12-07 |  | 0.139 | 0.131 | 106.1069 | 6.1069 | 0.007 | 1.1429 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_22335A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2910109 | 2022-12-07 |  | 0.067 | 0.067 | 100 | 0 | 0.0035652 | 0 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_22335A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2930114 | 2022-12-07 |  | 0.066 | 0.067 | 98.5075 | -1.4925 | 0.0035652 | -0.28049 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_22335A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3000168 | 2022-12-14 |  | 0.067 | 0.067 | 100 | 0 | 0.0035652 | 0 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_22343A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3060051 | 2022-12-14 |  | 0.0654 | 0.067 | 97.6119 | -2.3881 | 0.0035652 | -0.44879 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_22343A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3190027 | 2022-12-21 |  | 0.1426 | 0.131 | 108.855 | 8.855 | 0.007 | 1.6571 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_22353B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3130111 | 2022-12-21 |  | 0.0669 | 0.067 | 99.8507 | -0.14925 | 0.0035652 | -0.028049 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_22353A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3210271 | 2022-12-28 |  | 0.1403 | 0.131 | 107.0992 | 7.0992 | 0.007 | 1.3286 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_22355A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3340031 | 2023-01-05 |  | 0.1429 | 0.131 | 109.084 | 9.084 | 0.007 | 1.7 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_22361B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3400092 | 2023-01-05 |  | 0.1356 | 0.131 | 103.5115 | 3.5115 | 0.007 | 0.65714 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_22361B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3200146 | 2023-01-20 |  | 0.0706 | 0.067 | 105.3731 | 5.3731 | 0.0035652 | 1.0098 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_23012A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3540136 | 2023-01-24 |  | 0.0671 | 0.067 | 100.1493 | 0.14925 | 0.0035652 | 0.028049 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_23023A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 3610136 | 2023-02-02 |  | 0.1397 | 0.131 | 106.6412 | 6.6412 | 0.007 | 1.2429 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_23030B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0050054 | 2023-02-02 |  | 0.0679 | 0.067 | 101.3433 | 1.3433 | 0.0035652 | 0.25244 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_23030B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0100104 | 2023-02-14 |  | 0.07 | 0.067 | 104.4776 | 4.4776 | 0.0035652 | 0.84147 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_23031A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0240119 | 2023-02-16 |  | 0.1388 | 0.131 | 105.9542 | 5.9542 | 0.007 | 1.1143 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_23047A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0250119 | 2023-02-16 |  | 0.0692 | 0.067 | 103.2836 | 3.2836 | 0.0035652 | 0.61708 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23047A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0320034 | 2023-02-17 |  | 0.1391 | 0.131 | 106.1832 | 6.1832 | 0.007 | 1.1571 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23047B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0590094 | 2023-03-16 |  | 0.1383 | 0.131 | 105.5725 | 5.5725 | 0.007 | 1.0429 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23072B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0540081 | 2023-03-16 |  | 0.0655 | 0.067 | 97.7612 | -2.2388 | 0.0035652 | -0.42074 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23072B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0660113 | 2023-03-21 |  | 0.065 | 0.067 | 97.0149 | -2.9851 | 0.0035652 | -0.56098 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23079B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0670100 | 2023-03-21 |  | 0.0629 | 0.067 | 93.8806 | -6.1194 | 0.0035652 | -1.15 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23079B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0740034 | 2023-03-28 |  | 0.0659 | 0.067 | 98.3582 | -1.6418 | 0.0035652 | -0.30854 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23081A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0750100 | 2023-04-06 |  | 0.135 | 0.131 | 103.0534 | 3.0534 | 0.007 | 0.57143 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23094A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0820083 | 2023-04-11 |  | 0.1379 | 0.131 | 105.2672 | 5.2672 | 0.007 | 0.98571 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23096A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0800082 | 2023-04-11 |  | 0.0674 | 0.067 | 100.597 | 0.59701 | 0.0035652 | 0.1122 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23096A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0940131 | 2023-04-19 |  | 0.1133 | 0.117 | 96.8376 | -3.1624 | 0.006 | -0.61667 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23107B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 0890107 | 2023-04-20 |  | 0.1375 | 0.131 | 104.9618 | 4.9618 | 0.007 | 0.92857 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23101A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1100090 | 2023-05-09 |  | 0.1152 | 0.117 | 98.4615 | -1.5385 | 0.006 | -0.3 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23124A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1090192 | 2023-05-09 |  | 0.0276 | 0.028 | 98.5714 | -1.4286 | 0.0021011 | -0.19037 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23124A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1230177 | 2023-05-17 |  | 0.0286 | 0.028 | 102.1429 | 2.1429 | 0.0021011 | 0.28556 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23136A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1240213 | 2023-05-25 |  | 0.0275 | 0.028 | 98.2143 | -1.7857 | 0.0021011 | -0.23797 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23142A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1150153 | 2023-05-26 |  | 0.026 | 0.028 | 92.8571 | -7.1429 | 0.0021011 | -0.95187 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23130A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1020107 | 2023-05-31 |  | 0.1156 | 0.117 | 98.8034 | -1.1966 | 0.006 | -0.23333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23150B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1300165 | 2023-05-31 |  | 0.0297 | 0.028 | 106.0714 | 6.0714 | 0.0021011 | 0.80909 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23150B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1310001 | 2023-06-08 |  | 0.1147 | 0.117 | 98.0342 | -1.9658 | 0.006 | -0.38333 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23157B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1360050 | 2023-06-08 |  | 0.0286 | 0.028 | 102.1429 | 2.1429 | 0.0021011 | 0.28556 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23157B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1570043 | 2023-06-22 |  | 0.1122 | 0.117 | 95.8974 | -4.1026 | 0.006 | -0.8 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23166B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1460004 | 2023-06-22 |  | 0.1098 | 0.117 | 93.8462 | -6.1538 | 0.006 | -1.2 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23166B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1650069 | 2023-06-28 |  | 0.1088 | 0.117 | 92.9915 | -7.0085 | 0.006 | -1.3667 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23178A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1660195 | 2023-07-19 |  | 0.0287 | 0.028 | 102.5 | 2.5 | 0.0021011 | 0.33316 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23192A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2020028 | 2023-07-26 |  | 0.1129 | 0.117 | 96.4957 | -3.5043 | 0.006 | -0.68333 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23205A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1790032 | 2023-07-26 |  | 0.0266 | 0.028 | 95 | -5 | 0.0021011 | -0.66631 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23205A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1730213 | 2023-07-27 |  | 0.1164 | 0.117 | 99.4872 | -0.51282 | 0.006 | -0.1 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23192B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1860130 | 2023-08-01 |  | 0.0265 | 0.028 | 94.6429 | -5.3571 | 0.0021011 | -0.7139 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23212B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1870311 | 2023-08-01 |  | 0.0292 | 0.028 | 104.2857 | 4.2857 | 0.0021011 | 0.57112 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23212B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1980053 | 2023-08-16 |  | 0.1137 | 0.117 | 97.1795 | -2.8205 | 0.006 | -0.55 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23219B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1940236 | 2023-08-16 |  | 0.0278 | 0.028 | 99.2857 | -0.71429 | 0.0021011 | -0.095187 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23219B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 1990168 | 2023-08-17 |  | 0.0259 | 0.028 | 92.5 | -7.5 | 0.0021011 | -0.99947 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23222A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2080233 | 2023-08-29 |  | 0.1108 | 0.117 | 94.7009 | -5.2991 | 0.006 | -1.0333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23240A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2200131 | 2023-09-07 |  | 0.1148 | 0.117 | 98.1197 | -1.8803 | 0.006 | -0.36667 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23248A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2280170 | 2023-09-14 |  | 0.1092 | 0.117 | 93.3333 | -6.6667 | 0.006 | -1.3 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23248C
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2290215 | 2023-09-14 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0021011 | -0.57112 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23256A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2350098 | 2023-09-18 |  | 0.1123 | 0.117 | 95.9829 | -4.0171 | 0.006 | -0.78333 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23261A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2360089 | 2023-09-27 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0021011 | -0.57112 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23264A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 2480100 | 2023-09-28 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0021011 | -0.57112 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23270A